|  | Assessment Evidence Guide For Water Quality Assistant Level 3 Formative Assessment 0712EPT1002 Perform Sample Handling in Laboratory |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1002 Perform Sample Handling in Laboratory |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Organize collected sample - Perform sample storage Activity: The trainee is provided with a sample. You are required to organize and handle the provided sample to maintain its integrity and reliability for required analysis. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Measure physical condition of collected samples - Label required sample bottles as per SOP - Place sample in controlled environment storage area - Monitor environmental condition of storage samples - Monitor sample retention of storage samples - Discard expired samples, if any |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Assistant Level 3 |
| Competency Standard | 0712EPT1002 Perform Sample Handling in Laboratory |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Organize collected sample - Perform sample storage Activity: The trainee is provided with a sample. You are required to organize and handle the provided sample to maintain its integrity and reliability for required analysis |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear PPEs as per requirement |  |  |
| - Record field sampling accessories |  |  |
| - Identify sample bottle in laboratory |  |  |
| - Measure physical condition of collected samples |  |  |
| - Label required sample bottles as per SOP |  |  |
| - Place sample in controlled environment storage area |  |  |
| - Monitor environmental condition of storage samples |  |  |
| - Monitor sample retention of storage samples |  |  |
| - Discard expired samples, if any. |  |  |
| - Maintain record of sample retention area |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1002 Perform Sample Handling in Laboratory |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Organize collected sample - Perform sample storage Activity: The trainee is provided with a sample. You are required to organize and handle the provided sample to maintain its integrity and reliability for required analysis |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wear PPEs as per requirement |  |  |  |  |  |
|  | Record field sampling accessories |  |  |  |  |  |
|  | Identify sample bottle in laboratory |  |  |  |  |  |
|  | Measure physical condition of collected samples |  |  |  |  |  |
|  | Label required sample bottles as per SOP |  |  |  |  |  |
|  | Place sample in controlled environment storage area |  |  |  |  |  |
|  | Monitor environmental condition of storage samples |  |  |  |  |  |
|  | Monitor sample retention of storage samples |  |  |  |  |  |
|  | Discard expired samples, if any. |  |  |  |  |  |
|  | Maintain record of sample retention area |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1002 Perform Sample Handling in Laboratory |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is water sample handling in laboratory? |  |  |
|  |  | Is proper sample labeling important in laboratory work? |  |  |
|  |  | Write name of any two required information that must be written on a water sample label? |  |  |
|  |  | What is the purpose of using clean and sterilized containers for water sampling? |  |  |
|  |  | What is the purpose of storing water samples at low temperature (≈4°C) after collection? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |