|  | Assessment Evidence Guide For Water Quality Assistant Level 3 Formative Assessment 0712EPT1003 Maintain Laboratory Readiness |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1003 Maintain Laboratory Readiness |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform cleaning of glassware - Maintain optimum laboratory conditions - Perform cleaning of lab equipment - Maintain inventory Activity: The trainee is required to prepare and maintain the laboratory for routine work. You are required to perform checking of equipment, materials and prepare checklist. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform washing & drying of glassware as per work instruction - Check laboratory cleanliness as per requirement - Check environmental parameters as per requirement - Check lab safety measurements as per work instructions - Collect cleaning items needed as per requirement - Calibrate instrument as per requirement - Check stock quantities as per requirement |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Assistant Level 3 |
| Competency Standard | 0712EPT1003 Maintain Laboratory Readiness |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform cleaning of glassware - Maintain optimum laboratory conditions - Perform cleaning of lab equipment - Maintain inventory Activity: The trainee is required to prepare and maintain the laboratory for routine work. You are required to perform checking of equipment, materials and prepare checklist. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear PPEs as per requirement. |  |  |
| - Identify types of glassware |  |  |
| - Collect materials for cleaning as per requirement |  |  |
| - Perform washing & drying of glassware as per work instruction |  |  |
| - Check laboratory cleanliness as per requirement |  |  |
| - Check environmental parameters as per requirement |  |  |
| - Check lab safety measurements as per work instructions |  |  |
| - Collect cleaning items needed as per requirement |  |  |
| - Calibrate instrument as per requirement |  |  |
| - Check stock quantities as per requirement |  |  |
| - Label materials as per types |  |  |
| - Store inventory items as per standards |  |  |
| - Prepare checklist |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1003 Maintain Laboratory Readiness |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform cleaning of glassware - Maintain optimum laboratory conditions - Perform cleaning of lab equipment - Maintain inventory Activity: The trainee is required to prepare and maintain the laboratory for routine work. You are required to perform checking of equipment, materials and prepare checklist. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wear PPEs as per requirement. |  |  |  |  |  |
|  | Identify types of glassware |  |  |  |  |  |
|  | Collect materials for cleaning as per requirement |  |  |  |  |  |
|  | Perform washing & drying of glassware as per work instruction |  |  |  |  |  |
|  | Check laboratory cleanliness as per requirement |  |  |  |  |  |
|  | Check environmental parameters as per requirement |  |  |  |  |  |
|  | Check lab safety measurements as per work instructions |  |  |  |  |  |
|  | Collect cleaning items needed as per requirement |  |  |  |  |  |
|  | Calibrate instrument as per requirement |  |  |  |  |  |
|  | Check stock quantities as per requirement |  |  |  |  |  |
|  | Label materials as per types |  |  |  |  |  |
|  | Store inventory items as per standards |  |  |  |  |  |
|  | Prepare checklist |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1003 Maintain Laboratory Readiness |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the importance of laboratory readiness before water quality testing? |  |  |
|  |  | Name two factors that help maintain optimum laboratory conditions? |  |  |
|  |  | What is the purpose of cleaning laboratory benches before and after work? |  |  |
|  |  | Should laboratory equipment be checked before use? |  |  |
|  |  | What is meant by equipment calibration? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |