|  | Assessment Evidence Guide For Water Quality Assistant Level 3 Formative Assessment 0712EPT1005 Perform Basic Physical Testing of Water & Wastewater |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1005 Perform Basic Physical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform total dissolved solids test - Perform dissolved oxygen test - Perform turbidity test - Perform odor test Activity: The trainee is provided with a sample. You are required to calibrate instruments and evaluate pH, total dissolved solids, electrical conductivity, turbidity, dissolved oxygen, odor and temperature. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Check calibration of instruments as per test requirement - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform TDS test - Perform dissolved oxygen test - Perform turbidity test - Perform odor test |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Assistant Level 3 |
| Competency Standard | 0712EPT1005 Perform Basic Physical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform total dissolved solids test - Perform dissolved oxygen test - Perform turbidity test - Perform odor test Activity: The trainee is provided with a sample. You are required to calibrate instruments and evaluate pH, total dissolved solids, electrical conductivity, turbidity, dissolved oxygen, odor and temperature. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear PPEs as per requirement |  |  |
| - Identify sample for test |  |  |
| - Check calibration of instruments as per test requirement |  |  |
| - Apply pre-requisite sample conditions for testing |  |  |
| - Perform temperature test |  |  |
| - Perform pH test |  |  |
| - Perform electrical conductivity test |  |  |
| - Perform TDS test |  |  |
| - Perform dissolved oxygen test |  |  |
| - Perform turbidity test |  |  |
| - Perform odor test |  |  |
| - Record results in respective formats |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1005 Perform Basic Physical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform total dissolved solids test - Perform dissolved oxygen test - Perform turbidity test - Perform odor test Activity: The trainee is provided with a sample. You are required to calibrate instruments and evaluate pH, total dissolved solids, electrical conductivity, turbidity, dissolved oxygen, odor and temperature. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wear PPEs as per requirement |  |  |  |  |  |
|  | Identify sample for test |  |  |  |  |  |
|  | Check calibration of instruments as per test requirement |  |  |  |  |  |
|  | Apply pre-requisite sample conditions for testing |  |  |  |  |  |
|  | Perform temperature test |  |  |  |  |  |
|  | Perform pH test |  |  |  |  |  |
|  | Perform electrical conductivity test |  |  |  |  |  |
|  | Perform TDS test |  |  |  |  |  |
|  | Perform dissolved oxygen test |  |  |  |  |  |
|  | Perform turbidity test |  |  |  |  |  |
|  | Perform odor test |  |  |  |  |  |
|  | Record results in respective formats |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1005 Perform Basic Physical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is meant by physical testing of water? |  |  |
|  |  | Name two physical parameters commonly measured in water testing. |  |  |
|  |  | Should the sample temperature be noted at the time of testing? |  |  |
|  |  | How is color of water assessed in the laboratory? |  |  |
|  |  | What instrument is commonly used to measure turbidity? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |