|  | Assessment Evidence Guide For Water Quality Assistant Level 3 Formative Assessment 0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater |
| --- | --- |
|  | Date: 15th-19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform free chlorine - Perform sulphide test - Perform water hardness test - Perform calcium hardness test - Perform magnesium hardness test - Perform total alkalinity - Perform acidity test - Perform chloride test Activity: The trainee is provided with a sample. You are required to perform free chlorine, sulphide, water hardness, total alkalinity and chloride testing. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Perform standardization of stock solutions for required titrations - Apply pre-requisite sample conditions for testing - Perform free chlorine test - Perform sulphide test - Perform water hardness test - Perform calcium hardness test - Perform magnesium hardness test - Perform total alkalinity test - Perform acidity test - Perform chloride test |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Quality Assistant Level 3 |
| Competency Standard | 0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform free chlorine - Perform sulphide test - Perform water hardness test - Perform calcium hardness test - Perform magnesium hardness test - Perform total alkalinity - Perform acidity test - Perform chloride test Activity: The trainee is provided with a sample. You are required to perform free chlorine, sulphide, water hardness, total alkalinity and chloride testing. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear PPEs as per requirement |  |  |
| - Identify sample for test |  |  |
| - Perform standardization of stock solutions for required titrations |  |  |
| - Apply pre-requisite sample conditions for testing |  |  |
| - Perform free chlorine test |  |  |
| - Perform sulphide test |  |  |
| - Perform water hardness test |  |  |
| - Perform calcium hardness test |  |  |
| - Perform magnesium hardness test |  |  |
| - Perform total alkalinity test |  |  |
| - Perform acidity test |  |  |
| - Perform chloride test |  |  |
| - Record results in respective formats |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform free chlorine - Perform sulphide test - Perform water hardness test - Perform calcium hardness test - Perform magnesium hardness test - Perform total alkalinity - Perform acidity test - Perform chloride test Activity: The trainee is provided with a sample. You are required to perform free chlorine, sulphide, water hardness, total alkalinity and chloride testing. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wear PPEs as per requirement |  |  |  |  |  |
|  | Identify sample for test |  |  |  |  |  |
|  | Perform standardization of stock solutions for required titrations |  |  |  |  |  |
|  | Apply pre-requisite sample conditions for testing |  |  |  |  |  |
|  | Perform free chlorine test |  |  |  |  |  |
|  | Perform sulphide test |  |  |  |  |  |
|  | Perform water hardness test |  |  |  |  |  |
|  | Perform calcium hardness test |  |  |  |  |  |
|  | Perform magnesium hardness test |  |  |  |  |  |
|  | Perform total alkalinity test |  |  |  |  |  |
|  | Perform acidity test |  |  |  |  |  |
|  | Perform chloride test |  |  |  |  |  |
|  | Record results in respective formats |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standard | 0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the importance of chemical testing in water quality? |  |  |
|  |  | Name two chemical parameters commonly tested in water? |  |  |
|  |  | What is the purpose of measuring pH in water samples? |  |  |
|  |  | How is alkalinity different from acidity in water? |  |  |
|  |  | What is the purpose of chlorine residual measurement? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |