Water Quality Assistant (Level 3)

Activity # 3

List of Consumables

| Sr.# | Consumables | Quantity per trainee |
| --- | --- | --- |
| 01 | CRM of TDS | 50 milliliters |
| 02 | Turbidity standard solution (0.02 to 800 NTU) | 10 milliliters each |
| 03 | DPD indicator | 10 milliliters |
| 04 | Silver nitrate | 2.5 grams |
| 05 | Potassium chromate | 1 gram |
| 06 | Hydrochloric acid | 10 milliliters |
| 07 | Sodium chloride | 1 gram |
| 08 | Culture media (plate count agar) | 5 grams |
| 09 | EDTA disodium salt | 3 grams |
| 10 | Ammonium hydroxide | 100 milliliters |
| 11 | Magnesium sulfate | 2 grams |
| 12 | EBT indicator | 1 gram |
| 13 | Weighing dishes | 10 |
| 14 | Spirit | 100 milliliters |
| 15 | Wash bottle | 2 |
| 16 | Spirit Lamp | 1 |
| 17 | Ethanol 70% | 100 milliliters |

*All reagents should be prepared in deionized/distilled water

**All glassware should be washed and rinsed in de-ionized/distilled water

Note: All the tools & equipment from this qualification will be ready and in functional condition before the start of assessment.

.