| Dr. Asma Saeed Chief Scientific Officer, Head of FBRC, PCSIR, Lahore Dr. Asma Sheikh Senior Scientific Officer, FBRC, PCSIR, Lahore Dr. Mubashar Iqbal Assistant Professor, University of Layyah Dr. Adnan Zahid, Assistant Professor, Dept of Agriculture Lahore Mr. Faisal Shahzad Instructor, PVTC, Lahore Mr. Nouman Zafar, Scientific Officer II, Qarshi Research International, Lahore Mr. Nadeem Ahmad, Junior Research Officer, PHED, Lahore Mr. Usama Amir, Supervisor WASA Sargodha Mr. Arslan Ahsan, In-charge Water Supply Bahria Town, Islamabad Miss Palwisha Faryad Khokhar, Research Assistant, University of Punjab Miss Nimra Salahuddin, Research Assistant, University of Punjab Miss Rabia Saddique, Research Assistant, University of Punjab Mr. Amir Sarwar TTB, Punjab Mr. Ghulam Sarwar Joya Manager PVTC DACUM Facilitator: Muhammad Abdul Moeez Lahore NAVTTC Coordinator: Muhammad Ishaq Deputy Director, Islamabad | Assessment Evidence Guide For Water Quality Assistant Level 3 Summative Assessment Activity-3 |
| --- | --- |
|  | Date 15th -19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standards | - Perform Basic Communication - Apply Workplace Safety Procedures in Water Testing Lab - Perform Basic Computer Operations - Perform Sample Handling in Laboratory - Maintain Laboratory Readiness - Segregate Waste Material for Disposal - Perform Basic Physical Testing of Water & Wastewater - Perform Basic Chemical Testing of Water & Wastewater - Perform Basic Microbiology Testing of Water |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: You are working as a Water Quality Assistant and are assigned to record physical and environmental condition of the sample provided. You are required to perform washing of the glassware. Candidate should segregate solid, liquid and biological waste. Your task is to conduct basic tests of electrical conductivity, TDS, turbidity and odor, perform chemical testing for chloride and water hardness & perform basic microbiological techniques of culture media preparation. Activity: Perform sample handling, readiness of lab, segregation of waste material, physical, chemical and microbiological testing |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Wear PPEs as required - Place sample in controlled environment storage area - Monitor environmental condition of storage samples - Perform washing & drying of glassware as per work instruction - Perform electrical conductivity test - Perform TDS test - Perform turbidity test - Perform odor test - Perform standardization of stock solutions for required titrations - Perform chloride test - Perform water hardness test - Perform calcium hardness test - Perform magnesium hardness test - Prepare culture media - Compile analytical results into standard report templates - Identify compliance parameters of water for portability |

*Bold are critical performance criteria

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Perform sample handling, readiness of lab, segregation of waste material, physical, chemical and microbiological testing |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear PPEs as required |  |  |
| - Place sample in controlled environment storage area |  |  |
| - Monitor environmental condition of storage samples |  |  |
| - Perform washing & drying of glassware as per work instruction |  |  |
| - Perform electrical conductivity test |  |  |
| - Perform TDS test |  |  |
| - Perform turbidity test |  |  |
| - Perform odor test |  |  |
| - Perform standardization of stock solutions for required titrations |  |  |
| - Perform chloride test |  |  |
| - Perform water hardness test |  |  |
| - Perform calcium hardness test |  |  |
| - Perform magnesium hardness test |  |  |
| - Prepare culture media |  |  |
| - Compile analytical results into standard report templates |  |  |
| - Identify compliance parameters of water for portability |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Quality Assistant Level 3 |
| --- | --- |
| Competency Standards | - Perform Basic Communication - Apply Workplace Safety Procedures in Water Testing Lab - Perform Basic Computer Operations - Perform Sample Handling in Laboratory - Maintain Laboratory Readiness - Segregate Waste Material for Disposal - Perform Basic Physical Testing of Water & Wastewater - Perform Basic Chemical Testing of Water & Wastewater - Perform Basic Microbiology Testing of Water |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Perform sample handling, readiness of lab, segregation of waste material, physical, chemical and microbiological testing |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wore PPEs as required |  |  |  |  |  |
|  | Placed sample in controlled environment storage area |  |  |  |  |  |
|  | Monitored environmental condition of storage samples |  |  |  |  |  |
|  | Performed washing & drying of glassware as per work instruction |  |  |  |  |  |
|  | Performed electrical conductivity test |  |  |  |  |  |
|  | Performed TDS test |  |  |  |  |  |
|  | Performed turbidity test |  |  |  |  |  |
|  | Performed odor test |  |  |  |  |  |
|  | Performed standardization of stock solutions for required titrations |  |  |  |  |  |
|  | Performed chloride test |  |  |  |  |  |
|  | Performed water hardness test |  |  |  |  |  |
|  | Performed calcium hardness test |  |  |  |  |  |
|  | Performed magnesium hardness test |  |  |  |  |  |
|  | Prepared culture media |  |  |  |  |  |
|  | Compiled analytical results into standard report templates |  |  |  |  |  |
|  | Identified compliance parameters of water for portability |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1. | PPE stands for? |  |  |
| 2. | Which PPE is used to protect eyes in the laboratory? |  |  |
| 3. | What is the range of chloride in drinking water according to WHO guideline? |  |  |
| 4. | PPM stands for? |  |  |
| 5. | Which indicator is used to determine chloride? |  |  |
| 6 | Which chemical is used to maintain pH for calcium hardness in water? |  |  |
| 7 | At what temperature sample should be warmed for odor detection? |  |  |
| 8 | What is the pressure during autoclaving? |  |  |
| 9 | What is the reporting unit of total coliform test? |  |  |
| 10 | MPN stands for? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________