Water Quality Technician (Level 4)

Activity # 3

List of Consumables

| Sr.# | Consumables | Quantity per trainee |
| --- | --- | --- |
| 1 | N-hexane | 250 ml |
| 2 | COD vials (0to 1500) | 2 |
| 3 | Lauryl Tryptose Sulfate broth | 20 g |
| 4 | Escherichia coli Broth | 20g |
| 5 | Micro pipette tips | 10 |
| 6 | Sulphuric acid | 10 ml |
| 7 | Potassium dichromate | 1 g |
| 8 | Weighing dishes | 10 |
| 9 | Spirit | 100 ml |
| 10 | Wash bottle | 2 |
| 11 | Spirit Lamp | 1 |
| 12 | Ethanol 70% | 100 ml |

*All reagents should be prepared in deionized/distilled water

**All glassware should be washed and rinsed in de-ionized/distilled water

Note: All the tools & equipment from this qualification will be ready and in functional condition before the start of assessment.