| Dr. Asma Saeed Chief Scientific Officer, Head of FBRC, PCSIR, Lahore Dr. Asma Sheikh Senior Scientific Officer, FBRC, PCSIR, Lahore Dr. Mubashar Iqbal Assistant Professor, University of Layyah Dr. Adnan Zahid, Assistant Professor, Dept of Agriculture Lahore Mr. Faisal Shahzad Instructor, PVTC, Lahore Mr. Nouman Zafar, Scientific Officer II, Qarshi Research International, Lahore Mr. Nadeem Ahmad, Junior Research Officer, PHED, Lahore Mr. Usama Amir, Supervisor WASA Sargodha Mr. Arslan Ahsan, In-charge Water Supply Bahria Town, Islamabad Miss Palwisha Faryad Khokhar, Research Assistant, University of Punjab Miss Nimra Salahuddin, Research Assistant, University of Punjab Miss Rabia Saddique, Research Assistant, University of Punjab Mr. Amir Sarwar TTB, Punjab Mr. Ghulam Sarwar Joya Manager PVTC DACUM Facilitator: Muhammad Abdul Moeez Lahore NAVTTC Coordinator: Muhammad Ishaq Deputy Director, Islamabad | Assessment Evidence Guide For Water Quality Technician Level-4 Summative Assessment Activity-2 |
| --- | --- |
|  | Date 15th -19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standards | - Perform Sampling of Water - Perform Disposal of Waste - Conduct Advance Physical testing of Wastewater - Conduct Advance Chemical Testing of Water - Conduct Advance Chemical Testing of Wastewater - Conduct Advance Microbiological Testing of Water ### Implement Quality Assurance Procedure in Water Testing Operations - Manage Data in Water Testing Operations - Maintain Environmental Compliance in Water Testing |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: You are working as a water quality technician and are assigned duties to carry out the routine water testing in laboratory. Your task is to apply all required safety procedures, including PPE use, sample handling, environmental facility monitoring, advance physical, chemical & microbiological testing for quality of provided sample. You will be given a sample to perform following physical, chemical & microbiological testing parameters including total suspended solids, fluoride & total plate count respectively. You will compile verified analytical results & compare with provided standard for water. Activity: Safe laboratory practice, sample handling, physical, chemical & microbiological testing, data calculation & reporting of results |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Wear PPEs as required - Perform pre-treatment of sample before analysis as per method requirement - Perform total suspended solids test - Perfrom filtration for total suspended solids - Perform fluoride test - Perform calibration of instrument for fluoride test as per OEM - Perform calibration curve of fluoride standards - Perfrom total plate count test - Perform autoclaving of culture media - Perform serial dilution - Compile analytical results into standard report templates - Identify compliance parameters of water for potability |

*Bold are critical performance criteria

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Safe laboratory practice, sample handling, physical, chemical & microbiological testing, data calculation & reporting of results |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear PPEs as required |  |  |
| - Perform pre-treatment of sample before analysis as per method requirement |  |  |
| - Perform total suspended solids test |  |  |
| - Perfrom filtration for total suspended solids |  |  |
| - Perform fluoride test |  |  |
| - Perform calibration of instrument for fluoride test as per OEM |  |  |
| - Perform calibration curve of fluoride standards |  |  |
| - Perfrom total plate count test |  |  |
| - Perform autoclaving of culture media |  |  |
| - Perform serial dilution |  |  |
| - Compile analytical results into standard report templates |  |  |
| - Identify compliance parameters of water for potability |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Quality Technician Level 4 |
| --- | --- |
| Competency Standards | - Perform Sampling of Water - Perform Disposal of Waste - Perform Advance Physical testing of Wastewater - Perform Advance Chemical Testing of Water - Perform Advance Chemical Testing of Wastewater - Perform Advance Microbiological Testing of Water ### Apply Quality Assurance Procedure in Water Testing Operations - Manage Data in Water Testing Operations - Apply Environmental Compliance in Water Testing |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Safe laboratory practice, sample handling, physical, chemical & microbiological testing, data calculation & reporting of results |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wore PPEs as required |  |  |  |  |  |
|  | Performed pre-treatment of sample before analysis as per method requirement |  |  |  |  |  |
|  | Performed total suspended solids test |  |  |  |  |  |
|  | Perfromed filtration for total suspended solids |  |  |  |  |  |
|  | Performed fluoride test |  |  |  |  |  |
|  | Performed calibration of instrument for fluoride test as per OEM |  |  |  |  |  |
|  | Performed calibration curve of fluoride standards |  |  |  |  |  |
|  | Perfromed total plate count test |  |  |  |  |  |
|  | Performed autoclaving of culture media |  |  |  |  |  |
|  | Performed serial dilution |  |  |  |  |  |
|  | Compiled analytical results into standard report templates |  |  |  |  |  |
|  | Identified compliance parameters of water for potability |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1. | Which chemical is added to preserve wastewater samples for COD testing? |  |  |
| 2. | What solution is commonly used for chemical disinfection? |  |  |
| 3. | Which solvent is used to extract oil and grease from the sample? |  |  |
| 4. | Which instrument is used to measure sodium and potassium concentration? |  |  |
| 5. | What does PPE stand for? |  |  |
| 6. | What does BOD stand for? |  |  |
| 7. | Which agar is used for yeast and mold testing? |  |  |
| 8. | Which broth is first used for presumptive coliform testing? |  |  |
| 9. | Which standards are used to verify environmental compliance in water testing? |  |  |
| 10. | What does CFU mean? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________