Curriculum for National Vocational Certificate Level 3 in Water Quality Assistant

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Quality Assistant. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the industry experts and other private industries, Academic experts from different universities, experts of TEVTAs, PVTC, PCSIR, PSQCA, PCRWR, Qarshi Research International, CDA, PHED diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of national and international industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	1

1.1. Date of Development	1

1.2. Date of Review and Validation	1

1.3. Entry Requirement	1

1.4. Minimum qualification for Teachers	1

1.5. Codes of qualification (ISCED)	1

1.6. Medium of instruction	1

1.7. Duration of Course	1

2.	Scheme of Studies	2

3.	Daily Contact Hours	2

4.	Details of Modules	3

4.1	0031PSD01Perform Basic Communication	3

4.2	0712EPT1001 Apply Workplace Safety Procedures in Water Testing Lab	5

4.3	0612CS01: Perform Basic Computer Operations	8

4.4	0712EPT1002 Perform Sample Handling in Laboratory	11

4.5	0712EPT1003 Maintain Laboratory Readiness	12

4.6	0712EPT1004 Segregate Waste Material for Disposal	13

4.7	0712EPT1005 Perform Basic Physical Testing of Water & Wastewater	15

4.8	0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater	17

4.9	0712EPT1007 Perform Basic Microbiology Testing of Water	21

5.	List of Consolidated Consumables, Tools, Machinery & Equipment	23

6.	Members of Qualification Development Committee	26

# Introduction

This comprehensive course is designed to equip learners with foundational competencies essential for entering in the field of Water Quality Assistance and Water Technology. The curriculum follows a hands-on, Knowledge & skill-based learning approach that fosters both technical proficiency and professional growth. Participants will begin by mastering basic communication, personal health and safety procedures, and computer operation standards relevant to the workplace. The course then progresses through key Basic Water Testing Skills, including water sample handling, laboratory readiness, equipment maintenance, and the basic physical, chemical and microbiological testing of both water and wastewater. Emphasis is placed on proper waste handling procedures and adherence to testing fundamentals and core laboratory protocols, ensuring learners build a strong foundation for advanced analytical practices.

To enhance employability and career readiness, the program integrates modules on professional portfolio development and the application of water testing competencies in real-world contexts. Learners will gain hands-on experience through On-Job Training (OJT), where they will apply classroom knowledge in practical settings under professional supervision.

| ## 1.1. Date of development | 17th – 21th November, 2025 |
| --- | --- |
| ## 1.2. Date of review and validation | November, 2028 |
| ## 1.3. Entry requirement | Secondary School Certificate (Science) or Equivalent |
| ## 1.4. Minimum qualification for teachers | MSc in Chemistry/Microbiology/Environmental Sciences/ Bio-chemistry with at least 1-year experience in relevant field OR BSc in Chemistry/Microbiology/Environmental Sciences/Bio-chemistry with at least 2-year experience in relevant field OR DAE in Chemical Technology/Lab Technology with at least 4-year experience in relevant field |
| ## 1.5. Codes of qualification (ISCED) | Code: 0712EPT10 Description: National Vocational Certificate Level 3 in Water Sector (Water Quality Assistant) |
| ## 1.6. Medium of instruction | Urdu, English or local language |
| ## 1.7. Duration of course | Total. 448 hours. Theory. 52 hours Practical. 396 hours On Job Training. 120 hours |

# Scheme of Studies

| Module code | Name of Competency | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| 0031PSD01 | Perform Basic Communication | L-2 | Generic | 4 | 12 | 16 | 1 |
| 0712EPT1001 | Apply Workplace Safety Procedures in Water Testing Lab | L-3 | Functional | 6 | 18 | 24 | 1.5 |
| 0612CS01 | Perform Basic Computer Operations | L-3 | Generic | 6 | 18 | 24 | 1.5 |
| 0712EPT1002 | Perform Sample handling in laboratory | L-3 | Technical | 4 | 12 | 16 | 1 |
| 0712EPT1003 | Maintain Laboratory Readiness | L-3 | Technical | 5 | 30 | 35 | 2 |
| 0712EPT1004 | Segregate Waste Material for Disposal | L-2 | Technical | 5 | 30 | 35 | 2 |
| 0712EPT1005 | Perform Basic Physical Testing of Water & Wastewater | L-3 | Technical | 7 | 66 | 73 | 4 |
| 0712EPT1006 | Perform Basic Chemical Testing of Water & Wastewater | L-3 | Technical | 10 | 60 | 70 | 4 |
| 0712EPT1007 | Perform Basic Microbiology Testing of Water | L-3 | Technical | 5 | 30 | 35 | 2 |
| 0712EPT1008 | On Job Training | L-3 | Technical | - | 120 | 120 | 3 |
| Total |  |  |  | 52 | 396 | 448 | 22 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 2 | 9 months |
| 4 | 5 months |
| 5 | 4 months |
| 6 | 3 months |
| 8 | 3 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 0031PSD01Perform Basic Communication

Objective: This module covers the skills and knowledge required to assist in the development of communication competency at the workplace by providing information regarding different forms of workplace communication and their appropriate use.

Duration: 16 Hours			Theory: 04 Hours			Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Follow workplace Instructions | - Execute workplace instructions. - Ask questions to extract relevant information. - Carry out instructions based on received information. - Provide feedback based on written instructions received. - Compose workplace notes and memos. | - Mode of communication - Questioning Techniques - Rules on how to write memos, notes, messages - Understand feedback process Practical Activity: Scenario The candidate is required to follow the instructions of the instructor. The instructor will ask to execute a simple task having three steps and student must do the task following the same three steps. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of safety manual | - Classroom |
| Develop effective workplace relationships | - Perform duties to improve team cooperation. - Consult team members when challenges arise. - Respect differences in personal values and beliefs. - Report observed workplace harassment to relevant authority. | - Communication technology relevant to the workplace - Effective communication (body language) - Basic workplace documentation - Introduction to workplace harassment Practical Activity: Role play Candidates will role play a scenario in pairs where a new employee introduces themselves to colleagues and ask for help in understanding their first task and colleagues will help them guide to perform the task. | Theory-01Hrs Practice-03Hrs Total- 04Hrs |  | - Classroom |
| Communicate and work with team members | - Identify individual roles and responsibilities within the team. - Recognize team members responsibilities with respect. - Identify the person for reporting inside and outside the team. - Participate in team meetings for discussions. - Communicate with team members through interaction tools and equipment. - Provide support to team members as needed during tasks. - Provide and respond to feedback | - Hierarchy of command - Communication tools and equipment Practical Activity: Role play Candidates will role play a scenario in pairs where a team leader will give instructions for a task having three steps while other will listen, ask questions and execute the task following the three steps completely. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of communication skills | - Classroom |
| Respond effectively to customer requests | - Listen to customer requests effectively. - Speak to customers using polite words. - Deliver information to required person in written or verbal form. | - Types of Customers - Speaking skills Practical Activity: Role play Candidates will role play a scenario in pairs where one act as a customer asking for information about a product and other act as staff member who listens and respond to the queries to satisfy the customer | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of safety manual | - Classroom |

## 0712EPT1001 Apply Workplace Safety Procedures in Water Testing Lab

Objective: This module covers the skills and knowledge required to Prepare for safe work practices, Perform Safe handling of tools, and equipment, Maintain Fire Extinguisher, perform basic first aid and respond to emergencies.

Duration: 24 Hours			Theory: 06 Hours				Practice: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare for safe work practices | - Identify safety requirements of job - Identify emergency procedures and evacuation steps for workplace incidents. - Wear personal protective equipment. - Follow safety instructions and signs during work - Identify workplace hazards. - Report hazards, incidents, and injuries using workplace procedures. | - Workplace Safety Requirements - Emergency Procedures and Evacuation Steps - Personal Protective Equipment (PPE) - Safety Instructions and Signs - Workplace hazards - Hazard Report Practical Activity: Candidate is required to perform a quick walkthrough of a simulated or real work area, identify 3 visible hazards, match them with appropriate safety signs or instructions, and fill hazard report form. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Stickers for Safety Signs - PPE - Emergency Alarm | - Classroom - Lab |
| Perform safe handling of tools, and equipment | - Inspect tools and equipment for defects - Follow safety guidelines while using tools and equipment - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor | - Introduction to Tools and Equipment - Safe Use Procedure of Tools and Equipment - Post-Use Cleaning and Storage procedure of tools and equipment - Tool damage report Practical Activity: Candidate is given 3 tools (real or dummy). They will inspect for visible damage or malfunction. If a defect is found, they will fill out a tool damage report and tag the tool. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Tags - Set of hardware tools - PPE | - Classroom - Lab |
| Maintain fire extinguisher | - Identify fire extinguisher according to type of fire - Check expiry of fire extinguisher. - Operate fire extinguisher. - Refill expired fire extinguisher | - Types of fire - Types of fire extinguishers - Pass, Aim, Squeeze, Sweep (PASS) - Safe Operation of Fire Extinguishers - Fire Drill Practical Activity: Candidate is required to carry out a fire drill. Identify fire and select a fire extinguisher, check expiry, pressure and practice PASS technique on a demo unit. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Fire Extinguisher | - Classroom - Lab |
| Perform basic first aid | - Ensure availability of first aid box - Check first aid box for requisite emergency medicines - Check expiry date of medicines - Perform basic first aid for minor injuries | - First aid box - Types of emergency medication - Quality check of emergency medications - Types of minor Injury - First Aid Procedure for CPR Practical Activity: Candidates are divided into pairs. Each pair will inspect a sample first aid box to check readiness against the item checklist. Each pair will perform a first aid demo on a simulated cut injury. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - First Aid box | - Classroom - Lab |
| Respond to emergencies | - Assess risk and determine course of action. - Follow emergency plan. - Implement evacuation procedures as per SOP - Operate emergency equipment and supplies | - Risk Assessment and Decision-Making. - Emergency Plan - Evacuation procedure - Emergency Equipment and Supplies Practical Activity: Candidate will go through a mock fire alarm. Perform a quick risk assessment, follow the emergency plan, simulate an evacuation, and identify/emphasize correct use of emergency tools. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| LU6. Perform safe handling of corrosive chemicals | - Identify corrosive materials - Check safety data sheets for chemicals before use - Perform dilution of acids & bases with water - Collect chemicals in corrosion resistant container - Store corrosive material separately in labelled cabinets - Dispose of corrosive waste as per SOP | - Corrosive Material Identification - Chemical Safety Data - Acid-Base Dilution - Corrosion-Resistant Containers - Segregated Storage - Corrosive Waste Disposal Practical Activity: Corrosive materials were identified, handled in corrosion-resistant containers, stored separately, and disposed of per SOP. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Corrosion-resistant containers - Labelled storage cabinets - Safety Data Sheets (SDS) - Waste disposal containers - Measuring instrument | - Classroom - Lab - Lab ssroom - Class - Lab |

## 0612CS01 Perform Basic Computer Operations

Objective: This module covers the knowledge and skills required to understand basic computer hardware, software, applications and troubleshooting. You will be able to demonstrate your skills in operating a computer system and software such as MS Office as well as installation and troubleshooting of operating system and software.

Duration: 24 Hours			Theory: 06 Hours				Practice: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Basic Configuration of computer system | - Connect computer components and peripherals as per requirement - Install Drivers and applications according to the software specification - Troubleshoot Applications to trace and fix faults if any | - Basic computer components - Peripherals & ports - Drivers - Software applications - Procedure of troubleshooting Practical Activity: Candidate is required to connect a computer with monitor, keyboard, and mouse, install drivers and a basic application, simulate and fix a simple fault to show troubleshooting skills | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Labels for marking cables and ports - Computers with basic peripherals - USB drive - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Perform Software Installation | - Download relevant software - Follow the Setup Wizard - Launch Software | - Software Acquisition - Software Installation - Application extensions - Desktop shortcuts Practical Activity: Candidate is required to download and install a basic software using the setup wizard, then launch it to confirm successful installation | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Installation guide handout - Printed checklist for installation verification - Computers with internet access - USB drive - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Demonstrate computer and internet use cases | - Operate common software applications - Access and use internet-based tools - Apply online safety and ethical practices | - Common software applications - Web navigation - Secure browsing - Online and Digital Privacy - Digital ethics Practical Activity: Candidate is required to use a browser to search and download a safe file, create and save a short document, then explain one online safety tip to the class | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printed safety tips handout - Computers with internet access - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Perform basic documentation and presentation skills using MS Office | - Create and format documents using MS Word - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint | - Introduction to MS Word - Introduction to MS Excel - Introduction to MS PowerPoint - Procedure to print documents Practical Activity: Candidate is required to create a short document in Word, a simple spreadsheet in Excel, and a three-slide presentation in PowerPoint, then save and present the files | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Computers with MS Office installed - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Manage Electronic Mail | - Set up and configure email account - Compose emails - Attach and Download files - Receive and respond to emails - Print email | - Introduction to Email - Email Service Providers - Email Account Configuration - Email Composition Practical Activity: Candidate is required to set up an email account, send an email with an attachment to a classmate, download the received file, and print the email. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printer paper - Computers with internet access - Printer | - Classroom - Lab |
| Apply Cyber Security Best Practices | - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage - Control data sharing and adjust privacy settings on devices and platforms | - Cyber threats - Secure password rules - Multi-Factor Authentication (MFA) - Antivirus software - Firewalls and ports - Data backup procedure - Data Privacy and Protection Practical Activity: Candidate is required to demonstrate three cyber threats, create a strong password, enable MFA on an account, and check antivirus and firewall status on a computer | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Computers with internet access - Antivirus - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |

### 0712EPT1002 Perform Sample Handling in Laboratory

Objective: This competency standard covers knowledge and skills required to understand sample handling in the laboratory. This unit covers proper handling and storage of water samples to maintain their integrity and reliability for analysis. It includes receiving, labeling, and recording samples as per SOPs, followed by storage under controlled environmental conditions.

Duration: 16 Hours	 Theory: 4 Hours	Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Organize collected sample | - Collect sample from liaison section - Identify sample bottle in laboratory - Measure physical condition of collected samples - Label required sample bottles as per SOP - Record field sampling accessories | - Introduction to Laboratory management System - Laboratory Record Management Practical Activity Make groups of students and provide sample to identify and label the sample bottles, check and record sample conditions. | Theory: 2Hrs. Practical: 6Hrs. Total: 8Hrs. | - Refrigerator - Hygrometer - Thermometer - Sample bottles (sterile / labeled) - Sampling bags - pH meter or test strips | - Classroom - Lab |
| LU2. Perform sample storage | - Place sample in controlled environment storage area - Monitor environmental condition of storage samples - Monitor sample retention of storage samples - Discard expired samples, if any. - Maintain record of sample retention area | - Introduction to Controlled Environment Storage - Sample processing condition - Disposal and Retention of Sample Practical Activity Make groups of students, under LAB supervisor students will store provided samples under controlled conditions and monitor retentions. | Theory: 2Hrs. Practical: 6Hrs. Total: 8Hrs. | - Refrigerator - Hygrometer - PH Meter - Thermometer / humidity meter - Sample Retention Logbook - PPEs - Container | - Classroom - Lab |

### 0712EPT1003 Maintain Laboratory Readiness

Objective: This module covers skills and knowledge required for a trainee to be competent to prepare and maintain the laboratory for routine work. It includes checking equipment and materials, ensuring cleanliness, maintaining safety measures, and verifying that all systems are functional and ready for use.

Duration: 35Hours    	Theory: 5 Hours	          Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform cleaning of glassware | - Identify types of glassware - Collect materials for cleaning as per requirement - Apply PPEs as per standards - Perform washing of glassware as per work instruction - Perform drying of glassware as per requirement - Store clean glassware - Maintain record | - Types and uses of laboratory glassware - PPE usage and safety standards - Techniques of Cleaning, drying, and storing glassware Practical Activity Perform washing, drying and storage a set of common laboratory glassware. Maintain a cleaning log for all handled glassware | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - Drying Oven - Beakers - Flasks - Cylinders - Methanol / Acetone - Test tubes - Bottle wash brushes - Detergents - Drying racks - PPEs | - Classroom - Lab |
| LU2. Maintain optimum laboratory conditions | - Apply PPEs as per standards - Verify laboratory cleanliness as per requirement - Check environmental parameters as per requirement - Verify lab safety measurements as per work instructions - Maintain record | - Introduction to Laboratory housekeeping - Laboratory facility monitoring Practical Activity Measure and record laboratory environmental conditions (temperature, humidity) and verify standards. | Theory: 02Hrs. Practical: 09Hrs. Total:11Hrs | - Thermometer - Hygrometer - Disinfectants and cleaning agent - Waste disposal bins - Chemical storage racks | - Classroom - Lab |
| LU3. Perform cleaning of lab equipment | - Identify instruments for cleaning - Collect cleaning items needed as per requirement - Apply PPEs as per standards - Perform cleaning of equipment as per standard method - Perform drying of equipment as per requirement - Check proper functioning of instruments - Calibrate instrument as per requirement - Verify lab safety measurements as per work instructions - Maintain record | - Introduction to cleanliness of equipment - Overview of equipment calibration Practical Activity Perform cleaning and drying of provided laboratory equipment. Calibrate a provided instrument. Inspect cleaned equipment for proper functioning and record results. | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - Thermometer - Hygrometers - Lab Equipment (for calibration) - PPEs - Disinfectants and cleaning agent - Waste disposal bins | - Classroom - Lab |
| LU4. Maintain inventory | - Identify materials recorded in inventory - Maintain stock quantities as per requirement - Segregate inventory items as per requirement - Label materials as per types - Update inventory records regularly - Store inventory items as per standards | - Introduction to stock management - Techniques of Segregation and labeling of materials Practical Activity Perform a stock count and update inventory records for selected items. Segregate and label inventory items according to type and store them properly. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - Refrigerator - Inventory items (chemicals, glassware, consumables) - Labeling tags - Fume hood & Blower - Chemical storage Racks - PPEs | - Classroom - Lab |

## 0712EPT1004 Segregate Waste Material for Disposal

Objective: This Module will provide the skills and knowledge required to safely collect, segregate, and manage solid, chemical, and microbiological wastes in compliance with health, safety and environmental guidelines, including the use of PPEs, safe segregation practices, and accurate record keeping.

Duration: 35 Hours		Theory: 5 Hours		Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Segregate solid waste | - Identify different types of solid waste - Apply PPEs as per standards - Select color-coded bins for each waste type - Perform solid waste segregation as per requirement - Maintain cleanliness of works place - Maintain safety of workplace - Maintain record of solid waste | - Introduction to solid waste - Segregation of solid waste Practical Activity Conduct a group activity to segregate solid waste from laboratory waste. | Theory: 02Hrs. Practical: 12Hrs. Total: 14Hrs | - Heavy-duty gloves - Safety boots - Face masks - Color-coded bins - Biohazard bags - Chemical waste containers - Sharps disposal containers - Tongs/grabbers - Brooms and dustpans - Disinfectant solutions | - Classroom - Lab |
| LU2. Segregate liquid waste | - Identify different types of liquid waste - Apply PPEs as per standards - Select appropriate containers for each waste type - Label containers as per requirement - Perform liquid waste segregation as per requirement - Maintain cleanliness of work place - Maintain safety of workplace - Maintain record of liquid waste | - Introduction to liquid waste - Segregation of Liquid waste Practical Activity Conduct a group activity to segregate liquid waste from laboratory waste. | Theory: 02Hrs. Practical: 09Hrs. Total: 11Hrs | - PPEs - Leak-proof containers - Funnel and spill trays - Chemical spill kits - Disinfectant solution and cleaning cloths | - Classroom - Lab |
| LU3. Segregate microbiological waste | - Identify different types of microbiological waste - Apply PPEs as per standards - Collect designated color-coded containers for segregation - Collect biohazard labeled containers for segregation - Perform segregation of infectious waste materials - Perform segregation of non-infectious waste materials - Maintain cleanliness of works place - Maintain safety of workplace - Maintain record of microbiological waste | - Introduction to microbiological waste - Overview of Biohazards - Sterile workplace Practical Activity Conduct a lab waste simulation to identify, sort, and document microbiological materials using proper PPE and containers while maintaining Biological Safety Level (BSL) of Lab protocols. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - Nitrile gloves - Color-coded bins - Biohazard bins/bags - Autoclave - Broken glass vials - Disinfectant spray | - Classroom - Lab (BSL 1 & 2) |

### 0712EPT1005 Perform Basic Physical Testing of Water & Wastewater

Objective: This competency standard will provide skills and knowledge related to basic physical testing of water and wastewater. You will be able to demonstrate your skills in evaluation of pH, total dissolved solids, electrical conductivity, turbidity, dissolved oxygen, odor and temperature.

Duration: 73 Hours    	Theory: 7 Hours	          Practice: 66 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform temperature test | - Select thermometer - Identify sample for test - Clean thermometer probe as per SOP - Pour sample in required beaker. - Immerse thermometer bulb in water. - Record temperature after required time. | - Introduction to Temperature - Temperature measurement Practical Activity The candidate is provided with water sample to measure temperature and report the test findings | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - Thermometer - Beaker/sample container | - Classroom - Lab |
| LU2. Perform pH test | - Select pH meter - Identify sample for test - Clean probe of pH meter with distilled water. - Calibrate meter with pH 4, 7 and 11 buffer. - Immerse probe in sample water. - Record pH reading. | - Introduction to pH - Working principles of pH meter - Calibration of pH meter Practical Activity The candidate is provided with water sample to find the pH and report the observations | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - pH Meter - Buffer Solutions of pH (4,7 & 11) - Thermometer - Beaker (100mL) - Lint free tissue papers - KCl (3M) solution | - Classroom - Lab |
| LU3. Perform electrical conductivity test | - Select conductivity meter - Identify sample for test - Clean probe of conductivity meter - Perform calibration of conductivity meter - Pour sample in beaker - Immerse probe in water sample - Record reading | - Introduction to Electrical conductivity - Working principles of Electrical conductivity meter Practical Activity The candidate is provided with water sample to measure the electrical conductivity by using conductivity meter and prepare a report of test findings. | Theory: 01Hrs. Practical: 12Hrs. Total: 13Hrs | - EC Meter - Calibration Solutions (1413 µS/cm) - Beakers/sample containers - Sample collection bottle - Washing bottles - Lint free tissue papers | - Classroom - Lab |
| LU4. Perform total dissolved solids test | - Select TDS meter - Identify sample for test - Clean electrode of TDS meter - Pour water sample in beaker - Immerse electrode in sample - Record stable TDS value | - Introduction to Total Dissolved Solids - Working principles of TDS meter Practical Activity The candidate is provided with water sample to measure Total Dissolved solids by using TDS meter and prepare a report of test findings. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - TDS Meter - Calibration Solutions (1382 ppm) - Beakers/sample containers - Sample collection bottle - Washing bottles - Lint free tissue papers | - Classroom - Lab |
| LU5. Perform dissolved oxygen test | - Select Dissolved Oxygen meter - Identify sample for test - Perform Calibration with air saturated water - Pour sample in reagent bottle - Clean probe of meter - Record stable reading | - Introduction to Dissolved oxygen - Working principles of DO meter Practical Activity: The candidate is provided with water sample to measure Dissolved oxygen by using DO meter and prepare a report of test findings. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - DO Meter - Calibration solutions (zero oxygen solution & air calibration) - Beakers / sample containers - Sample collection bottle (preferably BOD bottle) | - Classroom - Lab |
| LU6. Perform turbidity test | - Select turbidity meter - Identify sample for test - Perform Calibration as per SOP - Fill vial with sample and screw up - Place vial in instrument cell - Record stabilized reading in turbidity units | - Introduction to Turbidity - Working principles of Turbidity Meter Practical Activity: The candidate is provided with water sample to measure Turbidity by using Turbidity meter and prepare a report of test findings. | Theory: 01Hrs. Practical: 12Hrs. Total: 13Hrs | - Turbidity meter with primary standards - Sample collection bottle - Beakers / sample containers - Lint free tissue paper | - Classroom - Lab |
| LU7. Perform odor test | - Identify source of water for odor test - Collect water sample in clean odor free bottle - Perform sealing of bottle with cap - Warm the sample at 40ºC - Identify sample smell - Prepare report with observation compliance and sustainable energy practices. | - Introduction to types of odor in water Practical Activity Candidates are provided with water sample to find the characteristic odors and record the observations. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - Clean, odor-free glass bottles (for sample collection) - Beakers / sample containers - Hot Plate with heating sensor | - Classroom - Lab |

### 0712EPT1006 Perform Basic Chemical Testing of Water & Wastewater

Objective: This module will provide skills and knowledge required to perform basic chemical testing of water and wastewater including free chlorine, sulphide, water hardness, total alkalinity and chloride. These tests ensure water quality, treatment effectiveness, and compliance with environmental standards to safeguard public health.

Duration: 70 Hours		Theory: 10 Hours		Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform free chlorine | - Select sample for test - Fill testing cuvette with sample - Add DPD reagent to cuvette - Mix gently until reagent dissolves - Measure chlorine of sample at instrument - Record results in data sheet | - Introduction to chlorination - Operation of chlorine meter - Chlorine reactions and its impact Practical Activity Collect water samples from different sources that use chlorine gas as disinfectant and perform free chlorine test for each sample. | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - Total & free chlorine meter - DPD reagent - Sample bottles - Glass Vials - Beaker (100mL) - Syringe (10mL) - Dropper (10mL) | - Classroom - Lab - Field |
| LU2. Perform sulphide test | - Select sample for test - Add required volume of iodine solution in titration flask - Add equal volume of reagent water - Pipette required acid volume in titration flask - Pipette required volume of sample in titration flask - Add starch indicator - Titrate with standard sodium thiosulphate solution - Calculate sulfide concentration in sample by formula | - Introduction to sulphide in waste water - Principles of Sulphide titration - Methodology of sulphide testing - Basic calculations and results evaluation Practical Activity The candidate is provided with a sample of waste water to perform sulphide test and prepare report of test findings. | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - Burette (50mL) - Conical flasks (250mL) - Pipette (10mL) - Pipette Filler - Sodium thiosulphate - Starch indicator - Potassium dichromate - Potassium iodide - Indicator bottle | - Classroom - Lab |
| LU3. Perform water hardness test | - Identify sample for total hardness testing - Pipette sample into a clean conical flask - Add ammonia buffer to maintain correct pH for reaction - Add Erichrome Black T indicator - Titrate sample against standard EDTA solution - Record burette reading - Calculate total hardness using formula | - Introduction to hardness in water - Principles of hardness titration - Methodology of hardness testing - Basic calculations and results evaluation Practical Activity The candidate is provided with a sample of water to perform hardness test and prepare report of test findings. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - Burette (50mL) - Conical flasks (250mL) - Pipette (10mL) - Pipette Filler - Sodium salt of EDTA - EBT indicator - Ammonium hydroxide - Ammonium chloride - Magnesium salt of EDTA - Calcium carbonate - HCl - Indicator bottle | - Classroom - Lab |
| LU4. Perform calcium hardness test | - Identify sample for calcium hardness testing - Pipette water sample into a clean conical flask - Add NaOH to raise pH at required level - Add murexide indicator - Titrate sample against standard EDTA solution - Calculate Calcium Hardness as per procedure | - Introduction to calcium hardness in water - Principles of calcium hardness titration - Methodology of calcium hardness testing - Basic calculations and results evaluation Practical Activity The candidate is provided with a sample of water to perform calcium hardness test and prepare report of test findings. | Theory: 02Hrs. Practical: 09Hrs. Total: 11Hrs | - Burette (50mL) - Conical flasks (250mL) - Pipette (10mL) - Pipette Filler - Sodium salt of EDTA - Murexide indicator - Sodium hydroxide - Calcium carbonate - HCl - Indicator bottle | - Classroom - Lab |
| LU5. Perform magnesium hardness test | - Select sample for magnesium testing - Identify total hardness value of sample - Identify calcium value of sample - Calculate Magnesium Hardness from formula | - Introduction to Magnesium hardness in water - Basic calculations and results evaluation Practical Activity The candidate is provided with a data of total hardness and calcium hardness tests of a water sample. Calculate magnesium hardness with the help of provided data. | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - As per Total hardness and calcium hardness tests | - Classroom - Lab |
| LU6. Perform total alkalinity | - Identify sample for Alkalinity Test - Pipette water sample in conical flask - Add Bromocresol green indicator - Titrate sample against standard acid - Calculate total alkalinity by using formula | - Introduction to total alkalinity in water - Principles of total alkalinity titration - Methodology of total alkalinity testing - Basic calculations and results evaluation Practical Activity The candidate is provided with a sample of water. Perform total alkalinity test and prepare report of test findings. | Theory: 02Hrs. Practical: 09Hrs. Total: 11Hrs | - Burette (50mL) - Conical flasks (250mL) - Pipette (10mL) - Pipette Filler - Sulfuric acid - Sodium carbonate - Bromocresol green indicator - Indicator bottle | - Classroom - Lab |
| LU7. Perform acidity test | - Identify sample for acidity test - Pipette sample in conical flask - Add phenolphthalein indicator in sample - Titrate sample against standard NaOH - Calculate acidity of sample by using formula | - Introduction to acidity in water - Principles of acidity titration - Methodology of acidity testing - Basic calculations and results evaluation Practical Activity The candidate is provided with a sample of water. Perform acidity test and prepare report of test findings. | Theory: 02Hrs. Practical: 09Hrs. Total: 11Hrs | - Burette (50mL) - Conical flasks (250mL) - Pipette (10mL) - Pipette Filler - Sodium hydroxide - Sulfuric Acid - phenolphthalein indicator - Indicator bottle | - Classroom - Lab |
| LU8. Perform chloride test | - Identify sample for acidity test - Pipette water sample in titration flask - Add potassium chromate indicator - Titrate against silver Nitrate until brick red end point appears - Calculate chloride concentration by using formula | - Introduction to chloride in water - Principles of chloride titration - Methodology of chloride testing - Basic calculations and results evaluation Practical Activity The candidate is provided with a sample of water. Perform chloride test and prepare report of test findings. | Theory: 02Hrs. Practical: 09Hrs. Total: 11Hrs | - Burette (50mL) - Conical flasks (250mL) - Pipette (10mL) - Pipette Filler - Silver Nitrate - Sodium chloride - Potassium chromate indicator - Indicator bottle | - Classroom - Lab |

### 0712EPT1007 Perform Basic Microbiology Testing of Water

Objective: This module covers hands-on skill development and knowledge required for the microbiological examination of water and wastewater. Upon the completion of the module the student will be able to successfully perform the quantitative analysis of microbiological quality of water and wastewater in laboratory.

Duration: 35				Theory: 05				Practice: 30

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare culture media | - Measure required quantity of culture media - Dissolve required culture media in distilled water - Perform pH adjustment, if required - Perform heating of required culture media for clearing solution | - Introduction to Biological Safety Level (BSL) 1& 2 of Microbioligical Lab - Microbiological test media - Media preparation methods Practical activity Candidate is provided with culture media. Perform preparation of culture media. | Theory: 02Hrs. Practical: 06Hrs. Total: 08Hrs | - Autoclave - Sterilization strip - pH meter - Analytical balance - Culture media - Distilled water - Measuring cylinder - Erlenmeyer flask - Burner | - Classroom - Lab - (BSL 1 & 2) |
| LU2. Perform autoclaving | - Select culture media for autoclaving - Perform moist autoclaving at 121oC for 15 minutes at 15 psi - Check autoclaving procedure using autoclave strip - Perform autoclaving on required culture media and glassware - Prepare aseptic media plates for analysis - Prepare aseptic media broth for analysis - Clean autoclave as per SOP | - Introduction to autoclave - Difference between plates and broth Practical activity Candidate is provided with autoclave. Perform autoclave procedure. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - Autoclave - Sterilization strip - Timer - Glass petri plate containers and plates - Erlenmeyer flasks (250 ml) - Cotton and aluminum foil | - Classroom - Lab - (BSL 1 & 2) |
| LU3. Perform sterilization | - Select required glassware for sterilization - Place required glassware in Oven at required temperature - Check microbial contamination on glassware after 24 Hours - Maintain logbook as required | - Introduction to sterilization - Dry heat sterilization - Post-Sterilization Contamination Check Practical activity Candidate is provided with oven. Perform dry heat sterilization procedure on provided apparatus. | Theory: 01Hrs. Practical: 06Hrs. Total: 07Hrs | - Electrical oven - Glass petri plate containers and plates - Aluminum foil | - Classroom - Lab - (BSL 1 & 2) |
| LU4 Perform field qualitative test | - Select microbiological field test kit - Add water sample directly from field source in kit aseptically - Perform Incubation of sample at required temperature - Record results after 18-24 hours as per procedure | - Introduction to field sampling - Field testing techniques Practical activity Candidate is provided with field kit. Perform test in field and record test results. | Theory: 01Hrs. Practical: 09Hrs. Total: 10Hrs | - Field test kit - Incubator at 35oC | - Classroom - Lab - (BSL 1 and 2) - Field |

# List of Consolidated Consumables, Tools, Machinery & Equipment

| - A. Consolidated List of Consumables |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Tools and Equipment |  | Quantity |
| 1 | DPD Indicator |  | 500 mL |
| 2 | Iodine Solution |  | 500 mL |
| 3 | Starch Indicator |  | 100 gm |
| 4 | Sodium Thiosulphate |  | 500 gm |
| 5 | Hydrochloric acid |  | 2.5 L |
| 6 | Ammonium Hydroxide |  | 2.5 L |
| 7 | Ammonium Acetate |  | 500 gm |
| 8 | Magnesium Chloride |  | 500 gm |
| 9 | Magnesium Sulfate |  | 500 gm |
| 10 | EDTA disodium salt |  | 500 gm |
| 11 | Magnesium salt of EDTA |  | 100 gm |
| 12 | EBT Indicator |  | 50 gm |
| 13 | Sodium Chloride |  | 500 gm |
| 14 | Calcium Carbonate |  | 500 gm |
| 15 | Bromocresol Green Indicator |  | 50 gm |
| 16 | Murexide |  | 100 gm |
| 17 | Sulfuric acid |  | 2.5 L |
| 18 | Sodium Hydroxide |  | 500 gm |
| 19 | Phenolphthalein Indicator |  | 100 gm |
| 20 | Potassium Chromate |  | 500 gm |
| 21 | Silver Nitrate |  | 50 gm |
| 22 | Sodium carbonate |  | 500 gm |
| 23 | Buffer solution of pH 4, 7 & 10 |  | 1 |
| 24 | pH buffers |  | - bottles |

| - B. Consolidated List of Tools, Machinery & Equipment |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Tools and Equipment |  | Quantity |
| 1 | Whiteboard/Projector/Multimedia |  | 1 |
| 2 | Fire Extinguisher |  | 1 |
| 3 | First Aid Kit |  | 1 |
| 4 | Personal computer with basic accessories |  | 25 |
| 5 | MS Office Suite |  | As per requirement |
| 6 | pH Meter |  | 1 |
| 7 | Thermometer |  | 1 |
| 8 | Hygrometer |  | 1 |
| 9 | Refrigerator |  | 1 |
| 10 | Lab coats |  | 25 |
| 11 | Disposable gloves |  | 25 |
| 12 | Face mask |  | 25 |
| 13 | Safety goggles |  | 25 |
| 14 | Safety shoes |  | 25 |
| 15 | Head cap |  | 25 |
| 16 | Chemical disinfectant containers |  | 01 |
| 17 | Storage shelves |  | 03 |
| 18 | Markers |  | 03/as per requirement |
| 19 | Tags |  | 05 |
| 20 | Logbooks |  | 05 |
| 21 | Waste bins |  | 03 |
| 22 | Color-coded waste bins |  | 03 |
| 23 | Biohazard bags |  | 12 |
| 24 | Biohazard containers |  | 03 |
| 25 | Plastic waste buckets |  | 03 |
| 26 | TDS Meter |  | 1 |
| 27 | Turbidity Meter |  | 1 |
| 28 | DO Meter |  | 1 |
| 29 | Electrical Conductivity Meter |  | 1 |
| 30 | Glass beaker |  | 10 |
| 31 | Sample glass bottles |  | 10 |
| 32 | CRM of TDS & Conductivity |  | 1 |
| 33 | Standard solution for turbidity |  | 1 |
| 34 | Total & Free Chlorine meter |  | 01 |
| 35 | Burette 50 mL |  | 04 Nos. |
| 36 | Pipette (10, 25, 50 mL) |  | 02 Each |
| 37 | Titration Flask 250 mL |  | 05 Nos. |
| 38 | Volumetric Flask (100, 250, 1000 mL) |  | 02 Nos. each |
| 39 | Titration stand |  | 05 Nos. |
| 40 | Glass cylinder (10, 25, 50, 100 mL) |  | 02 Nos. each |
| 41 | Reagent Storage Bottles 500 mL |  | 05 Nos. |
| 42 | Indicator Bottles/droppers |  | 05 Nos. |
| 43 | Analytical balance |  | 01 |
| 44 | Oven temperature 250C |  | 01 |
| 45 | Autoclave |  | 01 |
| 46 | De Ionizer Assembly |  | 01 |
| 47 | Field kit |  | 01 |
| 48 | Sterilization strips |  | - pack |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Dr. Asma Saeed | Chief Scientific Officer | FBRC, PCSIR Lahore |
|  | Dr. Asma Sheikh | Senior Scientific Officer | FBRC, PCSIR Lahore |
|  | Dr. Munawar Hussain | Assistant Director Technical | PSQCA Lahore |
|  | Dr. Habib Ur Rehman | Research Officer | PCRWR Lahore |
|  | Dr. Adnan Zahid | Assistant Professor | Agriculture Lahore |
|  | Mr. Faisal Shahzad | Instructor | PVTC |
|  | Mr. Muhammad Karamat Shaheen | Chemist | CDA Islamabad |
|  | Mr. Atta Ur Rahman | Haelth Safety and Environment Engineer | NEC Peshawar |
|  | Mr. Nouman Zafar | Scientific Officer-ll | Qarshi Research International, Lahore |
|  | Mr. Nadeem Ahmad | Junior Research Officer | PHED Lahore |
|  | Fawad Inayat | Water Testing Officer | Wasa Rawalpindi |
|  | Usama Amir | Supervisor | Wasa Sargodha |
|  | Khawaja Umer | Technical Manager | ZFK Resources (PVT Limited) |
|  | Muhammad Anas | Assistant Professor | University, Layyah |
|  | Muhammad Abdul Moeez | DACUM Facilitator | Lahore |
|  | Muhammad Ishaq | Deputy Director | Islamabad |