Curriculum for National Diploma Level 4 in Water Quality Technician

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Quality Technician. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the industry experts and other private industries, Academic experts from different universities, experts of TEVTAs, PVTC, PCSIR, PSQCA, PCRWR, CDA, Qarshi Research International,  PHED diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of national and international industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	1

1.1 Date of Development	1

1.2 Date of Review and Validation	1

1.3 Entry Requirement	1

1.4 Minimum qualification for teachers	1

1.5 Codes of qualification (ISCED)	2

1.6 Medium of instruction	2

1.7 Duration of Course	2

2.	Scheme of Studies	2

3.	Daily Contact Hours	3

4.	Details of Modules	3

4.1 0712EPT1101 Perform Sampling of Water	3

4.2 0712EPT1102 Perform Disposal of waste	5

4.3 0712EPT1103 Perform Advance Physical testing of Wastewater	7

4.4 0712EPT1104 Perform Advance Chemical Testing of Water	8

4.5 0712EPT1105 Perform Advance Chemical Testing of Wastewater	11

4.6 0712EPT1106 Perform Advance Microbiological Testing of water	17

4.7 0712EPT1107 Apply Quality Assurance Procedure in Water Testing Operations	20

4.8 0712EPT1108 Manage Data in Water Testing Operations	21

4.9 0712EPT1109: Apply Environmental Compliance in Water Testing	23

5.	List of Consolidated Consumables, Tools, Machinery & Equipment	24

6.	Members of Qualification Development Committee	28

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledges the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of Curriculum for the trade of Water Quality Technicians in Pakistan. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

This comprehensive course is designed to equip learners with foundational competencies essential for entering in the area of Water Quality assurance. The curriculum follows a hands-on, skill-based learning approach that fosters both knowledge & technical proficiency, and professional growth. Participants will begin by mastering advance water testing skills, including water sampling and advance physical, chemical, and microbiological testing of water and wastewater, data management along with environmental regulations. Emphasis is placed on proper waste handling procedures and adherence to testing fundamentals and core laboratory protocols, ensuring learners build a strong foundation for advanced analytical practices.

To enhance employability and career readiness, the program integrates modules on professional portfolio development and the application of quality water testing competencies in practical contexts. Learners will gain hands-on experience through On-Job Training (OJT), where they will apply classroom knowledge and laboratory experience in field & industrial sector under professional supervision. By the end of the program, graduates will be well-prepared to contribute effectively to maintain and improve water quality indicators cross a range of industries and environmental sectors

| ## 1.1 Date of development | 17th November 2025 to 21st November, 2025 |
| --- | --- |
| ## 1.2 Date of review and validation | November, 2028 |
| ## 1.3 Entry requirement | National Vocational Qualification for Water Quality Assistant Level – 3 OR Secondary School Certificate in Science with at least 6 Month of relevant work experience certificate |
| ## 1.4 Minimum qualification for teachers | MSc in Chemistry/Microbiology/Environmental Sciences/ Bio-chemistry with at least 1 year experience in relevant field OR BSc in Chemistry/Microbiology/Environmental Sciences/Bio-chemistry with at least 2-years’ experience in relevant field OR DAE in Chemical Technology/Lab Technology with at least 4-years’ experience in relevant field |
| ## 1.5 Codes of qualification (ISCED) | Code: 0712EPT11 Description: National Diploma Level 4 in Water Sector (Water Quality Technician) |
| ## 1.6 Medium of instruction | Urdu, English or local language |
| ## 1.7 Duration of Course | Total. 823 hours. Theory. 97 hours Practical. 726 hours On Job Training. 240 hours |

# Scheme of Studies

| Module code | Name of Competency | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| 0712EPT1101 | Perform Sampling of Water | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0712EPT1102 | Perform disposal of Waste | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0712EPT1103 | Conduct Advance Physical Testing of Wastewater | L-4 | Technical | 8 | 54 | 62 | 3.5 |
| 0712EPT1104 | Conduct Advance Chemical Testing of Water | L-4 | Technical | 19 | 72 | 91 | 5.5 |
| 0712EPT1105 | Conduct Advance Chemical Testing of Wastewater | L-4 | Technical | 9 | 72 | 81 | 4.5 |
| 0712EPT1106 | Conduct Advance Microbiological Testing of Water | L-4 | Technical | 15 | 90 | 105 | 6 |
| 0712EPT1107 | Implement Quality Assurance Procedure in Water Testing Operations | L-4 | Technical | 6 | 48 | 54 | 3 |
| 0712EPT1108 | Manage Data in Water Testing Operations | L-4 | Technical | 12 | 36 | 48 | 3 |
| 0712EPT1109 | Maintain Environmental Compliance in Water Testing | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0712EPT1110 | On-Job Training | L-4 | Technical | - | 240 | 240 | 6 |
| Total |  |  |  | 97 | 726 | 823 | 40 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 4 | 9 months |
| 5 | 7 months |
| 6 | 6 months |
| 8 | 5 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 4.1 0712EPT1101 Perform Sampling of Water

Objective: This module covers knowledge and skills required to understand water sampling. It is the process of collecting water from various sources to analyze physical, chemical, and microbiological parameters. Proper sampling procedures and field equipment are essential to avoid contamination and ensure reliable analytical results.

Duration: 51 Hours    	Theory: 9 Hours	          Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare field sample kit | - Identify work plan required for sampling - Select field proforma required - Identify sample bottles required for sampling - Select preservatives for required sample - Calibrate EC meter required - Calibrate pH meter required - Calibrate DO meter required - Check functionality of thermometer - Check functionality of total and free chlorine kit required - Check ice box for sample storage | - Introduction to sampling field kit - Sampling protocols Practical Activity The candidate is provided with a sampling field kit and a checklist. Verify all required items of field performance. | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Sample bottles - Preservatives - Field proforma - Work plan - Thermometer - EC meter - pH meter - Total and free chlorine kit - DO meter - PPEs | - Classroom - Laboratory |
| Collect water sample | - Identify instrument required for sampling - Identify source for water sample collection - Label sample bottles as per requirement - Collect water for microbiological sample in required bottle aseptically - Collect water sample as per required test - Perform sample preservation with required reagents | - Introduction to water sampling - Types of water samples and preservation - Types of field instruments Practical Activity The candidate is provided with a plan. Collect different types of water samples as per plan. | Theory-02Hrs Practice-09Hrs Total- 11Hrs | - Sample bottles - Field proforma - Preservatives - EC meter - pH meter - Total and free chlorine kit - GPS device - Thermometer - PPEs | - Classroom - On Field |
| Collect wastewater sample | - Identify source point for wastewater sample - Select required glass bottle for wastewater sample collection - Clean sampling bottle three times with sample water - Take Sample from sufficient depth as per SOP - Preserve sample for COD with H2SO4 to lower pH | - Introduction to wastewater sampling and protocols - Waste water testing parameters Practical Activity The candidate is provided with a plan. Collect different types of wastewater samples as per plan. | Theory-02Hrs Practice-09Hrs Total- 11Hrs | - Sample bottles - Preservatives - EC meter - pH meter - Total and free chlorine kit - DO meter - Thermometer - GPS device - PPEs | - Classroom - On Field |
| Perform field test analysis | - Select source for test analysis - Record temperature of water sample source - Record pH of source using pH meter - Record electrical conductivity using EC meter - Record dissolved oxygen (DO) of source using field DO meter - Record total and free chlorine using chlorine kit | - Introduction to field test analysis - Working methodologies of field tests Practical Activity The candidate is provided with wastewater samples. Calibrate field equipment and perform field tests and record the results in field proforma | Theory-02Hrs Practice-09Hrs Total- 11Hrs | - EC meter - pH meter - Total and free chlorine kit - DO meter - Thermometer - GPS device - PPEs | - Classroom - On Field |
| Perform sample handling | - Identify sample bottle - Label required sample bottles as per SOP - Seal sample bottles with paper tape - Place samples inside the insulated ice boxes - Maintain required temperature during transportation - Transport samples to laboratory as per required SOP | - Introduction to sample identification - Sample chain of custody - Sample storage handling Practical Activity: The candidate is provided with water samples. Perform sample handling and storage as per work instructions provided. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Icebox - Field incubator - Sealing tape - Thermometer - PPEs | - Classroom - On Field - Lab |

## 4.2 0712EPT1102 Perform Disposal of waste

Objective: Objective of this module is to apply the skills and knowledge required for the trainees to made them able to handle, transport and dispose off solid, chemical and microbiological waste in compliance with health, safety, and environmental guidelines. It emphasizes the use of PPEs, safe handling practices, and record keeping to maintain a clean and sustainable workplace.

Duration: 51 Hours	 Theory: 9 Hours	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform disposal of solid waste | - Identify types of collected solid waste - Apply PPEs as per standards - Perform handling as per requirement - Arrange transport for dispose-off materials - Perform transport of solid waste at designated site - Perform waste disposal as per environmental guidelines - Maintain cleanliness of works place - Maintain record of solid waste | - Introduction to Types of solid waste - Handling of solid waste - Disposal of solid waste Practical Activity Candidate is provided with the solid waste. Perform segregation, handling and disposal of solid waste | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Absorbent pads - First Aid Kit - PPEs - Brushes, - Mops - Cleaning cloths | - Classroom - Lab |
| Perform disposal of chemical waste | - Identify types of collected chemical waste - Apply PPEs as per standards - Perform handling as per requirement - Store waste chemicals prior to dispose-off - Arrange transport for dispose-off materials - Perform transport of waste chemical at designated site - Perform chemical waste disposal as per environmental guidelines - Maintain cleanliness of works place - Maintain record of chemical waste | - Introduction to chemical waste - Handling of chemical Waste - Neutralization of Acidic and Basic waste - Disposal of Chemical waste Practical Activity Candidate is provided with the chemical waste. Perform segregation, handling and disposal of chemical waste. | Theory-03Hrs Practice-15Hrs Total- 18Hrs | - Absorbent pads - First Aid Kit - PPEs - Brushes - Mops - Cleaning cloths - Chemical waste disposal hoses | - Classroom - Lab |
| Perform disposal of microbiological waste | - Identify types of collected microbiological waste - Apply PPEs as per standards - Perform handling as per requirement - Perform disinfection of microbiological waste prior to dispose off - Arrange transport for dispose-off materials - Perform transport of microbiological waste at designated site - Perform microbiological waste disposal as per environmental guidelines - Maintain cleanliness of works place - Maintain record of microbiological waste | - Introduction to microbiological hazardous waste - Handling of bio hazardous waste - Disinfection of the microbial waste - Disposal of microbial waste Practical Activity Candidate is provided with the microbiological waste. Perform segregation, handling and disposal of microbiological waste. | Theory-03Hrs Practice-15Hrs Total- 18Hrs | - Absorbent pads - First Aid Kit - PPEs - Brushes - Mops - Cleaning cloths - Bio hazards bags - Bio hazards containers - Autoclave | - Classroom - Lab |

## 4.3 0712EPT1103 Conduct Advance Physical testing of Wastewater

Objective: This module will provide skills and knowledge required for advance physical testing of water and wastewater. Trainee will be able to demonstrate his/her skills in evaluation of oil and grease and total suspended solids.

Duration: 62 Hours		Theory: 8 Hours		Practice: 54 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform oil & grease test | - Identify sample for test - Add hydrochloric acid in sample - Add n-hexane in acidified sample - Separate hexane layer by separating funnel - Evaporate hexane to dryness - Record residue weight - Calculate oil and grease concentration in mg/L by using formula | - Introduction to oil and grease in wastewater - Principle of separating funnel - Calculations for oil and grease concentration Practical Activity Candidate is provided with waste water sample. Perform oil and grease test by using separating funnel and report the test findings. | Theory-04Hrs Practice-27Hrs Total- 31Hrs | - Drying oven - Analytical balance - Separating funnel - Desiccator - Measuring cylinder - Beakers - Water bath - Hydrochloric acid - N-hexane - Anhydrous sodium sulphate - Round bottom flask - Condenser | - Classroom - Lab |
| Perform total suspended solids test | - Identify sample for test - Pass sample through pre-weight filter paper - Dry filter paper with residue at 105ºC for 1 hour - Re-weight filter paper - Record TSS by using formula | - Introduction to total suspended solids - Principle of TSS test - Calculations for TSS test Practical Activity Candidate is provided with waste water sample. Perform total suspended solid test by filtration and prepare a report of test findings. | Theory-04Hrs Practice-27Hrs Total- 31Hrs | - Drying oven - Analytical balance - Funnel - Desiccator - Measuring cylinder - Beakers - Glass fiber filter papers - Glass filtration assembly with accessories | - Classroom - Lab |

## 4.4 0712EPT1104 Conduct Advance Chemical Testing of Water

Objective: This module focuses on skills and knowledge required to perform advance chemical testing of water & wastewater. It involves testing mainly sodium, potassium, nitrite, nitrate, iron and fluoride. These analyses evaluate overall water quality and treatment efficiency, ensuring compliance with environmental standards and safeguarding public health.

Duration: 91 Hours			Theory: 19 Hours				Practice: 72 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform sodium test | - Identify required sample - Switch on flame photometer as per OEM - Select sodium filter - Calibrate equipment for measurement of required concentration - Perform sample filtration, if needed - Record sodium concentration in mg/L by using formula - Dilute sample, if required - Clean flame photometer after test as per SOP | - Introduction to sodium in water - Working principle of flame photometer - Calculations for standards of sodium for calibration curve Practical activity: Candidate is provided with a sample of water. Perform sodium test by using flame photometer and prepare a report of test finding. | Theory-04Hrs Practice-12Hrs Total- 16Hrs | - Flame Photometer - Sodium Chloride - Analytical Balance - Weighing Dishes - Glass pipette - Pipette filler - Measuring flask - Measuring flask - Beaker - Washing bottle - PPEs | - Classroom - Lab |
| Perform potassium test | - Identify required sample - Switch on flame photometer as per OEM - Select potassium filter - Calibrate equipment for measurement of required concentration - Perform sample filtration, if needed - Record potassium concentration in mg/L by using formula - Dilute sample, if required - Clean flame photometer after test as per SOP | - Introduction to potassium in water - Working principle of flame photometer - Calculations for standards of potassium for calibration curve Practical activity: Candidate is provided with a sample of water. Perform potassium test by using flame photometer and prepare a report of test finding. | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Flame Photometer - Sodium Chloride - Analytical Balance - Weighing Dishes - Glass pipette - Pipette filler - Measuring flask - Beaker - Washing bottle - PPEs | - Classroom - Lab |
| Perform nitrite test | - Identify sample bottle - Prepare series of standards from stock solution - Pipette standards in beaker - Add reagent for complex color formation - Calibrate UV/VIS spectrophotometer by measuring absorbance of standards - Calculate nitrite concentration in mg/L by using calibration curve | - Introduction to nitrite in water - Working principle of UV/VIS Spectrophotometer - Calculations to prepare standards of nitrite for calibration curve Practical activity: Candidate is provided with a sample of water. Perform nitrite test by using UV/VIS spectrophotometer and prepare a report of test finding. | Theory-03Hrs Practice-12Hrs Total- 15Hrs . | - Drying oven - UV/VIS Spectrophotometer - Sodium nitrite - Nitrite color reagents - Analytical Balance - Weighing Dishes - Glass pipette - Pipette filler - Measuring flask - Beaker - Washing bottle - Desiccator - PPEs | - Classroom - Lab |
| Perform nitrate test | - Identify required sample - Prepare series of nitrate standards from stock solution - Pipette standards in beakers - Add required acid - Calibrate spectrophotometer by taking absorbance of sample in quartz sample cell - Calculate nitrate concentration in mg/L by using calibration curve | - Introduction to nitrate in water - Working principle of UV/VIS Spectrophotometer - Calculations to prepare standards of nitrate for calibration curve Practical activity: Candidate is provided with a sample of water. Perform nitrate test on the sample by using UV/VIS Spectrophotometer and prepare a report of test finding. | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - Drying oven - UV/VIS Spectrophotometer - Potassium Nitrate - Nitrate color reagents - Hydrochloric acid - Analytical Balance - Weighing Dishes - Glass pipette - Pipette filler - Measuring flask - Beaker - Washing bottle - Desiccator - PPEs | - Classroom - Lab |
| Perform iron test | - Collect acidified water sample in polyethylene bottle - Prepare iron calibration working standards from stock - Pipette standard in beaker - Add buffer solution to control pH - Add 1,10-phenanthroline reagent to each standard - Calibrate instrument by measuring absorbance - Record iron concentration in mg/L by using calibration curve | - Introduction to iron in water - Working principle of UV/VIS Spectrophotometer - Calculations to prepare standards of iron for calibration curve Practical activity: Candidate is provided with a sample of water. Perform iron test by using UV/VIS Spectrophotometer and prepare a report of test finding. | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - UV/VIS Spectrophotometer - Ferrous ammonium sulfate - 1,10-phenanthroline indicator - Ammonium Acetate - Sodium acetate trihydrate - Analytical Balance - Weighing Dishes - Glass pipette - Pipette filler - Measuring flask - Beaker - Washing bottle - PPEs | - Classroom - Lab |
| Perform fluoride test | - Identify sample for fluoride test - Prepare fluoride standard series from stock solution - Pipette standards in beakers - Add SPADNS reagent by mixing in sample - Calibrate equipment taking absorbance of standards in sample cell - Calculate sample concentration in mg/L by using calibration curve | - Introduction to fluoride in water - Working principle of UV/VIS Spectrophotometer - Calculations to prepare standards of fluoride for calibration curve Practical Activity: Candidate is provided with a sample of water. Perform fluoride test by using UV/VIS Spectrophotometer and prepare a report of test finding. | Theory-03Hrs Practice-12Hrs Total- 15Hrs | - UV/VIS Spectrophotometer - Sodium Fluoride - SPADNS Reagent for Fluoride - Analytical Balance - Weighing Dishes - Glass pipette - Pipette filler - Measuring flask - Beaker - Washing bottle - PPEs | - Classroom - Lab |

## 4.5 0712EPT1105 Conduct Advance Chemical Testing of Wastewater

Objective: This module will provide the skills and knowledge required to perform advance chemical testing of wastewater mainly sulfate, ammonia, phosphate, COD, BOD, hexavalent chromium, total arsenic and total nitrogen. These tests help assess water quality and the effectiveness of treatment processes. Regular monitoring ensures compliance with environmental standards and protects public health.

Duration: 81 Hours			Theory: 9 Hours				Practice: 72 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform sulfate test | - Take 100 ml sample in beaker - Adjust pH with acid - Add BaCl2 to heated sample until precipitate appear - Digest precipitate at required temperature - Filter precipitate with ashless filter paper - Ignite residue at 800°C in muffle furnace - Calculate Sulfate concentration in mg/L by using formula | - Introduction to sulfate in wastewater - Principle of gravimetric method for sulfate analysis - Methodology of sulfate testing procedure - Sulfate measurement calculations Practical Activity: Candidate is provided with a sample of wastewater to perform sulfate test and prepare report of test finding. | Theory-02Hrs Practice-09Hrs Total- 11Hrs | - Muffle furnace - Hot plate - Ash less Filter papers - Barium chloride - pH meter - Hydrochloric acid - Analytical Balance - Filtration assembly - Pipette - Pipette filler - Beaker - Washing bottle - PPEs | - Classroom - Lab |
| Perform ammonia test | - Select sample for ammonia test - Add sample in distillation flask - Add NaOH solution in flask - Dispense 4% boric acid with mixed indicator in titration flask - Steam distill sample for collecting it in receiving flask - Run reagent blank using distilled water in the same manner - Titrate distillate against standard acid - Record titrant volumes for sample and blank - Calculate ammonia as nitrogen in mg/L by using formula | - Introduction to ammonia in wastewater - Principle of ammonia distillation procedure - Ammonia titration methodology - Ammonia measurement and calculation Practical Activity: Candidate is provided with a sample of wastewater to perform ammonia test using distillation and titration procedure and prepare report of test findings | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Methyl Red Indicator - Ethyl Alcohol - Methylene Blue Indicator - Boric acid - Sulfuric acid - Sodium carbonate - Distillation assembly - Titration assembly - Volumetric flasks - Titration flask - Analytical Balance - Pipette - Pipette filler - Cylinder - Washing bottle - Indicator Bottles - PPEs | - Classroom - Lab |
| Perform phosphate test | - Select sample for required test - Prepare phosphate standard series from stock solution - Pipette standard in clean beaker - Add ammonium molybdate reagent - Add stannous chloride reagent - Calibrate spectrophotometer by measuring absorbance - Record phosphate concentration in mg/L by using calibration curve | - Introduction to phosphate in wastewater - Principal of UV/VIS spectrophotometer working - Preparation of working standards - Calibration of Spectrophotometer - Calculation for Phosphate Measurements Practical Activity: Candidate is provided with a sample of wastewater to perform phosphate test using colorimetric method and prepare report of test finding. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Phenolphthalein indicator - Hydrochloric acid - Ammonium molybdate - Ammonium metavendate - Anhydrous dihydrogen potassium phosphate - Volumetric flask - Titration flask - Analytical Balance - Pipette - Pipette filler - Cylinder - Washing bottle - Indicator Bottles - PPEs | - Classroom - Lab |
| Perform chemical oxygen demand test | - Identify sample for COD testing - Prepare series of COD standards from stock solution - Pipette required volume of standards in COD vials - Digest COD vials at 150 oC for 2 hours - Cool digested COD vials in dark - Calibrate instrument by measuring absorbance - Measure sample COD in mg/L by using calibration curve | - Introduction to COD in wastewater - Principle of closed reflux COD procedure - Preparation of working standards - Calculation for COD measurements Practical Activity: Candidate is provided with a wastewater sample to perform COD test using standard method and prepare report of test finding. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - COD Digestion vials - Block digester - UV/VIS Spectrophotometer with vial sample holder - Test tube holder - Potassium hydrogen phthalate - Volumetric flasks - Analytical Balance - Pipette - Pipette filler - Cylinder - Washing bottle - PPEs | - Classroom - Lab |
| Perform biological oxygen demand test | - Identify sample for BOD test - Prepare dilution water - Add required dilution water in prepared BOD bottles - Add nitrification inhibitor in BOD bottles - Record initial Dissolved Oxygen using Dissolved Oxygen Meter - Incubate sample, blank, seed BOD bottles at 20±1°C - Record final dissolved oxygen using DO Meter after 5 days - Calculate corrected oxygen uptake by sample - Calculate BOD in mg/L by using formula | - Introduction to BOD in wastewater - Types of BOD bottles - Preparation of BOD bottles - Calculation of BOD Practical activity Candidate is provided with sample. Perform the BOD bottles preparation. Calculate BOD from recorded dissolved oxygen (DO) of BOD bottles before and after incubation. Prepare the report of the provided sample | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - BOD Incubator - BOD Bottles - Dissolved Oxygen Meter - pH meter - Potassium hydrogen phthalate - Calcium chloride - Magnesium sulfate - Ferric chloride - Ammonium Chloride - Magnesium Sulfate - Nitrification Inhibitor - Glucose - Ferric chloride - Sodium hydroxide - Glutamic acid - Volumetric flasks - Analytical Balance - Pipette - Pipette filler - Cylinder - Washing bottle - PPEs | - Classroom - Lab |
| Perform hexavalent chromium test | - Select acidified preserved sample - Prepare standard Cr(VI) series from stock solution - Pipette standard in clean beaker - Adjust sample pH using dilute acid - Add 1,5-diphenylcarbazide reagent - Calibrate spectrophotometer by measuring absorbance - Record sample Cr (VI) concentration in mg/L by using calibration curve | - Introduction to hexavalent chromium in wastewater - Principle of UV/VIS Spectrophotometer - Colorimetric method for determination of Cr(VI) - Preparation of working standards - Calculation for Cr(VI) Practical Activity: Candidate is provided with a wastewater sample to perform hexavalent chromium test using standard method and prepare report of test finding. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - UV/VIS Spectrophotometer - Potassium dichromate - Nitric acid - Sulfuric acid - Phosphoric acid - Methyl orange indicator - Ammonium hydroxide - 1-5 diphneyl carbohydrazide - Acetone - Chloroform - Volumetric flasks - Analytical Balance - Pipettes - Pipette filler - Cylinder - Washing bottle - PPEs | - Classroom - Lab |
| Perform total arsenic | - Rinse test bottle of field test kit with sample - Add sample in required bottle - Fix arsenic test strip in flask cap - Add required reagent-1 in sample - Add one spoon of reagent-2 in sample - Add reagent -3 in sample - Attach immediately cap with test strip - Remove test strip from the cap after required time - Compare developed color at strip with standard color chart - Record arsenic concentration in µg /L sample | - Introduction to arsenic in water - Working principle of the arsenic test kit - Preparation of working arsenic standard - Inference of arsenic results from color comparator Practical Activity: Candidate is provided with water sample to perform total arsenic test using test kit and prepare report of test findings | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Arsenic test kit - Volumetric flasks - Pipettes - Pipette filler - Cylinder - Washing bottle - PPEs | - Classroom - Lab |
| Perform total nitrogen | - Select required sample into a Kjeldahl digestion flask - Add digestion reagents in sample - Perform digestion of sample - Add distilled water in cooled digested sample - Add 40% NaOH to make solution alkaline - Steam-distill released ammonia into 4% boric acid containing mixed indicator - Titrate the distillate against standard acid - Calculate total nitrogen in mg/L by using formula | - Introduction to total Nitrogen in wastewater - Principle of Kjeldhal Digestion Method - Ammonia distillation procedure - Ammonia titration methodology - Total nitrogen measurement from calculations for ammonia Practical Activity: Candidate is provided with a sample of wastewater to perform total nitrogen test using standard procedure and prepare report of test finding. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Kjeldhal Digestion Apparatus - Heating assembly - Potassium Sulfate - Copper sulfate - Sulfuric acid - Sodium hydroxide - Sodium thiosulfate - Methyl Red Indicator - Ethyl Alcohol - Methylene Blue Indicator - Boric acid - Sulfuric acid - Sodium carbonate - Distillation assembly - Titration assembly - Volumetric flasks - Titration flask - Analytical Balance - Pipettes - Pipette filler - Cylinder - Washing bottle - Indicator Bottles - PPEs | - Classroom - Lab |

### 4.6 0712EPT1106 Conduct Advance Microbiological Testing of water

Objective: This module focuses on the skills and knowledge related to microbiological examination of water. You will be able to demonstrate your skills in understanding and performing quantitative analysis of major microbiological tests in laboratory for routine analysis/monitoring of water.

Duration: 105		                    Theory: 15		Practice: 90

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform total coliform test | - Perform sterilization using laminar hood - Prepare Lauryl Tryptose Sulfate broth as required in tubes - Inoculate sample in tubes in prescribed sets with quantity of 10.0 ml, 1.0 ml and 0.1 ml - Incubate Lauryl Tryptose Sulfate tubes at 35 oC for required time - Record gas positive tubes for Lauryl Tryptose Sulfate broth - Subculture positive tubes in Brilliant Green Bile broth - Incubate Brilliant Green Bile tubes at 35 oC for required time - Record gas positive tubes for Brilliant Green Bile broth - Calculate Most Probable Number from Standard Table | - Introduction to total coliforms - Total coliform presumptive test - Total coliform confirmatory test - Data record and result tabulation of total coliform test Practical activity Candidate is provided with water sample. Perform total coliform test on the sample and record test results. | Theory-03Hrs Practice-18Hrs Total- 21Hrs Total: | - Laminar hood - Autoclave - Sterilization strip - Lauryl tryptose sulfate broth - Brilliant green bile broth - Analytical balance - PPEs - Test tubes - Micropipettes - Incubator | - Classroom - Lab (BSL 1 and 2) |
| Perform fecal coliform test | - Perform sterilization using laminar hood - Prepare Lauryl Tryptose Sulfate broth as required in tubes - Inoculate sample in tubes in prescribed sets with quantity of 10.0 ml, 1.0 ml and 0.1 ml - Incubate Lauryl Tryptose Sulfate tubes at 35oC for required time - Record gas positive tubes for Lauryl Tryptose Sulfate broth - Subculture positive tubes in Escherichia coli broth - Incubate E. coli tubes at 44.5oC for required time - Record gas positive tubes for E. coli broth - Calculate Most Probable Number from Standard Table | - Introduction to fecal coliforms - Fecal coliform presumptive test - Fecal coliform confirmatory test - Data record and result tabulation of fecal coliform test Practical activity Candidate is provided with water sample. Perform fecal coliform test on the sample and record test results. | Theory-03Hrs Practice-18Hrs Total- 21Hrs | - Laminar hood - Autoclave - Sterilization strip - Lauryl tryptose sulfate broth - Escherichia coli broth - Analytical balance - PPEs - Test tubes - Micropipettes - Incubators | - Classroom - Lab (BSL 1 and 2) |
| Perform total plate count test | - Perform sterilization using laminar hood - Select Plate Count Agar as required - Prepare 1:99 dilution of sample in phosphate buffer - Mix required solution on vortex mixer - Prepare serial dilution as required - Pour 1.0 ml of dilutions in petri plate with Plate count Agar - Incubate Plate count agar plates at 35 oC for required time - Count number of colonies using colony counter - Report colony counting units per ml of the sample | - Introduction to serial dilution - Working of colony counter - Quantitative estimation of bacterial count for total plate count test - Data record and result of total plate count test Practical activity Candidate is provided with water sample. Perform total plate count on the sample and record test results. | Theory-03Hrs Practice-18Hrs Total- 21Hrs | - Laminar hood - Autoclave - Sterilization strip - Plate count agar - Phosphate buffer - Analytical balance - pH meter - Colony counter - Disposable petri plates - Erlenmeyer flasks - Micropipettes - Incubators - Screw capped test tubes - PPEs | - Classroom - Lab (BSL 1 and 2) |
| Perform yeast & mold test | - Perform sterilization using laminar hood - Prepare Potato Dextrose Agar as required - Prepare serial dilution as required - Pass 100 ml on sample through required filter - Place filter paper on solidified plates of Potato Dextrose Agar - Incubate prepared plates at 25 oC for 5 days - Count number of colonies using colony counter - Report colony counting units per ml of the sample | - Introduction to yeast & mold - Quantitative estimation of yeast & mold count - Working of colony counter - Data record and results of yeast & mold count Practical activity Candidate is provided with water sample. Perform yeast & mold count on the sample and record test results. | Theory-03Hrs Practice-18Hrs Total- 21Hrs | - Laminar hood - Autoclave - Sterilization strip - Potato dextrose agar - Analytical balance - Filtration assembly - Colony counter - Disposable petri plates - Erlenmeyer flask - Micropipettes - Incubator - Screw capped test tubes - PPEs | - Classroom - Lab (BSL 1 and 2) |
| Perform E. coli test | - Perform sterilization using laminar hood - Prepare Lauryl Tryptose Sulfate broth as required - Inoculate sample in tubes in prescribed sets with quantity of 10.0 ml, 1.0 ml and 0.1 ml - Incubate Lauryl Tryptose Sulfate tubes at 35 oC for required time - Subculture in Tryptone Broth for E.coli growth - Incubate required tubes at 44.5 oC for 48h - Add Kovac’s reagent as required - Calculate Most Probable Number (MPN) | - Introduction to E. coli - E. coli presumptive test - E. coli confirmatory test - Data record and result tabulation of E. coli Practical activity Candidate is provided with water sample. Perform E. coli test and record test results. | Theory-03Hrs Practice-18Hrs Total- 21Hrs | - Laminar hood - Autoclave - Sterilization strip - Lauryl tryptose sulfate broth - Tryptone broth - Kovac’s reagent - Analytical balance - PPEs - Test tubes - Micropipettes - Incubators | - Classroom - Lab (BSL 1 and 2) |

## 4.7 0712EPT1107 Implement Quality Assurance Procedure in Water Testing Operations

Objective: This Module deals with the skills and knowledge required to the trainee to ensure that all analytical activities in the laboratory are carried out in compliance with established quality assurance (QA) and quality control (QC) procedures to guarantee accuracy, precision, and reliability of results.

Duration: 54 Hours                                    	Theory: 6 Hours           	                	Practice: 48 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Calibrate analytical instruments | - Select calibration standards for each required instrument - Calibrate instruments according to OEM - Validate instrument performance using reference materials - Document calibration data in instrument logbooks - Troubleshoot malfunctioning of instrument, if any - Verify calibration status before analytical use | - Introduction to Certified reference material - Laboratory equipment Calibration - Validation of the lab equipment performance Practical activity Perform the verification of procedures by using calibration and verification of equipment. Record method verification data. | Theory-03Hrs Practice-24Hrs Total- 27Hrs | - pH meter - EC Meter - TDS meter - Thermometer - Total and free chlorine meter - UV/VIS Spectrophotometer - Flame photometer - Turbidity meter - Dissolved Oxygen Meter - Certified Reference Material | - Classroom - Lab |
| Apply internal quality procedures | - Identify non-conformances in analytical processes - Identify cause using analytical tools - Implement corrective and preventive actions to eliminate cause of malfunction - Verify effectiveness of corrective actions through re-analysis - Maintain records for audit reference - Communicate corrective actions to relevant personnel | - Introduction to non-conformance work - Analytical tools for root cause analysis - Corrective and preventive action Practical activity Perform the root cause analysis of non-conformance work. Take effective corrective and preventive action upon this non-conformance. | Theory-03Hrs Practice-24Hrs Total- 27Hrs | - pH meter - EC Meter - TDS meter - Thermometer - Total and free chlorine meter - UV/VIS Spectrophotometer - Flame photometer - Turbidity meter - Dissolved Oxygen Meter - Certified Reference Material | - Classroom - Lab |

## 4.8 0712EPT1108 Manage Data in Water Testing Operations

Objective: This Module deals with the skills and knowledge required to the trainee to manage analytical data and documentation in water testing laboratories. It includes recording, validating, and reporting data in compliance with ISO/IEC 17025 and environmental regulations. The technician ensures accuracy, traceability and confidentiality of all laboratory information.

Duration: 48 Hours                                    	Theory: 12 Hours           	                	Practice: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Maintain analytical data | - Record all analytical results in laboratory logs - Select standardized templates to capture analytical parameters - Verify completeness of recorded data - Back up data periodically as per requirement - Maintain confidentiality of analytical information | - Introduction to Quality management system - Traceability of testing data Practical Activity: Candidate is provided with traceability record to check the data entry of master record or lab record. | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Desktop - Printer - Files - Application Software MS Office | - Classroom - Lab |
| Maintain chain of custody documentation | - Assign unique identification codes to each sample - Record all sample transfers in chain-of-custody forms - Authenticate documentation with signatures and timestamps - Verify storage conditions during custody | - Introduction to sample identification - Sample handling Practical Activity: Candidate is provided sample to record for laboratory coding and initial data entry. | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Desktop - Printer - Files - Application Software MS Office | - Classroom - Lab |
| Validate data integrity | - Check data entries for errors - Check analytical results with corresponding QC - Identify data anomalies - Maintain clear audit trail linking reports - Apply coding for data traceability - Report discrepancies to supervisor | - Introduction to data handling - Data validity Practical Activity: Candidate is provided with traceability record to check the data entry of master record or lab record | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Desktop - Printer - Files - Application Software MS Office | - Classroom - Lab |
| Prepare analytical reports | - Compile verified analytical results into standard report templates - Add QC summaries & interpretation notes in reports - Review report contents for accuracy, completeness and compliance - Submit final reports to regulatory agencies - Archive all reports according to data retention policy | - Introduction to validity of reporting data - Interpretation of analytical results Practical Activity: Candidate is provided with traceability record for reporting to generate the compliance report. | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Desktop - Printer - Files - Application Software MS Office | - Classroom - Lab |

## 4.9 0712EPT1109: Maintain Environmental Compliance in Water Testing

Objective: This Module covers the skills and knowledge required to the trainee to ensure that all analytical activities in the laboratory are carried out in compliance with established quality assurance (QA) and quality control (QC) procedures to guarantee accuracy, precision and reliability of results.

Duration: 40 Hours			Theory: 10 Hours				Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Identify environmental regulations | - Identify applicable environmental laws, acts and policies related to water quality - Report key parameters and permissible limits from required guidelines - Identify compliance parameters for drinking water, wastewater and industrial effluent - Perform classification of water samples based on regulatory scope | - Introduction to national and international environmental regulations - Classification of water by the regulatory bodies Practical Activity: Candidate is provided with different standard and guidelines and values. Categories the sample for fitness | Theory-06Hrs Practice-15Hrs Total- 21Hrs | - Desktop - Printer - Files - Application Software MS Office | - Classroom - Lab |
| Verify compliance of analytical result | - Compare analytical results with required environmental standards - Check variations in test results against permissible limits - Calculate analytical uncertainty as per SOP - Record compliance calculation results | - Introduction to NEQS - WHO guidelines Practical Activity: Candidate is provided with sample testing data. Check the quality of sample within provided different standard and guidelines values | Theory-04Hrs Practice-15Hrs Total- 19Hrs | - Desktop - Printer - Files - Application Software MS Office | - Classroom - Lab |

# List of Consolidated Consumables, Tools, Machinery & Equipment

| 5A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| Sr. # | Consumable | Quantity |
| 1 | Sodium hypochlorite or bleach solution | 05 |
| 2 | Detergents and disinfectants | 05 |
| 3 | Sodium Chloride | 500 gm |
| 4 | Potassium Chloride | 500 gm |
| 5 | Sodium Nitrite | 500 gm |
| 6 | Potassium Nitrate | 500 gm |
| 7 | Ferrous ammonium sulfate | 500 gm |
| 8 | SPADNS Reagent for Fluoride | 500 mL |
| 9 | chloramine-T | 100 gm |
| 10 | Lead carbonate, PbCO3 | 250 gm |
| 11 | Sulfamic acid, NH2SO3H | 250 gm |
| 12 | Potassium Cyanide | 250 gm |
| 13 | Barbituric acid | 250 gm |
| 14 | Pyridine | 500 mL |
| 15 | sodium acetate trihydrate (NaC2H3O2 _ 3H2O) | 500 gm |
| 16 | Glacial Acetic Acid | 2.5 L |
| 17 | Barium Chloride | 500 gm |
| 18 | Hydrochloric Acid | 2.5 L |
| 19 | Sodium Hydroxide | 500 gm |
| 20 | Boric Acid | 500 gm |
| 21 | Sulfuric Acid | 2.5 L |
| 22 | Methyl Orange Indicator | 100 gm |
| 23 | methyl red Indicator | 100 gm |
| 24 | methylene blue Indicator | 100 gm |
| 25 | Ammonium Molybdate | 100 gm |
| 26 | Stannous Chloride | 100 gm |
| 27 | ammonium metavanadate | 100 gm |
| 28 | di-Potassium hydrogen phosphate (K2HPO4) | 250 gm |
| 29 | Sodium Sulfate | 500 gm |
| 30 | Potassium hydrogen phthalate | 500 gm |
| 31 | Calcium chloride | 500 gm |
| 32 | Magnesium sulfate | 500 gm |
| 33 | Ferric chloride | 500 gm |
| 34 | potassium dihydrogen phosphate KH2PO4 | 250 gm |
| 35 | sodium phosphate dibasic heptahydrate Na2HPO4_7H2O | 250 gm |
| 36 | Ammonium Chloride (NH4Cl) | 500 gm |
| 37 | Magnesium Sulfate MgSO4_7H2O | 500 gm |
| 38 | Nitrification Inhibitor | 100 gm |
| 39 | Glucose | 250 gm |
| 40 | Glutamic Acid | 250 gm |
| 41 | Potassium Dichromate | 500 gm |
| 42 | 1,5-diphenylcarbazide | 100 gm |
| 43 | Nitric Acid | 2.5 L |
| 44 | Potassium Sulfate (K2SO4) | 500 gm |
| 45 | Copper Sulfate (CuSO4) | 500 gm |
| 46 | Sodium Thiosulfate (Na2S2O3 5H2O) | 500 gm |
| 47 | Ethyl Alcohol | 3L |
| 48 | Lauryl Tryptose Sulfate Agar | 1 bottle |
| 49 | Brilliant Green Bile Agar | 1 bottle |
| 50 | Escherichia coli Broth | 1 bottle |
| 51 | Plate Count Agar | 1 bottle |
| 52 | Butterfield’s Phosphate Buffer | 1 bottle |
| 53 | Potato Dextrose Agar | 1 bottle |
| 54 | Tryptone Broth | 1 bottle |
| 55 | Kovac’s reagent | 1 bottle |
| 56 | Laboratory Information Management System | As per requirement |
| 57 | ISO/IEC 17025 Standard | As per requirement |
| 58 | NEQS/WHO water quality guidelines | As per requirement |
| 59 | SOP Manuals | As per requirement |

| 5B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| Sr. # | Tools and Equipment | Quantity |
| 1 | Electrical Conductivity Meter | 1 |
| 2 | TDS Meter | 1 |
| 3 | pH meter | 1 |
| 4 | Dissolved Oxygen Meter | 1 |
| 5 | Total and Free Chlorine kit | 1 |
| 6 | Thermometer | 1 |
| 7 | GPS | 1 |
| 8 | Lab coat | 25 |
| 9 | Disposable gloves | 25 |
| 10 | Face mask | 25 |
| 11 | Safety goggles | 25 |
| 12 | Safety shoes | 25 |
| 13 | Head cap | 25 |
| 14 | Collection trolleys or carts | 03 |
| 15 | Spill containment trays | 01 |
| 16 | Autoclave unit | 01 |
| 17 | Incinerator | 01 |
| 18 | Chemical disinfectant containers | 01 |
| 19 | Measuring cylinders | 03 |
| 20 | Shredder or crusher | 03 |
| 21 | Brushes, mops, and cleaning cloths | 03 |
| 22 | Wastewater disposal hoses | 02 |
| 23 | First aid kit | 01 |
| 24 | Absorbent pads | 02 |
| 25 | Drying oven 250ºC | 1 unit |
| 26 | Electronic analytical balance, capacity 220g | 1unit |
| 27 | Funnels 100 mm, | 5 |
| 28 | Cylinders (50ml, 100ml) | 4 |
| 29 | Separating funnel, capacity 250 ml | 5 |
| 30 | Tripod stand | 5 |
| 31 | Flame Photometer with accessories (LPG Cylinder, CRMs for Sodium & potassium) | 01 No |
| 32 | UV/VIS Spectrophotometer with variable sample holder and accessories | 01 Unit |
| 33 | Cyanide Distillation Assembly | 01 Unit |
| 34 | Heating Mantle 500 mL 350 C | 1 Unit |
| 35 | Muffle Furnace 1100 C | 1 Unit |
| 36 | COD Reactor 150 C, having 16 mm wells | 01 Unit |
| 37 | COD Vials 1500 mg/L | 25 Nos. |
| 38 | Arsenic Test Kit | 01 Kit |
| 39 | China Dish 100 cc | 10 Nos. |
| 40 | Whatmann Filter Papers 42 ash-less | 1 Pack |
| 41 | Kjeldhal Digestion and Distillation Apparatus 500mL | 01Set |
| 42 | Glass Beads | 500 gm |
| 43 | Glass Burette 50 mL0 | 02 Nos. |
| 44 | Laminar hood | 1 |
| 45 | Autoclave | 1 |
| 46 | Incubators | 3 |
| 47 | Colony counter | 1 |
| 48 | Filtration Assembly | 1 |
| 49 | Micropipettes set and accessories | 2 |
| 50 | Glass tubes | 100 |
| 51 | Petri plates disposable | 500 |
| 52 | Glass beakers | 100 |
| 53 | Erlenmeyer flasks | 50 |
| 54 | Filter papers (0.4 µ) | 1 box |
| 55 | Projector/Multimedia/White board | 1 |
| 56 | MS Office Suite | 1 |
| 57 | Turbidimeter | 01 |
| 58 | PPEs | 01 |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Dr. Asma Saeed | Chief Scientific Officer | FBRC, PCSIR Lahore |
|  | Dr. Asma Sheikh | Senior Scientific Officer | FBRC, PCSIR Lahore |
|  | Dr. Munawar Hussain | Assistant Director Technical | PSQCA Lahore |
|  | Dr. Habib Ur Rehman | Research Officer | PCRWR Lahore |
|  | Dr. Adnan Zahid | Assistant Professor | Agriculture Lahore |
|  | Mr. Faisal Shahzad | Instructor | PVTC |
|  | Mr. Muhammad Karamat Shaheen | Chemist | CDA Islamabad |
|  | Mr. Atta Ur Rahman | Haelth Safety and Environment Engineer | NEC Peshawar |
|  | Mr. Nouman Zafar | Scientific Officer-ll | Qarshi Research International, Lahore |
|  | Mr. Nadeem Ahmad | Junior Research Officer | PHED Lahore |
|  | Fawad Inayat | Water Testing Officer | Wasa Rawalpindi |
|  | Usama Amir | Supervisor | Wasa Sargodha |
|  | Khawaja Umer | Technical Manager | ZFK Resources (PVT Limited) |
|  | Muhammad Anas | Assistant Professor | University, Layyah |
|  | Muhammad Abdul Moeez | DACUM Facilitator | Lahore |
|  | Muhammad Ishaq | Deputy Director | Islamabad |