- National Diploma Level-5 in “Water Quality and Resource Management”

(Supervisor-Water Treatment Technician)

(Curriculum)

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

Table of Contents

Introduction	6

a.	Definition/Description of training program	6

b.	Purpose of the training program:	6

c.	Overall objectives of training program:	6

d.	Competencies to be gained after completion of course:	7

e.	Possible available job opportunities, available immediately and later in the future:	9

f.	Trainee entry level:	10

g.	Minimum qualification of trainer:	11

h.	Recommended trainer: trainee ratio	11

i.	Medium of instruction i.e. language of instruction:	11

j.	Duration of the course (Total time, Theory & Practical time):	12

Summary template-overview of the curriculum:	14

Module: 1021CS-079 Estimate demand for Water Supply	24

Module: 1021CS-080 Perform civil work	28

Module: 1021CS-081 Plan Water Treatment (Clarification)	30

Module: 1021CS-082 Plan Water Treatment (Filtration)	32

Module: 1021CS-083 Draw sketches of intakes	34

Module: 1021CS-084 Perform Distribution system of WSS	36

Module 1021CS-085.	Perform testing/determination of Sodium (Na) by Flame-photometric Method	38

Module 1021CS-086.	Perform Testing/Determination of Potassium (K) by Flame-photometric Method	43

Module 1021CS-087.	Perform Testing/Determination of Nitrate (N) by Spectrophotometric Method	48

Module 1021CS-088.	Perform Testing/Determination of Sulphate (SO4) by Spectrophotometric Method	53

Module: 1021CS-089.  Perform Testing/Determination of Arsenic (As) by Atomic Absorption Spectrometer (AAS)	58

Module: 1021CS-090.  Perform Testing/Determination of Copper (Cu) by Atomic Absorption Spectrometer (AAS)	65

Module: 1021CS-091.  Perform Testing/Determination of Zinc (Zn) by Atomic Absorption Spectrometer (AAS)	72

Module: 1021CS-092.  Perform Testing/Determination of Manganese (Mn) by Atomic Absorption Spectrometer (AAS)	78

Module: 1021CS-093 Use Maps, Plans, Drawings and Specifications for Water Works	85

Module:1021CS-094 Maintain and Repair Water Distribution Network	88

Module: 1021CS-095 Perform Leak Detection	92

Module: 1021CS-096. Design Water Treatment Plant (Surface and Ground water)	95

Module: 1021CS-097. Operate and Control Coagulation and Flocculation Process	103

Module: 1021CS-098.	Operate and control of sediment process	107

Module: 1021CS-099.	Operate and Maintain Water Filtraton Process (Membrane Straining)	110

Module: 1021CS-0100	Operate and Control Chlorination Disinfection processes	114

Module: 1021CS-0101	Operate and Control UV Disinfection Process	118

Module: 1021CS-0102	Operate and Control Ozonation Process in Water Treatment Plant	121

Module: 1021CS-0103	Monitor the Performance of Water Treatment Plant	125

Module: 1021CS-0104.	Maintain Record of Water Treatment Plants Assets	129

Module 1021CS -0105: Demonstrate Sewage Treatment Plant	132

Module 1021CS -0106: Demonstration of wastewater treatment process in constructed wetlands	139

Module 1021CS -0107: Determine Flow discharge measurement of wastewater	144

Module 1021CS -0108: Perform Testing of Dissolved Oxygen (DO) in waste water	155

Module:1021CS -0109 Perform Testing of Chemical Oxygen Demand (COD) by Dichromate Digestion Method	160

Module:1021CS-0110 Perform Testing of Biochemical Oxygen Demand (BOD) by Manometric Pressure measurement method	166

Module:1021CS-0111 Perform Testing/Determination of Oil and grease in wastewater	172

Module 1021CS-012: Perform Testing/Determination of Total Suspended Solids (TSS)	178

Module: Develop Entrepreneurial Skills	185

Module: Apply management and communications techniques	189

Module: Create Human Resources Management plan	192

Module: Develop A Project Management Plan	196

Module: Develop A Sales Plan	199

Module: Conduct Research for Customer Needs and satisfaction	203

Module: Manage Finances	208

Module: Identify and resolve problems	212

Module: Lead Small Teams	218

Module: Develop teams and individuals	223

Module: Apply problem solving techniques in the workplace using critical thinking	227

Module 1021CS-0123.	Determine Hydrostatic pressure	230

Module 1021CS-0124.	Apply Hydro Kinematic Principles	234

Module 1021CS-0125.	Produce sketches of canals and head works	238

Module 1021CS-0126.	Design Canals	245

Module 1021CS-0127.	Produce sketches of Hydraulic structures	251

List of Tool & Equipment:	256

# Introduction

# Definition/Description of training program

Water quality and treatment is process that improves the quality of water to make it more acceptable for a specific end-use. The end use may be drinking, industrial water supply, irrigation, river flow maintenance, water recreation or many other uses, including being safely returned to the environment. Water treatment removes contaminants and undesirable components, or reduces their concentration so that the water becomes fit for its desired end-use. This treatment is crucial to human health and allows humans to benefit from both drinking and irrigation use.

In fact, no sphere of life may be identified that does not include the contribution of water technology. Thus, the importance of this diploma may be determined according to its usefulness in our daily life. Therefore, industry expectations for skilled workforce are also dynamic which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for water quality and treatment Technology under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representation from the leading department of water industry (WASA, PCSIR, PHED) of the country.

# Purpose of the training program:

The purpose of these qualification is to set high professional standards for Water Quality and Resource Management.

# Overall objectives of training program:

The Overall objectives of the training program are as under:

1.	Improve the professional competence of the trainees

2.	Provide opportunities for recognition of skills attained through non-formal or informal pathways

3.	 Improve the quality and effectiveness of training and assessment for automobile industry

4.	 Enable the existing workforce to capacitate themselves in new water technologies and method

# Competencies to be gained after completion of course:

At the end of the course, the trainee has attained the following core competencies:

- Develop Water Supply Scheme (Rural and Urban) (Surface and Ground Water).

- Estimate demand for Water Supply

- Perform civil work

- Plan Water Treatment (Clarification)

- Plan Water Treatment (Filtration)

- Draw sketches of intakes

- Perform Distribution system of WSS

- Perform testing/determination of Sodium (Na) by Flame-photometric Method

- Perform Testing/Determination of Potassium (K) by Flame-photometric Method

- Perform Testing/Determination of Nitrate (N) by Spectrophotometric Method

- Perform Testing/Determination of Sulphate (SO4) by Spectrophotometric Method

- Perform Testing/Determination of Arsenic (As) by Atomic Absorption Spectrometer (AAS)

- Perform Testing/Determination of Copper (Cu) by Atomic Absorption Spectrometer (AAS)

- Perform Testing/Determination of Zinc (Zn) by Atomic Absorption Spectrometer (AAS)

- Perform Testing/Determination of Manganese (Mn) by Atomic Absorption Spectrometer (AAS)

- Use Maps, Plans, Drawings and Specifications for Water Works

- Maintain and Repair Water Distribution Network

- Perform Leak Detection

- Design Water Treatment Plant (Surface and Groundwater)

- Operate and Control Coagulation and Flocculation Process

- Operate and control of sediment process

- Operate and Maintain Water Filtraton Process (Membrane Straining)

- Operate and Control Chlorination Disinfection processes

- Operate and Control UV Disinfection Process

- Operate and Control Ozonation Process in Water Treatment Plant

- Monitor the Performance of Water Treatment Plant

- Maintain Record of Water Treatment Plants Assets

- Demonstrate Sewage Treatment Plant

- Demonstration of wastewater treatment process in constructed wetlands

- Determine Flow discharge measurement of wastewater

- Perform Testing of Dissolved Oxygen (DO) in waste water

- Perform Testing of Chemical Oxygen Demand (COD) by Dichromate Digestion Method

- Perform Testing of Biochemical Oxygen Demand (BOD) by Manometric Pressure measurement method

- Testing/Determination of Oil and grease in wastewater	508

- Testing/Determination of Total Suspended Solids (TSS)

- Determine Hydrostatic pressure

- Apply Hydro Kinematic Principles

- Produce sketches of canals and head works

- Design Canals

- Produce sketches of Hydraulic structures

# Possible available job opportunities, available immediately and later in the future:

Possible Careers

- Water Hygiene Assistant

- Hydrology Assistant

- Water Quality Surveyor

- Quality Control Technician

- Water Resources Technician

- Water Supply Technician

- Waste Water Testing Technician

- Water Treatment Technologist

- Hydraulics and Irrigation Associate

- Water Works Supervisor

# Trainee entry level:

The entry levels of National Competency Standards for “Water Quality and Resource Management” are given below:

| Title | Entry requirements |
| --- | --- |
| National Competency Standards Level-5 for “Water Quality and Resource Management” | National Competency Standards Level-4 for “Water Quality and Resource Management” |

# Minimum qualification of trainer:

    - Must be a holder of Level 5 Diploma in Civil Technology/ Water Quality and Resource Management with at least 2 years relevant experience

OR

    - BSc (4 years) in Chemistry or equivalent

OR

    - BSc Engineering Technology (Civil) / B.E Civil /BSc Civil Engineering

# Recommended trainer: trainee ratio

The recommended maximum trainer: trainee ratio for this program is 1 trainer for 25 trainees.

# Medium of instruction i.e. language of instruction:

Instructions will be in Urdu/ English/ Local language.

# Duration of the course (Total time, Theory & Practical time):

Proposed Course Duration -   1200 hrs

Sequence of modules:

- Develop Water Supply Scheme (Rural and Urban) (Surface and Ground Water).

- Estimate demand for Water Supply

- Perform civil work

- Plan Water Treatment (Clarification)

- Plan Water Treatment (Filtration)

- Draw sketches of intakes

- Perform Distribution system of WSS

- Perform testing/determination of Sodium (Na) by Flame-photometric Method

- Perform Testing/Determination of Potassium (K) by Flame-photometric Method

- Perform Testing/Determination of Nitrate (N) by Spectrophotometric Method

- Perform Testing/Determination of Sulphate (SO4) by Spectrophotometric Method

- Perform Testing/Determination of Arsenic (As) by Atomic Absorption Spectrometer (AAS)

- Perform Testing/Determination of Copper (Cu) by Atomic Absorption Spectrometer (AAS)

- Perform Testing/Determination of Zinc (Zn) by Atomic Absorption Spectrometer (AAS)

- Perform Testing/Determination of Manganese (Mn) by Atomic Absorption Spectrometer (AAS)

- Use Maps, Plans, Drawings and Specifications for Water Works

- Maintain and Repair Water Distribution Network

- Perform Leak Detection

- Design Water Treatment Plant (Surface and Groundwater)

- Operate and Control Coagulation and Flocculation Process

- Operate and control of sediment process

- Operate and Maintain Water Filtraton Process (Membrane Straining)

- Operate and Control Chlorination Disinfection processes

- Operate and Control UV Disinfection Process

- Operate and Control Ozonation Process in Water Treatment Plant

- Monitor the Performance of Water Treatment Plant

- Maintain Record of Water Treatment Plants Assets

- Demonstrate Sewage Treatment Plant

- Demonstration of wastewater treatment process in constructed wetlands

- Determine Flow discharge measurement of wastewater

- Perform Testing of Dissolved Oxygen (DO) in waste water

- Perform Testing of Chemical Oxygen Demand (COD) by Dichromate Digestion Method

- Perform Testing of Biochemical Oxygen Demand (BOD) by Manometric Pressure measurement method

- Testing/Determination of Oil and grease in wastewater

- Testing/Determination of Total Suspended Solids (TSS)

- Determine Hydrostatic pressure

- Apply Hydro Kinematic Principles

- Produce sketches of canals and head works

- Design Canals

- Produce sketches of Hydraulic structures

# Summary template-overview of the curriculum:

Following is the structure of the course:

| NVQF (Competency Standards) | Level | Category | Estimated Hours |  |  | CH |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th. | Pr. | T H |  |
| Level 5 |  |  |  |  |  |  |
| 16. Water Supply Scheme (Urban & Rural) (Surface Water & Ground Water) Water Works Supervisor |  |  |  |  |  |  |
| Develop Water Supply Scheme (Rural and Urban) | 5 | Technical | 3 | 18 | 21 | 2.1 |
| Estimate demand for Water Supply | 5 | Technical | 5 | 20 | 25 | 2.5 |
| Perform civil works | 5 | Technical | 5 | 20 | 25 | 2.5 |
| Plan water distribution system | 5 | Technical | 5 | 20 | 25 | 2.5 |
| Perform distribution network of WSS | 5 | Technical | 5 | 20 | 25 | 2.5 |
| Draw sketch of Intake | 5 | Technical | 5 | 20 | 25 | 2.5 |
| Plan water treatment (Clarification) | 5 | Technical | 5 | 20 | 25 | 2.5 |
| Total |  |  | 33 | 138 | 171 | 17.1 |
| 17. Water and waste water Testing (Physico-chemical Parameter)-III Water Testing Sr. Technician (Chemical) |  |  |  |  |  |  |
| Perform Testing/Determination of Sodium (Na) by Flame-photometric Method | 5 | Technical | 15 | 45 | 60 | 6.0 |
| Perform Testing/Determination of Potassium (K) by Flame-photometric Method | 5 | Technical | 15 | 45 | 60 | 6.0 |
| Perform Testing/Determination of Nitrate (N) by Spectrophotometric Method | 5 | Technical | 15 | 45 | 60 | 6.0 |
| Perform Testing/Determination of Sulphate (SO4) by Spectrophotometric Method (Turbidity metric) | 5 | Technical | 15 | 45 | 60 | 6.0 |
| Total |  |  | 60 | 180 | 240 | 2.4 |
| 18. Water Quality testing(Heavy metals) Water Testing Senior Technician (Heavy Metal) |  |  |  |  |  |  |
| Perform Testing/Determination of Arsenic by Atomic Absorption Spectrometer | 5 | Technical | 15 | 35 | 50 | 5.0 |
| Perform Testing/Determination of Copper (Cu) by Atomic Absorption Spectrometer | 5 | Technical | 15 | 33 | 48 | 4.8 |
| Perform Testing/Determination of Zinc (Zn) by Atomic Absorption Spectrometer | 5 | Technical | 15 | 33 | 48 | 4.8 |
| Perform Testing/Determination of Manganese (Mn) by Atomic Absorption Spectrometer | 5 | Technical | 15 | 33 | 48 | 4.8 |
| Total |  |  | 60 | 134 | 194 | 19.4 |
| 19. Operation and Maintenance of Water Supply Scheme Water Supply Technician |  |  |  |  |  |  |
| Use Maps, Plans, Drawings and Specifications for Water Works | 5 | Technical | 6 | 18 | 24 | 2.4 |
| Maintain and Repair Water Distribution Network | 5 | Technical | 12 | 24 | 36 | 3.6 |
| Perform Leak Detection | 5 | Technical | 12 | 22 | 34 | 3.4 |
| Total |  |  | 30 | 64 | 94 | 9.4 |
| 20. Water Filtration and Treatment Water Treatment Technologist |  |  |  |  |  |  |
| Design water treatment plant (Surface and Ground water) | 5 | Technical | 12 | 12 | 24 | 2.4 |
| Operate and Control Coagulation and Flocculation Process | 5 | Technical | 3 | 9 | 12 | 1.2 |
| Operate and control of sediment process (Surface Water) | 5 | Technical | 3 | 9 | 12 | 1.2 |
| Operate and maintain water filtration process( Membrane Straining) | 5 | Technical | 3 | 9 | 12 | 1.2 |
| Operate and Control Chlorination disinfection process | 5 | Technical | 3 | 9 | 12 | 1.2 |
| Operate and Control Ultraviolet (UV)disinfection process | 5 | Technical | 3 | 6 | 9 | 0.9 |
| Operate and Control Ozonation process in Water Treatmen Plant | 5 | Technical | 6 | 24 | 30 | 3 |
| Monitor the Performance of Water Treatment Plant | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Maintain Record of Water Treatment Plants Assets | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Total |  |  | 45 | 102 | 147 | 14.7 |
| 21. Waste water Assessment and Treatment Waste Water Testing Technician |  |  |  |  |  |  |
| Demonstrate Sewage Treatment Plant (STP) | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Demonstration of wastewater treatment process in constructed wetland | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Determine Flow Discharge Measurement of Wastewater | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Perform Testing of Dissolved Oxygen in waste water | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Perform Testing of Chemical Oxygen Demand (COD) by Colorimeter/Dichromate Digestion Method | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Perform Testing of Biochemical Oxygen Demand (BOD) by Monometric Pressure Measurement Method | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Perform Testing of Oil and Grease in waste water | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Perform Testing of TSS in waste water | 5 | Technical | 6 | 12 | 18 | 1.8 |
| Total |  |  | 48 | 96 | 144 | 14.4 |
| 22. Entrepreneur |  |  |  |  |  |  |
| Develop entrepreneurial skills | 5 | Generic | 4 | 6 | 10 | 1 |
| Apply management and communication techniques |  |  |  |  |  |  |
| Create human resource management plan | 5 | Generic | 4 | 6 | 10 | 1 |
| Develop project management plan | 5 | Generic | 4 | 6 | 10 | 1 |
| Develop sales plan | 5 | Generic | 4 | 6 | 10 | 1 |
| Conduct research for customer needs and satisfaction | 5 | Generic | 4 | 6 | 10 | 1 |
| Manage finances | 5 | Generic | 4 | 6 | 10 | 1 |
| Identify and resolve problems | 5 | Generic | 4 | 6 | 10 | 1 |
| Develop Teams and Individuals | 5 | Generic | 4 | 6 | 10 | 1 |
| Apply Problem solving techniques in the workplace using critical thinking | 5 | Generic | 4 | 6 | 10 | 1 |
| Total |  |  | 36 | 54 | 90 | 9 |
| 23. Hydraulics and Irrigation Associate |  |  |  |  |  |  |
| Determine Hydrostatic pressure | 5 | Technical | 12 | 12 | 24 | 2.4 |
| Apply Hydro kinematic Principles | 5 | Technical | 12 | 12 | 24 | 2.4 |
| Produce sketches of canals and head work | 5 | Technical | 12 | 12 | 24 | 2.4 |
| Design Canals | 5 | Technical | 12 | 12 | 24 | 2.4 |
| Produce sketches of Hydraulic structures | 5 | Technical | 12 | 12 | 24 | 2.4 |
| Total |  |  | 60 | 60 | 120 | 12 |
| Grand Total |  |  | 372 | 828 | 1200 | 120 |

Module: 1021CS-078 Develop Water Supply Scheme (Rural and Urban) (Surface and Ground Water).

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 22 Hours			Theory: 4 Hours		Practice:  18 Hours                  Credit Hours:  2.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform reconnaissance survey LU2. Develop ground surface levels and layout plan LU3. Differentiate types of water supply systems LU4. Develop critical points in water supply systems LU5. Demonstrate basic hydraulics of water supply systems | Trainee will be able to: - Design and prepare survey forms/questionnaire for various aspects - Prepare check list of conducting survey - Pre-testing of survey questionnaire - Conduct survey - Prepare layout plan - Find out surface levels using dumpy level and GPS - Study and recognize different types of water supply systems - Recognize components of water supply systems - Recognize components of surface treatment plants - Find out key factors affecting water supply systems - Carryout remedial measures for the critical points - Demonstrate basic concepts of hydraulics - Carryout basic calculations | - Learn different types of surveys - Learn design of survey - Learn organize and conduct survey Practical Activity: Develop a questionnaire for reconnaissance survey of WSS Learn drawing layout plan using GPS and dumpy level Practical Activity Prepare and layout plan each using GPS and dumpy level in a nearby area having change in topography Learn and understand mechanism of water supply systems Practical Activity Develop a sketch of surface water and tubewell water based water supply individually on a chart paper Learn important factors affecting performance of water supply systems Practical Activity Visit a nearby Water supply system and identify critical factors Learn and understand basics of hydraulics Practical Activity Determine hydraulic head of supply line between two points having elevation difference of 20 m | Theory- 1 Hrs Practical- 3 Hrs Total- 4 Hrs Theory- 0 Hrs Practical- 6 Hrs Total- 6 Hrs Theory- 1 Hrs Practical- 3 Hrs Total- 4 Hrs Theory- 1 Hrs Practical- 3 Hrs Total- 4 Hrs Theory- 1 Hrs Practical- 3 Hrs Total- 4 Hrs | Powerpoint presentation Powerpoint presentation GPS Dumpy level Powerpoint presentation | Class Room Field exercise Class Room Field exercise Class room Class room Field visit Class room |

## Module: 1021CS-079 Estimate demand for Water Supply

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration:  25 Hours			Theory: 5 Hours		Practice:  20 Hours                  Credit Hours:  2.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Evaluate demand of water supply LU2. Identify Water Layout Standards LU3. Identify Rate of Demand for water | Trainee will be able to: - Calculate number of people - Identify people habits. - Calculate per capita consumption. - Check temperature. - Identify Losses - Identify quality & quantity of water - Identify rate of water supply - Calculate quantity of water - Identify number of hydrants - Suggest Spacing between Hydrants - Select supply of water by (gravity / pumping) - Suggest spacing between main line valves - Check flushing and maintenance procedures - Identify Standard Construction Specification - Identify Seasonal variation - Calculate daily variation - Identify hourly variation | - Learn basic data required to estimate water supply demand Practical activity - Determine water supply demand of a urban area having population of 10,000 and having some garment industry in a tropical area - Understand different components of water supply system as well as standard operating procedures Practical Activity Draw a sketch of WSS on a piece of paper with various components Learn seasonal variation in water demand Practical activity Determine variation in water demand on month basis with different periods of day | Theory- 3 Hrs Practical- 6 Hrs Total- 9 Hrs Theory- 1 Hrs Practical- 6 Hrs Total- 7 Hrs Theory- 1 Hrs Practical- 8 Hrs Total- 9 Hrs | - Powerpoint presentation - Calculator Powerpoint presentation Power point presentation Computer | Class Room Class room Field work Class room |

## Module: 1021CS-080 Perform civil work

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 25 Hours			Theory: 5 Hours		Practice:  20 Hours                  Credit Hours:  2.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Pumping chamber LU2. Storage tank | Trainee will be able to: - Perform excavation. - Construct DPC. - Construct super structure. - Install doors and window, - Perform flooring. - Execute finishing (painting) - Perform Soil investigation. - Carry out Excavation in foundation. - Construct Foundation. - Construct Superstructure. - Install fixtures | - Basic knowledge of civil work - Iron work - Bearing capacity of soil. - Types of Soil Practical Activity: Draw a drawing of pumping chamber and storage tank having capacity of 10,000 gallons each | Theory- 3 Hrs Practical- 10Hrs Total- 13Hrs Theory- 2 Hrs Practical- 10Hrs Total- 12Hrs | - Measuring Tape - Masonry tool kit - Steel fixer tools | Class Room Training Workshop Lab/ Field Visit |

## Module: 1021CS-081 Plan Water Treatment (Clarification)

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration:  25 Hours			Theory:  5 Hours		Practice:  20 Hours                  Credit Hours:  2.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Draw water treatment Plant LU2. Plan Screening for water treatment LU3. Plan Clarifier for water treatment | Trainee will be able to: - Identify quantity of water - Show Grits removal chamber - Indicate Screens - Identify pumps - Label settling tank - Label filtration stage - Indicate disinfection stage - Identify quantity of water - Identify quality of water. - indicate Screens operation - Identify quantity of water - Mark Primary Clarifier. - Mark secondary Clarifier | - Define water treatment process - Define fundamentals steps for water treatment - Explain Types of water - Describe applications stages for water treatment - Knowledge of repair and maintenance for treatment plant - Knowledge of Market requirements of domestic and commercial water supply - Explain filtration process in water treatment - Explain different type of screens used for treatment of water Practical Activity: Design and make drawings of a water treatment plant having capacity of 5000 gallons/hrs | Theory- 3 Hrs Practical- 6 Hrs Total- 9 Hrs Theory- 1 Hrs Practical- 6 Hrs Total- 7 Hrs Theory- 1 Hrs Practical- 8 Hrs Total- 9 Hrs | - Drawing sheet - Drawing instruments - Pencils - Eraser - Compass - Sprit level - Calculator - Umbrella (Optional) - PPEs | Class Room Training Workshop Lab/ Field Visit Class Room Training Workshop Lab/ Field Visit Class Room Training Workshop Lab/ Field Visit |

## Module: 1021CS-082 Plan Water Treatment (Filtration)

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration:  25 Hours			Theory: 5 Hours		Practice: 20 Hours                  Credit Hours:  2.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Draw water filtration process LU2. Interpret Plan (Slow Sand Filter) at water treatment plant LU3. Interpret Plan (Pressure Sand Filter) at water treatment plant | Trainee will be able to - Identify source of water - Calculate quantity of water - indicate sand beds - Check filtration Rate - Select reducing Factor - indicate inlet & outlet - Identify water treatment plant - identify sand beds - Identify slow sand filters - Check filter media - Identify sand removal need - Identify source of water - identify sand beds - Identify Rapid / Pressure filters - Check filter media - Identify back wash results - Check associated symptoms | - Knowledge of Safety requirements for drinking water after treatment - Knowledge of water treatment process - Explain different stages for water treatment process - Explain filter media and it types - Explain change of filter media at water treatment plant - Describe slow and rapid sand filters at water treatment plant - Explain reducing factor Practical Activity: Draw a sketch of Water Filtration process on a piece of paper | Theory- 2 Hrs Practical- 6 Hrs Total- 8 Hrs Theory- 2 Hrs Practical- 7 Hrs Total- 10 Hrs Theory- 1 Hrs Practical- 7 Hrs Total- 8 Hrs | - Drawing sheet - Drawing instruments - Pencils - Eraser - Compass - Sprit level - Calculator - Umbrella (Optional) - PPEs | Class Room Training Workshop Lab/ Field Visit |

## Module: 1021CS-083 Draw sketches of intakes

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 25 Hours			Theory:  5Hours		Practice:  20Hours                  Credit Hours:  2.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Draw Intake LU2. Conduct Design for Intake | Trainee will be able to - Identify equipment - Fix sheet - Select scale - Draw proposed sketch - Select site selection - Check water quality condition - Check place for openings - Construct well upstream - Indicate flow system - Install pump to treatment plant | - Describe intakes and its type. - Explain Marking out intakes. - Explain procedure to take out water from intakes. - Describe design procedure for intakes - Explain safety precaution for task - Describe fixing of pump method for intake - Explain PPEs Practical Activity: Draw a sketch of intake structure | Theory- 3Hrs Practical- 10Hrs Total- 13Hrs Theory- 2Hrs Practical- 10Hrs Total- 12Hrs | - Pipes - Calculator - Thermometer - Valves - Pipe repairs, - Plungers, - Pressure testing kits, - Radiator tools - Spirit level - PPEs - Drawing sheet with drawing instruments - Sealant - Gasket - Threading die - Pipe Vice - Flanges - Pipe cutter - Wrench set - Scale card - Spanner set - Clamps - Nuts, Bolts & Spring Washers | Class Room Training Workshop Lab/ Field Visit |

## Module: 1021CS-084 Perform Distribution system of WSS

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 25 Hours			Theory:  5Hours		Practice:  20Hours                  Credit Hours:  2.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Laying jointing of pipe LU2. Testing and disinfecting | Trainee will be able to - Carry out excavation in trenches. - Join pipes. - Perform pressure test. - Perform leakage test. | - Laying jointing of pipes. - Types of jointing and welding - Hydraulics Practical Activity: Performa a pressure and leakage test in a nearby WSS | Theory- 3Hrs Practical-10 Hrs Total- 13Hrs Theory- 2Hrs Practical-10 Hrs Total- 12Hrs | - Jointing solution - Pipe wrench - Chain wrench - Pump and motor - Pressure guage | Class Room Training Workshop Lab/ Field Visit |

## Module 1021CS-085.	Perform testing/determination of Sodium (Na) by Flame-photometric Method

Objective: After the completion of this module, the Trainee will be able to develop skill and capability required to prepare standards/samples for testing of Na, Quality Control (QC) checks, data recording/reporting of results  and necessary precautions required during testing.

Duration:  60 Hours			Theory: 15 Hours		Practice: 45 Hours                  Credit Hours: 6.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Identify the samples and environmental condition required for testing - Select appropriate test method, glassware and equipment - Prepare the required standards for verification of test methods/ calibration of equipments. - Adopt the appropriate safety requirements | - Describe the environmental conditions necessary for testing - Explain the preparation of standards as per reference procedure. - Illustrate the necessary safety precautions required during testing Practical Activity: Prepare the standards/sample for Na test | Theory- 2.5 Hrs Practical- 5 Hrs Total- 7.5 Hrs | - Auto Pipette 10 ml - Sodium standard (20-100 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU2. Prepare for laboratory testing | Trainee will be able to: - Set up test equipment and reagents in accordance with the specified work instructions - Conduct pre-use and QC checks - Check the calibration status of equipment. Perform calibration if required | - Enlist the regents require during testing of Na - Explain the QC checks involve in determination of Sodium - Define the calibration procedure for Flame Photometer Practical Activity: Calibrate the Flame Photometer with calibration standards | Theory- 2.5 Hrs Practical- 6 Hrs Total- 8.5 Hrs | - Flam-photometer - Auto Pipette 10 ml - Sodium standard (20-100 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Turned on the fuel supply and Flam Photometer - Adjust the flam from rotating knob of fuel adjuster - Select the sodium filter - Check the aspirating of photometer through suction of 10 ml deionized water per minute - Aspire the standard solution and adjust to obtain the positive reading - Aspire the sample and note the results - Store reagents and dispose of wastes as required by relevant regulations and codes - Clean and store equipment | - Describe the basic principle of Flam-photometric sodium measurement - Define the permissible limit of Na in drinking water - Explain the procedure for storage of reagents and disposal of waste material Practical Activity: Demonstrate the testing of Na by Flame Photometer | Theory- 3 Hrs Practical- 14 Hrs Total- 17 Hrs | - Flam-photometer - Auto Pipette 10 ml - Sodium standard (20-100 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU4. Perform Quality Control Checks | - Analyze Method Blank after every 10 sample - Analyze Laboratory Control samples with every batch of 10 samples - Check repeatability by reanalyzing a pre-analyzed sample once a day - Record quality control data in QC Data sheet - Generate control charts of laboratory control sample | - Define the Method Blank - Explain the repeatability and its procedure - Elaborate the trend analysis of given control charts Practical Activity: Analyze the QC sample for Na test | Theory- 3 Hrs Practical- 10 Hrs Total- 13 Hrs | - Flam-photometer - Auto Pipette 10 ml - Sodium standard (20-100 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU5. Record the results/ Finalize work | - Note down the results on analyst workbook - Calculate uncertainty of the results - Record the results on result record form and submit to reporting section - Clear and restore work area | - Describe the procedure for measurement uncertainty - Explain the replicate analysis Practical Activity: Calculate the uncertainty of given data | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Work book - Result record form - Calculator | Class Room Lab |
| LU6. Adopt the precautions during testing work | - Handling of test equipment during test - Restore the equipment to original condition after aspiration of high concentration salt solution - Take sample from top half of the sample. The bottom half may contain sediments that could block fine tubing - Never use glass container to store calibration standards | - Enlist the steps for handling of test equipment - Explain the procedure if high concentration salt solution is aspirated for longer period - Elaborate the procedure for blocking of fine tubing Practical Activity: Perform practical step to avoid choking of tubing | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Flam-photometer - Auto Pipette 10 ml - Sodium Standard (20-100 ppm) - Deionized water - Glass wares | Class Room Lab |

## Module 1021CS-086.	Perform Testing/Determination of Potassium (K) by Flame-photometric Method

Objective: After the completion of this module, the Trainee will be able to develop skill and competence required for determination of K by Flame-photometric Method

Duration:  60 Hours			Theory: 15 Hours		Practice: 45 Hours                  Credit Hours: 6.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Identify the samples and environmental condition requisite for testing - Recognize appropriate test method, glassware and equipment - Prepare the required standards for verification of test methods/ calibration of equipments. - Adopt the appropriate safety requirements | - illustrate the environmental conditions required for testing - Explain the preparation of standards as per reference procedure. - Depict the necessary safety precautions during testing Practical Activity: Prepare the standards/sample for K test | Theory- 2.5 Hrs Practical- 5 Hrs Total- 7.5 Hrs | - Auto Pipette 10 ml - Potassium standard (5-10 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU2. Prepare for laboratory testing | Trainee will be able to: - Set up test equipment and reagents in accordance with the specified work instructions - Conduct pre-use and QC checks - Check the calibration status of equipment. Perform calibration if required | - Enlist the regents require during testing of K - Explain the QC checks involve during determination of K - Describe the calibration procedure for Flame Photometer Practical Activity: Calibrate the Flame Photometer with calibration standards | Theory- 2.5 Hrs Practical- 6 Hrs Total- 8.5 Hrs | - Flam-photometer - Auto Pipette 10 ml - Potassium standard (5-10 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Turned on the fuel supply and Flam Photometer - Adjust the flam from rotating knob of fuel adjuster - Select the Potassium filter - Check the aspirating of photometer through suction of 10 ml deionized water per minute - Aspire the standard solution and adjust to obtain the positive reading - Aspire the sample and note the results - Store reagents and dispose of wastes as required by relevant regulations and codes - Clean and store equipment | - Describe the basic principle of Flam-photometric potassium measurement - Define the permissible limit of K in drinking water - Explain the procedure for storage of reagents and disposal of waste material Practical Activity: Demonstrate the testing of K by Flame Photometer | Theory- 3 Hrs Practical- 14 Hrs Total- 17 Hrs | - Flam-photometer - Auto Pipette 10 ml - Potassium standard (5-10 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU4. Quality Control Checks | - Analyze Method Blank after every 10 sample - Analyze Laboratory Control samples with every batch of 10 samples - Check repeatability by reanalyzing a pre-analyzed sample once a day - Record quality control data in QC Data sheet - Generate control charts of laboratory control sample | - Define the Method Blank - Explain the repeatability and its procedure - Elaborate the trend analysis of given control charts Practical Activity: Analyze the QC sample for K test | Theory- 3 Hrs Practical- 10 Hrs Total- 13 Hrs | - Flam-photometer - Auto Pipette 10 ml - Potassium standard (5-10 ppm) - Deionized water - Glass wares | Class Room Lab |
| LU5. Record the results/ Finalize work | - Note down the results on analyst workbook - Calculate uncertainty of the results - Record the results on result record form and submit to reporting section - Clear and restore work area | - Describe the procedure for measurement uncertainty - Explain the replicate analysis Practical Activity: Calculate the uncertainty of given data | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Work book - Result record form - Calculator | Class Room Lab |
| LU6. Adopt the precautions during testing work | - Handling of test equipment during test - Restore the equipment to original condition after aspiration of high concentration salt solution - Take sample from top half of the sample. The bottom half may contain sediments that could block fine tubing - Never use glass container to store calibration standards | - Enlist the steps for handling of test equipment - Explain the procedure if high concentration salt solution is aspirated for longer period - Elaborate the procedure for blocking of fine tubing Practical Activity: Perform practical step to avoid blocking of tubing | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Flam-photometer - Auto Pipette 10 ml - Potassium Standard (5-10 ppm) - Deionized water - Glass wares | Class Room Lab |

## Module 1021CS-087.	Perform Testing/Determination of Nitrate (N) by Spectrophotometric Method

Objective: After the completion of this module, the Trainee will be able to develop expertise and competence required to prepare standards/samples for testing of Nitrate, Quality Control (QC) checks, data recording/reporting of results  and necessary precautions required during testing.

Duration:  60 Hours			Theory: 15 Hours		Practice: 45 Hours                  Credit Hours: 6.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Identify the samples and environmental condition required for testing - Select appropriate test method, glassware and equipment - Prepare the required standards for verification of test methods/ calibration of equipments. - Adopt the appropriate safety precautions | - Describe the environmental conditions and safety precautions required during testing - Enlighten the preparation of standards as per reference procedure. - Explain the verification of test method Practical Activity: Prepare the Nitrate standard of given concentration from reference stock solution | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Spectrophotometer - Auto Pipette 10 ml - Nitrate Standard (5-15 ppm) - HCl I N - Deionized water - Glass wares | Class Room Lab |
| LU2. Prepare for laboratory testing | Trainee will be able to: - Set up test equipment and reagents in accordance with the specified work instructions - Conduct pre-use and QC checks - Check the calibration status of equipment. Perform calibration if required | - Enlist the regents require during testing - Explain the QC checks involve in determination of Nitrate - Describe the calibration procedure for Spectrophotometer Practical Activity: Calibrate the Spectrophotometer with given standards | Theory- 3 Hrs Practical-6 Hrs Total- 9 Hrs | - Spectrophotometer - Auto Pipette 10 ml - Nitrate Standard (5-15 ppm) - HCl I N - Deionized water - Glass wares | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Prepare the sample by taking 10ml deionized water and 0.2 ml of 1N HCL - Apply special correction or blank correction - Measure Nitrate concentration at 220nm wavelength and at 275nm for organic interference - Subtract two times absorbance reading at 275nm from the reading at 220nm to obtain corrected reading - Determine the concentration from equation - Measure concentration from calibration curve If Spectrophotometer set for concentration determination. - analyzed three replicate for each sample. - Store unused reagents and dispose of wastes as per regulations and codes. - Clean and store equipment. | - Explain the working principle of spectrophotometer - Define the blank correction - State the wavelength for Nitrate concentration and organic interference - Describe the Beer’s Lambert Law. Practical Activity: Draw the calibration curve for Nitrate by given standards | Theory- 3 Hrs Practical- 14 Hrs Total- 17 Hrs | - Spectrophotometer - Auto Pipette 10 ml - Nitrate Standard (5-15 ppm) - HCl I N - Deionized water - Glass wares | Class Room Lab |
| LU4. Quality Control Checks | - Analyze method blank after every 10 samples - Analyze Laboratory control sample of 5 ppm with every batch of 10 samples. - Check repeatability by reanalyzing a pre-analyzed sample once a day - Recorded Quality control data in QC Data sheet. - Generate the control chart of laboratory control sample | - Define the method blank - Explain the repeatability and its procedure - Elaborate the trend analysis of given control charts Practical Activity: Generate the control chart from provided data | Theory- 3 Hrs Practical- 10 Hrs Total- 13 Hrs | - Spectrophotometer - Auto Pipette 10 ml - Nitrate Standard (5-15 ppm) - HCl I N - Deionized water - Glass wares - Computer | Class Room Lab |
| LU5. Record the results/ Finalize work | - Note down the results on analyst workbook - Calculate uncertainty of the results - Record the results on result record form and submit to reporting section - Clear and restore work area | - Describe the procedure for measurement uncertainty - Explain the replicate analysis Practical Activity: Calculate the uncertainty of given data | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Work book - Result record form - Calculator | Class Room Lab |
| LU6. Adopt the precautions during testing work | - Wash the reaction cell properly before analysis - Apply special correction and standard adjust features to eliminate variation of reagents - Acidification with 1N HCL is designed to prevent interferences from hydroxide or carbonate concentrations - If corrected value is more than 10% of the reading at 220nm then use other method. | - Explain the special correction - Explain the procedure to eliminate interferences of hydroxide and carbonate - Describe the procedure for corrected value higher than 10% Practical Activity: Analyze the given sample for Nitrate test | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Spectrophotometer - Auto Pipette 10 ml - Nitrate Standard (5-15 ppm) - HCl I N - Deionized water - Glass wares - Computer | Class Room Lab |

## Module 1021CS-088.	Perform Testing/Determination of Sulphate (SO4) by Spectrophotometric Method

Objective: After the completion of this module, the Trainee will be able to develop expertise and competence required to prepare standards/samples for testing of Nitrate, Quality Control (QC) checks, data recording/reporting of results  and necessary precautions required during testing.

Duration:  60 Hours			Theory: 15 Hours		Practice: 45 Hours                  Credit Hours: 6.0 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Identify the samples and environmental condition required for testing - Select appropriate test method, glassware and equipment - Prepare the required standards for verification of test methods/ calibration of equipments. - Adopt the appropriate safety precautions | - Describe the environmental conditions and safety precautions required during testing - Enlighten the preparation of standards as per reference procedure. - Explain the verification of test method Practical Activity: Prepare the Sulphate standard of given concentration | Theory- 02 Hrs Practical- 05 Hrs Total- 07 Hrs | - Spectrophotomete - Auto Pipette 10 ml - Sulphate standards - Sulphate buffer - Barium Chloride | Class Room Lab |
| LU2. Prepare for laboratory testing | Trainee will be able to: - Set up test equipment and reagents in accordance with the specified work instructions - Conduct pre-use and QC checks - Check the calibration status of equipment. Perform calibration if required | - Enlist the regents require during testing - Explain the QC checks involve in determination of Sulphate - Describe the calibration procedure for Spectrophotometer Practical Activity: Calibrate the Spectrophotometer with given standards | Theory- 03 Hrs Practical-06 Hrs Total- 09 Hrs | - Spectrophotomete - Auto Pipette 10 ml - Sulphate standards - Sulphate buffer - Barium Chloride | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Prepare sample by adding 10ml of deionized water and 2 ml of Sulphate Buffer (Use Buffer solution B for samples having concentration >10ppm and Buffer solution A for other) one pinch of Barium chloride crystals, stir it vigorously and take absorbance reading after 5 minutes reaction time at wavelength of 420nm. - perform testing with actual water samples and determine the concentration from formula - Measure concentration from calibration curve, if Spectrophotometer set for concentration determination - Analyze three replicate for each sample. - Store unused reagents and dispose of wastes as per relevant regulations and codes. - Clean and store equipment. | - Explain the working principle of spectrophotometer - Enlist the type of buffer - State the wavelength for Sulphate concentration in sample - Describe the Beer’s Lambert Law. Practical Activity: Draw the calibration curve for Sulphate by given standards | Theory- 03 Hrs Practical- 14 Hrs Total- 17 Hrs | - Spectrophotomete - Auto Pipette 10 ml - Sulphate standards - Sulphate buffer - Barium Chloride | Class Room Lab |
| LU4. Quality Control Checks | - Analyze method blank after every 10 samples - Analyze Laboratory control sample of 10 ppm with every batch of 10 samples. - Check repeatability by reanalyzing a pre-analyzed sample once a day - Recorded Quality control data in QC Data sheet. - Generate the control chart of laboratory control sample | - Define the method blank - Explain the repeatability and its procedure - Elaborate the trend analysis of given control charts Practical Activity: Generate the control chart from provided data | Theory- 2.5 Hrs Practical- 10 Hrs Total- 12.5 Hrs | - Spectrophotomete - Auto Pipette 10 ml - Sulphate standards - Sulphate buffer - Barium Chloride | Class Room Lab |
| LU5. Record the results/ Finalize work | - Note down the results on analyst workbook - Calculate uncertainty of the results - Record the results on result record form and submit to reporting section - Clear and restore work area | - Describe the procedure for measurement uncertainty - Explain the replicate analysis Practical Activity: Calculate the uncertainty of given data | Theory- 2 Hrs Practical- 5 Hrs Total- 7 Hrs | - Work book - Result record form - Calculator | Class Room Lab |
| LU6. Adopt the precautions during testing work | - Apply wavelength and special correction before start of sample analysis - Verify the reliability of the already prepared curve by analyzing known standard - Set the pH of the buffer solution in the range (2.50-3.50) to avoid decomposition of BaSO4 - Check the accuracy of the calibration curve at concentration greater than 40 ppm due to decomposition of BaSO4, and make dilution | - Explain the wavelength correction - Enlist the steps to check consistency of calibration curve - Explain the procedure to avoid Barium Sulphate (BaSO4) - Describe the procedure to maintain accuracy of calibration curve at higher concentration Practical Activity: Analyze the given sample for Sulphate test | Theory- 2.5Hrs Practical- 05 Hrs Total- 7.5 Hrs | - Spectrophotomete - Auto Pipette 10 ml - Sulphate standards - Sulphate buffer - Barium Chloride | Class Room Lab |

## Module: 1021CS-089.  Perform Testing/Determination of Arsenic (As) by Atomic Absorption Spectrometer (AAS)

Objective: After the completion of this module, the trainee will be able to understand the working principal of Arsenic testing on AAS,  prepare samples, perform tests on given samples by following all required quality control checks, record and finalize the results and adopt precautions during the work.

Duration: 50 Hours		 Theory: 15 Hours		   Practice: 35 Hours                   Credit Hours:  5.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for Arsenic testing | Trainee will be able to: - Check the sample label for the requirement of analysis of Arsenic. - Keep the sample at room temperature for few minutes. - Check for the availability of Arsenic Standard solution 5-25 ppb or prepare as per standard procedure from reference stock solution of 1000 ppm - Identify appropriate test method, Glassware equipment and safety requirements. | - Define the Heavy Metals and describe heavy metal properties of Arsenic - Describe “Beer Lambered Law” - Define and differentiate between ppb & ppm Practical Activity: Prepare sample, reagents and working standards for Arsenic | Theory-04 Hrs Practical-05 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) - Auto Pipette 1- 10 ml - Arsenic stock solution - Sodium borohydride & Sodium Hydroxide - Conc. Hydrochloric Acid. (HCl) 37% - Glass Beakers (Class A) - Volumetric Flask 100 ml - Volumetric Flask 250 ml - Volumetric Flask 1000 ml | Chemical Laboratory/Class Room |
| LU2. Prepare equipment for laboratory testing of Arsenic | Trainee will be able to: - Set up test equipment Atomic Absorption Spectrometer and/or reagents in accordance with the specified work instructions for Arsenic analysis. - Conduct pre-use and safety checks and initialization of AAS - Check the calibration status of equipment. Perform calibration if required after calibration verification | - Describe the calibration verification step. - Define the initialization of equipment - Describe the working curve and working standards for Arsenic. - Define Lambda Max ( λ max) for Arsenic Practical Activity: Draw/constitute the calibration curve for Arsenic testing on HG | Theory-03 Hrs Practical-05 Hrs Total- 08 Hrs | - Atomic Absorption Spectrometer (AAS) - Auto Pipette 1- 10 ml - Arsenic Standard (5-25 ppb) - 3% Sodium borohydride Solutio - Conc. Hydrochloric Acid. (HCl) 37% - Glass Beakers (Class A) | Class Room/Laboratory |
| LU3. Perform arsenic testing of water sample on AAS | Trainee will be able to: - Open the AAS Software, select Hydride Generation Mode. - Load Method for Arsenic or draw new calibration curve. - Adjust the parameter (energy of the lamp and heating temperature of quartz cell). - Click on the option “Sample” and insert the sample codes in sample table. - Wash the sample cup and sampling tip with deionized water. - Take 10 ml of sample in Reaction cup. - Add 1ml concentrated. HCl in reaction cup and mount on batch module. - Click on the “Run Sample” option from software. - Analyzed Three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Define the working principal of AAS for arsenic - Describe the reaction and testing mechanism of arsenic testing. - Describe the role of sodium borohydride in arsenic testing Practical Activity: Analyze water sample for Arsenic on Hydride Generation (HG) Mode of AAS | Theory-03 Hrs Practical- 10 Hrs Total- 13 Hrs | - Atomic Absorption Spectrometer (AAS) - Water samples - Auto Pipette 1- 10 ml - Arsenic Standard (5-25 ppb) - 3% Sodium borohydride Solutio - Conc. Hydrochloric Acid. (HCl) 37% - Glass Beakers (Class A) - Washing acid (1:1 HCl) | Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - Verify the calibration of the equipment or draw calibration if required - Analyze Blank and Lab control sample after every ten samples. - Analyze pre-analyzed sample with every analytical batch. - Analyze Spiked Matrix sample after every two months - Analyze the Control Sample and display data regularly on control charts. - Record the daily quality control data in QC Data sheet. | - Define Lab control sample for Arsenic - Describe the calibration verification step. - Describe pre-analyzed sample importance in QC - Define SD & RSD values shown in software - Describe spiked matrix sample Practical Activity: Prepare Spiked Matrix Sample for Arsenic, analyze on AAS and calculate the percent recovery | Theory-03 Hrs Practical- 07 Hrs Total- 10 Hrs | - Atomic Absorption Spectrometer (AAS) - Auto Pipette 1- 10 ml - Arsenic Standard (5-25 ppb) - 3% Sodium borohydride Solution - Conc. Hydrochloric Acid. (HCl) 37% - Glass Beakers (Class A) - Volumetric Flask 100 ml - Volumetric Flask 250 ml - Washing acid (1:1 HCl) | Laboratory |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. - Clean and shut down equipment as per work instructions. | - Define replicate analysis. - Define uncertainty values - Describe the post washing and shutdown activity for HG system on AAS Practical Activity: Record the results on work book and finalize the work | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) - Analyst work book with pen - Deionized water - Duster - Washing acid (1:1 HCl) | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Wash all the glassware with washing acid (1:1 HCl) before preparation of standard solution and samples. - Auto-pipettes should be used carefully to take accurate volume during the analysis. - Deionized water used should be of high quality having EC <1.5µS/cm. - . | - Define the washing acid - Describe the storage conditions for arsenic standards and reagents Practical Activity: Prepare washing acid for arsenic and wash the glassware and store. | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) - Analyst work book with pen - Deionized water - Duster - Hydrochloric Acid. (HCl) 37% - Glass Beakers (Class A) | Laboratory |

## Module: 1021CS-090.  Perform Testing/Determination of Copper (Cu) by Atomic Absorption Spectrometer (AAS)

Objective: After the completion of this module, the trainee will be able to understand the working principal of copper testing on AAS,  prepare samples, perform tests on given samples by following all required quality control checks, record and finalize the results and adopt precautions during the work.

Duration: 48 Hours			Theory: 15 Hours		Practice: 33 Hours                  Credit Hours:  4.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples and solutions for Copper testing | Trainee will be able to: - Check the sample label for the requirement of analysis for copper. - Keep the sample at room temperature for few minutes. - Check for the availability of copper standard solution 0.2-1 ppm or prepare as per standard procedure from reference stock solution of 1000 ppm - Identify appropriate test method, Glassware equipment and safety requirements. | - Define the Heavy Metals and describe heavy metal properties of copper - Describe “Beer Lambered Law” - Define and differentiate between ppb & ppm - Define nebulizer in AAS Practical Activity: Prepare sample, diluent and working standards for copper | Theory-04 Hrs Practical-05 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Analyst work book with pen - Auto Pipette 1- 10 ml - Copper stock solution - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Volumetric Flask 100 ml - Volumetric Flask 250 ml - Volumetric Flask 1000 ml | Chemical Laboratory/Class Room |
| LU2. Prepare equipment for laboratory testing of Copper | Trainee will be able to: - Set up test equipment Atomic Absorption Spectrometer and/or reagents in accordance with the specified work instructions for copper analysis. - Conduct pre-use, safety checks and initialization of AAS on Flam Mode - Check the calibration status of equipment. Perform calibration if required after calibration verification | - Describe the calibration verification step. - Define the initialization of equipment - Describe the working curve and working standards for copper. - Define Lambda Max ( λ max) for copper on AAS Practical Activity: Draw/constitute the calibration curve for copper testing on Flam Mode | Theory-03 Hrs Practical-05 Hrs Total- 08 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Copper working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU3. Perform copper testing of water sample on AAS | Trainee will be able to: - Open the AAS Software select Flam Mode. - Load Method for Copper or draw new calibration curve. - Adjust the parameter (energy of the lamps, auto sampler parameters and adjustment of air acetylene flam parameter according to the manufacturer instructions). - Insert the sample codes in sample table along with giving the sample cup positions in case of autosampler. - Take sample in sample cup of autosampler up to the mark and put in specific position of sample tray of auto sampler. If autosampler is available. - Ignite the flam by clicking on the ignition option in the software - Run Sample from software after selecting the range of samples in table by giving working area in case of autosampler used. - Feed each sample one by one manually in case of working without autosampler - Analyze three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Define the working principal of AAS for copper - Describe the testing mechanism of copper on Flam Mode - Define role of the siphon in flame mode Practical Activity: Analyze water sample for copper on Flame Mode of AAS | Theory-03 Hrs Practical- 09 Hrs Total- 12 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Copper working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - Verify the calibration of the equipment or draw calibration if required - Analyze Blank and Lab control sample after every ten samples. - Analyze pre-analyzed sample with every analytical batch. - Analyze Spiked Matrix sample after every two months - Analyze the Control Sample and display data regularly on control charts. - Record the daily quality control data in QC Data sheet. | - Define Lab control sample for copper - Describe the calibration verification step. - Describe pre-analyzed sample importance in QC - Define SD & RSD values shown in software - Describe spiked matrix sample Practical Activity: Prepare Spiked Matrix Sample for copper, analyze on AAS and calculate the percent recovery | Theory-03 Hrs Practical- 06 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Copper working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. - Clean and shut down equipment as per work instructions. | - Define replicate analysis. - Define uncertainty values - Describe the post washing and shutdown activity for Flame Mode on AAS Practical Activity: Record the results on work book, calculate uncertainty values and finalize the work | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) with Flame Mode - Analyst work book with pen - Deionized water - Duster - Washing acid 1N HNO3 | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Wash all the glassware with washing acid 1N HNO3 before preparation of standard solution and samples. - Auto-pipettes should be used carefully to take accurate volume during the analysis. - Deionized water used should be of high quality having EC <1.5µS/cm. - . | - Define the washing acid for copper analysis - Describe the storage conditions for copper standards and reagents Practical Activity: Prepare washing acid for copper, wash the glassware and store properly.. | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) with Flame Mode - Analyst work book with pen - Deionized water - Duster Washing acid 1N HNO3 | Laboratory |

## Module: 1021CS-091.  Perform Testing/Determination of Zinc (Zn) by Atomic Absorption Spectrometer (AAS)

Objective: After the completion of this module, the trainee will be able to understand the working principal of zinc testing on AAS,  prepare samples, perform tests on given samples by following all required quality control checks, record and finalize the results and adopt precautions during the work.

Duration: 48 Hours			Theory: 15 Hours		Practice: 33 Hours                  Credit Hours:  4.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples and solutions for Zinc testing | Trainee will be able to: - Check the sample label for the requirement of analysis for zinc. - Keep the sample at room temperature for few minutes. - Check for the availability of zinc standard solution 0.2-1 ppm or prepare as per standard procedure from reference stock solution of 1000 ppm - Identify appropriate test method, Glassware equipment and safety requirements. | - Define the Heavy Metals and describe heavy metal properties of zinc - Describe “Beer Lambered Law” - Define and differentiate between ppb & ppm - Define nebulizer in AAS Practical Activity: Prepare sample, diluent and working standards for zinc | Theory-04 Hrs Practical-05 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Analyst work book with pen - Auto Pipette 1- 10 ml - Zinc stock solution - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Volumetric Flask 100 ml - Volumetric Flask 250 ml - Volumetric Flask 1000 ml | Chemical Laboratory/Class Room |
| LU2. Prepare equipment for laboratory testing of Zinc | Trainee will be able to: - Set up test equipment Atomic Absorption Spectrometer and/or reagents in accordance with the specified work instructions for zinc analysis. - Conduct pre-use, safety checks and initialization of AAS on Flam Mode - Check the calibration status of equipment. Perform calibration if required after calibration verification | - Describe the calibration verification step. - Define the initialization of equipment - Describe the working curve and working standards for zinc. - Define Lambda Max ( λ max) for zinc on AAS Practical Activity: Draw/constitute the calibration curve for zinc testing on Flam Mode | Theory-03 Hrs Practical-05 Hrs Total- 08 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Zinc working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU3. Perform Zinc testing of water sample on AAS | Trainee will be able to: - Open the AAS Software select Flam Mode. - Load Method for zinc or draw new calibration curve. - Adjust the parameter (energy of the lamps, auto sampler parameters and adjustment of air acetylene flam parameter according to the manufacturer instructions). - Insert the sample codes in sample table along with giving the sample cup positions in case of autosampler. - Take sample in sample cup of autosampler up to the mark and put in specific position of sample tray of auto sampler. If autosampler is available. - Ignite the flam by clicking on the ignition option in the software - Run Sample from software after selecting the range of samples in table by giving working area in case of autosampler used. - Feed each sample one by one manually in case of working without autosampler - Analyze three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Define the working principal of AAS for zinc - Describe the testing mechanism of zinc on Flam Mode - Define role of the siphon in flame mode Practical Activity: Analyze water sample for zinc on Flame Mode of AAS | Theory-03 Hrs Practical- 09 Hrs Total- 12 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Zinc working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - Verify the calibration of the equipment or draw calibration if required - Analyze Blank and Lab control sample after every ten samples. - Analyze pre-analyzed sample with every analytical batch. - Analyze Spiked Matrix sample after every two months - Analyze the Control Sample and display data regularly on control charts. - Record the daily quality control data in QC Data sheet. | - Define Lab control sample for zinc - Describe the calibration verification step. - Describe pre-analyzed sample importance in QC - Define SD & RSD values shown in software - Describe spiked matrix sample Practical Activity: Prepare Spiked Matrix Sample for zinc, analyze on AAS and calculate the percent recovery | Theory-03 Hrs Practical- 06 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Zinc working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. - Clean and shut down equipment as per work instructions. | - Define replicate analysis. - Define uncertainty values - Describe the post washing and shutdown activity for Flame Mode on AAS Practical Activity: Record the results on work book, calculate uncertainty values and finalize the work | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) with Flame Mode - Analyst work book with pen - Deionized water - Duster - Washing acid 1N HNO3 | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Wash all the glassware with washing acid 1N HNO3 before preparation of standard solution and samples. - Auto-pipettes should be used carefully to take accurate volume during the analysis. - Deionized water used should be of high quality having EC <1.5µS/cm. - . | - Define the washing acid for zinc analysis - Describe the storage conditions for zinc standards and reagents Practical Activity: Prepare washing acid for zinc, wash the glassware and store properly. | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) with Flame Mode - Analyst work book with pen - Deionized water - Duster Washing acid 1N HNO3 | Laboratory |

## Module: 1021CS-092.  Perform Testing/Determination of Manganese (Mn) by Atomic Absorption Spectrometer (AAS)

Objective: After the completion of this module, the trainee will be able to understand the working principal of manganese testing on AAS,  prepare samples, perform tests on given samples by following all required quality control checks, record and finalize the results and adopt precautions during the work.

Duration: 48 Hours			Theory: 15 Hours		Practice: 33 Hours                  Credit Hours:  4.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples and solutions for manganese testing | Trainee will be able to: - Check the sample label for the requirement of analysis for manganese. - Keep the sample at room temperature for few minutes. - Check for the availability of manganese standard solution 0.2-1 ppm or prepare as per standard procedure from reference stock solution of 1000 ppm - Identify appropriate test method, Glassware equipment and safety requirements. | - Define the Heavy Metals and describe heavy metal properties of manganese - Describe “Beer Lambered Law” - Define and differentiate between ppb & ppm - Define nebulizer in AAS Practical Activity: Prepare sample, diluent and working standards for manganese | Theory-04 Hrs Practical-05 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Analyst work book with pen - Auto Pipette 1- 10 ml - Manganese stock solution - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Volumetric Flask 100 ml - Volumetric Flask 250 ml - Volumetric Flask 1000 ml | Chemical Laboratory/Class Room |
| LU2. Prepare equipment for laboratory testing of manganese | Trainee will be able to: - Set up test equipment Atomic Absorption Spectrometer and/or reagents in accordance with the specified work instructions for manganese analysis. - Conduct pre-use, safety checks and initialization of AAS on Flam Mode - Check the calibration status of equipment. Perform calibration if required after calibration verification | - Describe the calibration verification step. - Define the initialization of equipment - Describe the working curve and working standards for manganese. - Define Lambda Max ( λ max) for manganese on AAS Practical Activity: Draw/constitute the calibration curve for manganese testing on Flam Mode | Theory-03 Hrs Practical-05 Hrs Total- 08 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Manganese working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU3. Perform Manganese testing of water sample on AAS | Trainee will be able to: - Open the AAS Software select Flam Mode. - Load Method for manganese or draw new calibration curve. - Adjust the parameter (energy of the lamps, auto sampler parameters and adjustment of air acetylene flam parameter according to the manufacturer instructions). - Insert the sample codes in sample table along with giving the sample cup positions in case of autosampler. - Take sample in sample cup of autosampler up to the mark and put in specific position of sample tray of auto sampler. If autosampler is available. - Ignite the flam by clicking on the ignition option in the software - Run Sample from software after selecting the range of samples in table by giving working area in case of autosampler used. - Feed each sample one by one manually in case of working without autosampler - Analyze three replicate for each sample. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Define the working principal of AAS for manganese - Describe the testing mechanism of manganese on Flam Mode - Define role of the siphon in flame mode Practical Activity: Analyze water sample for manganese on Flame Mode of AAS | Theory-03 Hrs Practical- 09 Hrs Total- 12 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Manganese working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU4. Quality Control Checks | Trainee will be able to: - Verify the calibration of the equipment or draw calibration if required - Analyze Blank and Lab control sample after every ten samples. - Analyze pre-analyzed sample with every analytical batch. - Analyze Spiked Matrix sample after every two months - Analyze the Control Sample and display data regularly on control charts. - Record the daily quality control data in QC Data sheet. | - Define Lab control sample for manganese - Describe the calibration verification step. - Describe pre-analyzed sample importance in QC - Define SD & RSD values shown in software - Describe spiked matrix sample Practical Activity: Prepare Spiked Matrix Sample for manganese , analyze on AAS and calculate the percent recovery | Theory-03 Hrs Practical- 06 Hrs Total- 09 Hrs | - Atomic Absorption Spectrometer (AAS) with Flam Mode - Auto Pipette 1- 10 ml - Manganese working standards 0.2-1 ppm - Conc. Nitric Acid (HNO3) 65% - Glass Beakers (Class A) - Deionized water - Diluent 0.2-0.5% HNO3 - Washing acid 1N HNO3 | Class Room/Laboratory |
| LU5. Record the results/ Finalize work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate uncertainty of the results - Record the results on result record form and submit to the laboratory reporting section - Clear and restore work area. - Clean and shut down equipment as per work instructions. | - Define replicate analysis. - Define uncertainty values - Describe the post washing and shutdown activity for Flame Mode on AAS Practical Activity: Record the results on work book, calculate uncertainty values and finalize the work | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) with Flame Mode - Analyst work book with pen - Deionized water - Duster - Washing acid 1N HNO3 | Laboratory |
| LU6. Adopt precautions during work | Trainee will be able to: - Wash all the glassware with washing acid 1N HNO3 before preparation of standard solution and samples. - Auto-pipettes should be used carefully to take accurate volume during the analysis. - Deionized water used should be of high quality having EC <1.5µS/cm. - . | - Define the washing acid for manganese analysis - Describe the storage conditions for manganese standards and reagents Practical Activity: Prepare washing acid for manganese, wash the glassware and store properly. | Theory-01 Hrs Practical- 04 Hrs Total- 05 Hrs | - Atomic Absorption Spectrometer (AAS) with Flame Mode - Analyst work book with pen - Deionized water - Duster Washing acid 1N HNO3 | Laboratory |

## Module: 1021CS-093 Use Maps, Plans, Drawings and Specifications for Water Works

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 24 Hours			Theory: 6 Hours		Practice:  18Hours                  Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Interpret maps, plans, drawings and specifications | Trainee will be able to: - Identify types of maps, plans, drawings and specifications required to undertake work tasks. - Identify parts of the water system and their inter-relationship on a range of drawing types. - Interpret commonly used symbols and abbreviations. - Interpret and apply the function of the legend. - Verify latest version. - Identify natural and man-made features on maps, plans and drawings. - Relate specifications to maps, plans and drawings and identify quality standards. - Identify types of details from works specifications | - Locating maps, plans, drawings and specifications for work tasks - Locating work sites - Using information provided in maps, plans and drawings to complete a task - Preparing a simple map or plan that represents an actual or simulated work environment - Applying problem solving strategies Practical Activity: Prepare a plan to represent a water works | Theory- 6Hrs Practical- 18Hrs Total- 24Hrs |  | Class Room Training Workshop Lab/ Field Visit |

## Module:1021CS-094 Maintain and Repair Water Distribution Network

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 36 Hours			Theory:  12 Hours		Practice:  24Hours                  Credit Hours:  3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for work LU2. Conduct maintenance and repairs LU3. Review, report and record work | Trainee will be able to: - Conduct risk assessment for environmental, safety and water quality factors. - Determine work requirements, materials and configuration from plans, specifications, instructions and/or organizational procedures. - Check coordination issues with relevant personnel, including isolations, licences and permits to work. - Identify networks system operation requirements. - Arrange appropriate site protection. - Identify and notify customers of supply interruption. - Isolate the work area. - Determine appropriate repair method from job specifications and instructions. - Ensure materials, pipes and fittings are clear of any contaminants before installing. - Sterilize fittings and repair materials. - Check maintenance and repairs to assets to ensure specifications are met. - Restore work site to meet environmental and organizational requirements. - Check, tag and report faulty equipment and tools. - Store equipment, tools and materials. - Complete workplace records. | - planning work site including personnel, equipment, materials - requesting permits, approvals, other utilities diagrams and maps - implementing appropriate controls - using tools and specific water equipment - selecting and applying appropriate PPE - performing work-related calculations - applying disinfection to tools and materials - using communication tools including phones and laptops - interpreting plans, instructions and procedures - ensuring system hygiene and water quality - determining location, size, utilities, services from plans, specifications and organizational procedures - applying excavation techniques - maintaining and repairing assets - maintaining and repairing tanks by monitoring and operating flow-regulating devices to isolate tanks - maintaining and repairing minor structures by laying concrete - system hydraulics basics - environmental aspects of maintenance - relevant legislation, policies and procedures - material safety data sheets (SDS) - landscape and ground structure of work area - risk factors and potential hazards of maintenance processes - equipment operation, capacity and limitations - control systems - disinfection of systems and chemical usage - pipe systems and installation requirements - characteristics of pipe materials - testing and sampling systems - corrosion principles applicable to service pipes and fittings - operation of water meters - formwork preparation and positioning - methods of repairing concrete, brick and stone structures - concrete placement techniques, including compaction - relevant utilities and service bodies to identify allocation of road reserve - effects of weather and conditions on construction site or plan - requirements around excavation Practical Activity: List down O&M activity schedule | Theory- 4Hrs Practical- 8Hrs Total- 12Hrs Theory- 4Hrs Practical- 8Hrs Total- 12Hrs Theory- 4Hrs Practical- 8Hrs Total- 12Hrs |  | Class Room Training Workshop Lab/ Field Visit |

## Module: 1021CS-095 Perform Leak Detection

Objective: After the completion of this competency standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment.

Duration: 34 Hours			Theory: 12 Hours		Practice:  22Hours                  Credit Hours:  3.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan for leak detection LU2. Operate leak detection equipment and report work | Trainee will be able to: - Determine work site boundaries and leak detection requirements from plans, specifications and instructions. - Select and check equipment. - Plan for leak detection using site inspection and service search diagrams according to work site requirements. - Determine and mark work site boundaries from plans and service search diagrams. - Select, fit and use personal protective equipment. - Operate leak detection equipment. - Mark the location of leaks. - Expose leaks and arrange repair according to testing outcomes and organizational and statutory requirements. - Review, record and report work | - Analyzing data to take remedial action - Interpreting plans, specifications, policies and procedures - Providing maintenance records for equipment - Identifying safety risks and hazards - Planning leak detection activities - Locating, identifying and reporting leaks in water distribution networks - Operating leak detection equipment - Locating and marking leaks and arranging repair activities - Completing documentation - Basic calculation - Identification, repair, lock out procedures - System hydraulics - System layout - Environmental aspects - Relevant utilities and service bodies Practical Activity: Performa a leak detector exercise in a nearby WSS | Theory- 6Hrs Practical- 11Hrs Total- 17Hrs Theory- 6Hrs Practical- 11Hrs Total- 17Hrs | - Leak detector equipment | Class Room Training Workshop Lab/ Field Visit |

## Module: 1021CS-096. Design Water Treatment Plant (Surface and Ground water)

Objective: After the completion of this module, the Trainee will be able to identify, plan and design water treatment needs, prepare and maintain supporting documentation.

Duration:  24 Hours			Theory:  12 Hours		Practice:  12 Hours                  Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Determine water filtration and treatment design requirements | Trainee will be able to: - Determine the quality of water to be treated and level of treatment required - Determine Input and output water quality and quantity requirement - Select treatment process and combination of technologies required - Determine plant size to meet site requirements for water quantity and quality - Determine plant layout and land requirements reviewed - Prepare design drawings. - Prepare construction specification | - Describe the factors which governs the size and selection of water treatment technique - Describe the chemical and microbiological characteristics of unpotable water - Describe the various processes and levels of water treatment - Explain the treatment plant design parameters on the basis of consumer water requirement - Discuss the specifications of different components of water treatment plant - Explain the designing procedure of water filter plant Practical Activity: Draw a layout plan of a water filtration unit to rectify high TDS (above 2000 mg/l) | Theory- 2 Hrs Practical- 1 Hrs Total- 3 Hrs | - PH meter - EC meter - Survey Form - Sampling bottles - Lighter - Spirit - WQ reports | Class Room/ Field Visit |
| LU2. Define pumping and power systems | Trainee will be able to: - Select pumps to treat water as required and to enable supply at the flow and the pressure required to operate the distribution system - Confirm that the pump motor combinations are effective and the pumps are reliable, functional, serviceable for the required application - Calculate energy requirements and determine the layout of electricity lines - Select structures, valves and accessories and integrate into a functional system | - Describe different types of pumps - Elaborate the role of booster pump in a filter plant - Explain the working of high-pressure pump in RO plant - Describe pump selection procedure - Elaborate comparison between single phase and three phase motors - Explain electrical protection system - Understanding of switching on and off system of pump-motor and chemical dosing pump Practical Activity: Perform calculation of electricity consumption and consequent cost estimation of pumping machinery on a water treatment plant | Theory- 2Hrs Practical- 2 Hrs Total- 4 Hrs | - gloves - plier - screw driver - calculator - stop watch - stationary - search light - Manuals of machinery | Class Room |
| LU3. Design a water treatment system | - Evaluate and design treatment systems with respect to target contaminants - Size pipes, valves and fittings according to design system specifications - Calculate and document flows, water levels and pressures to be within the acceptable tolerances for optimum performance - Confirm that flows, water levels and pressures are achievable by the pumps operating at optimum efficiency - Include mechanisms for controlling and adjusting pressure | - Understanding and explaining cause of water contamination and application of the relevant treatment techniques - Recognition and selection of right type of piping and fitting materials - Explain application of different plumbing processes - Describe briefly the filtration plant hydraulics and control - Name different types of valves and recognize their application Practical Activity: Draw process flow chart of a spring water treatment plant | Theory- 2Hrs Practical- 1 Hrs Total- 3 Hrs | - Video Lecture - Internet Connection - Relevant publications and manuals | Class room/ Field Visit |
| LU4. Estimate the cost of components of plant | - Make a list of all required items and services for installation of water treatment plant - Estimate market cost of all items and services required | - Define quantity survey - Elaborate drawings and layouts to estimate quantity of materials and equipment - Understand open and e- market search for cost analysis Practical Activity: Perform cost estimation of plant in the given layout | Theory- 1 Hr Practical- 2 Hrs Total- 3 Hrs | - Internet Connection - Price Lists - Calculator - Stationary - Forex Rates | Class room |
| LU5. Install the water treatment plant | - Arrange tools and equipment for installing water treatment equipment, including personal protective equipment. - Prepare work area to support efficient installation of water treatment equipment - Install and assemble plant as per design and manufacture specifications, and organizational requirements. - Check the Connections to water treatment equipment Installation is pressure tested for leaks. - Identify the service and maintenance requirements for water filters and pumps - Check replacement components and their fittings according to specification. - Conduct maintenance operations as per standards - Clear the work area according to legislation, regulations, codes of practice and job specification. - Clear and check the tools and equipment and store according to manufacturer recommendations and workplace procedures. - Complete the documentation according to workplace requirements. | - Define personal health and safety on the plant site - Enlist the tools and equipment required - Describe professional site management protocols - Explain the installation steps according to check-list and manufacturer’s recommendations - Define hydrostatic pressure test - Define leak test - Describe the process of spooling as per drawings - Describe the daily, weekly and quarterly and annual O&M - Describe plans and frequency of replacement of disposables/consumables - Explain the satisfactory commissioning procedures - Define the formats of certificate of client satisfaction and training of its personnel - Describe the procedure of handing and taking over of plant water hammer and interpret its causes. Practical Activity: Install a upvc gate valve in a 2” supply line having unions on both sides | Theory- 3.5 Hrs Practical- 2 Hrs Total- 5.5 Hrs | - Pressure Gauge - Flow meter - Water Meter - Non-Return Valve - Pressure Release Valve - Water Level indicator - Pressure switch - Online EC Display - Detergent - PVC Solution - Spirit Level - Pipe Cutter - Dosing Pumps - Vessels - Cartridges - Multi Media Gravel-Sand - GAC - Pipes & Fittings - Skid - Storage Tanks | Field |
| LU6 Monitor water treatment process | - Conduct routine inspections of treatment equipment - Collect water samples and conduct standard tests or send samples for analysis where required by the biosecurity and food safety codes - Collect data on treatment process and record and report in appropriate manner - Monitor water and waste water treatment processes to maintain parameters of operation - Identify and report process faults and operational conditions of treatment equipment - Initiate basic equipment and process adjustments to enhance performance | - Outline routine inspection plan and proforma - Explain Water Quality Monitoring plan of plant - Describe data and record management plan to observe plant performance thresholds - Define the record keeping of O&M and non-conformity to the normal operations - Define maintaining routine individual performance records of each equipment Practical Activity: Perform 3 hours duty on a treatment plan and report the major water quality parameters | Theory- 1.5 Hrs Practical- 4 Hrs Total- 5.5 Hrs | - WQ monitoring material - Opening Key - Camera - Log Book - Proformas - Pipe Wrench - Hand Sanitizer - Screw Driver - Tester - Detergent - Hydro Test Bench - Grease |  |

## Module: 1021CS-097. Operate and Control Coagulation and Flocculation Process

Objective: After the completion of this module, the Trainee will be able to undertake coagulation and flocculation processes, control chemical use, operate and control coagulation and flocculation systems and maintain records.

Duration:  12 Hours			Theory:  5.5 Hours		Practice:  6.5 Hours                  Credit Hours: 1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Monitor coagulation and flocculation processes | Trainee will be able to: - Monitor water quality test results and processes to understand need of surface water treatment. - Collect and test samples to report turbidity and chemical contaminants. - Conduct jar tests and determine dosages of flocculent/coagulants | - Outline the detailed WQ parameters and discuss potable water quality standards - Explain the process of Coagulation and Flocculation - Define jar test and explain turbidity and its effects on water quality - Explain importance of factors such as retention time, mixing and control of pH Practical Activity: Perform jar test for a surface water sample as instructed | Theory- 1.5 Hr Practical- 1.5 Hr Total- 3 Hrs | - PH meter - EC meter - Survey Form - Sampling bottles - Lighter - Spirit - WQ reports - Field turbidity meter - Jar test equipment - Stirrers | Class Room/Lab |
| LU2. Control chemical use | Trainee will be able to: - Use, handle and store chemicals as per manufacturer’s instructions. - Determine and apply chemical dosing according to plant processes based on jar testing calculated dose. - Maintain chemical supply and usage records. | - Describe the storage and use of coagulant and flocculant chemicals and explain the manual and mechanical techniques of chemical dosing - Describe the formats of consumables receiving, consumption and inventory systems Practical Activity: Draft the format of inventory control stock register | Theory- 1 Hr Practical- 1 Hr Total- 2 Hrs | - calculator - stop watch - stationary - Manuals of machinery and chemicals | Class Room |
| LU3. Operate and control coagulation and flocculation processes | - Carry out routine plant inspections. - Collect process samples and conduct standard tests such as jar testing. - Add the calculated dose of flocculent/coagulants. - Carry out system adjustments and process calculations to improve system performance whenever water quality changes or process performance deteriorates. - Identify and report process faults and the operational condition of plant. | - Describe the calculation of chemical dosing - Describe the routine water sampling, testing and chemical dosing process control - Explain the emergent flooding or drought situation handling SOPs - Describe the routine process inspection schedules - Development of schedule of training, check-lists and SOPs for trouble-shooting as well as frequent routine inspections Practical Activity: Check the results of coagulation in product water and control the correct dose | Theory- 2Hrs Practical- 2 Hrs Total- 4Hrs | - Relevant publications and manuals - Chemicals - Jar Test manual - Inventory control program - Trouble-shooting charts - Manuals for operators | Plant site |
| LU4. Complete Documentation | - Compile reports from plant and system data. - Report observations outside defined parameters for further action. | - Understand operation and control room data processing - Evaluation of compiled data report-based responses and action plans Practical Activity: High turbidity and consequent microbial attack on product water have been reported. Perform shock chlorination in raw water storages | Theory- 1 Hr Practical- 2 Hrs Total- 3 Hrs | - Internet Connection - Chemicals - Calculator - Jar test equipment - Computers - Tablets - WQ results - Chlorine Gas Cylinders - Dosing Pump | Plant Room |

## Module: 1021CS-098.	Operate and control of sediment process

Objective: After the completion of this module, the Trainee will be able to undertake and monitor the sedimentation processes and report the process.

Duration:  12 Hours			Theory:  3 Hours		Practice:  9 Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for work | Trainee will be able to: - Determine work requirements according to legislative and water treatment objectives. - Select and check equipment required to meet safety requirements of task and site. - Select, fit and use personal protective equipment. | - Describe the inter-departmental coordination and communication skills - Explain essential H&S measures to maintain safe working conditions - Define essential PPEs Practical Activity: Perform a visit of work-site for health and safety inspection. Issue warning cards to workers for violation of prescribed safety protocols. | Theory- 1 Hrs Practical- 3 Hrs Total- 4 Hrs | - Prescribed safety rules - Warning cards - EPA Rules - Work Approvals | Work site |
| LU2. Monitor and operate sedimentation processes | Trainee will be able to: - Carry out sedimentation process inspections according to type of plant. - Collect process samples and conduct standard tests. - Collect and report process data. - Monitor processes to maintain parameters of operation. - Identify and report process faults and operational condition of plant - Carry out basic system adjustments to enhance system performance according to treatment standards and objectives | - Define Sedimentation and explain basin design and geometry - Elaborate the types of sedimentation - Explain different types of Clarifiers - Describe the O&M functions during process - Discuss different zones of sedimentation basin - Describe importance of sampling and testing of sedimentation effluent - Describe the function of high-rate tube settlers Practical Activity: Draw the longitudinal-section diagram of sedimentation basin and label different zones | Theory- 2 Hrs Practical- 4 Hrs Total- 6 Hrs | - Charging Light - PPEs - Stationary - WQ Test reports - Turbidity meter - Log-book | Class Room |
| LU3. Report sedimentation processes. | - Compile records from plant and system data to meet water treatment standards. - Report observations outside defined parameters for further action. | - Compliance of daily Operation & Maintenance log-book entries - Explain the advantages of O& M record keeping - Explain the reported non-conformance (NCRs) in operations and their rectification Practical Activity: Make following proformas - Daily O&M report - Non-conformance report - Consumable inventory | Theory- 1 Hrs Practical- 1 Hr Total- 2 Hrs | - Log-book - Stationary | Class room/ Field Visit |

## Module: 1021CS-099.	Operate and Maintain Water Filtraton Process (Membrane Straining)

Objective: After the completion of this module, the Trainee will be able to select and operate water filters, monitor filtration system performance, manipulate and apply low and high pressure dosing and maintain record.

Duration:  24 Hours			Theory:  12 Hours		Practice:  12 Hours                  Credit Hours: 2.4

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. . Rapid/Pressure Sand Filtration (RSF) and Specifications of media | Trainee will be able to: - Identify physical and hydraulic specifications of commercial sand vessels - Recognize the various particle sizes of media and demonstrate laboratory scale preparation of sand bed - Sketch a flow diagram of RSF plant to achieve drinking water standards. - Select, fit, operate and back-wash RSF. - Prepare Performa for daily and monthly O&M records | - Elaborate the critical physical and hydraulic specifications of sand vessels and granular media - Explain the major parts of RSF - Describe the daily, monthly and annually O&M practice of RSF including surroundings - Explain the water demand-based selection of RSF unit - Describe the plan to keep records of OR&M of plant - Explain the mechanism of back washing Practical Activity: - Demonstrate the media selection, vessel filling and installation and commissioning of RSF | Theory- 5 Hrs Practical- 5Hrs Total- 10 Hrs | - Filter opening key - Hand tools - Pipe cutter - Pvc solution - Sat of spanner - Set of Screw Drivers - Online Turbidity Meter - Online Ph meter - Boosting devices - Auto switch - Granular media - Vessel - Multiport valve - Flow meter - valves | Plant Room |
| LU2. GAC Filtration and Specifications of medium | Trainee will be able to: - Identify the principles of adsorption and specifications of GAC medium - Sketch a flow diagram to show position of GAC vessel to achieve its effectiveness. - Select, install, operate and back-wash GAC filter | - Explain the surface adsorption phenomenon in detail - Elaborate the specifications of commercial grade granular activated media - Explain the mechanism of back washing Practical Activity: A GAC filter is in operation mode. Perform its back-washing | Theory- 3 Hrs Practical- 4 Hrs Total- 7 Hrs | - Boosting devices - Auto switch - GAC media - Vessel - Multiport valve | Plant Room |
| LU3. Membrane Water Treatment Technologies | - Compile reports from plant and system data. - Report observations outside defined parameters for further action. | - Define membrane and its structure-based types - Differentiate between micro, nano, and macro filtration processes - Differentiate between Ultrafiltration and Reverse Osmosis processes - Describe routine O&M and trouble-shooting of membrane process Practical Activity: An RO membrane undergone fouling. Remove it and perform its overhauling | Theory- 4 Hrs Practical- 3 Hrs Total- 7 Hrs |  | Plant Room |

## Module: 1021CS-0100	Operate and Control Chlorination Disinfection processes

Objective: After the completion of this module, the Trainee will be able to apply chlorination dosing and reporting the chlorination processes.

Duration:  12 Hours			Theory:  3 Hours		Practice:  9 Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for work | Trainee will be able to: - Determine work requirements from job specifications and plans - Select and check equipment and hypochlorite supplies to meet safety requirements of task and worksite - Select, fit and use required safety equipment, including personal protective equipment (PPE) - Handle and store hypochlorite chemicals to maximise shelf life and reduce loss of available chlorine | - Describe the preparation for chlorine dosing in main water supply line - Elaborate health safety precautions - Enlist the safe storage and transportation precautionary measures Practical Activity: Fix saddle valve and install chlorine pipe in main water supply line | Theory- 4 Hrs Practical- 0.5 Hrs Total- 4.5 Hrs | - Drill - Nozzles - Injection pipe - Chlorine solution - Chlorine Container - Saddle valve - Screws - Hand and power tools - PPEs - Dosing Pump | Work-place |
| LU3. Prepare and apply chlorine dosing | - Calculate chlorine dose as per volume of water to be treated. - Prepare and apply hypochlorite chemicals in the water as per calculated dose manually or using chlorinator - Control hypochlorite dosing to maintain required chlorine residual - Handle, use and store chlorine chemicals according to organizational requirements | - Explain calculation of Chlorine dose for a specific water sample - Describe the adjustment of chlorinator to set the required dose and free available chlorine - Describe the SOPs of safe storage and transportation of liquid hypochlorite solution Practical Activity: Install Chlorinator on the main line of G/W tube well | Theory- 1.5 Hrs Practical- 3 Hrs Total- 4.5 Hrs | - Volumetric Flask - Beaker - Chlorinator - Chlorine comparator - Water sample - Delivery pipe - Adjustable wrench - Hand Tools - PPEs | Class room/ Work-place |
| LU4. Report on chlorination processes | - Maintain information relating to hypochlorite supply and usage - Collect, record and complete process data according to workplace procedures and process requirements - Produce information relating to maintenance and operation according to organizational requirements. - Identify data outside of normal operational parameters and report to relevant personnel for further action | - Describe the market for the supplies and availability of hypochlorite and maintain directory of manufacturer and supplier - Ensure to fulfill the professional work-place documentation for obtaining safe usage permits of hypochlorite - Outline the secure O&M schedules for the effective and efficient quality assurance - Describe process non-conformance reporting (NCRs) to concerned department/section for corrective measures Practical Activity: Perform test to determine free available chlorine (FAC) in given sample | Theory- 1 Hrs Practical- 1 Hrs Total- 3 Hrs | - Proformas - Chlorine dosing SOPs - Work place documents - Stationary - Chlorine specs - NCR form - Operation log-books | Class Room |

## Module: 1021CS-0101	Operate and Control UV Disinfection Process

Objective: After the completion of this module, the Trainee will be able to plan and prepare for work., monitor UV disinfection system performance, maintain and operate UV irradiation disinfection system and complete related records/documentation.

Duration:  12 Hours			Theory:  6 Hours		Practice:  6 Hours                  Credit Hours:  1.2

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for work. | Trainee will be able to: - Determine treatment and disinfection work requirements according to legislative and organizational requirements. - Select and check equipment and tools required to meet safety requirements of task and site. - Select, fit and use personal protective equipment | - Describe availability of power connection - Describe the availability of water source and storage - Define the professional work-place documentation for obtaining safe usage permits of UV source - Define a check-list of tools and allied accessories - Describe relevant H&S requirements and ensure compliance Practical Activity: Make power supply connection of UV system | Theory- 1.5 Hrs Practical- 1.5 Hrs Total- 3 Hrs | - Intensity meter - UV lamp with accessories - EPA Regulations - Hand tools - Check-list of allied accessories | Field Visit |
| LU2. Monitor system performance | - Monitor UV irradiation disinfection systems according to agreed schedule and procedures. - Collect process samples and conduct standard microbiological tests as required. - Maintain and monitor relevant OHS requirements. - Collect and report process data according to organizational and disinfection system requirements | - Describe routine microbial WQ monitoring and testing - Elaborate optimum UV radiation intensity - Describe health and process safety precautions - Describe a consistent reporting system Practical Activity: Make a layout plan showing placement of UV disinfection system | Theory- 1.5 Hrs Practical- 1.5 Hrs Total- 3 Hrs | - Sterilized bottle - Sampling essentials - Intensity Meter - Progress Report Form - NCR Form - O&M log-book - Hand-tools | Work-site |
| LU3. Maintain and operate UV irradiation disinfection system | - Carry out routine inspections of system components according to organizational requirements. - Clean and replace system components as required. - Operate UV lamp sequencing according to organizational requirements. | - Explain detailed specifications of UV lamp - Define frequency, wave-length and intensity of UV irradiations - Define principle of UV disinfection - Describe UV system installation and commissioning Practical Activity: Verify the UV disinfection results | Theory- 1.5 Hrs Practical- 1.5 Hrs Total- 3 Hrs | - Sampling accessories - UV system - Electric cables - Plier - Screw Driver - Drill Machine - Water sample - Microbiological Testing Kit - Leak-Detector | Work-Site |
| LU4. Complete Documentation | - Produce information relating to UV irradiation disinfection system maintenance and operation, according to organizational requirements | - Describe the schedule of O& M of UV disinfection system Practical Activity: Measure the intensity of UV irradiation using intensity meter | Theory- 1.5 Hrs Practical- 1.5 Hrs Total- 3 Hrs | - Proforma - O&M Log-book - Leak Detector |  |

## Module: 1021CS-0102	Operate and Control Ozonation Process in Water Treatment Plant

Objective: After the completion of this module, the Trainee will be able to plan and prepare plan and prepare water treatment work, monitor Ozonation system performance, prepare and apply ozone dosing and maintain record..

Duration:  30 Hours			Theory:  6 Hours		Practice:  24 Hours                  Credit Hours:  3.0

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare for work | Trainee will be able to: - Determine work requirements according to legislative and organizational requirements. - Select and check equipment and tools required to meet safety requirements of task and site. - Select, fit and use personal protective equipment | - Describe instructions for installation and to obtain safe and efficient outcomes - Outline the personal protection measures - Define essential tools and allied accessories requirements Practical Activity: perform standard installation of ozone generator in delivery line of drinking water filtration plant | Theory- 1.5 Hrs Practical- 6 Hrs Total- 7.5 Hrs | - PPEs - Venturi - Delivery pipe - Ozone generator - Hand tools - L-key set | Work place |
| LU2. Monitor system performance | - Understand the objective of ozone disinfection for different applications - Monitor ozone treatment systems according to agreed schedule and procedures. - Collect process samples and conduct standard tests. - Perform microbiological and ozone residual sampling in the workplace - Maintain and monitor relevant OHS requirements. - Collect and report process data according to organizational and disinfection system requirements. | - Describe the applications of ozonation for disinfection purpose - Describe preparation of work place to monitor ozone treatment - Describe sample collection methods & standard testing instructions - Define residual sampling in the work place - Elaborate the results of ozone treatment in the form of written reports Practical Activity: Perform calculation of ozone concentration in the work place | Theory- 1.5 Hrs Practical- 6 Hrs Total- 7.5 Hrs | - Stop watch - PPEs - Cloth Pieces - Generator - User Manuals - Venturi - Delivery pipe - Ozone generator - Hand tools - L-key set | Work place |
| LU3. Prepare and apply ozone dosing. | - Generate and dose ozone according to ozone generating system specifications and disinfection objective. - Perform work-related ozone calculations - Maintain information related to ozone generation and dosing according to organizational requirements. | - Describe the structural parts of ozone generator - Recognize the specifications of ozone generator - Explain ozone concentration in a specific dozing area - Describe routine operation and maintenance procedure for ozone generator Practical Activity: Read instruction manual of an ozone generator and perform ozone dosing in a work place | Theory- 1.5 Hrs Practical- 6 Hrs Total- 1.5 Hrs | - Power Socket - Dusters - Hand tools - Calculator - Stop Watch - User Manuals - Venturi - Delivery pipe - Ozone generator - Hand tools - L-key set | Work place |
| LU4. Complete Documentation | - Compile reports from plant and system data. - Report observations outside defined parameters for further action. | - Define reports of operation, maintenance and repairs of ozone generator - Explain non-conformance reports (NCRs) and troubleshooting of generators Practical Activity: Draft pro-forma to present nonconformance report of ozone generation system | Theory- 1.5 Hrs Practical- 6 Hrs Total- 1.5 Hrs | - Report formats - Calculator | Class Room |

## Module: 1021CS-0103	Monitor the Performance of Water Treatment Plant

Objective: After the completion of this module, the Trainee will be able to identify characteristics of water quality, reasons of water quality treatment, monitoring and reporting water quality, safety requirements in a water treatment plant.

Duration:  18 Hours			Theory:  6 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify characteristics of water quality and reasons for treatment of potable water. | Trainee will be able to: - Identify characteristics of water affecting its physical, chemical and microbiological acceptability. - Identify reasons and requirements for treatment of water | - Describe the physical, chemical and microbial parameters of water quality - Explain the different water pollutants and the techniques for their elimination Practical Activity: Water of a household was reported to be unfit for drinking due to high nitrates, draw a process flow chart to show the components required treatment. | Theory- 1.5 Hrs Practical- 3 Hrs Total- 4.5 Hrs | - WQ Report - Calculator | Class Room |
| LU2. Monitor and report on water quality. | - Clearly identify water treatment processes and determine their application. - Identify requirement of water quality parameters in accordance with objective and check characteristics of water quality according to relevant legislation and organizational procedures. - Record and report water quality to evaluate compliance to drinking water standards and objectives of the organization. | - Describe drinking water quality parameters and their permissible extent in detail - Elaborate the format of water quality data sheet to record the test results and comparison with guidelines and standards set by national and international organizations. Practical Activity: Compare the reported WQ results of a certain sample with standard parameters and decide its potability. | Theory- 1.5 Hrs Practical- 3 Hrs Total- 4.5 Hrs | - Calculator - WQ result - Stationary | Class Room |
| LU3. Follow safety requirements for work in a water treatment plant | - Identify and record hazards of working in a water treatment plant. - Identify and record operational requirements for safe and effective use of equipment. - Select, fit and use safety equipment, including personal protective equipment | - Enlist the health safety parameters to be observed at water treatment plant - Describe standard SOPs regarding usage and storage of various equipment at treatment plant - Explain the maintenance and usage of various personal [protective equipment at plant site Practical Activity: Demonstrate the health and safety consideration near the sedimentation tanks | Theory- 1.5 Hrs Practical- 3Hrs Total- 4.5 Hrs | - PPEs - Lab Coat | Work place/ Treatment Plant |
| LU4. Monitor and report on water treatment | - Identify operating principles used in water treatment processes. - Complete records required for effective operation of a water treatment plant. - Identify, record and report range of data routinely collected. - Identify data that falls outside normal operating range and report for further action. | - Describe the process control at various departments of a water treatment plant to ensure desired WQ parameters - Define standard O&M records for effective daily treatment activity of the plant - Elaborate inspection of plant operation keeping in view previous records and reports to maintain process streamline - Describe quick initiatives against any non-conformance reported about process or equipment Practical Activity: Perform calculation for Alum dosing of a 28 MGD treatment plant | Theory- 1.5 Hrs Practical- 3 Hrs Total- 4.5 Hrs | - PPEs - Calculator - Process data sheet - Records - O&M Charts - Test Reports - Sampling accessories - All necessary Proformas | Work Place |

## Module: 1021CS-0104.	Maintain Record of Water Treatment Plants Assets

Objective: After the completion of this module, the Trainee will be able to maintain stock registers, assets record, maintenance and troubleshooting log record of flow measurement and gauging.

Duration:  18 Hours			Theory:  6 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Maintain Stock Registers . | Trainee will be able to: - Develop assets registers - Develop the tool register - Develop Chemicals record register | - Describe inventory management principles - Describe the management of tool-shop and its issue challans - Describe consumable inventory management and safe storage principles Practical Activity: Alum will last on the specific day of the month. Perform safe stock inventory management | Theory- 2 Hrs Practical- 4 Hrs Total- 6 Hrs |  | Class Room/ Field Visit |
| LU2. Maintain assets maintenance History | - Develop inspection and maintenance schedule of plant - Record the blockage, leakage and fault and its solution. Legislation and organizational procedures. | - Describe periodic and preventive inspection and maintenance schedules - Elaborate the principles of maintaining non-conformance report history of process, equipment and accidents - Define the development of emergency response kits for all aspects of plant malfunctioning Practical Activity: During routine inspection a pump found malfunctioning. Develop and execute the remedial plan. Your response time will count | Theory- 2 Hrs Practical- 4 Hrs Total- 6 Hrs | - Telephone directory - Vendors references - PPEs - Emergency response kit | Class Room |
| LU3. Maintain the record of flow measurement and gauging | - Maintain the record of flow measurement - Maintain record of calibration of gauges, meters and valves. | - Understand the maintenance of record keeping - Recognize the importance of periodic inspection of equipment, instrument and flow regulating components - Explain the concept of stand-by facilities development for all consumables and moving part of the plant Practical Activity: Perform preventive inspection of all clarifiers and put the sand beds on back wash | Theory- 2 Hrs Practical- 4 Hrs Total- 6 Hrs | - Record registers - PPEs - Pliers - Screw Driver - Turbidity mater - Flow Meter - Pressure drop tester - Leak Tester | Plant site |

## Module 1021CS -0105: Demonstrate Sewage Treatment Plant

Objective: This module covers the skill and knowledge required to operate Sewage treatment system, maintain items or equipment used in wastewater treatment processes, follow safety requirements for work in a wastewater treatment plant and record wastewater treatment plant data..

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan and prepare work to operate Pump station | Trainee will be able to: - Determine pump station work requirement - Enlist equipment to meet safety requirements of task | - Enlist the different pump types - Describe the pumping station infrastructure and allied work - Enlist the essential PPEs required during operation Practical Activity: Demonstrate the operational steps for pumping station | Theory- 0.5 Hr. Practical- 01 Hrs. Total- 1.5 Hrs. | - Plan for operation of pump station | Class Room Lab/ Field Visit |
| LU2. Maintain and monitor pump station performance | Trainee will be able to: - Identify the routine security inspections and cleaning duties to operate pump station - Demonstrate pump station components and identify the maintenance tasks. - Enlist pump station faults and carry out minor repairs. - Enumerate the pump station required adjustments, where necessary, to maintain operational parameters. | - Enlist pump station components - Determine pump station faults Practical Activity: Demonstrate the maintenance steps in the pump station | Theory- 0.5 Hr. Practical- 01 Hrs. Total- 1.5 Hrs. | - Hand tools - Power tools - Overhead Crane - Chain Pulley - Hacksaw - Electrical tools - Oils and greasing | Class Room Lab/ Field Visit |
| LU3. Operate Sewage treatment plant | Trainee will be able to: - Identify major components and processes of sewage treatment system. - Understand the chemistry and microbiology of treatment process - Demonstrate the role of screeners, grit chambers, and skimming tanks, employed in preliminary screening. - Categorize the primary treatment of wastewater into three important stages. - Identify the purpose of coagulants and flocculants during primary treatment of wastewater. - Ensure to focus on the purpose of primary treatment. - Specify the role of aerobic and anaerobic bacteria in secondary time. | - Define Preliminary screening - Describe the major components of Sewage treatment system - Explain the purpose of coagulants and flocculants during primary treatment - State the role of aerobic and anaerobic bacteria in secondary treatment Practical Activity: Prepare the layout plan of screeners, grit chambers, and skimming tanks, employed in preliminary screening. | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Model of Sewage Treatment plant - Sewage treatment plant site | Class Room Lab/ Field Visit |
| LU4. Maintain items of equipment used in Treatment plant | Trainee will be able to: - Enlist maintenance requirements of different parts of equipment used in treatment process - Enumerate maintenance and cleaning requirements of equipment. - Analyze and interpret monitoring and test results and report according to regulatory requirements | - Enlist maintenance requirements of different parts of equipment used in treatment process Practical Activity: Generate daily maintenance report for treatment plant | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Hand tools - Power tools - Overhead Crane - Chain Pulley - Hacksaw - Electrical tools - Oils and greasing - Sewage Treatment plant site - Model of Sewage Treatment plant | Class Room Lab/ Field Visit |
| LU5. Identify the health and safety risks | Trainee will be able to: - Identify the hazards of working in a wastewater treatment plant. - Identify the operational requirements for safe and effective use of equipment. - Use safety equipment, including personal protection - Identify and apply safe work practices when handling chemicals and working in a wastewater treatment plant. | - Enlist the hazards of working in a wastewater treatment plant Practical Activity: Undertake an inspection of the implementation of safety practices at workplace | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Sewage Treatment plant site - Model of Sewage Treatment plant | Class Room Lab/ Field Visit |
| LU6. Estimate the treatment Efficiency by testing the influents and effluents | Internee will be able to - Perform collection of influents before pre-treatment and effluents to analyze for wastewater parameters (pH, DO, BOD, COD, TSS, Nitrate and Phosphates etc.) to check the efficiency of treatment plant. - Compare the results with permissible limits defined by National Environmental Quality Standards (NEQS, 1999). - Develop an understanding of repair and maintenance of parts of treatment plant. | - Enlist the parameters needed to check the efficiency of treatment plant - State the NEQS standards needed for wastewater interpretation Practical Activity: Analyse the influent and effluent sample for DO, COD and TSS and compare with standards | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Sewage Treatment plant site/Model - Waste water sampling bottles - Insulated samples boxes - Waste water testing laboratory equipment | Class Room Lab/ Field Visit |
| LU7 Maintain items of equipment used in wastewater treatment process | - Identify maintenance and cleaning requirements as per organizational requirements. - Enlist the desludging, maintenance, operation, emergency services and equipment refurbishment for all types of treatment plant and pumping equipment | - Describe the desludging of treatment plant - explain the equipment refurbishment Practical Activity: Demonstrate the emergency services of treatment plant | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. |  |  |

## Module 1021CS -0106: Demonstration of wastewater treatment process in constructed wetlands

Objective: This module covers the skill and knowledge required to understand the Waste Water Fundamentals, process and operation of waste water treatment systems, evaluation of local waste water treatment system, design and installation of prototype system.

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Understand the design and operation of the constructed wetlands | Trainee will be able to: - Sketch the design of constructed wetlands - Define the role of plants in pollutant removal. - Demonstrate the process of screening and sedimentation - Explain the process of filtration and aeration used in the constructed wetlands. - Demonstrate on the laboratory model of the constructed wetlands | - Describe the role of plants in pollutant removal. - Explain the process of filtration and aeration used in the constructed wetlands. Practical Activity: Demonstrate on the laboratory model of the constructed wetlands | Theory- 1.5 Hrs. Practical- 02 Hrs. Total- 3.5 Hrs. | - laboratory model of the constructed wetlands - Constructed wetland site | Class Room Lab/field visit |
| LU2. Operate and Process control of DAF in wastewater Treatment | Trainee will be able to: - Define Dissolved Air Floatation process, a separation process to remove tiny suspended solids that density close to the water, colloid, oil and grease etc. - Enlist the stages involved in DAF process - Define the working principle of Air flotation separation technology. - Identify the parts of dissolved air flotation equipment (Flocculation chamber, flotation tank, dissolved air system, reflux pipe, dissolved air released system, skimmer) - Name the chemical added to enhance the flocculation before floating - Enlist the application of treated wastewater by identifying the process in below diagram - Understand equipment maintenance and safety precautions.. | - Define Dissolved Air Floatation (DAF) process - Define the working principle of Air flotation separation technology. - Enlist the stages involved in DAF process - State the chemical added to enhance the flocculation before floating Practical Activity: Demonstrate Lab model of DAF process | Theory- 0.5 Hrs. Practical- 03 Hrs. Total- 3.5 Hrs. | - Lab model of DAF Process | Class Room Lab/ Field Visit |
| LU3. Conventional wastewater treatment process | Trainee will be able to: - Identify major components and processes of wastewater treatment system. - Understand the chemistry and microbiology of treatment process - Identify the chemical processes involved during treatment - Define the role of chemicals applied - Enlist maintenance requirements of parts of treatment system - Identify safe work practices when handling chemicals and working in a wastewater treatment plant | - Identify the chemical processes involved during treatment Describe the major components of conventional treatment plant - Explain the purpose of coagulants and flocculants during primary treatment Practical Activity: Draw a sketch diagram from conventional treatment plant | Theory- 01 Hr. Practical- 03 Hrs. Total- 04 Hrs. | - Model of conventional wastewater Treatment plant | Class Room Lab/ Field Visit |
| LU4. Estimate the treatment Efficiency by testing the influent and effluents | - Trainee will be able to: - Perform collection of influents before pre-treatment and effluents to test for wastewater parameters (pH, DO, BOD, COD, TSS, Nitrate and Phosphates etc.) to check the efficiency of treatment plant. - Compare the results with permissible limits defined by NEQS, standards and report the test results. | - Enlist wastewater parameters for efficiency of treatment plant - State the standards used for wastewater - Practical Activity: - Analyse the influent and effluent for wastewater parameters (DO, COD, BOD and TSS) compare the standards | Theory- 1.5 Hr. Practical- 02 Hrs. Total- 3.5 Hrs. | - Waste water sampling bottles - Insulated samples boxes - Waste water testing laboratory equipment - Wastewater treatment plant site | Class Room Lab/ Field Visit |
| LU5. Maintain items of equipment used in wastewater treatment processes. | Trainee will be able to: - Identify maintenance and cleaning requirements as per standards - Understands the health and safety risks and adopt good practices during dealing with sewage. - Enlist the disposal of removed sludge | - Describe the health and safety risks and adopt good practices during dealing with sewage - Enlist the disposal of removed sludge Practical Activity: Demonstrate the cleaning of equipment used in wastewater treatment process | Theory- 1.5 Hr. Practical- 02 Hrs. Total- 3.5 Hrs. | - wastewater treatment plant site | Class Room Lab/ Field Visit |

## Module 1021CS -0107: Determine Flow discharge measurement of wastewater

Objective: After completion of this module the trainee will be able to collect the quality field data for water flow and discharge measurement of open channel drains, critical for predicting the water availability and load of the channels. Trainee will be able to demonstrate the flow discharge measurement of drains, streams, brooks and open channels.

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Ideal site for most accurate surface water discharge measurement | Trainee will be able to: - Identify the criteria for site selection as, reasonably straight for the greater of either 300 feet or 5 to 10 times the channel’s width both upstream and downstream from the gage site Free from rocks, weeds, and other obstructions with Flow is parallel to the bank, avoiding cross flow or reverse flow. - Identify source and type of waste water - Perform physical test and assess EC, pH and DO etc. - Fill out the performa for site visit to note the background information | - Describe the criteria for discharge flow measurement site Practical Activity: Fill out the field Performa for site visit to note the background information. | Theory- 0.5 Hr. Practical- 0.5 Hrs. Total- 01 Hrs. | - Portable testing equipment for onsite tests turbidity meter, pH, EC meter etc. - wastewater Stream - Measuring tape - Wading rod | Class Room Lab/field visit |
| LU2. Measure cross section area of open channel | - Divide the cross section of open channel or wastewater drain into smaller 20 0r 30 sub-sections to adequately characterize their shape. - Measure the area of each sub-section by directly measuring its width and depth. - Measure the depths by marks on a wading rod of current meter and stream width, by using a measuring tape stretched across the stream. | - Define the procedure for width and depth of stream - Define the formula for area of cross-section and for total area Practical Activity: Measure the cross section area of wastewater stream | Theory- 0.5 Hr. Practical- 1.5 Hrs. Total- 02 Hrs. | - wastewater Stream - Measuring tape - Wading rod | Class Room Lab/ Field Visit |
| LU3. Measure Velocity of each subsection | - Estimate the velocity of each subsection by use of appropriate method and instrument. For wading measurements, use Mechanical current meters and Acoustic Doppler meters (ADVs velocimeters). Identify the manual method in case of unavailability of velocity meter. | - Explain the methods for velocity measurement - Enlist the equipment needed for velocity measurement for different methods - Explain the procedure for discharge flow measurement Practical Activity: Demonstrate through lab model the velocity measurement of a subsection of stream | Theory- 1 Hr. Practical- 01 Hrs. Total- 02 Hrs. | - Measuring tape - Wading rod - Stopwatch - Buoyant object - Manual / handheld Wastewater sampler - Automatic sampler - Flow measuring devices - Flow measuring devices | Class Room Lab/ Field Visit |
| LU4. Adopt the float method to measure velocity. | - Adopt procedure for length measurement and select a neutrally-buoyant object (a ball or an orange) for place or toss the object into the stream, allowing it to reach full velocity before it passes the upstream end of the sub reach. - Record the time with a stopwatch by an orange (or some other object) to float from the upstream to the downstream transect. - Perform the float test at least three times, and calculate the average of the object’s velocity. - Calculate the object’s velocity, depending on its weight and immersion and multiply by about 0.85 to obtain the average stream velocity. - Multiply the average stream velocity by the average cross-sectional area of streamflow in the subreach used for the float test, giving an estimate of stream discharge ± 25% - Identify the correction factor based on stream type.For rocky and bottom stream it is 0.8 and for sandy /muddy bottom stream 0.9. - Apply a float test for each partial section of the total stream width, obtaining volumetric discharges for each partial section that can be averaged, giving an estimate. | - Enlist the equipment needed for velocity measurement - Explain the float method to measure velocity - Practical Activity: Demonstrate velocity measurement of stream by float test | Theory- 1 Hr. Practical- 01 Hrs. Total- 02 Hrs. | - Measuring tape - Wading rod - Stopwatch - Buoyant object - Manual / handheld Wastewater sampler - Automatic sampler - Flow measuring devices - Flow measuring devices | Class Room Lab/ Field Visit |

| LU5. Calculate discharge of each subsection | - Calculate Discharge of each subsection by multiplying subsection area (Ai) by average velocity in the subsection. Qi = Vi x Ai Where Qi = is the stream discharge of the subsection i Vi = Velocity in the subsection i Ai = Cross sectional area of subsection i | - State the formula for stream discharge Practical Activity: Calculate the discharge of subsection of stream | Theory- 01 Hr. Practical- 01 Hrs. Total- 02 Hrs. | - wastewater stream - Calculator - Note book | Class Room Lab/ Field Visit |
| --- | --- | --- | --- | --- | --- |
| LU6 Computation of the total discharge for the total cross section | - Identify the equation to calculate flow at each partial section (Qi, cfs or ft3/sec) by multiplying the calculated area Ai (Wi, ft and depth Di, ft) with velocity (Vi, ft/s) measured at the midpoint, or - Qi = Wi × Di × Vi. - Calculate total discharge. - Total discharge is the sum of discharges in all subsection - Qi = q1+q2+q3………qi - Develop an understanding to calculate the total flow by adding flow for each partial section, Qw = [(A1 × V1) + (A2 × V2) + ...... + (An × Vn)], for n sections. - Depending on the final value of total flow, round it to a reporting | - state the equation for total discharge of stream Practical Activity: Perform calculations for total discharge flow of stream | Theory- 01 Hr. Practical- 01 Hrs. Total- 02 Hrs. | - wastewater stream - Calculator - Note book |  |
| LU7 Adopt Alternate measurement method with Weirs and flumes | - Identify the needed equipment to measure the amount of time taken to fill a container of known volume. - Identify to use the stage method, install a weir plate across the stream flow such that none of the water flows around the weir but all water flows through the weir opening. - Adopt method to measure the height of water as it passes over the notch in the weir opening and calibrate this height to a pressure transducer. - Identify conversion of the depth measurements to flow volumes based on the geometry of the weir opening (45º, 60 º, and 90º v-notches are common),. - Adopt the procedure for Parshall flume installation by finding a straight area of the stream to ensure all flow in the stream should be going through the flume. - Perform calculations by Determining discharge of the stream within the flume and take water flow data seasonally. | - Enlist the alternate methods for discharge flow measurement - Enlist the material needed for weirs method Practical Activity: Demonstrate discharge flow measurement by alternate method by lab model | Theory- 0.5 Hr. Practical- 1.5 Hrs. Total- 02 Hrs | - Lab model for discharge flow |  |
| LU8 Quality Assurance of the measurement procedure | - Perform equipment maintenance in clean and working condition, per manufacturer instruction - Ensure that During the measurement of stream discharge, no more than 10% of the flow is contained within any one partial section. The more partial section readings that can be made, the more accurate the calculated stream discharge will be | - Describe the quality assurance of measurement procedure Practical Activity: Perform cleaning of the equipment used for discharge flow measurement | Theory- 0.5 Hr. Practical- 2.5 Hrs. Total- 03 Hrs |  |  |
| LU9 Adopt proper safety precautions | - Ensure familiarization with sampling protocols and calibrated to sampling standards. - Adopt all safety precautions. - Identify the health and safety risked during the experiment. | - Enlist safety precautions during flow measurement - Identify the health and safety risked during the experiment Practical Activity: Demonstrate the safety protocols needed | Theory- 0.5 Hr. Practical- 0.5 Hrs. Total- 01 Hrs | - Sampling kit - Safety Kit |  |
| LU10 Analyze the data | - Take Discharge flow data periodically - Record data in specified perform and Generate graphs/figures and share the recorded data with authorities & stakeholders | - Explain the procedure for data analysis Practical Activity: Record data in Performa and generate graphs for periodic discharge flow | Theory- 0.5 Hr. Practical- 0.5 Hrs. Total- 01 Hrs | - Discharge flow data Performa - Computer |  |

## Module 1021CS -0108: Perform Testing of Dissolved Oxygen (DO) in waste water

Objective: After the completion of this Module, the Trainee will be able to develop skill and competence required for testing of Dissolved oxygen in lab/field.

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Identify the sample and environmental conditions required for Dissolved Oxygen (DO) test. - Recognize appropriate test method, Glassware and Equipment - Prepare the required standards for verification of test method/ calibration of equipment - Adopt the proper safety requirements. | - Define DO and its importance in real life. - Describe the environmental conditions required for the DO test. - Explain the preparation of standards as per reference procedure - Describe the necessary precautions required for DO test Practical Activity: Prepare the sample and standard for DO test. | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Zero Solution of Sodium Sulphite (Na2SO3) for Calibration - Deionized water - Glass ware (Class A) | Class Room Wastewater Lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Arrange the test equipment and reagents as per work instructions - Conduct pre-use and QC checks. - Check the calibration status of equipment, perform calibration if required. | - Explain the QC checks involved in DO determination test - Define the calibration procedure of DO Meter - Identify the reagents involved in testing procedure of DO. - Describe the errors involved in DO measurement. Practical Activity: - Calibrate the DO meter with the calibration standard. | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - DO Meter - Zero Solution of Sodium Sulphite (Na2SO3) for Calibration - Deionized water - Glass ware (Class A) | Class Room Lab/ Field Visit |
| LU3. Perform tests on samples | Trainee will be able to: - Switch on the instrument and run an internal self-check until normal operating mode is activated - The handling of DO electrode in lab/field and water sample to stir by means of magnetic stirring system to assure certain agitation of the sample. - Record the reading of meter with proper units - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Describe the working principle of the DO Meter - Define the procedure of Do measurement in field. - Explain the procedure of reagent storage and disposal of waste material. Practical Activity: • Demonstrate the analytical procedure for the measurement of the DO | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - DO Meter - Deionized water - Glass ware (Class A) - Magnetic Stirring plate | Class Room Lab/ Field Visit |
| LU4. Quality Control Checks | Trainee will be able to: - Analysis of Method blank after every 10 samples - Recording of Daily quality control data in QC Sheets. - Generate control charts of laboratory control sample. | - Define the Method blank - Explain repeatability and reproducibility - Elaborate the trend analysis of Control chart Practical Activity: Demonstrate quality control checks of the DO | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - DO Meter - Zero Solution of Sodium Sulphite (Na2SO3) for Calibration - Deionized water - Glass ware (Class A) - Magnetic Stirring plate | Class Room Lab/ Field Visit |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Describe the procedure for uncertainty measurement. - Explain the recording and reporting of results of sample Practical Activity: • Calculate the uncertainty of the results of analyzed sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - DO Meter - Zero Solution of Sodium Sulphite (Na2SO3) for Calibration - Deionized water - Glass ware (Class A) - Magnetic Stirring plate | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | Internee will be able to - Membrane replacement to avoid air bubbling and contamination of sensing elements. - Handling of sample with care to avoid entrapping air bubbles - Perform the analysis with proper Stirring to ensure a certain agitation of the fluid to reduce the errors due to the presence of air bubbles on the membrane surface. | - Describe the procedure for membrane maintenance and replacement of DO electrode. - Explain the precautionary measures for error free DO testing. - Identify the precautions involved in DO measurement at field. | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs | - DO Meter - Extra Membrane - Deionized water | Class Room Lab/ Field Visit |

## Module:1021CS -0109 Perform Testing of Chemical Oxygen Demand (COD) by Dichromate Digestion Method

Objective: After the completion of this Module, the Trainee will be able to develop skill and competence required for testing of Organic and Inorganic Chemical Pollution load of Wastewater by Chemical Oxygen Demand (COD) test.

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to: - Check the sample label for the requirement of analysis of Chemical Oxygen Demand (COD) - keep the sample at room temperature for few minutes. - Identify appropriate test method, Glassware, Equipment and safety requirements. | - Define Chemical Oxygen Demand - Define the Permissible limit of COD for Wastewater - Describe the working principle for COD Digestion Practical Activity: Maintain the Sample temperature before analysis | Theory- 01 Hrs. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - COD Digester and reactor - COD vials - Wash bottle - Deionized water - Glass ware (Class A) | Class Room Wastewater Lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Arrange the test equipment and COD reagents as per work instructions - Select the specified range 0-100, 0-1500 or 0-15,000 as per sample condition - Prepare the 100, 500 and 5000ppm Potassium Hydrogen Phthalate (KHP) Standards if needed for the selected range accordingly - Check the calibration status of equipment, perform calibration | - Enlist the ranges of COD vials - State the composition of COD vials Practical Activity: Prepare 100ppm KHP standard | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - COD Digester and reactor - COD vials - Potassium Hydrogen Phthalate (KHP) - Wash bottle - Deionized water - Glass ware (Class A) | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Homogenise 500 ml of sample for 30 seconds in a blender OR by magnetic stirring. - Select the ranges for COD according to location of the sample (river, nullah, tanneries, sewage etc.). - The sample is added to vial by keeping it at the angle of 45 degree. - Select the Sample volume for different COD ranges as follows Volume of the sample; Ranges for COD. 2.0mL; 6-150. 2.0mL; 6-1500. 0.2mL; 6-15000. - Take 2 ml of deionized water in selected range of COD vials and designated as REFERENCE - Take 2ml of wastewater sample in another vials of same range and 2ml of KHP standard as per table - Digest the set of vials in COD digester at 150oC for 2 hrs. - After 2 hours, turn off reactor; wait for 120 minutes .The vials are allowed to cool to 12oC or less. - Blank the COD reactor by Method blank then calibrate with the standard and note the results of sample - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. . | - Describe the sample preparation of wastewater for COD test - State the standard conc. needed for three ranges of COD vials - Explain the procedure of sample digestion Practical Activity: • Analyze the wastewater sample for COD test | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - COD Digester and reactor - COD vials - Potassium Hydrogen Phthalate (KHP) - Wash bottle - Deionized water - Glass ware (Class A) | Class Room Lab/ Field Visit |
| LU4. Quality Control Checks | Trainee will be able to: - Analyse Method blank after every 10 samples - Check repeatability by reanalysing a pre-analyzed sample once a day - Record the daily quality control data in QC Data sheet. - Display results of laboratory control sample in the form of control charts. | - Define the Method blank - Elaborate the trend analysis of Control chart - Describe Lab Control Sample (LCS) Practical Activity: Develop control chart of the given data | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - COD Digester and reactor - COD vials - Potassium Hydrogen Phthalate (KHP) - Wash bottle Deionized water | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Enlist the steps for uncertainty measurement. - Explain the recording and reporting of results of sample Practical Activity: Calculate the uncertainty of the results of analyzed sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - COD Digester and reactor - COD vials - Potassium Hydrogen Phthalate (KHP) - Wash bottle - Deionized water - Glass ware (Class A) | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | Internee will be able to - Collect samples in glass bottles. Use plastic bottles only if the sample is known to be free of organic contamination. - Analyze sample within 24 hours after sampling if it is delayed then preserve samples by acidification to pH<2 using conc.H2SO4. - Shake the sample for at least 30 seconds for homogenization. - Wear appropriate eye protection and clothing for protection. - The reagent mixture is light sensitive. Keep unused vials in opaque container. | - Describe the sample preservation procedure for COD test - Explain the precautionary measures for sample collection Practical Activity: Demonstrate the Preservation of COD sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs | - wastewater sample - Sulfuric acid H2SO4 - Deionized water | Class Room Lab |

## Module:1021CS-0110 Perform Testing of Biochemical Oxygen Demand (BOD) by Manometric Pressure measurement method

Objective: After the completion of this Module, the Trainee will be able to develop skill and competence required for testing of  Biochemical Oxygen Demand (BOD) of wastewater .

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to - Check the sample label for the requirement of Biochemical Oxygen Demand (BOD)test - Keep the sample at room temperature for few minutes. - The optimum pH value for BOD measurement is between 6.5 and 7.5.The high or lower pH value can be readjusted by adding (1M) HCl or NaOH. - Homogenize the sample or filtered before analysis. - Use Ally Thio Urea ATH as nitrification inhibitor if required. (When checking discharges from effluent treatment plant. - Clean BOD bottles and stirring rods with teepol (detergent) and rinsed with hot water and finally rinsed with deionized water. - Identify appropriate test method, Glassware, Equipment and safety requirements | - Define BOD - Describe the procedure for pH adjustment of wastewater sample - Explain the cleaning procedure of BOD bottles - Explain the use of Allyl Thio urea (ATH) Practical Activity: Adjust the pH of wastewater sample | Theory- 01 Hrs. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - 1M HCl and NaOH - Blender water - Glassware (AClass) | Class Room Wastewater Lab |
| LU2. Prepare for laboratory/field testing | - Trainee will be able to: - Arrange the test equipment BOD Incubator and/or reagents in accordance with the specified work instructions. - Conduct pre-use and safety checks. - Check the calibration status of equipment. Perform calibration if required - Carry out Pretreatment of the sample if required (e.g. Setting of pH, Filtering). | - Enlist the equipment and reagent needed for BOD - State the pre-treatment of sample - Explain Manometric Pressure measurement method Practical Activity: - Carry out pretreatment of sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - pH Meter - Filter paper - 1M HCl and NaOH | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to: - Set the Temperature of the thermostat cabinet at 20oC. - Select the measurement range for the sample volume as per manual instructions - Seeding of sample in order to provide microbial growth if required. - Insert cleaned magnetic stirring rods in the BOD bottle and place drops of KOH solution into the seal gasket . - Screw the BOD sensors are tightly to sample bottles and properly place sample bottles are in the bottle rack. - Select the required range from instrument program incubate the sample for 5 days - To check accuracy of the measuring unit incubate the CRM by same upper Mentioned procedure. - Store unused reagents and dispose of wastes as required by relevant regulations and codes. - Clean and store equipment. | - Describe the procedure for BOD measurement - Explain why the sample is incubated at 20oC Practical Activity: Analyze the wastewater sample for BOD test | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - BOD Incubator - 45% KOH - Allyl Thio Urea (ATH) - 1N HCl - 1N NaOH - BOD Seeds - Seeding Solution - Deionized water | Class Room Lab |
| LU4. Quality Control Checks | Trainee will be able to: - Analyze BOD CRM/calibration tablets in order to check the calibration of the measuring system with every badge of samples - Display the results of laboratory control sample regularly in the form of control charts. | - Describe the calibration procedure for BOD units Practical Activity: Incubate the Calibration tablets | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - 45% KOH - Calibration tablet - Deionized water - Glassware (Class A) - Plastic gasket | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Enlist the steps for uncertainty measurement. - Explain the recording and reporting of results of sample Practical Activity: Calculate the uncertainty of the results of analyzed sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - COD Digester and reactor - COD vials - Potassium Hydrogen Phthalate (KHP) - Wash bottle - Deionized water - Glass ware (Class A) | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | Internee will be able to - Incubate the sample carefully to avoid contact with the potassium Hydroxide solution. - Avoid use of grease or any other lubricant as an additional sealing agent, for the BOD sensors or for the seal gasket. - BOD sensors must be tightening carefully otherwise it will not detect the generated pressure. - Before measurement begins, the prepared sample must be brought to desired temperature (20oC). - Once the measurement has started never disturb the position of bottles otherwise you will lose the stored data. | - Enlist the precautions for sample incubation Practical Activity: Demonstrate the sample intake and incubation | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - wastewater sample BOD sensor Gasket Potassium Hydroxide - Deionized water - BOD Incubator | Class Room Lab |

## Module:1021CS-0111 Perform Testing/Determination of Oil and grease in wastewater

Objective: After the completion of this Module, the Trainee will be able to develop skill and competence required for testing of  oil and grease in wastewater

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to - Identify appropriate test method, Glassware, Equipment and safety requirements. - Check the sample label for the requirement of analysis of Oil and Grease. - Collect the sample in 1L glass bottle with Teflon lined inner lid. - Keep the sample at room temperature for few minutes. - Maintain the pH to <=2 by adding Hydrochloric acid - Shake the glass sample bottle to assure good mixing of sample. - Prepare Zero liquid (S-315 Solvent 2,2,4 Trimethyl penytane ), span liquid (B-heavy oil) and OCB Standard for Calibration - Pure Solvent S-315 is used as zero solvent. | - Describe the sample collection procedure - Enlist the chemicals needed for analysis - Define zero and span liquid Practical Activity: Maintain the pH of the sample | Theory- 01 Hrs. Practical- 02 Hrs. Total- 03 Hrs. | - Microsyringe (25µl) - Syringe (10ml) - B- Heavy Oil (specific gravity 0.895) - Volumetric Flask (250 ml) - Glass sampling bottle with Teflon inner lid | Class Room/lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Set up test equipment OCMA-350 and reagents in accordance with the specified work instructions. - Perform zero and span calibration before measurement Perform measurement of zero solvent in terms of mg/L. - Select mg/L on OCMA-350 for oil in water analysis | - Describe the procedure for zero calibration Practical Activity: Perform zero calibration | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - OCMA-350 - Zero liquid - Span liquid - Cell with cap | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to - Prepare sample by taking 10ml sample and 10ml of the solvent S-316 (Infrared Spectroscopy Grade) into the 40ml vial. - Cap the vial and shake it vigorously to extract oil in water in solvent. - In case of emulsion treat the extract to break it. Carefully pipette the as much solvent/extract as possible without taking the water layer in a beaker. - Add 1 or more grams of anhydrous Sodium Sulfate, Na2SO4, to break the emulsion by stirring it with glass rod - The extract should appear as non-turbid but may be colored - Put a conditioned 11cm No. 40 whatman filter paper into a glass funnel and filter the extract to remove the Na2SO4 - If less than 6ml of solvent/extract are recovered, add a measured amount of solvent, and account for dilution in the results. - Pipette 6ml of solvent/extract and place the OCMA-350 cell into equipment for measurement. - Read the concentration or press measure to start the stability check. This reading obtained in terms of Total Recoverable Oil and Grease. - Remove the cell from OCMA-350 and empty for next measurement. | - Describe the sample preparation procedure measurement - Explain the procedure for emulsion treatment Practical Activity: Prepare the sample for oil and grease test | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - OCMA-350 - Cell with Cap - Microsyringe (25µl) - Syringe (10ml) - B- Heavy Oil (specific gravity 0.895) - Volumetric Flask (250 ml) - Glass sampling bottle with Teflon inner lid | Class Room Lab |
| LU4. Quality Control Checks | Trainee will be able to: - Perform zero and span calibration before the measurement - In case of measuring background changes - Replacing the measuring cell - Change of lot no. of solvent - When power is off more than one week - Change the calibration liquid | - State the conditions for span calibration Practical ctivity: Perform span calibration | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - OCMA-350 - Cell with Cap - Microsyringe (25µl) - Syringe (10ml) - B- Heavy Oil (specific gravity 0.895) - Volumetric Flask (250 ml) - Glass sampling bottle with Teflon inner lid | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Enlist the steps for uncertainty measurement. - Explain the recording and reporting of results of sample Practical Activity: Calculate the uncertainty of the results of analyzed sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Workbook - Result record form - Calculator | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | Internee will be able to - Discharge the solvent in the cell, clean it and store it carefully. - Close the Cover on the unit to avoid dust. - When filling the cell, make sure there are no bubbles in the cell. - Do not touch the ends of a cell. - Do not spill the solvent on the measuring unit during cell insertion. - For accurate measuring results, calibration and measurement should be started after the “warmup” lamp off. - Solvent can be absorbed through the skin, wear gloves when handling it. - Avoid inhaling of vapors or ingest liquid | - Enlist the precautions for testing Practical Activity: Demonstrate the sample filling in cell | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Cell with Cap - sample | Class Room Lab |

## Module 1021CS-012: Perform Testing/Determination of Total Suspended Solids (TSS)

Objective: After the completion of this Module, the Trainee will be able to develop skill and competence required for testing of  Total and Suspended Solids (TSS)

Duration:  18 Hours			Theory: 06 Hours		Practice:  12 Hours                  Credit Hours:  1.8

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare samples for testing | Trainee will be able to - Check the sample label for the requirement of analysis of Total Suspended Solids (TSS). - Identify appropriate test method, Glassware equipment and safety requirements. - Keeps the sample at room temperature for few minutes. - Stir sample with a magnetic stirrer at a speed to shear larger particles, to obtain a more uniform (preferably homogeneous) particle size. | - Define Total Suspended Solids (TSS) - Describe the pre conditioning of sample Practical Activity: Homogenize the sample for analysis | Theory- 01 Hrs. Practical- 02 Hrs. Total- 03 Hrs. | - Wastewater sample - Stirring plate | Class Room/lab |
| LU2. Prepare for laboratory/field testing | Trainee will be able to: - Set up the apparatus and/or reagents in accordance with the specified work instructions. - Conduct pre-use and safety checks. - Take Sample volume to yield between 2.5 and 200 mg dried residue. - If volume filtered fails to meet minimum yield, increase sample volume to 1L. - Place filter disks onto the filtration apparatus. Apply vacuum and rinse each with three successive 20-Ml volumes of deionized water. - Draw air through the filters until it appears that all water has been drawn off. Store filters in a desiccator until use | - Describe the Pre-conditioning of filter paper - Define the procedure for sample volume selection Practical Activity: Perform the conditioning of filter paper | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Filter disks - Filtration assembly - Desiccator - Sample | Class Room Lab |
| LU3. Perform tests on samples | Trainee will be able to - Assemble filtering apparatus - Wet filter with a small volume of reagent-grade water to seat it. - After homogenizing the sample with vigorous shaking or blending - Pipet from the approximate midpoint of container but not in vortex. - Wash filter with three successive 10-Ml volumes of reagent-grade water, allowing complete drainage between washings, and continue suction for about 3 min after filtration is complete. - Samples with high dissolved solids may require additional washings. - Carefully remove filter from filtration apparatus and transfer to an aluminum weighing dish as a support. Alternatively, remove the crucible and filter combination from the crucible adapter if a Gooch crucible is used. - Dry for at least 1 h at 103 to 105°C in an oven, cool in a desiccator to balance temperature, and weigh. - Repeat the cycle of drying, cooling, desiccating, and weighing until a constant weight is obtained or until the weight change is less than 4% of the previous weight or 0.5 mg, whichever is less. - Analyze at least 10% of all samples in duplicate. Duplicate determinations should agree within 5% of their average weight. - Perform calculation to determine TSS - mg total suspended solids/L = (A – B) X 1000 - sample volume, mL | - Describe the procedure for TSS analysis - Enlist the formula for TSS calculation Practical Activity: - Analyse the sample for TSS | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Analytical Balance - Drying Oven - Filtration assembly - Desiccator - Filter paper - Glassware (Class A) | Class Room Lab |
| LU4. Quality Control Checks | Trainee will be able to: - Analyze one method blank with every batch. - Analyze ≥5% of all samples in duplicate or at least one duplicate sample with each batch of ≤20 samples | - Define Method blank - Practical Activity: Perform QC sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Method blank - QC sample - Filtration assemble - Filter paper - Weighing balance - Oven - Desiccator | Class Room Lab |
| LU5. Record the results/finalise work | Trainee will be able to: - Note down the Results on analyst workbook. - Calculate the uncertainty of the results - Record and reporting of the results. - Clear and restore work area. | - Enlist the steps for uncertainty measurement. - Explain the recording and reporting of results of sample Practical Activity: Calculate the uncertainty of the results of analyzed sample | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Workbook - Result record form - Calculator | Class Room Lab/ Field Visit |
| LU6. Adopt the precautions during testing work | - Use resistant-glass or plastic bottles, provided that the material in suspension does not adhere to container walls. - Refrigerate sample at 4°C up to the time of analysis to minimize microbiological decomposition of solids. - Limit the sample size to yield no more than 200mg residue. - For samples high in dissolved solids thoroughly wash the filter to ensure removal of dissolved material. - Filter paper after drying must be stored in desiccator in order to avoid moisture absorbance - Verify the Calibration of weighing balance to avoid fluctuation of measurement - Sampling and sub sampling may introduce serious error, so in order to avoid it make sample homogenous during transfer - Take the suspended sample with wide bore pipette.in case of graduated cylinder. | - Enlist precautions for testing Practical Activity: Demonstrate the storage of Filter paper | Theory- 01 Hr. Practical- 02 Hrs. Total- 03 Hrs. | - Filter Paper - Desiccator - Weighing balance | Class Room/ Lab |

## Module: Develop Entrepreneurial Skills

Objective:

After the completion of this competency standard, the Trainee will be expected to develop a business plan, collect information regarding funding sources, develop a marketing plan and develop basic business communication skills. Trainee’ss underpinning knowledge regarding entrepreneurial skills will be sufficient to provide you the basis for your work.

Duration:  5 Hours			Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Develop a business plan | Trainee will be able to: - Conduct a market survey to collect following information: - Customer /demand - Tools, equipment, machinery and furniture with rates - Raw material - Supplier - Credit / funding sources - Marketing strategy - Market trends - Overall expenses - Profit margin - Select the best option in terms of cost, service, quality, sales, profit margin, overall expenses - Compile the information collected through the market survey, in the business plan format | - Main elements of business plan - Filling the business plan format - Enlist specific business terms used in the industry - Describe 7Cs of business communication | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Collect information regarding funding sources | Trainee will be able to: - Identify the available funding sources based on their terms and conditions, maximum loan limit, payback time, interest rate - Choose the best available option according to investment requirement - Prepare documents according to the loan agreement requirement - Include the information of funding sources in the business plan | - Enlist the available funding sources - Explain how to get loan to start a new business - Explain market survey and its tools e.g.: questionnaire, interview, observation etc | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Develop a marketing plan | Trainee will be able to: - Make a marketing plan for the business including product, price, placement, promotion, people, packaging and positioning - Include the information of marketing plan in the business plan | - 7ps of marketing including product, price, placement, promotion, people, packaging and positioning | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Develop basic business communication skills | Trainee will be able to: - Communicate with internal customers e.g.: labor, partners and external customers e.g.: suppliers, customers etc., using effective communication skills - Use different modes of communication to communicate internally and externally e.g.: presentation, speaking, writing, listening, visual representation, reading etc. - Use specific business terms used in the market | - Description of the market trends for specific product offering - Different modes of communication and their application in the industry | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Apply management and communications techniques

Objective:

After the completion of this competency standard, the Trainee will be able to contribute to communications planning, Conduct information management activities, Communicate project information, Contribute to assessing effectiveness of communication.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Contribute to communications planning | Trainee will be able to: - Identify, source and contribute relevant information requirements to initial project documentation. - Contribute to developing and implementing the project communications plan and communications networks. | - Outline methods of reviewing communication outcomes | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Conduct information management activities | Trainee will be able to: - Act on and process project information according to agreed procedures as directed, to aid decision-making processes throughout project life cycle. - Maintain information to ensure data is secure and auditable. | - Summarize models and methods of communications management in context of project life cycle and other project management functions | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Communicate project information | Trainee will be able to: - Communicate with clients and other stakeholders during project using agreed networks, processes and procedures to ensure flow of necessary information. - Ensure reports are prepared and released according to authorization, or produced for release by others. - Seek information and advice from appropriate project authorities as required. | - Identification of Project Information, policies and procedures relevant - Summarize models and methods of communications management in context of project life cycle and other project management functions | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Contribute to assessing effectiveness of communication | Trainee will be able to: - Assist in ongoing review of project outcomes to determine effectiveness of communications-management activities. - Report communications-management issues and responses to higher project authorities for application of lessons learned to future projects. | - Assessment of effectiveness of project communication | Theory- 1 Hr 15 Min Practical- Hrs Total- 1 Hr 15 Min | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Create Human Resources Management plan

Objective:

After the completion of this competency standard, the Trainee will be able to assist in determining human resource requirements, Contribute to establishing and maintaining productive team relationships, assist with human resource monitoring, contribute to evaluating human resource practices.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Assist in determining human resource requirements | Trainee will be able to: - Analyze work breakdown structure to determine human resource requirements. - Prepare a skills analysis of project personnel against project task requirements. - Assist in assigning responsibilities for achieving project deliverables. | - Identification of alternative project personnel engagement options - Requirements for human resources. | Theory- 1 Hr Practical- Hrs Total- 1 Hr | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Contribute to establishing and maintaining productive team relationships | Trainee will be able to: - Actively seek views and opinions of team members during task planning and implementation. - Promote cooperation and effective activities, goals and relationships within team. - Communicate with others using styles and methods appropriate to organizational standards, group expectations and desired outcomes. - Communicate information and ideas to others in a logical, concise and understandable manner. - Regularly seek feedback on nature and quality of work relationships, and use feedback as basis for own improvement and development. | - Explain job design principles and work breakdown structures - Describe learning and development approaches that can be incorporated into project life cycle - Project team relationship building | Theory- 1.5 Hrs Practical- Hrs Total- 1.5 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Assist with human resource monitoring | Trainee will be able to: - Monitor work of project personnel against assigned roles and responsibilities within delegated authority levels. - Monitor and control actual effort against project plan. - Review skill levels against allocated tasks and recommend solutions, where required, to others. - Advise others within delegated authority when assigned responsibilities are not met by project personnel. - Undertake work in a multi-disciplinary environment according to established human resource management practices, plans, guidelines and procedures. - Resolve conflict within delegated authority according to agreed dispute-resolution processes. - Assist in offering human resource development opportunities to individuals with skill gaps. | - Listing of methods for skills analysis and monitoring - Identification and description of project roles, responsibilities and reporting | Theory- 1 Hr Practical- Hrs Total- 1 Hr | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Contribute to evaluating human resource practices | Trainee will be able to: - Contribute to assessing effectiveness of project human resources management. - Document lessons learned to support continuous improvement processes | - Knowledge of effective project human resources management - Improvement of project processes | Theory- 1 Hr Practical- Hrs Total- 1 Hr | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Develop A Project Management Plan

Objective:

After the completion of this competency standard, the Trainee will be able to develop a plan for a telecommunications project, including assessing project requirements and planning for all stages to completion and final documentation. It applies to individuals who are likely to have responsibility for the provision of installations, maintenance, upgrades and new services.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare project management plan | Trainee will be able to: - Evaluate and assess project brief and related documents. - Produce document on project tasks and associated timelines, including installation processes and test requirements. - Assess and produce document on resource requirements to assist allocation of appropriate resources. - Produce training plan assessing training needs and associated timelines for efficient project implementation. - Determine and document budgetary requirements. - Discuss roles of all identified parties associated with project to ensure their involvement. - Produce project verification document, including monitoring and control processes, and review processes such as quality audits. - Consult with all relevant parties prior to finalizing draft plan and make changes as appropriate. | - Preparation of Project Plans and their management - Evaluation and assessment of project related documentation and tasks - Project Budget preparation | Theory- 1.5 Hrs Practical- Hrs Total- 1.5 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Develop and evaluate management plan | Trainee will be able to: - Produce preliminary plan for consultation, including identified factors that may impact on realization of project and observance of relevant legislation, codes, regulation and standards. - Consult with client and clarify any amendments. - Develop final plan with recommendations. | - Development and evaluation of project management plans - Client dealing for clarification and amendments in project plans - Finalization of plans | Theory- 1.5 Hrs Practical- Hrs Total- 1.5 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Communicate project information | Trainee will be able to: - Produce and document final plan to include implementation details and training needs. - Present plan to client and obtain sign off. | - Presentation of Project plan to client | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Contribute to assessing effectiveness of communication | Trainee will be able to: - Assist in ongoing review of project outcomes to determine effectiveness of communications-management activities. - Report communications-management issues and responses to higher project authorities for application of lessons learned to future projects. | - Review of project outcomes and asses effectiveness of business communication | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Develop A Sales Plan

Objective:

After the completion of this competency standard, the Trainee will be able to develop a sales plan for a product or service for a team covering a specified sales territory based on strategic objectives and in accordance with established performance targets. It applies to individuals working in a supervisory or managerial sales role who develop a sales plan for a product or service.

Duration:  5 Hours		Theory:  5 Hours			Practice: 0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify organizational strategic direction | Trainee will be able to: - Obtain and analyze assessment of market needs and strategic planning documents - Review previous sales performance and successful approaches to identify factors affecting performance - Analyze information on market needs, new opportunities, customer profiles and requirements as a basis for decision making | - Assessment of market needs and strategic planning documents preparation - Knowledge of business opportunities, customer profiles and decision making | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Establish performance targets | Trainee will be able to: - Determine practical and achievable sales targets - Establish realistic time lines for achieving targets - Determine measures to allow for monitoring of performance - Ensure objectives of the sales plan and style of the campaign are consistent with organizational strategic objectives and corporate image | - Statistical techniques for analyzing sales and market trends | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Develop a sales plan for a product | Trainee will be able to: - Determine approaches to be used to meet sales objectives - Identify additional expertise requirements and allocate budgetary resources accordingly - Identify risks and develop risk controls - Develop advertising and promotional strategy for product - Identify appropriate distribution channels for product - Prepare a budget for the sales plan - Present documented sales plan to appropriate personnel for approval | - Principles and techniques for selling Sources of internal and external information - Identification of organizational strategic direction and developing a product sales plan - Preparation of sales plan and its approval | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Identify support requirements | Trainee will be able to: - Identify and acquire staff resources to implement sales plan - Develop an appropriate selling approach - Train staff in the selling approach selected - Develop and assess staff knowledge of product to be sold | - Resources requirement for sales plan | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU5. Monitor and review sales plan | Trainee will be able to: - Monitor implementation of the sales plan - Record data measuring performance versus sales targets - Make adjustments to sales plan as required to ensure required results are obtained | - Principles, monitoring and techniques for selling Sources of internal and external information | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Conduct Research for Customer Needs and satisfaction

Objective:

After the completion of this competency standard, the Trainee will be able to manage an ongoing relationship with a customer
over a period of time. This includes helping customers articulate their needs and managing networks to ensure customer needs are addressed. It applies to individuals who are expected to have detailed product knowledge in order to recommend customized solutions. In this role, individuals would be expected to apply organizational procedures and be aware of, and apply as appropriate, broader factors involving ethics, industry practice and relevant government policies and regulations.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Assist customer to articulate needs | Trainee will be able to: - Ensure customer needs are fully explored, understood and agreed - Explain and match available services and products to customer needs - Identify and communicate rights and responsibilities of customers to the customer as appropriate | - Explain organizational procedures and standards for establishing and maintaining customer service relationships. - Explain consumer rights and responsibilities | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Satisfy complex customer needs | Trainee will be able to: - Explain possibilities for meeting customer needs - Assist customers to evaluate service and/or product options to satisfy their needs - Determine and prioritize preferred actions - Identify potential areas of difficulty in customer service delivery and take appropriate actions in a positive manner | - Describe ways to establish effective regular communication with customers - Variations within a limited product and service range. | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Manage networks to ensure customer needs are addressed | Trainee will be able to: - Establish effective regular communication with customers - Establish, maintain and expand relevant networks to ensure appropriate referral of customers to products and services from within and outside the organization - Ensure procedures are in place to ensure that decisions about targeting of customer services are based on up-to-date information about the customer and the products and services available - Ensure procedures are put in place to ensure that referrals are based on the matching of the assessment of customer needs and availability of products and services - Maintain records of customer interaction in accordance with organizational procedures | - Outline details of products or services including with reference to possible alternative products and services | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Convert customer enquiries into sales | Trainee will be able to: - Use information provided by customers or accessed from customer relationship management (CRM) system to identify any need - Identify suitable products /services to meet needs - Make convincing sales pitches to customers following standard scripts - Handle customer queries, objections and rebuttals following standard scripts - Adapt your approach and style to customer preferences, within limits of your competence and authority - Refer issues outside your area of competence and authority to appropriate people, following your organization’s procedures - Identify and act on opportunities to up-sell or cross-sell other products/services to customers - Confirm customer wishes and needs in order to close sales - Obtain required financial information from customers, following your organization’s procedures - Complete your organization’s post-sales procedures in order to complete/fulfill sales - Comply with relevant standards, policies, procedures and guidelines when converting customer enquiries into sales | - Organizational standards for maintaining customer relationships to convert convincing sales pitches to customers need | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Manage Finances

Objective:

After the completion of this competency standard, the Trainee will be able to develop, implement and monitor a personal
budget in order to plan regular savings and manage debt effectively.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Develop a personal budget | Trainee will be able to: - Calculate current living expenses using available information to prepare a personal budget. - Keep a record of all income and expenses for a short period of time to help estimate ongoing expenses. - Subtract total expenses from total income to determine a surplus or deficit budget for the specified period. - Find reasons for a deficit budget and ways to reduce expenditure identified. - Identify ways to increase income, if possible | - Preparing cash flow statement - Basic concepts of Time value of money - Understanding of current and fixed assets - Understanding of elements of equity and liabilities (long term and short term) - Identification of available financial resources - Step by step budget plan preparation - Budget review techniques | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Develop longer term personal budget | Trainee will be able to: - Analyze income and expenditure and set longer term personal, work and financial goals. - Develop a longer-term budget based on the outcomes of short-term budgeting, and adjust to meet living, work and future career requirements. - Identify obstacles that might affect finances such as job loss, sickness or unexpected expenses contingency savings - Formulate a regular savings plan based on budget, using secure savings products and services. - Monitor expenditure against budget and identify areas of possible expenditure saving | - Develop a personal budget based on analysis of expenditure and income - Monitor expenditure for a period of up to 2 weeks. | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Identify ways to maximize future finances | Trainee will be able to: - Determine sources and ways to maximize personal income, including from work, investments or available government payments/allowances. - Get further education or training to maintain or improve future income. - Identify the need for debt to finance living and other expenses, and determine the appropriate levels of debt and repayment. - Consolidate existing debt, where possible, to minimize interest costs and fees. - Seek professional money management services, where available, to ensure financial plans are effective and achievable | - Formulate goals and identify financial contingency plans | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Identify and resolve problems

Objective:

After the completion of this competency standard, the Trainee will be able to understand the complex negotiation in critical incidents and the development of strategic responses designed to resolve threatening incidents.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Identify a problem | Trainee will be able to: - Form a problem statement and analyze root cause. - Take initiative in tackling problems rather than relying solely on directives - Follow logic steps in understanding root cause and analyzing potential solutions. | - Explain organization’s policies, guidelines and procedures related to control and surveillance, safety and preventing and responding to incidents and breaches of orders covered in the range of variables. | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Determine strategies for a required solution | Trainee will be able to: - Analyze all aspects of the incident for degree of hazard, priorities, optional outcomes and appropriate strategies - Analyze and determine strategies and priorities on the incident sought from a range of sources - Assess long term objectives against resources and priorities - Apply a range of communication techniques to make and maintain contact with the key people - Provide clear and factual information to enable an honest and realistic assessment of the interests of the key people and their positions - Resolve the conflict and express their likely consequences clearly and do an analysis of the benefits - Reassess points of disagreements for common positive Positions | - A person who demonstrates competency in this unit must be able to provide evidence of the ability to resolve problems which jeopardize safety and security. | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Coordinate support services | Trainee will be able to: - Assess the need for support services in terms of the determined strategies and priorities - Negotiate the resources of support services according to established procedures and availability - Provide information on strategies to support services and maintain the communication - Delegate roles and responsibilities according to expertise and resources | - Explain organization’s management and accountability systems - Outline the guidelines for use of equipment and technology - Explain code of conduct | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Restore order | Trainee will be able to: - Assess the incidents for degree of risk and take appropriate action to reduce and remove the impact of the incident and restore order - Take action designed to minimize risk and the preserve the safety and security of all involved - Take action to prevent the escalation of the incident appropriate to the circumstances and agreed procedures. - Carry out the use of force for the restoration of control and the maintenance of security in the least restrictive manner. - Complete reports accurately and clearly provided to the appropriate authority promptly - Review, evaluate and analyze the incident and the organizational response to it and report it promptly and accurately. | - Describe teamwork principles and strategies - Outline the principles of effective communication | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU5. Provide leadership. direction and guidance to the work group | Trainee will be able to: - Link between the function of the group and the goals of the organization - Participate in decision making routinely to develop, implement and review work of the group and to allocate responsibilities where appropriate - Give opportunities and encouragement to others to develop new and innovative work practices and strategies - Identify conflict and resolve with minimum disruption to work group function - Provide staff with the support and supervision necessary to perform work safely and without risk to health - Allocate tasks within the competence of staff and support with appropriate authority, autonomy and training - Supervise appropriately the changing priorities and situations and takes into account the different needs of individuals and the requirements of the task | - Integration of employability skills with workplace tasks and job roles - Verification of competency to be transferred to other circumstances and environments | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Lead Small Teams

Objective:

After the completion of this competency standard, the Trainee will be able to lead small teams including setting and maintaining team and individual performance standards.

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Facilitate team development | Trainee will be able to: - Identify work requirements, standards and purpose to team members. - Assist team to develop objectives, targets and key performance indicators relevant its purpose and workplace goals. - Allocate duties regard to the skills required to properly undertake the assigned task and according to company policy. - Identify roles, responsibilities and expectations of each team member. - Disseminate and discuss performance expectations to individual team members. | - Explain team dynamics and facilitation processes - Describe methods of monitoring performance - Outline the relevant legal requirements. - Outline strategies for dealing effectively with team member complaints or grievances | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Motivate and build the team | Trainee will be able to: - Develop positive and constructive relationships with and between team members - Facilitate team communication processes - Involve team members in the process of examining risks and options and making decisions, to ensure acceptance and support. - Encourage individual and team efforts and contributions. - Strengths and weaknesses of team members are determined and sharing of work tasks is promoted to up skill team members. - Recognize team members’ queries and discuss and deal with it. | - A person who demonstrates competency in this unit must be able to provide evidence of the ability to lead small teams. - State workplace policies and procedures | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Facilitate and monitor team effectiveness | Trainee will be able to: - Monitor the implementation of work plan and team and individual performance against agreed strategies, targets and standards, according to workplace policies and procedures. - Monitor performance against defined performance criteria and/or assignment instructions and corrective action taken if required. - Support team in identifying and resolving problems that may impede performance and to suggest improvements in team Performance. - Consult team members in any review and revision of team objectives and goals. - Address performance issues which cannot be rectified within the team to appropriate personnel according to employer policy. - Refer concerns of a team and individual are referred to next level of management or appropriate specialist and conduct negotiations on their behalf. - Keep team members inform of any changes in the priority allocated to assignments, or tasks which might impact on client/customer needs and satisfaction. - Monitor team operations to ensure that internal or external employer/client needs and requirements are met. - Provide follow-up communication on all issues affecting the team - Conduct team meetings to review work operations and address issues according to workplace policies and procedures. - Support team in identifying and resolving problems that may impede performance and to suggest improvements in team performance. - Consult team members in any review and revision of team objectives and goals. - Raise any inappropriate values and standards exhibited in the workplace with the person concerned. | - Explain conflict resolution techniques - Explain management styles - Evidence of integration of employability skills with workplace tasks and job roles and verify competency is able to be transfer | Theory- 2 Hrs Practical- Hrs Total- 2 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Develop teams and individuals

Objective:

After the completion of this competency standard, the Trainee will be able to determine individual and team development needs and facilitate the development of the workgroup۔

Duration:  5 Hours		Theory:  5 Hours			Practice:  0 Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Monitor and evaluate workplace learning | Trainee will be able to: - Utilize feedback from individuals or teams to identify and implement improvements in future learning arrangements. - Assess and record outcomes and performance of individuals/teams to determine the effectiveness of development programs and the extent of additional support. - Negotiate modifications to learning plans to improve the efficiency and effectiveness of learning. - Maintain records and reports of competency within organizational requirement. | - Explain the career paths and competency standards in the industry - List down coaching and mentoring principles - Elaborate planning skills to organize required resources and equipment to meet learning needs | Theory- 1 Hrs Practical- Hrs Total- 1 Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Develop team commitment and cooperation | Trainee will be able to: - Use open communication processes to obtain and share information are used by team. - Reach onto decisions by the team in accordance with its agreed roles and responsibilities. - Develop mutual concern and camaraderie in the team. | - A person who demonstrates competency in this unit must be able to provide evidence of the ability to develop teams and individuals. | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Plan learning and development in the team | Trainee will be able to: - Identify learning and development needs systematically in line with organizational requirements based on feedback on performance and self-evaluation. - Develop and implement learning plan to meet individual and group training and developmental needs - Encourage individuals to self -valuate performance and identify areas for improvement. | - Describe facilitation skills to conduct small group training sessions - Explain methods and techniques for eliciting and interpreting feedback | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Select suitable learning method | Trainee will be able to: - Identify learning and development program goals and objectives to match the specific knowledge and skills requirements of competency standards. - List down appropriately the learning delivery methods to the learning goals, the learning style of participants and availability of equipment and resources. - Identify resources and timelines required for learning activities are identified and approved in accordance with organizational requirements. | - Explain the ways of reporting skills to organize information; assess information for relevance and accuracy and elaborate on learning outcomes - Explain the ways to improve and develop team | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU5. Facilitate accomplishment of organizational goals | Trainee will be able to: - Participate in team activities and communication processes. - Develop individual and joint responsibility for their actions - Sustain collaborative efforts are sustained to attain organizational goals. | - Describe the methods for identifying and prioritizing personal development opportunities and options | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module: Apply problem solving techniques in the workplace using critical thinking

Objective: After the completion of this competency standard, the Trainee will be able to apply the process of problem solving for problems beyond those associated directly with the process unit.

Duration:  5 Hours		Theory:  Hours			Practice:  Hours          	        Credit Hours: 0.5

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Analyze the problem | Trainee will be able to: - Evaluate issues/concerns are evaluated based on data gathered. - Identify possible causes of problem are identified within the area of responsibility as based on experience and the use of problem solving tools/analytical techniques. - Develop possible cause statements based on findings. - Use analogies to support reasoning. - Identify cause and effects are identified based on the criteria or information provided to support reasoning. | - Explain Analytical skills and broad knowledge of diagnostic tools - Explain broad knowledge of the client business domain - Elaborate broad understanding of organizational systems and functions Outline communication skills according to the type of audience - Explain the methods of questioning and active listening employed to clarify general information | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU2. Identify possible solutions | Trainee will be able to: - Consider all possible options for solution of the problem in accordance with safety and operating procedures. - Determine strengths and weaknesses of possible options. - Take corrective action to solve the problem and determine its possible future causes. - Analyze past experience - Provide samples to support generalization. - Implement simulations as needed. | - Describe the ways to develop critical thinking - Explain methods and techniques for decision making within a limited range of options - Describe general customer service skills | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU3. Recommend solution to higher management | Trainee will be able to: - Prepare report or documentation. - Present recommendations to appropriate personnel. - Follow up recommendations, if required. | - Explain the ways to improve teamwork in reference to personal responsibility | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU4. Implement solution | Trainee will be able to: - Identify measurable objectives - Identify resource needs - Prepare timelines in accordance with plan. | - Develop teams and individuals and ask for individual feedback | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |
| LU5. Evaluate / monitor results and outcome | Trainee will be able to: - Identify processes and improvements based on evaluative assessment of problem. - Prepare recommendations and submit to superiors | - The evidence should integrate employability skills with workplace tasks and job roles and verify competency is able to be transferred to other situations | Theory- 1 Hrs Practical- Hrs Total- 1Hrs | - Internet - Laptop/Computer - White board - Projector screen - Multimedia projector | Classroom |

## Module 1021CS-0123.	Determine Hydrostatic pressure

Objective: This module covers the knowledge and  skills required to find pressure by using pressure gauges, Hydrostatic pressure and centre of pressure of vertically immersed surface.

Duration:  37 Hours			Theory: 16 Hours				Practice: 21 Hours             Credit Hours: 3.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Find pressure by Piezometer | Trainee will be able to: - Identify pressure gauge - Measure pressure by Piezometer | - Define Pressure. - Explain different types of pressure gauges - Explain Piezometer and its application? - Define the Intensity of Pressure? - Explain Pascal’s Law and its simple Application Practical Activity Measure Pressure using Piezometer | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Piezometer Water Tank | Class Room and workshop |
| - Find pressure by manometer | Trainee will be able to: - Identify pressure gauge - Measure pressure by Manometer | - Define Manometer? - Describe Pressure Head? - Differentiate between Gauge Pressure & Absolute Pressure Practical Activity Measure the pressure using Manometer. | Theory-3 Hrs Practical-6 Hrs Total- 9 Hrs | Manometer Water Tank | Class Room and workshop |
| - Find out Hydrostatic pressure and center of pressure on vertically Immersed surface. | Trainee must be able to: - Identify apparatus - Immerse apparatus in water tank - Identify the formulae for hydrostatic pressure and center of pressure. - Find the area of immersed surface - Find moment of inertia of the figure - Calculate hydrostatic pressure on surface - Find position of center of pressure | - Define Hydrostatics & Hydrostatic Pressure. - Define center of Pressure? - State Pressure on Immersed Surface - Define Moment of Inertia? Practical Activity Determination of Hydrostatic Pressure & Center of Pressure on vertically Immersed Surface. | Theory-3 Hrs Practical-6 Hrs Total- 9 Hrs | Hydrostatic Apparatus Water Tank | Class Room and workshop |
| - Find out discharge through a pipe with Pitot tube | Trainee must be able to - Identify the instrument - Fix the Pitot tube with pipe - Measure height of liquid in the tube - Find the velocity by using formula. - Find the discharge by using formula | - Define Discharge and measure it using formula. - Define Velocity. - Explain Specific Weight and Specific Volume? Practical Activity Determine Discharge through Pipe using Pitot Tube. | Theory-4 Hrs Practical-3 Hrs Total- 7 Hrs | Pitot Tube | Class Room and workshop |
| - Find the Metacentric height of a floating body in Lab. | Trainee must be able to - Identify the apparatus. - Put apparatus in water tank. - Place jokey weight to make the ship symmetrical. - Place the ship in water and adjust the plumb to zero mark. - Move jokey weight across deck to a specified distance. - Measure the angle of inclination. - Calculate the metacentric height of ship by formula. | - Define Metacenter and Metacentric Height? - Define the angle of inclination? - Define the terms, buoyancy, floatation, buoyant force and center of buoyancy Practical Activity Calculate the Metacentric height of a floating body in Lab. | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Metacentric height apparatus Water Tank | Class Room and Workshop |

## Module 1021CS-0124.	Apply Hydro Kinematic Principles

Objective: This module covers the knowledge and  skills required to determine coefficient of discharge using venture meter, to calculate energy losses in pipe flow, to determine Hydraulic Co-efficient for circular orifices. Calculate hydraulic and energy gradient for pipelines. Calculate flow in open channels and through notch and weirs.

Duration: 43 Hours				Theory: 16 Hours				Practice: 27 Hours                    Credit Hours: 4.3

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Determine coefficient of discharge using venture meter | Trainee will be able to: - Check dimensions of venture meter and water tank. - Calculate at inlet and throat - Open inlet valve and take piezometer readings - Measure the head. - Calculate actual discharge. - Calculate theoretical discharge. - Calculate the coefficient of discharge using formulae. | - Explain discharge and equation of continuity of a liquid flow. - Difference between Actual Discharge and Theoretical Discharge - Define Coefficient of discharge - Define Head - Explain Bernoulli’s theorem with its formula, limitations and practical application i.e., venture meter Practical Activity Calculate Coefficient of discharge using Venture meter | Theory-2 Hrs Practical-3 Hrs Total- 5 Hrs | Venture meter Water Tank | Class Room and workshop |
| - Calculate energy losses in pipe flow. | Trainee will be able to: - Identify the apparatus. - Open valve and pass water through pipe. - Check piezo metric readings - Draw hydraulic grade line. | - Define Energy Losses - Define Hydraulic Grade Line - Explain different types of flow in pipes i.e. steady and unsteady flow, uniform and non-uniform flow, turbulent flow. - Explain difference between flow through pipes and open channel flow Practical Activity Calculate the Energy losses in Pipe Flow | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Water Tank | Class Room and workshop |
| - Determine hydraulic Co-efficient for circular orifices | Trainee must be able to: - Identify the orifice and adjust with the apparatus - Set constant head in the tank - Measure horizontal and vertical coordinates - Find actual discharge by using a container and stop watch - Use formulae to calculate coefficient of velocity and discharge | - Define Hydraulic Coefficient - Define orifice - Explain types of orifices - Define co-efficient of discharge and velocity of approach. Practical Activity Calculate Hydraulic Coefficient for Circular Orifices | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Orifices Stop Watch | Class Room and workshop |
| - Calculate hydraulic and energy gradient for pipe lines. | Trainee must be able to - Prepare pipeline design charts using standard formulae. - Identify the limitations of formulae. - Identify variations in roughness coefficients. - Calculate the pressure in pipeline systems using the hydraulic gradient line. - Calculate the pipe discharge from reservoirs. | - Define Hydraulic Gradient - Define Energy gradient - Understanding of Chezy’s & Darcy’s formulae for calculation of losses in pipes. - Explain losses of head of water flowing through pipes Practical Activity Calculate Hydraulic and Energy gradient | Theory-2Hrs Practical-6Hrs Total- 8Hrs | Hydraulic Bench Stop Watch | Class Room and workshop |
| - Calculate flow in open channels. | Trainee must be able to - Identify methods used for measuring flows in open channels. - Identify instruments to be used - Use formulae for calculating flows in open channels. - Find the velocity by current meter and velocity rod - Find discharge. | - Define Chezy’s, Manning’s & Bazin’s formulae for discharge through open channel. Practical Activity Calculate flow in open channels. | Theory-2 Hrs Practical-6 Hrs Total- 8 Hrs | Stop Watch Hydraulic Bench | Class Room and workshop |
| - Calculate flows through Vee and Trapezoidal Notch. | Trainee must be able to - Identify the methods used for measuring flows in notches. - Calculate area of notch. - Measure head of water over the notch. - Use the formulae for calculating flow in notches. | - State discharge through rectangular & trapezoidal channel section and their formulae. Practical Activity Calculate the flows through Vee & Trapezoidal Notch | Theory-2 Hrs Practical-3 Hrs Total- 5 Hrs | Vee and Trapezoidal notch Stop Watch Hydraulic Bench | Class Room and workshop |
| - Calculate flows through weirs | Trainee must be able to - Identify the methods used for measuring flows in notches. - Calculate area of weirs - Measure head of water over the weirs - Use the formulae for calculating flow in weirs | - Define Notches and its types - Define weirs and its types - State the discharge formulae for weirs. Practical Activity Calculate flows through Weirs. | Theory-2 Hrs Practical-3 Hrs Total- 5 Hrs | Different Types of Weirs Stopwatch Hydraulic Bench | Class Room and workshop |

## Module 1021CS-0125.	Produce sketches of canals and head works

Objective: This module covers the knowledge and  skills required to  draw a skeleton map of Pakistan showing rivers, main and link canal, Head works and barrages, Draw the plan of a multipurpose irrigation project, Draw a plan showing general layout of river training and protection works, Draw cross section of dams, Draw a plan showing the general layout of head works of a perennial canal, Draw cross-sections of a weir floors, Draw the plan and section of a silt ejector.

Duration:  39 Hours			Theory: 21 Hours				Practice: 18 Hours                    Credit Hours: 3.9

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw a skeleton map of Pakistan showing rivers, main and link canal, Head works and barrages | Trainee will be able to: - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Draw map of Pakistan. - Show rivers on map. - Draw barrages, main canals, head works and link canals | - Define Irrigation - Explain necessity and scope of irrigation. - Describe various sources of irrigation water. - Describe the irrigation network in Pakistan. - Define various types of irrigation i.e. flow irrigation and lift irrigation. - State the important barrages of Pakistan. - Characteristics of Pakistan’s rivers. Practical Activity Draw a skeleton map of Pakistan showing rivers, main and link canal, Head works and barrages | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Draw the plan of a multipurpose irrigation project | Trainee will be able to: - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Draw plan of project. - Show all details on plans | - State Indus Basin Project. - Explain need and details of replacement works in Indus Basin Project. - Define IRSA and PIDA Practical Activity Draw the plan of a multipurpose irrigation projects | Theory-3 Hrs Practical-2 Hrs Total- 5 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Draw a plan showing river training and Protection works. | Trainee must be able to: - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Draw plan of training and Protection works. - Show all details on plans | - Explain with sketches the different types of protective and river training works. - Explain the Objects of River Training. Practical Activity Draw plan showing River Training and Protection works | Theory-3 Hrs Practical-2 Hrs Total- 5 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Draw cross section of dams | Trainee must be able to - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Draw x-section of dam. - Label all necessary details on plan. | - Define Dam - Classification of dams i.e. based on function and use, structural design, materials of construction, shape of X-section - Explain the factors to be considered during choice of dam for hydro project - Explain the construction details of earthen dams - Describe the causes of failure of earthen dams and their remedies - Explain methods to control seepage in earthen dams - Explain methods & necessity of raising of dams. Practical Activity Draw Cross section of Dams | Theory-3 Hrs Practical-2 Hrs Total- 5 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Draw a plan showing the general layout of head works of a perennial canal | Trainee must be able to - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Select suitable scale. - Draw layout of head works. - Label all necessary details on plan. | - DefineHead Works? - Define Perennial Canal. - Explain head regulator and its types, i.e. flume, meter flume. Practical Activity Draw plan showing the general Layout of Head Works of a Perennial Canal | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room And Workshop |
| - Draw cross-sections of a weir floors | Trainee must be able to - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Select suitable scale. - Draw weir’s section. - Label all necessary details. | - Define weir and barrages. - Distinguish between barrages and weirs and explain their purposes. - Describe with sketches the components/parts of a barrage. - State the factors governing the site selection of a barrage. - State the types of weirs. - Explain surface flow at weirs. Practical Activity Draw Cross section of Weir Floors | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room And Workshop |
| - Draw the plan and section of a silt ejector | Trainee must be able to - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Select suitable scale. - Draw plan and section. - Label all necessary details. | - Define Silt Ejector? - Describe the necessity and importance of regulation and silt controlling works. - Describe with sketches the silt ejector, silt vanes, silt excluder and skimming platform. Practical Activity Draw the Plan and Cross Section of a Silt Ejector. | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room And Workshop |

## Module 1021CS-0126.	Design Canals

Objective: This module covers the knowledge and  skills required to find design discharge of Karif and Rabi crops for given area, Draw the alignment of a canal, minor distributary and watercourses on contour map, Design a canal by Kennedy Critical velocity theory, Design a canal by Lacey’s Regime velocity and  Draw the typical X-sections of channels.

Duration: 37 Hours		          Theory: 22 Hours				Practice: 15 Hours                       Credit Hours: 3.7

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Find design discharge of Kharif and Rabi crops for given area | Trainee will be able to: - Identify area of crops (Kharif or Rabi) - Identify delta of each crop - Calculate duty - Estimate total water requirement | - Describe the term water requirement of crops. - Eexplain factors affecting water requirement - Define the terms crop period, base period, Kharif-Rabi ratio, core watering, cash crop, crop rotation, and delta. - Explain duty of water, factors affecting and its significance. - State relation between duty and delta. Practical Activity Find design discharge of Karif and Rabi crops for given area | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Draw the alignment of a canal, minor distributary and watercourses on contour map | Trainee will be able to: - Arrange drawing instruments - Draw a contour map with two-meter interval - Draw alignment of canal, distributary and water course on some scale | - Describe the types of canal. - Explain basic methods of water distribution to field i.e. Surface irrigation method, Furrow method, Contour method, Flooding method. - Explain Sprinkler irrigation method - Explain Sprinkler irrigation method | Theory-4 Hrs Practical-3 Hrs Total- 7 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils | Class Room and workshop |
| - Design a canal by Kennedy Critical velocity theory | Trainee must be able to: - Calculate area of cross-section and wetted perimeter - Assume depth and calculate critical velocity - Calculate C and R - Find velocity by using formulae - Calculate CVR - Find design parameters. | - State classification of canals - Explain with sketches, components of a canal section - Explain the factors governing alignment of canal. - Describe Kennedy’s critical velocity for design of canals - DefineWetted Perimeter? Practical Activity Design of Canal by Kennedy Critical Velocity Theory | Theory-6 Hrs Practical-3 Hrs Total- 9 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Design a canal by Lacey’s Regime velocity | Trainee must be able to - Identify formulae for design - Calculate f, V, A, Pw. Assume depth and calculate critical velocity - Calculate C and R - Find velocity by using formulae - Calculate CVR - Find design parameters. | - Define Critical Velocity - Define CVR? - Describe Lacy’s regime velocity for design of canals - Describe keep up and maintenance of canals. Practical Activity Design of canal by Lacey’s Regime velocity | Theory-6 Hrs Practical-3 Hrs Total- 9 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Draw the typical X-sections of channels | Trainee must be able to - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards. - Select suitable scale. - Draw sections of channel - Label all necessary details. | - Define Channel? - Explain types of Channel? Practical Activity Draw the Typical X-sections of Channel | Theory-3 Hrs Practical-3 Hrs Total- 6 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and Work Shop |

## Module 1021CS-0127.	Produce sketches of Hydraulic structures

Objective: This module covers the knowledge and  skills required to draw sketches of various canal falls. Draw the plane and L-section of a masonry flume. Prepare drawings of an Aqueduct crossing, prepare drawings of a pipe outlet and prepare drawings of an A.P.M Outlet.

Duration: 36 Hours				Theory: 21 Hours				Practice: 15 Hours                   Credit Hours: 3.6

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| - Draw sketches of various canal falls | Trainee will be able to: - Identify falls (Ogee, rapids, stepped, trapezoidal, sarda and glace) - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards - Draw sketches of falls | - Define canal falls. - Describe the basic requirements of canal fall? - Describe the types of canal falls. - Explain the factors governing the site selection of canal falls. Practical Activity Draw sketches of various canal falls | Theory-4 Hrs Practical-3 Hrs Total- 7 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils | Class Room and workshop |
| - Draw the plane and L-section of a masonry flume | Trainee will be able to: - Identify flume structures - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards - Select scale as per requirement - Make drawing of masonry flume | - Define Flume? - Define Head Regulators. - Explain the types of Head Regulators, i.e. flume, meter flume. Practical Activity Draw the plane and L-section of a masonry flume | Theory-4 Hrs Practical-3 Hrs Total-7 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils | Class Room and workshop |
| - Prepare drawings of an Aqueduct crossing | Trainee must be able to: - Identify cross drainage works (aqueduct, super passage, level crossing, tail escape) - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards - Select scale as per requirement - Make drawing of aqueduct | - Explain cross drainage works? - Describe with sketches the different types of cross drainage work. - Explain Aqueduct, super passage, level crossing, tail escape Practical Activity Prepare drawings of an Aqueduct crossing | Theory-5 Hrs Practical-3 Hrs Total- 8 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and workshop |
| - Prepare drawings of a pipe outlet | Trainee must be able to - Identify outlets - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards - Select scale as per requirement - Make drawing of pipe outlet | - Define outlet. - State essential requirements of an outlet. - Explain the characteristics of outlets. Practical Activity Prepare drawings of a pipe outlet | Theory-4 Hrs Practical-3 Hrs Total- 7 Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils | Class Room and workshop |
| - Prepare drawings of an A.P.M Outlet | Trainee must be able to - Identify outlets - Arrange drawing instruments - Select drawing sheet - Set sheet on drawing table as per standards - Select scale as per requirement - Make drawing of A.P.M. outlet | - Describe with sketches the types of outlets (modular, semi modular and non-modular). - Design of outlet, modular, semi-modular and non-modular Practical Activity Prepare drawings of an A.P.M Outlet | Theory-4 Hrs Practical-3 Hrs Total- Hrs | Drawing board Drawing sheet Pair of Set squares T-Square Eraser Drawing Box (Compasses, divider, protractor, rule) HB, H, 2H, 3H Pencils Sharpener/ Sand paper Scotch tape | Class Room and Work Shop |

# List of Tool & Equipment:

As mentioned in each module.