| Amir Sarwar Asst. Director TTP Ghulam Ahmed Joya Manager PVTC Khurram Ejaz Dy. Director PCRWR Dr. Adil Hussain Farm Manager Research Farm Koont. Ammar Siddique Water management Officer Irrigation department M Arham Mahfooz Data Engineer Vision Developer M. Farooq Subject Expert MNSUA Multan Dr. Mubeen Sarwar Assistant Professor University of Layyah Umair Ali Project engineer AI Mudasr LTD Abdullah Manzoor Site In-charge, DHA Coordinators Mr. Muhammad Ishaq Deputy Manager, NAVTAC, Islamabad DACUM Facilitator Muhammad Saeed Ahmed | Assessment Evidence Guide For Water Conservation Supervisor 0712 WC07 Maintain Water Supply System Formative Assessment |  |
| --- | --- | --- |
|  | Encl: 1. Assessments 2. Limited Response Questions 15th-19th December, 2025 Lahore |  |
|  | National Vocational & Technical Training Commission |  |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Conservation Supervisor Level-4 |
| --- | --- |
| Competency Units | 0712WC07 Maintain Water Supply System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): - Interpret water supply system’s layout - Assess water supply efficiency - Detect leakage in supply system - Maintain supply network - Optimize operation of pumps and valves - Monitor water quality in supply system - Disinfect water supply system Activity: Control water conveyance and distribution systems by detecting losses, applying corrective actions, and confirming efficient delivery to end-use points. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Measure water flow and pressure at key points to assess system efficiency - Detect leaks or faults in pipelines, joints, or fittings using appropriate tools - Perform minor repairs or maintenance tasks on pipelines, pumps, and valves as required - Collect and test water samples to monitor quality and detect potential contamination |

Section A2: Self-Assessment Checklist

| Assessment Task | - Interpret water supply system’s layout - Assess water supply efficiency - Detect leakage in supply system - Maintain supply network - Optimize operation of pumps and valves - Monitor water quality in supply system - Disinfect water supply system Activity: Control water conveyance and distribution systems by detecting losses, applying corrective actions, and confirming efficient delivery to end-use points. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the sources, pipelines, pumps, and valves within the water supply system. |  |  |
| - Interpret system layout diagrams and schematics to understand flow and connectivity. |  |  |
| - Measure water flow and pressure at key points to assess system efficiency. |  |  |
| - Detect leaks or faults in pipelines, joints, or fittings using appropriate tools. |  |  |
| - Report any leaks, damages, or operational issues to the supervisor promptly. |  |  |
| - Inspect the network regularly to ensure components are functioning correctly. |  |  |
| - Perform minor repairs or maintenance tasks on pipelines, pumps, and valves as required. |  |  |
| - Operate pumps and valves to maintain correct pressure and ensure efficient water distribution. |  |  |
| - Collect and test water samples to monitor quality and detect potential contamination. |  |  |
| - Disinfect the water supply system following standard safety procedures and verify effectiveness. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Conservation Supervisor Level-4 |
| --- | --- |
| Competency Units | 0712WC07 Maintain Water Supply System |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | - Interpret water supply system’s layout - Assess water supply efficiency - Detect leakage in supply system - Maintain supply network - Optimize operation of pumps and valves - Monitor water quality in supply system - Disinfect water supply system Activity: Control water conveyance and distribution systems by detecting losses, applying corrective actions, and confirming efficient delivery to end-use points. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified the sources, pipelines, pumps, and valves within the water supply system. |  |  |  |  |  |
|  | Interpreted system layout diagrams and schematics to understand flow and connectivity. |  |  |  |  |  |
|  | Measured water flow and pressure at key points to assess system efficiency. |  |  |  |  |  |
|  | Detected leaks or faults in pipelines, joints, or fittings using appropriate tools. |  |  |  |  |  |
|  | Reported any leaks, damages, or operational issues to the supervisor promptly. |  |  |  |  |  |
|  | Inspected the network regularly to ensure components are functioning correctly. |  |  |  |  |  |
|  | Performed minor repairs or maintenance tasks on pipelines, pumps, and valves as required. |  |  |  |  |  |
|  | Operated pumps and valves to maintain correct pressure and ensure efficient water distribution. |  |  |  |  |  |
|  | Collected and test water samples to monitor quality and detect potential contamination. |  |  |  |  |  |
|  | Disinfected the water supply system following standard safety procedures and verify effectiveness. |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Identify the sources, pipelines, pumps, and valves within the water supply system. |  |  |
| 2 | Interpret system layout diagrams and schematics to understand flow and connectivity. |  |  |
| 3 | Measure water flow and pressure at key points to assess system efficiency. |  |  |
| 4 | Detect leaks or faults in pipelines, joints, or fittings using appropriate tools. |  |  |
| 5 | Report any leaks, damages, or operational issues to the supervisor promptly. |  |  |
| 6 | Inspect the network regularly to ensure components are functioning correctly. |  |  |
| 7 | Perform minor repairs or maintenance tasks on pipelines, pumps, and valves as required. |  |  |
| 8 | Operate pumps and valves to maintain correct pressure and ensure efficient water distribution. |  |  |
| 9 | Collect and test water samples to monitor quality and detect potential contamination. |  |  |
| 1 10 | Disinfect the water supply system following standard safety procedures and verify effectiveness. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________