| Amir Sarwar Asst. Director TTP Ghulam Ahmed Joya Manager PVTC Khurram Ejaz Dy. Director PCRWR Dr. Adil Hussain Farm Manager Research Farm Koont. Ammar Siddique Water management Officer Irrigation department M Arham Mahfooz Data Engineer Vision Developer M. Farooq Subject Expert MNSUA Multan Dr. Mubeen Sarwar Assistant Professor University of Layyah Umair Ali Project engineer AI Mudasr LTD Abdullah Manzoor Site In-charge, DHA Coordinators Mr. Muhammad Ishaq Deputy Manager, NAVTAC, Islamabad DACUM Facilitator Muhammad Saeed Ahmed | Assessment Evidence Guide For Water Conservation Supervisor Level-4 Summative Assessment Activity-1 |  |
| --- | --- | --- |
|  | Encl: 1. Assessments 2. Limited Response Questions 15th-19th December, 2025 Lahore |  |
|  | National Vocational & Technical Training Commission |  |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Conservation Supervisor Level-4 |
| --- | --- |
| Competency Standards | - Perform Water Demand Assessment and Conservation Auditing - Carry out Water Resource Assessment and Monitoring - Perform In-situ soil moisture conservation techniques - Implement rainwater harvesting - Manage wastewater recycling and reuse systems - Perform On Farm Water Management - Maintain Water Supply System - Apply GIS and Remote Sensing in Water Resource Management - Prepare water usage Report - Manage community-based water conservation projects |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: A mixed-use agricultural–institutional site has recently implemented multiple water conservation measures to address water scarcity and inefficient water use. The site includes partially installed and mock-up water conservation systems. Following initial implementation, the site authority has reported performance issues, including uneven water flow, reduced storage efficiency, suspected seepage losses, and concerns about water quality. A site plan, system layout drawings, water use records, and inspection checklists are provided Activity: Execute integrated water conservation system operations by operating interconnected components, correcting operational inefficiencies, and validating system performance using field measurements. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Operate interconnected water system components at site. - Measure flow, pressure, or discharge at system control points. - Select corrective actions based on observed faults. - Adjust flow, pressure, or storage settings during operation. - Operate rainwater harvesting or reuse components within the system. - Operate mechanical and hydraulic components safely. |

Section A2: Self-Assessment Checklist

| Assessment Task | Scenario: A mixed-use agricultural–institutional site has recently implemented multiple water conservation measures to address water scarcity and inefficient water use. The site includes partially installed and mock-up water conservation systems. Following initial implementation, the site authority has reported performance issues, including uneven water flow, reduced storage efficiency, suspected seepage losses, and concerns about water quality. A site plan, system layout drawings, water use records, and inspection checklists are provided Activity: Execute integrated water conservation system operations by operating interconnected components, correcting operational inefficiencies, and validating system performance using field measurements. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Operate interconnected water system components at site. |  |  |
| - Measure flow, pressure, or discharge at system control points. |  |  |
| - Compare measured values with required operational ranges. |  |  |
| - Detect imbalance between water demand and supply. |  |  |
| - Identify operational risks through system inspection. |  |  |
| - Select corrective actions based on observed faults. |  |  |
| - Apply corrective adjustments within system limits. |  |  |
| - Adjust flow, pressure, or storage settings during operation. |  |  |
| - Operate rainwater harvesting or reuse components within the system. |  |  |
| - Collect water samples from operational points. |  |  |
| - Interpret test results to decide usability. |  |  |
| - Apply adjustments to reduce visible water losses. |  |  |
| - Operate mechanical and hydraulic components safely. |  |  |
| - Record operational readings and corrective actions. |  |  |
| - Confirm system performance improvement using before-and-after readings |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Conservation Supervisor Level-4 |
| --- | --- |
| Competency Standards | - Perform Water Demand Assessment and Conservation Auditing - Carry out Water Resource Assessment and Monitoring - Perform In-situ soil moisture conservation techniques - Implement rainwater harvesting - Manage wastewater recycling and reuse systems - Perform On Farm Water Management - Maintain Water Supply System - Apply GIS and Remote Sensing in Water Resource Management - Prepare water usage Report - Manage community-based water conservation projects |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Scenario: A mixed-use agricultural–institutional site has recently implemented multiple water conservation measures to address water scarcity and inefficient water use. The site includes partially installed and mock-up water conservation systems. Following initial implementation, the site authority has reported performance issues, including uneven water flow, reduced storage efficiency, suspected seepage losses, and concerns about water quality. A site plan, system layout drawings, water use records, and inspection checklists are provided Activity: Execute integrated water conservation system operations by operating interconnected components, correcting operational inefficiencies, and validating system performance using field measurements. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Operated interconnected water system components at site. |  |  |  |  |  |
|  | Measured flow, pressure, or discharge at system control points. |  |  |  |  |  |
|  | Compared measured values with required operational ranges. |  |  |  |  |  |
|  | Detected imbalance between water demand and supply. |  |  |  |  |  |
|  | Identified operational risks through system inspection. |  |  |  |  |  |
|  | Selected corrective actions based on observed faults. |  |  |  |  |  |
|  | Applied corrective adjustments within system limits. |  |  |  |  |  |
|  | Adjusted flow, pressure, or storage settings during operation. |  |  |  |  |  |
|  | Operated rainwater harvesting or reuse components within the system. |  |  |  |  |  |
|  | Collected water samples from operational points. |  |  |  |  |  |
|  | Interpreted test results to decide usability. |  |  |  |  |  |
|  | Applied adjustments to reduce visible water losses. |  |  |  |  |  |
|  | Operated mechanical and hydraulic components safely. |  |  |  |  |  |
|  | Recorded operational readings and corrective actions. |  |  |  |  |  |
|  | Confirmed system performance improvement using before-and-after readings |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | How do you establish operational control over interconnected water |  |  |
| 2 | How do you evaluate water-system performance using measured flow, pressure, or discharge data? |  |  |
| 3 | Where do mismatches occur between water demand, supply, and delivery, and how do you identify them? |  |  |
| 4 | Which operational risks most affect system efficiency or safety, and how do you prioritize them? |  |  |
| 5 | How do you apply corrective interventions while considering site-specific constraints? |  |  |
| 6 | How do you balance flow, pressure, and storage to stabilize overall system operation? |  |  |
| 7 | How do you integrate rainwater harvesting or reuse streams into an already active water-management system? |  |  |
| 8 | How do you test water quality to determine if it is suitable for the intended use? |  |  |
| 9 | What do the water-quality test results indicate, and how do they guide your corrective decisions? |  |  |
| 10 | How do you prevent water losses through timely operational adjustments or control actions? |  |  |
|  | How do you detect seepage losses on site? |  |  |
|  | What is the purpose of filtration in rainwater harvesting? |  |  |
| 1 11 | How do you maintain safe operation of mechanical, electrical, or hydraulic components during the process? |  |  |
| 1 12 | How do you adapt system-control decisions based on real-time field feedback or environmental variability? |  |  |
| 1 13 | What operational records or log formats should be completed, and how do you accurately document data and actions? |  |  |
| 1 14 | How do you verify that system performance has improved by comparing before-and-after indicators? |  |  |
| 1 15 | How do you justify overall system-performance outcomes using measured evidence or recorded data? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________

Material Required:

| Consumable | Non-Consumable |
| --- | --- |
| - Sand, gravel, or filtration media - Water for functional testing - Marker pens/chalk for layout - Data recording sheets / field notebook - Cleaning materials (rags, small broom) - Lime powder or chalk for marking - PPEs | - Mock-ups or partially installed water conservation structures - Site plan and system layout drawings - Measuring tape / ruler - Spirit level / line level - Wooden pegs / flags for marking - Hand tools (spade, rake, hoe) - Buckets / wheelbarrow - First aid kit - Water testing kits (for pH, turbidity, DO, etc.) - Calculator or mobile device for measurements |