Competency Standards

for

National Diploma Level 4

in

Water Conservation Supervisor

Water Conservation Supervisor

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Conservation Supervisor. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the industry experts from Water Sprint, TMA, GS4, Skylark Engineering and other private industries, Academic experts from different universities, experts of TEVTAs, government bodies work diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	1

1.1	Date of development:	1

1.2	Date of review & validation	1

1.3	Entry requirement (for trainees)	1

1.4	Trainer’s qualification requirements	1

1.5	Code of qualification (ISCED)	1

2.	Summary of Competencies	1

3.	Qualification Leveling and Packaging	2

4.	Description of Qualification Package	2

5.	Competency Standards	3

5.1 0031PSD01 Perform Basic Communication	3

5.2 1022OHS02 Apply Workplace Safety Procedures	4

5.3 0612CS01 Perform Basic Computer Operations	6

5.4 0712WCS01 Perform Water Demand Assessment and Conservation Auditing	8

5.5 0712WCS02 Carry out Water Resource Assessment and Monitoring	10

5.6 0712WCS03 Perform In-Situ Soil Moisture Conservation Techniques	13

5.7 0712WCS04 Implement Rainwater Harvesting	16

5.8 0712WCS05: Manage Wastewater Recycling & Reuse Systems	19

5.9 0712WCS06 Perform on Farm Water Management	22

5.10 0712WCS07: Maintain Water Supply System	26

5.11 0712WCS08: Apply GIS and Remote Sensing in Water Resource Management	29

5.12 0712WCS09: Prepare Water Usage Report	31

5.13 0712WCS10: Manage Community-Based Water Conservation Projects	33

5.14 0712WCS11: On-Job Training	36

6.	List of Consolidated Consumables, Tools, Machinery & Equipment	37

7.	Members of Qualifications Development Committee	39

# Introduction

The Water Conservation Supervisor (NVQF Level 4) qualification is designed to equip learners with the skills and knowledge needed to manage, implement, and monitor water conservation practices effectively across different sectors. The program emphasizes sustainable management of water resources through technical, analytical, and field-based competencies.

This course enables learners to assess water demand and resources, implement rainwater harvesting and wastewater recycling, and apply soil moisture conservation techniques. It also focuses on modern technologies such as GIS and Remote Sensing for data-driven decision-making in water resource management. Additionally, learners are trained to prepare water usage reports, maintain supply systems, and manage community-based water conservation projects.

The curriculum integrates theory with practical applications, ensuring that graduates can perform their duties efficiently while promoting sustainable use of water in agricultural, industrial, and domestic contexts.

| ## Date of development: | 13th October 2025 to 17th October 2025 |
| --- | --- |
| ## Date of review & validation | November, 2028 |
| ## Entry requirement (for trainees) | Secondary School Certificate / Plumber Cum Solar Water Heater Level 3 / Water treatment Assistant Level 3 or Equivalent with experience |
| ## Trainer’s qualification requirements | Bachelor’s degree in Civil / Agriculture engineering / DAE Civil or equivalent At least 1 years of relevant experience |
| ## Code of qualification (ISCED) | Code: 0712WCS00 Description: National Vocational Certificate Level 4 in Water Sector (Water Conservation Supervisor) |

# Summary of Competencies

| Code | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr. Hr. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0031PSD01 | Perform Basic Communication | L-2 | Generic | 4 | 12 | 16 | 1 |
| 1022OHS02 | ### Apply Workplace Safety Procedures | L-2 | Generic | 4 | 12 | 16 | 1 |
| 0612CS01 | Perform Basic Computer Operations | L-4 | Generic | 6 | 18 | 24 | 1.5 |
| 0712WCS01 | Perform Water Demand Assessment and Conservation Auditing | L-4 | Technical | 6 | 48 | 54 | 3 |
| 0712WCS02 | Carry out Water Resource Assessment and Monitoring | L-4 | Technical | 12 | 36 | 48 | 3 |
| 0712WCS03 | Perform In-situ soil moisture conservation techniques | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0712WCS04 | Implement rainwater harvesting | L-4 | Technical | 10 | 90 | 100 | 5.5 |
| 0712WCS05 | Manage wastewater recycling and reuse systems | L-4 | Technical | 6 | 48 | 54 | 3 |
| 0712WCS06 | Perform On Farm Water Management | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WCS07 | Maintain Water Supply System | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WCS08 | Apply GIS and Remote Sensing in Water Resource Management | L-4 | Technical | 7 | 66 | 73 | 4 |
| 0712WCS09 | Prepare water usage Report | L-4 | Technical | 4 | 12 | 16 | 1 |
| 0712WCS10 | Manage community-based water conservation projects | L-4 | Technical | 6 | 48 | 54 | 3 |
| 0712WCS11 | On Job Training | L-4 |  |  |  | 240 | 6 |
|  | Total |  |  | 94 | 552 | 886 | 43 |

# Qualification Leveling and Packaging

| S.No | Occupations / Short Course | Modules/CS Codes | CS Level | Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
|  | Water Conservation Surveyor | 0712WCS01 0712WCS08 | 4 | 7.0 | 3 Month |
|  | Water Usage Data Analyst | 0712WCS01 0712WCS09 0712WCS10 | 4 | 6.5 | 3 Month |
|  | On-Farm Water Management Assistant | 0712WCS06 0712WCS03 0712WCS04 | 4 | 10 | 6 Month |
|  | Recharge Well supervisor | 0612CS01 0712WCS01 0712WCS04 | 4 | 10 | 6 months |

- Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| N/A | N/A | Water Conservation Supervisor | N/A |

- Competency Standards

### 5.1 0031PSD01 Perform Basic Communication

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to assist in the development of communication competency at the workplace by providing information regarding different forms of workplace communication and their appropriate use.

| Competency Units | Performance Criteria |
| --- | --- |
| Follow workplace Instructions | - Execute workplace instructions. - Ask questions to extract relevant information. - Carry out instructions based on received information. - Provide feedback based on received written instructions. - Compose workplace notes and memos. |
| Develop effective workplace relationships | - Perform duties to improve team cooperation. - Consult team members when challenges arise. - Respect differences in personal values and beliefs. - Report observed workplace harassment to relevant authority. |
| Communicate and work with team members | - Identify individual roles and responsibilities within the team. - Recognize team members responsibilities with respect. - Identify the person for reporting inside and outside the team. - Participate in team meetings for discussions. - Communicate with team members through interaction tools and equipment. - Provide support to team members as needed during tasks. - Provide and respond to feedback |
| Respond effectively to customer requests | - Listen to customer requests effectively. - Speak to customers using polite words. - Deliver information to required person in written or verbal form. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Mode of communication (e.g. written and nonverbal)

- Communication technology relevant to the workplace

- Effective communication (body language)

- Questioning techniques

- Introduction to process of basic workplace documentation

- Introduction to the rules on how to write memos, notes, messages

- Introduction to workplace harassment

- Understand feedback Process

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate the ability to clarify workplace messages and apply verbal and written communication skills accurately.

- Respond to feedback from clients and colleagues.

- Provide support to team members in a group task

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook | 25 |
| 02 | Pen | 25 |
| 03 | Board Marker | 5 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | White Board | 1 |
| 02 | Projector or Multimedia | 1 |

### 5.2 1022OHS02 Apply Workplace Safety Procedures

Overview:

After this Competency Standard, the trainee will be able to apply health safety procedures at workplace according to the industry’s approved guidelines. The underpinning knowledge regarding Workplace safety practices will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare for safe work practices | - Identify safety requirements of job. - Identify emergency procedures and evacuation steps for workplace incidents. - Wear personal protective equipment - Follow safety instructions and signs during work. - Identify workplace hazards - Report hazards, incidents, and injuries using workplace procedures. |
| Perform Safe handling of tools and equipment | - Inspect tools and equipment for defects - Follow safety guidelines while using tools and equipment. - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor |
| Maintain fire extinguisher | - Identify fire extinguisher according to type of fire - Check expiry of fire extinguisher - Operate fire extinguisher - Refill expired fire extinguisher |
| Perform basic first aid | - Ensure availability of first aid box - Check first aid box for requisite emergency medicines - Check expiry date of medicines - Perform basic first aid for minor injuries |
| Respond to emergencies | - Assess risk and determine course of action - Follow emergency plan - Implement evacuation procedures as per SOP - Operate emergency equipment and supplies |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Safety rules and regulations of organization

- Safety signs and symbols

- Causes of workplace accidents relevant to the work environment

- Hierarchy of risk at workplace

- Techniques to handle emergency situations in different forms and contexts

- Workplace response to emergencies

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Use fire extinguisher and personal protective equipment correctly.

- Submit a report containing identified risk and hazard at workplace to concerned

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Fire Extinguisher | 1 |
| 02 | First Aid Kit | 1 |

### 5.3 0612CS01 Perform Basic Computer Operations

Overview:

This competency standard will provide skills and knowledge related to basic computer hardware, software, applications and troubleshooting. You will be able to demonstrate your skills in operating a computer system and software such as MS Office as well as installation and troubleshooting of operating system and software.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform basic configuration of computer system | - Connect computer components and peripherals as per requirement. - Install Drivers and applications according to the software specification. - Troubleshoot Applications to trace and fix faults if any |
| Perform software installation | - Download relevant software - Follow the Setup Wizard - Launch Software |
| Demonstrate computer and internet use cases | - Operate common software applications - Access and use internet-based tools - Apply online safety and ethical practices |
| Perform basic documentation and presentation skills using MS office | - Create and format documents using MS Word - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint |
| CU5. Manage electronic mail | - Set up and configure email account - Compose emails - Attach and Download files - Receive and respond to emails - Print email |
| CU6. Apply cyber security best practices | - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage - Control data sharing and adjust privacy settings on devices and platforms |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identifying computer components and peripherals.

- Installing drivers and application software.

- Troubleshooting basic software and hardware issues.

- Software types, installation steps, and licensing.

- Accessing internet-based tools and practicing safe browsing.

- Creating and formatting documents, spreadsheets, and presentations using MS Office.

- Setting up and managing email accounts, composing, sending, and organizing emails.

- Cybersecurity best practices including strong passwords, MFA, antivirus, and firewalls.

- Backing up important data securely and adjusting privacy settings appropriately.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Submit formatted document using MS Word and make a presentation on it

- Configure Email Account, compose an email with document attachment and send the email.

- Submit a downloaded video from the internet and play it offline

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | MS Office Suite | As per requirement |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Personal computer with basic accessories at least core i7 with 8th generation or above with minimum ram 8 GB and minimum 512 SSD | 25 |
| 02 | Internet Connection | 10 MB |
| 03 | Projector or Multimedia | 1 |

### 5.4 0712WCS01 Perform Water Demand Assessment and Conservation Auditing

Overview:

After this Competency Standard, the trainee will be able to evaluate water demand and analyze usage patterns across different sectors — agricultural, industrial, and domestic. Learners will learn to collect, organize, and interpret data related to water consumption to support efficient water resource management and planning.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform identification of sectoral water demand | - Identify major water-using sectors - Conduct field surveys to collect basic information on population, area, and water use activities in each sector. - Classify water demand based on seasonal and operational requirements. - Identify major crops, industries or domestic areas influencing water consumption. - Record collected data for analysis. - Identify key factors affecting sectoral water demand. - Ensure accuracy and reliability of information sources. - Follow occupational health and safety and data collection protocols. |
| Determine water sources & supply characteristics | - Identify different water sources - Collect data on source location, capacity, and yield. - Assess water quality through physical, biological and chemical indicators. - Check seasonal variations in water availability. - Evaluate existing storage and conveyance systems. - Record flow rate and discharge data using appropriate instruments. - Map water sources and distribution networks accurately. - Identify issues affecting source reliability or contamination. - Maintain source characterization and assessment records. |
| Analyze data on water use | - Organize collected data in tables, charts, or databases for analysis. - Calculate total and per capita water use in each sector. - Identify trends, patterns, or variations in water consumption. - Compare actual use against standard or recommended benchmarks. - Interpret results using statistical or graphical methods. - Identify excessive or inefficient water use areas. - Validate data accuracy before final analysis. - Prepare a summary of analytical findings. |
| Estimate sectoral water demand | - Select estimation methods for different sectors. - Use data on area, crop type, population, or production units. - Calculate current and projected water demand based on standard formulas. - Include seasonal and climatic variations in estimation. - Adjust estimates according to efficiency and loss factors. - Cross-check results with historical data or field observations. - Prepare demand estimation tables and charts. - Present results clearly for decision-making and planning. |
| Develop water conservation audit report | - Compile analysed data and estimated demand for all sectors. - Identify areas of potential water savings and efficiency improvements. - Prepare draft water conservation audit report in standard format. - Include charts, maps, and summaries to support findings. - Present key recommendations and action plans. - Submit report within required timeframe and format. - Maintain documentation and references for future audits. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Concepts of Water Demand and Supply

- Sectoral Water Use – characteristics of water consumption in agriculture, industry, and domestic sectors.

- Irrigation Practices and Water Requirements

- Industrial Water Usage requirements, recycling, and treatment methods

- Domestic Water Use Patterns

- Hydrological and Climatic Factors i.e. rainfall patterns, surface and groundwater dynamics, and seasonal variability

- Water Quality Parameters

- Water Data Collection Techniques

- Data Analysis and Interpretation

- Water Policy and Regulations (National and local policies governing water allocation and conservation)

- Sustainable Water Management Practices

- Environmental and Socio-economic Impacts

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrated ability to collect, record, and analyze water usage data across agricultural, industrial, and domestic sectors using appropriate tools, instruments, and data sources.

- Preparation and presentation of a comprehensive water demand assessment report showing sector-wise usage patterns, key findings, and practical recommendations for efficient water management.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 1 | Water Flow Meter | 2 |
| 2 | GPS Device / Handset | 2 |
| 3 | Water Sampling Kit | 2 |
| 4 | Measuring Cylinder | 5 |
| 5 | Data Logger | 2 |
| 6 | Soil Moisture Meter | 2 |
| 7 | Rain Gauge | 2 |
| 8 | Computers / Laptop | As per requirement |

### 5.5 0712WCS02 Carry out Water Resource Assessment and Monitoring

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to Plan Water Resources Assessment through competencies; Measure Discharge, Measure Water Levels, Measure Precipitation, Perform pH Test, Perform Turbidity Test, Determine Dissolve Oxygen, Perform Conductivity Test, Determine Nutrients and Assist In Preparing Water Resource Assessment Report.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure water discharge | - Select discharge-measuring equipment as per sector type - Inspect equipment for accuracy - Identify correct measurement point in water body - Measure hydraulic parameters depth, width & flow time - Calculate discharge using standard field formula - Repeat measurement to verify accuracy - Record observations in field sheet or digital log - Submit discharge results to in-charge with supporting evidence |
| Measure water levels | - Select water-level measuring device based on source type - Calibrate measuring tools for accuracy - Identify correct point for taking water-level reading - Measure water level using standard procedure - Record water depth/level values accurately in field log - Repeat measurement to verify consistency - Compare readings with previous data or reference marks - Report water-level results with supporting field notes |
| Conduct precipitation measurement | - Select suitable precipitation measuring instrument - Install rain gauge as per standard guidelines - Calibrate rain gauge for functionality - Observe precipitation collection at scheduled intervals - Measure rainfall quantity using calibrated scale or container markings - Record readings accurately in field register or digital log - Report precipitation data with date, time, & field notes |
| Perform Physical Testing of water sample | - Collect required sample as per standard procedure - Conduct visual & Odour inspection for obvious contamination signs - Rinse probe or test strips with distilled water before use - Measure pH as per standard procedure - Measure Total Dissolved Solids as per SOP - Compare results with standard water quality guidelines provided - Record readings, date, time, & sample ID in field log |
| Determine dissolve oxygen of water | - Calibrate DO meter - Rinse sampling bottle with source water before collection - Collect water sample without trapping air bubbles - Add reagents in correct sequence if using titration method - Insert DO probe properly if using electronic meter - Record temperature - Record DO values in mg/L in the field log - Compare readings with recommended water quality standards - Store equipment after testing |
| Perform hydraulic conductivity test | - Calibrate conductivity meter with standard solution - Rinse probe with distilled water before use - Collect freshwater sample in a clean container - Immerse probe in sample without touching container walls - Stir gently to remove trapped air for stable reading - Record temperature - Record conductivity value in µS/cm in logbook - Compare results with water quality guidelines for site - Store equipment after use |
| Determine nutrients status of water | - Calibrate testing kits / instruments - Collect representative water sample in a clean container - Use reagents or sensors according to test instructions - Incubate samples as required to allow color or sensor reaction - Observe color change or meter reading once reaction stabilizes - Record nutrient values with units - Compare measured values with recommended water quality benchmarks - Dispose of reagents safely - Document findings on prescribed format |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Water Flow Principles and Hydrological Terms

- Discharge Measurement Concepts and Methods

- Water Level Measurement in Irrigation Structures

- Rainfall and Precipitation Measurement Basics

- Water Sampling Procedures and Contamination Control

- pH in Water and Agricultural Systems

- Turbidity and Water Clarity Concepts

- Dissolved Oxygen and Water Quality Importance

- Conductivity and Salinity Effects in Irrigation Water

- Nutrient Presence and Eutrophication Basics

- Water Contaminants and Their Agricultural Effects

- Field Data Recording and Documentation Methods

- Elements of a Water Resource Assessment Report

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate accurate field measurement of water flow, discharge, water levels, precipitation, and groundwater using approved instruments and procedures.

- Collect water samples and conduct essential water quality tests including pH, turbidity, dissolved oxygen, conductivity, nutrients, and contaminants, following safety and sampling standards.

- Record, analyze, and compile field data into a structured water resource assessment report.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | pH strip | 25 |
| 02 | Field Notebook | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 1 | Flow meter / current meter | 2 |
| 2 | Measuring bucket | 2 |
| 3 | Stopwatch | 2 |
| 4 | Staff gauge / water level gauge | 2 |
| 5 | Rain gauge | 2 |
| 6 | Water level indicator / dip meter | 2 |
| 7 | GPS device | 2 |
| 8 | Sterile sampling bottles | 25 |
| 9 | pH meter | 1 |
| 10 | Turbidity meter or Secchi disk | 2 |
| 11 | DO meter or Winkler test kit | 2 |
| 12 | Conductivity meter | 2 |
| 13 | Nutrient test kit (NPK) | 2 |
| 14 | Contaminant test kit (chemical and microbial) | 2 |
| 15 | Thermometer | 5 |
| 16 | Personal protective gear (gloves, goggles, boots) | 25 |
| 17 | Sample storage ice box or cool box | 5 |
| 18 | Calculator | 5 |

### 5.6 0712WCS03 Perform In-Situ Soil Moisture Conservation Techniques

Overview:

After this Competency Standard, the trainee will be able to conserve rainwater within the soil through in-field measures that reduce runoff, minimize soil erosion, and increase water infiltration and storage. Trainees will learn practical methods such as contour marking, contour ploughing, strip cropping, bund formation, trench construction, terrace development, basin preparation, vegetative barrier establishment, deep tillage, and soil management practices that improve the soil’s water-holding capacity.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure field slope for water Conservation | - Select A-frame or line level for slope and contour measurement. - Clear field surface for accurate measurements. - Set starting and ending points of slope. - Measure horizontal and vertical distances between points. - Mark contour points using pegs or lime. - Connect points to form visible contour lines. - Maintain equal spacing between contour lines. - Keep contour layout ready for field operations. |
| Execute ploughing along contour lines | - Align plough along marked contour lines. - Adjust plough depth according to soil type. - Maintain straight and uniform furrows. - Prevent ploughing across slope direction. - Operate equipment safely and efficiently. - Form ridges and furrows to minimize runoff. - Avoid soil displacement downslope. - Inspect furrows and correct misalignment. |
| Develop contour trenches on sloping areas | - Mark trench layout along contour lines. - Excavate trenches of required depth and width. - Place excavated soil on lower side as bund. - Shape trench base for infiltration. - Compact bunds to prevent leakage. - Provide outlets for excess runoff. - Maintain uniform spacing between trenches. - Repair eroded sections promptly. - Remove silt after rainfall. |
| Conduct contour sowing to reduce runoff | - Prepare seedbed along contour layout. - Sow seeds along contour lines. - Maintain uniform row spacing and seed depth. - Compact seedbed lightly after sowing. - Establish strip cropping across slope for runoff control. - Select suitable crops for alternating strips. - Fill low spots to prevent flow concentration. - Inspect rows after rainfall and correct damage. - Maintain sowing equipment. |
| Prepare terraces to control soil erosion | - Select terrace type suitable for slope and soil. - Mark terrace alignment. - Level terrace bed for even gradient. - Construct terrace risers to uniform height. - Compact surface to avoid seepage. - Shape outlets for safe drainage. - Plant grasses to stabilize terrace edges. - Repair damaged or eroded parts after rainfall. - Maintain terrace layout for next season. |
| Construct Field Water Harvesting Structures | - Mark layout for bunds or basins along contour lines. - Excavate basins or shape bunds to required dimensions. - Place excavated soil to form stable embankments. - Compact bunds or basin walls to prevent seepage. - Construct spillways or inlets for controlled water flow. - Repair cracks, erosion, or weak sections after rainfall. - Remove accumulated silt from structures. - Maintain structure capacity for seasonal rainfall. |
| Establish vegetative barriers on contour lines | - Select suitable grasses or shrubs. - Prepare contour strips for planting. - Plant vegetation along contour lines. - Maintain spacing between plants. - Compact soil around plants. - Irrigate after planting. - Replace dead plants as needed. - Control weeds and protect from grazing. - Maintain vegetation density for runoff control |
| Manage soil to improve water holding capacity | - Maintain surface mulch to reduce evaporation. - Apply gypsum to improve soil physical condition. - Incorporate green manure crops into soil. - Retain crop residues for increasing organic matter. - Avoid excessive tillage to conserve moisture. - Operate deep tillage implements to break hardpan. - Use cover crops to improve infiltration. - Reduce soil compaction through controlled field traffic. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Basic soil–water–slope relationships affecting runoff and infiltration.

- Principles of contour measurement using A-frame or line level.

- Concepts of contour ploughing, contour sowing, and strip cropping.

- Structure and function of contour trenches, terraces, and basins.

- Role of vegetative barriers in reducing runoff and stabilizing soil.

- Soil properties influencing moisture retention (organic matter, structure, hardpan).

- Methods to improve soil water-holding capacity (mulching, residues, green manuring).

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Slope measurement record showing accurately marked contour points.

- Contour-aligned field operation (ploughing/sowing) with correct orientation.

- Constructed conservation structure (trench/terrace/basin) with proper dimensions.

- Established moisture-conserving practice (vegetative barrier or soil improvement activity).

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 1 | Line level, A-frame, and Abney level | 5 sets |
| 2 | Measuring tapes and ropes | 10 |
| 3 | Soil augers and samplers | 5 |
| 4 | Field markers and pegs | 50 |
| 5 | Spades, shovels, and hoes | 25 |
| 6 | Crowbars and pickaxes | 10 |
| 7 | Wheelbarrows for earth movement | 5 |
| 8 | Bund-making tools and bund formers | 5 |
| 9 | Hand levels for terrace alignment | 5 |
| 10 | Mini plough or animal-drawn plough (demo) | 1 |
| 11 | Measuring staff and leveling device | 5 sets |
| 12 | Seed drills or sowing tools | 5 |
| 13 | Deep tillage implements or subsoiler (demo) | 1 |
| 14 | Organic and inorganic soil amendment materials | As required |
| 15 | Vegetative barrier planting material (grasses, shrubs) | As required |
| 16 | Field moisture determination kits | 3 |
| 17 | Safety gear (gloves, boots, hats, glasses) | 25 sets |
| 18 | Measuring containers and stopwatches | 10 |
| 19 | Recording sheets and notebooks | 25 |
| 20 | Camera or mobile device for field documentation | 2 |

### 5.7 0712WCS04 Implement Rainwater Harvesting

Overview:

After this Competency Standard, the trainee will be able to plan, construct, and maintain rainwater harvesting systems. It includes interpreting design drawings, preparing materials and sites, and installing roof-top, surface, and aquifer recharge structures. Trainees learn to ensure proper system functionality, water quality, and safety standards. The course emphasizes environmental sustainability and efficient water resource management. Practical application and documentation are key components of competency assessment.

| Competency Units | Performance Criteria |
| --- | --- |
| Interpret design drawings & site plans | - Identify symbols, dimensions, and legends used in design drawings and site plans. - Interpret layout and specifications related to rainwater harvesting structures. - Verify site features and boundaries against drawings. - Determine slope, drainage direction, and catchment area from plans. - Identify positions of tanks, pipelines, and filters as per design. - Record field measurements and compare them with design data. - Maintain all drawings and related documents securely. |
| Prepare material for rainwater harvesting | - Identify materials required for the selected RWH structure - Check the quality and specifications of materials as per design requirements. - Transport materials safely to the site. - Prepare materials following standard procedures. - Mix concrete, sand, and aggregates in specified ratios when required. - Store reusable materials properly. - Dispose of damaged or unusable materials safely. - Maintain an updated material usage record. |
| Prepare site for rainwater harvesting | - Clear site from debris, vegetation, and obstacles. - Mark boundaries and layout of RWH structures as per plan. - Prepare site as per type of RWH system using suitable tools and equipment. - Compact soil and prepare base for tanks or structures. - Install safety barriers and signage around work areas. - Check that soil and foundation conditions meet design requirements. - Maintain site cleanliness during preparation. |
| Install roof-top rwh system | - Install gutters and downpipes according to roof design and slope. - Connect downpipes to first-flush devices or filters. - Install storage tanks as per specifications. - Fix joints & connections to prevent leakage. - Install mesh or screen filters at inlets and outlets. - Maintain required position of overflow system & outlet pipes. - Test water flow from roof to tank to ensure smooth operation. - Seal and protect exposed joints from damage. - Follow safety procedures when working at heights. - Maintain installation records |
| Construct surface runoff collection system | - Identify suitable site and layout for surface runoff collection. - Excavate channels or pits as per design dimensions. - Prepare base and sidewalls with compacted soil or concrete lining. - Construct silt traps or filter chambers as designed and Install inlet screens to prevent debris entry. - Lay and connect pipelines or conveyance structures correctly. - Backfill and compact soil after installation. - Ensure smooth gradient for efficient water movement. - Inspect construction for leaks or blockages. - Record all construction activities and material usage |
| Construct surface storage system | - Identify type and capacity of storage system as per design. - Excavate or form storage pits, tanks, or ponds at marked locations. - Prepare foundation and base using concrete or lining material. - Install inlets, outlets, and overflow systems properly. - Apply waterproofing or lining to prevent seepage. - Backfill and compact around storage structure. - Test water storage capacity and check for leaks. - Maintain construction records and quality documentation. |
| Install managed aquifer recharge structures | - Identify suitable recharge locations through field assessment. - Excavate recharge wells, shafts, or trenches as per design. - Install casing pipes and gravel packing appropriately. - Place filter media in correct layers and proportions. - Connect surface runoff or roof-top systems to recharge inlet. - Test recharge rate and flow for efficiency. - Seal openings to prevent contamination or debris entry. - Maintain records of depth, diameter, and materials used. |
| Ensure water quality and system testing | - Collect water samples from storage and recharge points. - Conduct basic physical tests - Test pH, hardness, and microbial contamination as per standards. - Inspect for sediment buildup - Clean collection and conveyance systems periodically. - Record test results and compare with quality benchmarks. - Replace filter media as required. - Maintain hygiene and safety during sampling and testing. - Prepare water quality report |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Interpretation of Design Drawings and Site Plans

- Material Selection and Preparation

- Site Preparation and Construction Techniques

- Installation of Roof-Top and Surface Runoff Systems

- Managed Aquifer Recharge (MAR) Systems

- Hydrology and Water Balance Concepts

- Water Quality Standards and Testing Procedures

- System Maintenance and Troubleshooting.

- Health, Safety, and Environmental Practices

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrated ability to interpret RWH design drawings and prepare the site and materials according to specifications and safety standards.

- Evidence of Successful installation and construction of functional rainwater harvesting structures

- Completion and documentation of system testing and quality assessment

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Measuring tapes and leveling instruments | 2 sets |
| 02 | Shovels, spades, and trowels | 2 sets |
| 03 | Pickaxes and hoes | 2 sets |
| 04 | Drilling and excavation tools | 1 set |
| 05 | PVC and GI pipes with fittings | As required |
| 06 | Pipe wrenches and cutters | 2 sets |
| 07 | Water tanks and storage containers | As required |
| 08 | Gutters, downpipes, and filters | As required |
| 09 | Concrete mixers and wheelbarrows | As required |
| 10 | Flow meters and pressure gauges | 2 |
| 11 | Water quality testing kits | 2 |
| 12 | Pumps and hose pipes | As required |
| 13 | Safety helmets, gloves, boots, and vests (PPE) | 25 sets |
| 14 | Construction marking tools | As required |

### 5.8 0712WCS05: Manage Wastewater Recycling & Reuse Systems

Overview:

This competency standard focuses on the knowledge and practical skills required to inspect, operate, and maintain wastewater treatment and reuse systems effectively. Learners develop the ability to monitor wastewater quality, perform treatment operations, and ensure environmentally safe disposal or recycling of treated water.

| Competency Units | Performance Criteria |
| --- | --- |
| Inspect collected wastewater | - Identify wastewater collection points and conveyance systems. - Collect samples of wastewater using standard procedures. - Observe physical characteristic - Measure temperature and pH - Record flow rates and volume of collected wastewater. - Inspect collection pipelines, manholes, and screens for blockages or leaks. - Identify sources of industrial, domestic, or agricultural wastewater. - Report any loopholes, contamination, or overflow conditions. - Maintain inspection logs with accurate observations. |
| Monitor wastewater treatment | - Identify different stages of the wastewater treatment process. - Observe and record operational parameters - Check performance of physical, chemical, and biological treatment units. - Collect influent and effluent samples for laboratory analysis. - Compare test results with NEQS standards - Identify deviations or inefficiencies in treatment performance. - Adjust operating conditions as directed to maintain process stability. - Record monitoring data in treatment logbooks or digital systems. - Report abnormal findings to the supervisor for corrective action. |
| Perform inspection of wastewater reuse system | - Identify components of the wastewater reuse system - Verify chlorine residual (or UV intensity) at delivery points for safe reuse - Inspect pipelines, valves, and storage tanks for leaks or corrosion. - Check disinfection and filtration units for proper operation. - Monitor treated water quality for compliance with reuse standards. - Inspect irrigation or industrial reuse outlets for safe delivery. - Record flow rates and usage of recycled water. - Identify signs of contamination or equipment malfunction. - Maintain detailed inspection and maintenance records. |
| Operate wastewater recycling & treatment equipment | - Operate pumps, aerators, and treatment units as per SOPs. - Adjust valves and flow controls to maintain required operational parameters. - Monitor pressure, flow rate, and temperature readings on control panels. - Operate sludge dewatering, filtration, and disinfection equipment as per standard - Assess sludge moisture content after dewatering - Apply chemical dosing according to specified concentrations. - Handle treatment chemicals in compliance with safety standards. - Maintain moving equipment as per maintenance schedule. - Report any abnormal noise, vibration, or performance issues. |
| Perform disposal of waste material | - Identify different types of waste generated from treatment processes - Segregate hazardous and non-hazardous waste as per standard - Dispose of waste material to designated sites. - Maintain records of waste quantity and disposal location. - Clean equipment & containers after waste handling. - Use personal protective equipment (PPE) during disposal activities. - Prevent contamination of soil, water, or air during disposal. - Report any spillage, leakage, or non-compliance incidents immediately. |
| Perform troubleshoot in wastewater system | - Identify symptoms of malfunction in wastewater collection - Diagnose probable causes using visual inspection and operational data. - Check pumps, motors, and valves for mechanical or electrical faults. - Examine pipelines and tanks for leaks or blockages. - Test sensors, meters, and control systems for accuracy. - Apply corrective measures to restore normal function. - Replace defective parts safely using proper tools. - Document faults, repairs, and corrective actions taken |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Fundamentals of Wastewater Management

- Physical, Chemical, and Biological Parameters

- Wastewater Treatment Processes

- Operation of Treatment and Recycling Equipment

- Reuse and Recycling Principles

- Sludge Handling and Waste Disposal Methods

- Inspection and Monitoring Techniques

- Troubleshooting and Maintenance Procedures

- Health, Safety, and Environmental Regulations

- Record Keeping and Reporting

- National Environmental Quality Standards (NEQS) for effluent

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrated ability to inspect, monitor, and operate wastewater treatment and reuse systems using appropriate tools, techniques, and safety procedures.

- Completion of wastewater management task or project

- Preparation and submission of an inspection or troubleshooting report

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | First aid kit | 02 |
| 02 | Sampling bottles and containers | As required |
| 03 | Sieves and filters | As required |
| 04 | Chemical reagents and test strips | As required |
| 05 | Sedimentation tanks / clarifiers | As required |
| 06 | Screens and grates | As required |
| 07 | Sludge drying beds / dewatering units | As required |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Water quality testing kits | 2 |
| 02 | Flow meters | 2 |
| 03 | Aerators and pumps | 2 |
| 04 | Measuring cylinders and glassware | 5 |
| 05 | Personal protective equipment (PPE) | 25 |
| 06 | Maintenance tools (wrenches, pliers, screwdrivers) | 2 kits |
| 07 | Inspection tools (flashlight, camera, checklist) | 2 kits |

### 5.9 0712WCS06 Perform on Farm Water Management

Overview:

After this Competency Standard, the trainee will be able to enhance water-use efficiency on agricultural farm. It equips trainees with the ability to assess soil and crop conditions, schedule irrigation effectively, adopt water-saving practices such as zero tillage, mulching, and fallow management, and implement pressurized irrigation systems for precision water delivery. Emphasis is placed on managing irrigation systems, maintaining field channels, performing intercultural operations for moisture conservation, and improving overall on-farm water productivity while ensuring sustainable use of water resources.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare irrigation schedule | - Collect soil samples from top and subsoil layers - Measure soil moisture - Collect relevant field data including soil type, field capacity, permanent wilting point, and infiltration rate - Identify water requirements of different crops at various growth stages - Determine irrigation interval by calculating soil moisture depletion and crop water demand - Calculate irrigation depth required for each application - Prepare calendar indicating timing and quantity of irrigation for whole cropping season - Adjust irrigation schedule based on rainfall, temperature, and evapotranspiration data - Document prepared irrigation schedule in prescribed format |
| Practice zero tillage to reduce evaporation | - Keep crop residues on the soil surface for moisture retention. - Calibrate zero-till drill before sowing. - Place seed and fertilizer simultaneously using zero-till drill. - Operate drill along rows with uniform spacing and depth. - Apply pre- or post-emergence herbicide to control weeds. - Check seed germination and residue cover after sowing. - Maintain drill components after operation. |
| Manage fallow land to store soil moisture | - Apply shallow tillage to loosen soil surface. - Maintain mulch layer to minimize evaporation losses. - Construct small ridges or bunds to retain rainfall. - Observe soil moisture status periodically. - Prepare fallow field for next season’s sowing. |
| Conduct intercultural operations for moisture conservation | - Loosen topsoil by hoeing after each irrigation or rainfall. - Remove weeds manually or with intercultural implements. - Break soil crust to improve infiltration. - Form light soil mulch over the field surface. - Carry out operations between crop rows without damaging plants. - Dispose of removed weeds away from the field. - Repeat intercultural operation as per crop stage. |
| Execute laser land leveling | - Inspect field for uneven patches before levelling. - Mark high and low spots using levelling tools. - Identify components of a laser land leveling system - Operate tractor blade or laser leveller to move soil evenly. - Compact levelled area to stabilize surface. - Create uniform slope for proper water flow. - Re-level field after heavy rainfall or irrigation. - Maintain levelling tools and machinery after use. |
| Manage On-Farm Irrigation Systems | - Identify crop water requirements based on crop type, growth stage, and climatic conditions. - Select irrigation method according to soil type and crop needs. - Prepare irrigation layout ensuring proper alignment, levelling, and distribution network. - Inspect irrigation system - Measure water flow using flow meters - Apply irrigation water according to calculated schedule - Monitor soil moisture levels before and after irrigation - Adjust irrigation timing and frequency based on weather forecasts - Record irrigation data, including time, duration, water applied, and system performance, for future reference. |
| Operate pressurized irrigation system | - Select HEI system according to crop, soil, and field conditions - Inspect irrigation system for leaks or blockages before operation - Connect system components according to layout design - Calibrate system pressure and flow rate to recommended standards - Start irrigation system following standard operational procedure - Monitor uniformity of water distribution during operation - Perform fertigation as per SOP - Record irrigation timing, flow rate, and water applied per unit area - Clean tools and spare parts properly after use |
| Maintain on-farm water channels | - Inspect channels for cracks, leaks, and blockages. - Remove silt, stones, and weeds from channels. - Shape channel bed and sides for smooth flow. - Repair damaged or eroded sections immediately. - Construct small checks or outlets at intervals. - Apply grass lining on channel sides to reduce erosion. - Clean channels after each irrigation. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Soil–water–plant relationship.

- Methods of irrigation scheduling.

- Practices for soil moisture conservation.

- Techniques for efficient irrigation and channel maintenance.

- Role of tillage, mulching, and weeding in water saving.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Field records and logs showing soil assessment, irrigation scheduling, and crop water management.

- Evidence of zero-tillage, intercultural operations, mulch application, and weed control (photographs or field notes).

- Irrigation system operation and maintenance records, including flow measurements, pressure calibration, and fertigation logs.

- Water channel maintenance records, including inspections, repairs, and preventive measures.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Mulching materials (plastic sheets, straw, residue) | As required |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Soil augers and samplers | 5 sets |
| 02 | Moisture meters / tensiometers | 5 |
| 03 | Field spades and shovels | 25 |
| 04 | Leveling instruments (staff, leveling device) | 5 sets |
| 05 | Measuring tapes and scales | 10 |
| 06 | Mini plough or zero till drill (demo) | 1 |
| 07 | Hoe, khurpa, and intercultural implements | 25 |
| 08 | Weed control equipment (manual/mechanical) | 10 |
| 09 | Sprinkler irrigation setup (demo) | 1 |
| 10 | Furrow irrigation tools (spade, bund maker) | 10 |
| 11 | Channel maintenance tools (buckets, brushes) | 10 sets |
| 12 | Measuring containers and stopwatches | 5 |
| 13 | Protective gear (gloves, boots, safety glasses) | 25 sets |
| 14 | Field record sheets and notebooks | 25 |

### 5.10 0712WCS07: Maintain Water Supply System

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to Interpret Water supply System’s layout, Assess Water Supply Efficiency, detect leakage in Supply system, Maintain Supply Network, Optimize Operation of Pumps and Valves, Monitor Water Quality in Supply System, Disinfect Water Supply System, manage water-saving devices and Perform maintenance of water conservation equipment.

| Competency Units | Performance Criteria |
| --- | --- |
| Interpret water supply system’s layout | - Locate valves, meters, and tanks on layout plans. - Mark flow direction and supply zones on maps. - Identify symbols, legends, and pipe sizes on drawings. - Trace routes of pipelines from source to delivery points. - Check alignment, elevation, and connection details in the field. - Record discrepancies between drawings and actual layout. - Maintain updated copies of layout drawings |
| Assess water supply efficiency | - Collect flow pressure data from network points. - Compare discharge with design values. - Record meter readings and consumption data. - Identify low-pressure zones. - Inspect pumps and valves for performance issues. - Calculate water loss between inlet and outlet points. - Compare readings before and after maintenance work. - Prepare an efficiency report. |
| Detect leakage in supply system | - Inspect pipelines, joints, and fittings for visible leaks. - Use listening devices to detect underground leaks. - Use pressure gauges for hidden leaks. - Monitor flow changes while isolating network sections. - Record meter readings during low-demand hours. - Mark leak points for excavation or repair. - Report confirmed leak points to supervisors. |
| Maintain supply network | - Inspect pipelines and fittings for damage or blockage. - Isolate faulty sections safely before repair. - Replace damaged pipes, joints, and gaskets. - Flush repaired lines to remove air and dirt. - Reconnect sections and restore water flow. - Test valves and pressure after maintenance. - Clean valve chambers and manholes. - Lubricate operating parts for smooth function. - Record maintenance details in the logbook. |
| Optimize operation of pumps and valves | - Check pump and valve condition before operation. - Operate pumps as per schedule. - Adjust valve positions to balance pressure. - Monitor discharge rate and power readings. - Record current, voltage, and operating time. - Detect unusual vibration or overheating. - Clean strainers and suction filters regularly. - Lubricate bearings and moving parts. - Report faults or abnormal sounds immediately. |
| Monitor water quality in supply system | - Collect samples from source, tanks, and outlets. - Follow correct sampling steps. - Test pH, turbidity, and chlorine using kits. - Observe colour, smell and clarity of samples. - Record readings - Compare results with standard water quality limits. - Calibrate test instruments. - Report abnormal findings for corrective action. |
| Disinfect water supply system | - Clean tanks and pipelines before applying disinfectant. - Prepare disinfectant solution at correct strength. - Circulate treated water through supply lines. - Maintain contact time for complete disinfection. - Test chlorine residual after treatment. - Collect samples for confirmation tests. - Dispose of residual disinfectant safely. - Record disinfection details and results. |
| Manage water-saving devices | - Select suitable water-saving fixtures. - Inspect existing installations for wastage. - Install aerators, flow regulators, and dual-flush systems. - Check new installations for leakage and performance. - Replace damaged or inefficient devices. - Measure water use before and after installation. - Demonstrate correct use and maintenance to users. - Prepare reports showing achieved water savings. |
| CU9. Perform maintenance of water conservation equipment. | - Inspect equipment for wear or malfunction. - Clean filters, screens, and flow regulators - Tighten loose fittings or replace worn-out seals. - Lubricate moving parts to reduce friction - Calibrate sensors, meters, and controllers as per manufacturer guidelines. - Test system components after maintenance. - Replace faulty using correct tools and techniques. - Record maintenance activities in log sheets. - Report major faults or repeated failures to supervisors for further action |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Basic structure of a water supply system

- Common pipes, valves, pumps, and fittings

- Reading water system layout plans

- Flow and pressure concepts

- Basic leak detection methods

- Routine maintenance and safe isolation

- Water quality basics

- Safe cleaning and disinfection practices

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Evidence of interpret and apply water supply system layouts during inspection, maintenance, and leak detection tasks.

- Completed maintenance and disinfection activities on pumps, valves, pipelines, and conservation equipment following safety and quality standards.

- Recorded and reported system performance data, water quality results, and corrective actions using approved procedures and documentation formats.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Pipe wrench | 5 |
| 02 | Adjustable spanner | 5 |
| 03 | Water quality test kit | 2 |
| 04 | Chlorine tester | 2 |
| 05 | Measuring tape | 5 |
| 06 | Leak detection rod | 2 |
| 07 | Ground microphone | 2 |
| 08 | Pressure gauge | 2 |
| 09 | Flow meter | 2 |
| 10 | Screwdriver set | 2 |
| 11 | Pipe cutter | 2 |
| 12 | Threading machine | 2 |
| 13 | Portable pump | 2 |
| 14 | Multimeter | 2 |
| 15 | GPS device | 2 |
| 16 | Hand drill | 2 |
| 17 | Calibration kit | 2 |
| 18 | Valve key | 2 |
| 19 | Pipe wrench | 5 |

### 5.11 0712WCS08: Apply GIS and Remote Sensing in Water Resource Management

Overview:

This competency standard covers the skills and knowledge required to use GIS, GPS, and remote sensing tools for collecting, analyzing, and interpreting geospatial data in water resource management. It enables trainees to assess drought, flood, and land-use changes through mapping and satellite imagery.

| Competency Units | Performance Criteria |
| --- | --- |
| Use GIS software for water resources management | - Collect required spatial and non-spatial data from reliable sources according to project needs. - Import geospatial datasets into GIS software following standard data formats & protocols. - Organize layers, attributes, and symbology within GIS workspace as per task requirements. - Perform georeferencing & projection settings to ensure accurate alignment of spatial data. - Apply spatial analysis tools to assess water-related parameters. - Generate thematic maps illustrating water distribution, water bodies, drainage networks, or risk zones. - Interpret GIS outputs to support decision-making for water resource planning & management. - Prepare final maps according to specified formats and quality standards. |
| Collect geospatial data | - Identify required geospatial data as per project needs. - Select suitable tools for field data collection. - Capture coordinates, elevation, and attributes accurately. - Check positional accuracy against reference points. - Record supporting photos and field observations. - Organize and store collected data systematically. - Transfer data to GIS or databases properly. - Review and correct errors or missing information. |
| Collect data through GPS handset | - Identify required GPS data based on task requirements. - Configure GPS handset as per standard - Collect coordinates, elevation, and waypoints as per SOP - Verify GPS readings using reference points or repeated measures. - Record field notes and attributes linked to GPS points. - Organize collected GPS data securely. - Transfer GPS data to GIS or computer systems properly. - Check data for errors or missing points and update as needed. |
| Analyze geospatial data | - Import geospatial datasets into GIS software. - Overlay spatial layers to identify water distribution & land-use patterns. - Perform spatial analysis to determine drainage density - Conduct proximity & buffer analysis for resource planning. - Use attribute queries to extract specific water-related data. - Generate thematic maps - Prepare maps & analysis reports for presentation. |
| Process satellite imagery for water resource analysis | - Identify required satellite imagery based on analysis needs. - Download or import imagery in suitable formats. - Prepare imagery for processing. - Apply image corrections to improve clarity and accuracy. - Use image processing tools to extract water-related features. - Generate thematic layers from processed imagery. - Interpret processed outputs for water resource assessment. - Save final imagery and layers in required formats. |
| Interpret imagery for drought, flood & land-use change assessment | - Identify visual indicators of drought, flood, & land-use changes on imagery. - Compare temporal images to assess environmental variations. - Map drought-affected & flood-prone areas accurately. - Analyze vegetation indices (NDVI) to assess moisture & crop condition. - Interpret water spread & inundation patterns from satellite data. - Quantify changes in land cover or water body extent. - Validate interpretations with field data or hydrological records. - Prepare maps & reports illustrating key findings. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Fundamentals of GIS and Remote Sensing

- Geospatial Data Types and Sources

- Principles of GPS Technology

- Techniques for Data Collection and Validation

- Use of GIS Software (ArcGIS, QGIS, ERDAS, etc.)

- Satellite Imagery Processing

- Hydrological and Topographical Analysis

- Interpretation of Spatial and Temporal Data

- Data Management and Storage Practices

- Application of Geospatial Analysis for Decision-Making

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrated ability to collect, process, and analyze geospatial and GPS-based data for water resource management using appropriate software and tools.

- Preparation of a GIS-based map or model showing spatial analysis of water-related parameters such as resource distribution, flood zones, or land-use changes.

- Submission of a comprehensive geospatial analysis report interpreting satellite imagery and data outputs with conclusions and recommendations for sustainable water management.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | GIS Software | As required |
| 02 | Remote Sensing Software | As required |
| 03 | Satellite Imagery and Aerial Photograph | As required |
| 04 | Digital Elevation Models | As required |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | GPS Handsets / GNSS Receivers | 2 |
| 02 | Projector or Multimedia | 1 |
| 03 | Data Loggers and Sensors | 2 |
| 04 | Computer | 5 |
| 05 | Drone | 2 |
| 06 | Digital Cameras | 2 |

### 5.12 0712WCS09: Prepare Water Usage Report

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to Prepare community water needs and resources report, Plan community- based water conservation activities, Mobilize Community Participation, Implement Water Conservation Practices, monitor project activities, develop sustainable water conservation plans and promote behavioral and institutional change.

| Competency Units | Performance Criteria |
| --- | --- |
| Collect data on water consumption | - Identify key water consumption sources in agriculture, industry, and domestic sectors. - Select appropriate data collection tools and methods for measuring water use. - Record flow rates, volumes, and usage durations accurately using flow meters or other instruments. - Gather secondary data from existing reports, records, or institutional databases. - Maintain measuring instruments before data collection. - Document environmental conditions during data collection. |
| Analyze water usage patterns | - Organize collected data for analysis. - Use statistical or digital tools to identify consumption trends and variations. - Compare water use data against benchmarks or efficiency standards. - Evaluate factors influencing water demand - Detect irregularities or high-consumption points - Report findings |
| CU3. Conduct water auditing & loss assessment | - Plan comprehensive water audit for selected site or sector. - Identify input and output points in water system for assessment. - Measure total water inflow, usage, and discharge to determine efficiency. - Detect water losses through leakage checks, flow monitoring, and inspection. - Calculate water balance and identify areas of excessive or non-revenue losses. - Document findings with photographs, data sheets, and audit records. - Recommend corrective actions to reduce losses and improve system efficiency. |
| CU4. Prepare draft water usage report | - Compile collected and analysed data into a clear, structured report format. - Include visual representations such as graphs, tables, and maps for clarity. - Provide recommendations for improving water management. - Present the draft report to organizational standards. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Principles of water demand, consumption, and supply systems.

- Sectoral water use characteristics in agriculture, industry, and domestic settings.

- Techniques for data collection, organization, and validation.

- Basics of statistical and digital data analysis for water usage evaluation.

- Water audit procedures and loss assessment techniques.

- Understanding of water efficiency standards and performance benchmarks.

- Report writing and data presentation methods including charts, graphs, and GIS mapping.

- Environmental, social, and economic impacts of inefficient water use.

- National and local water policies, conservation guidelines, and safety practices.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrated ability to collect, analyze, and interpret sectoral water consumption data using appropriate tools, techniques, and documentation standards.

- Completion of a water audit and loss assessment report showing data accuracy, findings, and proposed improvement measures.

- Preparation and presentation of a comprehensive water usage report that includes analytical results, visual data representation, and practical recommendations for sustainable water management.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Personal protective gear (gloves, goggles, boots) | 25 |
| 02 | Laptop | 2 |

### 5.13 0712WCS10: Manage Community-Based Water Conservation Projects

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to Prepare community water needs and resources report, Plan community- based water conservation activities, Mobilize Community Participation, Implement Water Conservation Practices, monitor project activities, develop sustainable water conservation plans and promote behavioral and institutional change.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare community water needs and resources report | - Collect data on community water sources usage patterns. - Identify existing water supply systems on their condition. - Assess seasonal variations in water availability. - Evaluate community water demand for domestic with agricultural use. - Record water quality data using standard test kits. - Compile findings into a comprehensive report on needs with available resources. - Present report findings to stakeholders for validation. - Maintain proper documentation with records of survey results. |
| Plan community- based water conservation activities | - Identify possible conservation activities based on available resources. - Set realistic project objectives with expected outcomes. - Prepare a work plan covering timeline with responsibilities. - Select appropriate water conservation techniques for local conditions. - Develop a monitoring plan for project implementation. - Prepare and submit the final conservation activity plan. |
| CU3. Mobilize community participation | - Facilitate meetings to discuss project goals and roles. - Assign responsibilities among community participants. - Build partnerships with local institutions and NGOs. - Resolve conflicts or concerns raised by community members. - Recognize support active participants. - Maintain record of attendance with participation. - Evaluate community response to adjust engagement method |
| CU4. Implement water conservation practices | - Apply approved water-saving techniques in target areas. - Supervise construction or installation of water-saving structures. - Verify correct application of soil water management measures. - Monitor ongoing activities to ensure compliance with plans. - Document work progress with photos and reports. - Review implementation results with community representatives. |
| CU5. Monitor project activities | - Develop a checklist to track project progress. - Collect performance data during field visits. - Compare actual progress with planned activities. - Identify gaps or deviations in implementation. - Recommend corrective actions for improvement. - Maintain transparent monitoring records. - Share monitoring results with stakeholders. - Verify the effective use of project resources. - Submit periodic monitoring reports. |
| CU6. Develop sustainable water conservation plans | - Assess current practices for long-term sustainability. - Identify potential risks affecting water resources. - Select plans for harvesting with reusing rainwater. - Establish targets for water use efficiency. - Prepare maintenance plans for water systems. - Estimate long-term financial environmental impacts. - Review plan feasibility with local authorities. - Present the sustainability plan. |
| CU7. Promote behavioral and institutional change | - Conduct campaigns to raise awareness on water conservation ethics. - Develop educational materials for awareness programs. - Collaborate with media to spread conservation messages. - Facilitate approval of community water management rules. - Monitor behaviour change along with adoption levels. - Provide feedback to sustain positive practices. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Principles of community-based water management and conservation.

- Methods for assessing community water needs and available resources.

- Procedures for planning, implementing, and monitoring conservation projects.

- Techniques for effective community mobilization and participation.

- Standards and regulations related to water quality and environmental protection.

- Approaches for promoting sustainable practices and behavioural change in communities.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Ssubmitted a comprehensive community water needs and resources report.

- Developed and implemented a community-based water conservation activity plan.

- Monitored, evaluated, and documented project outcomes with evidence of community participation.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Flip Charts, Posters, and Audio-Visual Aid | As required |
| 02 | Data Collection Sheets | As required |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Water Quality Testing Kit | 1 |
| 02 | GPS Device | 1 |
| 03 | Demonstration Kits / Models | 1 |
| 04 | Computer | 5 |

### 5.14 0712WCS11: On-Job Training

Overview

The On-Job Training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real-world environments. During this phase, students must take on entry-level or support roles such as water conservation supervisor, water conservation surveyor and water conservation expert. These roles extend across various sectors such as agriculture, industry, public utilities, urban development, and environmental management, enabling learners to contribute to sustainable water resource management while meeting the requirements of the qualification.

In case of unavailability of relevant industry for OJT, the following project may be carried out for the fulfilment of OJT requirement.

- List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | PPEs | As per requirement |
| 02 | Charts | As per requirement |
| 03 | Stationary | As per requirement |
| 04 | Tags | As per requirement |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Measuring Tape (30m) | 10 |
| 02 | Line Level / Auto Level | 5 |
| 03 | Staff Rod (5m) | 5 |
| 04 | GPS Handsets | 5 |
| 05 | Clinometer / Abney Level | 5 |
| 06 | Compass (Survey Type) | 10 |
| 07 | Field Marking Pegs and Ropes | 50 |
| 08 | Field Notebooks & Pencils | 25 |
| 09 | GIS Software License (QGIS/ArcGIS) | 5 |
| 10 | Computers / Laptops | 5 |
| 11 | Spades | 25 |
| 12 | Shovels | 25 |
| 13 | Pickaxes | 10 |
| 14 | Hoes | 10 |
| 15 | Hand Trowels | 25 |
| 16 | Wheelbarrows | 10 |
| 17 | Buckets | 25 |
| 18 | Wooden Pegs & Hammer | 10 |
| 19 | Land Leveler (manual) | 5 |
| 20 | Deep Tillage Equipment (tractor-drawn) | 2 |
| 21 | Drip and Sprinkler Kits | 5 |
| 22 | Flow Meters | 5 |
| 23 | Pressure Gauges | 5 |
| 24 | PVC Pipes & Fittings | As required |
| 25 | Pipe Wrenches | 10 |
| 26 | Soil Moisture Meters | 5 |
| 27 | Rain Gauge | 5 |
| 28 | Measuring Cylinders / Beakers | 25 |
| 29 | Gutters & Downpipes | 5 |
| 30 | Filters & Screens | 10 |
| 31 | Water Storage Tanks (1000L) | 3 |
| 32 | Pumps & Hoses | 5 |
| 33 | Concrete Mixer | 2 |
| 34 | Trowels & Masonry Tools | 10 |
| 35 | Wheelbarrows | 10 |
| 36 | Construction Marking Tools (Chalk, Line, Pegs) | 10 |
| 37 | Water Quality Testing Kits | 5 |
| 38 | Water Testing Kits (pH, DO, TDS, Turbidity) | 5 |
| 39 | Sampling Bottles & Containers | 25 |
| 40 | Flow Meters | 5 |
| 41 | Filters / Sieves | 5 |
| 42 | Maintenance Tool Kits (Wrenches, Pliers, Screwdrivers) | 10 |
| 43 | Sludge Collection Trays / Buckets | 10 |
| 44 | Aerators or Small Pumps | 2 |
| 45 | Data Recording Sheets / Templates | 25 |
| 46 | Flip Charts, Posters & Markers | 5 |
| 47 | Audio-Visual Aids (Projector, Speakers) | 2 |
| 48 | Cameras / Mobile Devices | 5 |
| 49 | Clipboards & Files | 25 |
| 50 | Stationery (Pens, Markers, Sheets) | 25 |
| 51 | Monitoring & Evaluation Checklists | 25 |
| 52 | Safety Helmets | 25 |
| 53 | Hand Gloves | 25 |
| 54 | Safety Boots | 25 |
| 55 | Reflective Vests | 25 |
| 56 | First Aid Kits | 5 |

- Members of Qualifications Development Committee

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| Sr.# | Name | Designation | Organization |
|  | Muhammad Saeed Ahmed | DACUM Facilitator | UVAS Ravi Campus |
|  | Syed Zaheer Shah Gardezi | Executive Director | Green Solutions and Social Sector Services |
|  | Engr. Shah Fahad Yousafzai | Deputy Director | Agriculture Engineering |
|  | Fakhar Raza | Regional Director, | PCRWR |
|  | Adil Hussain | Water Treatment Incharge | Aquarian Water |
|  | Khawar Hameed Alvi | Water Management Officer | TMA, Multan |
|  | Arham Mahfooz | Data Engineer | Vision Developer |
|  | Ammar Awan | Water Management Officer | Irrigation Department Punjab |
|  | Razi Ullah | Hydrologist | WWF |
|  | Mr Yasir | CEO | Skylark |