Curriculum

For

National Diploma Level 4 in

Water Conservation Supervisor

Water Conservation Supervisor

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Conservation Supervisor Level-4. This work was made possible with the technical support of the experts.

It may not be prudent to mention here that all the industry experts, and TVET experts of TEVTAs, BTEs, PVTC, and work diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	1

1.1.	Date of Development	1

1.2.	Date of Review and Validation	1

1.3.	Entry Requirement	1

1.4.	Minimum qualification for teachers	1

1.5.	Codes of qualification (ISCED)	1

1.6.	Medium of instruction	1

1.7.	Duration of Course	2

2.	Scheme of Studies	2

3.	Daily Contact Hours	3

4.	Details of Modules	4

4.1 0031PSD01 Perform Basic Communication	4

4.2 1022OHS02 Apply Workplace Safety Procedures	6

4.3 0612CS01 Perform Basic Computer Operations	9

4.4 0712WCS01 Perform Water Demand Assessment and Conservation Auditing	11

4.5 0712WCS02 Carry out Water Resource Assessment and Monitoring	14

4.6 0712WCS03 Perform In-Situ Soil Moisture Conservation Techniques	17

4.7 0712WCS04 Implement Rainwater Harvesting	21

4.8 0712WCS05: Manage Wastewater Recycling & Reuse Systems	26

4.9 0712WCS06 Perform on Farm Water Management	30

4.10 0712WCS07: Maintain Water Supply System	34

4.11 0712WCS08: Apply GIS and Remote Sensing in Water Resource Management	38

4.12 0712WCS09: Prepare Water Usage Report	42

4.13 0712WCS10: Manage Community-Based Water Conservation Projects	44

5.	Tools, Equipment and Consumables for Qualification	48

6.	Members of Qualification Development Committee	53

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledge the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of water conservation supervisor modules in Pakistan. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

The Water Conservation Supervisor (NVQF Level 4) qualification is designed to equip learners with the skills and knowledge needed to manage, implement, and monitor water conservation practices effectively across different sectors. The program emphasizes sustainable management of water resources through technical, analytical, and field-based competencies. This course enables learners to assess water demand and resources, implement rainwater harvesting and wastewater recycling, and apply soil moisture conservation techniques. It also focuses on modern technologies such as GIS and Remote Sensing for data-driven decision-making in water resource management. Additionally, learners are trained to prepare water usage reports, maintain supply systems, and manage community-based water conservation projects.

The curriculum integrates theory with practical applications, ensuring that graduates can perform their duties efficiently while promoting sustainable use of water in agricultural, industrial, and domestic contexts.

| ## Date of Development | 17th – 21st November, 2025 |
| --- | --- |
| ## Date of Review and Validation | November, 2028 |
| ## Entry Requirement | Secondary School Certificate / Plumber Cum Solar Water Heater Level 3 / Water treatment Assistant Level 3 or Equivalent with experience |
| ## Minimum qualification for teachers | Bachelor’s degree in Civil / Agriculture engineering / DAE Civil or equivalent At least 1 years of relevant experience |
| ## Codes of qualification (ISCED) | Code: 0712WCS00 Description: National Diploma Level 4 in Water Sector (Water Conservation Supervisor) |
| ## Medium of instruction | English, Urdu |
| ## Duration of Course | Total. 892 hours. Theory. 88 hours Practical. 564 hours On Job Training. 240 hours |

# Scheme of Studies

| Module code | Name of Competency | Competency Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| 0031PSD01 | Perform Basic Communication | 4 | Generic | 4 | 12 | 16 | 1 |
| 1022OHS02 | Apply Workplace Safety Procedures | 4 | Generic | 4 | 12 | 16 | 1 |
| 0612CS01 | Perform Basic Computer Operations | 4 | Generic | 6 | 18 | 24 | 1.5 |
| 0712WCS01 | Perform Water Demand Assessment and Conservation Auditing | 4 | Technical | 6 | 48 | 54 | 3 |
| 0712WCS02 | Carry out Water Resource Assessment and Monitoring | 4 | Technical | 12 | 36 | 48 | 3 |
| 0712WCS03 | Perform In-situ soil moisture conservation techniques | 4 | Technical | 9 | 42 | 51 | 3 |
| 0712WCS04 | Implement rainwater harvesting | 4 | Technical | 10 | 90 | 100 | 5.5 |
| 0712WCS05 | Manage wastewater recycling and reuse systems | 4 | Technical | 6 | 48 | 54 | 3 |
| 0712WCS06 | Perform On Farm Water Management | 4 | Technical | 10 | 60 | 70 | 4 |
| 0712WCS07 | Maintain Water Supply System | 4 | Technical | 10 | 60 | 70 | 4 |
| 0712WCS08 | Apply GIS and Remote Sensing in Water Resource Management | 4 | Technical | 7 | 66 | 73 | 4 |
| 0712WCS09 | Prepare water usage Report | 4 | Technical | 4 | 12 | 16 | 1 |
| 0712WCS10 | Manage community-based water conservation projects | 4 | Technical | 6 | 48 | 54 | 3 |
| 0712WCS11 | On Job Training | 4 | Technical |  |  | 240 | 6 |
| Total |  |  |  | 94 | 552 | 886 | 43 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 5 | 09 months |
| 4 | 12 months |
| 3 | 15 months |
| 2 | 18 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 0031PSD01Perform Basic Communication

Objective: This module covers the skills and knowledge required to assist in the development of communication competency at the workplace by providing information regarding different forms of workplace communication and their appropriate use.

Duration: 16 Hours			Theory: 04 Hours			Practice: 12 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Follow workplace Instructions | - Execute workplace instructions. - Ask questions to extract relevant information. - Carry out instructions based on received information. - Provide feedback based on written instructions received. - Compose workplace notes and memos. | - Mode of communication - Questioning Techniques - Rules on how to write memos, notes, messages - Understand feedback process Practical Activity: Scenario The candidate is required to follow the instructions of the instructor. The instructor will ask to execute a simple task having three steps and student must do the task following the same three steps. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of safety manual | - Classroom |
| Develop effective workplace relationships | - Perform duties to improve team cooperation. - Consult team members when challenges arise. - Respect differences in personal values and beliefs. - Report observed workplace harassment to relevant authority. | - Communication technology relevant to the workplace - Effective communication (body language) - Basic workplace documentation - Introduction to workplace harassment Practical Activity: Role play Candidates will role play a scenario in pairs where a new employee introduces themselves to colleagues and ask for help in understanding their first task and colleagues will help them guide to perform the task. | Theory-01Hrs Practice-03Hrs Total- 04Hrs |  | - Classroom |
| Communicate and work with team members | - Identify individual roles and responsibilities within the team. - Recognize team members responsibilities with respect. - Identify the person for reporting inside and outside the team. - Participate in team meetings for discussions. - Communicate with team members through interaction tools and equipment. - Provide support to team members as needed during tasks. - Provide and respond to feedback | - Hierarchy of command - Communication tools and equipment Practical Activity: Role play Candidates will role play a scenario in pairs where a team leader will give instructions for a task having three steps while other will listen, ask questions and execute the task following the three steps completely. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of communication skills | - Classroom |
| Respond effectively to customer requests | - Listen to customer requests effectively. - Speak to customers using polite words. - Deliver information to required person in written or verbal form. | - Types of Customers - Speaking skills Practical Activity: Role play Candidates will role play a scenario in pairs where one act as a customer asking for information about a product and other act as staff member who listens and respond to the queries to satisfy the customer | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printouts of safety manual | - Classroom |

## 0712WQA01 Apply Workplace Safety Procedures

Objective: This module covers the skills and knowledge required to Prepare for safe work practices, Perform Safe handling of tools, and equipment, Maintain Fire Extinguisher, perform basic first aid and respond to emergencies.

Duration: 24 Hours			Theory: 06 Hours				Practice: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Prepare for safe work practices | - Identify safety requirements of job - Identify emergency procedures and evacuation steps for workplace incidents. - Wear personal protective equipment. - Follow safety instructions and signs during work - Identify workplace hazards. - Report hazards, incidents, and injuries using workplace procedures. | - Workplace Safety Requirements - Emergency Procedures and Evacuation Steps - Personal Protective Equipment (PPE) - Safety Instructions and Signs - Workplace hazards - Hazard Report Practical Activity: Candidate is required to perform a quick walkthrough of a simulated or real work area, identify 3 visible hazards, match them with appropriate safety signs or instructions, and fill hazard report form. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Stickers for Safety Signs - PPE - Emergency Alarm | - Classroom - Lab |
| Perform safe handling of tools, and equipment | - Inspect tools and equipment for defects - Follow safety guidelines while using tools and equipment - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor | - Introduction to Tools and Equipment - Safe Use Procedure of Tools and Equipment - Post-Use Cleaning and Storage procedure of tools and equipment - Tool damage report Practical Activity: Candidate is given 3 tools (real or dummy). They will inspect for visible damage or malfunction. If a defect is found, they will fill out a tool damage report and tag the tool. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Tags - Set of hardware tools - PPE | - Classroom - Lab |
| Maintain fire extinguisher | - Identify fire extinguisher according to type of fire - Check expiry of fire extinguisher. - Operate fire extinguisher. - Refill expired fire extinguisher | - Types of fire - Types of fire extinguishers - Pass, Aim, Squeeze, Sweep (PASS) - Safe Operation of Fire Extinguishers - Fire Drill Practical Activity: Candidate is required to carry out a fire drill. Identify fire and select a fire extinguisher, check expiry, pressure and practice PASS technique on a demo unit. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Fire Extinguisher | - Classroom - Lab |
| Perform basic first aid | - Ensure availability of first aid box - Check first aid box for requisite emergency medicines - Check expiry date of medicines - Perform basic first aid for minor injuries | - First aid box - Types of emergency medication - Quality check of emergency medications - Types of minor Injury - First Aid Procedure for CPR Practical Activity: Candidates are divided into pairs. Each pair will inspect a sample first aid box to check readiness against the item checklist. Each pair will perform a first aid demo on a simulated cut injury. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - First Aid box | - Classroom - Lab |
| Respond to emergencies | - Assess risk and determine course of action. - Follow emergency plan. - Implement evacuation procedures as per SOP - Operate emergency equipment and supplies | - Risk Assessment and Decision-Making. - Emergency Plan - Evacuation procedure - Emergency Equipment and Supplies Practical Activity: Candidate will go through a mock fire alarm. Perform a quick risk assessment, follow the emergency plan, simulate an evacuation, and identify/emphasize correct use of emergency tools. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |

## 0612CS01 Perform Basic Computer Operations

Objective: This module covers the knowledge and skills required to understand basic computer hardware, software, applications and troubleshooting. You will be able to demonstrate your skills in operating a computer system and software such as MS Office as well as installation and troubleshooting of operating system and software.

Duration: 24 Hours			Theory: 06 Hours				Practice: 18 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| Perform Basic Configuration of computer system | - Connect computer components and peripherals as per requirement - Install Drivers and applications according to the software specification - Troubleshoot Applications to trace and fix faults if any | - Basic computer components - Peripherals & ports - Drivers - Software applications - Procedure of troubleshooting Practical Activity: Candidate is required to connect a computer with monitor, keyboard, and mouse, install drivers and a basic application, simulate and fix a simple fault to show troubleshooting skills | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Labels for marking cables and ports - Computers with basic peripherals - USB drive - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Perform Software Installation | - Download relevant software - Follow the Setup Wizard - Launch Software | - Software Acquisition - Software Installation - Application extensions - Desktop shortcuts Practical Activity: Candidate is required to download and install a basic software using the setup wizard, then launch it to confirm successful installation | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Installation guide handout - Printed checklist for installation verification - Computers with internet access - USB drive - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Demonstrate computer and internet use cases | - Operate common software applications - Access and use internet-based tools - Apply online safety and ethical practices | - Common software applications - Web navigation - Secure browsing - Online and Digital Privacy - Digital ethics Practical Activity: Candidate is required to use a browser to search and download a safe file, create and save a short document, then explain one online safety tip to the class | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printed safety tips handout - Computers with internet access - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Perform basic documentation and presentation skills using MS Office | - Create and format documents using MS Word - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint | - Introduction to MS Word - Introduction to MS Excel - Introduction to MS PowerPoint - Procedure to print documents Practical Activity: Candidate is required to create a short document in Word, a simple spreadsheet in Excel, and a three-slide presentation in PowerPoint, then save and present the files | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Computers with MS Office installed - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |
| Manage Electronic Mail | - Set up and configure email account - Compose emails - Attach and Download files - Receive and respond to emails - Print email | - Introduction to Email - Email Service Providers - Email Account Configuration - Email Composition Practical Activity: Candidate is required to set up an email account, send an email with an attachment to a classmate, download the received file, and print the email. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Printer paper - Computers with internet access - Printer | - Classroom - Lab |
| Apply Cyber Security Best Practices | - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage - Control data sharing and adjust privacy settings on devices and platforms | - Cyber threats - Secure password rules - Multi-Factor Authentication (MFA) - Antivirus software - Firewalls and ports - Data backup procedure - Data Privacy and Protection Practical Activity: Candidate is required to demonstrate three cyber threats, create a strong password, enable MFA on an account, and check antivirus and firewall status on a computer | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Computers with internet access - Antivirus - Whiteboard/Projector/Multimedia/LED | - Classroom - Lab |

  - 0712WCS01 Perform Water Demand Assessment and Conservation Auditing

### Objective: This module covers the skills and knowledge required to evaluate water demand and analyze usage patterns across different sectors agricultural, industrial, and domestic. Learners will learn to collect, organize, and interpret data related to water consumption to support efficient water resource management and planning.

Duration: 54 Hours		Theory: 06 Hours		Practice: 48 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Perform identification of sectoral water demand | - Identify major water-using sectors - Conduct field surveys to collect basic information on population, area, and water use activities in each sector. - Classify water demand based on seasonal and operational requirements. - Identify major crops, industries or domestic areas influencing water consumption. - Record collected data for analysis. - Identify key factors affecting sectoral water demand. - Ensure accuracy and reliability of information sources. - Follow occupational health and safety and data collection protocols. | - Water-Using Sectors & Demand Factors - Principles of Field Surveys & Data Quality - Classification & Recording of Water Demand ## Practical Activity: - Conduct Field Survey of a Selected Sector - Prepare Sectoral Water Demand Record Sheet | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Survey forms - GPS - Measuring tape - Smart mobile / tablet - Maps - PPE | - Classroom - Field area |
| Determine water sources & supply characteristics | - Identify different water sources - Collect data on source location, capacity, and yield. - Assess water quality through physical, biological and chemical indicators. - Check seasonal variations in water availability. - Evaluate existing storage and conveyance systems. - Record flow rate and discharge data using appropriate instruments. - Map water sources and distribution networks accurately. - Identify issues affecting source reliability or contamination. - Maintain source characterization and assessment records. | - Water Source Types & Mapping - Source Capacity, Yield & Seasonal Variations - Water Quality Assessment - Storage, Conveyance & System Condition Assessment ## Practical Activity: - Measure Flow Rate or Discharge from a Water Source - Prepare a Water Source & Supply Characteristics Map | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Water testing kits - Flow meter - Sample bottles - GPS - Water level indicator - PPE | - Lab. - Classroom - Field |
| Analyze data on water use | - Organize collected data in tables, charts, or databases for analysis. - Calculate total and per capita water use in each sector. - Identify trends, patterns, or variations in water consumption. - Compare actual use against standard or recommended benchmarks. - Interpret results using statistical or graphical methods. - Identify excessive or inefficient water use areas. - Validate data accuracy before final analysis. - Prepare a summary of analytical findings. | - Water Use Data Organization & Management - Water Use Calculations & Benchmarking - Data Interpretation & Reporting - Demand calculation ## Practical Activity: - Develop water use charts and tables - Identify inefficient use areas through data analysis | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - laptops/PCs - Calculators - Templates - Field data sheets - Benchmarks - Visualization tools | - Classroom - Computer Lab |
| Estimate sectoral water demand | - Select estimation methods for different sectors. - Use data on area, crop type, population, or production units. - Calculate current and projected water demand based on standard formulas. - Include seasonal and climatic variations in estimation. - Adjust estimates according to efficiency and loss factors. - Cross-check results with historical data or field observations. - Prepare demand estimation tables and charts. - Present results clearly for decision-making and planning. | - Demand Estimation Methods & Formulas - Required Parameters & Data Sources Methods of analysis - Benchmarks, Adjustment Factors & Seasonality - Data validation principles ## Practical Activity: - Calculate Current and Future Water Demand - Prepare Sectoral Water Demand Estimation Charts | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - laptops/PCs - Calculators - Stationary | - Classroom - Computer Lab |
| Develop water conservation audit report | - Compile analysed data and estimated demand for all sectors. - Identify areas of potential water savings and efficiency improvements. - Prepare draft water conservation audit report in standard format. - Include charts, maps, and summaries to support findings. - Present key recommendations and action plans. - Submit report within required timeframe and format. - Maintain documentation and references for future audits | - Audit Report Structure & Documentation Standards - Data Compilation, Interpretation & Presentation ## Practical Activity: - Compile a Water Conservation Audit for a Selected Facility or Sector - Prepare and Present an Audit Report | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Laptop/PC - GIS tools, - Projector - Printer - Stationary | - Classroom, - Computer Lab |

  - 0712WCS02 Carry out Water Resource Assessment and Monitoring

### Objective: This module covers the skills and knowledge required to describe the skills and knowledge required to Plan Water Resources Assessment through competencies; Measure Discharge, Measure Water Levels, Measure Precipitation, Perform pH Test, Perform Turbidity Test, Determine Dissolve Oxygen, Perform Conductivity Test, Determine Nutrients and Assist In Preparing Water Resource Assessment Report.

Duration: 48 Hours			Theory: 12 Hours		Practice: 36 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Measure water discharge | - Select discharge-measuring equipment as per sector type - Inspect equipment for accuracy - Identify correct measurement point in water body - Measure hydraulic parameters depth, width & flow time - Calculate discharge using standard field formula - Repeat measurement to verify accuracy - Record observations in field sheet or digital log - Submit discharge results to in-charge with supporting evidence | - Introduction to Ground water flow and discharge - Methods of discharge measurement in open channels - Principles of Tools and equipment used in measuring discharge ### Practical Activity ### Determine all hydraulic parameters at given site ### Measure discharge through given hydraulic parameters | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Current meter - Flow meter - Hydraulic Bench - Measuring tape - Staff gauge - Stopwatch - Wading rod - Field notebook/digital log - PPE (boots, gloves) - Calculator - GPS device | - Classroom - Lab/ workshop |
| Measure water levels | - Select water-level measuring device based on source type - Calibrate measuring tools for accuracy - Identify correct point for taking water-level reading - Measure water level using standard procedure - Record water depth/level values accurately in field log - Repeat measurement to verify consistency - Compare readings with previous data or reference marks - Report water-level results with supporting field notes | - Basics of Ground Water table and water level - Principles of using water level meters and its data interpretation ### Practical Activity ### Measure water level at given site/ point | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Water level meter - Hydraulic Bench - Measuring tape - Staff gauge - Field notebook/ digital log - PPE - Benchmark reference sheet | - Classroom - Field / workshop |
| Conduct precipitation measurement | - Select suitable precipitation measuring instrument - Install rain gauge as per standard guidelines - Calibrate rain gauge for functionality - Observe precipitation collection at scheduled intervals - Measure rainfall quantity using calibrated scale or container markings - Record readings accurately in field register or digital log - Report precipitation data with date, time, & field notes | - Precipitation and its types - Methods to measure precipitation - Basics of rain gauges and its types ### Practical Activity ### Install rain gauge at given point/site ### Measure and report precipitation in mm per day for the given point/ site | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Standard rain gauge - Automatic rain gauge (optional) - Calibration tools - Mounting stand - Field log sheet - GPS - PPE - Ladder | - Classroom - Field/ workshop |
| Perform Physical Testing of water sample | - Collect required sample as per standard procedure - Conduct visual & Odour inspection for obvious contamination signs - Rinse probe or test strips with distilled water before use - Measure pH as per standard procedure - Measure Total Dissolved Solids as per SOP - Compare results with standard water quality guidelines provided - Record readings, date, time, & sample ID in field log | - Physical properties of water (pH, TDS, Odour and Visible characteristics) - Principle of using pH meter - Principle of using TDS meter ### Practical Activity ### Determine pH, TDS, of the given water sample | Theory-03Hrs Practice-09Hrs Total- 12Hrs | - Water sampling bottles - pH meter - TDS meter - Distilled water - Field notebook/ digital log - PPE - Icebox - Sample labels - Cleaning brushes | - Classroom - Lab |
| Determine dissolve oxygen of water | - Calibrate DO meter - Rinse sampling bottle with source water before collection - Collect water sample without trapping air bubbles - Add reagents in correct sequence if using titration method - Insert DO probe properly if using electronic meter - Record temperature - Record DO values in mg/L in the field log - Compare readings with recommended water quality standards - Store equipment after testing | - Introduction to Dissolved Oxygen - Methods of measuring Dissolved Oxygen ### Practical Activity ### Determine DO values of the given water sample as per given method | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - DO meter - Winkler titration kit (reagents) - Thermometer - Sample bottles (air-tight) - Distilled water - PPEs - Icebox - Field data sheet | - Classroom - Lab |
| Perform hydraulic conductivity test | - Calibrate conductivity meter with standard solution - Rinse probe with distilled water before use - Collect freshwater sample in a clean container - Immerse probe in sample without touching container walls - Stir gently to remove trapped air for stable reading - Record temperature - Record conductivity value in µS/cm in logbook - Compare results with water quality guidelines for site - Store equipment after use | - Principles of Hydraulic Conductivity - Dynamics of measurement and application of Hydraulic Conductivity ### Practical Activity ### Determine Hydraulic Conductivity of the given water sample | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Conductivity meter - Standard calibration solution - Distilled water - Sample container - Thermometer - PPE - Field or lab logbook | - Classroom - Lab |
| Determine nutrients status of water | - Calibrate testing kits / instruments - Collect representative water sample in a clean container - Use reagents or sensors according to test instructions - Incubate samples as required to allow colour or sensor reaction - Observe colour change or meter reading once reaction stabilizes - Record nutrient values with units - Compare measured values with recommended water quality benchmarks - Dispose of reagents safely - Document findings on prescribed format | - Water nutrients and its implication - Principle of Measuring Types of water nutrients ### Practical Activity ### Determine nutrients’ level in the given water sample | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Nutrient test kits (Nitrate, Nitrite, Ammonia, Phosphate) - Colorimeter - Spectrophotometer - Incubation chamber - Reagents - Sample bottles - Distilled water - Gloves - Field notes | - Class room - Lab |

  - 0712WCS03 Perform In-Situ Soil Moisture Conservation Techniques

### Objective: This module covers the skills and knowledge required to conserve rainwater within the soil through in-field measures that reduce runoff, minimize soil erosion, and increase water infiltration and storage. Trainees will learn practical methods such as contour marking, contour ploughing, strip cropping, bund formation, trench construction, terrace development, basin preparation, vegetative barrier establishment, deep tillage, and soil management practices that improve the soil’s water-holding capacity.

Duration: 51 Hours			Theory: 09 Hours		Practice: 42 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Measure field slope for water Conservation | - Select A-frame or line level for slope and contour measurement. - Clear field surface for accurate measurements. - Set starting and ending points of slope. - Measure horizontal and vertical distances between points. - Mark contour points using pegs or lime. - Connect points to form visible contour lines. - Maintain equal spacing between contour lines. - Keep contour layout ready for field operations. | - Procedures for measuring field slope and contour lines - Methods for marking contour alignment. - Importance of contour accuracy for runoff control. - Techniques for connecting contour lines. ### Practical Activity - Measure field slope by using recommended method. - Prepare Slope map for demonstration. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - A-frame or line level - Spirit level (optional) - Measuring tape - Pegs or stakes - Lime powder or chalk - Rope/string for alignment - Field notebook & pencils - Clipboard - PPE (gloves, hats) | - Classroom - Field |
| Execute ploughing along contour lines | - Align plough along marked contour lines. - Adjust plough depth according to soil type. - Maintain straight and uniform furrows. - Prevent ploughing across slope direction. - Operate equipment safely and efficiently. - Form ridges and furrows to minimize runoff. - Avoid soil displacement downslope. - Inspect furrows and correct misalignment. | - Methods of depth setting for contour ploughing. - Impacts of contour ploughing in soil and water conservation. - Methods for accurate plough alignment. ### Practical Activity - Perform ploughing along marked contour lines - Evaluate soil disturbance after contour ploughing. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Tractor-mounted plough or animal-drawn plough - Contour marking tools (pegs, rope, lime) - Measuring tape - Soil compaction tester (optional) - Field notebook - PPE (gloves, safety shoes) | - Field |
| Develop contour trenches on sloping areas | - Mark trench layout along contour lines. - Excavate trenches of required depth and width. - Place excavated soil on lower side as bund. - Shape trench base for infiltration. - Compact bunds to prevent leakage. - Provide outlets for excess runoff. - Maintain uniform spacing between trenches. - Repair eroded sections promptly. - Remove silt after rainfall. | - Techniques to manage runoff - Maintenance requirements for trenching after rainfall - Alignment principles of trenches along contour lines. - Factors influencing trench spacing on sloping land. ### Practical Activity - Prepare Layout of contour trench lines on a sloping field. - Assess stability of constructed trenches. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Spades or shovels - Mattocks/hoes - Wheelbarrows - Pegs or marking stakes - Rope or measuring tape - Rakes - Soil compactors or manual tampers - Field notebook - PPE (gloves, boots, hats) | - Field |
| Conduct contour sowing to reduce runoff | - Prepare seedbed along contour layout. - Sow seeds along contour lines. - Maintain uniform row spacing and seed depth. - Compact seedbed lightly after sowing. - Establish strip cropping across slope for runoff control. - Select suitable crops for alternating strips. - Fill low spots to prevent flow concentration. - Inspect rows after rainfall and correct damage. - Maintain sowing equipment. | - Principles of contour sowing for water conservation. - Methods of Preventing flow concentration in low spots - Influence of contour sowing on runoff reduction. - Factors affecting effectiveness of contour sowing on various slopes. ### Practical Activity - Conduct contour sowing with uniform spacing - Evaluate effectiveness of contour sowing in runoff reduction. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Hand seeders or seed drills - Crop seeds - Ropes/pegs for marking sowing lines - Rakes - Measuring tape - Mulching material (straw, crop residues) - Watering cans - Field notebook - PPE (gloves, hats) | - Field |
| Prepare terraces to control soil erosion | - Select terrace type suitable for slope and soil. - Mark terrace alignment. - Level terrace bed for even gradient. - Construct terrace risers to uniform height. - Compact surface to avoid seepage. - Shape outlets for safe drainage. - Plant grasses to stabilize terrace edges. - Repair damaged or eroded parts after rainfall. - Maintain terrace layout for next season. | - Terrace Types, Site Selection & Design Criteria - Terrace Layout, Alignment & Construction Principles - Maintenance practices for sustainable terrace systems. ### Practical Activity - Lay out and construct a contour terrace on a sloping field as per SOP | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Terrace-making implements or tractors - Spades or shovels - Mattocks - Pegs/stakes - Measuring tape - Rope/string - Grass seeds or planting material - Wheelbarrows - Manual compactors - Field notebook - PPE (gloves, boots) | - Field |
| Construct Field Water Harvesting Structures | - Mark layout for bunds or basins along contour lines. - Excavate basins or shape bunds to required dimensions. - Place excavated soil to form stable embankments. - Compact bunds or basin walls to prevent seepage. - Construct spillways or inlets for controlled water flow. - Repair cracks, erosion, or weak sections after rainfall. - Remove accumulated silt from structures. - Maintain structure capacity for seasonal rainfall. | - Water harvesting structures - Layout, excavation & structural design principles - Maintenance & post-rainfall rehabilitation ### Practical Activity - Construct small basins for water harvesting. - Evaluate functionality of constructed water harvesting structure. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Spades or shovels - Mattocks - Wheelbarrows - Pegs and rope - Measuring tape - Soil compaction tools - Watering cans for testing flow - Field notebook - PPE (gloves, boots) | - Field |
| Establish vegetative barriers on contour lines | - Select suitable grasses or shrubs. - Prepare contour strips for planting. - Plant vegetation along contour lines. - Maintain spacing between plants. - Compact soil around plants. - Irrigate after planting. - Replace dead plants as needed. - Control weeds and protect from grazing. - Maintain vegetation density for runoff control | - Species Selection & Vegetative Barrier Principles - Methods of establishing vegetative strips along contour lines - Maintenance practices for effective vegetative barriers. ### Practical Activity - Establish vegetative barrier along contour line | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Grass/shrub seeds or rooted slips - Spades or shovels - Mattocks - Pegs and string for contour marking - Watering cans - Mulch (optional) - Field notebook - PPE (gloves, boots) | - Field |
| Manage soil to improve water holding capacity | - Maintain surface mulch to reduce evaporation. - Apply gypsum to improve soil physical condition. - Incorporate green manure crops into soil. - Retain crop residues for increasing organic matter. - Avoid excessive tillage to conserve moisture. - Operate deep tillage implements to break hardpan. - Use cover crops to improve infiltration. - Reduce soil compaction through controlled field traffic. | - Soil Organic Matter & Biological Improvement Practices - Soil Organic Matter & Biological Improvement Practices - Tillage, Compaction & Moisture Conservation Principles - Soil Water Dynamics & Management for Holding Capacity ### Practical Activity - Improve water-holding capacity of an assigned field plot by applying mulch or organic residues and incorporating green manure or amendments as required | Theory-02Hrs Practice-03Hrs Total- 05Hrs | - Mulching materials (crop residues, straw) - Green manure seeds - Gypsum (optional depending on soil) - Spades or shovels - Mattocks - Rakes - Soil compaction tester (optional) - Field notebook - PPE (gloves, boots) | - Classroom - Field |

  - 0712WCS04 Implement Rainwater Harvesting

### Objective: This module covers the skills and knowledge required to plan, construct, and maintain rainwater harvesting systems. It includes interpreting design drawings, preparing materials and sites, and installing roof-top, surface, and aquifer recharge structures. Trainees learn to ensure proper system functionality, water quality, and safety standards. The course emphasizes environmental sustainability and efficient water resource management. Practical application and documentation are key components of competency assessment.

Duration: 100 Hours	           	Theory: 10 Hours		Practice: 90 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Interpret design drawings & site plans | - Identify symbols, dimensions, and legends used in design drawings and site plans. - Interpret layout and specifications related to rainwater harvesting structures. - Verify site features and boundaries against drawings. - Determine slope, drainage direction, and catchment area from plans. - Identify positions of tanks, pipelines, and filters as per design. - Record field measurements and compare them with design data. - Maintain all drawings and related documents securely. | - Understanding symbols, scales, dimensions, and legends in engineering/site drawings. - Interpretation of RWH layout - Verification of site features, boundaries, levels, and measurements against drawings. - Documentation, recording field measurements, and maintaining drawing records securely. ### Practical Activity - Interpret a complete RWH design drawing and verify it on-site by marking component locations and comparing field measurements with design specifications. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Measuring tape - Marker/Chalk - Camera/mobile - Component checklist sheet - PPE | - Classroom - Computer lab |
| Prepare material for rainwater harvesting | - Identify materials required for the selected RWH structure - Check the quality and specifications of materials as per design requirements. - Transport materials safely to the site. - Prepare materials following standard procedures. - Mix concrete, sand, and aggregates in specified ratios when required. - Store reusable materials properly. - Dispose of damaged or unusable materials safely. - Maintain an updated material usage record. | - Types, specifications, and quality parameters of materials used in RWH structures. - Safe handling, transport, sorting, and preparation of materials. - Standard procedures for mixing materials (cement, sand, aggregate) and preparing components. - Recording material usage, safe disposal of waste, and proper storage of reusable materials ### Practical Activity - Select and prepare materials according to given RWH design requirements, including quality checking and mixing in correct ratios where required. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Drawing sheets - BOQ - PVC pipes - HDPE Tanks - Sand - Gravel - Cement - Pipe cutters - Hacksaw - Mixer - Wheelbarrow - PPE | - Classroom, - Wherehouse, - Lab |
| Prepare site for rainwater harvesting | - Clear site from debris, vegetation, and obstacles. - Mark boundaries and layout of RWH structures as per plan. - Prepare site as per type of RWH system using suitable tools and equipment. - Compact soil and prepare base for tanks or structures. - Install safety barriers and signage around work areas. - Check that soil and foundation conditions meet design requirements. - Maintain site cleanliness during preparation. | - Site clearing techniques: removal of vegetation, debris, and obstacles. - Methods of marking boundaries and layout for RWH structures as per design plan. - Soil preparation, compaction, and base formation for tanks, catchments, and structures. - Safety protocols: signage installation, barrier placement, and inspection of soil/foundation conditions. ### Practical Activity ### Clear the site and prepare the layout by marking boundaries, compacting soil, and installing safety barriers as per RWH design. | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Shovels - Spades - Rakes - Wheelbarrow - Pickaxe - Stakes - Rope - Lime powder - Measuring tape - Water level - Compactor/ rammer - Cones - Safety tape - Signage boards - PPE | - Classroom, - Field - Wherehouse - Lab |
| Install roof-top rwh system | - Install gutters and downpipes according to roof design and slope. - Connect downpipes to first-flush devices or filters. - Install storage tanks as per specifications. - Fix joints & connections to prevent leakage. - Install mesh or screen filters at inlets and outlets. - Maintain required position of overflow system & outlet pipes. - Test water flow from roof to tank to ensure smooth operation. - Seal and protect exposed joints from damage. - Follow safety procedures when working at heights. - Maintain installation records | - Standards for gutter alignment, slope calculation, and downpipe positioning. - Installation of first-flush devices, filtration units, and screens at inlet/outlet points. - Techniques for leak-proof joint fixing, sealing, and overflow system placement. - Safety procedures for working at heights and testing flow from roof to tank. ### Practical Activity - Install gutters and downpipes on a rooftop, connect them to the filtration/first-flush system, and test water flow for proper functioning. | Theory-02Hrs Practice-15Hrs Total- 17Hrs | - Shovels - Spades - Rakes - Wheelbarrow - Pickaxe - Stakes - Rope - Lime powder - Measuring tape - Water level - Compactor/ rammer - Cones - Safety tape - Signage boards - PPE | - Field - Construction Site |
| Construct surface runoff collection system | - Identify suitable site and layout for surface runoff collection. - Excavate channels or pits as per design dimensions. - Prepare base and sidewalls with compacted soil or concrete lining. - Construct silt traps or filter chambers as designed and Install inlet screens to prevent debris entry. - Lay and connect pipelines or conveyance structures correctly. - Backfill and compact soil after installation. - Ensure smooth gradient for efficient water movement. - Inspect construction for leaks or blockages. - Record all construction activities and material usage | - Site selection, contour-based alignment, and layout principles for runoff structures. - Excavation techniques, channel shaping, lining (soil/concrete), and base preparation. - Construction of silt traps, filter chambers, inlet screens, and pipeline connections. - Ensuring proper gradient, leak inspection, backfilling, compaction, and documentation. ### Practical Activity - Excavate and construct a runoff collection channel or pit, install lining and inlet screens, and ensure proper gradient for smooth water movement. | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - Spades - Rakes - Wheelbarrow - Pickaxe - Stakes - Rope - Lime powder - Measuring tape - Water level - PVC pipes - HDPE Tanks - Sand - Gravel - Cement - Pipe cutters - Hacksaw - Mixer - PPE | - Construction Site |
| Construct surface storage system | - Identify type and capacity of storage system as per design. - Excavate or form storage pits, tanks, or ponds at marked locations. - Prepare foundation and base using concrete or lining material. - Install inlets, outlets, and overflow systems properly. - Apply waterproofing or lining to prevent seepage. - Backfill and compact around storage structure. - Test water storage capacity and check for leaks. - Maintain construction records and quality documentation. | - Types and capacities of storage structures - Excavation methods, foundation/base preparation, and lining installation. - Installation of inlets, outlets, overflow systems, and waterproofing methods - Testing structural integrity, checking leakage, and recording construction quality. ### Practical Activity - Construct a lined storage pit or tank, install inlet/outlet structures, apply waterproofing, and test for seepage. | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - Excavators - Spades - Rakes - Wheelbarrow - Pickaxe - Stakes - Rope - Lime powder - Measuring tape - Water level - PVC pipes - HDPE Tanks - Sand - Gravel - Cement - Pipe cutters - Hacksaw - Mixer - PPE - Waterproofing membrane | - Construction site |
| Install managed aquifer recharge structures | - Identify suitable recharge locations through field assessment. - Excavate recharge wells, shafts, or trenches as per design. - Install casing pipes and gravel packing appropriately. - Place filter media in correct layers and proportions. - Connect surface runoff or roof-top systems to recharge inlet. - Test recharge rate and flow for efficiency. - Seal openings to prevent contamination or debris entry. - Maintain records of depth, diameter, and materials used. | - MAR site selection criteria and recharge suitability assessment. - Excavation of recharge wells, trenches, or shafts as per design. - Installation of casing, gravel packing, and filter media in proper layers - Connecting runoff or rooftop systems to recharge inlets and testing recharge rates. ### Practical Activity: - Construct a recharge well or trench as per SOP | Theory-02Hrs Practice-24Hrs Total- 26Hrs | - Excavators - Spades - Rakes - Wheelbarrow - Pickaxe - Stakes - Rope - Lime powder - Measuring tape - Water level - PVC pipes - HDPE Tanks - Sand - Gravel - Cement - Pipe cutters - Hacksaw - Mixer - PPE - Waterproofing membrane | - Field Site - RWH System Installation Area |
| Ensure water quality and system testing | - Collect water samples from storage and recharge points. - Conduct basic physical tests - Test pH, hardness, and microbial contamination as per standards. - Inspect for sediment buildup - Clean collection and conveyance systems periodically. - Record test results and compare with quality benchmarks. - Replace filter media as required. - Maintain hygiene and safety during sampling and testing. - Prepare water quality report | - Sampling procedures and safety requirements for collecting RWH water. - Physical, chemical, and microbial water quality parameters (pH, hardness, turbidity, contamination). - Inspection and cleaning of filters, conveyance systems, and storage components. - Comparing water test results with standards and preparing water quality reports. ### Practical Activity: - Collect samples from RWH points, conduct basic quality tests, clean filters, and prepare a water quality testing report. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Water sample bottles - Water quality test kits - Cleaning brushes - Sieves - Filter media - PPE - Inspection torch - Buckets | - Water Quality Laboratory - Field Site - RWH System Installation Area |

  - 0712WCS05: Manage Wastewater Recycling & Reuse Systems

Objective: This module covers the skills and knowledge required to inspect, operate, and maintain wastewater treatment and reuse systems effectively. Learners develop the ability to monitor wastewater quality, perform treatment operations, and ensure environmentally safe disposal or recycling of treated water.

Duration: 54 Hours				Theory: 06 Hours		Practice: 48 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Inspect collected wastewater | - Identify wastewater collection points and conveyance systems. - Collect samples of wastewater using standard procedures. - Observe physical characteristic - Measure temperature and pH - Record flow rates and volume of collected wastewater. - Inspect collection pipelines, manholes, and screens for blockages or leaks. - Identify sources of industrial, domestic, or agricultural wastewater. - Report any loopholes, contamination, or overflow conditions. - Maintain inspection logs with accurate observations. | - Wastewater collection sources and sampling principles - Physical and chemical indicators of raw wastewater - Safety and documentation requirements during inspection. ### Practical Activity: - Collect wastewater sample and measure temperature and pH. - Inspect manholes/pipelines and record observations. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Sampling bottles - pH meter - Thermometer - PPE (gloves, boots, mask) - Inspection rod / flashlight - Flow-measuring container - Field notebook | - Classroom - Field - Laboratory |
| Monitor wastewater treatment | - Identify different stages of the wastewater treatment process. - Observe and record operational parameters - Check performance of physical, chemical, and biological treatment units. - Collect influent and effluent samples for laboratory analysis. - Compare test results with NEQS standards - Identify deviations or inefficiencies in treatment performance. - Adjust operating conditions as directed to maintain process stability. - Record monitoring data in treatment logbooks or digital systems. - Report abnormal findings to the supervisor for corrective action. | - Treatment stages and operational parameters - Influent and effluent quality requirements - NEQS standards and compliance criteria. ### Practical Activity: - Record operational parameters at primary or secondary units - Collect influent and effluent samples for comparison with NEQS limits. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Sampling containers - Turbidity test kit / jar test kit - DO meter - Thermometer - PPE (gloves, goggles, boots) - Treatment plant logbook | - Classroom - Wastewater - Treatment Plant |
| Perform inspection of wastewater reuse system | - Identify components of the wastewater reuse system - Verify chlorine residual (or UV intensity) at delivery points for safe reuse - Inspect pipelines, valves, and storage tanks for leaks or corrosion. - Check disinfection and filtration units for proper operation. - Monitor treated water quality for compliance with reuse standards. - Inspect irrigation or industrial reuse outlets for safe delivery. - Record flow rates and usage of recycled water. - Identify signs of contamination or equipment malfunction. - Maintain detailed inspection and maintenance records. | - Components and function of wastewater reuse systems - Disinfection requirements for safe water reuse - Inspection standards for pipelines, storage, and reuse outlets ### Practical Activity: - Inspect storage tanks and pipelines for leaks or corrosion. - Test chlorine residual at delivery points. | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - Chlorine residual test kit - Flow meter / measuring cylinder - Wrenches for valve inspection - PPE (gloves, mask, shoes) - Inspection checklist - Flashlight | - Classroom - Field (Reuse - System Area) |
| Operate wastewater recycling and treatment equipment | - Operate pumps, aerators, and treatment units as per SOPs. - Adjust valves and flow controls to maintain required operational parameters. - Monitor pressure, flow rate, and temperature readings on control panels. - Operate sludge dewatering, filtration, and disinfection equipment as per standard - Assess sludge moisture content after dewatering - Apply chemical dosing according to specified concentrations. - Handle treatment chemicals in compliance with safety standards. - Maintain moving equipment as per maintenance schedule. - Report any abnormal noise, vibration, or performance issues. | - Operation of pumps, aerators, and flow-control devices - Sludge dewatering and chemical dosing principles - Equipment maintenance requirements. ### Practical Activity: - Operate a pump or aeration unit as per SOP. - Operate sludge dewatering equipment and record output moisture. | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - Pumps/aerators/valves (operational setup) - Pressure gauge / flow meter - Sludge dewatering/filtration unit - Chemical dosing unit - Tool kit (spanners, screwdrivers) - PPE (gloves, face shield, boots) - Maintenance logbook | - Classroom - Treatment Plant - Operational Area |
| Perform disposal of waste material | - Identify different types of waste generated from treatment processes - Segregate hazardous and non-hazardous waste as per standard - Dispose of waste material to designated sites. - Maintain records of waste quantity and disposal location. - Clean equipment & containers after waste handling. - Use personal protective equipment (PPE) during disposal activities. - Prevent contamination of soil, water, or air during disposal. - Report any spillage, leakage, or non-compliance incidents immediately. | - Categories of treatment-plant waste - Safe segregation for disposal requirements - Environmental and safety considerations during disposal ### Practical Activity: - Segregate and dispose treatment waste at designated points. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Labeled waste bins (hazardous/non-hazardous) - Waste transport trolley or containers - PPE (gloves, apron, boots) - Disinfectant and cleaning tools - Waste disposal register | - Classroom - Field (Disposal - Area) |
| Perform troubleshoot in wastewater system | - Identify symptoms of malfunction in wastewater collection - Diagnose probable causes using visual inspection and operational data. - Check pumps, motors, and valves for mechanical or electrical faults. - Examine pipelines and tanks for leaks or blockages. - Test sensors, meters, and control systems for accuracy. - Apply corrective measures to restore normal function. - Replace defective parts safely using proper tools. - Document faults, repairs, and corrective actions taken | - Indicators of malfunction in wastewater systems - Tools and procedures for fault diagnosis - Steps for corrective action and documentation ### Practical Activity: - Inspect pumps/valves/pipelines and identify the source of a fault. - Replace a defective component and document repair. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Tool kit (pliers, wrench, screwdrivers) - Multimeter - Leak detection tools - Replacement parts (valves, gaskets, connectors) - PPE (helmet, gloves, shoes) - Repair logbook | ### Classroom ### Treatment Plant ### (Equipment Area) |

  - 0712WCS06 Perform on Farm Water Management

### Objective: This module covers the skills and knowledge required to enhance water-use efficiency on agricultural farm. It equips trainees with the ability to assess soil and crop conditions, schedule irrigation effectively, adopt water-saving practices such as zero tillage, mulching, and fallow management, and implement pressurized irrigation systems for precision water delivery. Emphasis is placed on managing irrigation systems, maintaining field channels, performing intercultural operations for moisture conservation, and improving overall on-farm water productivity while ensuring sustainable use of water resources

Duration: 70 Hours				Theory: 10 Hours		Practice: 60 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Prepare irrigation schedule | - Collect soil samples from top and subsoil layers - Measure soil moisture - Collect relevant field data including soil type, field capacity, permanent wilting point, and infiltration rate - Identify water requirements of different crops at various growth stages - Determine irrigation interval by calculating soil moisture depletion and crop water demand - Calculate irrigation depth required for each application - Prepare calendar indicating timing and quantity of irrigation for whole cropping season - Adjust irrigation schedule based on rainfall, temperature, and evapotranspiration data - Document prepared irrigation schedule in prescribed format | - Soil, Water & Crop Relationships - Assessing Crop Water Requirements - Irrigation Scheduling - Seasonal Irrigation calendar Practical activities - Prepare irrigation calendar assessing soil moisture as per SOP | Theory-02Hrs Practice-06Hrs Total- 08Hrs | - Auger - Soil sampling bags - Weighing balance - Oven (for gravimetric moisture - Soil moisture sensors - Tensiometer - Double-ring infiltrometer - CROPWAT or mobile ET tools - Lysimeter data - Notebooks | - Classroom - Field - Lab |
| Practice zero tillage to reduce evaporation | - Keep crop residues on the soil surface for moisture retention. - Calibrate zero-till drill before sowing. - Place seed and fertilizer simultaneously using zero-till drill. - Operate drill along rows with uniform spacing and depth. - Apply pre- or post-emergence herbicide to control weeds. - Check seed germination and residue cover after sowing. - Maintain drill components after operation. | - Principles of Zero Tillage & Moisture Conservation - Zero-Till Drill Operation & Calibration - Field Operation & Weed Management in Zero Tillage - Post-Sowing Evaluation & Equipment Maintenance Practical Activity - Calibrate and operate a zero-till drill on a designated field plot to sow seed and fertilizer simultaneously as per SOP | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Zero-till drill, - Tractor, - Weighing balance - Sampling bags - Sprayer, - Measuring tape, - Crop residue. - Seed/fertilizer | - Classroom - Field |
| Manage fallow land to store soil moisture | - Apply shallow tillage to loosen soil surface. - Maintain mulch layer to minimize evaporation losses. - Construct small ridges or bunds to retain rainfall. - Observe soil moisture status periodically. - Prepare fallow field for next season’s sowing. | - Moisture conservation principles in fallow land - Field modifications for rainwater retention - Monitoring and evaluating soil moisture levels - Mulch retention and evaporation reduction - Seasonal preparation of fallow land ### Practical Activities - Prepare fallow field by performing shallow tillage and constructing small ridges/bunds to conserve rainfall, followed by assessing soil moisture status | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Hand hoe, - Cultivator, - Mulch material, - Soil moisture probe, - Oven - Soil sampling cans - Weighing balance - Field stakes. | - Classroom - Lab - Field |
| Conduct intercultural operations for moisture conservation | - Loosen topsoil by hoeing after each irrigation or rainfall. - Remove weeds manually or with intercultural implements. - Break soil crust to improve infiltration. - Form light soil mulch over the field surface. - Carry out operations between crop rows without damaging plants. - Dispose of removed weeds away from the field. - Repeat intercultural operation as per crop stage. | - Principles of Intercultural Moisture Conservation - Weed Management & Field Cleanliness Practices - Correct Use of Intercultural Implements - Timing & Frequency of Intercultural Operations ### Practical Activities - Perform given intercultural practice for moisture conservation as per SOP | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Hoe, - Intercultural tools, - Weed collection bags, - Gloves, - Mulch material. | - Classroom - Field |
| Execute laser land leveling | - Inspect field for uneven patches before levelling. - Mark high and low spots using levelling tools. - Identify components of a laser land leveling system - Operate tractor rear blade or laser leveller to move soil evenly. - Compact levelled area to stabilize surface. - Create uniform slope for proper water flow. - Re-level field after heavy rainfall or irrigation. - Maintain levelling tools and machinery after use. | - Importance of land leveling for uniform irrigation - Identification of high & low spots in a field - Components of laser leveling system - Field preparation and system setup - Post-leveling verification of slope and uniformity Practical activity - Conduct field survey to identify uneven patches and set laser leveler as per SOP | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - LASER land leveling complete set - Tractor, - Staff rod, | - Classroom - Field |
| Manage On-Farm Irrigation Systems | - Identify crop water requirements based on crop type, growth stage, and climatic conditions. - Select irrigation method according to soil type and crop needs. - Prepare irrigation layout ensuring proper alignment, levelling, and distribution network. - Inspect irrigation system - Measure water flow using flow meters - Apply irrigation water according to calculated schedule - Monitor soil moisture levels before and after irrigation - Adjust irrigation timing and frequency based on weather forecasts - Record irrigation data, including time, duration, water applied, and system performance, for future reference. | - Crop Water Requirements & Irrigation Planning - Selection & Layout of Irrigation Methods - Irrigation System Inspection, Measurement & Operation - Flow measurement methods (flume, float, portable flow meters) - Soil moisture monitoring (before & after irrigation) - Record-keeping and schedule adjustment Practical Activities - Prepare an on-farm irrigation system layout by measuring flow | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Bed planter - Ridger - Shovels, - Flumes, - Floating metarial, - Stopwatch - Soil moisture sensors - Field register, | - Classroom - Field |
| Operate pressurized irrigation system (PIS) | - Select HEI system according to crop, soil, and field conditions - Inspect irrigation system for leaks or blockages before operation - Connect system components according to layout design - Calibrate system pressure and flow rate to recommended standards - Start irrigation system following standard operational procedure - Monitor uniformity of water distribution during operation - Perform fertigation as per SOP - Record irrigation timing, flow rate, and water applied per unit area - Clean tools and spare parts properly after use | - Selection & Layout Understanding of Pressurized Irrigation Systems - Operation & Monitoring of Pressurized Irrigation Systems - Types and components of pressurized irrigation systems - Fertigation, Maintenance & Recordkeeping Practical Activities - Assemble and operate a pressurized irrigation system as per SOP | Theory-02Hrs Practice-12Hrs Total- 14Hrs | - PIS complete system - Tool kit | - Classroom - Field |
| Maintain on-farm water channels | - Inspect channels for cracks, leaks, and blockages. - Remove silt, stones, and weeds from channels. - Shape channel bed and sides for smooth flow. - Repair damaged or eroded sections immediately. - Construct small checks or outlets at intervals. - Apply grass lining on channel sides to reduce erosion. - Clean channels after each irrigation. | - Types of water channels including earthen and lined - Common channel problems - Cleaning and shaping channels to maintain smooth flow - Minor repairs in earthen and lined channels - Routine inspection and maintenance planning Practical Activities - Perform maintenance of given water channel for smooth flow | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Shovel, - Spade, pickaxe, - Grass - Buckets, - Leveling tool. | Classroom + Field |

  - 712WCS07: Maintain Water Supply System

### Objective: This module covers the skills and knowledge required to describe the skills and knowledge required to Interpret Water supply System’s layout, Assess Water Supply Efficiency, detect leakage in Supply system, Maintain Supply Network, Optimize Operation of Pumps and Valves, Monitor Water Quality in Supply System, Disinfect Water Supply System, manage water-saving devices and Perform maintenance of water conservation equipment.

Duration: 70 Hours			Theory: 10 Hours		Practice: 60 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Interpret water supply system’s layout | - Locate valves, meters, and tanks on layout plans. - Mark flow direction and supply zones on maps. - Identify symbols, legends, and pipe sizes on drawings. - Trace routes of pipelines from source to delivery points. - Check alignment, elevation, and connection details in the field. - Record discrepancies between drawings and actual layout. - Maintain updated copies of layout drawings | - Basic of Water Supply Layout Drawings - Interpretation of Symbols, Flow Direction, and Supply Zones - Principles of Pipeline Routing and Network Design - Documentation for Accurate System Layouts ### Practical Activity: - Take a selected section of the water supply network and compare the layout drawing with the actual field conditions. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Layout drawings / blueprints - Field maps - Measuring tape - Markers, chalk, or flags - Stationary - GPS device - Camera / mobile - Scale ruler | - Class Room - Field |
| Assess water supply efficiency | - Collect flow pressure data from network points. - Compare discharge with design values. - Record meter readings and consumption data. - Identify low-pressure zones. - Inspect pumps and valves for performance issues. - Calculate water loss between inlet and outlet points. - Compare readings before and after maintenance work. - Prepare an efficiency report. | - Introduction to Flow, Pressure, and Discharge Assessment - Techniques for Evaluating Component Performance - Methods for Measuring Water Loss and Consumption - Procedures of reporting for System Efficiency ### Practical Activity: - Evaluate flow, pressure, and discharge at various points in a water supply network to calculate water loss. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Pressure gauges - Flow meters - Multimeter - Stopwatch - Valve keys - Wrenches - Data recording sheets / logbook - Network layout drawings | - Class Room - Field |
| Detect leakage in supply system | - Inspect pipelines, joints, and fittings for visible leaks. - Use listening devices to detect underground leaks. - Use pressure gauges for hidden leaks. - Monitor flow changes while isolating network sections. - Record meter readings during low-demand hours. - Mark leak points for excavation or repair. - Report confirmed leak points to supervisors. | - Methods of Leak Detection in Water Networks - Techniques for Inspecting Pipelines and Fittings - Procedures for Documenting and Communicating Leak Findings ### Practical Activity: - Measure pressure in a model system to pinpoint leaks and compile findings. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Listening devices - Leak detection sensors - Pressure gauges - Valve keys - Wrenches - Measuring tape - Field map or model layout - Data recording sheets / logbook | - Classroom - Field |
| Maintain supply network | - Inspect pipelines and fittings for damage or blockage. - Isolate faulty sections safely before repair. - Replace damaged pipes, joints, and gaskets. - Flush repaired lines to remove air and dirt. - Reconnect sections and restore water flow. - Test valves and pressure after maintenance. - Clean valve chambers and manholes. - Lubricate operating parts for smooth function. - Record maintenance details in the logbook. | - Methods of Pipeline and Fitting Maintenance - Techniques for Isolating and Repairing Faulty Sections - Procedures for Testing, Flushing, and Restoring Water Flow - Procedures for Valve and Chamber Management ### Practical Activity: ### Service valves and chambers in a water network model as per SOP | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Wrenches - Spanners - Replacement gaskets, seals, and pipes - Lubrication oil / grease - Cleaning brushes - Pressure gauge - Flushing equipment - Logbook for recording work | - Classroom - Field |
| Optimize operation of pumps and valves | - Check pump and valve condition before operation. - Operate pumps as per schedule. - Adjust valve positions to balance pressure. - Monitor discharge rate and power readings. - Record current, voltage, and operating time. - Detect unusual vibration or overheating. - Clean strainers and suction filters regularly. - Lubricate bearings and moving parts. - Report faults or abnormal sounds immediately. | - Pump and Valve Operation - Techniques for Monitoring Discharge, Power, and Electrical Parameters - Procedures for Lubrication, Cleaning, and Fault Detection ### Practical Activity: - Operate pumps and valves to assess performance | Theory-02Hrs Practice-09Hrs Total- 11Hrs | - Pumps and valves - Multimeter - Flow meter - Pressure gauges - Stopwatch - Lubrication oil / grease - Cleaning tools for strainers and filters - Log sheets or maintenance record forms | - Classroom - Field |
| Monitor water quality in supply system | - Collect samples from source, tanks, and outlets. - Follow correct sampling steps. - Test pH, turbidity, and chlorine using kits. - Observe colour, smell and clarity of samples. - Record readings - Compare results with standard water quality limits. - Calibrate test instruments. - Report abnormal findings for corrective action. | - Methods of Water Sampling - Techniques for Testing Physical and Chemical Water Parameters - Procedures for Instrument Calibration and Quality Assurance ### Practical Activity: - Perform given water quality test as per SOP | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Sampling bottles - pH test kit - Turbidity meter - Chlorine test kit - Thermometer - Calibration solutions and tools - Clipboard or log sheets | - Classroom - Field |
| Disinfect water supply system | - Clean tanks and pipelines before applying disinfectant. - Prepare disinfectant solution at correct strength. - Circulate treated water through supply lines. - Maintain contact time for complete disinfection. - Test chlorine residual after treatment. - Collect samples for confirmation tests. - Dispose of residual disinfectant safely. - Record disinfection details and results. | - Methods of water system disinfection - Techniques for preparing and applying disinfectants - Procedures for testing, sampling, and residual monitoring - Safety and disposal practices in disinfection ### Practical Activity: - Apply disinfectant safely in a water network, ensure proper contact, and record results. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Disinfectant chemicals - Measuring containers - Stirring tools - Flow control valves - Sample bottles for post-treatment testing - Chlorine test kit - PPEs - Log sheets for recording results | - Classroom - Field |
| Manage water-saving devices | - Select suitable water-saving fixtures. - Inspect existing installations for wastage. - Install aerators, flow regulators, and dual-flush systems. - Check new installations for leakage and performance. - Replace damaged or inefficient devices. - Measure water uses before and after installation. - Demonstrate correct use and maintenance to users. - Prepare reports showing achieved water savings. | - Methods of Water-Saving Fixture Selection - Techniques for Inspecting and Installing Water-Efficient Devices - Procedures for Performance Verification and Leakage Testing - Measuring, Demonstrating, and Reporting Water Savings ### Practical Activity: - Install water-efficient devices, check performance, and measure water savings. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Aerators - Dual-flush systems - Flow regulators - Wrenches - spanners - Screwdrivers - Measuring tape - Leak detection dye - Log sheets | - Classroom - Field |
| Perform maintenance of water conservation equipment | - Inspect equipment for wear or malfunction. - Clean filters, screens, and flow regulators - Tighten loose fittings or replace worn-out seals. - Lubricate moving parts to reduce friction - Calibrate sensors, meters, and controllers as per manufacturer guidelines. - Test system components after maintenance. - Replace faulty using correct tools and techniques. - Record maintenance activities in log sheets. - Report major faults or repeated failures to supervisors for further action | - Methods of Equipment Inspection and Servicing - Techniques for Cleaning, Lubrication, and Component Replacement - Procedures for Calibration, Testing, and Fault Detection ### Practical Activity: - Service water system equipment as per SOP | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Wrenches - Spanners - Cleaning brushes and cloths - Lubrication oil / grease - Replacement parts - Multimeter - Pressure gauges - Logbook or maintenance sheets | - Classroom - Field |

  - 0712WCS08: Apply GIS and Remote Sensing in Water Resource Management

### Objective: This module covers the skills and knowledge required to use GIS, GPS, and remote sensing tools for collecting, analyzing, and interpreting geospatial data in water resource management. It enables trainees to assess drought, flood, and land-use changes through mapping and satellite imagery.

Duration: 73 Hours	     	Theory: 07 Hours		Practice: 66 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Use GIS software for water resources management | - Identify commonly used GIS software and their applications in water management. - Configure GIS software as per system requirements. - Import spatial and non-spatial data into GIS. - Create, manage, and edit spatial layers and attribute tables. - Generate maps showing rivers, catchments, and water bodies. - Apply coordinate systems and projections correctly. - Perform basic spatial analysis (buffering, overlay, and query). - Integrate tabular and spatial data for resource mapping. - Save, export, and print maps in desired formats. | - GIS software interfaces/ tools - Spatial techniques datasets management in GIS - Water features spatial layers and attributes - Basic spatial analyses ### Practical Activity - Develop a water resource map using GIS (Rivers, Catchments & Water Bodies) | Theory-02Hrs Practice-15Hrs Total- 17Hrs | - Computers with QGIS/ArcGIS installed - Sample shapefiles (rivers, catchments, water bodies) - Attribute data sheets (Excel/CSV) | - Computer Lab |
| Collect geospatial data | - Identify data requirements for water resource mapping. - Plan field data collection based on area and objective. - Collect base maps, topographic sheets, and existing GIS data. - Gather information from secondary sources - Prepare field data forms and coding systems. - Collect land use, soil, and hydrological features data. - Digitize data and convert it to GIS-compatible formats. - Store data in structured folders or databases. - Maintain proper documentation and metadata for all datasets. | - Geospatial data needs for resource mapping. - Design field data collection plans. - Compile base maps and secondary GIS datasets. - Metadata and dataset organization ### Practical Activity ### Plan and prepare a geospatial data collection package for a watershed | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - Base maps/topographic sheets - Sample land use/soil data - Laptops with GIS software - Field data form templates (printed/digital) - Metadata documentation template | - Classroom + Lab |
| Collect data through GPS handset | - Identify GPS device components and their functions. - Configure GPS handset with correct coordinate system and datum. - Record geographic coordinates of water sources. - Collect location data for canals, wells, ponds, and reservoirs. - Save and label waypoints, tracks, and routes accurately. - Transfer GPS data to computer or GIS software for mapping. - Verify GPS accuracy through field checks or cross-referencing. - Maintain backup copies of GPS data files. | - GPS components and functions. - GPS coordinate system and datum. - Water features waypoints and track - GPS data transfer and validation in GIS ### Practical Activity: - Collect & Map water feature coordinates using GPS | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - GPS handsets (Garmin/eTrex/mobile GPS apps) - Data cables - Laptops with GIS software - Predefined field area or simulated outdoor points - Waypoint recording sheet | - Field - Lab |
| Analyze geospatial data | - Import geospatial datasets into GIS software. - Overlay spatial layers to identify water distribution and land-use patterns. - Perform spatial analysis to determine drainage density - Conduct proximity and buffer analysis for resource planning. - Use attribute queries to extract specific water-related data. - Generate thematic maps - Prepare maps and analysis reports for presentation. | - Geospatial layer integration in GIS - Spatial dataset overlay for pattern detection - Drainage density, buffer, and proximity analysis - Generation of thematic Maps for water distribution ### Practical Activity: - Perform spatial analysis for water distribution & drainage density | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Sample watershed geospatial datasets - DEM (Digital Elevation Model) - Laptops with GIS software - Printed instructions/analysis worksheet | - Computer lab |
| Process satellite imagery for water resource analysis | - Identify types of satellite imagery suitable for water resource studies. - Acquire imagery from reliable sources or databases. - Process images by applying radiometric and geometric corrections. - Mosaic and subset images according to the area of interest. - Perform image enhancement to improve visibility of water features. - Classify images using supervised or un-supervised classification methods. - Detect changes in water bodies and land use over time. - Generate thematic layers from processed imagery. Save and document image processing steps for reproducibility. | - Selection of satellite images for water resource - Radiometric and geometric correction of imagery - Imagery enhancement for water feature identification - Land cover classification methods ### Practical Activity: - Process and classify satellite imagery to identify water bodies | Theory-01Hrs Practice-12Hrs Total- 13Hrs | - Landsat/Sentinel satellite imagery - Image processing software (QGIS, SNAP, ArcGIS Pro) - Computers with adequate RAM - Classification sample training data | - Computer lab |
| Interpret imagery for drought, flood & land-use change assessment | - Identify visual indicators of drought, flood, and land use changes on imagery. - Compare temporal images to assess environmental variations. - Map drought affected and flood prone areas accurately. - Analyze vegetation indices (NDVI) to assess moisture and crop condition. - Interpret water spread and flood patterns from satellite data. - Quantify changes in land cover or water body extent. - Validate interpretations with field data and hydrological records. - Prepare maps and reports show key findings. | - Interpretation of drought, flood, and land cover changes - Comparison of multi-temporal images for change detection - Detection of water spread and flood-prone areas - Evaluation of NDVI and water index outputs ### Practical Activity: - Interpret multi-temporal satellite images for flood/drought assessment | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Multi-temporal satellite imagery (pre/post event) - QGIS/SNAP/ArcGIS - NDVI processing tools or plugins - Change detection worksheets | - Computer lab |

  - 0712WCS09: Prepare Water Usage Report

### Objective: This module covers the skills and knowledge required to describe the skills and knowledge required to Prepare community water needs and resources report, Plan community- based water conservation activities, Mobilize Community Participation, Implement Water Conservation Practices, monitor project activities, develop sustainable water conservation plans and promote behavioral and institutional change.

Duration: 16 Hours			Theory: 04 Hours		Practice: 12 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Collect data on water consumption | - Identify key water consumption sources in agriculture, industry, and domestic sectors. - Select appropriate data collection tools and methods for measuring water use. - Record flow rates, volumes, and usage durations accurately using flow meters or other instruments. - Gather secondary data from existing reports, records, or institutional databases. - Maintain measuring instruments before data collection. - Document environmental conditions during data collection. | - Knowledge of major water consumption sources across agricultural, industrial, and domestic sectors - Understanding of suitable data collection tools, techniques, and measurement - Accuracy in flow rate, volume, and duration measurements. - Awareness of secondary data sources, and environmental conditions. ### Practical Activity: - Visit an agricultural farm, industrial unit, or domestic facility and measure real-time water consumption. - Collecting data, students perform instrument inspection and calibration. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Flow meters - Stopwatches - Data loggers or handheld - Computers - Reference reports, maps, and databases - PPE - Stationery | - Classroom - Computer Lab |
| Analyze water usage patterns | - Organize collected data for analysis. - Use statistical or digital tools to identify consumption trends and variations. - Compare water use data against benchmarks or efficiency standards. - Evaluate factors influencing water demand - Detect irregularities or high-consumption points - Report findings | - Application of statistical or digital tools to identify consumption trends and variations. - Comparison of water use data against benchmarks or efficiency standards. - Identification of factors influencing water demand and irregularities in consumption. ### Practical Activity: - Evaluate findings and prepare a report highlighting water demand factors and irregularities. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Computers or laptops - Reference books or manuals on water management standards - Measurement instruments - Data analysis tools - Stationery | - Classroom - Computer Lab |
| Conduct water auditing & loss assessment | - Plan comprehensive water audit for selected site or sector. - Identify input and output points in water system for assessment. - Measure total water inflow, usage, and discharge to determine efficiency. - Detect water losses through leakage checks, flow monitoring, and inspection. - Calculate water balance and identify areas of excessive or non-revenue losses. - Document findings with photographs, data sheets, and audit records. - Recommend corrective actions to reduce losses and improve system efficiency. | - Comprehensive water audit process for a selected site or sector. - Methods for measuring water inflow, usage, discharge, and identifying losses. - Documentation and analysis of water audit findings, including corrective action recommendations. ### Practical Activity: - Conduct a water audit at a selected site by identifying input and output points and measuring water inflow, usage, and discharge. | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Flow meters - Pressure gauges - Leak detection equipment - Measuring tapes - Laptops or computers - Pipe inspection tools - Calibration tools for instruments. - Stationery | - Classroom - Computer Lab |
| Prepare draft water usage report | - Compile collected and analysed data into a clear, structured report format. - Include visual representations such as graphs, tables, and maps for clarity. - Provide recommendations for improving water management. - Present the draft report to organizational standards. | - Use of visual representations such as graphs, tables, and maps for clarity - Recommendations for improved water management practices - Alignment of report presentation with organizational standards ### Practical Activity: - Present the draft report with recommendations according to organizational standards | Theory-01Hrs Practice-03Hrs Total- 04Hrs | - Computers or laptops - Software for data analysis - Storage devices - Stationery | - Classroom - Computer Lab |

  - 0712WCS10: Manage Community-Based Water Conservation Projects

### Objective: This module covers the skills and knowledge required to describe the skills and knowledge required to Prepare community water needs and resources report, Plan community- based water conservation activities, Mobilize Community Participation, Implement Water Conservation Practices, monitor project activities, develop sustainable water conservation plans and promote behavioral and institutional change.

Duration: 54 Hours			Theory: 06 Hours		Practice: 48 Hours

| ### Learning Unit | ### Learning Outcomes | ### Learning Elements | ### Duration | ### Materials Required | ### Learning ### Place |
| --- | --- | --- | --- | --- | --- |
| Prepare community water needs and resources report | - Collect data on community water sources usage patterns. - Identify existing water supply systems on their condition. - Assess seasonal variations in water availability. - Evaluate community water demand for domestic with agricultural use. - Record water quality data using standard test kits. - Compile findings into a comprehensive report on needs with available resources. - Present report findings to stakeholders for validation. - Maintain proper documentation with records of survey results. | - Introduction to Community Water Assessment - Types of Water Sources, Systems and Usage Patterns - Methods and Principles for Data Collection, Analysis and Reporting ### Practical activity: - Prepare report on water resources and usage | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Stationary - Camera / Smartphone - Measuring - Tape / Ruler - Calculator - Local maps | - Class Room - Lab |
| Plan community- based water conservation activities | - Identify possible conservation activities based on available resources. - Set realistic project objectives with expected outcomes. - Prepare a work plan covering timeline with responsibilities. - Select appropriate water conservation techniques for local conditions. - Develop a monitoring plan for project implementation. - Prepare and submit the final conservation activity plan. | - Introduction to Conservation Activity Planning - Methods for Setting Objectives and Preparing Work Plans - Principles for Selecting Suitable Water Conservation Techniques Practical activity - Prepare a Complete Conservation Plan with Monitoring Steps | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Stationary - Camera / Smartphone - Measuring Tape / Ruler - Calculator - Local maps - Chart/ poster - Clip board | - Class room - field |
| Mobilize community participation | - Facilitate meetings to discuss project goals and roles. - Assign responsibilities among community participants. - Build partnerships with local institutions and NGOs. - Resolve conflicts or concerns raised by community members. - Recognize support active participants. - Maintain record of attendance with participation. - Evaluate community response to adjust engagement method | - Introduction to Community Engagement and Coordination - Methods for Assigning Roles and Managing Participation - Principles for Building Partnerships and Handling Conflicts Practical activity - organize Community Meeting in class and Record Participation | Theory-0.5Hrs Practice-06Hrs Total- 6.5Hrs | - Stationary - White board | - Class room - lab |
| Implement water conservation practices | - Apply approved water-saving techniques in target areas. - Supervise construction or installation of water-saving structures. - Verify correct application of soil water management measures. - Monitor ongoing activities to ensure compliance with plans. - Document work progress with photos and reports. - Review implementation results with community representatives. | - Basics of Applying Water-Saving Techniques in Target Areas - Methods for Supervising and Verifying Implementation - Introduction to Monitoring and Reviewing Progress with Community Practical activity - Evaluate Water Conservation Work on Site | Theory-0.5Hrs Practice-09Hrs Total- 9.5Hrs | - Stationary - measuring tape - bucket - flow meter - camera/ smartphone - drip irrigation kits - gutter/downpipes | - Class room - Field |
| Monitor project activities | - Develop a checklist to track project progress. - Collect performance data during field visits. - Compare actual progress with planned activities. - Identify gaps or deviations in implementation. - Recommend corrective actions for improvement. - Maintain transparent monitoring records. - Share monitoring results with stakeholders. - Verify the effective use of project resources. - Submit periodic monitoring reports. | - Principles of Project Monitoring and Progress Tracking - Basics of Collecting and Comparing Field Performance Data - Methods for Identifying Gaps and Recommending Corrective Actions Practical activity - Submit a Monitoring Report with Stakeholder Feedback | Theory-01Hrs Practice-07Hrs Total- 08Hrs | - Stationary - Camera/ smartphone - measuring tap - flow meter | - Class room - field |
| Develop sustainable water conservation plans | - Assess current practices for long-term sustainability. - Identify potential risks affecting water resources. - Select plans for harvesting with reusing rainwater. - Establish targets for water use efficiency. - Prepare maintenance plans for water systems. - Estimate long-term financial environmental impacts. - Review plan feasibility with local authorities. - Present the sustainability plan. | - Introduction to Sustainable Water Management Practices - Principles for Assessing Risks and Setting Efficiency Targets - Methods for Planning, Reviewing, and Maintaining Water Systems Practical activity ### Present Sustainability Plan for Local Water Resources | Theory-01Hrs Practice-09Hrs Total- 10Hrs | - Stationary - Camera/smartphone - measuring tape - buckets - flow meters - storage tanks - downpipes - filters - drip irrigation kits | - Class room - field |
| Promote behavioral and institutional change | - Conduct campaigns to raise awareness on water conservation ethics. - Develop educational materials for awareness programs. - Collaborate with media to spread conservation messages. - Facilitate approval of community water management rules. - Monitor behaviour change along with adoption levels. - Provide feedback to sustain positive practices. | - Basics of Conducting Water Conservation Awareness Campaigns - Methods for Developing Materials and Engaging Media - Principles for Monitoring Behavioral Change and Sustaining Practices Practical activity ### Conduct a short Community Awareness Program. | Theory-01Hrs Practice-06Hrs Total- 07Hrs | - Stationary - Poster - Charts - Clipboard - Badges | - Class room - Field |

- Tools, Equipment and Consumables Required for Qualification

| Sr. # | 5A. List of Consolidated Consumables | Quantity |
| --- | --- | --- |
| 1 | Aprons for wastewater handling | 2 Bundles |
| 2 | Chemical-resistant Gloves | 25 sets |
| 3 | Chemicals: Hypochlorite, Alum, Lime (used in chemical treatment | As per requirement |
| 4 | Construction Marking Tools (Chalk, Line, Pegs) | As per requirement |
| 5 | Data Recording Sheets / Templates | As per requirement |
| 6 | Detergents/chlorine | As per requirement |
| 7 | Face Masks / Respirators (Ammonia/odor protection) | 25 |
| 8 | Field Notebooks & Pencils | 25 sets |
| 9 | Filter Screens for rainwater harvesting | As per requirement |
| 10 | Flip Charts, Posters & Markers | As per requirement |
| 11 | Green Manure Seeds (Sesbania / Sunhemp / Dhaincha) | As per requirement |
| 12 | leak detection dye | 10 |
| 13 | lubricants | As per requirement |
| 14 | PPEs | 25 sets |
| 15 | Sampling Bottles & Containers | As per requirement |
| 16 | Sampling labels | As per requirement |
| 17 | Stationery (Pens, Markers, Sheets) | 25 sets |

| SR.# | 5B. Consolidated List of Tools, Machinery & Equipment | Quantity |
| --- | --- | --- |
| 1 | A frame | 5 |
| 2 | Activated Sludge Reactor (teaching model) | 2 |
| 3 | Aerators or Small Pumps | 2 |
| 4 | Ammonia test kit | 30 |
| 5 | Audio-Visual Aids (multimedia, Speakers) | 2 |
| 6 | Auto level | 5 |
| 7 | Bed Planter | 1 |
| 8 | Biofilter / Trickling Filter Demonstration Unit | 1 |
| 9 | BOD Incubator | 2 |
| 10 | Buckets | 25 |
| 11 | Bund-making Wooden Frames | 5 |
| 12 | Calculator | 10 |
| 13 | Cameras | 2 |
| 14 | Chemical Dosing Units (Alum, Lime) | 2 |
| 15 | Chlorination Unit (hypochlorite dosing pump) | 2 |
| 16 | Cleaning Brushes | 30 |
| 17 | Clinometer / Abney Level | 5 |
| 18 | Clipboards & Files | 25 |
| 19 | Coagulation–Flocculation Jar Test Apparatus | 5 |
| 20 | COD Digester | 2 |
| 21 | Colorimeter | 1 |
| 22 | Compass (Survey Type) | 5 |
| 23 | Computers / Laptops/Tabs | 5 |
| 24 | Concrete Mixer | 2 |
| 25 | Contour markers | 10 |
| 26 | Contour Sowing Frame / Seeder (manual) | 5 |
| 27 | Current meter | 2 |
| 28 | Cut throat Flumes | 5 |
| 29 | Deep Tillage Equipment (tractor-drawn) | 2 |
| 30 | Differential GPS | 1 |
| 31 | Digital Weighing Balance | 2 |
| 32 | DO Meter | 5 |
| 33 | Field Marking Pegs +Ropes (50-meter) | 50+20 |
| 34 | Field Notebook/ Digital log | 30 |
| 35 | First Aid Kits | 2 |
| 36 | Flow Meters (analog + Digital) | 5 |
| 37 | Furrow Maker (Tractor mounted) | 1 |
| 38 | GIS Software License (QGIS/ArcGIS/arcmap/ERDAs imagine/ENVI) | 1 |
| 39 | GPS Handsets | 10 |
| 40 | Gravel Filter Column (demo size) | 2 |
| 41 | Grit Chamber (small-scale demo unit) | 1 |
| 42 | Ground microphone with electronic listening stick | 2 |
| 43 | Gutters & Downpipes | 5 |
| 44 | Hammer | 10 |
| 45 | Hand Gloves | 25 |
| 46 | Hand Trowels | 25 |
| 47 | Hoes | 25 |
| 48 | Hydraulic Bench | 1 |
| 49 | Icebox | 10 |
| 50 | Imhoff Cones for settling test | 5 |
| 51 | Incubation Chamber | 1 |
| 52 | Infiltration rings Portable | 5 |
| 53 | Knapsack Sprayer electric |  |
| 54 | Land Leveler | 5 |
| 55 | Laser Land Leveler | 1 |
| 56 | Maintenance Tool Kits (Wrenches, Pliers, Screwdrivers) | 10 |
| 57 | Measuring Cylinders / Beakers | 25 |
| 58 | Measuring Tape (30m) | 10 |
| 59 | Membrane Filter (small lab-scale) | 5 |
| 60 | Microscope (for activated sludge floc examination) | 5 |
| 61 | Mini Lysimeter Boxes (for demonstration) | 5 |
| 62 | Mounting Stand | 5 |
| 63 | Mulching Materials (Straw, Plastic mulch) | c |
| 64 | Multimeter | 5 |
| 65 | Nitrate test kit | 30 |
| 66 | Nitrite test kit | 30 |
| 67 | oven | 1 |
| 68 | pH/EC/Temperature/TDS meters | 2 |
| 69 | Phosphate test kit | 30 |
| 70 | Pickaxel(Genti) | 25 |
| 71 | Pressure Gauges | 5 |
| 72 | Pumps & Hoses | 5 |
| 73 | PVC Pipes & Fittings for demo | As required |
| 74 | Rain Gauge | 5 |
| 75 | Reagents | c |
| 76 | Reflective Vests | 25 |
| 77 | Ridger | 1 |
| 78 | Runoff Collection Troughs / Runoff Measurement Pans | 5 |
| 79 | Sand Filter Unit (demonstration size) | 1 |
| 80 | Screening Rack (Coarse + Fine Screens) | 1 |
| 81 | Shovels | 25 |
| 82 | Slope Measuring Board | 5 |
| 83 | Sludge Collection Trays / Buckets | 10 |
| 84 | Sludge Dewatering Bags (Geotextile) | 10 |
| 85 | Small Aeration Tank Model (demo size) | 1 |
| 86 | Small Sludge Drying Bed Model | 1 |
| 87 | Soil auger | 10 |
| 88 | Soil Core sampler | 5 |
| 89 | Soil Moisture Sensor | 2 |
| 90 | Soil sampling Can SS | 50 |
| 91 | Spades | 25 |
| 92 | Spectrophotometer | 1 |
| 93 | Staff Rod (5m) | 5 |
| 94 | Stopwatch | 2 |
| 95 | String level | 5 |
| 96 | Super seeder | 1 |
| 97 | Terrace Alignment Boards | 5 |
| 98 | Total Station | 1 |
| 99 | Tractor | 1 |
| 100 | Trench excavation tool(Manual) | 5 |
| 101 | Turbidity Tube (gravity-based) | 5 |
| 102 | Valve Key set | 1 |
| 103 | Wading rod | 10 |
| 104 | Water level gauge | 10 |
| 105 | Water level indicator / dip meter | 2 |
| 106 | Water Level Meter | 5 |
| 107 | Water Storage Tanks (1000L)+ First Flush Diverter HDPE Tank (200-L) | 6+2 |
| 108 | Wheel barrows | 5 |
| 109 | Winkler titration kit | 10 |
|  | Models |  |
| 110 | Roof top Rainwater Harvesting Model |  |
| 111 | Managed Aquifer recharge Model |  |
| 112 | Recycling and Reuse of Domestic water Usage Model |  |
| 113 | Waste Water treatment Model |  |
| 114 | Pressurize irrigation system model |  |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Muhammad Saeed Ahmed | DACUM Facilitator | UVAS Ravi Campus |
|  | Syed Zaheer Shah Gardezi | Executive Director | Green Solutions and Social Sector Services |
|  | Engr. Shah Fahad Yousafzai | Deputy Director | Agriculture Engineering |
|  | Adil Hussain | Water Treatment Incharge | Aquarian Water |
|  | Zahid Alvi | Water Management Officer | TMA, Multan |
|  | Arham Mahfooz | Data Engineer | Vision Developer |
|  | Ammar Awan | Water Management Officer | Irrigation Department Punjab |
|  | Mr Yasir | CEO | Skylark |
|  | Dr. Farooq | Assistant Professor | University Of Layyah |
|  | Dr. Mubeen | Assistant Professor | University Of Layyah |
|  | Khuram Kamboh |  | PCRWR |