|  | Assessment Evidence Guide For Water Management Technician L-4 Formative Assessment 0811WM0101 Analyze Hydrometric measurement |
| --- | --- |
|  | Date 15th - 19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0101 Analyze Hydrometric measurement |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform calibration of flow measurement instruments - 2.Record precipitation - 3. Record flow measurement - 4. Maintain logbook Activity: Candidate is tasked to accurately calibrate flow measurement instruments, record precipitation and flow measurements, and maintain a detailed logbook for all data and procedures. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Check the hydrometric instruments - Record the instrument readings - Compute the calibration errors - Note the observation time •Measure received precipitation •Calculate discharge from field data - Record all readings |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Management Technician Level-4 |
| Competency Standard | 0811WM0101 Analyze Hydrometric measurement |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform calibration of flow measurement instruments - Record precipitation - Record flow measurement - Maintain logbook Activity: Candidate is tasked to accurately calibrate flow measurement instruments, record precipitation and flow measurements, and maintain a detailed logbook for all data and procedures. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the hydrometric instruments |  |  |
| - Set up the equipment’s as per requirements |  |  |
| - Stabilize the hydrometric Instrument |  |  |
| - Record the instrument readings |  |  |
| - Compute the calibration error |  |  |
| - Recheck the instrumental working |  |  |
| - Inspect the rain gauge site |  |  |
| - Check the gauge condition as per standards. |  |  |
| - Note the observation time |  |  |
| - Measure received precipitation |  |  |
| - Remove water from Gauge |  |  |
| - Select suitable measuring site |  |  |
| - Observe flow parameters |  |  |
| - Calculate discharge from field data |  |  |
| - Develop understanding of logbook |  |  |
| - Update information after each observation |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0101 Analyze Hydrometric measurement |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_____________________________________ Assessor’s code: ____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Check the hydrometric instruments - Record the instrument readings - Compute the calibration errors - Note the observation time - Measure received precipitation - Calculate discharge from field data - Record all readings Activity: Candidate is tasked to accurately calibrate flow measurement instruments, record precipitation and flow measurements, and maintain a detailed logbook for all data and procedures. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the hydrometric instruments |  |  |  |  |  |
|  | Set up the equipment’s as per requirements |  |  |  |  |  |
|  | Stabilize the hydrometric Instrument |  |  |  |  |  |
|  | Record the instrument readings |  |  |  |  |  |
|  | Compute the calibration error |  |  |  |  |  |
|  | Recheck the instrumental working |  |  |  |  |  |
|  | Inspect the rain gauge site |  |  |  |  |  |
|  | Check the gauge condition as per standards. |  |  |  |  |  |
|  | Note the observation time |  |  |  |  |  |
|  | Measure received precipitation |  |  |  |  |  |
|  | Remove water from Gauge |  |  |  |  |  |
|  | Select suitable measuring site |  |  |  |  |  |
|  | Observe flow parameters |  |  |  |  |  |
|  | Calculate discharge from field data |  |  |  |  |  |
|  | Develop understanding of logbook |  |  |  |  |  |
|  | Update information after each observation |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0101 Analyze Hydrometric measurement |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ________________________________________________ Registration/Roll Number: __________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: ____________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is calibration of a flow measurement instrument? |  |  |
|  | Why is calibration important before taking flow readings? |  |  |
|  | What unit is used to record rainfall? |  |  |
|  | Name any one flow measurement instrument used at canal stations. |  |  |
|  | Why should a rain gauge be installed in an open area? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________