|  | Assessment Evidence Guide For Water Management Technician Level-4 Formative Assessment ### 0811WM0102 Evaluate Physical Water Quality Parameters |
| --- | --- |
|  | Date 15th - 19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | ### 0811WM0102 Evaluate Physical Water Quality Parameters |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 00 Hrs. time frame (for practical demonstration & assessment): - Prepare testing reagents - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform TDS test - Perform turbidity test - Perform odor test Activity: Candidate is tasked to collect two groundwater and two surface water samples, prepare testing reagents, and conduct water quality tests to assess the physical and chemical characteristics of the water. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Collect fresh water sample in a clean bottle. Measure required quantity using balance or measuring cylinder - Record temperature. - Record pH value. - Record EC value in logbook. - Insert TDS probe into the sample. - Record TDS value. - Record reading of TDS - Warm sample slightly to release odour. - Identify any unusual or strong odour. - Record observation in the logbook.. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Management Technician Level-4 |
| Competency Standard | ### 0811WM0102 Evaluate Physical Water Quality Parameters |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare testing reagents - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform TDS test - Perform turbidity test - Perform odor test Activity: Candidate is tasked to collect two groundwater and two surface water samples, prepare testing reagents, and conduct water quality tests to assess the physical and chemical characteristics of the water. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check chemical labels for correct reagents. |  |  |
| - Collect fresh water sample in a clean bottle |  |  |
| - Measure required quantity using balance or measuring cylinder. |  |  |
| - Mix reagents in clean container as per instructions |  |  |
| - Label prepared reagents with name and date |  |  |
| - Store reagents safely for use in tests |  |  |
| - Check thermometer for calibration. |  |  |
| - Note stabilized temperature reading. |  |  |
| - Record temperature |  |  |
| - Check pH meter or pH strips for proper function. |  |  |
| - Note the stabilized recording of pH. |  |  |
| - Record pH value |  |  |
| - Check EC meter for calibration. |  |  |
| - Record EC value. |  |  |
| - Check TDS meter for calibration. |  |  |
| - Insert TDS probe into the sample. |  |  |
| - Record TDS value |  |  |
| - Clean turbidity meter before use. |  |  |
| - Warm sample slightly to release odor. |  |  |
| - Identify any unusual or strong odor. |  |  |
| - Record observation in the logbook |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | ### 0811WM0102 Evaluate Physical Water Quality Parameters |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ____________________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare testing reagents - Perform temperature test - Perform pH test - Perform electrical conductivity test - Perform TDS test - Perform turbidity test - Perform odor test Activity: Candidate is tasked to collect two groundwater and two surface water samples, prepare testing reagents, and conduct water quality tests to assess the physical and chemical characteristics of the water. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check chemical labels for correct reagents. |  |  |  |  |  |
|  | Collect fresh water sample in a clean bottle |  |  |  |  |  |
|  | Measure required quantity using balance or measuring cylinder. |  |  |  |  |  |
|  | Mix reagents in clean container as per instructions |  |  |  |  |  |
|  | Label prepared reagents with name and date |  |  |  |  |  |
|  | Store reagents safely for use in tests |  |  |  |  |  |
|  | - Check thermometer for calibration. |  |  |  |  |  |
|  | Note stabilized temperature reading. |  |  |  |  |  |
|  | Record temperature |  |  |  |  |  |
|  | Check pH meter or pH strips for proper function. |  |  |  |  |  |
|  | Note the stabilized recording of pH. |  |  |  |  |  |
|  | Record pH value |  |  |  |  |  |
|  | Check EC meter for calibration. |  |  |  |  |  |
|  | Record EC value. |  |  |  |  |  |
|  | Check TDS meter for calibration. |  |  |  |  |  |
|  | Insert TDS probe into the sample. |  |  |  |  |  |
|  | Record TDS value |  |  |  |  |  |
|  | Clean turbidity meter before use. |  |  |  |  |  |
|  | Warm sample slightly to release odor. |  |  |  |  |  |
|  | Identify any unusual or strong odor. |  |  |  |  |  |
|  | Record observation in the logbook |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | ### 0811WM0102 Evaluate Physical Water Quality Parameters |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory |  | Not Satisfactory |
| --- | --- | --- | --- | --- | --- |
|  | What is the purpose of preparing testing reagents? |  |  |  |  |
|  | Why is distilled water used in reagent preparation? |  |  |  |  |
|  | Why is distilled water used in reagent preparation? |  |  |  |  |
|  | Name one common smart contract vulnerability that allows re-entering a function during an external call. |  |  |  |  |
|  | Why is temperature important in water testing? |  |  |  |  |
|  | Why must a pH meter be calibrated? |  |  |  |  |
| Feedback to the Candidate |  |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |  |