|  | Assessment Evidence Guide For Water Management Technician Level-4 Formative Assessment 0811WM0103 Design Rain water harvest System |
| --- | --- |
|  | Date 15th - 19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0103 Design Rain water harvest System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 00 Hrs. time frame (for practical demonstration & assessment): - Prepare material for rainwater harvesting - Prepare site for rainwater harvesting - Install Roof Top RWH system - Construct surface run off collection system - Construct surface storage system Activity: Candidate is tasked to design a rooftop rainwater harvesting system, detailing the required material specifications, rainfall data analysis, tank capacity calculations, and filtration system requirements. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Configure local blockchain environment. - Create scaffold smart contract. - Initialize NFT contract metadata. - Generate image link by storing on IPFS. - Implement ERC-721 interface. - Compile smart contract on local machine. - Debug reported errors if required. - Execute deployment script to local blockchain network. - Publish NFT on blockchain network. - Import NFT in Metamask wallet. - Verify transaction status using local blockchain explorer. - Perform manual tests via scripts to validate NFT behavior. - Perform unit testing of ERC-721 functions. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Management Technician Level-4 |
| Competency Standard | 0811WM0103 Design Rain water harvest System |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare material for rainwater harvesting - Prepare site for rainwater harvesting - Install Roof Top RWH system - Construct surface run off collection system - Construct surface storage system Activity: Candidate is tasked to design a rooftop rainwater harvesting system, detailing the required material specifications, rainfall data analysis, tank capacity calculations, and filtration system requirements. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check list of required materials. |  |  |
| - Collect pipes, tanks, and filters from storage. |  |  |
| - Inspect materials for damage or defects. |  |  |
| - Clean tanks and fittings before use. |  |  |
| - Arrange materials near installation site. |  |  |
| - Select suitable location. |  |  |
| - Clear site of debris or vegetation. |  |  |
| - Level ground for proper placement. |  |  |
| - Mark layout for tanks or channels |  |  |
| - Check drainage slope for smooth flow. |  |  |
| - Fix gutters along the roof edges. |  |  |
| - Connect downpipes to direct water flow. |  |  |
| - Attach filter unit to remove impurities. |  |  |
| - Link outlet to storage tank or pit. |  |  |
| - Test system for proper water flow. |  |  |
| - Construct surface run-off collection system |  |  |
| - Survey area to locate runoff path. |  |  |
| - Excavate shallow channels for flow collection. |  |  |
| - Lay lining or stone pitching to prevent erosion. |  |  |
| - Install silt traps at entry points. |  |  |
| - Construct surface storage system |  |  |
| - Select suitable low-lying area for storage. |  |  |
| - Mark boundary of storage structure. |  |  |
| - Excavate pit/pond to required depth. |  |  |
| - Line base with clay/plastic sheet. |  |  |
| - Build inlet/outlet for controlled flow |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: ______________________________

Assessors Judgment Guide

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0103 Design Rain water harvest System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ____________________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare material for rainwater harvesting - Prepare site for rainwater harvesting - Install Roof Top RWH system - Construct surface run off collection system - Construct surface storage system Activity: Candidate is tasked to design a rooftop rainwater harvesting system, detailing the required material specifications, rainfall data analysis, tank capacity calculations, and filtration system requirements. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check list of required materials. |  |  |  |  |  |
|  | Collect pipes, tanks, and filters from storage. |  |  |  |  |  |
|  | Inspect materials for damage or defects. |  |  |  |  |  |
|  | Clean tanks and fittings before use. |  |  |  |  |  |
|  | Arrange materials near installation site. |  |  |  |  |  |
|  | Select suitable location. |  |  |  |  |  |
|  | Clear site of debris or vegetation. |  |  |  |  |  |
|  | Level ground for proper placement. |  |  |  |  |  |
|  | Mark layout for tanks or channels |  |  |  |  |  |
|  | Check drainage slope for smooth flow. |  |  |  |  |  |
|  | Fix gutters along the roof edges. |  |  |  |  |  |
|  | Connect downpipes to direct water flow. |  |  |  |  |  |
|  | Attach filter unit to remove impurities. |  |  |  |  |  |
|  | Link outlet to storage tank or pit. |  |  |  |  |  |
|  | Test system for proper water flow. |  |  |  |  |  |
|  | Construct surface run-off collection system |  |  |  |  |  |
|  | Survey area to locate runoff path. |  |  |  |  |  |
|  | Excavate shallow channels for flow collection. |  |  |  |  |  |
|  | Lay lining or stone pitching to prevent erosion. |  |  |  |  |  |
|  | Install silt traps at entry points. |  |  |  |  |  |
|  | Construct surface storage system |  |  |  |  |  |
|  | Select suitable low-lying area for storage. |  |  |  |  |  |
|  | Mark boundary of storage structure. |  |  |  |  |  |
|  | Excavate pit/pond to required depth. |  |  |  |  |  |
|  | Line base with clay/plastic sheet. |  |  |  |  |  |
|  | Build inlet/outlet for controlled flow |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0103 Design Rain water harvest System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is rainwater harvesting? |  |  |
|  | Name two materials required for rooftop RWH system. |  |  |
|  | Why is site preparation important before installation of RWH? |  |  |
|  | After minting an NFT, how can you prove that you are the owner of that NFT? |  |  |
|  | What is the function of gutters in a rooftop RWH system? |  |  |
|  | What is the purpose of a first-flush device? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |