|  | Assessment Evidence Guide For Water Management Technician Level-4 Formative Assessment 0811WM0109 Conduct Field Level Water Governance Practices |
| --- | --- |
|  | Date 15th - 19th December 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0109 Conduct Field Level Water Governance Practices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 00 Hrs. time frame (for practical demonstration & assessment): - Measure water uses rates under field conditions - Operate pumping stations and control valves - Perform water distribution as per law - Perform fine tuning of accessories Activity: Candidate is tasked with scheduling irrigation in mixed cropping farm where efficient and lawful use of irrigation water is required. The farm uses a tube well connected to a pumping station with controlled distribution, and system optimization. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Place measuring devices at water outlets. - Record flow/volume over time. - Start pumps according to operational schedule. - Adjust valves to control water flow. - Monitor water levels and pressure continuously. - Record operational data for reporting. - Inspect accessories for alignment/damage. - Adjust settings according to specifications. - Record changes and results in the log. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Water Management Technician Level-4 |
| Competency Standard | 0811WM0109 Conduct Field Level Water Governance Practices |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure water uses rates under field conditions - Operate pumping stations and control valves - Perform water distribution as per law - Perform fine tuning of accessories Activity: Candidate is tasked with scheduling irrigation in mixed cropping farm where efficient and lawful use of irrigation water is required. The farm uses a tube well connected to a pumping station with controlled distribution, and system optimization. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Place measuring devices at water outlets. |  |  |
| - Record flow/volume over time. |  |  |
| - Compare usage with allocations. |  |  |
| - Check pumps/valves for proper condition. |  |  |
| - Start pumps according to operational schedule. |  |  |
| - Adjust valves to control water flow. |  |  |
| - Monitor water levels and pressure continuously. |  |  |
| - Record operational data for reporting. |  |  |
| - Identify beneficiaries and water allocation quotas. |  |  |
| - Monitor water delivery at each outlet. |  |  |
| - Measure volumes to ensure compliance with allocation. |  |  |
| - Inspect accessories for alignment/damage. |  |  |
| - Adjust settings according to specifications. |  |  |
| - Test each accessory for proper operation. |  |  |
| - Check performance after adjustments. |  |  |
| - Record changes and results in the log |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0109 Conduct Field Level Water Governance Practices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ____________________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure water uses rates under field conditions - Operate pumping stations and control valves - Perform water distribution as per law - Perform fine tuning of accessories Activity: Candidate is tasked with scheduling irrigation in mixed cropping farm where efficient and lawful use of irrigation water is required. The farm uses a tube well connected to a pumping station with controlled distribution, and system optimization. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Place measuring devices at water outlets. |  |  |  |  |  |
|  | Record flow/volume over time. |  |  |  |  |  |
|  | Compare usage with allocations. |  |  |  |  |  |
|  | Check pumps/valves for proper condition. |  |  |  |  |  |
|  | Start pumps according to operational schedule. |  |  |  |  |  |
|  | Adjust valves to control water flow. |  |  |  |  |  |
|  | Monitor water levels and pressure continuously. |  |  |  |  |  |
|  | Record operational data for reporting. |  |  |  |  |  |
|  | Identify beneficiaries and water allocation quotas. |  |  |  |  |  |
|  | Monitor water delivery at each outlet. |  |  |  |  |  |
|  | Measure volumes to ensure compliance with allocation. |  |  |  |  |  |
|  | Inspect accessories for alignment/damage. |  |  |  |  |  |
|  | Adjust settings according to specifications. |  |  |  |  |  |
|  | Test each accessory for proper operation. |  |  |  |  |  |
|  | Check performance after adjustments. |  |  |  |  |  |
|  | Record changes and results in the log |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Water Management Technician Level-4 |
| --- | --- |
| Competency Standard | 0811WM0109 Conduct Field Level Water Governance Practices |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: _________________ Candidate Signature: ___________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________________________ Assessor’s code: ____________________________________________________ Signature of the Assessor: _______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory |  | Not Satisfactory |
| --- | --- | --- | --- | --- | --- |
|  | Why is measuring water flow important in irrigation management? |  |  |  |  |
|  | What is the function of a control valve? |  |  |  |  |
|  | What is water hammer and why is it harmful? |  |  |  |  |
|  | List two safety checks before operating a pumping station. |  |  |  |  |
|  | Define cavitation in pumps. |  |  |  |  |
| - . | Why is measuring water flow important in irrigation management? |  |  |  |  |
| Feedback to the Candidate |  |  |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |  |  |

Annexture – 01