Competency Standards

for

National Diploma Level 4

in

Water Management Technician

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

The National Vocational and Technical Training Commission (NAVTTC) sincerely acknowledges and appreciates the valuable contributions of representatives from business, industry, academia, government bodies, provincial TEVTAs, sector skill councils, and trade associations who devoted their time and expertise in the development of the National Vocational Qualification for Water Management Technician (Level-IV). The successful completion of this qualification framework would not have been possible without their technical support and guidance.

NAVTTC recognizes the dedicated efforts of experts from Industry, Academia, TEVTAs, and related sectors who worked diligently to ensure the quality, relevance, and accuracy of this qualification. The credit for this achievement goes to their hard work; however, NAVTTC takes full responsibility for any errors or omissions that may still exist in the qualification document.

It is important to highlight that the development of competency standards is a continuous and evolving process. With ongoing advancements in technology, scientific research, and practical experience at the field level, periodic review and updating of these standards is essential. NAVTTC, Government of Pakistan, remains committed to keeping the Dairy Technician qualification aligned with the dynamic needs of the dairy industry and the changing demands of both national and international labor markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	1

1.1.	Date of development:	1

1.2.	Date of review	1

1.3.	Entry requirement of trainee:	1

1.4.	Trainer Qualification Requirement	1

1.5.	Codes of qualification (ISCED)	1

2.	Summary of Competencies	1

3.	Qualification Levelling and Packaging	2

4.	Description of Qualification Package	2

5.	Competency Standards	2

5.1 0031PSD01 Perform Basic Communication	2

5.2 0811WM0101 Analyze Hydrometric measurement	4

5.3 0811WM0102 Evaluate Physical Water Quality Parameters	5

5.4 0811WM0103 Design Rainwater harvest System	7

5.5 0811WM0104 Conduct Reconnaissance Survey	9

5.6 0811WM0105 Analyze Topographic Survey	10

5.7 0811WM0106 Manage Groundwater Assessment	11

5.8 0811WM0107 Perform Installation of water structures	12

5.9 0811WM0108 Manage Maintenance of Water Infrastructures	14

5.10 0811WM0109 Conduct Field Level Water Governance Practices	15

5.11 0811WM01010 Manage Plantation Activities in Watershed	17

5.12 0811WM01011 On Job Training	18

6.	List of Consolidated Consumables, Tools, Machinery & Equipment	19

7.	Members of Qualifications Development Committee	20

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) recognizes the critical importance of vocational and technical education in preparing Pakistan’s workforce with the necessary skills and competencies to support national development goals. In response to the growing need for skilled professionals in the water management and agricultural sectors, NAVTTC has developed Competency Standards (CS) for Water Management Technician (Level-4). This initiative underscores NAVTTC’s commitment to human resource development, sustainable resource utilization, and environmental stewardship in alignment with both national priorities and international standards.

The water sector plays a pivotal role in Pakistan’s economy, supporting agriculture, food security, ecosystem health, and rural livelihoods. As the demand for efficient irrigation, sustainable land use, and climate-resilient water practices increases, the need for trained technicians has become more pressing than ever. A Water Management Technician serves as a key link between technical design and field implementation, ensuring optimal water use, soil conservation, and vegetation management across different landscapes.

| ## Date of development: | 13th October 2025 – 17th October 2025 |
| --- | --- |
| ## Date of review |  |
| ## Entry requirement of trainee: | Secondary School Certificate or Equivalent |
| ## Trainer Qualification Requirement | Minimum Diploma in Civil / hydrogeologist with 5 years of hands-on experience in Water Management OR Minimum Diploma in Environmental sciences/Engineering with 5 years of hands-on experience in Water Management OR F.sc with 5 years Industrial experience preferably having certification in Water Resource Management OR Bachelors in integrated water Recourses Management with 3 years’ Experience OR M.SC in integrated water Recourses Management with 1 year experience |
| ## Codes of qualification (ISCED) | Code: 0811WM01 Description: National Vocational Certificate Level 4 in Water Sector (Water Management Technician) |

# Summary of Competencies

| CODE | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
| 0031PSD01 | Perform Basic Communication | L-2 | Generic | 4 | 12 | 16 | 1 |
| 0811WM0101 | Analyze Hydrometric measurement | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0811WM0102 | Evaluate Physical Water Quality Parameters | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0811WM0103 | Design Rainwater Harvest System | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0811WM0104 | Conduct Reconnaissance Survey | L-4 | Technical | 10 | 30 | 40 | 2.5 |
| 0811WM0105 | Analyze Topographic Survey | L-4 | Technical | 11 | 48 | 59 | 3.5 |
| 0811WM0106 | Manage Groundwater Exploitation | L-4 | Technical | 15 | 60 | 75 | 4.5 |
| 0811WM0107 | Perform Installation of Water Structures | L-4 | Technical | 15 | 60 | 75 | 4.5 |
| 0811WM0108 | Manage Maintenance of Water Infrastructure | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0811WM0109 | Conduct Field Level Water Governance Practices | L-4 | Technical | 14 | 52 | 66 | 4 |
| 0811WM0110 | Manage Plantation Activities in Watershed | L-4 | Technical | 9 | 42 | 51 | 3 |
| 0613GD (24) | On Job Training | L-4 | Technical | - | - | 240 | 6 |
|  | Total |  |  | 116 | 688 | 804 | 40 |

# Qualification Levelling and Packaging

| S. No | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training Duration |
| --- | --- | --- | --- | --- | --- |
| 1. | Water Management Technician | 811WM0101- 0811WM0110 | 4 | 40 | - Year |

- Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| N/A | N/A | Water Management Technician | Dialogue in progress regarding Level 5 Water qualifications |

- Competency Standards

### 5.1 0031PSD01 Perform Basic Communication

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to assist in the development of communication competency at the workplace by providing information regarding different forms of workplace communication and their appropriate use.

| Competency Unit | Performance Criteria |
| --- | --- |
| Follow workplace Instructions | - Execute workplace instructions. - Ask questions to extract relevant information. - Carry out instructions based on received information. - Provide feedback based on received written instructions. - Compose workplace notes and memos. |
| Develop effective workplace relationships | - Perform duties to improve team cooperation. - Consult team members when challenges arise. - Respect differences in personal values and beliefs. - Report observed workplace harassment to relevant authority. |
| Communicate and work with team members | - Identify individual roles and responsibilities within the team. - Recognize team members responsibilities with respect. - Identify the person for reporting inside and outside the team. - Participate in team meetings for discussions. - Communicate with team members through interaction tools and equipment. - Provide support to team members as needed during tasks. - Provide and respond to feedback |
| Respond effectively to customer requests | - Listen to customer requests effectively. - Speak to customers using polite words. - Deliver information to required person in written or verbal form |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Mode of communication (e.g. written and nonverbal)

- Communication technology relevant to the workplace

- Effective communication (body language)

- Questioning techniques

- Introduction to process of basic workplace documentation

- Introduction to the rrules on how to write memos, notes, messages

- Introduction to workplace harassment

- Understand feedback Process

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate the ability to clarify workplace messages and apply verbal and written communication skills accurately.

- Respond to feedback from clients and colleagues.

- Provide support to team members in a group task

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook | 25 |
| 02 | Pen | 25 |
| 03 | Board Marker | 5 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | White Board | 1 |
| 02 | Projector or Multimedia | 1 |

### 5.2 0811WM0101 Analyze Hydrometric measurement

Overview:

After this competency standard, the trainee will be able to know and practically perform hydrometric measurements for accurate collection, recording, and analysis of water flow and rainfall data at site.

| Competency Units | Performance Criteria |
| --- | --- |
| Calibrate flow measurement instruments | - Check the hydrometric instruments - Set up the equipment’s as per requirements - Stabilize the hydrometric Instrument - Record the instrument readings - Compute the calibration error - Recheck the instrumental working |
| Measure precipitation according to SOPs | - Inspect the rain gauge site - Check the gauge condition as per standards - Note the observation time - Measure received precipitation - Remove water from Gauge |
| Record flow measurement | - Select suitable measuring site - Observe flow parameters - Calculate discharge from field data |
| Maintain hydrometric logbook | - Develop understanding of logbook - Record all readings - Update information after each observation |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Basic principles of hydrometry and its importance in water management.

- Types and functions of hydrometric instruments (e.g., current meters, rain gauges).

- Procedures for instrument calibration and maintenance.

- Methods for measuring rainfall, waterflow, and discharge.

- Techniques for selecting suitable measurement sites.

- Data recording, computation, and error checking methods.

- Preparation and maintenance of logbooks and inventory registers.

- Handling, labelling, and safe storage of instruments.

- Common field problems and basic troubleshooting.

- Field safety and environmental protection practices.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Calibrate, operate, and handle flow measurement instruments safely following standard procedures.

- Accurately measure and record precipitation, flow, and discharge data, maintaining proper logbooks.

- Identify and correct measurement errors, and manage equipment inventory and maintenance records.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook/ Field book | 5 |
| 02 | Pen | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Current meter | 5 |
| 02 | Ultrasonic Flow Meter | 1 |
| 03 | Staff gauge | 5 |
| 04 | Tipping Bucket Rain gauge | 2 |
| 05 | Ultrasonic Level Transmitter | 1 |
| 06 | Measuring tape | 5 |
| 07 | Stopwatch | 5 |
| 08 | GPS device | 5 |

### 5.3 0811WM0102 Evaluate Physical Water Quality Parameters

Overview:

After this Competency Standard, the trainee will be able to perform basic physical tests of water to record reading for assessment of its quality. The trainee will check parameters such as temperature, pH, turbidity, electrical conductivity, total dissolved solids, and odour using standard field instruments. The trainee will also record and interpret results to ensure water suitability for various uses.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare testing reagents of water | - Check chemical labels for correct reagents. - Measure required quantity using balance or measuring cylinder. - Mix reagents in clean container as per instructions. - Label prepared reagents with name and date. - Store reagents safely for use in tests. |
| Perform temperature test | - Check thermometer for calibration. - Collect water sample in clean container. - Note stabilized temperature reading. - Record temperature in the field log. |
| Perform pH test | - Check pH meter or pH strips for proper function. - Collect water sample in a clean container. - Note the stabilized recording of pH. - Record pH value in logbook. |
| Perform electrical conductivity test | - Check EC meter for calibration. - Collect water sample in a clean container. - Note stabilized reading. - Record EC value in logbook. |
| Perform TDS test | - Check TDS meter for calibration. - Collect water sample in a clean container. - Insert TDS probe into the sample. - Note stabilized reading. - Record TDS value in the logbook. |
| Measure turbidity levels | - Clean turbidity meter before use. - Collect water sample in a clean container. - Read turbidity value after display stabilizes. - Record reading in the test log. |
| Evaluate water odor characteristics | - Collect fresh water sample in a clean bottle. - Warm sample slightly to release odour. - Identify any unusual or strong odour. - Record observation in the logbook. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Basic principles of water quality and its importance.

- Physical parameters of water (temperature, pH, EC, TDS, turbidity, odour).

- Operation and calibration of testing instruments.

- Proper sampling, handling, and preservation of water samples.

- Preparation and safe use of testing reagents.

- Standard testing methods and field procedures.

- Data recording, reporting, and interpretation techniques.

- Common equipment errors and basic troubleshooting.

- Personal protective equipment (PPE) and laboratory safety.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Accurately perform temperature, pH, EC, TDS, turbidity, and odour analyses following standard procedures.

- Prepare and label reagents properly, and calibrate and maintain testing instruments.

- Record and interpret test results precisely while following laboratory safety and hygiene protocols.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook/ Fieldbook | 2 |
| 02 | Pen | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Analytical balance | 2 |
| 02 | Measuring cylinder | 10 |
| 03 | Beakers / mixing containers | 3 |
| 04 | Glass stirring rod | 2 |
| 05 | Labeling tape & marker | 2 |
| 06 | Laboratory / field thermometer | 2 |
| 07 | Digital temperature probe | 2 |
| 08 | Sample container (plastic or glass) | 3 |
| 09 | Digital pH meter (portable) | 5 |
| 10 | pH buffer solutions | 2 |
| 11 | pH test strips | 5 |
| 12 | EC meter / conductivity meter | 2 |
| 13 | Standard calibration solution | 3 |
| 14 | TDS meter (digital handheld) | 2 |
| 15 | Standard TDS calibration solution | 3 |
| 16 | Turbidity meter (portable nephelometer) | 2 |
| 17 | Water bath / warm plate | 3 |
| 18 | Odor reference chart | 5 |

### 5.4 0811WM0103 Design Rainwater harvest System

Overview:

After this Competency Standard, the trainee will be able to perform rainwater harvesting activities to collect, store, and manage rainwater effectively. The trainee will identify suitable collection areas, install basic harvesting structures, and maintain the system for efficient water use. The trainee will also monitor stored water quantity and ensure the system functions properly for sustainable water reuse.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare material for rainwater harvesting | - Check list of required materials. - Collect pipes, tanks, and filters from storage. - Inspect materials for damage or defects. - Clean tanks and fittings before use. - Arrange materials near installation site. |
| Prepare site for rainwater harvesting | - Select suitable location. - Clear site of debris or vegetation. - Level ground for proper placement. - Mark layout for tanks or channels. - Check drainage slope for smooth flow. |
| Install Roof Top RWH system | - Fix gutters along the roof edges. - Connect downpipes to direct water flow. - Attach filter unit to remove impurities. - Link outlet to storage tank or pit. - Test system for proper water flow. |
| Construct surface run off collection systems | - Construct surface run-off collection system - Survey area to locate runoff path. - Excavate shallow channels for flow collection. - Lay lining or stone pitching to prevent erosion. - Install silt traps at entry points. |
| Construct surface storage system | - Construct surface storage system - Select suitable low-lying area for storage. - Mark boundary of storage structure. - Excavate pit/pond to required depth. - Line base with clay/plastic sheet. - Build inlet/outlet for controlled flow. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Basic principles and importance of harvesting rainwater.

- Components of rooftop and surface runoff harvesting systems.

- Site selection and layout for effective water collection.

- Types and uses of materials such as pipes, tanks, and filters.

- Techniques for gutter installation and drainage management.

- Methods for constructing storage pits, ponds, and channels.

- Filtration and sediment control practices.

- Maintenance and cleaning of rainwater harvesting systems.

- Water quality monitoring and record-keeping.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Inspect materials, tools, and select suitable sites for rainwater harvesting system setup.

- Properly install rooftop and surface runoff harvesting systems, and construct and maintain storage structures.

- Maintain proper water flow, filtration, and system performance while following safety and environmental standards.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook/ Fieldbook | 2 |
| 02 | Pen | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Measuring Tape | 5 |
| 02 | Spade / Shovel | 5 |
| 03 | Spirit Level | 5 |
| 04 | PVC Pipe Cutter | 5 |
| 05 | Hacksaw | 5 |
| 06 | Hammer | 5 |
| 07 | Screwdriver Set | 1 |
| 08 | Adjustable Wrench | 3 |
| 09 | Plumb Bob | 4 |
| 10 | Nylon String Line | 4 |
| 11 | Plastic or Galvanized Gutter Section | 2 |
| 12 | Downpipe (PVC) | 5 |
| 13 | Gravel-Sand Filter Unit | 2 |
| 14 | Storage Tank (HDPE) | 3 |
| 15 | Cleaning Brush | 3 |
| 16 | Safety Kit | 25 |

### 5.5 0811WM0104 Conduct Reconnaissance Survey

Overview:

After this Competency Standard, the trainee will learn how to observe, collect, and record basic field information needed for planning further hydrological or engineering surveys.

| Competency Units | Performance Criteria |
| --- | --- |
| Collect Preliminary field data | - Select survey area with suitable observation points - Prepare maps, tools or data - Observe site features |
| Review of relevant collected data | - Gather relevant records - Review report or documents - Identify errors of data - Compile verified data |
| Perform demarcation activities | - Locate survey boundaries - Mark Reference points - Place temporary markers - Record marked positions - Carry out Earthing as per SOPs. - Fix all the accessories as per given wiring diagram. |
| Perform activities using Virtual Global Platforms | - Use google earth pro for the measurement of length, area, elevation profile, location etc. - Identify survey area - Assess terrain features - Extract relevant data |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Basic principles and objectives of reconnaissance surveys.

- Types of surveys and their applications in water management.

- Map reading and interpretation of topographic features.

- Use of field instruments for observation and data collection.

- Methods for identifying and marking survey boundaries.

- Techniques for recording, reviewing, and verifying field data.

- Common data errors and basic troubleshooting methods.

- Application of virtual mapping tools (e.g., Google Earth Pro, QGIS, Python Libraries i.e. Rasterio, GeoPandas, etc).

- Data extraction and reporting from digital platforms.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Select suitable sites, collect preliminary data, and mark boundaries and reference points accurately.

- Review field records, interpret findings, and use virtual mapping platforms to extract and export spatial data.

- Follow field safety measures and maintain systematic documentation throughout the survey process.

Consumables, Tools, Machinery & Equipment

| Sr. No | Name | Quantity Required |
| --- | --- | --- |
| 01 | Computer / Laptop (at least Core i5) | 5 |

### 5.6 0811WM0105 Analyze Topographic Survey

Overview:

After this Competency Standard, the trainee will be able to measure, record, and represent these features accurately, which helps in planning, design, and management of water resources.

| Competency Units | Performance Criteria |
| --- | --- |
| Conduct handling of survey tools | - Check survey tools for efficient use - Setup instruments on site - Calibrate tools before measurements - Operate instruments to collect data |
| Perform site set-up activities | - Identify survey locations - Mark reference points - Position instruments securely - Level equipment precisely - Check site before measurements |
| Collect topographic field data | - Measure elevation at survey points - Record coordinates of landmarks - Examine terrain features - Record contours at site - Check collected data |
| Process and analyze surveyed data | - Compile collected field measurements. - Check data for errors. - Calculate elevations. - Plot contours on map. - Check processed data for accuracy. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Principles and objectives of topographic surveying.

- Types and functions of surveying instruments (e.g., level, theodolite, total station).

- Procedures for instrument calibration and maintenance.

- Methods for establishing benchmarks and reference points.

- Techniques for measuring elevation, distance, and angles.

- Data recording, checking, and verification procedures.

- Contour mapping and interpretation techniques.

- Use of coordinate systems and basic mapping software.

- Common sources of field errors and troubleshooting methods.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Inspect, calibrate, and operate surveying instruments accurately while establishing reliable reference points.

- Gather elevation, coordinate, and contour data, then process and plot them into contour maps.

- Verify measurement consistency, ensure data accuracy, and follow field safety and documentation protocols.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Total Station | 2 |
| 02 | Surveying Tapes and Ranging Rods | 5 |
| 03 | Computer | 5 |
| 04 | Compass | 5 |
| 05 | Field Maps | 5 |
| 06 | GPS (Global Positioning System) | 5 |
| 07 | Plane Table | 5 |
| 08 | Tripod | 2 |

### 5.7 0811WM0106 Manage Groundwater Assessment

Overview:

After this Competency Standard, the trainee will be able to collect, record, groundwater data, which helps in planning sustainable water use and management.

| Competency Units | Performance Criteria |
| --- | --- |
| Conduct groundwater survey | - Select survey locations. - Install observation wells. - Measure water levels. - Record all observations accurately. |
| Record and analyze well data | - Measure water level in the well. - Document readings in the field notebook. - Check recorded data for accuracy. |
| Monitor groundwater Recharge levels | - Identify recharge zones. - Measure groundwater levels periodically. - Record rainfall and surface water inflow. |
| Maintain well Installation | - Inspect well structure regularly. - Clean well casing and surroundings. - Lubricate pumps or mechanical parts. - Record maintenance activities for reference. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Basic principles of groundwater occurrence and movement.

- Types and components of wells and observation boreholes.

- Techniques for groundwater level measurement.

- Methods of identifying recharge and discharge zones.

- Use and maintenance of water level measuring instruments.

- Procedures for groundwater data recording and verification.

- Factors affecting groundwater recharge and depletion.

- Basic maintenance practices for wells and pumps.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Conduct groundwater surveys, measure water levels, and record well and recharge data systematically.

- Identify recharge areas, monitor seasonal variations, and inspect wells and related equipment regularly.

- Follow safety and environmental protocols while compiling and documenting groundwater data for analysis and planning

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook/ Fieldbook | 5 |
| 02 | Pen | 25 |
| 03 | Field Map | 5 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Water Level Indicator | 5 |
| 02 | Measuring Tape | 5 |
| 03 | GPS (Handheld) | 5 |
| 04 | Toolbox | 5 |
| 05 | Safety Gear | 25 |

### 5.8 0811WM0107 Perform Installation of water structures

Overview:

After this Competency Standard, the trainee will be able to prepare sites, assemble structures, and ensure proper functioning. This helps in efficient water management, conservation, and supply for agricultural or community use.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare material for installation | - Identify required materials. - Inspect materials for quality. - Collect materials at the site. - Organize materials for easy access. - Record material details for reference. |
| Assemble the components | - Position parts at designated locations. - Join components securely. - Align parts accurately. |
| Install water structure | - Select safe and accessible site for installation. - Clear the ground to prepare the base. - Place the structure parts in the correct position. - Secure the structure using bolts, cement, or supports. - Check the structure to ensure it is stable and functional. |
| Check working of installed infrastructure | - Inspect the installed structure for visible defects. - Test water flow through the structure. - Measure output or capacity as per design. - Observe for leaks or blockages. - Record performance data for future reference. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Types and functions of water structures (tanks, channels, check dams, etc.).

- Basic installation and assembly techniques.

- Site selection and preparation methods.

- Tools and materials used for installation.

- Alignment, leveling, and joining procedures.

- Testing and inspection of installed structures.

- Maintenance and troubleshooting of minor defects.

- Record-keeping and documentation practices.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Identify, inspect, and arrange required materials, tools, and equipment for installation.

- Assemble and install water structures safely, testing for stability, leaks, and overall performance.

- Accurately record installation details, ensure site cleanliness, and follow safety and environmental standards.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Plumb Bob | 5 |
| 02 | Spanner Set | 5 |
| 03 | Adjustable Wrench | 5 |
| 04 | Drill Machine | 2 |
| 05 | Masonry Tool Kit | 3 |
| 06 | PVC Pipe Cutter | 5 |
| 07 | Pressure Gauge | 3 |
| 08 | Flow Meter (Portable) | 2 |
| 09 | Leak Detection Dye | 3 |
| 10 | GPS (Handheld) | 5 |
| 11 | Safety Kit | 25 |
| 12 | Toolbox | 2 |
| 13 | Mixing Tub / Bucket | 5 |

### 5.9 0811WM0108 Manage Maintenance of Water Infrastructures

Overview:

After this Competency Standard, the trainee will be able to prepare sites, assemble structures, and ensure proper functioning. This helps with efficient water management, conservation, and supply for agricultural or community use.

| Competency Units | Performance Criteria |
| --- | --- |
| Conduct testing of installed infrastructures | - Check infrastructure for visible damage. - Run pumps or valves to test flow. - Measure water output or pressure. - Observe leaks or blockages. - Record results in maintenance log. |
| CU2. Commission of water management systems | - Inspect all components for proper installation. - Connect power or water supply to the system. - Operate the system to check functionality. - Monitor performance during initial operation. - Record observations and adjustments made. |
| CU3. Manage debris in water infrastructures | - Inspect channels, inlets/outlets for debris. - Remove blockages manually/mechanically. - Dispose of debris at designated locations. - Check for remaining obstructions after cleaning. - Record cleaning activities in the maintenance log. |
| CU4. Perform fine tuning of accessories | - Inspect accessories for alignment/damage. - Adjust settings according to specifications. - Test each accessory for proper operation. - Check performance after adjustments. - Record changes and results in the log. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of

- Types and functions of water infrastructure systems.

- Common defects and maintenance requirements.

- Procedures for testing pumps, valves, and pipelines.

- Commissioning and operational checks of water systems.

- Techniques for debris removal and system cleaning.

- Methods for adjusting and fine-tuning accessories.

- Use of tools and equipment for maintenance work.

- Record-keeping and maintenance documentation.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Test installed infrastructures for damage, functionality, and overall performance during commissioning.

- Remove debris, clean channels, inlets, and outlets, and adjust accessories according to specifications.

- Record maintenance and inspection details while adhering to safety and environmental protection procedures.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook/ Fieldbook | 2 |
| 02 | Pen | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Pressure Gauge | 3 |
| 02 | Flow Meter (Portable Ultrasonic) | 1 |
| 03 | Water Level Indicator | 3 |
| 04 | Wrench Set (Adjustable & Fixed) | 2 |
| 05 | Pipe Wrench | 3 |
| 06 | Screwdriver Set | 3 |
| 07 | Cleaning Rod / Debris Hook | 2 |
| 08 | Safety Kit | 25 |
| 09 | Torch / Inspection Light | 2 |

### 5.10 0811WM0109 Conduct Field Level Water Governance Practices

Overview:

After this Competency Standard, the trainee will be able to monitor water allocation, implement rules and regulations, coordinate with users, and maintain records. This helps improve efficiency, reduce conflicts, and support long-term water management in the community.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure water usage rates under field conditions | - Place measuring devices at water outlets. - Record flow/volume over time. - Compare usage with allocations. |
| Operate pumping stations and control valves | - Check pumps/valves for proper condition. - Start pumps according to operational schedule. - Adjust valves to control water flow. - Monitor water levels and pressure continuously. - Record operational data for reporting. |
| Distribute water in compliance with legal framework | - Identify beneficiaries and water allocation quotas. - Monitor water delivery at each outlet. - Measure volumes to ensure compliance with allocation. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Principles of water governance and allocation systems.

- Rules and regulations related to water distribution.

- Methods of measuring water flow and usage in the field.

- Operation and maintenance of pumps, valves, and flow devices.

- Procedures for equitable water distribution among users.

- Data recording, monitoring, and reporting techniques.

- Conflict resolution and coordination with water users.

- Basic hydraulics of flow control structures.

- National and provincial water laws and policies (e.g., PEPA 1997, National Water Policy 2018, Provincial Irrigation Acts) and roles of key institutions (Irrigation Departments, EPA, WUAs) in water management.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Measure water use rates accurately, and operate and maintain pumps, valves, and control systems efficiently.

- Distribute water as per legal allocations and schedules, coordinating with users to resolve distribution issues.

- Document operational and compliance data while adhering to safety and environmental protocols during fieldwork.

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Notebook/ Fieldbook | 2 |
| 02 | Pen | 25 |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Flow Meter | 2 |
| 02 | Staff Gauge | 5 |
| 03 | Measuring Tape | 5 |
| 04 | Bucket | 5 |
| 05 | Marker Flags | 2 |
| 06 | Personal Computers | 5 |

### 5.11 0811WM01010 Manage Plantation Activities in Watershed

Overview:

After this Competency Standard, the trainee will be able to select suitable plant species, prepare the land, plant seedlings, and maintain vegetation. These activities help reduce erosion, enhance water retention, and support sustainable watershed management.

| Competency Units | Performance Criteria |
| --- | --- |
| Manage plantation on designated sites | - Plant seedlings at designated locations. - Water and protect plants from damage. - Monitor growth of plants. - Protect vegetation from insect’s pests |
| Perform land preparation activities | - Clear the site of debris and weeds. - Level the land to remove uneven areas. - Plow soil to loosen the top layer. - Fertilize soil for planting. - Mark planting lines/plots. |
| Maintain vegetation in watershed area | - Check plants for health. - Remove weeds near plants. - Water plants when dry. - Protect plants from animals. - Note plant growth in records. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge

of:

- Importance of plantation in watershed management.

- Types and selection of suitable plant species.

- Methods of land preparation for planting.

- Techniques for proper planting and spacing.

- Soil improvement and fertilization practices.

- Watering, mulching, and pest protection methods.

- Tools and equipment used for plantation and maintenance.

- Monitoring and recording plant growth.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Prepare land, plant seedlings, and apply fertilizers and water as required.

- Safeguard plants from pests, weeds, and animals while ensuring proper growth conditions.

- Regularly record plant growth, maintain tools and site cleanliness, and follow safety and environmental protection measures.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Soil Moisture Meter | 1 |
| 02 | Soil Auger / Sampler | 5 |
| 03 | Spade | 5 |
| 04 | Shovel | 5 |

### 5.12 0811WM01011 On Job Training

Overview:

The On-Job Training (OJT) component of the Water Management Technician qualification provides learners with an essential opportunity to apply their theoretical knowledge and technical skills in real-world environments. This practical phase bridges classroom learning with field experience, enabling trainees to develop professional competence and confidence in executing water management operations under actual working conditions. During the OJT phase, trainees are expected to take on entry-level or support roles within relevant organizations and projects. Through these roles, learners will gain hands-on experience in performing tasks such as water distribution system maintenance, irrigation scheduling, field data collection, land preparation, plantation management, and vegetation monitoring. These assignments will allow learners to contribute effectively to water conservation projects, agricultural development programs, and community-based water management initiatives, thereby supporting sustainable resource utilization and improved agricultural productivity

In case of unavailability of relevant industry for OJT, the following project may be carried out for the fulfilment of OJT requirement.

- List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | Quantity Required |
| 01 | Buffer solution | 5 ml |
| 02 | Cleaning cloths | 20 Pieces |
| 03 | Detergents | 5 Lt |
| 04 | Disinfectant | 5 Lt |
| 05 | Lab coat | 25 Pieces |
| 06 | Log books | 10 Pieces |
| 07 | PPEs (Gloves, Facemask, hair cap) | 25 pieces each |
| 08 | Sample bottles | 20 Units |
| 09 | Shoe cover | 10 packs |
| 10 | Sanitizer | 5 Lt |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | Quantity Required |
| 01 | Adjustable Wrench | 3 Units |
| 02 | Analytical balance | 2 Units |
| 03 | Beakers / mixing containers | 3 Units |
| 04 | Bucket | 5 Units |
| 05 | Cleaning Brush | 3 Units |
| 06 | Cleaning Rod / Debris Hook | 2 Units |
| 07 | Compass | 5 Units |
| 08 | Computer / Laptop | 3 Units |
| 09 | Current Meter | 5 Units |
| 10 | Digital pH meter (portable) | 5 Units |
| 11 | Digital temperature probe | 2 Units |
| 12 | Downpipe (PVC) | 5 Units |
| 13 | Drill Machine | 2 Units |
| 14 | EC meter / conductivity meter | 2 Units |
| 15 | Field Map / Layout Sheet | 5 Units |
| 16 | Field Maps | 5 Units |
| 17 | Flow Meter (Portable Ultrasonic) | 2 Units |
| 18 | Glass stirring rod | 2 Units |
| 19 | GPS (Handheld) | 5 Units |
| 20 | Gravel-Sand Filter Unit | 2 Units |
| 21 | Hacksaw | 5 Units |
| 22 | Hammer | 5 Units |
| 23 | Labeling tape & marker | 2 Units |
| 24 | Laboratory / field thermometer | 2 Units |
| 25 | Leak Detection Dye | 3 Units |
| 26 | Logbook | 5 Units |
| 27 | Marker Flags | 2 Units |
| 28 | Masonry Tool Kit | 3 Units |
| 29 | Measuring cylinder | 3 Units |
| 30 | Measuring Tape | 5 Units |
| 31 | Mixing Tub / Bucket | 5 Units |
| 32 | Nylon String Line | 4 Units |
| 33 | Odor reference chart | 5 Units |
| 34 | pH buffer solutions | 2 Units |
| 35 | pH test strips | 5 Units |
| 36 | Plane Table Aluminium Tripod | 2 Units |
| 37 | Plastic or Galvanized Gutter Section | 2 Units |
| 38 | Plumb Bob | 4 Units |
| 39 | Pressure Gauge | 3 Units |
| 40 | PVC Pipe Cutter | 5 Units |
| 41 | Ranging Rods | 5 Units |
| 42 | Safety Kit | 25 Units |
| 43 | Sample container (plastic or glass) | 3 Units |
| 44 | Screwdriver Set | 1 Units |
| 45 | Soil Auger / Sampler | 5 Units |
| 46 | Soil Moisture Meter | 1 Units |
| 47 | Spade / Shovel | 5 Units |
| 48 | Spanner Set | 5 Units |
| 49 | Spirit Level | 5 Units |
| 50 | Staff Gauge | 5 Units |
| 51 | Standard calibration solution | 3 Units |
| 52 | Standard TDS calibration solution | 3 Units |
| 53 | Storage Tank (HDPE) | 3 Units |
| 54 | TDS meter (digital handheld) | 2 Units |
| 55 | Tipping Bucket Rain Gauge | 2 Units |
| 56 | Tool Box | 5 Units |
| 57 | Torch / Inspection Light | 2 Units |
| 58 | Total Station | 2 Units |
| 59 | Tripod | 2 Units |
| 60 | Turbidity meter (portable nephelometer) | 2 Units |
| 61 | Ultrasonic Level Transmitter | 1 Units |
| 62 | Water bath / warm plate | 3 Units |
| 63 | Water Level Indicator | 5 Units |

- Members of Qualifications Development Committee

| Qualification Development Committee |  |  |
| --- | --- | --- |
| S. No | Name | Organization |
|  | Professor Dr. Mahmood Ahmad Randhawa | Director, University of Agriculture, Faisalabad |
|  | Mr. Yasir Akram Awan | Director, Skyland Engineering, Lahore |
|  | Mr. Nasir Jadon | Country Director, Pakistan and Gulf Regions, Skyland Engineering, Lahore |
|  | Mr. Abdullah Nadeem | Research Associate, COE water Resources Engineering, Lahore |
|  | Mr. Sajid Iqbal | Assistant Professor, UET, Lahore |
|  | Mr. Aman Jan, | Lecturer, Lasbela University, Balochistan |
|  | Ms. Noor Fatima, | Trainee hydrologist, Lahore |
|  | Ms. Shanza Arshad | Junior hydrologist in engineering contrivers, Lahore |
|  | Ms. Farazeen Khizer | Junior hydrologist in engineering contrivers, Lahore |
|  | Mr. Tayyab Khan | Junior hydrologist, Lahore |
|  | Engr. Amir Khalid | MEP Engineer, MIDJAC, Islamabad |
|  | Mr. Aarish Maqsood | Researcher AI Specialist, International Water Management Institute |
|  | Engr. Qurbat Zahra | DACUM FACILITATOR |