|  | Assessment Evidence Guide For National Vocational Certificate in Water Quality Assistant Level-3 Formative Assessment 0712WTT06 Perform Water Filtration Techniques |
| --- | --- |
|  | Date 30 June-to-04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Water Quality Assistant L-3 |
| --- | --- |
| Competency Standard | 0712WTT06 Perform Water Filtration Techniques |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Operate media filtration plant - Operate nano filtration plant - Operate ultra filtration plant - Operate reverse osmosis filtration plant - Operate forward osmosis filtration plant - Operate demineralization plant Activity 1:Perform operation of rapid sand filter Activity 2: Perform disinfection and post treatment handling |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1 - Prepare filtration unit - Start rapid sand filter as per SOP - Monitor parameters of filteration Activity 2 - Start and operate a slow sand filter correctly. - Monitor water clarity and flow rate during filtration. - Perform routine maintenance safely. - Follow safety procedures and wear correct PPE. - . |

Section A2: Self-Assessment Checklist

| Assessment Task | - Operate media filtration plant - Operate nano filtration plant - Operate ultra filtration plant - Operate reverse osmosis filtration plant - Operate forward osmosis filtration plant - Operate demineralization plant Activity 1: Perform operation of rapid sand filter OR Activity 2: : Perform disinfection and post treatment handling |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Activity 1 |  |  |
| - Prepare filtration unit |  |  |
| - Start rapid sand filter as per SOP |  |  |
| - Monitor parameters of filtration |  |  |
| Activity 2 |  |  |
| - Start and operate a slow sand filter correctly. |  |  |
| - Monitor water clarity and flow rate during filtration. |  |  |
| - Perform routine maintenance safely. |  |  |
| - Follow safety procedures and wear correct PPE. |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Water Quality Assistant L-3 |
| --- | --- |
| Competency Standard | 0712WTT06 Perform Water Filtration Techniques |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity 1:Perform operation of rapid sand filter Activity 2: Perform disinfection and post treatment handling |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Activity 1 |  |  |  |  |  |
|  | Prepared filtration unit |  |  |  |  |  |
|  | Started rapid sand filter as per SOP |  |  |  |  |  |
|  | Monitored parameters of filteration |  |  |  |  |  |
|  | Activity 2 |  |  |  |  |  |
| 1. | Started and operate a slow sand filter correctly. |  |  |  |  |  |
| 2. | Monitored water clarity and flow rate during filtration. |  |  |  |  |  |
| 3. | Performed routine maintenance safely. |  |  |  |  |  |
| 4. | Followed safety procedures and wear correct PPE. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the main purpose of water filteration pocess? |  |  |
|  | Name two types of water filters commonly used in treatment plants. |  |  |
|  | What is backwashing, and why is it performed in rapid sand filters? |  |  |
|  | How can you tell if a slow sand filter needs maintenance? |  |  |
|  | Why is monitoring flow rate and water clarity important during filtration? |  |  |
| 6 | What safety precautions should be followed while operating a water filter? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________