|  | Assessment Evidence Guide For Water Treatment Assistant Level-3 Summative Assessment Activity-3 |
| --- | --- |
|  | Date 15 - 19 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Treatment Assistant - Level-3 |
| --- | --- |
| Competency Standards | - Apply Workplace Safety Procedures - Perform Basic Computer Operations - Identify Water Treatment - Monitor Water Quality & Analysis - Perform Water Treatment - Perform Water Filtration Techniques |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: You are on shift at a water treatment plant. After heavy rain, water turns muddy and tastes bad; plant readings show high turbidity, low/unstable chlorine, and high filter/RO pressure drop. Activity-3: Work safely (PPE + SOP), take and label samples (raw, post-filter, post-RO, final), test and record key parameters (turbidity, pH, TDS, chlorine), identify source/contaminants, perform treatment + filtration actions (adjust dose/disinfection, backwash/flush, monitor DP/pressures), and report results on computer (log + email summary). |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Completed Hazard Identification + Risk Assessment / JSA form (signed) - PPE selection checklist + compliance observation record - Tool/equipment safe handling observation checklist (meters, sampling kit, basic tools) - Fire extinguisher inspection record (gauge, pin, tag, access) - First aid simulation record (chemical splash/cut response + reporting) - Emergency response mini-drill record (spill/isolation/alarm/reporting) - Computer configuration proof (login, folder setup, printer/network share or settings screenshot) - Software installation proof (installed app/driver + basic verification) - Internet/SDS lookup evidence (opened SDS + identified PPE/first aid steps) - Sampling labels + Chain-of-Custody form (correct points, time/date, initials) - Water quality test results sheet (raw vs treated vs permeate; turbidity/pH/TDS/chlorine etc.) - Process monitoring log (pressures/flows/DP; media filter + UF/NF/RO + DM as applicable) - Treatment action record (dose adjustment/flush/backwash steps + reasons linked to results/standards) - Final Corrective Action Report (Word) + Excel log attached - Email sent to supervisor with attachments + short PowerPoint summary |

Note: Bold statements are most critical

Section A2: Self-Assessment Checklist

| Assessment Task | Scenario: You are on shift at a water treatment plant. After heavy rain, water turns muddy and tastes bad; plant readings show high turbidity, low/unstable chlorine, and high filter/RO pressure drop. Activity-3: Work safely (PPE + SOP), take and label samples (raw, post-filter, post-RO, final), test and record key parameters (turbidity, pH, TDS, chlorine), identify source/contaminants, perform treatment + filtration actions (adjust dose/disinfection, backwash/flush, monitor DP/pressures), and report results on computer (log + email summary). |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Completed Hazard Identification + Risk Assessment / JSA form (signed) |  |  |
| - PPE selection checklist + compliance observation record |  |  |
| - Tool/equipment safe handling observation checklist (meters, sampling kit, basic tools) |  |  |
| - Fire extinguisher inspection record (gauge, pin, tag, access) |  |  |
| - First aid simulation record (chemical splash/cut response + reporting) |  |  |
| - Emergency response mini-drill record (spill/ isolation/ alarm/ reporting) |  |  |
| - Computer configuration proof (login, folder setup, printer/network share or settings screenshot) |  |  |
| - Software installation proof (installed app/driver + basic verification) |  |  |
| - Internet/SDS lookup evidence (opened SDS + identified PPE/first aid steps) |  |  |
| - Sampling labels + Chain-of-Custody form (correct points, time/date, initials) |  |  |
| - Water quality test results sheet (raw vs treated vs permeate; turbidity/pH/TDS/chlorine etc.) |  |  |
| - Process monitoring log (pressures/flows/DP; media filter + UF/NF/RO + DM as applicable) |  |  |
| - Treatment action record (dose adjustment/flush/backwash steps + reasons linked to results/standards) |  |  |
| - Final Corrective Action Report (Word) + Excel log attached |  |  |
| - Email sent to supervisor with attachments + short PowerPoint summary |  |  |

Note: Bold statements are most critical

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Treatment Assistant - Level-3 |
| --- | --- |
| Competency Standards | - Apply Workplace Safety Procedures - Perform Basic Computer Operations - Identify Water Treatment - Monitor Water Quality & Analysis - Perform Water Treatment - Perform Water Filtration Techniques |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Scenario: You are on shift at a water treatment plant. After heavy rain, water turns muddy and tastes bad; plant readings show high turbidity, low/unstable chlorine, and high filter/RO pressure drop. Activity-3: Work safely (PPE + SOP), take and label samples (raw, post-filter, post-RO, final), test and record key parameters (turbidity, pH, TDS, chlorine), identify source/contaminants, perform treatment + filtration actions (adjust dose/disinfection, backwash/flush, monitor DP/pressures), and report results on computer (log + email summary). |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Completed Hazard Identification + Risk Assessment / JSA form (signed) |  |  |  |  |  |
|  | PPE selection checklist + compliance observation record |  |  |  |  |  |
|  | Tool/equipment safe handling observation checklist (meters, sampling kit, basic tools) |  |  |  |  |  |
|  | Fire extinguisher inspection record (gauge, pin, tag, access) |  |  |  |  |  |
|  | First aid simulation record (chemical splash/cut response + reporting) |  |  |  |  |  |
|  | Emergency response mini-drill record (spill/ isolation/ alarm/ reporting) |  |  |  |  |  |
|  | Computer configuration proof (login, folder setup, printer/network share or settings screenshot) |  |  |  |  |  |
|  | Software installation proof (installed app/driver + basic verification) |  |  |  |  |  |
|  | Internet/SDS lookup evidence (opened SDS + identified PPE/first aid steps) |  |  |  |  |  |
|  | Sampling labels + Chain-of-Custody form (correct points, time/date, initials) |  |  |  |  |  |
|  | Water quality test results sheet (raw vs treated vs permeate; turbidity/pH/TDS/chlorine etc.) |  |  |  |  |  |
|  | Process monitoring log (pressures/flows/DP; media filter + UF/NF/RO + DM as applicable) |  |  |  |  |  |
|  | Treatment action record (dose adjustment/flush/backwash steps + reasons linked to results/standards) |  |  |  |  |  |
|  | Final Corrective Action Report (Word) + Excel log attached |  |  |  |  |  |
|  | Email sent to supervisor with attachments + short PowerPoint summary |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Note: Bold statements are most critical

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the first safety action before sampling? |  |  |
|  | Why must you review the SOP/SDS before dosing chemicals? |  |  |
|  | What information must be written on every sample label? |  |  |
|  | How do you choose correct sampling points in this scenario? |  |  |
|  | Why does turbidity usually increase after heavy rainfall? |  |  |
|  | What contaminants are most likely when turbidity rises? |  |  |
|  | What is turbidity mainly used to indicate? |  |  |
|  | How do you confirm disinfection performance quickly? |  |  |
|  | Why can chlorine residual become unstable in dirty water? |  |  |
|  | What does high differential pressure across filters mean? |  |  |
|  | How do you correct high DP in media filtration? |  |  |
|  | Why is comparing results with standards important? |  |  |
|  | What basic tests are essential for this incident? |  |  |
|  | How do you decide whether RO is required? |  |  |
|  | What does high TDS in RO permeate indicate? |  |  |
|  | How do you respond safely to suspected RO fouling? |  |  |
| 17. | What computer documents should be created for reporting? |  |  |
| 18. | How should you send the shift report to supervisor? |  |  |
| 19. | Why must you lock the computer during operations? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________