|  | Assessment Evidence Guide For Water Treatment Technician Level-4 Summative Assessment Activity-1 |
| --- | --- |
|  | Date 15-19 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Treatment Technician (Level – 4) |
| --- | --- |
| Competency Standards | - Identify types of wastewaters - Monitor National & International Policy Rules & Regulations - Perform Wastewater Treatment - Monitor Wastewater Treatment Techniques - Monitor Stages of Wastewater Treatment Process - Perform Operations & Maintenance - Perform Customer Care Services - Identify Risk Management in Water Treatment - Apply Data Management - Perform Assets Management Services |
| Purpose of Assessment |  |
| Candidate Details |  |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: You are working as a Water Treatment Technician at a municipal wastewater treatment plant, A municipal wastewater treatment system is showing poor effluent quality and abnormal operating conditions, possibly due to unusual wastewater characteristics, process inefficiencies, or equipment issues. Complaints have been received from downstream users, and regulatory compliance is at risk. Activity-1: Identify the type of incoming wastewater, check regulatory compliance, troubleshoot the process, perform necessary operations and maintenance, manage risks, update records, address complaints, and restore normal, safe operation. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Apply workplace safety procedures and use appropriate PPE (domestic/ industrial / mixed) based on site observation. - Ensure the wastewater treatment work area is clean, safe, and organized. Correct identification of treatment process stages and operating conditions. - Identify potential operational, chemical, and biological hazards and implement preventive measures. - Isolate the relevant wastewater treatment unit or process safely as per SOPs. Application of risk management and safety - Conduct physical inspection of treatment units, pipelines, pumps, and tanks. - Select and use appropriate tools, instruments, and testing equipment correctly. - Perform process monitoring and basic water quality checks. - Interpret operational and water quality data accurately. - Diagnose the cause of abnormal treatment performance or poor effluent quality. - Select appropriate materials, chemicals, or spare parts for corrective action. - Rectify identified operational or maintenance faults. - Adjust process parameters (flow, aeration, dosing) as required. - Handle treatment chemicals, sludge, and wastewater safely. - Re-commission the treatment unit or process. - Ensure proper flow, connections, and operational settings. - Conduct post-rectification monitoring and testing. - Complete operational, maintenance, and compliance documentation. - Communicate observations and actions taken clearly to the supervisor. - Follow environmental protection and waste disposal guidelines during all activities. |

Note: Bold statements are most critical

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-1: Identify the type of incoming wastewater, check regulatory compliance, troubleshoot the process, perform necessary operations and maintenance, manage risks, update records, address complaints, and restore normal, safe operation. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Apply workplace safety procedures and use appropriate PPE. |  |  |
| - Ensure the wastewater treatment work area is clean, safe, and organized. |  |  |
| - Identify potential operational, chemical, and biological hazards and implement preventive measures. |  |  |
| - Isolate the relevant wastewater treatment unit or process safely as per SOPs. |  |  |
| - Conduct physical inspection of treatment units, pipelines, pumps, and tanks. |  |  |
| - Select and use appropriate tools, instruments, and testing equipment correctly. |  |  |
| - Perform process monitoring and basic water quality checks. |  |  |
| - Interpret operational and water quality data accurately. |  |  |
| - Diagnose the cause of abnormal treatment performance or poor effluent quality. |  |  |
| - Select appropriate materials, chemicals, or spare parts for corrective action. |  |  |
| - Rectify identified operational or maintenance faults. |  |  |
| - Adjust process parameters (flow, aeration, dosing) as required. |  |  |
| - Handle treatment chemicals, sludge, and wastewater safely. |  |  |
| - Re-commission the treatment unit or process. |  |  |
| - Ensure proper flow, connections, and operational settings. |  |  |
| - Conduct post-rectification monitoring and testing. |  |  |
| - Complete operational, maintenance, and compliance documentation. |  |  |
| - Communicate observations and actions taken clearly to the supervisor. |  |  |
| - Follow environmental protection and waste disposal guidelines during all activities. |  |  |

Note: Bold statements are most critical

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Treatment Technician (Level – 4) |
| --- | --- |
| Competency Standards | - Identify types of wastewaters - Monitor National & International Policy Rules & Regulations - Perform Wastewater Treatment - Monitor Wastewater Treatment Techniques - Monitor Stages of Wastewater Treatment Process - Perform Operations & Maintenance - Perform Customer Care Services - Identify Risk Management in Water Treatment - Apply Data Management - Perform Assets Management Services |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-1: Identify the type of incoming wastewater, check regulatory compliance, troubleshoot the process, perform necessary operations and maintenance, manage risks, update records, address complaints, and restore normal, safe operation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Apply workplace safety procedures and use appropriate PPE. |  |  |  |  |  |
|  | Ensure the wastewater treatment work area is clean, safe, and organized. |  |  |  |  |  |
|  | Identify potential operational, chemical, and biological hazards and implement preventive measures. |  |  |  |  |  |
|  | Isolate the relevant wastewater treatment unit or process safely as per SOPs. |  |  |  |  |  |
|  | Conduct physical inspection of treatment units, pipelines, pumps, and tanks. |  |  |  |  |  |
|  | Select and use appropriate tools, instruments, and testing equipment correctly. |  |  |  |  |  |
|  | Perform process monitoring and basic water quality checks. |  |  |  |  |  |
|  | Interpret operational and water quality data accurately. |  |  |  |  |  |
|  | Diagnose the cause of abnormal treatment performance or poor effluent quality. |  |  |  |  |  |
|  | Select appropriate materials, chemicals, or spare parts for corrective action. |  |  |  |  |  |
|  | Rectify identified operational or maintenance faults. |  |  |  |  |  |
|  | Adjust process parameters (flow, aeration, dosing) as required. |  |  |  |  |  |
|  | Handle treatment chemicals, sludge, and wastewater safely. |  |  |  |  |  |
|  | Re-commission the treatment unit or process. |  |  |  |  |  |
|  | Ensure proper flow, connections, and operational settings. |  |  |  |  |  |
|  | Conduct post-rectification monitoring and testing. |  |  |  |  |  |
|  | Complete operational, maintenance, and compliance documentation. |  |  |  |  |  |
|  | Communicate observations and actions taken clearly to the supervisor. |  |  |  |  |  |
|  | Follow environmental protection and waste disposal guidelines during all activities. |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Note: Bold statements are most critical

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What PPE should be used before starting wastewater operations? |  |  |
|  | How is operational area hygiene maintained technically? |  |  |
|  | Name one common hazard in wastewater plants. |  |  |
|  | How do you safely isolate a unit? |  |  |
|  | What is checked during a physical inspection? |  |  |
|  | Name one tool used for wastewater monitoring. |  |  |
|  | Which basic water quality parameter is monitored?. |  |  |
|  | How do you interpret high BOD values? |  |  |
|  | What can cause poor effluent quality? |  |  |
|  | Name one chemical used to correct faults? |  |  |
|  | How do you fix a blocked pipeline? |  |  |
|  | How can aeration be adjusted effectively? |  |  |
|  | Which safety measure is essential when handling sludge? |  |  |
|  | What is the first step in re-commissioning? |  |  |
|  | How do you ensure proper flow connections? |  |  |
|  | Name one test done after maintenance. |  |  |
| 17. | Which record must be completed after repair? |  |  |
| 18. | How should observations be communicated to supervisor? |  |  |
| 19. | How should chemical or sludge waste be disposed? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________