|  | Assessment Evidence Guide For Water Treatment Technician Level-4 Summative Assessment Activity-3 |
| --- | --- |
|  | Date 15-19 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Water Treatment Technician (Level – 4) |
| --- | --- |
| Competency Standards | - Identify types of wastewaters - Monitor National & International Policy Rules & Regulations - Perform Wastewater Treatment - Monitor Wastewater Treatment Techniques - Monitor Stages of Wastewater Treatment Process - Perform Operations & Maintenance - Perform Customer Care Services - Identify Risk Management in Water Treatment - Apply Data Management - Perform Assets Management Services |
| Purpose of Assessment |  |
| Candidate Details |  |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: You are working as a Water Treatment Technician and assigned to carry out the routine operation of a wastewater treatment plant. You must follow safety procedures, identify wastewater types, ensure regulatory compliance, operate treatment units, monitor process stages, manage risks, and record data. Activity-3 Perform routine inspection, operation, monitoring, and data recording of the wastewater treatment system as per Monitor National & International Policy Rules and safety requirements. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Use PPEs before wastewater Sampling - Analyze Samples - Identify and list on-Site Parameters for wastewater monitoring - Develop reporting format for daily and monthly reporting. - Perform primary Treatment Sedimentation and Physical settling of solid contents - Convey of Sludge from Primary clarifier as well as from secondary clarifier to the sludge thickener - Control pH range. - Perform primary Treatment Sedimentation and Physical settling of solid contents - Control pH range. - Ensure oil and grease removal - Control process parameters - Ensure safe handling of sludge - Document the risks - Develop presentation on the National Regulatory Monitoring Authority and their mandate - Collect field data on daily basis - Identify Waste Water Sources - Maintain data log book - Monitor Results |

Note: Bold statements are most critical

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-3: Perform routine inspection, operation, monitoring, and data recording of the wastewater treatment system as per Monitor National & International Policy Rules and safety requirements. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Use PPEs before wastewater Sampling |  |  |
| - Analyze Samples |  |  |
| - Identify and list on-Site Parameters for wastewater monitoring |  |  |
| - Develop reporting format for daily and monthly reporting. |  |  |
| - Perform primary Treatment Sedimentation and Physical settling of solid contents |  |  |
| - Convey of Sludge from Primary clarifier as well as from secondary clarifier to the sludge thickener |  |  |
| - Control pH range. |  |  |
| - Perform primary Treatment Sedimentation and Physical settling of solid contents |  |  |
| - Control pH range. |  |  |
| - Ensure oil and grease removal |  |  |
| - Control process parameters |  |  |
| - Ensure safe handling of sludge |  |  |
| - Document the risks |  |  |
| - Develop presentation on the National Regulatory Monitoring Authority and their mandate |  |  |
| - Collect field data on daily basis |  |  |
| - Identify Waste Water Sources |  |  |
| - Maintain data log book |  |  |
| - Monitor Results |  |  |

Note: Bold statements are most critical

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Water Treatment Technician (Level – 4) |
| --- | --- |
| Competency Standards | - Identify types of wastewaters - Monitor National & International Policy Rules & Regulations - Perform Wastewater Treatment - Monitor Wastewater Treatment Techniques - Monitor Stages of Wastewater Treatment Process - Perform Operations & Maintenance - Perform Customer Care Services - Identify Risk Management in Water Treatment - Apply Data Management - Perform Assets Management Services |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  |  | Activity-3: Perform routine inspection, operation, monitoring, and data recording of the wastewater treatment system as per Monitor National & International Policy Rules and safety requirements. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  |  | Yes | No | Remarks |
|  | Use PPEs before wastewater Sampling |  |  |  |  |  |  |
|  | Analyze Samples |  |  |  |  |  |  |
|  | Identify and list on-Site Parameters for wastewater monitoring |  |  |  |  |  |  |
|  | Develop reporting format for daily and monthly reporting. |  |  |  |  |  |  |
|  | Perform primary Treatment Sedimentation and Physical settling of solid contents |  |  |  |  |  |  |
|  | Convey of Sludge from Primary clarifier as well as from secondary clarifier to the sludge thickener. |  |  |  |  |  |  |
|  | Control pH range. |  |  |  |  |  |  |
|  | Perform primary Treatment Sedimentation and Physical settling of solid contents |  |  |  |  |  |  |
|  | Control pH range. |  |  |  |  |  |  |
|  | Ensure oil and grease removal |  |  |  |  |  |  |
|  | Control process parameters |  |  |  |  |  |  |
|  | Ensure safe handling of sludge |  |  |  |  |  |  |
|  | Document the risks |  |  |  |  |  |  |
|  | Develop presentation on the National Regulatory Monitoring Authority and their mandate |  |  |  |  |  |  |
|  | Collect field data on daily basis |  |  |  |  |  |  |
|  | Identify Waste Water Sources |  |  |  |  |  |  |
|  | Maintain data log book |  |  |  |  |  |  |
|  | Monitor Results |  |  |  |  |  |  |
| Competent |  |  |  | Not Competent |  |  |  |

Note: Bold statements are most critical

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is domestic wastewater? |  |  |
|  | What are NEQs? |  |  |
|  | What is wastewater treatment? |  |  |
|  | What is primary treatment? |  |  |
|  | What is activated sludge process? |  |  |
|  | What is industrial wastewater? |  |  |
|  | What is the role of EPA? |  |  |
|  | What is secondary treatment? |  |  |
|  | What is routine maintenance? |  |  |
|  | What is equipment inspection? |  |  |
|  | What is risk in water treatment? |  |  |
|  | How to hazard identification? |  |  |
|  | What is data recording? |  |  |
|  | What is asset maintenance plan? |  |  |
|  | What is equipment inspection? |  |  |
|  | What is oxidation pond? |  |  |
| 17. | What is data reporting? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________