| DACUM Panel Muhammad Musa Assistant Director Lab CDA Islamabad Waqar Hussain Research Officer PCRWR Islamabad Sameera Zaib WWF KP Region Head Sumaira Gul CEO Dr Akhtar Hameed Khan Memorial Association Irha Fatima BS Environmental Science University of Punjab Muhammad Ali Water Management Officer Bahria Town Rawalpindi Shahram Waheed Grid Plant Supervisor MEPCO Muhammad Usman Instructor, PVTC Arslan Ahsan Incharge water Supply Amir Jabbar CTO/Co-Founder, Devnixa Amir Khan Water & Sanitation Expert Nordic International Water Works Zohaib Ud Din Design & Operation Head, Water Regime MEA DACUM Facilitator: Engr. Muhammad Wameq Ayaz Islamabad NAVTTC Coordinator: Muhammad Ishaq Deputy Director, Islamabad | Occupational Profile Chart Of “Water Treatment Technician” Level 4 |
| --- | --- |
|  | 13th- 17th October 2025 Lahore |
|  | National Vocational & Technical Training Commission |

1. Occupational Profiling

| Water Quality Assistant Level 4 |  |  |  |
| --- | --- | --- | --- |
| Duties and Tasks |  |  |  |
| - Identify Types of Wastewater |  |  |  |
| A1. Inspect domestic wastewater (sewage) | A2. Inspect industrial wastewater | A3. Inspect grey water | A4. Inspect produced water |
| - Monitor National & International Policy Rules and Regulations |  |  |  |
| B1. Monitor NEQS for wastewater parameters | B2. Monitor regulatory & monitoring authority | B3. Monitor zero discharge of hazardous chemicals policy |  |
| - Perform Wastewater Treatment |  |  |  |
| C1. Perform aerobic wastewater treatment | C2. Perform anaerobic wastewater treatment | C3. Perform decentralized wastewater treatment | C4. Perform wetland treatment |
| C5. Perform bioremediation | C6. Perform chemical treatment |  |  |
| - Monitor Wastewater Treatment Techniques |  |  |  |
| D1. Monitor activated sludge process | D2. Monitor sequence batch reactor techniques | D3. Monitor moving bed bio-film reactor techniques | D4. Monitor Oxidation Pond Technique |
| - Monitor Stages of Wastewater Treatment Process |  |  |  |
| E1. Monitor preliminary treatment process | E2. Monitor primary treatment process | E3. Monitor secondary treatment process | E4. Monitor tertiary treatment process |
| E5. Handle sludge treatment process |  |  |  |
| - Perform Operations & Maintenance |  |  |  |
| F1. Develop operation & maintenance plan | F2. Perform automation systems (SCADA & cloud based) | F3. Operate electromechanical equipment’s | F4. Use of operational tools & equipment/machinery |
| - Perform Customer Care Services |  |  |  |
| G1. Perform community awareness | G2. Interpret ice material | G3. Perform complaint management | G4. Perform Report Preparation |
| - Identify Risk Management in Water Treatment |  |  |  |
| H1. Identify risks | H2. Assess risks | H3. Manage risks |  |
| - Apply Data Management |  |  |  |
| I1. Develop tools for data collection | I2. Use of GPS for special data collection |  |  |
| - Perform Assets Management Services |  |  |  |
| J1. Develop assets inviotry | J2. Assets tagging |  |  |
| - On-Job Training |  |  |  |