Competency Standards

National Competency Standards for Level 4

Water Treatment Technician

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Water Treatment Technician level 4. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the industry experts from CDA, PCRWR, WWF and other private industries, Academic experts from different universities, experts of TEVTAs work diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

0712WTT07: Identify types of waste water	2

0712WTT08: Monitor National & International Policy Rules & Regulations	4

0712WTT09 – Perform Waste Water Treatment	5

0712WTT10- Monitor Waste Water Treatment Techniques	8

0712WTT11 – Monitor Stages of Waste Water Treatment Process	9

0712WTT12 – Perform Operations & Maintenance	11

0712WTT13 – Perform Customer Care Services	13

0712WTT14 – Identify Risk Management in Water Treatment	14

0712WTT15 – Apply Data Management	15

0712WTT16 – Perform Assets Management Services	17

0712WTT17 - On-Job-Training	18

# Introduction

A Water Treatment Technician ensures water quality and safety for drinking, industrial, or wastewater use by operating, monitoring, and maintaining treatment systems. They test water, adjust processes, maintain equipment, and record data to comply with health and environmental standards, protecting public health and the environment.

| ## 1.1 Date of development: | 13th October 2025 – 17th October 2025 |
| --- | --- |
| ## 1.2 Date of review | October 2027 |
| ## 1.3 Entry requirement of trainee | National Vocational Qualification for Water treatment Assistant Level – 3 OR National Vocational Qualification for Water treatment Assistant Level – 3 OR Secondary School Certificate in Science with at least 6 Month of relevant experience certificate |
| ## 1.4 Trainer Qualification Requirement | MSc in Chemistry/Microbiology/Environmental Sciences/ Bio-chemistry with at least 1 year experience in relevant field OR BSc in Chemistry/Microbiology/Environmental Sciences/Bio-chemistry with at least 2-year experience in relevant field OR DAE in Chemical Technology/Lab Technology with at least 4-year experience in relevant field |
| ## 1.5 Codes of qualification (ISCED) | Code: 0712WTT00 Description: National Vocational Certificate Level 4 in Water Sector (Water Treatment Technician) |

# Summary of Competencies

| CODE | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr. Hr. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0712WTT07 | Identify types of wastewaters | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WTT08 | Monitor National & International Policy Rules & Regulations | L-4 | Technical | 6 | 48 | 54 | 3 |
| 0712WTT09 | Perform Wastewater Treatment | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WTT010 | Monitor Wastewater Treatment Techniques | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WTT011 | Monitor Stages of Wastewater Treatment Process | L-4 | Technical | 5 | 30 | 35 | 2 |
| 0712WTT012 | Perform Operations & Maintenance | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WTT013 | Perform Customer Care Services | L-4 | Technical | 10 | 60 | 70 | 4 |
| 0712WTT014 | Identify Risk Management in Water Treatment | L-4 | Technical | 8 | 54 | 62 | 3.5 |
| 0712WTT015 | Apply Data Management | L-4 | Technical | 6 | 58 | 64 | 3.7 |
| 0712WTT016 | Perform Assets Management Services | L-4 | Technical | 5 | 30 | 35 | 6 |
| 0712WTT017 | On-Job-Training | L-4 | Technical |  |  | 240 | 6 |
|  | Total |  |  | 80 | 520 | 840 | 40 |

# Qualification Levelling and Packaging

| S.No | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
|  | Water Treatment (Technician) |  | 04 |  |  |

- Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| N/A | Water Treatment Assistant | Water Treatment Technician | N/A |

- Competency Standards

### 5.1 0712WTT07 Identify types of wastewaters

Overview:

This Competency Standard identifies the competencies required to understand types of waste water and identify the pre requisites of waste water assessment in the city.  They will better understand the basics of waste water system and protection of waste water treatment plants in case of emergencies.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Inspect of domestic wastewater | - Use PPEs before wastewater Sampling - Collect domestic wastewater Samples - Collect Location Wise Samples - Provide samples in lab - Collect results from the lab - Submit report to supervisor/manager |
| CU2. Inspect industrial wastewater | - Use PPEs before wastewater Sampling - Collect domestic wastewater Samples - Collect Location Wise Samples - Ensure Sample Preservation - Ensure sample Shipment of in lab - Analyze Samples - Collect results from the lab - Submit report to supervisor/manager |
| CU3. Inspect grey water | - Use PPEs before wastewater Sampling - Collect domestic wastewater Samples - Collect Location Wise Samples - Provide samples in lab - Collect results from the lab - Submit report to supervisor/manager |
| CU4. Inspect produced water | - Collect information about rainfall/ flood - Prepare contact list of relevant officials/ departments - Check first aid box - Report non availability of items in first aid box and lack of PPEs - Ensure PPEs, tools and equipment’s in the store - Update inventory list and report - Check all wiring, fire extinguishers etc. in place - Display SOPs on site/ in plant |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understand types of wastewaters, domestic waste water (grey water/black water), industrial waste water, etc.

- City sewerage system

- Drainage system

- Storm water system

- Safety rules and regulations of organization

- Understanding the use of PPEs, first aid box etc.

- Causes of workplace accidents relevant to the work environment

- Understanding of emergency protocols. SOPs, departments relevant to emergencies

- Workplace response/SOPs to emergencies

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Prepare report on various types of waste water in the city

- Prepare presentation of Sewerage system of the city.

- Use fire extinguishers and personal protective equipment correctly.

- Submit a report containing identified risk and hazard at workplace and in the jurisdiction to concerned

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | First Aid Kit | 1 |
| 02 | Sample collecting Bottles | 75 |
| 03 |  |  |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Fire Extinguisher | 1 |
| 02 | Rubber shoes | 25 |
| 03 | Costume | 25 |
| 04 | Automated Samplers | 02 |

### 5.2 0712WTT08: National & International Policy Rules & Regulations

Overview:

This competency standard will provide skills and knowledge related to knowledge of national and provincial policies relevant to the sector, and regulatory authorities related to wastewater management and their mandate.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Monitor NEQs for wastewater parameters | - Identify and list on-Site Parameters for wastewater monitoring - Identify and list lab Parameters for wastewater monitoring - Prepare list of Permissible Limits for identified parameters - Develop reporting format for daily and monthly reporting |
| CU2. Monitory of regulatory & monitoring authority | - Develop presentation on the National Regulatory Monitoring Authority and their mandate - Develop presentation on the Provincial Regulatory Monitoring Authority and their mandate - Prepare the list of the applicable Policies for Compliance |
| CU3. Monitory of zero discharge of hazardous chemicals policy | - Prepare the list of the zero discharge of hazardous chemicals Policies for Compliance - Develop SOPs for Compliance |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Overview of the NEQS and its permissible limits

- Overview of Zero Discharge of Hazardous Chemicals Policy

- Understand National Regulatory Monitoring Authorities and their mandate

- Understand provincial Regulatory Monitoring Authority and their mandate

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Documentation of compliance reports, audits, and performance evaluations aligning with both national laws and international treaties.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Water and sanitation Policies | 02 |
| 02 | Water acts | 02 |

### 5.3 0712WTT09 Perform Wastewater Treatment

Overview:

This Competency Standard identifies the competencies required to wastewater treatment involves removing contaminants from domestic, industrial, or storm water sources to protect public health and the environment. The main goal is to produce treated water that is safe for discharge or reuse and to minimize the impact on natural water bodies.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform aerobic wastewater treatment | - Identify purpose of aerobic treatment. - Perform primary Treatment Sedimentation and Physical settling of solid contents - Assess Biological Treatment to maintain F/M in the reactor tank. - Maintain MLSS in specific range as per the designed capacity of the plant. - Maintain DO in the range of 1.5 to 2.5mg per liter. - Convey of Sludge from Primary clarifier as well as from secondary clarifier to the sludge thickener - Remove harmful bacteria pathogen and viruses. |
| CU2. Perform anaerobic wastewater treatment | - Identify Anaerobic Process. - Identify the biodegradation Process during treatment. - Identify Acetogenesis. - Identify Bio gas generation - Control pH range. - Ensure oil and grease removal |
| CU3. Perform decentralized wastewater treatment | - Identify Waste Water Sources - Identify Waste Water Effluent - Select Suitable Waste Water treatment System - Understand Waste Water treatment system components - Assess Environmental Impact |
| CU4. Perform wetland treatment | - Assess Influent volume - Identify Preliminary treatment - Examine Soil Characteristics - Assess Topography and Drainage - Confirm Wetland Indicators - Identify Wetland clogging - Maintain data log book |
| CU5. Perform bioremediation | - Identify Waste Type - Identify media/culture suitability - Identify Role of Suitable Microorganisms - Identify suitable plants - Monitor Results |
| CU6. SPerform chemical treatment | - Assess the need of chemical treatment - Perform the Jar test - Assess the efficiency of coagulant and process - Assess the efficiency of flocculants and process - Monitor Results |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understand the importance of wastewater treatment in protecting public health and the environment.

- Know the sources of wastewater (domestic, industrial, storm water, and agricultural).

- Understand the objectives of treatment — removal of solids, organic matter, nutrients, and pathogens.

- Main stages of treatment.

- Understand the difference between aerobic and anaerobic treatment processes.

- Be aware of sludge handling and disposal methods.

- Understand factors affecting treatment efficiency, including flow rate, temperature, and pollutant load.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstration of understanding the three main treatment stages (Primary, Secondary, and Tertiary).

- Ability to classify wastewater sources (domestic, industrial, storm water).

- Correct identification of treatment methods used in each stage

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Alum (Aluminum Sulphate) | 20kg |
| 02 | Lime (Calcium Hydroxide) | 20kg |
| 03 | Chlorine (Liquid ) | 30 Litters |
| 04 | Seed sludge / activated sludge | 1 Bag |
| 05 | Anti-foaming agents | 1 Bag |
| 06 | Sand with vessels | 01 |
| 07 | Carbon with vessels | 01 |

### 5.4 0712WTT10 Monitor Wastewater Treatment Techniques

Overview:

This Competency Standard identifies wastewater treatment involves processes that remove contaminants from domestic, industrial, and commercial water before it is released back into the environment. The main goal is to produce water that is safe for discharge or reuse, and to protect public health and the ecosystem. Proper identification and selection of wastewater treatment techniques ensure environmental sustainability, regulatory compliance, and resource recovery.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Monitor activated sludge process | - Prepare for work activities - Identify and observe activated sludge process operation - Conduct basic process measurements - Interpret process performance - document and report the result - Ensure DO, FM ratio - Handle troubleshooting |
| CU2. Monitor sequence batch reactor techniques | - Observe SBR components and layout - Record SBR operational cycle - Measure operating parameters - document and report the result |
| CU3. Monitor moving bed bio-film reactor techniques | - Identify components and layout of MBBR system - Measure key operational parameters - Inspect biofilm media reactor condition - Document and report the result |
| CU4. Monitor Oxidation Pond Technique | - Assess the need Analyses of oxidation technique - Assess aspect ratio of pond - Identify aerobic condition - Identify Anaerobic condition - Assess polishing of final pond - Document and report the result |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Importance of wastewater treatment.

- Able to know the sources of waste water (Industrial, domestic and portable water).

- Able to understand the environmental impact of waste water, pollution on health and environment.

- Able to know the different stages of treatment process.

- Able to understand key role of different parameters (BOD, COD, DO, SS, pH).

- Interpretation and monitoring of data and troubleshooting.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Understands the sequence and function of each wastewater treatment stage.

- Can recognize and explain the components and operational principles of different waste water treatment techniques.

- Is capable of performing basic inspections, recording operational, analysis data, and reporting findings accurately.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | pH meter (Bench Type + Portable) | 02 |
| 02 | EC meter (Bench Type + Portable) | 02 |
| 03 | Turbidity meter (Bench Type) | 01 |
| 04 | Flow meter | 02 |
| 05 | DO meter (Portable) | 01 |
| 06 | TDS Meter (Bench Type + Portable) | 02 |
| 07 | COD Reactor (Bench Type) | 01 |
| 08 | BOD Apparatus (Bench Type) | 01 |
| 09 | Double Beam Spectrophotometer (Bench Type) | 01 |
| 10 | Flame photometer | 01 |
| 11 | Vacuum Filtration Assembly Apparatus | 01 |
| 12 | Auto titrate | 05 |
| 13 | Beakers Different Sizes (50, 100, 500 and 1000ml) | 06 Each |
| 14 | Conical Flask 250ml, Graduated Cylinder 50ml, Funnel Measuring Flask 250,500, 1000ml | 06 Each |

# 5.5 0712WTT11 – Monitor Stages of Wastewater Treatment Process

Overview:

This Competency Standard identifies that wastewater treatment is a systematic process used to remove contaminants and make water safe for discharge or reuse. The treatment occurs in multiple stages, each designed to eliminate different types of pollutants:

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Monitor preliminary treatment process | - Operate screening - Operate pumping station - Operate grit removal units - Operate equalization - Observe flow control systems |
| CU2. Monitor primary treatment process | - Perform sedimentation process - Control process parameters - Transport sludge to thickener - Observe smooth operation of plant. |
| CU3. Monitor secondary treatment process | - Operate secondary treatment units - Monitor reactor tank parameters - Monitor level gauge of aeration process - Observe flow meter and take readings - Collect intermediate samples |
| CU4. Monitor tertiary treatment process | - Operate tertiary treatment systems - Monitor different parameters - Control different process parameters - Document and record results |
| CU5. Handle sludge treatment process | - Ensure safe handling of sludge - Reserve effluent water for beneficial uses - Interpret data - Convey the compost to treatment area - Spread the compost on granular media - Ensure proper percolation for drying - Recycle the percolated water to pumping station |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Able to understand the objective of waste water treatment.

- Able to understand detailed operational processes and techniques of waste water treatment.

- Able to understand different water and waste water treatment analysis and its standards.

- Understand the usage of recycle water and compost.

- Know the importance of solid waste treatment and its impact on public health and environment.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- The candidate must demonstrate evidence of the following competencies through practical performance, observation, and documentation

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | pH meter (Bench Type + Portable) | 02 |
| 02 | EC meter (Bench Type + Portable) | 02 |
| 03 | Turbidity meter (Bench Type) | 01 |
| 04 | Flow meter | 02 |
| 05 | DO meter (Portable) | 01 |
| 06 | TDS Meter (Bench Type + Portable) | 02 |
| 07 | COD Reactor (Bench Type) | 01 |
| 08 | BOD Apparatus (Bench Type) | 01 |
| 09 | Double Beam Spectrophotometer (Bench Type) | 01 |
| 10 | Flame photometer | 01 |
| 11 | Vacuum Filtration Assembly Apparatus | 01 |
| 12 | Auto titrate | 05 |
| 13 | Beakers Different Sizes (50, 100, 500 and 1000ml) | 06 Each |
| 14 | Conical Flask 250ml, Graduated Cylinder 50ml, Funnel Measuring Flask 250,500, 1000ml | 06 Each |

### 5.6 0712WTT12 – Perform Operations & Maintenance

Overview:

This Competency Standard identifies that involves executing routine tasks to ensure systems, equipment, or infrastructure run efficiently and reliably. It includes monitoring performance, conducting preventive maintenance, and resolving issues to minimize downtime and extend asset life.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Develop operation & maintenance plan | - Explain SCADA and Plant Automation Principles - Identify Components of a SCADA System - Apply Safety Procedures and Perform Lockout/Tagout - Navigate and Operate SCADA Screens |
| CU2. Operate electro-mechanical equipment’s | - Describe Electro-Mechanical Systems (Valves, Motors, Panels) - Explain Basic Electricity Concepts: Power, Voltage, and Current - Identify Different Types of Pumps - Perform Preventive Maintenance Procedures - Apply Safety Procedures During Operation and Emergencies |
| CU3. Develop operation & maintenance plan | - Apply the Lifecycle Concept to Plant Equipment - Define Roles and Responsibilities of O&M Teams - Prepare Maintenance Schedules - Develop Equipment Maintenance Checklists - Implement Lubrication and Inspection Plans - Create and Maintain Equipment Inventory Lists - Follow PPE Requirements for Operators and Maintenance Staff |
| CU4. Use operational tools & equipment/ machinery | - Identification and Safe Handling of Tools - Operation and Inspection of Pumps and Valves - Develop skill in using key measuring instruments to monitor system performance - Lubrication and Preventive Maintenance Task - Develop SOPs for operations and Maintenance of plant |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understand the purpose and importance of operations and maintenance in plant efficiency and reliability

- Know the types of maintenance: preventive, corrective, and predictive

- Understand basic functions of plant equipment (pumps, valves, motors, control panels)

- Know standard operating procedures for equipment operation

- Understand maintenance schedules and how to prepare and follow them

- Know how to use maintenance checklists and logs effectively

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Complete scheduled maintenance tasks following standard procedures and safety protocols

- Correctly apply lockout/tag out (LOTO) and use personal protective equipment (PPE) during maintenance

- Accurately document maintenance activities, including faults and actions taken

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | pH meter (Bench Type + Portable) | 02 |
| 02 | EC meter (Bench Type + Portable) | 02 |
| 03 | Turbidity meter (Bench Type) | 01 |
| 04 | Flow meter | 02 |
| 05 | DO meter (Portable) | 01 |

### 5.7 0712WTT13 Perform Customer Care Services

Overview:

This Competency Standard identifies that it involves executing routine tasks to ensure systems, equipment, or infrastructure run efficiently and reliably. It includes monitoring performance, conducting preventive maintenance, and resolving issues to minimize downtime and extend asset life.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Community Awareness | - Identify community needs and issues - Develop and implement awareness plans - Deliver clear and appropriate information - Collect and analyze community feedback |
| CU2. Interpret ICE material | - Identify key information and specifications from ICE material documents - Analyze technical data and drawings accurately - Apply interpretation of ICE material - Report findings and discrepancies to relevant personnel |
| CU3. Perform Complaint Management | - Document complaints promptly and accurately - Analyze complaints to identify root causes and categorize issues - Communicate effectively with complainants to provide updates and resolutions - Implement corrective actions and follow up to ensure complaint resolution |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understand basic customer care principles and importance

- Know common customer needs and behaviors

- Understand effective communication and listening skills

- Know company products, services, and policies

- Understand complaint handling and escalation procedures

- Know confidentiality and data protection requirements

- Understand use of customer service tools and systems

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Demonstrate effective communication and problem-solving with customers

- Accurately record and manage customer inquiries and complaints

- Apply company policies and procedures to resolve customer issues satisfactorily

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Community Survey Tools (e.g., Survey Monkey, Google Forms) | 1 Subscription |
| 02 | Social Media Management Tools (e.g., Hoot suite, Buffer) | 1 Subscription |
| 03 | Presentation Software (e.g., Microsoft PowerPoint, Google Slides) | 1 License |
| 04 | Feedback Collection Tools (e.g., Feedback kiosks, online forms) | 1 Set |
| 05 | Reporting and Data Analysis Software (e.g., Excel, Google Sheets) | 1 License |

# 5.8 0712WTT14 – Identify Risk Management in Water Treatment

Overview:

Risk management in water and wastewater treatment teaches operators to identify, assess, and control potential hazards such as equipment failures, chemical leaks, and contamination. Participants learn to evaluate the likelihood and impact of risks and implement preventive measures like maintenance, safety equipment, emergency planning, and staff training, ensuring safer and more efficient facility operations.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify risks | - Assess the treatment plant site - Identify hazards and its potential risks - Document the risks |
| Assess risks | - Evaluate risks into low medium and high risks - Document the high risks |
| Manage risks | - Provided measures to control risks - Provide measures to transfer the risks - Document and report risks to the supervisor |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Learn basic knowledge on Risks

- Gain Knowledge on Hazards and incidents

- Document risk and incident

- Report on risk to Supervisor

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Site Risk Assessment Report

- Hazard Identification Checklist

- Risk Evaluation Matrix (Low / Medium / High)

- Risk Control and Mitigation Plan

- Emergency Response Plan

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Safety Helmet | 01 Per Person |
| 02 | Safety Gloves | 01 Per Person |
| 03 | Safety Goggles | 01 Per Person |

### 5.9 0712WTT15 – Apply Data Management

Overview:

As a Water and Wastewater Treatment Plant operator, data management involves collecting, recording, and organizing readings on water quality, flow, and equipment status, often using digital tools and GPS for system mapping. Accurate data entry into databases supports reporting, performance tracking, and informed decision-making for smooth plant operations.

| Competency Units | Performance Criteria |
| --- | --- |
| Develop tools for data collection | - Collect field data on daily basis - Maintain the register - Report data on weekly and monthly basis |
| Use of GPS for special data collection | - Study and collect data on handheld GPS - Maintain data register |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Basics of Handheld GPS

- Collection and recording of data on GPS

- Reporting of data to supervisor

- Basics of MS Word and MS Excel

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Daily Field Data Collection Sheet

- Weekly and Monthly Data Reports

- GPS-Based Spatial Data Record

- Data Register (Manual or Digital)

- Equipment Status and Flow Rate Logs

- Water Quality Test Record Sheet

- Digital Database Entry Record (Excel / System Export)

- Data Accuracy Verification Checklist

- Supervisor’s Data Submission Report

- Mapping or GIS Output from GPS Data

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Field Data Collection Form / Sheet | As Required |
| 02 | Register / Logbook | 01 Per Operator |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Computer / Laptop with MS Excel & Word | 01 Per Office |
| 02 | Handheld GPS Device | 01 Per Person |

### 5.10 0712WTT16 Perform Assets Management Services

Overview:

Asset management in water and wastewater plants focuses on tracking, maintaining, and optimizing equipment and infrastructure through tools like inspection forms, asset tagging, and inventories. Proper asset management enhances efficiency, reduces downtime, and supports effective maintenance planning for operators and technicians.

| Competency Units | Performance Criteria |
| --- | --- |
| Develop assets inventory | - Develop inventory formats in excel - Count all assets and document its quality - Data entry in excel - Maintain and update the inventory list |
| Assets tagging | - Tag all assets with a unique number provided by the supervisor - Monitor all assets on quarterly basis and update the inventory - Report discrepancies to the supervisor |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Development of inventory tool

- Knowledge on MS Word and Excel

- Basic knowledge of treatment Plants Assets

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Asset Inventory Format (Developed in Excel)

- Complete Asset Count Report

- Asset Condition Assessment Sheet

- Updated Asset Register / Database Record

- Asset Tagging Log (with Unique ID Numbers)

- Barcode or Label Tag Record Sheet

- Quarterly Asset Monitoring Report

- Asset Discrepancy / Variance Report

- Maintenance History Record Sheet

- Supervisor Verification / Approval Form

Consumables, Tools, Machinery & Equipment

| List of Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Barcode Labels or Metal Tags | As Required |
| 02 | Permanent Marker / Label Pen | 01 Per Operator |
| 03 | Asset Inventory Sheet / Register | 01 Per Operator |

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | Computer / Laptop with MS Excel & Word | 01 Per Operator |
| 02 | Asset Tagging Machine / Label Printer | 01 Unit |

### 5.11 0712WTT17 On-Job-Training

Overview

The On-Job Training (OJT) allows learners to apply theoretical knowledge in real-world water testing and lab roles such as Water Quality or Laboratory Technician across municipal, industrial, and environmental sectors. If industry placement is unavailable, a project may be completed to fulfill the OJT requirement.

- List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 |  |  |
| 02 | Lab Notebooks / Logbooks | 25 No’s |
| 03 | Ballpoint Pens | 75 Pieces |
| 04 | Highlighters (Mixed Colors) | 50 Pieces |
| 05 | Markers (Permanent & Whiteboard) | 50 Pieces |
| 06 | A4 Paper Rims | 10 No’s |
| 07 | A3 Paper | 5 Rims |
| 08 | Graph Papers | 200 Sheets |
| 09 | Printed SOPs & Manuals | 25 Sets |
| 10 | Water Sample Bottles (Plastic) | 80 No’s |
| 11 | Water Sample Bottles (Glass) | 20 No’s |
| 12 | Grab Sampling Containers | 25 No’s |
| 13 | Sample Bottle Labels | 200 Pieces |
| 14 | Waterproof Markers | 20 Pieces |
| 15 | Distilled / Deionized Water | 20 Liters |
| 16 | pH Buffer Solution (4.0) | 5 Bottles |
| 17 | pH Buffer Solution (7.0) | 5 Bottles |
| 18 | pH Buffer Solution (10.0) | 5 Bottles |
| 19 | Chlorine Test Reagents (DPD) | 10 Kits |
| 20 | Turbidity Test Reagents | 10 Kits |
| 21 | Hardness Test Reagents | 10 Kits |
| 22 | Alkalinity Test Reagents | 10 Kits |
| 23 | Acidity Test Reagents | 10 Kits |
| 24 | Dissolved Oxygen Reagents | 5 Kits |
| 25 | COD Digestion Chemicals | 5 Sets |
| 26 | BOD Nutrient Buffer Pills | 5 Sets |
| 27 | Alum (Coagulant) | 25 Kg |
| 28 | Lime Powder | 20 Kg |
| 29 | Ferric Chloride | 10 Kg |
| 30 | Chlorine Tablets | 5 Kg |
| 31 | Chlorine Powder | 5 Kg |
| 32 | Sodium Hypochlorite | 20 Liters |
| 33 | Polymer (Flocculant) | 5 Kg |
| 34 | Activated Carbon (Granular) | 25 Kg |
| 35 | Activated Carbon (Powdered) | 10 Kg |
| 36 | Antiscalant Chemical | 10 Liters |
| 37 | Sand Filter Media | 50 Kg |
| 38 | Gravel Filter Media | 50 Kg |
| 39 | Cartridge Filter Elements | 20 Pieces |
| 40 | RO Pre-filter Cartridges | 10 Pieces |
| 41 | Gaskets (Rubber) | 50 Pieces |
| 42 | O-Rings (Assorted Sizes) | 100 Pieces |
| 43 | Teflon Tape | 20 Rolls |
| 44 | Thread Sealant | 10 Bottles |
| 45 | PVC Solvent Cement | 10 Tins |
| 46 | Cleaning Brushes | 20 No’s |
| 47 | Lab Glassware Cleaning Liquid | 5 Bottles |
| 48 | Isopropyl Alcohol | 5 Liters |
| 49 | Detergent / Degreaser | 5 Bottles |
| 50 | Cotton Cloth / Rags | 100 Pieces |
| 51 | Tissue Paper Rolls | 20 Rolls |
| 52 | Hand Wash Liquid | 10 Bottles |
| 53 | Hand Sanitizer | 10 Bottles |
| 54 | Latex / Nitrile Gloves | 50 Pairs |
| 55 | Disposable Face Masks | 100 Pieces |
| 56 | Safety Goggles (Basic) | 25 No’s |
| 57 | Aprons (Disposable) | 25 No’s |
| 58 | Calibration Stickers | 100 Pieces |
| 59 | Warning Labels | 100 Pieces |
| 60 | Hazard Identification Tags | 100 Pieces |
| 61 | Log Sheets (Daily Operation) | 25 Books |
| 62 | Maintenance Record Sheets | 25 Sets |
| 63 | Water Quality Report Formats | 25 Sets |
| 64 | Jar Test Recording Sheets | 25 Sets |
| 65 | Pens for Lab Use | 50 Pieces |
| 66 | Pencils | 50 Pieces |
| 67 | Erasers | 25 Pieces |
| 68 | Rulers | 25 Pieces |
| 69 | File Folders | 25 No’s |
| 70 | Document Covers | 25 No’s |
| 71 | Clip Boards | 25 No’s |
| 72 | Sticky Notes | 50 Pads |
| 73 | Adhesive Tape | 20 Rolls |
| 74 | Electrical Insulation Tape | 10 Rolls |
| 75 | Indicator Labels | 100 Pieces |
| 76 | Sample Preservation Chemicals | 5 Sets |
| 77 | Sodium Thiosulfate (Dechlorination) | 2 Kg |
| 78 | Silica Gel Packs | 50 Packs |
| 79 | RO Membrane Cleaning Chemical (Acid) | 5 Liters |
| 80 | RO Membrane Cleaning Chemical (Alkali) | 5 Liters |
| 81 | Anti-foaming Agent | 5 Liters |
| 82 | Lubricating Oil (Light) | 5 Liters |
| 83 | Grease (General Purpose) | 5 Kg |
| 84 | PVC Pipe Cutting Waste (Practice) | As Required |
| 85 | Hose Clamps | 50 Pieces |
| 86 | Cable Ties | 200 Pieces |
| 87 | Sample Transport Ice Packs | 20 Pieces |
| 88 | Neutralization Chemicals | 5 Sets |
| 89 | Glassware Labels | 100 Pieces |
| 90 | Measuring Tape (Disposable Type) | 10 Pieces |
| 91 | Marker Chalk | 20 Pieces |
| 92 | Soap Solution | 10 Bottles |
| 93 | Disinfectant Solution | 10 Bottles |
| 94 | Emergency Eye Wash Bottles | 5 No’s |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| SR. NO | NAME | QTY. REQUIRED |
| 01 | pH Meter (Digital) | 5 Units |
| 02 | Turbidity Meter | 3 Units |
| 03 | TDS / Conductivity Meter | 5 Units |
| 04 | Dissolved Oxygen Meter | 2 Units |
| 05 | Portable Water Testing Kit | 5 Kits |
| 06 | Jar Test Apparatus | 2 Units |
| 07 | Digital Thermometer | 10 Units |
| 08 | Laboratory Balance (Digital) | 2 Units |
| 09 | Magnetic Stirrer | 2 Units |
| 10 | Hot Plate | 2 Units |
| 11 | BOD Incubator | 1 Unit |
| 12 | COD Digestion Apparatus | 1 Unit |
| 13 | UV–Visible Spectrophotometer | 1 Unit |
| 14 | Distillation Unit (Lab Scale) | 1 Unit |
| 15 | Autoclave (Laboratory) | 1 Unit |
| 16 | Laboratory Work Benches | 10 Units |
| 17 | Laboratory Stools | 25 Units |
| 18 | Fume Hood / Exhaust Cabinet | 1 Unit |
| 19 | Water Sampling Pole | 5 Units |
| 20 | Ice Box / Sample Transport Cooler | 5 Units |
| 21 | Filtration Unit (Vacuum / Gravity) | 2 Units |
| 22 | Vacuum Pump | 1 Unit |
| 23 | RO Training Plant (Skid Mounted) | 1 Unit |
| 24 | Multimedia Sand Filter (Demo) | 1 Unit |
| 25 | Activated Carbon Filter (Demo) | 1 Unit |
| 26 | Cartridge Filter Housing | 5 Units |
| 27 | Chemical Dosing Pump | 3 Units |
| 28 | Chlorination Unit (Demo) | 1 Unit |
| 29 | UV Disinfection Unit | 1 Unit |
| 30 | Ozonation Unit (Training Model) | 1 Unit |
| 31 | Storage Tank (Plastic / SS) | 2 Units |
| 32 | Transfer Pump | 3 Units |
| 33 | Centrifugal Pump (Cut-Section) | 1 Unit |
| 34 | Pressure Gauges | 5 Units |
| 35 | Flow Meters (Rotameter / Digital) | 3 Units |
| 36 | Level Sensors | 5 Units |
| 37 | Control Valves (Demo Set) | 5 Units |
| 38 | Gate Valves | 5 Units |
| 39 | Ball Valves | 5 Units |
| 40 | Non-Return Valves (NRV) | 5 Units |
| 41 | PVC Pipe Training Racks | 5 Sets |
| 42 | Pipe Threading Tool | 2 Units |
| 43 | Pipe Cutting Machine | 1 Unit |
| 44 | Hand Pipe Cutter | 5 Units |
| 45 | Adjustable Wrenches | 10 Units |
| 46 | Spanner Set (Full) | 5 Sets |
| 47 | Screwdriver Set | 5 Sets |
| 48 | Pliers Set | 5 Sets |
| 49 | Measuring Tape (Steel) | 10 Units |
| 50 | Vernier Caliper | 3 Units |
| 51 | Spirit Level | 5 Units |
| 52 | Drill Machine | 2 Units |
| 53 | Bench Vice | 5 Units |
| 54 | Grinder Machine | 1 Unit |
| 55 | Electrical Multimeter | 10 Units |
| 56 | Insulation Tester (Megger) | 1 Unit |
| 57 | Clamp Meter | 3 Units |
| 58 | Control Panel Training Board | 1 Unit |
| 59 | PLC Training Kit (Basic) | 1 Unit |
| 60 | SCADA Demonstration System | 1 Unit |
| 61 | Electrical Wiring Trainer | 2 Units |
| 62 | Indicator Lamps & Switches Panel | 2 Units |
| 63 | Emergency Stop Switch | 5 Units |
| 64 | Earthing Rods | 5 Units |
| 65 | Safety Helmet | 25 Units |
| 66 | Safety Goggles | 25 Units |
| 67 | Face Shields | 10 Units |
| 68 | Safety Shoes | 25 Pairs |
| 69 | Chemical Resistant Aprons | 25 Units |
| 70 | Fire Extinguisher (CO₂ / DCP) | 2 Units |
| 71 | Emergency Eye Wash Station | 2 Units |
| 72 | First Aid Box | 2 Units |
| 73 | Spill Control Kit | 2 Units |
| 74 | Portable Gas Detector | 1 Unit |
| 75 | Noise Level Meter | 1 Unit |
| 76 | Lux Meter | 1 Unit |
| 77 | Weather Monitoring Kit | 1 Unit |
| 78 | GPS Device | 2 Units |
| 79 | Laptop / Desktop Computer | 5 Units |
| 80 | Printer / Scanner | 1 Unit |
| 81 | Projector | 1 Unit |
| 82 | Whiteboard | 2 Units |
| 83 | CCTV Camera (Training) | 2 Units |
| 84 | PA System / Speaker | 1 Unit |
| 85 | Stop Watch | 10 Units |
| 86 | Wall Clock | 5 Units |
| 87 | Storage Racks | 10 Units |
| 88 | Chemical Storage Cabinet | 2 Units |
| 89 | Tool Cabinet | 2 Units |
| 90 | File Cabinets | 2 Units |
| 91 | Sample Storage Refrigerator | 1 Unit |
| 92 | Water Heater / Geyser | 1 Unit |
| 93 | Generator (Backup) | 1 Unit |
| 94 | UPS System | 2 Units |
| 95 | Voltage Stabilizer | 2 Units |
| 96 | Training Models (Cut-Section Pipes & Valves) | 5 Sets |
| 97 | Flow Diagram Display Boards | 5 Units |
| 98 | Safety Sign Boards | 10 Units |
| 99 | Calibration Weight Set | 1 Set |
| 100 | Glassware Drying Rack | 2 Units |
| 101 | Sample Mixing Tank | 1 Unit |
| 102 | Sludge Dewatering Model | 1 Unit |
| 103 | Sludge Drying Bed (Demo) | 1 Unit |
| 104 | Effluent Treatment Plant Model | 1 Unit |
| 105 | Drinking Water Treatment Plant Model | 1 Unit |
| 106 | Wastewater Treatment Plant Model | 1 Unit |
| 107 | Training Display Charts & Posters | 10 Sets |

- Members of Qualifications Development & Review Committee

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| Sr.# | Name | Designation | Organization |
|  | Mr. Muhammad Musa | Assistant Director | CDA Islamabad |
|  | Mr. Dr. Aftab Ahmad | Assistant Professor | Kohsar University Murree |
|  | Mr. Zohaib ud Din | GM-Design & Operation | WR-Pakistan |
|  | Muhammad Usman | Instructor | PVTC |
|  | Shakeel Badshah | RO | PCRWR |
|  | Mr M.Yaqoob Gulzar | Instructor | PMDC Rawalpindi |
|  | Mr. Muhammad Ali | Water Management Officer | Bahria Town |
|  | Usama Tariq | Site Engineer | Soil Water Multan |
|  | Muhammad Asif | Sr.Manager | RCH |
|  | Mr. Kashif Mehmood | AD WASA | WASA |
|  | Mr. Eng. M.Wamiq Ayaz | DACUM Facilitator | Rawalpindi |
|  | Engr. Masood Ahmad | Asst. Director | PCRWR, Islamabad |