|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0713E&E4501 Apply Wind Power Plant Safety Procedures |
| --- | --- |
|  | Date: 1st -5th December, 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4501 Apply Wind Power Plant Safety Procedures |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Prepare for safe work practices - Perform safe handling of tools and equipment - Perform basic first aid for minor Injuries - Operate fire extinguisher - Respond to emergencies - Perform log out tag out procedure - Perform wind turbine generator climbing procedure - Perform wind turbine elevator operations - Perform wind turbine generator rescuing procedure Activity: You are a Wind Power Plant Technician (Level 4) and are tasked at Wind Turbine WT-07 where a minor sensor fault has been reported. Your task is to carry out all required safety checks, obtain permits, handle tools correctly, apply LOTO, access the turbine using the climbing system and ensure emergency preparedness according to SOPs. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Obtain work permit in accordance with SOP - Use personal protective equipment (PPE) correctly - Apply lockout devices and verify zero-energy isolation - Ascend and descend ladder while attached to fall protection system - Secure casualty with rescue system and transfer to medical care |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4501 Apply Wind Power Plant Safety Procedures |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Prepare for safe work practices - Perform safe handling of tools and equipment - Perform basic first aid for minor Injuries - Operate fire extinguisher - Respond to emergencies - Perform log out tag out procedure - Perform wind turbine generator climbing procedure - Perform wind turbine elevator pperations - Perform wind turbine generator rescuing procedure Activity: You are a Wind Power Plant Technician (Level 4) and are tasked at Wind Turbine WT-07 where a minor sensor fault has been reported. Your task is to carry out all required safety checks, obtain permits, handle tools correctly, apply LOTO, access the turbine using the climbing system and ensure emergency preparedness according to SOPs. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Obtain work permit in accordance with standard procedure |  |  |
| - Identify emergency procedures and assembly points |  |  |
| - Identify workplace hazards |  |  |
| - Report hazards, incidents, and injuries |  |  |
| - Use personal protective equipment correctly |  |  |
| - Inspect tools and equipment for defects |  |  |
| - Clean and store tools and equipment after use |  |  |
| - Identify energy sources for isolation |  |  |
| - Switch off machines and equipment |  |  |
| - Apply lockout devices to all identified energy isolation points |  |  |
| - Verify isolation for zero-energy state |  |  |
| - Ascend ladder while attached to fall protection system |  |  |
| - Descend ladder while attached to fall protection system |  |  |
| - Perform first aid for minor skin cuts |  |  |
| - Perform CPR on mannequin if required |  |  |
| - Identify fire extinguisher type according to fire source |  |  |
| - Operate fire extinguisher using PASS technique |  |  |
| - Prepare rescue equipment |  |  |
| - Secure casualty with rescue system and transfer to medical care |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4501 Apply Wind Power Plant Safety Procedures |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Prepare for safe work practices - Perform safe handling of tools and equipment - Perform basic first aid for minor Injuries - Operate fire extinguisher - Respond to emergencies - Perform log out tag out procedure - Perform wind turbine generator climbing procedure - Perform wind turbine elevator operations - Perform wind turbine generator rescuing procedure Activity: You are a Wind Power Plant Technician (Level 4) and are tasked at Wind Turbine WT-07 where a minor sensor fault has been reported. Your task is to carry out all required safety checks, obtain permits, handle tools correctly, apply LOTO, access the turbine using the climbing system and ensure emergency preparedness according to SOPs. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Obtain work permit in accordance with standard procedure |  |  |  |  |  |
|  | Identify emergency procedures and assembly points |  |  |  |  |  |
|  | Identify workplace hazards |  |  |  |  |  |
|  | Report hazards, incidents, and injuries |  |  |  |  |  |
|  | Use personal protective equipment correctly |  |  |  |  |  |
|  | Inspect tools and equipment for defects |  |  |  |  |  |
|  | Clean and store tools and equipment after use |  |  |  |  |  |
|  | Identify energy sources for isolation |  |  |  |  |  |
|  | Switch off machines and equipment |  |  |  |  |  |
|  | Apply lockout devices to all identified energy isolation points |  |  |  |  |  |
|  | Verify isolation for zero-energy state |  |  |  |  |  |
|  | Ascend ladder while attached to fall protection system |  |  |  |  |  |
|  | Descend ladder while attached to fall protection system |  |  |  |  |  |
|  | Perform first aid for minor skin cuts |  |  |  |  |  |
|  | Perform CPR on mannequin if required |  |  |  |  |  |
|  | Identify fire extinguisher type according to fire source |  |  |  |  |  |
|  | Operate fire extinguisher using PASS technique |  |  |  |  |  |
|  | Prepare rescue equipment |  |  |  |  |  |
|  | Secure casualty with rescue system and transfer to medical care |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4501 Apply Wind Power Plant Safety Procedures |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the first step you must take before starting any maintenance work at a wind turbine? |  |  |
|  |  | Name three pieces of personal protective equipment (PPE) that must be worn while climbing a wind turbine |  |  |
|  |  | How would you identify potential hazards at the wind turbine workplace? |  |  |
|  |  | Describe the purpose of the Lock Out Tag Out (LOTO) procedure. |  |  |
|  |  | List two key steps to verify a zero-energy state during LOTO. |  |  |
|  |  | Explain the PASS method used for operating a fire extinguisher. |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |