|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0713E&E4505 Analyse Electrical Parameters through Testing |
| --- | --- |
|  | Date: 1st -5th December 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4505 Analyse Electrical Parameters through Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Measure basic electrical parameters - Verify insulation resistance - Inspect contact resistance - Perform phase sequence test - Perform grounding resistance test - Inspect protection system - Conduct functional tests on switchgear - Perform continuity test Activity: The tainees are tasked to check a workshop electrical panel using proper tools and PPE. They will measure basic parameters such as voltage, current, resistance, capacitance, inductance, and waveform. After safely isolating the system, the trainee performs insulation resistance, contact resistance, phase sequence, grounding resistance, protection device inspection, switchgear functional tests, and continuity tests. All readings are compared with manufacturer specifications and recorded in the log sheets. Any abnormal or out-of-range values must be reported to the supervisor immediately. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Demonstrate proper selection, preparation, calibration and safe handling of Electrical testing Instruments and Procedures. - Perform accurate electrical tests on wind turbine electrical components (Generator, Transformer and Earthing Control Circuit). - Perform Documentation and Reporting of test results of electrical systems on prescribed format. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4505 Analyse Electrical Parameters through Testing |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Measure basic electrical parameters - Verify insulation resistance - Inspect contact resistance - Perform phase sequence test - Perform grounding resistance test - Inspect protection system - Conduct functional tests on switchgear - Perform continuity test Activity: The tainees are tasked to check a workshop electrical panel using proper tools and PPE. They will measure basic parameters such as voltage, current, resistance, capacitance, inductance, and waveform. After safely isolating the system, the trainee performs insulation resistance, contact resistance, phase sequence, grounding resistance, protection device inspection, switchgear functional tests, and continuity tests. All readings are compared with manufacturer specifications and recorded in the log sheets. Any abnormal or out-of-range values must be reported to the supervisor immediately. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select testing tools as per testing requirements |  |  |
| - Select PPE’s as per testing requirement |  |  |
| - Identify Insulation Tester as per system voltage rating. |  |  |
| - Identify Phase Sequence Tester according to the system voltage level. |  |  |
| - Connect Phase Sequence Tester Leads to three supply terminals. |  |  |
| - Check Tester Calibration |  |  |
| - Install grounding resistance electrodes on ground |  |  |
| - Identify protective devices. |  |  |
| - Record Test results. |  |  |
| - Identify testing instruments . |  |  |
| - Check system is isolated before use. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4505 Analyse Electrical Parameters through Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Measure basic electrical parameters - Verify insulation resistance - Inspect contact resistance - Perform phase sequence test - Perform grounding resistance test - Inspect protection system - Conduct functional tests on switchgear - Perform continuity test Activity: The tainees are tasked to check a workshop electrical panel using proper tools and PPE. They will measure basic parameters such as voltage, current, resistance, capacitance, inductance, and waveform. After safely isolating the system, the trainee performs insulation resistance, contact resistance, phase sequence, grounding resistance, protection device inspection, switchgear functional tests, and continuity tests. All readings are compared with manufacturer specifications and recorded in the log sheets. Any abnormal or out-of-range values must be reported to the supervisor immediately. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select testing tools as per testing requirements |  |  |  |  |  |
|  | Select PPE’s as per testing requirement |  |  |  |  |  |
|  | Identify Insulation Tester as per system voltage rating. |  |  |  |  |  |
|  | Identify Phase Sequence Tester according to the system voltage level. |  |  |  |  |  |
|  | Connect Phase Sequence Tester Leads to three supply terminals. |  |  |  |  |  |
|  | Check Tester Calibration |  |  |  |  |  |
|  | Install grounding resistance electrodes on ground |  |  |  |  |  |
|  | Identify protective devices. |  |  |  |  |  |
|  | Record Test results. |  |  |  |  |  |
|  | Identify testing instruments . |  |  |  |  |  |
|  | Check system is isolated before use. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4505 Analyse Electrical Parameters through Testing |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is main purpose of electrical testing in wind power plant? |  |  |
|  |  | Which instrument is used to measure insulation resistance? |  |  |
|  |  | What does multimeter measure in electrical testing? |  |  |
|  |  | Why is earthing important in wind power plant? |  |  |
|  |  | What is meant by continuity testing? |  |  |
|  |  | Which device is used to test surge protection in wind power plant? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |