|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0713E&E4506 Analyse Mechanical Systems through Inspection |
| --- | --- |
|  | Date: 1st -5th December 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4506 Analyse Mechanical Systems through Inspection |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Inspect physical condition of equipment - Check dimension of components - Check temperature of components - Inspect noise level - Check oil level of components - Perform oil sampling - Perform grease sampling - Inspect pressure of hydraulic systems - Check alignment of components - Perform load testing Activity: The trainees are tasked to perform a routine inspection of a wind turbine including checking the physical condition of components measuring dimensions, temperature, and noise levels, and inspecting oil, grease, and hydraulic systems. They will also perform alignment checks, collect oil and grease samples, and conduct overhead crane load testing. All readings must be compared with OEM standards, documented accurately, and any abnormalities reported to the supervisor. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Demonstrate use of laser alignment tool - Demonstrate use of IR thermometer - Demostrate Vernier caliper - Demonstrate use of sound meter |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4506 Analyse Mechanical Systems through Inspection |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Inspect physical condition of equipment - Check dimension of components - Check temperature of components - Inspect noise level - Check oil level of components - Perform oil sampling - Perform grease sampling - Inspect pressure of hydraulic systems - Check alignment of components - Perform load testing Activity: The trainees are tasked to perform a routine inspection of a wind turbine including checking the physical condition of components measuring dimensions, temperature, and noise levels, and inspecting oil, grease, and hydraulic systems. They will also perform alignment checks, collect oil and grease samples, and conduct overhead crane load testing. All readings must be compared with OEM standards, documented accurately, and any abnormalities reported to the supervisor. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify cracks in system |  |  |
| - Inspect seals for leakage |  |  |
| - Prepare inspection report with photographs |  |  |
| - Report condition to supervisor |  |  |
| - Identify required tool for dimensional check |  |  |
| - Record dimension of brake pad thickness |  |  |
| - Record dimension of slip-ring carbon brushes |  |  |
| - Compare recorded dimensions with OEM standard |  |  |
| - heck calibration of IR thermometer |  |  |
| - Use IR thermometer on transformer |  |  |
| - Record temperature readings |  |  |
| - Compare against OEM limits |  |  |
| - Check calibration of sound meter |  |  |
| - Use sound meter as per instructions |  |  |
| - Record dB levels |  |  |
| - Compare against OEM limits |  |  |
| - Identify abnormal sounds |  |  |
| - Check oil levels of gearbox through oil level indicator |  |  |
| - Check oil levels of transformer through oil level gauge |  |  |
| - Record oil levels as per instructions |  |  |
| - Compare against OEM limits |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4506 Analyse Mechanical Systems through Inspection |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Inspect physical condition of equipment - Check dimension of components - Check temperature of components - Inspect noise level - Check oil level of components - Perform oil sampling - Perform grease sampling - Inspect pressure of hydraulic systems - Check alignment of components - Perform load testing Activity: The trainees are tasked to perform a routine inspection of a wind turbine including checking the physical condition of components measuring dimensions, temperature, and noise levels, and inspecting oil, grease, and hydraulic systems. They will also perform alignment checks, collect oil and grease samples, and conduct overhead crane load testing. All readings must be compared with OEM standards, documented accurately, and any abnormalities reported to the supervisor. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify cracks in system |  |  |  |  |  |
|  | Inspect seals for leakage |  |  |  |  |  |
|  | Prepare inspection report with photographs |  |  |  |  |  |
|  | Report condition to supervisor |  |  |  |  |  |
|  | Identify required tool for dimensional check |  |  |  |  |  |
|  | Record dimension of brake pad thickness |  |  |  |  |  |
|  | Record dimension of slip-ring carbon brushes |  |  |  |  |  |
|  | Compare recorded dimensions with OEM standard |  |  |  |  |  |
|  | heck calibration of IR thermometer |  |  |  |  |  |
|  | Use IR thermometer on transformer |  |  |  |  |  |
|  | Record temperature readings |  |  |  |  |  |
|  | Compare against OEM limits |  |  |  |  |  |
|  | Check calibration of sound meter |  |  |  |  |  |
|  | Use sound meter as per instructions |  |  |  |  |  |
|  | Record dB levels |  |  |  |  |  |
|  | Compare against OEM limits |  |  |  |  |  |
|  | Identify abnormal sounds |  |  |  |  |  |
|  | Check oil levels of gearbox through oil level indicator |  |  |  |  |  |
|  | Check oil levels of transformer through oil level gauge |  |  |  |  |  |
|  | Record oil levels as per instructions |  |  |  |  |  |
|  | Compare against OEM limits |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4506 Analyse Mechanical Systems through Inspection |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is purpose of mechanical inspection in wind power plant? |  |  |
|  |  | Which wind turbine part is inspected for cracks and surface damage? |  |  |
|  |  | Why is gearbox oil level checked during inspection? |  |  |
|  |  | What is the function of lubrication in mechanical systems? |  |  |
|  |  | Which tool is used to check abnormal vibration in turbine components? |  |  |
|  |  | Why are bolts and fasteners inspected regularly? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |