|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0713E&E4507 Conduct Preventive Maintenance of Mechanical Systems |
| --- | --- |
|  | Date: 1st -5th December 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4507 Conduct Preventive Maintenance of Mechanical Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Maintain gearbox - Maintain braking system - Maintain yaw system - Maintain cooling system - Maintain lubrication system - Maintain pitch systems - Maintain coupling systems - Perform bolt tightening Activity: Trainees are tasked with performing preventive maintenance of a wind power plant in a simulated setting in Southern Punjab in which a problem in mechanical system occurs. They safely ascend turbine tower and complete maintenance on all key mechanical systems including the gearbox, braking system, yaw and cooling systems, lubrication and pitch mechanisms, coupling systems, critical bolt tightening on flanges and nacelle mounts. Using essential tools like torque wrenches, endoscopes, lubrication kits, and checklists while following strict lockout/tagout, PPE and manufacturer guidelines, trainees must detect wear, replenish fluids and greases, and make necessary adjustments. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Complete maintenance checklist for mechanical system of wind turbine - Demonstrate oil and grease sampling - Demonstrate correct torquing practice |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4507 Conduct Preventive Maintenance of Mechanical Systems |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Maintain gearbox - Maintain braking system - Maintain yaw system - Maintain cooling system - Maintain lubrication system - Maintain pitch systems - Maintain coupling systems - Perform bolt tightening Activity: Trainees are tasked with performing preventive maintenance of a wind power plant in a simulated setting in Southern Punjab in which a problem in mechanical system occurs. They safely ascend turbine tower and complete maintenance on all key mechanical systems including the gearbox, braking system, yaw and cooling systems, lubrication and pitch mechanisms, coupling systems, critical bolt tightening on flanges and nacelle mounts. Using essential tools like torque wrenches, endoscopes, lubrication kits, and checklists while following strict lockout/tagout, PPE and manufacturer guidelines, trainees must detect wear, replenish fluids and greases, and make necessary adjustments. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform physical inspection of gearbox |  |  |
| - Check oil level |  |  |
| - Perform physical Inspection of ventilation filter |  |  |
| - Perform physical inspection of brake disc |  |  |
| - Replace worn brake pads when required |  |  |
| - Check the hydraulic oil leakage |  |  |
| - Check Yaw Gearbox level |  |  |
| - Check hydraulic oil pressure at yaw calipers |  |  |
| - Perform physical inspection of Yaw System |  |  |
| - Perform lubrication of tooth system according to OEM guidelines |  |  |
| - Inspect physical condition of heat exchanger for damage |  |  |
| - Inspect pitch motor/actuator |  |  |
| - Perform Lubrication of pitch bearings |  |  |
| - Perform Lubrication of tooth system |  |  |
| - Inspect shaft couplings |  |  |
| - Check screw connections |  |  |
| - Check generator alignment |  |  |
| - Select correct torque/tension tool |  |  |
| - Verify calibration of tools |  |  |
| - Apply correct torque as per OEM |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4507 Conduct Preventive Maintenance of Mechanical Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Maintain gearbox - Maintain braking system - Maintain yaw system - Maintain cooling system - Maintain lubrication system - Maintain pitch systems - Maintain coupling systems - Perform bolt tightening Activity: Trainees are tasked with performing preventive maintenance of a wind power plant in a simulated setting in Southern Punjab in which a problem in mechanical system occurs. They safely ascend turbine tower and complete maintenance on all key mechanical systems including the gearbox, braking system, yaw and cooling systems, lubrication and pitch mechanisms, coupling systems, critical bolt tightening on flanges and nacelle mounts. Using essential tools like torque wrenches, endoscopes, lubrication kits, and checklists while following strict lockout/tagout, PPE and manufacturer guidelines, trainees must detect wear, replenish fluids and greases, and make necessary adjustments. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Perform physical inspection of gearbox |  |  |  |  |  |
|  | Check oil level |  |  |  |  |  |
|  | Perform physical Inspection of ventilation filter |  |  |  |  |  |
|  | Perform physical inspection of brake disc |  |  |  |  |  |
|  | Replace worn brake pads when required |  |  |  |  |  |
|  | Check the hydraulic oil leakage |  |  |  |  |  |
|  | Check Yaw Gearbox level |  |  |  |  |  |
|  | Check hydraulic oil pressure at yaw calipers |  |  |  |  |  |
|  | Perform physical inspection of Yaw System |  |  |  |  |  |
|  | Perform lubrication of tooth system according to OEM guidelines |  |  |  |  |  |
|  | Inspect physical condition of heat exchanger for damage |  |  |  |  |  |
|  | Inspect pitch motor/actuator |  |  |  |  |  |
|  | Perform Lubrication of pitch bearings |  |  |  |  |  |
|  | Perform Lubrication of tooth system |  |  |  |  |  |
|  | Inspect shaft couplings |  |  |  |  |  |
|  | Check screw connections |  |  |  |  |  |
|  | Check generator alignment |  |  |  |  |  |
|  | Select correct torque/tension tool |  |  |  |  |  |
|  | Verify calibration of tools |  |  |  |  |  |
|  | Apply correct torque as per OEM |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4507 Conduct Preventive Maintenance of Mechanical Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | Which parameter of gearbox oil should be checked to detect contamination during preventive maintenance? |  |  |
|  |  | What is one visual sign that brake pads in a wind turbine braking system need replacement? |  |  |
|  |  | Which component of the yaw system is inspected to ensure the nacelle can rotate smoothly toward the wind? |  |  |
|  |  | Which mechanical components require regular lubrication? |  |  |
|  |  | Why is it important to check for leaks in lubrication lines during turbine maintenance? |  |  |
|  |  | Which part of the pitch system is commonly lubricated to ensure smooth blade angle adjustment? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |