|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0713E&E4508 Conduct Preventive Maintenance of Electrical Systems |
| --- | --- |
|  | Date: 1st -5th December 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4508 Conduct Preventive Maintenance of Electrical Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Maintain electronic components - Maintain electrical sensors - Maintain control circuits - Maintain power circuits - Maintain generator - Maintain transformer - Maintain AC motor - Maintain DC motor - Maintain switchgear - Maintain frequency convertor Activity: Trainees are tasked with performing preventive maintenance of wind power plant in a simulated setting in Southern Punjab in which a problem in electrical system occurs. They first isolate the turbine as per SOP. They inspect electronic components and electrical sensors. Control and power circuits are tested with appropriate instruments. Trainees check generator terminals, cooling, and insulation, examine the transformer oil level and verify correct output. Both AC and DC motors are inspected for noise, vibration, and insulation faults while switchgear is checked for contact wear, correct operation, and mechanical interlocks. Finally, the frequency converter is inspected for alarms, cooling problems and parameter irregularities. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Demonstrate safety procedures used for testing tools - Inspect, diagnose and maintain electrical components - Follow preventive maintenance schedule as per manual - Record, report and verify system operation after maintenance |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4508 Conduct Preventive Maintenance of Electrical Systems |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Maintain electronic components - Maintain electrical sensors - Maintain control circuits - Maintain power circuits - Maintain generator - Maintain transformer - Maintain AC motor - Maintain DC motor - Maintain switchgear - Maintain frequency convertor Activity: Trainees are tasked with performing preventive maintenance of wind power plant in a simulated setting in Southern Punjab in which a problem in electrical system occurs. They first isolate the turbine as per SOP. They inspect electronic components and electrical sensors. Control and power circuits are tested with appropriate instruments. Trainees check generator terminals, cooling, and insulation, examine the transformer oil level and verify correct output. Both AC and DC motors are inspected for noise, vibration, and insulation faults while switchgear is checked for contact wear, correct operation, and mechanical interlocks. Finally, the frequency converter is inspected for alarms, cooling problems and parameter irregularities. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify cleaning tools of electronic components. |  |  |
| - Clean given electronic components as per requirement. |  |  |
| - Perform physical Inspection of ventilation filter |  |  |
| - Perform physical inspection of brake disc |  |  |
| - Replace worn brake pads when required |  |  |
| - Check the hydraulic oil leakage |  |  |
| - Check Yaw Gearbox level |  |  |
| - Check hydraulic oil pressure at yaw calipers |  |  |
| - Perform physical inspection of Yaw System |  |  |
| - Perform lubrication of tooth system according to OEM guidelines |  |  |
| - Inspect physical condition of heat exchanger for damage |  |  |
| - Inspect pitch motor/actuator |  |  |
| - Perform Lubrication of pitch bearings |  |  |
| - Perform Lubrication of tooth system |  |  |
| - Inspect shaft couplings |  |  |
| - Check screw connections |  |  |
| - Check generator alignment |  |  |
| - Select correct torque/tension tool |  |  |
| - Verify calibration of tools |  |  |
| - Apply correct torque as per OEM |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4508 Conduct Preventive Maintenance of Electrical Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Maintain electronic components - Maintain electrical sensors - Maintain control circuits - Maintain power circuits - Maintain generator - Maintain transformer - Maintain AC motor - Maintain DC motor - Maintain switchgear - Maintain frequency convertor Activity: Trainees are tasked with performing preventive maintenance of wind power plant in a simulated setting in Southern Punjab in which a problem in electrical system occurs. They first isolate the turbine as per SOP. They inspect electronic components and electrical sensors. Control and power circuits are tested with appropriate instruments. Trainees check generator terminals, cooling, and insulation, examine the transformer oil level and verify correct output. Both AC and DC motors are inspected for noise, vibration, and insulation faults while switchgear is checked for contact wear, correct operation, and mechanical interlocks. Finally, the frequency converter is inspected for alarms, cooling problems and parameter irregularities. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify cleaning tools of electronic components. |  |  |  |  |  |
|  | Clean given electronic components as per requirement. |  |  |  |  |  |
|  | Perform physical Inspection of ventilation filter |  |  |  |  |  |
|  | Perform physical inspection of brake disc |  |  |  |  |  |
|  | Replace worn brake pads when required |  |  |  |  |  |
|  | Check the hydraulic oil leakage |  |  |  |  |  |
|  | Check Yaw Gearbox level |  |  |  |  |  |
|  | Check hydraulic oil pressure at yaw calipers |  |  |  |  |  |
|  | Perform physical inspection of Yaw System |  |  |  |  |  |
|  | Perform lubrication of tooth system according to OEM guidelines |  |  |  |  |  |
|  | Inspect physical condition of heat exchanger for damage |  |  |  |  |  |
|  | Inspect pitch motor/actuator |  |  |  |  |  |
|  | Perform Lubrication of pitch bearings |  |  |  |  |  |
|  | Perform Lubrication of tooth system |  |  |  |  |  |
|  | Inspect shaft couplings |  |  |  |  |  |
|  | Check screw connections |  |  |  |  |  |
|  | Check generator alignment |  |  |  |  |  |
|  | Select correct torque/tension tool |  |  |  |  |  |
|  | Verify calibration of tools |  |  |  |  |  |
|  | Apply correct torque as per OEM |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4508 Conduct Preventive Maintenance of Electrical Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the purpose of preventive maintenance of wind turbine? |  |  |
|  |  | Enlist three electrical components in wind turbine? |  |  |
|  |  | What tool is used to measure voltage during maintenance? |  |  |
|  |  | What is normal insulation resistance value range considered safe? |  |  |
|  |  | Describe at least two safety precautions before opening an electrical panel? |  |  |
|  |  | What does term LOTO stands for? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |