|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0713E&E4509 Conduct Preventive Maintenance of Hydraulic Systems |
| --- | --- |
|  | Date: 1st -5th December 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4509 Conduct Preventive Maintenance of Hydraulic Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Maintain pumps - Maintain valves - Maintain actuators - Maintain accumulators - Maintain hydraulic sensors - Check pipe connections Activity: The trainees are tasked to maintain pumps, valves, actuators, accumulators, hydraulic sensors, and pipe connections according to SOPs. Your Task will include inspection, cleaning, testing, and ensuring proper functioning of all components. The trainees must arrange necessary tools, check for leaks, ensure correct pressure levels, and maintain cleanliness and safety throughout the maintenance process. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Maintain hydraulic system performance within design limits. - Inspect components - Check safety devices - Record maintenance actions |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4509 Conduct Preventive Maintenance of Hydraulic Systems |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Maintain pumps - Maintain valves - Maintain actuators - Maintain accumulators - Maintain hydraulic sensors - Check pipe connections Activity: The trainees are tasked to maintain pumps, valves, actuators, accumulators, hydraulic sensors, and pipe connections according to SOPs. Your Task will include inspection, cleaning, testing, and ensuring proper functioning of all components. The trainees must arrange necessary tools, check for leaks, ensure correct pressure levels, and maintain cleanliness and safety throughout the maintenance process. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Replace hydraulic filters of pumps |  |  |
| - Perform hydraulic oil sampling |  |  |
| - Verify system pressure |  |  |
| - Measure vibration of system |  |  |
| - Confirm lubrication properly |  |  |
| - Inspect damage components |  |  |
| - Verify sealing integrity |  |  |
| - Monitor flow control within limits |  |  |
| - Confirm correct actuation under all conditions |  |  |
| - Check protective devices |  |  |
| - Verify response times |  |  |
| - Check temperature |  |  |
| - Confirm lubrication is adequate |  |  |
| - Adjust pre-charge pressure within limits |  |  |
| - Verify fluid quality |  |  |
| - Monitor pressure stability |  |  |
| - Maintain Connections secure |  |  |
| - Monitor output trends for fluctuations |  |  |
| - Confirm accurate data transmission to control systems |  |  |
| - Inspect joints for leaks |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4509 Conduct Preventive Maintenance of Hydraulic Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Maintain pumps - Maintain valves - Maintain actuators - Maintain accumulators - Maintain hydraulic sensors - Check pipe connections Activity: The trainees are tasked to maintain pumps, valves, actuators, accumulators, hydraulic sensors, and pipe connections according to SOPs. Your Task will include inspection, cleaning, testing, and ensuring proper functioning of all components. The trainees must arrange necessary tools, check for leaks, ensure correct pressure levels, and maintain cleanliness and safety throughout the maintenance process. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Replace hydraulic filters of pumps |  |  |  |  |  |
|  | Perform hydraulic oil sampling |  |  |  |  |  |
|  | Verify system pressure |  |  |  |  |  |
|  | Measure vibration of system |  |  |  |  |  |
|  | Confirm lubrication properly |  |  |  |  |  |
|  | Inspect damage components |  |  |  |  |  |
|  | Verify sealing integrity |  |  |  |  |  |
|  | Monitor flow control within limits |  |  |  |  |  |
|  | Confirm correct actuation under all conditions |  |  |  |  |  |
|  | Check protective devices |  |  |  |  |  |
|  | Verify response times |  |  |  |  |  |
|  | Check temperature |  |  |  |  |  |
|  | Confirm lubrication is adequate |  |  |  |  |  |
|  | Adjust pre-charge pressure within limits |  |  |  |  |  |
|  | Verify fluid quality |  |  |  |  |  |
|  | Monitor pressure stability |  |  |  |  |  |
|  | Maintain Connections secure |  |  |  |  |  |
|  | Monitor output trends for fluctuations |  |  |  |  |  |
|  | Confirm accurate data transmission to control systems |  |  |  |  |  |
|  | Inspect joints for leaks |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4509 Conduct Preventive Maintenance of Hydraulic Systems |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | Why are OEM hydraulic guidelines important? |  |  |
|  |  | What is the main function of the hydraulic pump? |  |  |
|  |  | What commonly causes hydraulic pressure loss? |  |  |
|  |  | Why is accurate documentation of inspection results important? |  |  |
|  |  | What do emergency procedures in hydraulic maintenance require? |  |  |
|  |  | Why are secure electrical connections important for hydraulic sensors? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |