|  | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Formative Assessment 0031PSD021 Implement Corrective Maintenance of Wind Power Plant |
| --- | --- |
|  | Date: 1st -5th December 2024 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4510 Implement Corrective Maintenance of Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform replacement of brake pad - Perform replacement of brake calipers - Perform replacement of motor - Perform replacement of low voltage circuit breaker - Perform replacement of low voltage cable - Perform replacement of control cables - Perform rectification of oil leakage - Perform rectification of control circuits - Perform replacement of sensors Activity: The trainees are tasked to carry out maintenance activities as per SOP by performing the replacement of brake pads and replacing worn-out brake calipers to ensure safe braking performance. Your task will include replacing faulty motors and installing new low-voltage circuit breakers for reliable power distribution. The trainees will be responsible for replacing damaged low-voltage cables along with replacing control cables to restore proper electrical connectivity. Your duties will involve rectifying oil leakages to avoid system contamination and equipment failure. Additionally, the trainees are required to rectify control circuits for smooth operational functioning. The role also includes replacing malfunctioning sensors to ensure accurate system monitoring and performance |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Demonstrate of component replacement - Perform functional testing after corrective action - Evidence of adherence to safety procedure during maintenance |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Wind Power Plant Technician Level 4 |
| Competency Standard | 0713E&E4510 Implement Corrective Maintenance of Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform replacement of brake pad - Perform replacement of brake calipers - Perform replacement of motor - Perform replacement of low voltage circuit breaker - Perform replacement of low voltage cable - Perform replacement of control cables - Perform rectification of oil leakage - Perform rectification of control circuits - Perform replacement of sensors Activity: The trainees are tasked to carry out maintenance activities as per SOP by performing the replacement of brake pads and replacing worn-out brake calipers to ensure safe braking performance. Your task will include replacing faulty motors and installing new low-voltage circuit breakers for reliable power distribution. The trainees will be responsible for replacing damaged low-voltage cables along with replacing control cables to restore proper electrical connectivity. Your duties will involve rectifying oil leakages to avoid system contamination and equipment failure. Additionally, the trainees are required to rectify control circuits for smooth operational functioning. The role also includes replacing malfunctioning sensors to ensure accurate system monitoring and performance |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Isolate system (hydraulic/electrical) before maintenance. |  |  |
| - Remove old brake pads |  |  |
| - Install new brake pads as per specifications. |  |  |
| - Dismount defective caliper |  |  |
| - Reconnect hydraulic pipes properly. |  |  |
| - Dismantle faulty pitch motor as per specs. |  |  |
| - Reconnect wiring according to diagrams. |  |  |
| - Calibrate blade angle after motor replacement. |  |  |
| - Identify faulty breaker |  |  |
| - Remove defective breaker |  |  |
| - Identify damaged cable |  |  |
| - Remove damaged power/control cable |  |  |
| - Perform continuity tests. |  |  |
| - Identify leak source in hydraulic system. |  |  |
| - Identify correct oil refill system to specified level. |  |  |
| - Run hydraulic system for leaks. |  |  |
| - Identify abnormalities on control panel. |  |  |
| - Check outputs of protective devices |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4510 Implement Corrective Maintenance of Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform replacement of brake pad - Perform replacement of brake calipers - Perform replacement of motor - Perform replacement of low voltage circuit breaker - Perform replacement of low voltage cable - Perform replacement of control cables - Perform rectification of oil leakage - Perform rectification of control circuits - Perform replacement of sensors Activity: The trainees are tasked to carry out maintenance activities as per SOP by performing the replacement of brake pads and replacing worn-out brake calipers to ensure safe braking performance. Your task will include replacing faulty motors and installing new low-voltage circuit breakers for reliable power distribution. The trainees will be responsible for replacing damaged low-voltage cables along with replacing control cables to restore proper electrical connectivity. Your duties will involve rectifying oil leakages to avoid system contamination and equipment failure. Additionally, the trainees are required to rectify control circuits for smooth operational functioning. The role also includes replacing malfunctioning sensors to ensure accurate system monitoring and performance |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Isolate system (hydraulic/electrical) before maintenance. |  |  |  |  |  |
|  | Remove old brake pads |  |  |  |  |  |
|  | Install new brake pads as per specifications. |  |  |  |  |  |
|  | Dismount defective caliper |  |  |  |  |  |
|  | Reconnect hydraulic pipes properly. |  |  |  |  |  |
|  | Dismantle faulty pitch motor as per specs. |  |  |  |  |  |
|  | Reconnect wiring according to diagrams. |  |  |  |  |  |
|  | Calibrate blade angle after motor replacement. |  |  |  |  |  |
|  | Identify faulty breaker |  |  |  |  |  |
|  | Remove defective breaker |  |  |  |  |  |
|  | Identify damaged cable |  |  |  |  |  |
|  | Remove damaged power/control cable |  |  |  |  |  |
|  | Perform continuity tests. |  |  |  |  |  |
|  | Identify leak source in hydraulic system. |  |  |  |  |  |
|  | Identify correct oil refill system to specified level. |  |  |  |  |  |
|  | Run hydraulic system for leaks. |  |  |  |  |  |
|  | Identify abnormalities on control panel. |  |  |  |  |  |
|  | Check outputs of protective devices |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Wind Power Plant Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4510 Implement Corrective Maintenance of Wind Power Plant |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is done after removing old brake pads? |  |  |
|  |  | What is required when replacing a defective brake caliper? |  |  |
|  |  | Why is a brake function test performed? |  |  |
|  |  | What is done to replace a faulty pitch motor? |  |  |
|  |  | Why is blade angle calibration required after motor installation? |  |  |
|  |  | Why is continuity or signal testing required? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |