| Dr. Waqas Abdul Salam Assistant Director, Govt. COE, GSTC, Mughalpura, Lahore Mr. Sadiq Ali Senior Instructor, PVTC, Lahore Engr. Ahmad Ali Instructor, KP-TEVTA. Engr. Farman Saeed Lecturer, G.C.T, DI Khan. Dr. Sajid Iqbal Assistant Professor, UET, Lahore Mr. Atif Ali Mirza Instructor, SIT, Mirpur M. Rashid Mansoor Electrical Engineer, Lahore Mr. Ali Abbass SDO, MES, Sargodha Mr. Hasan Haeed Malik Deputy Manager, FFC Energy Limited Mr. Kashif Hussain Deputy Manager, FFC Energy Limited Mr. Abdul Haseeb Imtiaz Service Engineer, Jaffar Brothers Ltd, Bahawalpur Coordinators Mr. Muhammad Ishaq Deputy Manager, NAVTAC, Islamabad DACUM Facilitator Engr. Qurbat Zahra | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Summative Assessment Activity-2 |
| --- | --- |
|  | Date: 1st-5th December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level-4 |
| --- | --- |
| Competency Standards | - Perform Basic Communication - Perform Basic Computer Operations - Apply Wind Power Plant Safety Procedures - Interpret Technical Drawings - Apply Environment Protection Procedure - Control Operations of Wind Power Plant - Analyse Electrical Parameters through Testing - Analyse Mechanical Systems through Inspection - Conduct Preventive Maintenance of Mechanical Systems - Conduct Preventive Maintenance of Electrical Systems - Conduct Preventive Maintenance of Hydraulic Systems - Implement Corrective Maintenance of Wind Power Plant |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Scenario: As a Wind Power Technician (Level-4), you are tasked to execute the routine operational schedule for a 1.5-MW wind turbine generator (WTG). Your task is to implement all mandated safety protocols, including proper PPE utilization, application of Lock-Out/Tag-Out (LOTO) procedures, and site-specific hazard identification and mitigation. You will conduct a complete corrective maintenance as per SOP. Activity-1: Replace the defective components within the electrical control panel in accordance with approved maintenance procedures, then conduct functional verification tests to confirm whether the control system is operating normally. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Follow instructions for the replacement of faulty components. - Apply (LOTO) procedures. - Follow the risk assessment principles for electrical hazards. - Diagnosed the defective components. - Wear the required PPEs. - Record photographic evidence. - Perform continuity test. - Perform functional tests. - Inspect the required material. - Replace the faulty parts correctly. |

*Bold are critical performance criteria 
Section A2: Self-Assessment Checklist

| Assessment Task | Activity-1: Replace the defective components within the electrical control panel in accordance with approved maintenance procedures, then conduct functional verification tests to confirm whether the control system is operating normally. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Follow instructions for the replacement of faulty components. |  |  |
| - Apply (LOTO) procedures. |  |  |
| - Follow the risk assessment principles for electrical hazards. |  |  |
| - Diagnosed the defective components. |  |  |
| - Wear the required PPEs. |  |  |
| - Record photographic evidence. |  |  |
| - Perform continuity test. |  |  |
| - Perform functional tests. |  |  |
| - Inspect the required material. |  |  |
| - Replace the faulty parts correctly. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level-4 |
| --- | --- |
| Competency Standards | - Perform Basic Communication - Perform Basic Computer Operations - Apply Wind Power Plant Safety Procedures - Interpret Technical Drawings - Apply Environment Protection Procedure - Control Operations of Wind Power Plant - Analyse Electrical Parameters through Testing - Analyse Mechanical Systems through Inspection - Conduct Preventive Maintenance of Mechanical Systems - Conduct Preventive Maintenance of Electrical Systems - Conduct Preventive Maintenance of Hydraulic Systems - Implement Corrective Maintenance of Wind Power Plant |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-1: Replace the defective components within the electrical control panel in accordance with approved maintenance procedures, then conduct functional verification tests to confirm whether the control system is operating normally. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Followed instructions for the replacement of faulty components. |  |  |  |  |  |
|  | Applied (LOTO) procedures. |  |  |  |  |  |
|  | Followed the risk assessment principles for electrical hazards. |  |  |  |  |  |
|  | Diagnosed the defective components. |  |  |  |  |  |
|  | Wear the required PPEs. |  |  |  |  |  |
|  | Recorded photographic evidence. |  |  |  |  |  |
|  | Performed continuity test. |  |  |  |  |  |
|  | Performed functional tests. |  |  |  |  |  |
|  | Inspected the required material. |  |  |  |  |  |
|  | Replaced the faulty parts correctly. |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | What PPE’s are needed for working at height? |  |  |
| 2 | How to prevent oil leakage in maintenance? |  |  |
| 3 | Why clear communication is important in case of emergency? |  |  |
| 4 | Why grounding is done in electrical installation? |  |  |
| 5 | What are the environmental risks of bad waste disposal? |  |  |
| 6 | What is function of AVO meter? |  |  |
| 7 | What is purpose of continuity test? |  |  |
| 8 | Why blade of turbine is checked? |  |  |
| 9 | What is function of gearbox? |  |  |
| 10 | What is function of insulated tools? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________