| Dr. Waqas Abdul Salam Assistant Director, Govt. COE, GSTC, Mughalpura, Lahore Mr.Sadiq Ali Senior Instructor, PVTC, Lahore Engr. Ahmad Ali Instructor, KP-TEVTA. Engr. Farman Saeed Lecturer, G.C.T, DI Khan. Dr. Sajid Iqbal Assistant Professor, UET, Lahore Mr. Atif Ali Mirza Instructor, SIT, Mirpur M. Rashid Mansoor Electrical Engineer, Lahore Mr. Ali Abbass SDO, MES, Sargodha Mr. Hasan Haeed Malik Deputy Manager, FFC Energy Limited Mr. Kashif Hussain Deputy Manager, FFC Energy Limited Mr. Abdul Haseeb Imtiaz Service Engineer, Jaffar Brothers Ltd, Bahawalpur Coordinators Mr. Muhammad Ishaq Deputy Manager, NAVTAC, Islamabad DACUM Facilitator Engr. Qurbat Zahra | Assessment Evidence Guide For Wind Power Plant Technician Level 4 Summative Assessment Activity-3 |
| --- | --- |
|  | Date: 1st-5th December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Wind Power Plant Technician Level-4 |
| --- | --- |
| Competency Standards | - Perform Basic Communication - Perform Basic Computer Operations - Apply Wind Power Plant Safety Procedures - Interpret Technical Drawings - Apply Environment Protection Procedure - Control Operations of Wind Power Plant - Analyse Electrical Parameters through Testing - Analyse Mechanical Systems through Inspection - Conduct Preventive Maintenance of Mechanical Systems - Conduct Preventive Maintenance of Electrical Systems - Conduct Preventive Maintenance of Hydraulic Systems - Implement Corrective Maintenance of Wind Power Plant |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | Scenario: You are working as Wind Power Plant Technician (Level-4) and are assigned duties to perform a full inspection on turbine which has been showing intermittent shutdowns and reduced power output during the last operational cycle. You are to Operate, inspect, maintain, test, and troubleshoot a wind turbine using SCADA, technical drawings, safety protocols, environmental procedures, mechanical/electrical/hydraulic preventive maintenance techniques, corrective maintenance actions, and proper communication/documentation skills. Activity-3: Your task is to inspect, maintain, troubleshoot wind plant system and communicate findings using proper safety and documentation procedures. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Provide support to team members in a group task - Submit formatted document using MS Word - Demonstrate LOTO procedure - Interpret successfully technical drawings - Prepare a container with label mentioning category of waste. - Demonstrate turbine start/stop on SCADA as per SOP - Demonstrate eBOP equipment isolation on SCADA following SOPS. - Perform accurate electrical tests on wind turbine electrical components (Generator, Transformer and Earthing Control Circuit). - Perform inspection of mechanical systems - Prepare maintenance checklist for mechanical system of wind turbine - Inspect electrical components - Diagnose faults in electrical components - Rectify the faults in electrical system - Maintain hydraulic system performance - Perform functional testing after corrective action |

*Bold are critical performance criteria

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-3: The candidate is required to inspect, maintain, troubleshoot, and communicate findings using proper safety and documentation procedures. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Provide support to team members in a group task |  |  |
| Submit formatted document using MS Word |  |  |
| Demonstrate LOTO procedure |  |  |
| Interpret successfully technical drawings |  |  |
| Prepare a container with label mentioning category of waste. |  |  |
| Demonstrate turbine start/stop on SCADA as per SOP |  |  |
| Demonstrate eBOP equipment isolation on SCADA following SOPS |  |  |
| Perform accurate electrical tests on wind turbine electrical components (Generator, Transformer and Earthing Control Circuit). |  |  |
| Perform inspection of mechanical systems |  |  |
| Prepare maintenance checklist for mechanical system of wind turbine |  |  |
| Inspect electrical components |  |  |
| Diagnose faults in electrical components |  |  |
| Rectify the faults in electrical system |  |  |
| Maintain hydraulic system performance |  |  |
| Perform functional testing after corrective action |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Wind Power Plant Technician Level-4 |
| --- | --- |
| Competency Standards | - Perform Basic Communication - Perform Basic Computer Operations - Apply Wind Power Plant Safety Procedures - Interpret Technical Drawings - Apply Environment Protection Procedure - Control Operations of Wind Power Plant - Analyse Electrical Parameters through Testing - Analyse Mechanical Systems through Inspection - Conduct Preventive Maintenance of Mechanical Systems - Conduct Preventive Maintenance of Electrical Systems - Conduct Preventive Maintenance of Hydraulic Systems - Implement Corrective Maintenance of Wind Power Plant |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-3: The Candidate is required to inspect, maintain, troubleshoot, and communicate findings using proper safety and documentation procedures. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Provided support to team members in a group task |  |  |  |  |  |
|  | Submitted formatted document using MS Word |  |  |  |  |  |
|  | Demonstrated LOTO procedure |  |  |  |  |  |
|  | Interpreted successfully technical drawings |  |  |  |  |  |
|  | Prepared a container with label mentioning category of waste. |  |  |  |  |  |
|  | Demonstrated turbine start/stop on SCADA as per SOP |  |  |  |  |  |
|  | Demonstrated eBOP equipment isolation on SCADA following SOPS |  |  |  |  |  |
|  | Performed accurate electrical tests on wind turbine electrical components (Generator, Transformer and Earthing Control Circuit). |  |  |  |  |  |
|  | Performed inspection of mechanical systems |  |  |  |  |  |
|  | Prepared maintenance checklist for mechanical system of wind turbine |  |  |  |  |  |
|  | Inspected electrical components |  |  |  |  |  |
|  | Diagnosed faults in electrical components |  |  |  |  |  |
|  | Rectified the faults in electrical system |  |  |  |  |  |
|  | Maintained hydraulic system performance |  |  |  |  |  |
|  | Performed functional testing after corrective action |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Why is Lock-Out Tag-Out (LOTO) required during turbine maintenance? |  |  |
| 2 | What document helps you identify components and wiring during repairs? |  |  |
| 3 | How do you prevent environmental contamination when handling hydraulic oil? |  |  |
| 4 | Why is insulation resistance testing important for electrical systems? |  |  |
| 5 | What mechanical component would you inspect if abnormal vibration is detected? |  |  |
| 6 | Give one example of preventive maintenance on an electrical panel. |  |  |
| 7 | How should you communicate abnormal findings to your supervisor? |  |  |
| 8 | What does SCADA stand for? |  |  |
| 9 | What document shows the layout of electrical circuits? |  |  |
| 10 | What part of the turbine holds hydraulic oil? |  |  |
| 11 | What should you check before climbing the tower? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________