| DACUM Panel Mr. Hasan Malik Executive Technical, FFCEL, Rawalpindi Mr. Zeeshan Shafique Unit Manager, FFCEL, Rawalpindi Mr. Abdul Haseeb Imtiaz, Service Engineer, Jaffar Brothers, Bahawalpur Mr. Muhammad Yasin, Additional Assistant Manager, GEPCO Mr. Bilal Ahmad, Electrical Supervisor, Hajaris co Pvt, Gujranwala Engr. Dr. Waqas Abdul Salaam, Assistant Director, GSTC Mughalpura, Lahore Engr. Muhammad Jehangir Khan, Assistant Professor, GCT/CoE Nowshera Mr. Hammad Rafique, Director, PSDA Engr.Dr. Sajid Iqbal, APO Certified Productivity Specialist, Chief Editor IEEEP Journal, Lahore DACUM Facilitator: Muhammad Abdul Moeez, Lahore NAVTTC Coordinator: Muhammad Ishaq Deputy Director, Islamabad | Occupational Profile Chart Of “Wind Power Plant Technician” Level 4 |
| --- | --- |
|  | 25th –29th August, 2025 |
|  | Lahore |
|  | National Vocational & Technical Training Commission |

1. Occupational Profiling

| Wind Power Plant Technician Level 4 |  |  |  |
| --- | --- | --- | --- |
| Duties and Task |  |  |  |
| - Perform Basic Communication |  |  |  |
| A1. Follow workplace instructions | A2. Develop effective workplace relationships | A3. Communicate and work with team members | A4. Respond effectively to customer requests |
| - Perform Basic Computer Operations |  |  |  |
| B1. Perform basic configuration of computer system | B2. Perform software installation | B3. Demonstrate computer and internet use cases. | B4. Perform basic documentation and presentation skills using ms office |
| B5. Manage electronic mail | B6. Apply cybersecurity best practices |  |  |
| - Apply Wind Power Plant Safety Procedures |  |  |  |
| C1. Prepare for safe work practices | C2. Perform safe handling of tools & equipment | C3. Perform basic first aid for minor injuries | C4. Operate fire extinguisher |
| C5. Respond to emergencies | C6. Perform lock out tag out procedure | C7. Perform wind turbine generator climbing procedure | C8. Perform wind turbine elevator operations |
| C9. Perform wind turbine generator rescuing procedure |  |  |  |
| - Interpret Technical Drawings |  |  |  |
| D1. Identify drawing symbols of wind power plant | D2. Interpret layout diagram of wind turbine components | D3. Interpret mechanical drawings | D4. Interpret electrical drawings |
| D5. Interpret civil drawings | D6. Interpret hydraulic drawings |  |  |
| - Apply Environmental Protection Procedures |  |  |  |
| E1. Identify hazards at workplace | E2. Handle hazardous material safely | E3. Dispose of waste material as per green practices | E4. Apply resource conservation practice |
| - Control Operations of Wind Power Plant |  |  |  |
| F1. Perform operation of wind turbine on SCADA | F2. Perform operation of electrical system on eBOP SCADA | F3. Perform manual operations of wind turbines | F4. Communicate with system operator |
| F5. Perform data reporting | F6 Prepare work permit for maintenance | F7 Monitor via HMI panels of relay | F8. Maintain record of maintenance activity |
| - Analyse Electrical Parameters through testing |  |  |  |
| G1. Measure basic electrical parameters | G2. Verify insulation resistance | G3. Inspect contact resistance | G4. Perform phase sequence test |
| G5. Perform grounding resistance test | G6. Inspect protection system | G7. Conduct functional tests on switchgear | G8. Perform continuity test |
| - Analyse Mechanical Systems through Inspection |  |  |  |
| H1. Inspect physical condition of equipment | H2. Check dimension of components | H3. Check temperature of components | H4. Inspect noise level |
| H5. Check oil level of components | H6. Perform oil sampling | H7. Perform grease sampling | H8. Inspect pressure of hydraulic systems |
| H9. Check alignment of components | H10. Perform load testing |  |  |
| - Conduct Preventive Maintenance of Mechanical Systems |  |  |  |
| I1. Maintain gearbox | I2. Maintain braking system | I3. Maintain yaw system | I4. Maintain cooling system |
| I5. Maintain lubrication system | I6. Maintain pitch systems | I7. Maintain coupling systems | I8. Perform bolt tightening |
| - Conduct Preventive Maintenance of Electrical Systems |  |  |  |
| J1. Maintain electronic components | J2. Maintain electrical sensors | J3. Maintain control circuits | J4. Maintain power circuits |
| J5. Maintain generator | J6. Maintain transformer | J7. Maintain AC motor | J8. Maintain DC motor |
| J9. Maintain switchgear | J10. Maintain frequency convertor |  |  |
| - Conduct Preventive Maintenance of Hydraulic Systems |  |  |  |
| K1. Maintain pumps | K2. Maintain valves | K3. Maintain actuators | K4. Maintain accumulators |
| K5. Maintain hydraulic sensors | K6. Check pipe connections |  |  |
| - Implement Corrective Maintenance of Wind Power Plant |  |  |  |
| L1. Perform replacement of brake pad | L2. Perform replacement of brake calipers | L3. Perform replacement of motor | L3. Perform replacement of low voltage circuit breaker |
| L5. Perform replacement of low voltage cables | L6. Perform replacement of control cables | L7. Perform rectification of oil leakage | L8. Perform rectification of control circuits |
| L9. Perform rectification of sensors |  |  |  |
| M. On-Job-Training |  |  |  |