Competency Standards

for

National Diploma Level 4

in

Wind Power Plant Technician

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) expresses its sincere gratitude to representatives from business, industry, academia, government agencies, provincial TEVTAs, sector skill councils, and trade associations for their valuable time and expertise in developing the National Vocational Qualification for Wind Power Plant Technician Level 4. This achievement would not have been possible without the technical contributions of these experts.

We especially acknowledge the dedication of industry experts, professionals from private organizations, academic specialists from various universities, and TEVTA representatives who worked diligently to make this qualification comprehensive and reliable. All credit for its quality goes to them; however, NAVTTC assumes full responsibility for any errors or omissions that may remain in the document.

It is important to note that developing skill standards is a dynamic and continuous process. Competency standards require periodic review and updating to keep pace with technological advancements, scientific progress, and practical implementation experience, as well as evolving industry demands. NAVTTC, Government of Pakistan, is committed to ensuring that these qualifications remain aligned with the changing requirements of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	1

1.2	Date of development:	1

1.3	Date of review	1

1.4	Entry requirement of trainee	1

1.5	Trainee qualification requirement	1

1.6	Codes of qualification (ISCED)	1

2.	Summary of Competencies	1

3.	Qualification Levelling and Packaging	2

4.	Description of Qualification Package	2

5.	Detail of Competency Standards	3

0031PSD01: Perform Basic Communication	3

0612CS01: Perform Basic Computer Operations	4

0713E&E4501: Apply Wind Power Plant Safety Procedures	5

0713E&E4502: Interpret Technical Drawings	8

0713E&E4503: Apply Environmental Protection Procedures	10

0713E&E4504: Control Operations of Wind Power Plant	11

0713E&E4505: Analyse Electrical Parameters through Testing	13

0713E&E4506: Analyse Mechanical Systems through Inspection	16

0713E&E4507: Conduct Preventive Maintenance of Mechanical Systems	19

0713E&E4508: Conduct Preventive Maintenance of Electrical Systems	21

0713E&E4509: Conduct Preventive Maintenance of Hydraulic Systems	25

0713E&E4510: Implement Corrective Maintenance of Wind Power Plant	27

0713E&E4511: On-Job Training	29

6.	List of Consolidated Consumables, Tools, Machinery & Equipment	30

7.	Members of Qualifications Development & Review Committee	32

- Introduction

The growing demand for clean and renewable energy has positioned wind power as one of the most sustainable and rapidly expanding energy sources globally. Wind Power Plant Technicians play a crucial role in harnessing this energy by ensuring the efficient operation, and maintenance of wind turbines. Their expertise contributes to reducing carbon emissions and meeting energy needs in an environmentally responsible manner.

This qualification is designed to develop the technical skills and practical knowledge required for a successful career in wind energy. Learners will gain hands-on experience in wind turbine components, electrical systems, hydraulic mechanisms, safety protocols, and troubleshooting techniques. The program emphasizes adherence to international standards and industry’s best practices to prepare competent professionals who can maintain high performance and safety in wind power operations.

With the global shift toward renewable energy accelerating, skilled Wind Power Plant Technicians are in high demand across national and international markets. This program not only equips individuals with specialized skills but also opens pathways to sustainable careers, supporting the transition to a cleaner energy future.

energy solutions.

| ## Date of development: | August 25, 2025 – August 29, 2025 |
| --- | --- |
| ## Date of review | 2028 |
| ## Entry requirement of trainee | Must have Secondary School Certificate (Science) or equivalent. OR Industrial Electrician (Level 3) |
| ## Trainee qualification requirement | Bachelor’s degree in electrical engineering with at least 2 years of wind power plant industrial experience. |
| ## Codes of qualification (ISCED) | Code: 0713E&E45 Description: National Diploma Level 4 in Energy Sector (Wind power Plant Technician) |

- Summary of Competencies

| CODE | Competency Standards | Competency Level | Category | Estimated Contact Hours |  |  | Cr. Hr. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0031PSD01 | Perform Basic Communication | 2 | Generic | 4 | 12 | 16 | 1 |
| 0612CS01 | Perform Basic Computer Operations | 2 | Technical | 6 | 18 | 24 | 1.5 |
| 0713E&E4501 | Apply Wind Power Plant Safety Procedure | 3 | Functional | 6 | 48 | 54 | 3 |
| 0713E&E4502 | Interpret Technical Drawings | 3 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E4503 | Apply Environmental Protection Procedures | 3 | Generic | 5 | 30 | 35 | 2 |
| 0713E&E4504 | Control Operations of Wind Power Plant | 4 | Technical | 8 | 54 | 62 | 3.5 |
| 0713E&E4505 | Analyse Electrical Parameters through Testing | 4 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E4506 | Analyse Mechanical System through Inspection | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E4507 | Conduct Preventive Maintenance of Mechanical Systems | 4 | Technical | 7 | 66 | 73 | 4 |
| 0713E&E4508 | Conduct Preventive Maintenance of Electrical Systems | 4 | Technical | 9 | 72 | 81 | 4.5 |
| 0713E&E4509 | Conduct Preventive Maintenance of Hydraulic Systems | 4 | Technical | 7 | 66 | 73 | 4 |
| 0713E&E4510 | Implement Corrective Maintenance of Wind Power Plant | 4 | Technical | 8 | 54 | 62 | 3.5 |
| 0713E&E4511 | On Job Training | 4 | Technical | - | 240 | 240 | 6 |
|  | Total |  |  | 83 | 774 | 857 | 41 |

- Qualification Levelling and Packaging

| S.No | Occupations / Short Course | Modules/CS Codes | CS Level | Occupation Credit Hours | Training Duration |
| --- | --- | --- | --- | --- | --- |
|  | Junior Control Room Operator | 0031PSD01 0612CS01 0713E&E4501 0713E&E4502 0713E&E4504 | 4 | 11.5 | 3 Month |

- Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| General Electrician | Industrial Electrician | Wind Power Plant Technician | DAE Electrical Technology |

- Competency Standards

### 5.1 0031PSD01 Perform Basic Communication

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to assist in the development of communication competency at the workplace by providing information regarding different forms of workplace communication and their appropriate use.

| Competency Units | Performance Criteria |
| --- | --- |
| Follow workplace instructions | - Execute workplace instructions. - Ask questions to extract relevant information. - Carry out instructions based on received information. - Provide feedback based on received written instructions. - Compose workplace notes and memos. |
| Develop effective workplace relationships | - Perform duties to improve team cooperation. - Consult team members when challenges arise. - Respect differences in personal values and beliefs. - Report observed workplace harassment to relevant authority. |
| Communicate and work with team members | - Identify individual roles and responsibilities within the team. - Recognize team members responsibilities with respect. - Identify the person for reporting inside and outside the team. - Participate in team meetings for discussions. - Communicate with team members through interaction tools and equipment. - Provide support to team members as needed during tasks. - Provide and respond to feedback |
| Respond effectively to customer requests | - Listen to customer requests effectively. - Speak to customers using polite words. - Deliver information to required person in written or verbal form. |

### Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Mode of communication (e.g. written and nonverbal)

- Communication technology relevant to the workplace

- Effective communication (body language)

- Questioning techniques

- Introduction to process of basic workplace documentation

- Introduction to the rules on how to write memos, notes, messages

- Introduction to workplace harassment

- Understand feedback Process

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate the ability to clarify workplace messages and apply verbal and written communication skills accurately.

- Respond to feedback from clients and colleagues.

- Provide support to team members in a group task

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Projector/Multimedia/White board | 1 |

### 5.2 0612CS01 Perform Basic Computer Operations

Overview:

This competency standard will provide skills and knowledge related to basic computer hardware, software, applications and troubleshooting. You will be able to demonstrate your skills in operating a computer system and software such as MS Office as well as installation and troubleshooting of operating system and software.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform basic configuration of computer system | - Connect computer components and peripherals as per requirement. - Install Drivers and applications according to the software specification. - Troubleshoot Applications to trace and fix faults if any |
| Perform software Installation | - Download relevant software - Follow the Setup Wizard - Install software in relevant drive - Verify software functionality after installation |
| Demonstrate computer and Internet use cases | - Operate common software applications - Access and use internet-based tools - Apply online safety and ethical practices |
| Perform basic documentation and Presentation skills using MS Office | - Create and format documents using MS Word - Create and manage spreadsheets using MS Excel - Design and deliver presentations using MS PowerPoint |
| CU5. Manage electronic mail | - Set up and configure email account - Compose emails - Attach and Download files - Receive and respond to emails - Print email |
| CU6. Apply cybersecurity best practices | - Identify common cyber threats and risks - Use strong, unique passwords for different accounts - Enable Multi-Factor Authentication (MFA) - Install and update antivirus or anti-malware software - Turn on firewalls and disable unused ports or services - Back up important data using secure storage - Control data sharing and adjust privacy settings on devices and platforms |

### Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Identifying computer components and peripherals.

- Installing drivers and application software.

- Troubleshooting basic software and hardware issues.

- Software types, installation steps, and licensing.

- Accessing internet-based tools and practicing safe browsing.

- Creating and formatting documents, spreadsheets, and presentations using MS Office.

- Setting up and managing email accounts, composing, sending, and organizing emails.

- Cybersecurity best practices including strong passwords, MFA, antivirus, and firewalls.

- Backing up important data securely and adjusting privacy settings appropriately.

### Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Submit formatted document using MS Word and make a presentation on it

- Configure Email Account, compose an email with document attachment and send the email.

- Submit a downloaded video from the internet and play it offline

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Personal computer with basic accessories | 25 |
| 02 | Internet Connection | 10 MB |
| 03 | Projector/Multimedia/White board | 1 |
| 04 | MS Office Suite | 1 |

### 5.3 0713E&E4501 Apply Wind Power Plant Safety Procedures

Overview:

This Competency Standard identifies the competencies required to apply safety procedures at wind power plant according to the industry’s approved guidelines. The underpinning knowledge regarding workplace safety practices will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare for safe work practices | - Identify emergency procedures - Use personal protective equipment - Follow safety instructions & signs during work. - Identify workplace hazards - Report hazards, incidents, and injuries according to workplace procedures. - Obtain work permit in accordance with standard procedure. |
| Perform safe handling of tools and equipment | - Inspect tools and equipment for defects - Follow safety guidelines while using tools and equipment. - Clean and store tools and equipment after use - Report damaged tools and equipment to supervisor |
| Perform basic first aid for minor Injuries | - Ensure availability of first aid box - Check first aid box for requisite emergency medicines - Check expiry date of medicines - Perform first aid for minor skin cut - Perform CPR |
| Operate fire extinguisher | - Identify fire extinguisher according to type of fire - Check expiry of fire extinguisher - Operate fire extinguisher using PASS - Replace expired or used fire extinguisher |
| Respond to emergencies | - Identify potential hazards in the designated area - Select control measure in accordance with workplace procedure - Follow emergency plan - Implement evacuation procedures as per SOPs - Operate emergency equipment and supplies |
| Perform log out tag out procedure | - Identify energy sources for isolation - Switch off machines - Switch off equipment - Apply lockout devices to all identified energy isolation points. - Attach safety tags to locked-out devices - Verify isolation for zero energy state. - Handover for job execution - Perform closure after completion of work - Remove lockout and tagout devices |
| Perform wind turbine generator climbing procedure | - Wear personnel protective equipment - Inspect climb gear system as per OEM instruction - Engage runner to safety rope/rail - Ascend ladder using three-point contact. - Inspect climbing ladder system as per OEM instruction - Descend ladder while attached with fall protection system. |
| CU8. Perform wind turbine elevator operations | - Wear personal protective equipment - Inspect elevator instruction - Attach lanyard with lift safety anchor point - Operate elevator to ascend - Operate elevator to descend automatically - Operate elevator to descend manually |
| Perform wind turbine generator rescuing procedure | - Identify emergency situation - Report emergency situation to concern authority. - Prepare rescue equipment - Follow given rescue plan - Secure casualty with rescue system - Transfer casualty to medical care |

### Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Safety rules and regulations of organization

- Safety signs and symbols

- Hazard and Risk

- Hierarchy of risk at workplace

- Techniques to handle emergency situations in different forms and contexts

- Workplace response to emergencies

- Procedure of log out tag out

- Introduction to rescue plan

- Introduction to fall protection systems

- Types of rescue systems

- Procedure of wind turbine ladder climbing

- Procedure of wind turbine emergency rescue

- Procedure of elevator operations

### Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Use fire extinguisher and personal protective equipment correctly.

- Submit a report containing identified risk and hazard at workplace to concerned

- Demonstrate the ability to climb turbine ladder

- Demonstrate LOTO procedure

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Projector/multimedia/white board | 05 |
| 02 | Fire extinguisher | 05 |
| 03 | First Aid kit | 02 |
| 04 | High Rise Ladder Climbing Gear and with 6.75M Platform | 01 |
| 05 | Emergency Rescue Kit (Rope, Pulley, Safety Helmet with Chinstrap) | 01 |
| 06 | Fall Protection Kit (Full Body Harness, Lanyard, and Anchor Point) | 05 |
| 07 | Communication Devices (Walkie-Talkie/ Headsets) | 05 |
| 08 | Lockout-Tagout (LOTO) Kit | 05 |
| 09 | Elevator simulation system | 01 |

### 5.4 0713E&E4502 Interpret Technical Drawings

Overview:

This competency standard focuses on the interpretation of various technical drawings related to wind power plants. This competency ensures accuracy in understanding design specifications for installation, maintenance, and troubleshooting of wind turbine systems.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify drawing symbols of wind power plant | - Select relevant technical drawings of wind turbine systems - Identify standard drawing symbols. - Classify symbols into categories. - Verify accuracy of interpretation through symbol legends. - Document identified symbols with proper labeling. |
| Interpret layout diagram of wind turbine components | - Identify main components of wind turbine generator. - Identify arrangement of components in layout diagrams. - Verify layout diagrams against actual site placement. - Verify dimensions of Layout - Verify scaling of layout. - Identify missing details in layout. |
| Interpret mechanical drawings | - Interpret sectional views. - Identify power transmission components of wind power plant. - Identify drawing specifications. - Match drawing details with physical parts during inspection. - Document findings and discrepancies. |
| Interpret electrical drawings | - Interpret standard electrical symbols. - Interpret single line diagrams and wiring schematics. - Follow electrical power flow from generator to grid using technical drawings. - Verify ratings and specifications of electrical equipment. - Report issues in drawings to supervisor |
| Interpret civil drawings | - Interpret foundation drawings of towers. - Interpret structural reinforcement details. - Identify site layout and access routes. - Verify scale, levels, and dimensions. - Check compliance with civil engineering standards. |
| Interpret hydraulic drawings | - Recognize symbols and fluid lines in given hydraulic diagram. - Identify components in hydraulic pitch and braking systems. - Identify pressure and flow specifications indicated in hydraulic circuit diagrams - Identify fluid circuits in hydraulic system drawings. - Report unclear details in drawings to supervisor |

### Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Technical Drawing and its types.

- Different types drawing tools used in technical drawing.

- Standard drawing conventions and symbol standards (ISO, IEC, ANSI).

- Legends, keys, and references to verify accuracy of symbols.

- Main components of a wind turbine

- Layout diagrams to actual site placement and verify scaling, orientation, and dimensions.

- Tracing and analyzing single line diagrams, wiring schematics, and power flow paths.

- Civil engineering drawings (foundations, reinforcement, and site layouts.)

- Scaling, leveling, and dimensioning in civil diagrams.

- Hydraulic diagrams, including symbols for pumps, valves, lines, and reservoirs.

- Hydraulic circuits related to pitch control and braking systems.

- Pressure and flow specifications in hydraulic drawings.

- Discrepancies, inconsistencies, or missing details in drawing. arescales,and reference standards.

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Identify correctly drawing symbols of wind power plant

- Complete interpretation of layout diagrams with annotations

- Interpret successfully mechanical, electrical, civil, and hydraulic drawings

- Report discrepancies or missing details with recommendations

- Interpret drawings during installation

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Drawing Tools | 25 |
| 02 | Calculator | 25 |
| 03 | Measurement conversion charts/tables | 5 |
| 04 | Symbol reference booklets/handouts | 25 |
| 05 | Technical drawings of wind turbine systems (mechanical, electrical, civil, hydraulic) | 1 of each type |
| 06 | Manufacturer’s technical manuals and specification sheets | 2 |
| 07 | Light tables or magnifying tools | 5 |
| 08 | Personal computer with basic accessories | 25 |
| 09 | Drawing viewer applications | As per requirement |
| 10 | SCADA interface/simulator for verifying diagrams | 1 |
| 11 | Printers/plotters | 1 |
| 12 | Engineering handbooks and drafting standards | 1 |

### 5.5 0713E&E4503 Apply Environmental Protection Procedures

Overview:

After this Competency Standard, the trainee will be able to apply environmental protection procedures during the activities at workplace. This will equip them to handle and transport waste material and store it per green practices.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify hazards at workplace | - Check oil leak at in work area - Detect damaged electrical wiring in work area - Identify leakage of chemical substances in work area - Inspect hazard warning labels for damage in workplace - Report identified hazards to concerned authority |
| Handle hazardous material safely | - Identify hazardous substances in workplace - Select required personal protective equipment - Label container according to hazard class - Store hazardous material in labelled containers - Transport hazardous material using safe handling procedure - Apply spill prevention procedure during handling. |
| Dispose of waste material as per green practices | - Identify waste material in workplace - Segregate waste material according to type. - Place waste material in designated collection bins - Transfer segregated waste to disposal facilities - Maintain disposal record. |
| Apply resource conservation practice | - Switch off electrical equipment when not in use - Use water in controlled amount during maintenance of systems. - Re-use material where applicable - Re-use components where applicable. - Record daily consumption of material in log sheet - Report excess consumption of material to supervisor. |

### Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction and types of workplace hazards

- Hazard classification

- Procedure of hazardous material safe handling

- Spill prevention techniques

- Spill control techniques

- Types of waste materials (recyclable, non- recyclable, hazardous)

- Recycling of waste materials

- Types of material with multiple time usage.

- Introduction to workplace consumption log sheet

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Prepare hazardous material checklist

- Demonstrate correct use of PPE when handling waste material.

- Prepare a container with label mentioning category of waste.

- Prepare material consumption log sheet

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | PPEs | 5 |
| 02 | Hazard signs | 1 |
| 03 | Spill control kit | 1 |
| 04 | Gas leakage detector | 1 |
| 05 | Oil absorbing pads | 5 |
| 06 | Multimeter | 1 |
| 07 | Waste container bins | 1 of each category |
| 08 | Labels | As per requirement |

### 5.6 0713E&E4504 Control Operations of Wind Power Plant

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to perform various operations of Wind Power Plant. The underpinning knowledge will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform operation of wind turbine on SCADA | - Access securely WTG SCADA system - Operate turbine as per instructions - Monitor wind turbine parameters on dashboard - Identify system alarms as per instructions - Respond to system alarms as per procedures - Maintain WTG SCADA logs |
| Perform operation of electrical system on eBOP SCADA | - Access securely eBOP SCADA system - Perform switching operations on electrical equipment as per instructions - Monitor electrical system parameters on dashboard - Identify system alarms as per instructions - Respond to system alarms as per procedures - Maintain eBOP SCADA logs |
| Perform manual operations of wind turbine | - Identify equipment for command execution - Perform operation using relay HMI where available. - Perform operation through local field switch - Maintain respective log |
| Communicate with system operator | - Communicate with system operator using approved communication device. - Follow instructions provided by the system operator - Report task completion, status back to the system - Inform system operator of any faults as per operating procedure. |
| Perform data reporting | - Record parameters data from SCADA system as per requirement - Prepare reports as per required format - Confirm accuracy of prepared report with SCADA data - Obtain authorization before executing operational actions - Communicate reports using the required medium as per procedures - Maintain reports in data archival system |
| Prepare work permit for maintenance | - Identify scope of maintenance activity - Fill work permit with correct details - Obtain approvals from authorized personnel - Communicate work permit conditions to requesting concerned party - Close work permit after job completion - Maintain work permit log |
| Monitor via HMI panels of relay | - Navigate HMI control panel of Relay - Identify alarms on HMI control panel - Check operational parameters on control panel - Prepare report of findings and submit it. - Take corrective or preventive actions, if required. |
| Maintain record of maintenance activity | - Identify faults on equipment - Create notifications for maintenance as per instructions - Close notification after maintenance completion as per instructions. - Update maintenance record through respective checklist |

### Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- Introduction to Power plant operations (Electrical single line diagrams, protection relay basics, communication systems, and plant safety orientation)

- Functioning and use of SCADA system (WTG & EBOP)

- Electrical safety rules (LOTO & Work Permit procedures, isolation practices etc).

- Operational procedures and grid codes.

- Communication protocols with system operator

- Basics of report writing, daily log preparation and archiving procedures

### Critical Evidence(s) Required

The candidate must create, configure, and test a fully functional network using Cisco Packet Tracer. The project must demonstrate practical skills aligned with all key networking competencies.

- Demonstration of turbine start/stop on SCADA following SOPS.

- Demonstration of eBOP equipment isolation/energization on SCADA following SOPS.

- Correct interpretation and response to alarms.

- Submission of accurate daily operational reports.

- Video evidence of effective communication with system operator during instructions.

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Personal computer with basic accessories | 25 |
| 02 | SCADA Access | 1 |
| 03 | Communication Devices (Mobile, Telephone, Fax) | 1 |
| 04 | SOPS and Reporting Templates | As per requirement |
| 05 | ERP system | 01 |

### 5.7 0713E&E4505 Analyse Electrical Parameters through Testing

Overview:

After this Competency Standard, the trainee will be able to verify the electrical integrity, protection and performance of the wind turbine electrical systems connected through three phase lines. This type of electrical testing ensures that the wind power generation system is safe, reliable, and ready for grid connection and operation.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure basic electrical parameters | - Select testing tools as per testing requirements. - Select PPE’s as per testing requirement. - Measure voltage values of electrical components - Measure current values of electrical components - Measure waveform of electrical components - Measure resistance values of electrical components - Measure capacitance of electrical components - Measure inductance of electrical components |
| Verify insulation resistance | - Select Insulation Tester as per system voltage rating. - Inspect Instrument Calibration before use. - Inspect Tester leads before use. - Check the System is de-energized before testing. - Apply Test Voltage according to equipment rating. - Record Insulation resistance readings for all phases and earth connections. - Compare Obtained Readings with manufacturer’s Specifications. - Document Test Results clearly in prescribed log report format. - Report Abnormal Values/ Faults to supervisor |
| Inspect contact resistance | - Select contact resistance tester as per voltage rating - Check Tester Calibration. - Check Clamps/ leads. - Apply Test current as per manufacturer’s Specifications. - Measure resistance values accurately. - Record Resistance Values accordingly. - Compare readings with manufacturer’s specifications. - Document Results on prescribed format. - Report abnormal values or defective contacts to supervisor |
| Perform phase sequence test | - Select Phase Sequence Tester according to the system voltage level. - Connect Phase Sequence Tester Leads to three supply terminals. - Record phase sequence result. - Interpret results to verify correct motor/generator rotation direction as per operational requirement. - Document Phase Sequence Test Results on log sheet. - Report abnormal conditions to in charge. |
| Perform grounding resistance test | - Check Tester Calibration - Install grounding resistance electrodes on ground - Document values of resistance in log sheet - Compare readings with reference values - Report abnormal conditions to in charge. |
| Inspect protection system | - Identify protective devices. - Check correct rating. - Verify ON/OFF operation of protective devices. - Record Test results. - Document results on prescribed format. - Report abnormal conditions to in charge. |
| Conduct functional tests on switchgear | - Select testing instruments - Perform visual inspection of switchgear components. - Carry out ON/OFF tests. - Record test results. |
| Perform continuity test | P1. Select testing instruments. P2. Check system is isolated before use. P3. Connect Test leads between protective conductor and main earthing terminal as per procedure P4. Measure resistance value. P5. Check resistance value is in acceptable range. P6. Record resistance accurately. P7. Document Test Results. P8. Report abnormal conditions to supervisor |

### Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understanding of the fundamentals of electrical systems.

- Understanding of wind power generation basics.

- Identification of electrical testing Instruments.

- Understanding of testing procedures and standards.

- Introduction to protection and switchgear systems.

- Calibration procedure of electrical devices

- Understanding of safety and environment knowledge.

- Procedure of documentation and reporting.

### Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate proper selection, preparation, calibration and safe handling of Electrical testing Instruments and Procedures.

- Perform accurate electrical tests on wind turbine electrical components (Generator, Transformer and Earthing Control Circuit).

- Perform Documentation and Reporting of test results of electrical systems on prescribed format.

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Digital Multimeter | 02 |
| 02 | Clamp Meter | 02 |
| 03 | Insulation Resistance Tester | 01 |
| 04 | Earth/ Ground Resistance Tester | 01 |
| 06 | Phase Sequence Tester | 01 |
| 07 | Oscilloscope | 01 |
| 10 | Screwdriver set | 02 |
| 11 | Combinational pliers | 02 |
| 12 | Adjustable wrench | 02 |
| 13 | Spanner set | 02 |
| 15 | Cable Stripper | 02 |
| 16 | Torque Wrench | 02 |
| 17 | Contact Resistance Tester | 01 |

### 5.8 0713E&E4506 Analyse Mechanical Systems through Inspection

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to perform inspection of mechanical systems. The underpinning knowledge will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Inspect physical condition of equipment | - Identify cracks, corrosion and wear. - Inspect seals/gaskets for leakage - Prepare inspection report with photographs - Report condition to supervisor |
| Check dimension of components | - Identify required tool for dimensional check - Record dimension of brake pad thickness - Record dimension of slip-ring carbon brushes - Compare recorded dimensions with OEM standard dimensions. - Report conditions to supervisor |
| Check temperature of components | - Check calibration of IR thermometer - Use IR thermometer on transformer - Record readings of temperature - Compare against OEM limits - Report conditions to supervisor |
| Inspect noise level | - Check calibration of sound meter - Use sound meter as per instruction - Record dB levels at required key points - Compare against OEM limits - Identify abnormal sounds or vibrations in wind turbine - Report condition to supervisor |
| Check oil level of components | - Check oil levels of gearbox through oil level indicator - Check oil levels of transformer through oil level gauge - Record oil levels as per instructions - Compare against OEM limits - Report condition to supervisor |
| Perform oil sampling | - Identify required sample bottle - Collect oil sample from sampling point of gearbox as per instructions - Collect oil sample from sampling point of transformer as per instructions - Label sample bottle. - Seal sample bottle - Fill Performa for sample bottle - Submit sample to supervisor |
| Perform grease sampling | - Identify required sample bottle - Collect grease sample from main bearing as per instructions - Collect grease sample from generator bearing as per instructions - Label sample bottle - Fill Performa for sample bottle - Submit sample to supervisor |
| Inspect pressure of hydraulic systems | - Identify required gauge as per system rating - Check calibration of gauge - Check hydraulic pressure from required points as per instructions - Record pressures of hydraulic system - Compare with set values as per OEM instructions - Report condition to supervisor |
| Check alignment of components | - Check calibration of laser alignment tool - Mount laser alignment tool components as per instructions - Record Alignment Values - Compare with set values as per OEM Instructions - Adjust horizontal position of generator as required - Adjust vertical position of generator as required - Record alignment values and repeat procedure if required - Report conditions to supervisor |
| Perform load testing | - Identify suitable weights as per system ratings - Load overhead crane progressively as per instructions - Operate overhead crane as per instructions - Hold loaded crane for defined duration as per instructions - Report conditions to supervisor |

### Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Basic Principles of unit conversions (Length, Weight, Temperature, Pressure, Sound)

- Understanding working principles and types of drive train components (Blades, Bearings, Gearbox, Couplings, shaft keys, rack and pinion, belt and pulley)

- Understanding working principles fundamentals of hydraulic systems (valves, pumps, actuators, hoses)

- Understanding working principles fundamentals of cooling systems (heat exchangers, compressors, fans)

- Understanding working principles fundamentals of lifting systems (cranes, chain blocks, jacks, slings, loads)

- Understanding working principles fundamentals of seals and gaskets

- Understanding of testing procedures and standards.

- Understanding of mechanical protection systems. (vibration sensors, rotor locks, braking systems, overspeed key)

- Identification of mechanical testing Instruments.

- Calibration procedure of mechanical testing devices

- Procedure for alignment, temperature checking, sound checking, , and oil/grease sampling.

- OEM limits for noise, temperature, and pressure.

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate use of laser alignment tool

- Demonstrate use ofIR thermometer

- Demonstration o f Vernier caliper and screw gauge

- Demonstrate use of sound meter

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | Laser alignment tool | 01 |
| 02 | IR Thermometers | 01 |
| 03 | Vernier caliper | 01 |
| 04 | Screw gauge | 01 |
| 05 | Measuring tape | 01 |
| 06 | Sound meter | 01 |
| 07 | Sampling kit | 01 |
| 08 | Weight sets | 01 |
| 09 | Pressure gauges | 01 |

### 5.9 0713E&E4507 Conduct Preventive Maintenance of Mechanical Systems

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to perform preventive maintenance of Mechanical systems. The underpinning knowledge will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Maintain gearbox | - Perform physical inspection of gearbox - Check seal of inspection window - Check surface tooth system - Check oil level and condition - Perform oil sampling - Change oil of gearbox, if required. - Perform physical Inspection of ventilation filter - Perform physical Inspection of elastomer bearing - Check screw tightness - Record activity on maintenance checklist - Submit results to supervisor |
| Maintain braking system | - Perform physical inspection of brake disc - Inspect brake pads and calipers. - Check hydraulic pressure. - Measure brake pad thickness. - Replace worn brake pads when required. - Check for hydraulic oil leakage - Check screw connections - Record activity on maintenance checklist - Submit results to supervisor |
| Maintain yaw system | - Check yaw gearbox oil level - Check yaw gearbox leakage - Change oil of yaw system, if required. - Check screw connections - Check hydraulic connections, hoses and pips - Check brake lining thickness - Check hydraulic oil pressure at yaw calipers - Perform lubrication of tooth system according to OEM guidelines - Perform lubrication of bearing - Perform physical inspection of yaw system - Record activity on maintenance checklist - Submit results to supervisor |
| Maintain cooling system | - Inspect physical condition of heat exchanger for damage. - Perform cleaning of heat exchanger as per OEM guidelines - Inspect gear oil hoses for leaks. - Replace gear oil filter. - Record operating temperature trends. - Record activity on maintenance checklist - Submit results to supervisor |
| Maintain lubrication system | - Inspect lubrication pumps. - Check grease levels. - Verify connection of grease block with hoses - Perform grease filling if required. - Perform pump operational testing. - Record activity on maintenance checklist - Submit results to supervisor |
| Maintain pitch systems | - Inspect pitch motor/actuator. - Check limit switch functionality - Check pitch gearbox oil level - Perform physical inspection for leakage - Change oil of pitch system, if required - Check screw connections - Check pitch motor carbon brushes. - Check blade angle calibration. - Inspect slip rings and connections. - Perform Lubrication of pitch bearings. - Perform Lubrication of tooth system - Perform manual pitch movement test. - Record activity on maintenance checklist - Submit results to supervisor |
| Maintain coupling systems | - Inspect shaft couplings. - Check screw connections - Check generator alignment. - Record activity on maintenance checklist - Submit results to supervisor |
| Perform bolt tightening | - Select correct torque/tension tool. - Verify calibration of tools. - Apply correct torque as per OEM. - Record activity on maintenance checklist - Submit results to supervisor |

### Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to OEM guidelines for mechanical systems

- Functional understanding of wind turbine parts

- Basics of hydraulic, Electrical and mechanical systems

- Understanding of maintenance types, troubleshooting procedure

- Torque/tension principles for bolt tightening.

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Complete maintenance checklist for mechanical system of wind turbine

- Demonstrate oil and grease sampling

- Demonstrate correct torquing practice

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | PPE | 1 |
| 02 | Mechanical tool kit | 1 |
| 03 | Electrical took kit | 1 |

### 5.10 0713E&E4508 Conduct Preventive Maintenance of Electrical Systems

Overview:

After completing this Competency Standard, the trainee will be able to perform preventive maintenance of electrical system at a wind power plant. The underpinning knowledge will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Maintain electronic components | - Identify cleaning tools of electronic components. - Clean given electronic components as per requirement. - Check for signs of damage at connection points. - Check voltage of required component as per standard. - Check current of required component as per standard. - Check resistance of required component as per standard. - Check continuity of required component as per standard. - Check inductance of required component as per standard - Check capacitance of required component as per standard - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain electrical sensors | - Inspect physical condition of sensors and devices. - Clean sensor terminals/connectors as per SOPS. - Perform signal output verification on given sensor as per standard. - Check resistance of optical encoder, limit switches and pressure sensor as per standard. - Verify continuity of optical encoder, limit switches and pressure sensor as per standard. - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain control circuits | - Perform functionality test through wind turbine control panel as per OEM instructions - Identify abnormality on control panel - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain power circuits | - Check grid power cables connection tightness - Perform thermal vision inspection on busbars - Perform thermal vision inspection on breakers - Perform insulation resistance testing. - Tighten loose connections as per standard, if any. - Replace damaged cables as per OEM guidelines - Measure voltage, and current for reliability. - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain generator | - Check lubrication of generator bearings - Perform visual inspection of grounding straps - Perform tightness of control cable terminals inside terminal box - Perform tightness of power cable connections - Check slip ring tracks for wear - Replace phase/earthing slip ring carbon brushes as per OEM guidelines - Clean slip ring compartment for carbon dust and replace carbon dust filters as required - Check limit switches/sensors for carbon brush holders - Check alignment of generator as per OEM guidelines - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain transformer | - Identity type of transformer - Perform physical Inspection of transformer - Check oil level of transformer - Perform Insulation resistance test - Perform earth resistance test for grounding network - Check bushings, terminals, and grounding as per OEM standard - Remove rust from transformer body and connections, if required. - Apply paint on transformer body, if required. - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain AC motor | - Perform visual inspection for external damage as per standards - Clean AC motor components according to standard procdure - Monitor sound of bearing - Perform insulation resistance test as per standard - Perform tightness of connections inside distribution box - Perform visual inspection of coupling - Perform functional test on motor as per standard - Report sound level through functional test as per standards - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain DC motor | - Perform visual inspection for external damage as per standard - Monitor sound of bearing - Perform insulation resistance test as per standard - Clean carbon deposits from commutators and field windings - Perform functional test on motor as per standard - Report sound level through functional test as per standards - Check worn brushes as per standard - Replace brushes, if required. - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain switchgear | - Check switchgear, circuit breakers, and isolators at tower base - Check mechanical interlocks test as per standard - Check mechanical operation as per standard - Check protective relays. - Check tightness of connections - Check lubrication of moving parts - Fill required checklist as per OEM guidelines - Submit results to supervisor |
| Maintain frequency convertor | - Check power converter modules for abnormality - Perform cleaning of cooling fans. - Perform functional test on cooling fans - Perform cleaning of filters. - Check power wiring connections for damage - Check control wiring connections for damage - Fill required checklist as per OEM guidelines - Submit results to supervisor |

### Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to OEM guidelines for electrical systems

- Electrical safety including isolation, lock-out/tag-out, grounding, and PPE use

- Correct use of testing instruments and maintenance tools

- Functions, faults, and upkeep of electronic components and sensors

- Understanding control and power circuit operation and diagrams

- Basics of generators, transformers, motors, switchgear, and drives

- Importance of scheduled inspection, monitoring, and record-keeping in preventive maintenance

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate safety procedures used for testing tools

- Inspect, diagnose, and maintain electrical components and equipment

- Follow preventive maintenance schedules as per manuals

- Record, report and verify system operation after maintenance

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
|  | Multimeter (Digital, True RMS) | 02 |
|  | Clamp Meter (AC/DC current measurement) | 02 |
|  | Insulation Resistance Tester (Megger) | 01 |
|  | Earth Resistance Tester | 01 |
|  | / Phase Rotation Tester | 05 |
|  | Torque Wrench (for electrical connections) | 05 |
|  | Cable Crimping and Termination Tools | 05 |
|  | Insulated Screwdrivers | 05 |
|  | Insulation Pliers | 05 |
|  | Lockout-Tagout (LOTO) Kits | 05 |
|  | Personal Protective Equipment | 05 |
|  | Maintenance Logbook / Digital Recorder | 25 |

### 5.11 0713E&E4509 Conduct Preventive Maintenance of Hydraulic Systems

Overview:

This Competency Standard outlines the skills required to perform preventive maintenance of hydraulic systems in accordance with industry standards. It emphasizes identifying maintenance needs, inspecting components, and carrying out servicing tasks to maintain reliability and efficiency. The underpinning knowledge of hydraulic system functions and maintenance practices provides the basis for effective performance at the workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Maintain pumps | - Replace hydraulic filters of pumps - Perform hydraulic oil sampling, if required. - Verify system pressure - Inspect body, seals, connections for damage. - Measure vibration, temperature and noise to detect abnormalities. - Confirm lubrication and cooling systems function properly. - Record inspection results and report it |
| Maintain valves | - Inspect components for wear, corrosion, damage. - Verify sealing integrity to prevent leakage. - Monitor pressure and flow control within limits. - Confirm correct actuation under all conditions. - Verify protective devices remain functional and calibrated. - Record inspection results and report it. |
| Maintain actuators | - Inspect housings, seals, connections for damage. - Verify response times, positioning accuracy within limits. - Check vibration, temperature, power consumption for damage. - Confirm lubrication and fluid supply are adequate. - Record inspection results and report it |
| Maintain accumulators | - Adjust pre-charge pressure within limits. - Verify fluid quality and cleanliness. - Inspect body, seals and connections for leaks or damage. - Monitor pressure stability and response. - Verify protective devices are functional and calibrated. - Record inspection results and report it |
| Maintain hydraulic sensors | - Inspect housings, seals, connectors for damage or leaks. - Maintain clean, secure connections to prevent faults. - Monitor output trends for drift, noise, fluctuations. - Confirm accurate data transmission to control systems. - Record inspection results and report it. |
| CU6. Check pipe connections | - Inspect joints and fittings for leaks or cracks. - Verify connection torque meets requirements. - Check seals and gaskets for wear or misalignment. - Inspect pipes, fittings for corrosion or damage. - Monitor supports and clamps for secure positioning. - Record inspection results and report it |

### Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Introduction to OEM guidelines for hydraulic systems

- Principles of hydraulic systems and key components.

- Specifications and standards for equipment maintenance.

- Common failure modes such as leaks, pressure loss, overheating, vibration.

- Techniques for monitoring performance parameters.

- Requirements for lubrication, cooling, and fluid cleanliness.

- Inspection methods for wear-prone components.

- Calibration procedures for sensors and instruments.

- Safety practices for pressurized systems, including isolation methods.

- Documentation and record-keeping to support maintenance.

- Workplace safety procedures for leaks, overpressure, and emergencies.

### Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Maintain hydraulic system performance within design limits.

- Inspect components and verify fluid quality.

- Check safety devices and support systems.

- Record maintenance actions and results.

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Pressure Gauge (Hydraulic) | 03 |
| 2 | Flow Meter | 03 |
| 3 | Torque Wrench Set | 02 |
| 7 | Nitrogen Charging Kit for Accumulators | 1 |
| 8 | Multimeter (for sensors and actuators) | 02 |
| 11 | Pipe Wrenches & Fitting Tools | 03 set |
| 12 | Lubrication Equipment (Grease Gun, etc.) | 03 |
| 13 | Personal Protective Equipment | 05 |
| 14 | Maintenance Logbook / Digital Recorder | 25 |

### 5.12 0713E&E4510 Implement Corrective Maintenance of Wind Power Plant

Overview:

After this Competency Standard, the trainee will be able to describe the skills and knowledge required to perform corrective maintenance of Wind power plant systems. The underpinning knowledge will be sufficient to provide the basis for the job at workplace.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform replacement of brake pad | - Remove old brake pads as per specifications - Inspect caliper for wear and tear. - Install new brake pads as per specifications - Perform brake function testing - Submit faulty component to supervisor |
| Perform replacement of brake calipers | - Isolate hydraulic system. - Remove hydraulic pipes as per specifications - Dismount defective caliper - Install new caliper as per specifications - Reconnect hydraulic pipes - Perform Test operations - Inspect for leaks. - Submit faulty component to supervisor |
| Perform replacement of motor | - Diagnose faulty motor. - Disconnect electrical supply. - Dismantle faulty motor - Install new pitch motor as per specifications - Reconnect wiring as per diagram. - Calibrate blade angle after motor replacement - Perform functional test - Submit faulty component to supervisor |
| Perform replacement of low voltage circuit breaker | - Identify faulty breaker - Isolate affected circuit - Remove defective breaker as per specifications - Install correct rating breaker as per specifications - Perform breaker test operation - Submit faulty component to supervisor |
| Perform replacement of low voltage cable | - Identify faulty cable - Isolate circuit - Remove damaged cable as per specifications - Install new cable as per specifications - Terminate and label ends - Perform continuity test - Submit faulty component to supervisor |
| Perform replacement of control cables | - Identify faulty cable. - isolate circuit. - Remove damaged cable as per specifications - Install new control cable as per specifications - Terminate and label ends. - Perform continuity check. - Verify control signal function. - Submit faulty component to supervisor |
| Perform rectification of oil leakage | - Identify source of leak. - Tighten pipes / fittings - Replace seals or gaskets if required - Clean oil spill area, if any. - Identify correct oil to be used - Refill system to correct level. - Run system and monitor for leaks. - Dispose waste oil safely. - Submit faulty component to supervisor |
| Perform rectification of control circuits | - Identify abnormality on control panel - Check output of control relays for abnormality - Check output of timers for abnormality - Check output of transformer for abnormality - Check output of switches for abnormality - Check output of circuit breaker for abnormality - Check output of PLC module for abnormality - Perform loop testing of cables for abnormality - Check wiring, terminals and corrections for damage - Replace required component - Submit faulty component to supervisor |
| Perform replacement of sensors | - Identify abnormality on control panel - Remove connections from faulty sensor - Perform tagging of removed connection - Remove faulty sensor - Install new sensor - Perform functional test on sensor - Submit faulty component to supervisor |

### Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Procedures for replacement of brake pads, calipers, motors, circuit breakers,cables, control cards and sensors.

- Safe electrical isolation and LOTO practice.

- Procedure for Fault diagnosis

- Understanding of electrical & mechanical component replacement practices procedures.

### Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate of component replacement

- Perform functional testing after corrective action

- Evidence of adherence to safety procedure during maintenance

Consumables, Tools, Machinery & Equipment

| SR. NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 01 | PPE | 1 |
| 02 | Tool Kit (Electrical & Mechanical) | 1 |
| 03 | Lifting equipment (slings, chainblocks, chackles and hooks) | 01 set |
| 04 | Multimeter | 02 |
| 05 | IR tester | 1 |

### 5.13 0713E&E4511 On-Job Training

Overview

The on-the-job training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in a real-world environment. During this phase, students are expected to take on entry-level or support roles, such as that of a Wind Power Plant Technician. These roles may span across sections including operations, maintenance of wind power plant enabling learners to contribute to power generation while meeting the requirements of the qualification.

In case of unavailability of relevant industry for OJT, a project may be carried out for the fulfilment of OJT requirement.

- List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| Serial No. | Item | Qty. Required |
|  | Personal Computer with Basic Accessories | 25 |
|  | Internet Connection | 10 MB |
|  | Projector / Multimedia System / Whiteboard | 1 |
|  | MS Office Suite | 1 |
|  | SCADA Interface / Simulator | 1 |
|  | Printers / Plotters | 1 |
|  | Technical Drawings of Wind Turbine Systems (Mechanical, Electrical, Civil, Hydraulic) | 1 of each type |
|  | Manufacturer’s Technical Manuals & Specification Sheets | 2 |
|  | Engineering Handbooks & Drafting Standards | 1 set |
|  | Drawing Tools | 25 |
|  | Calculators | 10 |
|  | Measurement Conversion Charts / Tables | 5 |
|  | Symbol Reference Booklets / Handouts | 25 |
|  | Light Tables / Magnifying Tools | 5 |
|  | PPEs | 5 sets |
|  | Fire Extinguishers | 1 |
|  | First Aid Kits | 1 |
|  | High-Rise Ladder Climbing Gear | 5 |
|  | Fall Protection Kits (Full Body Harness, Lanyard, Anchor Point) | 5 |
|  | Emergency Rescue Kits (Rope, Pulley, Helmet with Chinstrap) | 5 |
|  | Communication Devices (Walkie-Talkie / Headsets) | 5 |
|  | Lockout–Tagout (LOTO) Kits | 5 |
|  | Hazard Signs | 1 set |
|  | Spill Control Kit (including Oil Absorbing Pads) | 1 set |
|  | Waste Container Bins (segregated categories) | 1 set |
|  | Gas Leakage Detector | 1 |
|  | Digital Multimeter | 5 |
|  | Clamp Meter (AC/DC) | 5 |
|  | Insulation Resistance Tester (Megger) | 5 |
|  | Earth / Ground Resistance Tester | 5 |
|  | Phase Sequence / Rotation Tester | 5 |
|  | Oscilloscope | 2 |
|  | Power Analyzer | 2 |
|  | Thermal Imaging Camera / IR Tester | 5 |
|  | Contact Resistance Tester | 5 |
|  | Vibration Meter / Analyzer | 5 |
|  | Sound Level Meter | 1 |
|  | Mechanical Tool Kits (complete sets) | 1 |
|  | Electrical Tool Kits (complete sets) | 1 |
|  | Screwdriver Sets (Insulated) | 5 |
|  | Combination Pliers / Insulation Pliers | 5 |
|  | Adjustable Wrenches | 5 |
|  | Spanner Sets | 5 |
|  | Cable Strippers | 5 |
|  | Crimping & Termination Tools with Lugs | 10 |
|  | Torque Wrenches (Mechanical & Electrical Use) | 10 |
|  | Soldering Irons | 3 |
|  | Laser Alignment Tool | 1 |
|  | Vernier Caliper | 1 |
|  | Screw Gauge | 1 |
|  | Measuring Tape | 1 |
|  | Pressure Gauges (Hydraulic) | 5 |
|  | Flow Meters | 5 |
|  | Hydraulic Fluid Tester / Sampling Kits | 5 |
|  | Nitrogen Charging Kits for Accumulators | 2 |
|  | Calibration Kits (for Hydraulic Sensors) | 2 |
|  | Seal & Gasket Inspection Tool Sets | 10 |
|  | Pipe Wrenches & Fitting Tool Sets | 10 |
|  | Lubrication Equipment (Grease Guns, Oilers, etc.) | 5 sets |
|  | Maintenance Logbooks / Digital Recorders | 25 |
|  | General Sampling Kits | 1 |
|  | Lifting Equipment (Slings) | 1 set |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| Serial No. | Item | Qty. Required |
| 1 | PPEs | 25 Sets |
| 2 | Oil Absorbing Pads | 25 Nos |
| 3 | Labels (LOTO Tags, Hazard Labels) | As per requirement |
| 4 | Printing Paper, Drawing Sheets | As per requirement |
| 5 | Cartridge/ Ink for Printer | As per requirement |
| 6 | Small Replacement Parts (fuses, connectors, cable Lugs, Seals, gaskit etc) | As per requirement |
| 7 | Cleaning and Lubricants (Oil, Grease, cleaning agents) | As per requirement |

- Members of Qualifications Development & Review Committee

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| Sr.# | Name | Designation | Organization |
|  | Mr. Hassan Malik | Executive Technical, | FFCEL, Rawalpindi |
|  | Mr. Zeeshan Shafique | Unit Manager | FFCEL, Rawalpindi |
|  | Mr. Abdul Haseeb Imtiaz | Service Engineer | Jaffar Brothers, Bahawalpur |
|  | Mr. Muhammad Yasin | Additional Assistant Manager | GEPCO, Gujranwala |
|  | Mr. Bilal Ahmad | Electrical Supervisor | Hajaris co Pvt, Gujranwala |
|  | Engr. Dr. Waqas Abdul Salaam | Assistant Director | GSTC Mughalpura, Lahore |
|  | Mr. Hammad Rafique | Director | PSDA, Lahore |
|  | Engr. Dr. Sajid Iqbal | APO Certified Productivity Specialist, Chief Editor | IEEEP Journal, Lahore |
|  | Engr. Muhammad Jehangir | Assistant Professor | GCT/CoE Nowshera |
|  | Muhammad Abdul Moeez | DACUM Facilitator | Lahore |
|  | Muhammad Ishaq | Deputy Director | NAVTTC, Islamabad |
| Qualification Review Committee |  |  |  |
|  | Mr. Hassan Malik | Executive Technical, | FFCEL, Rawalpindi |
|  | Mr. Zeeshan Shafique | Unit Manager | FFCEL, Rawalpindi |
|  | Mr. Haris bin Khalid | Sr. Executive Maintenance | FFCEL, Jhimpir |
|  | Muhammad Abdul Moeez | DACUM Facilitator | Lahore |