Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0713E&E45-National Diploma Level 4 in Wind Power Plant Technician |
| --- | --- |
| ## Date of Development | 29th Sep – 3rd Oct, 2025 |
| ## Entry Requirement | Must have Secondary School Certificate (Science) or equivalent. OR Industrial Electrician Level 3 |
| ## Minimum qualification for teachers/Instructor | Bachelor’s degree in electrical engineering with at least 2 years of wind power plant industrial experience. |
| ## Medium of instruction | Urdu, English or local language |
| ## Duration of Course | Total. 857 hours. Theory. 83 hours Practical. 774 hours On Job Training. 240 hours |

- List of Competencies/Modules

| Code | Competency standard | Competency Level | Category |
| --- | --- | --- | --- |
| 0031PSD01 | Perform Basic Communication | L-2 | Generic |
| 0612CS01 | Perform Basic Computer Operations | L-2 | Technical |
| 0713E&E4501 | Apply Wind Power Plant Safety Procedure | L-3 | Functional |
| 0713E&E4502 | Interpret Technical Drawings | L-3 | Technical |
| 0713E&E4503 | Apply Environmental Protection Procedures | L-3 | Generic |
| 0713E&E4504 | Control Operations of Wind Power Plant | L-4 | Technical |
| 0713E&E4505 | Analyse Electrical Parameters through Testing | L-4 | Technical |
| 0713E&E4506 | Analyse Mechanical Systems through Inspection | L-4 | Technical |
| 0713E&E4507 | Conduct Preventive Maintenance of Mechanical Systems | L-4 | Technical |
| 0713E&E4508 | Conduct Preventive Maintenance of Electrical Systems | L-4 | Technical |
| 0713E&E4509 | Conduct Preventive Maintenance of Hydraulic Systems | L-4 | Technical |
| 0713E&E4510 | Implement Corrective Maintenance of Wind Power Plant | L-4 | Technical |
| 0713E&E4511 | On Job Training | L-4 | Technical |

- Class / Workshop Size/ Dimension (25 Trainees Capacity)

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom | Yes | As prescribed by the respective provincial Qualification Awarding Body |
| Workshop/Laboratory | Yes |  |
| Any other Requirement | As prescribed by the respective provincial Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity/25 Trainees)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | Personal Computer with Basic Accessories | 25 |
|  | Internet Connection | 10 MB |
|  | Projector / Multimedia System / Whiteboard | 1 |
|  | SCADA Interface Simulator | 1 |
|  | Printers / Plotters | 1 |
|  | Manufacturer’s Technical Manuals & Specification Sheets | 2 |
|  | Engineering Handbooks & Drafting Standards | 1 set |
|  | Drawing Tools | 25 |
|  | Calculators | 5 |
|  | Measurement Conversion Charts / Tables | 5 |
|  | Symbol Reference Booklets / Handouts | 5 |
|  | Light Tables / Magnifying Tools | 5 |
|  | PPEs | 25 sets |
|  | Fire Extinguishers | 1 |
|  | First Aid Kits | 1 |
|  | High-Rise Ladder Climbing Gear | 1 |
|  | Fall Protection Kits (Full Body Harness, Lanyard, Anchor Point) | 1 |
|  | Emergency Rescue Kits (Rope, Pulley, Helmet with Chinstrap) | 1 |
|  | Communication Devices (Walkie-Talkie / Headsets) | 5 |
|  | Lockout–Tagout (LOTO) Kits | 5 |
|  | Hazard Signs | 1 set |
|  | Spill Control Kit (including Oil Absorbing Pads) | 1 set |
|  | Waste Container Bins (segregated categories) | 1 set |
|  | Gas Leakage Detector | 1 |
|  | Digital Multimeter | 5 |
|  | Clamp Meter (AC/DC) | 5 |
|  | Insulation Resistance Tester (Megger) | 5 |
|  | Earth / Ground Resistance Tester | 5 |
|  | Phase Sequence / Rotation Tester | 5 |
|  | Oscilloscope | 2 |
|  | Power Analyzer | 2 |
|  | Thermal Imaging Camera / IR Tester | 5 |
|  | Contact Resistance Tester | 5 |
|  | Vibration Meter / Analyzer | 5 |
|  | Sound Level Meter | 1 |
|  | Mechanical Tool Kits (complete sets) | 1 |
|  | Electrical Tool Kits (complete sets) | 1 |
|  | Screwdriver Sets (Insulated) | 5 |
|  | Combination Pliers / Insulation Pliers | 5 |
|  | Adjustable Wrenches | 5 |
|  | Spanner Sets | 5 |
|  | Cable Strippers | 5 |
|  | Crimping & Termination Tools with Lugs | 5 |
|  | Torque Wrenches (Mechanical & Electrical Use) | 5 |
|  | Soldering Irons | 3 |
|  | Laser Alignment Tool | 1 |
|  | Vernier Caliper | 1 |
|  | Screw Gauge | 1 |
|  | Measuring Tape | 1 |
|  | Pressure Gauges (Hydraulic) | 5 |
|  | Flow Meters | 5 |
|  | Hydraulic Fluid Tester / Sampling Kits | 5 |
|  | Nitrogen Charging Kits for Accumulators | 2 |
|  | Calibration Kits (for Hydraulic Sensors) | 2 |
|  | Seal & Gasket Inspection Tool Sets | 5 |
|  | Pipe Wrenches & Fitting Tool Sets | 5 |
|  | Lubrication Equipment (Grease Guns, Oilers, etc.) | 5 sets |
|  | Maintenance Logbooks / Digital Recorders | 25 |
|  | General Sampling Kits | 1 |
|  | Lifting Equipment (Slings) | 1 set |

- Consumable (with quantity/25 Trainees)

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | Oil Absorbing Pads | 25 Nos |
|  | Labels (LOTO Tags, Hazard Labels) | As per requirement |
|  | Printing Paper, Drawing Sheets | As per requirement |
|  | Cartridge/ Ink for Printer | As per requirement |
|  | Small Replacement Parts (fuses, connectors, cable Lugs, Seals, gaskit etc) | As per requirement |
|  | Cleaning and Lubricants (Oil, Grease, cleaning agents) | As per requirement |
|  | MS Office | 01 Commercial License |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Field | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |