Government of Pakistan

National Vocational and Technical Training Commission

Prime Minister’s Hunarmand Pakistan Program

"Skills for All"

Course Contents / Lesson Plan

Course Title: Steel Fixer

Duration: 6 Months

Revised Edition

| Trainer Name |  |
| --- | --- |
| Course Title | Steel Fixer |
| Objectives and Expectations | Employable skills for Steel Fixer through an intensive course on Steel Fixer. This is a special course designed to address unemployment in the youth. The course aims to achieve the above objective through hands on practical training delivery by a team of dedicated professionals having rich market/work experience. This course is therefore not just for steel fixer a theoretical understanding/back ground of the trainees. Contrary to that it is primarily aimed at equipping the trainees to perform commercially in a market space in independent capacity or as a member of a team. The course therefore is designed to impart not only technical skills but also, soft skills (i.e. interpersonal/communication skills; personal grooming of the trainees etc.) as well as entrepreneurial skills (marketing skills; free lancing) The course also seeks to inculcate work ethics to foster better citizenship in general and improve the image of Pakistani work force in particular. Main Expectations: In short, the course under reference should be delivered by professional instructors in such a robust hand- on manner that the trainees are comfortably able to employ their skills for earning money (through wage/self-employment) at its conclusion. This course thus clearly goes beyond the domain of the traditional training practices in vogue and underscores an expectation that a Key Features of Training& Special Modules market centric approach will be adopted as the main driving force while delivering it. The instructors should therefore be experienced enough to be able to identify the training needs for the possible market roles available out there. Moreover, they should also know the strengths and weaknesses of each individual trainee to prepare them for such market roles during/after the training. i. Specially designed practical tasks to be performed by the trainees have been included in the Annexure-I to this document. The record of all tasks performed individually or in groups must be preserved by the management of the training Institute clearly labelling name, trade, session etc. so that these are ready to be physically inspected/verified through monitoring visits from time to time. The weekly distribution of tasks has also been indicated in the weekly lesson plan given in this document. ii. In order to materialize the main expectations, a special module on Job Search & Entrepreneurial Skills has been included in the later part of this course (5th & 6th month) through which, the trainees will be made aware of the Job search techniques in the local as well as international job markets (Gulf countries). Awareness around the visa process and immigration laws of the most favored labor destination countries also form a part of this module. Moreover, the trainees would also be encouraged to venture into self-employment and exposed to the main requirements in this regard. It is also expected that a sense of civic duties/roles and responsibilities will also be inculcated in the trainees to make them responsible citizens of the country. Training Tools/ Methodology A module on Work Place Ethics has also been included to highlight the importance of good and positive behavior at work place in the line with the best practices elsewhere in the world. An outline of such qualities has been given in the Appendix to this document. Its importance should be conveyed in a format that is attractive and interesting for the trainees such as through PPT slides and short video documentaries. Needless to say, that if the training provider puts his heart and soul into these otherwise non-technical components, the image of Pakistani workforce would undergo a positive transformation in the local as well as international job markets. In order to maintain interest and motivation of the trainees throughout the course, modern techniques such as: • Motivational Lecture • Success Stories • Case Studies These techniques would be employed as an additional training tool wherever possible (these are explained in the subsequent section on Training Methodology). Lastly, evaluation of the competencies acquired by the trainees will be done objectively at various stages of the training and proper record of the same will be maintained. Suffice to say that for such evaluations, practical tasks would be designed by the training providers to gauge the problem-solving abilities of the trainees. (i) Motivational Lecture The proposed methodology for the training under reference employs motivation as a tool. Hence besides the purely technical content, a trainer is required to include elements of motivation in his/her lecture to inspire the trainees to utilize the training opportunity to the full and strive towards professional excellence. Motivational lectures may also include general topics such as the importance of moral values and civic role & responsibilities as a Pakistani. A Motivational Lecture should be delivered with enough zeal to produce a deep impact on the trainees. It may comprise of the following:  Clear Purpose to convey message to trainees effectively.  Personal Story to quote as an example to follow.  Trainees Fit so that the situation is actionable by trainees and not represent a just idealism.  Ending Points to persuade the trainees on changing themselves. A good Motivational Lecture should help drive creativity, curiosity and spark the desire needed for trainees to want to learn more. Impact of a successful motivational strategy is amongst others commonly visible in increased class participation ratios. It increases the trainees’ willingness to be engaged on the practical tasks for longer time without boredom and loss of interest because they can clearly see in their mind's eye where their hard work would take them in short (1-3 years); medium (3 -10 years) and long term (more than 10 years). As this tool is expected that the training providers would make arrangements for regular well planned Motivational Lecture (For further detail please see Page No: 4) as part of a coordinated strategy interspersed throughout the training period as suggested in the weekly lesson plans in this document. (ii) Success Stories Another effective way of motivating the trainees is by means of Success Stories. Its inclusion in the weekly lesson plan at regular intervals has been recommended till the end of the training. A success story may be disseminated orally, through a presentation or by means of a video/documentary of someone that has risen to fortune, acclaim, or brilliant achievement. A success story shows how a person achieved his goal through hard work, dedication and devotion. An inspiring success story contains compelling and significant facts articulated clearly and easily comprehendible words. Moreover, it is helpful if it is assumed that the reader/listener knows nothing of what is being revealed. Optimum impact is created when the story is revealed in the form of: -  Directly in person (At least 2-3 cases must be arranged by the training institute)  Through an audio/ videotaped message (2-3 high quality videos must be arranged by the training institute) It is expected that the training provider would collect relevant high quality success stories for inclusion in the training as suggested in the weekly lesson plan given in this document. Suggestive structure and sequence of a sample success story and its various shapes can be seen at annexure III. (iii) Case Studies Where a situation allows, case studies can also be presented to the trainees to widen their understanding of the real-life specific problem/situation and to explore the solutions. In simple terms, the case study method of teaching uses a real-life case example/a typical case to demonstrate a phenomenon in action and explain theoretical as well as practical aspects of the knowledge related to the same. It is an effective way to help the trainees comprehend in depth both the theoretical and practical aspects of the complex phenomenon in depth with ease. Case teaching can also stimulate the trainees to participate in discussions and thereby boost their confidence. It also makes class room atmosphere interesting thus maintaining the trainee interest in training till the end of the course. Depending on suitability to the trade, the weekly lesson plan in this document may suggest case studies to be presented to the trainees. The trainer may adopt a power point presentation or video format for such case studies whichever is deemed suitable but it’s important that only those cases are selected that are relevant and of a learning value. The Trainees should be required and supervised to carefully analyze the cases. For the purpose they must be encouraged to inquire and collect specific information / data, actively participate in the discussions and intended solutions of the problem / situation. Case studies can be implemented in the following ways: - - A good quality trade specific documentary (At least 2-3 documentaries must be arranged by the training institute). - Health & Safety case studies (2 cases regarding safety and industrial accidents must be arranged by the training institute) - Field visits (At least one visit to a trade specific major industry/ site must be arranged by the training institute) |
| Entry-level of trainees | Middle |
| Teacher Eligibility Criteria | DAE in Civil /Mechanical Technology, having 3 years of relevant experience. OR Intermediate with 6 Month certificate in Steel Fixer having 5 years of relevant experience. |
| Learning Outcomes of the course | After completion of this course, the trainees must be able to: Determine the relative position of any objects or points on the earth. Determine the distance and angle between different objects. Prepare a map or plan to represent an area on a horizontal plan. Determine the required areas and volumes of land and materials needed during construction. Ensure that the construction takes place in the correct relative and absolute position on the ground. Record the final position of the construction, including any design changes. Provide permanent control points from which particularly important projects can be surveyed - such as regular monitoring ofa construction to check for movement. Develop methods using the knowledge of modern science & technology and using them in the field. Solve measurement problems in an optimal way |
| Course Execution Plan | The total duration of the course: 6 months (24 Weeks) Class hours: 4 hours per day Theory: 20% Practical: 80% Weekly hours: 20 hours per week Total contact hours: 480 hours |
| Companies offering jobs in the respective trade | Besides overseas employment, the following Pakistani companies/firms/Organizations are also offering jobs as well, with details as under: - 1. Perform any private sector 2. Government Institutes 3. LDA, Etc. 4.Contractorship 5.Construction Firms 6.Airports 7.Public Health Department 8.Pakistan Railways 9.Highways Department 10. Restoration and Heritage Conservation Organizations 11.Muncipal corporation 12. International Organizations and NGOs |
| Job Opportunities | All over the world there is a high demand in the Information Technology industry for developers in various fields such as game developers, gaming studios and game graphics modular’s. With the help of this course, we will be able to give technical training of Information Technology to our youth. There are also opportunities for start-up entrepreneurship due to the high demand in the market in following designated jobs; Pakistan Industry reference A quick guide about salaries, opportunities and available jobs is listed below. List of jobs and titles available in the industry, https://www.mustakbil.com/companies/pakistan/steel https://www.rozee.pk/job/jsearch/q/ |
| No of Students | 25 |
| Learning Place | Classroom / Lab |

MODULES

| Scheduled Weeks | Module Title | Days | Learning Units | Home Assignment |
| --- | --- | --- | --- | --- |
| Week 1 | Follow Safety Rules at Site | Day 1 | Define safety rules | - Task 1 Details may be seen at Annexure-I |
|  |  |  | State importance of safety rules |  |
|  |  |  | State notices a safety hazard |  |
|  |  |  | State responsible for ensuring safety at the site |  |
|  |  | Day 2 | Define PPE |  |
|  |  |  | State purpose of wearing personal protective equipment. |  |
|  |  |  | State importance of wearing personal protective equipment. |  |
|  |  |  | State first step before starting any work at a site. |  |
|  |  | Day 3 | Introduce most common hazards in masonry work |  |
|  |  |  | identify different hazards on a construction site |  |
|  |  |  | Address hazards on a construction site |  |
|  |  |  | Discuss common injuries that could occur due to unsafe practices in masonry work. |  |
|  |  | Day 4 | Methods to free from common hazards at site. |  |
|  |  |  | Discuss to own level of responsibility |  |
|  |  |  | Discuss potential consequences to PPEs |  |
|  |  |  | Enlist potential consequences to PPEs |  |
|  |  | Day 5 | State safety training sessions |  |
|  |  |  | Define medical emergency. |  |
|  |  |  | Define safety drills. |  |
|  |  |  | State purpose of conducting safety drills. |  |
| Week 2 | Perform Basic Communication Skills | Day 1 | Introduction to Timeliness in communication | - Task 2 Details may be seen at Annexure-I |
|  |  |  | Discuss Conflict Resolution |  |
|  |  |  | Practice to Communicate messages to group members |  |
|  |  |  | Practice to Use various media to communicate messages |  |
|  |  | Day 2 | Identify the issues at workplace |  |
|  |  |  | Discuss Safety Concerns at construction sites. |  |
|  |  |  | Provide appropriate suggestion for different issues |  |
|  |  |  | Discuss Management & Leadership |  |
|  |  | Day 3 | Identify Workplace Issues |  |
|  |  |  | Process to overcome workplace issues |  |
|  |  |  | Identify type of Workplace Issues |  |
|  |  |  | Differentiate between organization and non-organization issues |  |
|  |  | Day 4 | Feedback and revision for site issues |  |
|  |  |  | Define aesthetic working place |  |
|  |  |  | Differentiate between construction site and workspace |  |
|  |  |  | Define organizational chart. |  |
|  |  | Day 5 | State Uses of various media to communicate effectively |  |
|  |  |  | Enlist type of media uses for communications |  |
|  |  |  | State Communication with Tools Practice |  |
|  |  |  | State 7C’s of effective communication |  |
| Week 3 | Draw Basic Technical Drawings | Day 1 | Define technical drawing. | - Task 3 Details may be seen at Annexure-I |
|  |  |  | State common types of technical drawings. |  |
|  |  |  | State important in technical drawings. |  |
|  |  |  | State purpose of technical drawings in engineering. |  |
|  |  | Day 2 | Enlist tools for technical drawing. |  |
|  |  |  | Define straight line . |  |
|  |  |  | Differentiate between line and angle. |  |
|  |  |  | State angle of straight line. |  |
|  |  | Day 3 | Enlist software commonly used for creating technical drawings. |  |
|  |  |  | State T-square important for drafting. |  |
|  |  |  | State orthographic projection. |  |
|  |  |  | Define scale. |  |
|  |  | Day 4 | Define set square. |  |
|  |  |  | State purpose of T-Square. |  |
|  |  |  | Define line. |  |
|  |  |  | Define section line. |  |
|  |  | Day 5 | Define brake line. |  |
|  |  |  | State standard symbols in technical drawing |  |
|  |  |  | State section view |  |
|  |  |  | Define labeling |  |
| Week 4 | Demonstrate Basic Numeracy Skills | Day 1 | Define addition | - Task 4 Details may be seen at Annexure-I |
|  |  |  | Define and perform subtraction. |  |
|  |  |  | Define division method. |  |
|  |  |  | State percentage. |  |
|  |  | Day 2 | State ratio 4:8 in its simplest form |  |
|  |  |  | Convert 150 cm to meters |  |
|  |  |  | Convert 250 cm to meters |  |
|  |  |  | Convert 150 cm to inches |  |
|  |  | Day 3 | Convert 150 cm to mm |  |
|  |  |  | A car travels 240 km in 4 hours. What is its average speed. |  |
|  |  |  | Convert 150 m to mm |  |
|  |  |  | If a recipe requires 3 cups of flour for 6 servings, how much flour is needed for 10 servings. |  |
|  |  | Day 4 | What is the square of 9? |  |
|  |  |  | Add 3/5 and 4/7 |  |
|  |  |  | Subtract 5/8 from 7/8. |  |
|  |  |  | Convert 2.375 into a fraction. |  |
|  |  | Day 5 | Multiply 3/4 by 5/6 and simplify |  |
|  |  |  | Multiply 16 by 7 |  |
|  |  |  | Multiply 6 by 71 |  |
|  |  |  | Multiply 9 by 7 |  |
| Week 5 | Demonstrate Basic Numeracy Skills | Day 1 | Convert 350 m to mm | - Task 5 Details may be seen at Annexure-I |
|  |  |  | Convert 435 m to mm |  |
|  |  |  | What is square of 3? |  |
|  |  |  | Subtract 48 from 93 |  |
|  |  | Day 2 | Multiply 6 by 7. |  |
|  |  |  | Divide 56 by 8. |  |
|  |  |  | Multiply 9 by 7. |  |
|  |  |  | Multiply 8 by 7. |  |
|  |  | Day 3 | Convert 0.75 into a fraction. |  |
|  |  |  | What is ½ of 36? |  |
|  |  |  | What is 25% of 200? |  |
|  |  |  | increase 80 by 10%. |  |
|  |  | Day 4 | increase 40 by 10%. |  |
|  |  |  | increase 60 by 10%. |  |
|  |  |  | increase 60 by 20%. |  |
|  |  |  | increase 60 by 5%. |  |
|  |  | Day 5 | 144 ÷ 12 = ? |  |
|  |  |  | What is ⅔ of 90? |  |
|  |  |  | What is 1/3 of 90? |  |
|  |  |  | What is 60% of 250? |  |
| Week 6 | Maintain Steel Fixing & Erecting Tools, Equipment and Materials | Day 1 | Define fixing of steel | - Task 6 Details may be seen at Annexure-I |
|  |  |  | State erecting of tools |  |
|  |  |  | State steel Materials |  |
|  |  |  | Differentiate between high carbos steel and steel. |  |
|  |  | Day 2 | State importance of steel fixing. |  |
|  |  |  | State primary purpose of steel fixing |  |
|  |  |  | Define rebar |  |
|  |  |  | Enlist steel fixing tools |  |
|  |  | Day 3 | State PPEs for steel fixing tools |  |
|  |  |  | State method to use of rebar cutter. |  |
|  |  |  | Define pliers used in steel fixing |  |
|  |  |  | Enlist types of pliers used in steel fixing. |  |
|  |  | Day 4 | Discuss tool keeping |  |
|  |  |  | State importance to keep cutting tools sharp |  |
|  |  |  | State importance to keep cutting tools clean. |  |
|  |  |  | Enlist different materials to cutting-by-cutting tools. |  |
|  |  | Day 5 | Define twisting tools for steel fixer |  |
|  |  |  | State wire twisting tool used for in steel fixer |  |
|  |  |  | State importance of twisting tools in steel fixer |  |
|  |  |  | Define lubrication |  |
| Week 7 | Maintain Steel Fixing & Erecting Tools, Equipment and Materials | Day 1 | State importance of lubrication for tools | - Task 7 Details may be seen at Annexure-I |
|  |  |  | State rebar cutters be lubricated |  |
|  |  |  | Define power tools |  |
|  |  |  | Enlist power tools commonly used in steel fixing |  |
|  |  | Day 2 | State rebar tying gun |  |
|  |  |  | Define protection |  |
|  |  |  | State ear protection needed when using power tools. |  |
|  |  |  | Importance of ear protection |  |
|  |  | Day 3 | Define power grinder |  |
|  |  |  | Enlist type of a power grinder |  |
|  |  |  | State method to maintenance is required for a power grinder |  |
|  |  |  | State importance of power grinder |  |
|  |  | Day 4 | Define cutting saw |  |
|  |  |  | State importance of cutting saw in steel fixer |  |
|  |  |  | State main safety concern when using a cutting saw |  |
|  |  |  | Enlist type of cutting saw |  |
|  |  | Day 5 | State rebar bending machine |  |
|  |  |  | State working of rebar bending machine in steel fixer |  |
|  |  |  | State protective coating. |  |
|  |  |  | State protective coating applied to steel bars |  |
| Week 8 | Perform Cutting and Bending Rebar for Simple Shapes | Day 1 | State uses rebar | - Task 8 Details may be seen at Annexure-I |
|  |  |  | State common sizes of rebar |  |
|  |  |  | Define bending |  |
|  |  |  | State purpose of bending rebars in steel fixing |  |
|  |  | Day 2 | Enlist tools for cutting of steel |  |
|  |  |  | State method to use tools to cut rebar |  |
|  |  |  | State method to handle rebar |  |
|  |  |  | State safety precautions to handle rebar |  |
|  |  | Day 3 | Define rebar bending schedule. |  |
|  |  |  | Enlist type of rebar bending schedule. |  |
|  |  |  | State standard bend radius for rebar |  |
|  |  |  | State importance to bend rebar accurately |  |
|  |  | Day 4 | Define bent rebar |  |
|  |  |  | State purpose of bent rebar in concrete structures |  |
|  |  |  | State importance of bent rebars. |  |
|  |  |  | State rebar used in beams |  |
|  |  | Day 5 | State rebar used in columns |  |
|  |  |  | Differentiate between beams and columns |  |
|  |  |  | Define U-bending |  |
|  |  |  | State U-bending used in rebar placement |  |
| Week 9 | Perform Cutting and Bending Rebar for Simple Shapes | Day 1 | Define binding wire. | - Task 9 Details may be seen at Annexure-I |
|  |  |  | State role of wire play securing bent rebar |  |
|  |  |  | State method to check rebar cut is correct |  |
|  |  |  | State safety precautions to cut rebar. |  |
|  |  | Day 2 | Define consequence |  |
|  |  |  | State consequence of cutting rebar |  |
|  |  |  | Define diameter |  |
|  |  |  | Enlist different diameter of rebar |  |
|  |  | Day 3 | Define bends |  |
|  |  |  | State uniform bends in multiple rebar pieces. |  |
|  |  |  | State importance of uniform bends |  |
|  |  |  | State uses of uniform bends |  |
|  |  | Day 4 | Define measurement |  |
|  |  |  | State measurement important in rebar cutting |  |
|  |  |  | Enlist measuring tools |  |
|  |  |  | State method to measure rebar bend |  |
|  |  | Day 5 | Define rebars |  |
|  |  |  | State common diameters of rebar |  |
|  |  |  | State uses of rebar |  |
|  |  |  | State importance of rebars |  |
| Week 10 | Perform Cutting and Bending Rebar for Simple Shapes | Day 1 | Define lap joint | - Task 10 Details may be seen at Annexure-I |
|  |  |  | State lap joint in rebar reinforcement |  |
|  |  |  | Define rust |  |
|  |  |  | State disadvantages of rust on rebars |  |
|  |  | Day 2 | Define marking |  |
|  |  |  | State method to mark rebar before cutting |  |
|  |  |  | State safety precautions to mark rebar before cutting |  |
|  |  |  | State manual rebar cutter |  |
|  |  | Day 3 | Define electric rebar. |  |
|  |  |  | State electric rebar cutter work |  |
|  |  |  | Define cutting torch |  |
|  |  |  | State method to check if a cut is straight of rebar |  |
|  |  | Day 4 | State purpose of using a rebar bending machine |  |
|  |  |  | State method to create a 90-degree bend in rebar |  |
|  |  |  | State method to create a 45-degree bend in rebar |  |
|  |  |  | State method to create a 30-degree bend in rebar |  |
|  |  | Day 5 | State method to straighten the rebar |  |
|  |  |  | Define crank bar |  |
|  |  |  | Define stirrups |  |
|  |  |  | Differentiate between rings and stirrups |  |
| Week 11 | Execute the Steel Work of Foundations | Day 1 | Define foundations | - Task 11 Details may be seen at Annexure-I |
|  |  |  | Define steel reinforcement |  |
|  |  |  | State steel reinforcement in foundations |  |
|  |  |  | State method to cut steel reinforcement in foundations |  |
|  |  | Day 2 | Define cover. |  |
|  |  |  | State bent up bars |  |
|  |  |  | State minimum concrete cover required for foundation reinforcement. |  |
|  |  |  | Define reinforcement. |  |
|  |  | Day 3 | Define footing. |  |
|  |  |  | State footing in a foundation |  |
|  |  |  | Enlist type of footing. |  |
|  |  |  | State rebar used in foundation work. |  |
|  |  | Day 4 | Enlist materials are commonly used for rebar. |  |
|  |  |  | Stated method to classified rebars. |  |
|  |  |  | State common grades of rebar |  |
|  |  |  | State temperature affect rebar performance |  |
|  |  | Day 5 | Define deformed rebar |  |
|  |  |  | Differentiate between plain and deformed rebar |  |
|  |  |  | State importance of deformed debar |  |
|  |  |  | State benefits of using stainless steel rebar |  |
| Week 12 | Execute the Steel Work of Foundations | Day 1 | Define footing | - Task 12 Details may be seen at Annexure-I |
|  |  |  | State rebar in a footing |  |
|  |  |  | State method to place rebar in a footing |  |
|  |  |  | State safety precautions to place rebar in a footing |  |
|  |  | Day 2 | State rebar used in foundation for walls |  |
|  |  |  | State demerits of using stainless steel rebar |  |
|  |  |  | State length of rebar |  |
|  |  |  | State dia of rebar |  |
|  |  | Day 3 | Define thermal expansion. |  |
|  |  |  | State rebar placement affect thermal expansion |  |
|  |  |  | State effects on rebar in summer season. |  |
|  |  |  | State seasoning of rebar may be done. |  |
|  |  | Day 4 | Define fiber reinforcement |  |
|  |  |  | State advantages of using fiber-reinforced rebar |  |
|  |  |  | State dis-advantages of using fiber-reinforced rebar |  |
|  |  |  | State safety precautions of using fiber-reinforced rebar |  |
|  |  | Day 5 | State significance of using high-strength rebar |  |
|  |  |  | Define moisture on rebar |  |
|  |  |  | State effect of moisture on rebar |  |
|  |  |  | State rebar used in foundation piers |  |
| Week 13 | Execute the Steel Work of Foundations | Day 1 | Define mesh | - Task 13 Details may be seen at Annexure-I |
|  |  |  | State benefits of using mesh reinforcement |  |
|  |  |  | Define placement |  |
|  |  |  | State rebar placement affect construction timelines |  |
|  |  | Day 2 | Define stepped foundation |  |
|  |  |  | State reinforcement provided for a stepped foundation |  |
|  |  |  | Differentiate between reinforcement for stepped foundation and raft foundation |  |
|  |  |  | Enlist test steel reinforcement for strength before using it in foundations. |  |
|  |  | Day 3 | State cutting steel bars for foundation work |  |
|  |  |  | Enlist PPEs for cutting of steel |  |
|  |  |  | State precautions should be taken when cutting steel bars for foundation work. |  |
|  |  |  | Define raft foundation |  |
|  |  | Day 4 | Define poor steel work. |  |
|  |  |  | State effect of poor steel work on foundation |  |
|  |  |  | State purpose of using vertical steel bars in foundation walls |  |
|  |  |  | State purpose of using horizontal steel bars in foundation walls |  |
|  |  | Day 5 | Define pile caps |  |
|  |  |  | State amount of steel needed for pile caps in foundation work |  |
|  |  |  | State precautions for steel needed for pile caps in foundation work |  |
|  |  |  | Define lap splicing of foundation |  |
| Week 14 | Execute the Steel Work of Foundations | Day 1 | Define stability | - Task 14 Details may be seen at Annexure-I |
|  |  |  | State stability of steel reinforcement during concrete pouring |  |
|  |  |  | Define pouring |  |
|  |  |  | Differentiate filling and pouring |  |
|  |  | Day 2 | Define steel rebar cutting methods. |  |
|  |  |  | State procedure for steel bar cutting and bending in foundation work |  |
|  |  |  | Define building codes |  |
|  |  |  | State steel reinforcement for foundations complies with local building code |  |
|  |  | Day 3 | Define soil contamination |  |
|  |  |  | State prevent soil contamination of steel reinforcement during construction of foundation |  |
|  |  |  | Define seismic environment |  |
|  |  |  | State steel work for foundations to meet seismic requirements |  |
|  |  | Day 4 | Define supply |  |
|  |  |  | State supply of steel bars for foundation work |  |
|  |  |  | State storage of steel bars for foundation work |  |
|  |  |  | State protection of steel bars in foundations |  |
|  |  | Day 5 | Enlist different sizes of steel bars for foundation work |  |
|  |  |  | State process of reinforcing a foundation with steel and concrete |  |
|  |  |  | State handle steel reinforcement when working with different soil types |  |
|  |  |  | State steel reinforcement is not overloaded in foundation work |  |
| Week 15 | Execute steel work in Column for domestic building | Day 1 | Define columns | - Task 15 Details may be seen at Annexure-I |
|  |  |  | State purpose of in columns building |  |
|  |  |  | State purpose of steel reinforcement in columns |  |
|  |  |  | State precautions to use of steel reinforcement in columns |  |
|  |  | Day 2 | Define calculation |  |
|  |  |  | State method to calculate the steel required for a column |  |
|  |  |  | Define cover |  |
|  |  |  | State cover for steel reinforcement in columns |  |
|  |  | Day 3 | Define ties |  |
|  |  |  | Differentiate between ties and stirrups |  |
|  |  |  | State ties or stirrups used for in column reinforcement |  |
|  |  |  | State precautions to use ties or stirrups used for in column reinforcement |  |
|  |  | Day 4 | Define alignment |  |
|  |  |  | State proper alignment of steel reinforcement in columns |  |
|  |  |  | State precautions to alignment of steel reinforcement in columns |  |
|  |  |  | State PPEs for alignment of steel for columns. |  |
|  |  | Day 5 | State role of horizontal reinforcement in a column |  |
|  |  |  | State role of vertical reinforcement in a column |  |
|  |  |  | State role of stirrups. |  |
|  |  |  | Define tie bars |  |
| Week 16 | Execute steel work in Column for domestic building | Day 1 | Define spacing of steel | - Task 16 Details may be seen at Annexure-I |
|  |  |  | State steel reinforcement in columns is properly spaced |  |
|  |  |  | State cutting of steel reinforcement for columns |  |
|  |  |  | State bending of steel reinforcement for columns |  |
|  |  | Day 2 | Define diameter |  |
|  |  |  | State correct bar diameter for column reinforcement |  |
|  |  |  | Define anchored bar |  |
|  |  |  | State steel bars are adequately anchored at the base of the column |  |
|  |  | Day 3 | Define misalignment |  |
|  |  |  | State misalignment of steel reinforcement during pouring in columns. |  |
|  |  |  | Define placing of steel bars |  |
|  |  |  | State placing steel reinforcement in a column formwork |  |
|  |  | Day 4 | Define improper steel |  |
|  |  |  | State effect of improper steel placement on column strength |  |
|  |  |  | State precaution for placing of steel in column. |  |
|  |  |  | Enlist PPEs for placing steel in columns |  |
|  |  | Day 5 | Define management |  |
|  |  |  | State manage the steel work for columns in confined spaces |  |
|  |  |  | State manage the steel work for columns in un-confined spaces |  |
|  |  |  | State precautions to manage the steel work for columns |  |
| Week 17 | Execute steel work in Beams for domestic building | Day 1 | Define domestic building | - Task 17 Details may be seen at Annexure-I |
|  |  |  | State role of steel beams in a domestic building |  |
|  |  |  | State precautions placing steel in beams for domestic building |  |
|  |  |  | Enlist tools uses for steel binding in beams for domestic building |  |
|  |  | Day 2 | Enlist steel are commonly used in beam construction |  |
|  |  |  | Differentiate between beams and columns |  |
|  |  |  | State bent up bars |  |
|  |  |  | Define hooks |  |
|  |  | Day 3 | State calculation for hook |  |
|  |  |  | State method to prepare hook |  |
|  |  |  | State specification for hook |  |
|  |  |  | State precaution to prepare hook |  |
|  |  | Day 4 | State process of selecting steel beam material |  |
|  |  |  | State advantages of using steel beams in domestic buildings |  |
|  |  |  | State dis-advantages of using steel beams in domestic buildings |  |
|  |  |  | State alignment of steel in beams |  |
|  |  | Day 5 | Define steel plates |  |
|  |  |  | State role of steel plates in beam connections |  |
|  |  |  | State method to fix of steel plates in beam connections |  |
|  |  |  | State precautions to fix steel plates in beam connections |  |
| Week 18 | Execute steel work in Beams for domestic building | Day 1 | Define welding process | - Task 18 Details may be seen at Annexure-I |
|  |  |  | Enlist tools used to cut steel beams |  |
|  |  |  | Enlist tools used to weld steel beams |  |
|  |  |  | State precautions to cut and weld steel beams |  |
|  |  | Day 2 | Define steel beam theory. |  |
|  |  |  | State steel beam's load-bearing capacity |  |
|  |  |  | State precautions for steel beam's load-bearing capacity |  |
|  |  |  | Define load bearing capacity |  |
|  |  | Day 3 | Define fabrication. |  |
|  |  |  | State steel beams fabricated for construction |  |
|  |  |  | State precautions for steel beams fabrication |  |
|  |  |  | Enlist tools for steel beams fabrication |  |
|  |  | Day 4 | Define steel beams supported |  |
|  |  |  | State significance of beam depth in steel beam design |  |
|  |  |  | State precautions during laying of steel beam in depth |  |
|  |  |  | Define cover in beams |  |
|  |  | Day 5 | Define installation of steel |  |
|  |  |  | State safety precautions when installing steel in beams |  |
|  |  |  | Define cantilever. |  |
|  |  |  | State cantilever steel beam |  |
| Week 19 | Execute steel work in Roof slabs for domestic building | Day 1 | Define steel reinforcement | - Task 19 Details may be seen at Annexure-I |
|  |  |  | State role of steel reinforcement in roof slab |  |
|  |  |  | Enlist tools for steel reinforcement in roof slab |  |
|  |  |  | State precautions for steel reinforcement in roof slab |  |
|  |  | Day 2 | Define high strength steel |  |
|  |  |  | Differentiate between mild steel and high-strength steel for roof slabs |  |
|  |  |  | State main steel for roof slabs |  |
|  |  |  | Define load bearing wall |  |
|  |  | Day 3 | Define diameter |  |
|  |  |  | State diameter of reinforcement bars used in roof slabs |  |
|  |  |  | Define corrosion |  |
|  |  |  | State steel reinforcement is corrosion-resistant in roof slabs |  |
|  |  | Day 4 | Define compaction of concrete |  |
|  |  |  | State proper compaction of concrete in roof slabs |  |
|  |  |  | Define segregation |  |
|  |  |  | State proportion for concrete |  |
|  |  | Day 5 | Define tie |  |
|  |  |  | State steel reinforcement tied in a roof slab |  |
|  |  |  | State precautions for steel reinforcement tied in a roof slab |  |
|  |  |  | Enlist tools for steel reinforcement tied in a roof slab |  |
| Week 20 | Execute steel work in Roof slabs for domestic building | Day 1 | Define slab cover | - Task 20 Details may be seen at Annexure-I |
|  |  |  | State role of concrete cover in roof slab construction |  |
|  |  |  | State safe cover |  |
|  |  |  | State importance of cover in slabs |  |
|  |  | Day 2 | Define longitudinal bars is slabs. |  |
|  |  |  | State function of longitudinal reinforcement in roof slabs |  |
|  |  |  | State importance of longitudinal reinforcement in roof slabs |  |
|  |  |  | State misalignment of reinforcement in roof slabs |  |
|  |  | Day 3 | Define cracking. |  |
|  |  |  | State steel reinforcement in preventing roof slab cracking. |  |
|  |  |  | State steel reinforcement. |  |
|  |  |  | State process of assembling reinforcement for roof slab |  |
|  |  | Day 4 | Define moment capacity. |  |
|  |  |  | State method to calculate the moment capacity of a roof slab |  |
|  |  |  | Define torsion. |  |
|  |  |  | State torsion in steel-reinforced roof slabs |  |
|  |  | Day 5 | Define vibrator. |  |
|  |  |  | State proper vibration of concrete during roof slab pouring. |  |
|  |  |  | State function of slab diaphragm action in roof slabs. |  |
|  |  |  | State method to joints handled in roof slabs with steel reinforcement |  |
| Week 21 | Execute steel work in Stairs for domestic building | Day 1 | Define steel reinforcement for steel. | - Task 21 Details may be seen at Annexure-I |
|  |  |  | State role of structural steel in stair design. |  |
|  |  |  | State importance of structural steel in stair design. |  |
|  |  |  | State cover of structural steel in stair design. |  |
|  |  | Day 2 | Define load bearing capacity for stair |  |
|  |  |  | State method to calculate the load-bearing capacity of steel stairs |  |
|  |  |  | State safety precaution to provide debars for steel stairs |  |
|  |  |  | Enlist tools for fixing of steel stairs |  |
|  |  | Day 3 | Define formwork. |  |
|  |  |  | State steel framework of stairs designed. |  |
|  |  |  | State purpose of using steel angles in stair construction |  |
|  |  |  | Enlist type of steel beams for a staircase |  |
|  |  | Day 4 | State welding steel parts of a staircase |  |
|  |  |  | State process for welding steel parts of a staircase |  |
|  |  |  | State precautions to process for welding steel parts of a staircase |  |
|  |  |  | Enlist type of staircase |  |
|  |  | Day 5 | Enlist part staircase |  |
|  |  |  | Enlist different types of steel used in stair tread construction |  |
|  |  |  | Define tread |  |
|  |  |  | Define Riser |  |
| Week 22 | Execute steel work in Stairs for domestic building | Day 1 | Define ties for stairs. | - Task 22 Details may be seen at Annexure-I |
|  |  |  | State steel reinforcement tied in place in a staircase |  |
|  |  |  | Define landing |  |
|  |  |  | Enlist type of landing. |  |
|  |  | Day 2 | Define curved staircases |  |
|  |  |  | State steel stairs comply with building codes |  |
|  |  |  | Define stringers |  |
|  |  |  | State importance of stringers in steel reinforcement |  |
|  |  | Day 3 | Define stair rails. |  |
|  |  |  | State steel stair rails constructed and reinforced |  |
|  |  |  | State method to prevent rust on steel |  |
|  |  |  | Enlist types of stair supports used in steel stairs |  |
|  |  | Day 4 | Define supports |  |
|  |  |  | Enlist number of steel supports needed for a staircase. |  |
|  |  |  | State load transfer in steel staircases. |  |
|  |  |  | Enlist type of load on stairs |  |
|  |  | Day 5 | Define galvanizing |  |
|  |  |  | State process for galvanizing steel stair components |  |
|  |  |  | State staircases designed for safety. |  |
|  |  |  | staircases designed for durability. |  |
| Week 23 | Execute steel work in arches | Day 1 | Define arches | - Task 23 Details may be seen at Annexure-I |
|  |  |  | State purpose of using steel in arch construction. |  |
|  |  |  | Enlist type of arches. |  |
|  |  |  | State importance of using steel in arch construction. |  |
|  |  | Day 2 | Enlist type of steel for arches |  |
|  |  |  | State method to determine dimensions of steel for arches. |  |
|  |  |  | State method to place steel at arches |  |
|  |  |  | State safety precautions for placing of steel reinforcement in arches |  |
|  |  | Day 3 | State role of steel in supporting the arch shape. |  |
|  |  |  | State steel arches connected to the foundation. |  |
|  |  |  | State alignment of a steel arch checked during construction. |  |
|  |  |  | Define alignment. |  |
|  |  | Day 4 | Define buckling. |  |
|  |  |  | State method to prevent buckling in steel arches |  |
|  |  |  | State steel used in arches protected from corrosion |  |
|  |  |  | State type of arches according to centers. |  |
|  |  | Day 5 | State steel arch for a specific span |  |
|  |  |  | State ends of a steel arch reinforced |  |
|  |  |  | purpose of using steel reinforcement in arch foundations |  |
|  |  |  | Enlist materials for arches |  |
| Week 24 | Execute steel work in arches | Day 1 | State purpose of using gussets in steel arches | - Task 24 Details may be seen at Annexure-I |
|  |  |  | State reinforce a steel arch at high-stress points |  |
|  |  |  | State effect of temperature fluctuations on steel arches |  |
|  |  |  | State prevent the steel arch from deforming during construction |  |
|  |  | Day 2 | Define ribs. |  |
|  |  |  | State role of steel arch ribs in maintaining structural stability |  |
|  |  |  | State importance of gusset plates in steel arch construction. |  |
|  |  |  | State steel arch attached to support columns or walls. |  |
|  |  | Day 3 | Define seismic load. |  |
|  |  |  | State wind and seismic loads in steel arches |  |
|  |  |  | Define assembling of steel. |  |
|  |  |  | State process of assembling steel components for arches |  |
|  |  | Day 4 | Define steel connectors in arch construction |  |
|  |  |  | State role of steel connectors in arch construction |  |
|  |  |  | State importance of steel connectors in arch construction |  |
|  |  |  | State Safety precautions for applying steel connectors in arch construction. |  |
|  |  | Day 5 | Differentiate between ribs and tie |  |
|  |  |  | State PPEs for applying steel connectors in arch construction. |  |
|  |  |  | State importance of using gussets in steel arches |  |
|  |  |  | State steel reinforce for an arch at high-stress points. |  |

Tasks for Certificate in Steel Fixer (6-Months)

| Task No. | Task | Description | Week |
| --- | --- | --- | --- |
|  | Safety Rules at Site | Perform cleanliness at site | Week 1 |
|  |  | Perform using PPEs at site | Week 2 |
|  | Perform Basic Communication Skills | Communicate everyone for steel fixer activities. | Week 3 |
|  |  | Ensure that everyone in your group feels comfortable sharing their ideas during a discussion on steel work | Week 4 |
|  | Basic Technical Drawings | Draw layout of lab showing working benches | Week 5 |
|  |  | Draw standardized symbols and conventions in technical drawings | Week 6 |
|  | Basic Numeracy Skills | Interpreting data presented in tables, charts, and graphs | Week 7 |
|  |  | If a shirt costs Rs.50 and there’s a 20% discount, calculating the discounted price of shirt | Week 8 |
|  | Maintain Steel Fixing & Erecting Tools, Equipment and Materials | Arrange steel fixing tools according to their uses. | Week 9 |
|  |  | Arrange different type of steel according to diameter. | Week10 |
|  |  | Perform practices for organizing and storing steel fixing tools and materials on-site to improve efficiency | Week11 |
|  | Perform Cutting and Bending Rebar for Simple Shapes | Prepare hooks on straight bars | Week12 |
|  |  | Prepare bent up bars | Week13 |
|  |  | Perform (4 x 4) feet steel bars fix it 6 inches c/c | Week14 |
|  | Execute the Steel Work of Foundations | Perform steel bars cutting and bending for raft foundation for 5 Marla plot | Week15 |
|  |  | Prepare steel reinforcement used in the foundation meets the specified design strength and grade. | Week16 |
|  | Execute steel work in Column for domestic building | Prepare steel with proper installation and alignment of column along with stirrups/ rings in a domestic building to 10 feet high and 15 inches square | Week17 |
|  |  | Prepare steel with proper installation and alignment of column along with stirrups/ rings in a domestic building to 10 feet breath and 12 feet length with 15 inches high. | Week18 |
|  | Execute steel work in Beams for domestic building | Prepare steel with proper installation and alignment of beams along with stirrups / rings for domestic building to 10 feet length and (12 x 12) inches in cross section. | Week19 |
|  |  | Prepare steel with proper installation and alignment of beams along with stirrups / rings for domestic building to 12 feet length and (15 x 15) inches in cross section. | Week20 |
|  | Execute steel work in Roof slabs for domestic building | Prepare steel with proper installation and alignment for slab heaving size (12 x 10) feet and thickness is 6 inches | Week21 |
|  | Execute steel work in Stairs for domestic building | Prepare steel with proper installation and alignment for stairs 3 ft wide with 40 degree angle of inclination. | Week22 |
|  | Execute steel work in Arches | Prepare steel for an arch with proper installation and alignment with 4 ft diameter and 9 inches thick. | Week23 |
|  | Final Project | Prepare steel for an arch, beam, slab and stair with proper installation and alignment as per given drawing for a domestic building. | Week24 |

TOOLS AND EQUIPMENT

The tools and equipment required for this competency standard are given below:

| Sr. No. | Items | Quantity |
| --- | --- | --- |
| 1 | Measuring Tape | 25 Nos |
| 2 | Marking Chalks/Marker etc. | 6 Boxes |
| 3 | Spanner | 25 Nos |
| 4 | Chisel | 25 Nos |
| 5 | Paper Sheet | One Rim |
| 6 | Pencil/Ballpoint | 144 Nos |
| 7 | Differnt types of hammer set | 5 sets |
| 8 | Sand paper for removing corrision | 100 Peieces |
| 9 | First aid kits | one |
| 10 | PPEs (Gloves, Goggles etc) | 25 sets |
| 11 | Rebar (Different diameters) | 100 kg |
| 12 | Binding wires | 5 kg |
| 13 | Rebar bending tools | 25 |
| 14 | Rebar bending machine | one |

Annexure-II:

# Motivational Lectures

# Game Developing

# Annexure-IV:

# Workplace/Institute Ethics Guide

Work ethic is a standard of conduct and values for job performance. The modern definition of what constitutes good work ethics often varies.  Different businesses have different expectations. Work ethic is a belief that hard work and diligence have a moral benefit and an inherent ability, virtue, or value to strengthen character and individual abilities. It is a set of values-centered on the importance of work and manifested by determination or desire to work hard.

The following ten work ethics are defined as essential for student success:

- Attendance: 
Be at work every day possible, plan your absences don’t abuse leave time. Be punctual every day.

- Character: 
Honesty is the single most important factor having a direct bearing on the final success of an individual, corporation, or product. Complete assigned tasks correctly and promptly. Look to improve your skills.

- Team Work:

The ability to get along with others including those you don’t necessarily like. The ability to carry your weight and help others who are struggling. Recognize when to speak up with an idea and when to compromise by blend ideas together.

- Appearance:
Dress for success set your best foot forward, personal hygiene, good manner, remember that the first impression of who you are can last a lifetime

- Attitude: 
Listen to suggestions and be positive, accept responsibility. If you make a mistake, admit it. Values workplace safety rules and precautions for personal and co-worker safety. Avoids unnecessary risks. Willing to learn new processes, systems, and procedures in light of changing responsibilities.

- Productivity: 
Do the work correctly, quality and timelines are prized. Get along with fellows, cooperation is the key to productivity. Help out whenever asked, do extra without being asked. Take pride in your work, do things the best you know-how. Eagerly focuses energy on accomplishing tasks, also referred to as demonstrating ownership. Takes pride in work.

- Organizational Skills:

Make an effort to improve, learn ways to better yourself. Time management; utilize time and resources to get the most out of both. Take an appropriate approach to social interactions at work. Maintains focus on work responsibilities.

- Communication: 
Written communication, being able to correctly write reports and memos.
Verbal communications, being able to communicate one on one or to a group.

- Cooperation: 
Follow institute rules and regulations, learn and follow expectations. Get along with fellows, cooperation is the key to productivity. Able to welcome and adapt to changing work situations and the application of new or different skills.

- Respect: 
Work hard, work to the best of your ability. Carry out orders, do what’s asked the first time. Show respect, accept, and acknowledge an individual’s talents and knowledge. Respects diversity in the workplace, including showing due respect for different perspectives, opinions, and suggestions.