Course / Subject Name : NQ-Civil-PHT- Public Health Technology

- MCQs (Formative Assessment)

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU-1-5 | LU-6-13 | LU-14-20 |
| Choose the Correct answer - Protected water supply imported for - Life - Children - Humans - All of these - Type of intakes are - River Intake - Canal intake - Lake intake - All of These - An intake is suitable for big projects - Sub merged Intake - Canal Intake - River Intake - Tower Intake - Conveyance of water safety in pipes according to demand is called - Plumbing - Pipe fitting - Water supply - All of these - Quantity of water per day required for cooking in litres. - 6.5 - 3.5 - 5.5 - 4.5 - Allowable quantity of chlorides in drinking water - 400 PPM - 200 PPM - 600 PPM - 800 PPM - pH Value for normal drinking water is - 0 to 05 oC - 10 to 15 oC - 15 to 20 oC - 05 to 10 oC - Turbidity of water in the field is checked by - Turbidity Meter - Tinto Meter - Mercury Meter - None of these - Quantity of fluoride in drinking water - 0.5 to 1.0 - 1.5 to 2.5 - 0.05 to 0.50 - 4.0 to 5.0 - Temporary hardness of water reduced by - Cooling - Adding Alkali - Freezing - Boiling - Alum is a - Coagulant - Flocculant - Disinfectant - Catalyst - Effective size of sand particles in top layer for slow sand filter - 0.3 – 0.45 mm - 0.4 – 0.6mm - 0.2 – 3.0 mm - 0.6 – 0.7 mm - Conventional tertiary treatment is - chlorination - Filtration - Sedimentation - chemical coagulation - Substances is capable of removing dissolved oxygen from water - Na2 SO4 - Cl2 - CaOCl2 - N2 H4 - The purest form of naturally occurring water is - rain water - river water - canal water - well water - A valve known as shut off valve - Sluice valve - Air Relief - Pressure relief - All of these - Distribution system is suitable for old towns. - Grid iron system - Ring System - Radial system - Dead end system - Domestic demand of water per capita per day is - 115 liters - 135 liters - 65 liters - 165 liters - Reservoirs are classified into types depending upon to storage - 2 - 4 - 3 - 6 - Pumping station must be constructed on - Soft Surface - Level Path - Hard Surface - Hilly path - water requirement increases when quality of water is - Normal - Good - Bad - None of these - Factor affecting per capita demand is. - Size of City - Habits - Weather - All of these - Water requirement in winter for per person in liter / day - 70 - 80 - 20 - 30 - 40 – 50 - 90 – 110 - Unit for quantity of water per capita/day is kept - Millimeters - Kg - Litres - Mili Litres - Water requirement in hot days. - Less - Increases - Decreases - Medium Key: 1; b; 2; d; 3; d; 4; c; 5; d. 6; b; 7; c; 8; a; 9; b; 10; d. 11; a; 12; c; 13; d; 14; d; 15; a. 16; a; 17; d; 18; b; 19; c; 20; c. 21; b; 22; d; 23; a; 24; c; 25; b. | Choose the Correct answer - Detention period required for a particle of water in plain settling tank. - 3-4 hours - 4-8 hours - 8-10 hours - 10-12 hours - Conventional tertiary treatment is - Chlorination - Filtration - Sedimentation - chemical coagulation - Capability of passing a certain quantity of water of settling tank is called - Efficency - Loading capacity - Detention - Period - The most suitable x-section of sewer for combined sewerage system - Circular - Egg shaped - Rectangular - Parabolic - Self-cleaning velocity in sewer is kept - 0.1 m/sec - 1 m/sec - 2.5 m/sec - 4.1 m/sec - A sewer conveying rain water is known as - Storm Sewer - Rain Sewer - Sanitary Sewer - Out fall - Basic sewage collection pattern are - 4 - 3 - 5 - 7 8. Sewage consisting of sanitary sewage and storm sewage - Separate - Mixed - combined sewage - None of these 9. The Minimum diameter in “cm” of sewer in hilly area is kept - 500 mm - 175 m - 100 - 300 mm 10. The laying of sewer is usually done by - Chainage - Boning Rod - Compass - Theodolite 11. Hydraulic mean depth of circular sewer when running full is equal to - D/8 - D/2 - D/4 - All of these 12.The layer of PCC under sewer is called - Concreting - Handling - Lowering - Bedding 13.Dry wastage is called - Storm Sewage - Sanitary sewage - Garbage - Industrial sewage 14. Catch Pit is also known as - Inlet - Man Hole - Outlet - Catch Basin 15. The structures constructed at suitable intervals along the sewerage system called - Manhole - Sewer Appurtenances - Catch Basin - Inlet 16. A hole used for flushing of sewage in sewer - Manhole - Clean out - Inlet - Outlet 17. Structure is constructed for opening of closed sewer line - Clean out - Lamp hole - Outfall - Drop Manhole 18. Appurtenance is used to clean the sewer line - Clean out - Lamp hole - Manhole - Inlet 19. Dry waste collected from houses, roads and market is called - Garbage - Sewage - Scum - Night soil 20. The pipe used for carrying human excreta - Soil pipe - Waste pipe - Vent pipe - Disposal pipe 21. Solids matters collected after sedimentation of sewage is called - Sludge - Sullage - Scum - Garbage 22. The gradient of domestic sewer 1 in 100 kept. - 500 mm - 150 mm - 750 mm - 400 mm 23. Lower bottom of sewer is called - Invert - Back bottom - Grease top - None of these 24. A sewer pipes are made of - Concrete - Bricks - PVC - All of these 25. A hole used for flushing of sewage in sewer - Manhole - Clean out - Inlet - Outlet Key: 1; b; 2; d; 3; d; 4; b; 5; b. 6; a; 7; c; 8; c; 9; c; 10; d. 11; c; 12; d; 13; c; 14; d; 15; b. 16; b; 17; a; 18; c; 19; a; 20; b. 21; a; 22; b; 23; a; 24; d; 25; b. | Choose the Correct answer - The pipe used for escape of noxious gases through sewerage is known as - Soil pipe - Waste pipe - Sewer pipe - Vent pipe 2. Major loss in pipes is - Shock Loss - Friction Loss - Entry Loss - Exit Loss 3. Multiple fittings are required for joint - Compression Joint - Weld Joint - Thread joint - Cement Joint 4. Threading are made on pipe - G.I. Pipe - C.I. Pipe - Steel Pipe - Concrete pipe 5. Mostly used pipes for HVAC Work. - Concrete - Cast Iron - Asbestos - Copper 6. Collar joint is used for - C.I. Pipe - Asbestos Pipe - Lead Pipe - All of these 7. Joints used for turbines - Flanged - Welded - Threaded - Brazed 8. W.C Stands for - Water Cleaning - Water Closet - Water Cup - Water Cap 9. High level Flushing cistern is installed at - 3 ft - 4 ft - 5 ft - 6 ft 10. P - Traps are used to prevent - Urine - Water - Garbage - Bad smell 11. Types of Wash Basins are according to design - 5 - 7 - 8 - 6 12. Trap used to retain petrol and oil from waste pipe - P-Trap - S-Trap - Q-Trap - None of these 13. Sink is installed in - Toilet - Lavatory - Kitchen - None of these 14. Components for Faucets are - Spout - Handle - Lift Rod - All of these 15. Basic classification of Tap is - 06 - 05 - 07 - 09 16. Component of Valve is - Bonnet - Disc - Ste - All of these 17.Fitting used to joint pipe in straight direction - Tee - Elbow - Socket - Bend 18. Side pillar cock is used for - Flushing Cistern - Wash hand basin - Shower - Urinal 19. Pipe fitting having inside and outside threading to connect two different dia of pipes - Bush - Union - Bend - Nipple 20. Commonly used pump is - Gas pump - Axially flow pump - Rotary Pump - All of these 21. Booster pumps is used for - Boost pressure - Higher pressure - Low pressure - Maintain Flow 22.Pumping station must be constructed on - Soft Surface - Level Path - Hard Surface - Hilly path 23. An apparatus for raising fluids level - Compressor - Plunger - Piston - Pump 24. Distribution system is suitable for old towns. - Grid iron system - Ring System - Radial system - Dead end system 25. Inspection of fire hydrant should be - Annually - Monthly - Daily - Weekly Key: 1; d; 2; b; 3; a; 4; a; 5; d. 6; d; 7; a; 8; b; 9; d; 10; d. 11; d; 12; d; 13; c; 14; d; 15; c. 16; d; 17; c; 18; b; 19; a; 20; b. 21; a; 22; c; 23; d; 24; d; 25; a. |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU1-5 | LU 6-13 | LU14-20 |
| - Enlist part of Intake - Enlist the type of intakes - What is portable intake - Enlist chemical test for drinking water - Enlist biological test for drinking water - Enlist physical test for drinking water - Differentiate between FTU and NTU - Differentiate between Filter and Filter Media. - Enlist types of settling tanks based on functions. - Enlist methods of water disinfection. - Differentiate between slow sand and rapid sand filters. - Enlist methods of water disinfection - What is Water distribution Network? - Enlist type water distribution system in different areas. - What is the function of distribution system? - Differentiate between check valve & ball valve. - Differentiate between water supply and development of water supply - Enlist water requirement for domestic purposes - Enlist water demand classification - Enlist variation in demand for water - Enlist Population forecasting methods | - Name Four types of coagulants - Differentiate between aerobic and anaerobic bacteria. - Enlist water treatment steps - Enlist types of different sewers - Enlist different type of sewer according to x-section. - Enlist different type of Pattern to Collect Storm & Sanitary Sewage. - Enlist part of sewer - Enlist advantages of separate sewerage system - Enlist steps for sewer layout. - Define alignment of manholes. - Enlist type of sewer joints - What is meant by center line of sewer? - Enlist factors affecting on the alignment of sewer - Enlist bedding steps for sewers - Enlist type of Manhole - What is meant by sewer appurtenances. - Differentiate between trestle and piers. - Comprise between drop manhole and lamp hole - Differentiate between garbage and sewage - Enlist collection of disposal system. - What is meant by sanitry engineering? - Enlist different materials for sewers - Enlist setting out sewer elements - Enlist methods to test the sewer line - Comprise between mechanical and flange joint | - What is meant by G.I. Pipes? - Enlist types of joints - Differentiate between pipe & conduit - Differentiate between threaded and welded joint - Enlist factors for selection of pipes - Enlist types of pipes according to material. - What is meant by plumping? - Enlist type of flushing cistern - Enlist Part of flushing cistern - Differentiate between gully & bottle trap. - Enlist part of traps. - What is meant by plumbing fixtures - State the two uses of pipe reamer - Enlist plumbing fittings - Differentiate between valve and tap - Enlist mixer types - Differentiate between cross & cross over - Enlist classification of safety valve - Differentiate between Elbow and Bend - Differentiate between pump & pumping station. - Differentiate between water meter and pressure gauge. - Enlist part of pumping station. - Enlist components of water distribution system. - Differentiate between Sluice Valves or Gate Valves. - Enlist classification of reservoir according to shape |

- Assessment Tasks

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU1-5 | LU 6-13 | LU14-20 |
| Assessment Task-1 Perform test for determination of water quality for given parameters i.e. Color,Odour,pH,TDS,Turbidity and Hardness Performace Criteria - Identify national / international guide lines of quality standards of water - Identify equipment for physical tests of water - Perform colour / odour /pH/TDS turbidity / and hardness tests on sample of water - Prepare report and analyse the results. | Assessment Task-1 Design an R.C.C circular sanitary sewer for a town with the following data: Population of town = 75000 persons Rate of water supply = 125 lpcd Peak factor = 3 Velocity of sewage flow = 1 m/sec Assume 80% of water supply as a sewage flow Naote:Assume suitable data if part any missing Performance Criteria - Identify type of area - Determine population - Calculate rate of water supply - Assess ground water infiltration - Calculate quantity of sanitary sewage - Identify intensity and duration of rainfall in period specified - Identify shape and slope of catchment area - Identify nature of soil - Identify number of available ditches in area - Calculate area drained - Estimate storm water by aprropriate formulae - Calculate total sewage - Determine size of sewer | Assessment Task-1 Identify different pipe and pipe fitting,plumbing fixtureand fixtures fittings and Install plumbing fixtures in a approprite time (One of the given below) Performance Criteria - Identify and interpret drawings of fixtures. - Identify tools and equipment required for installation of fixtures. - Perform measurements and mark out Installation point - Identify suitable pipe according to material - Identify and select materials for task and tools and equipment for task - Attach cold Pipe with fittings and hot Pipe with Geyser and fittings - Locate cross over properly and locate drainage pipes - Fix Pedestal and Install wash hand basin |