National Competency Standards for Level 5 DAE Civil Technology

Competency Standards

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

Contents

1. Introduction	3

2. Purpose of the Qualification	3

4 Date of Qualification Development	4

6. Members of Qualifications Development Committee	5

7. Members of Qualifications Validation Committee	6

1st Year DAE Civil Technology	7

DAE in Civil Technology	8

Civil-124 Civil Engineering Surveying-I	8

Civil- 103 Civil Engineering Drawing-I	16

Civil- 153 Civil Engineering Materials & Building Construction	23

Civil- 121 Computer Applications	37

Shop- 132 Engineering Workshop Practice	42

2nd Year DAE Civil Technology	54

Gen- 221 Communication Skills & Report Writing	55

Civil-PHT-203 Public Health Technology	59

Civil- 204 Civil Engineering Surveying - II	75

Civil- 273 Construction Techniques	82

Civil- 283 Quantity Surveying	101

Civil- 293 Civil Engineering Drawing - II	108

Civil-EM- 263 Engineering Mechanics	117

Civil- 212 Health Safety & Environment	127

3rd Year DAE Civil Technology	133

Civil- 313 Advanced Quantity Surveying	134

Civil-304 Construction of Project Planning and Management	141

MGM- 341 Entrepreneurial Skill	151

Civil- 324 Hydraulics and Irrigation Engineering	155

Civil- 333 Transportation Engineering	163

Civil- 374 RCC Design and Concrete Technology	174

Civil- 393 Soil Mechanics and Foundation Engineering	183

List of Tools& Equipment	191

List of Consumable	197

# 1. Introduction

Civil engineering is considered as the first discipline of the various branches of engineering after military engineering, and includes the designing, planning, construction, and maintenance of the infrastructure. The works include roads, bridges, buildings, dams, canals, water supply and numerous other facilities that affect the life of human beings. Civil engineering is intimately associated with the private and public sectors, including the individual homeowners and international enterprises. It is one of the oldest engineering professions, and ancient engineering achievements due to civil engineering include the pyramids of Egypt and road systems developed by the Romans.

Civil engineering has a significant role in the life of every human being, though one may not truly sense its importance in our daily routine. The function of civil engineering commences with the start of the day when we take a shower, since the water is delivered through a water supply system including a well-designed network of pipes, water treatment plant and other numerous associated services. The network of roads on which we drive while proceeding to school or work, the huge structural bridges we come across and the tall buildings where we work, all have been designed and constructed by civil engineers. Even the benefits of electricity we use are available to us through the contribution of civil engineers who constructed the towers for the transmission lines. In fact, no sphere of life may be identified that does not include the contribution of civil engineering. Thus, the importance of civil engineering may be determined according to its usefulness in our daily life. Therefore, industry expectations for skilled workforce are also dynamic which can only be managed through setting relevant competency standards in collaboration with the leading industries. Being cognizant of this fact, National Vocational & Technical Training Commission (NAVTTC) developed competency standards for Civil Technology under National Vocational Qualifications Framework (NVQF). These competency standards have been developed by a Qualifications Development Committee (QDC) and validated by the Qualifications Validation Committee (QVC) having representation from the leading Construction, Real States & Builder industry of the country.

# 2. Purpose of the Qualification

The purpose of this qualifications is to set high professional standards for civil technology sector. The specific objectives of developing these qualifications are as under:

- Improve the professional competence of the trainees

- Provide opportunities for recognition of skills attained through non-formal or informal pathways

- Improve the quality and effectiveness of training and assessment for civil technology industry

- Enable the existing workforce to capacitate themselves in new technologies and methods

# 4 Date of Qualification Development

National Competency Standards on Civil Technology has been developed by the Qualifications Development Committee (QDC) members on 5-9 Aug 2024and will remain in currency until April, 2027

# 6. Members of Qualifications Development Committee

The following members participated in the qualification’s development and validation of these qualifications:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Saif-ullah | Lecturer | Kohat |
| 2 | Mr. Rizwan Shahid | Instructor | NU-TECH, Islamabad |
| 3 | Mr. Shakeel Ahmed | Lecturer | KP-TEVTA, Timergara |
| 4 | Mr. Mohsin Jahanzeb | Instructor | P-TEVTA, Faisalabad |
| 5 | Mr. Muhammad Rashid | Instructor | P-TEVTA, Multan |
| 6 | Mr. Syed Shahzeb Iftikhar | Instructor | P-TEVTA, Sialkot |
| 7 | Mr. Abdul Rashid | Professor | Peshawar |
| 8 | Mr. Izhar-ul-Haq | Sr. Instructor | Bahawalpur |
| 9 | Mr. Adeel Khan | Asst. professor | KP-TEVTA, Peshawar |
| 10 | Mr. Ajaz Sadiq | Sr. Instructor | AJK-TEVTA, Rawalkot |
| 11 | Mr. Azhar Iqbal Shad | DACUM Facilitator | Lahore |
| 12 | Mr. Khurram Shahzad | AP | KP-TEVTA, Abbottabad |
| 13 | Mr. Nadeem Warsi | Instructor | Karachi |
| 14 | Mr. Ihsan ullah Shah | Instructor | UOH, Haripur |
| 15 | Mr. Muhammad Abdul Moeez | Co-DACUM | Lahore |
| 16 | Mr. Ahmad Husnain | Engineer | UNION Developers, Lahore |
| 17 | Mr. Muhammad Abbas | Project manager | Symbolic Solutions, Jhelum |
| 18 | Mr. Abdul Basit Mansoor | Co-DACUM | Gujranwala |
| 19 | Mr. Saeed Ahmed | Lecturer | UVAS, Pattoki |
| 20 | Mr. Khalil ur Rehman | Asst. Professor | Balochistan |
| 21 | Mr. Mahmood Tabbo | Executive | ABAD, Karachi |
| 22 | Mr. Suleman Saleem | Engineer | ABAD, Karachi |
| 23 | Mr. Ali Ejaz | SDO | Wapda, Lahore |
| 24 | Mr. Amjad Rafique | Chief Instructor | Lahore |
| 25 | Mr. Inam-Ul-Haq | Instructor | Islamabad |
| 26 | Syed Salman Nasir Ali Shah | Lead DACUM/ Director | P-TEVTA, Lahore |
| 27 | Muhammad Aasim | Deputy Director | NAVTTC |
| 28 | Muhammad Ishaq | Deputy Director | NAVTTC |
| 29 | Umar Siddiq Baba | Advisor Qualification Development | GIZTVETSSP |
| 30 | Sabeel A. Kiani | Advisor Qualification Development | GIZTVETSSP |

# 7. Members of Qualifications Validation Committee

The following members participated in the qualification development and validation of these qualifications:

| S# | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1 | Mr. Azhar Iqbal Shad | DACUM Facilitator | Lahore |
| 2 | Mr. Abdul Basit Mansoor | Co-DACUM | Gujranwala |
| 3 | Mr. Mohsin Jahanzeb | Instructor | P-TEVTA, Faisalabad |
| 4 | Mr. Syed Shahzeb Iftikhar | Instructor | P-TEVTA, Sialkot |

# 1st Year DAE Civil Technology

# DAE in Civil Technology

### Civil-124 Civil Engineering Surveying-I

Overview: The competency standard describes skills and knowledge required to measure distance, perform levelling and contouring and use theodolite for traversing. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Measure linear distances | - Select start and end points of line. - Identify and select appropriate tool to be used for measurement. - Range line for measurement according to SOP - Take measurements by measuring tape - Apply taping corrections to measurements, if required - Measure distance by EDM according to instruction manual of EDM |
| - Perform Simple Levelling | - Identify leveling instrument and leveling staffs - Identify temporary Bench Mark - Perform temporary adjustment of level - Take B.S on Bench mark - Determine height of instrument - Record BS& FS in field book - Calculate Reduced Levels by height of instrument and rise & fall method |
| - Perform fly levelling | - Select appropriate level and staff - Perform temporary Adjustment of level - Take readings on given Bench Mark with staff - Calculate height of instrument - Record BS, IS & FS in Field Book - Calculate Reduced Levels - Apply arithmetic check |
| - Perform Reciprocal Levelling | - Select appropriate level and staff - Mark two reciprocal points X and Y - Perform temporary Adjustment near X point. - Observe staff readings on both points X and Y - Perform temporary Adjustment near Y points - Observe staff readings on both points X and Y - Calculate difference of both pair of staff’s readings. - Compare RL’s of both points - Compute elevation |
| - Perform Profile Levelling & Cross Sectioning | - Adjust Level at given point - Locate temporary bench mark. - Observe first reading on BM, and staff at given point of center line - Take readings at every specified interval of existing track (Longitudinally) - Observe staff reading on specific interval starting from center line to right & left sides and record in field book - Continue staff readings on every RD of specified interval with same pattern (center, Left & Right) of given line - Calculate Reduced Levels - Compile data obtained from cross sectioning and long sectioning - Fix drawing sheet on drawing table - Draw cross section and long section |
| - Perform contouring | - Identify and selectinstruments for contouring - Perform temporary adjustment of levelling instrument - Locate pointsof specified contour levels - Draw radial Lines for direct method / squares for indirect method - Draw contour lines on drawing sheet as drawn on earth and mention their levels according to given scale - Recheck calculations |
| - Compute Volume by Contouring | - Identify contouring data for computation of volume - Find out area of each contour - Apply Average End Area (trapezoidal) Method / prismoidal formula to find out volume between two contours - Sum up volume in tabular forms for all contours |
| - Measure bearings with Prismatic& surveyor Compass | - Identify compass and tripod stand - Perform temporary adjustment of compass - Measure and record F.B of line - Measure and record back bearing of line |
| - Measure Angles by Theodolite | - Identify equipment and station points - Perform temporary adjustment of theodolite at selected station points - Measure angle between two lines by repetition method - Measure angle between two lines by repetition method with inverted face - Calculate mean angle by observed readings - Measure horizon angles by reiteration method by both faces - Adjust error according to standard procedure - Set theodolite for vertical angle measurement - Measure and record vertical angle |
| - Perform Trigonometric Levelling by Theodolite | - Mark station pointsfor accessible and inaccessible base point - Perform temporary adjustment oftheodolite on selectedstation point - Set theodolite for vertical angle measurement - Take reading on bench mark - Measure and recordvertical angle of point for elevation - Measure horizontal distances by stadia method/tape from station according to requirement - Calculate elevation of point by trigonometry. |
| - Perform Traversing by Theodolite | - Mark station points to cover given area - Perform temporary adjustment oftheodolite on startingpoint of traverse - Measurebearing of first line - Measurehorizontal internal / external angle between all lines by shifting theodolite on each station - Measure distances between station points - Compute bearings of each line using internal / external angles - Plot traverse on drawing sheet by graphical method - Perform adjustment for closing error |
| - Measure inaccesible line using triangulation | - Carry out reconnaissance of area - Mark stations according to requirement - Measure base line according to standard procedure by applying necessary corrections - Measure required angles by theodolite - Calculate length of line using triangulation |

Knowledge &Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define Surveying.

- State the purpose of surveying

- State the divisions (plane, geodetic)

- State classes of survey (Preliminary survey, control survey, layout survey)

- State classification of surveying based on function of survey and type of instrument used including Chain & Compass Surveying, Control surveying, Land surveying, Topographic Surveying, Engineering Surveys, Cadastral Surveys.

- Explain instruments used in surveying

- State the fundamental principles of surveying

- State units of measurement

- Differentiate between accuracy and precision

- State distance measurement (horizontal, vertical and slope distance)

- State distance measuring techniques (direct and indirect)

- Explain procedure of ranging

- State chains used in survey in 18th  and 19th  centuries

- State taping, types of taping and accessories used in distance measurement with tapes for accurate measurement.

- Explain taping correction along with computations

- Explain the electronic distance measurement briefly

- Enlist the steps in measurement of base line

- Describe offsets and its types

- Define levelling and describe the purpose of levelling.

- Define technical terms, level line, level surface, datum, datum line, horizontal plane, vertical plane, Horizontal line, vertical line, level line, line of collimation, Axis of telescope, bubble tube axes, back sight, foresight, Intermediate sight, change point, station point.

- Describe bench mark and its types.

- Identify the parts and function of various types of tilting levels, Auto set level and digital level

- Explain with sketches levelling staves and their uses.

- List the steps involved in performing temporary adjustment of a level.

- Compute the reduced levels by rise & fall method and height of instrument method and recording the same on level book.

- Determine the missing data of a level book page.

- Define fly levelling, Longitudinal sectioning, cross-sectioning, reciprocal levelling, precise levelling, Barometric levelling.

- State precautions in levelling operation.

- Describe the procedures for taking readings to plot L-section x-section, and for reciprocal levelling precise levelling etc.

- Plot X-section and L-section

- Solve numerical problem on reciprocal levelling

- Describe errors in levelling

- Compute correction due to curvature and refraction

- Describe parts and functions of Laser Level

- Explain the procedure of levelling by use of Laser Level.

- Define the terms relating to contouring and explain characteristics and the purpose of contouring

- Explain the uses of contour map.

- Explain the methods of performing contour survey.

- Interpolate contours on a plan.

- Explain the procedure to lay down alignment of road, railway and channel on contour map and describe procedure for measuring gradient.

- Compute the capacity of reservoirs and volume of earth from the contour map.

- Define the terms horizontal angle and vertical angle

- Define meridian and state its types

- Define azimuths and bearings

- Describe types of bearing based on direction and quadrants

- Solve problems relating to bearings

- State compass, its types, its parts and explain reading from it.

- Define theodolite, sketch & label theodolite and list the types of theodolites

- Define the terms; centring, transiting, face left, Face right, swinging the telescope, axis of level tube, horizontal & vertical axis

- Explain the procedure of temporary adjustment of a theodolites

- Explain the procedure of measuring horizontal & vertical angles.

- Explain the procedure of setting out an angle and prolonging a line

- Explain the procedure of fixing inter-mediate points between two given points

- Explain procedure of measuring distance by stadia formula

- Explain measurement of line through obstacle using triangulation

- Define the traverse and types of traverses

- State the standards of accuracy in linear and angular measurement.

- Checks on open and closed traverse

- Explain various methods of traversing and enlist steps involved in traversing

- Compute the bearings from angles & vice versa of traverse.

- Explain the method of plotting traverse and adjustment of closing error.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measure base line by tape and apply tapping corrections

- Calculate earth work by taking longitudinal section and cross section of a 1/2 mile long route.

- Compute volume of reservoir by contouring.

- Plot and adjust closing error of closed traverse using theodolite

- Measure the height of building or tower by theodolite

Tools and Equipment’s

| S.No | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Calculator | 10 |
| 2 | Measuring scale | 50 |
| 3 | Measuring Tape | 10 |
| 4 | Compass with tripod | 10 |
| 5 | Cross Staff | 10 |
| 7 | Ranging Rods | 50 |
| 8 | Pegs | 50 |
| 9 | Arrows | 50 |
| 10 | Level with tripod | 10 |
| 11 | Levelling staff (Metric / FPS) | 10 |
| 12 | Thermometer | 10 |
| 13 | Ball peen hammer | 10 |
| 14 | Umbrella with stand | 10 |
| 15 | Tee scale, | 50 |
| 16 | Set square | 50 |
| 17 | Drawing table with tripod | 50 |
| 18 | Theodolite with tripod | 10 |
| 19 | Mallet | 10 |

Consumable items

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Pencil | 50 |
| 2 | Eraser | 50 |
| 3 | Sharpner | 50 |
| 4 | Drawing sheet | 50 |
| 5 | White Chalk/powder | 20 kg 5 bags |
| 6 | Scotch Tape | 50 |
| 7 | Field Book, | 50 |
| 8 | Drawing Sheet | 50 |
| 9 | Thread (Dori) | 10 |
| 10 | Rough Copys | 50 |

### Civil- 103 Civil Engineering Drawing-I

Overview: The competency standard describes skills and knowledge required to perform lettering and draw orthographic views, cross sections and layout of a building along with title block. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare template of title block/strip & draw types of lines | - Identify instruments for engineering drawing. - Select instruments for fixing of drawing sheet on drawing board - Select Instruments for horizontal / vertical / inclined lines. - Identify drawing sheets - Draw margins as per local standard. - Draw title strip on imperial / half imperial size sheet. - Draw lines used in construction drawings. - Identify grades of pencils |
| - Perform lettering | - Draw single stroke letters as per given ratio on drawing sheet. - Draw double stroke letters as per given ratio on drawing sheet. - Draw italic letters on graph sheet. - Draw gothic letters on drawing sheet. |
| - Construct scales for drawing | - Draw plain scale for RF = 1:5 & 1:20 on a drawing sheet. - Draw plain scale for RF = 1:6 & 1:48 on a drawing sheet. - Draw diagonal scale for RF = 1:50 on a drawing sheet. - Draw diagonal scale for RF = 1:500 on a drawing sheet. |
| - Draw geometrical figures | - Draw equilateral triangle of side length 2” on a drawing sheet. - Draw isosceles triangle with base 5 cm and height= 6cm on a drawing sheet. - Draw scalene triangle of lengths 2”, 1.5”, 1” on a drawing sheet. - Draw acute, right and obtuse angled triangles on a drawing sheet. - Draw a regular pentagon of side length = 4 cm on a drawing sheet. - Draw hexagon inscribes in a circle and circumscribed about a circle of 3 inches diameter on a drawing sheet. - Draw circle, semi-circle, segment of circle, sector of circle & zone of circle of diameter 1.5 inch and 3.5 inch on a drawing sheet. - Draw square of side length 2”and 4.5 “on a drawing sheet. - Draw rectangle with length 5 cm and width= 3cm on a drawing sheet. - Draw rhombus of side length=2 cm & internal angle= 45° on a drawing sheet. - Draw parallelogram of length 6 cm, width= 3 cm having internal angle= 45° on a drawing sheet. - Draw trapezoid of parallel sides’ length 4 cm & 6cm spaced at a distance of 3 cm on a drawing sheet. - Draw trapezium of side lengths 5 cm, 4 cm, 6 cm & 3 cm on a drawing sheet. - Draw conic section resulting in a circle, ellipse, parabola & hyperbola on a drawing sheet. - Draw ellipse by four centre, basic & parallelogram methods on a drawing sheet. |
| - Construct orthographic projections | - Draw front, top and side views of Vee-block in first / third angle projection system - Draw front, top and side views of hollow concrete block in first / third angle projection system - Draw front, top and side views of wooden cut block in first / third angle projection system - Complete missing views using two given views on a drawing sheet |
| - Draw sections of objects | - Prepare drawing sheet of full section, half section, broken out sections, offset sections, revolved sections and removed sections. - Draw conventional section representation of materials / pipes / rectangular/ square /angle /channel / rolled sections. - Draw orthographic sectional views of different objects. |
| - Label dimensioning on drawings | - Draw uni-directional / bi-directional dimensioning of given drawing. - Draw base line dimensioning of given drawing. - Draw continuous dimensioning of given drawing. - Draw location dimensioning / mark centre of holes. |
| - Draw pictorial drawings | - Draw isometric view of a cube having circular hole in its focus. - Draw isometric view of R.C.C. stairs-First three steps. - Draw isometric view of slotted block and different wooden blocks from there given principal views. - Draw Isometric view of orthographic projections of hollow concrete block. - Prepare an oblique drawing of a cube / wooden blocks. - Prepare perspective drawing of slotted block / wooden blocks. |
| - Draw auxiliary views | - Draw auxiliary views for inclined face. - Draw auxiliary views for oblique face. - Draw combined / standard / partial views. |
| - Draw symbols of engineering drawings | - Draw symbols of engineering materials used in engineering drawing. - Draw symbols of building components used in engineering drawing. - Draw symbols of electrical installations used in engineering drawing. - Draw symbols of water supply and gas installations used in engineering drawing. - Draw symbols of sanitary installations used in engineering drawing. |
| - Prepare cross-section of building wall | - Draw Cross section of 9” thick wall / 13.5” Thick wall. - Draw Cross section of 20 cm thick wall / 30 cm Thick wall. - Draw parts of flooring as per given drawing. - Draw Parts of roofing as per given drawing. - Draw cross section of 13.5” thick wall in isometric view. |
| - Prepare Building Drawings | - Identify different features - given drawing of an existing building. - Prepare drawings for single room 14’ x 12’ having wall thickness 9”. - Prepare drawings for two roomed quarter along with bath, kitchen, veranda, courtyard. (Plan, Elevation and section) - Prepare drawings for C-type residence. (Plan, Elevation and section) - Prepare Submission drawing for C-type residence of plot size 25‘x50’. |
| - Perform House Planning | - Prepare drawing of building according to given location / site. - Prepare artificial ventilation plan of a building. |
| - Prepare layout drawing for Building Services | - Identify drawing for building services. - Prepare detailed plan of water supply installations for “A” class bath - Prepare detailed plan of sanitary installations for “A” class bath - Prepare detailed plan of water supply, gas & sanitary installations for A class kitchen - Prepare detailed plan of water supply gas & sanitary installations for C type residence - Prepare plan of electrical installations & Circuit diagram for C type residence |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- State the importance of civil drafting as an engineering communication medium.

- Understand necessity of civil drafting in different engineering fields.

- Indicate the link between drafting and other subjects of study in diploma course.

- Describe the health and safety considerations involved in construction drawings.

- Identify standard drawing sheet sizes.

- Identify and state the use of the various types of drawing equipment along with sizes.

- Explain the different types of lines and arrowheads used in drawings.

- Explain the weight of lines, grades of pencils.

- State the components of Title Block and Title Strip.

- Explain the procedure of division of lines, space distribution of sheet.

- Explain principle of parallel lines and preparation of graph.

- State importance of lettering.

- State the need and different types of lettering.

- Describe different uses of lettering stencils for a given application.

- State the principles of lettering.

- Define scale, Scale Factor and R.F.

- State the types of scales- Reducing scales, enlarging scales, full scale.

- Describe plane scales and diagonal scales.

- Describe the open-ended scale and full divided scales

- Explain the procedure of constructing plane scales.

- Explain the procedure of constructing diagonal scales.

- Describe the procedure for the construction of angles.

- Describe different types of triangles, quadrilaterals and polygons.

- State difference between inscribed and circumscribed figures.

- State the terms used in a circle.

- Define ellipse and parabola

- State cone, conical sections, (circle, parabola, ellipse and hyperbola).

- Explain conical sections in civil engineering drawings.

- Explain sectional views, its types and purpose

- Explain conventional representation of engineering materials.

- Know rule of putting arrowhead on cutting plane line.

- Define Dimensioning and its types

- State the types of pictorial drawings and their general uses.

- Differentiate between the isometric and non-isometric lines.

- Explain the angle of receding axis.

- State the oblique drawing and its uses.

- Define perspective drawing.

- Explain the purpose of perspective drawing.

- State the principles of making perspective views.

- Define auxiliary views.

- Define conventional symbols and give its importance.

- Understand symbols of Engineering materials (electrical, sanitary and components of a building)

- State the different types of building drawings.

- Describe the different rooms in residential and commercial buildings

- Define site plan, line, detailed, layout, index, foundation plans, elevations & sections.

- Explain the procedure for preparing plans, elevations and sections for single and double storey buildings.

- Explain schedule of openings and schedule of area

- State the necessity of house planning

- State the factors, which govern the selection of site for building

- Define orientation and ventilation.

- State the minimum area of the building openings for ventilation.

- Describe the positions of openings in building

- Describe materials for building structures

- State building bye laws of different national agencies i.e., CDA, LDA

- Define building services.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to competent in this competency standard.

- Draw different types of lines used in construction drawing / title block on a drawing sheet.

- Prepare a drawing sheet of triangles, quadrilaterals, polygon and ellipse.

- Draw top, front, sides and sectional views of hallow concrete block using first / third angles of orthographic projection systems / create isometric view / Oblique view.

- Draw submission drawing for a double storey C-type residence of plot size 25’ x 50’.

Tools and Equipment’s

| S.No | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Drawing board with stand | 50 |
| 2 | T square | 50 |
| 3 | Pair of Set squares | 50 |
| 4 | Drawing Box (Compasses, divider, protractor, rule) | 50 |
| 5 | Sharpener/ Sand paper | 50 |
| 7 | Hand kerchief | 50 |
| 8 | French Curves | 50 |

Consumable items

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Drawing sheet | 50 |
| 2 | Eraser | 50 |
| 3 | Pencils HB, H, 2H, 3H | 50 each |
| 4 | Scotch tape | 10 |
| 5 | Thumb Pins | 10 box |
| 6 | Duster | 50 |

### Civil- 153 Civil Engineering Materials & Building Construction

Overview: This competency standard covers the skills and knowledge required to determine quality of engineering and building construction materials, preparation of different building elements and finishing of construction material surfaces.  Your underpinning knowledge will be sufficient to provide you the basis for your work

| Competency Units | Performance Criteria |
| --- | --- |
| - Determine quality of bricks/tuff tiles/concrete blocks | - Identify Materials for test - Select sample bricks / tuff tiles / concrete blocks. - Perform dimension tolerance test for bricks. - Perform water absorption test for bricks. - Perform efflorescence test for bricks. - Perform compressive strength test for bricks / tuff tiles / concrete blocks. - Prepare and submit report. |
| - Dress Stone for Masonary | - Identify and Select stone for dressing. - Select correct method of dressing - Identify tools for dressing as per method selected - Perform dressing / combing according to standard procedure - Polish dressed stone. |
| - Determine quality of aggregates | - Identify aggregates for testing. - Prepare sample for testing. - Identify tools and equipment for tests. - Classify aggregates by sieve analysis. - Determine clay percentage in sand. - Determine bulk density and voids in aggregates. - Determine water absorption of aggregates. - Determine specific gravity of aggregates - Prepare and submit report. |
| - Determine quality of cement | - Identify cement for testing. - Prepare sample for testing of cement. - Identify tools and equipment for cement tests. - Identify and use PPE’s - Set tools for fineness test. - Determine fineness of cement. - Set apparatus for standard consistency test of cement. - Determine standard consistency of cement paste. - Determine initial and final setting time of cement. - Set apparatus for soundness test - Determine soundness of cement - Prepare and submit report for quality of cement. |
| - Prepare cement mortar | - Select materials for mortar. - Sieve materials on standard sieve. - Prepare non-porous platform / select metal tray for mixing. - Identify ratio of mortar. - Batch required quantities of materials. - Prepare mortar. |
| - Perform concreting operations. | - Identify ratio for concrete. - Prepare ingredients for concreting. - Identify correct method of mixing - Prepare non-porous platform for hand mixing. - Select method of batching. - Batch and mix ingredients of concrete according to specified ratio - Select method of transportation of concrete according to nature of work. - Transport concrete for placing. - Place / lay concrete in formwork. - Identify and select method of compacting concrete. - Compact concrete - Identify and select methods of finishing concrete. - Finish concrete. - Identify and select methods of curing - Cure concrete for specified duration or requirement. |
| - Perform seasoning of wood | - Identify method of seasoning - Arrange timber stacks for air seasoning - Select kiln for timber seasoning - Arrange scantlings in kiln - Circulate hot air as per specification - Place logs as per specifications in water for water seasoning. - Place end electrodes at specified place of log for electric seasoning - Prepare chemical solution for chemical seasoning as per specifications - Apply solution to wooden logs |
| - Dimension shallow foundations | - Identify shallow / deep foundations - Prepare a drawing for sketches of deep and shallow foundations - Calculate dimensions of shallow foundations by thumb rule |
| - Perform Masonry work | - Calculate material quantity in accordance with specifications. - Identify, select and check bricks/blocks for conformity with specifications. - Develop work platform in accordance with workplace requirements. - Identify location and structural details of brickwork/ blockwork from plans. - Set out base brickwork construction, below and above floor to location, dimensions and specifications. - Lay DPC - Position and correctly fix wall ties to framework as per specifications. - Construct openings and install flashings. - Keep cavities clear of mortar droppings and bridging. - Install lintels as per requirement. - Construct top brickwork/blockwork to eaves/gable/ ceiling level in accordance with standards. - Build walls to gauge straight and true in plumb, line and level within standards tolerance. - Form control joints in accordance with locations on job drawings and specifications - Brush down brickwork/block work prior to drying to remove unwanted mortar and face is cleaned. - Remove excess mortar from brick/blockwork surfaces and clean cavities free of mortar and debris. - Clean work area, and waste disposed of, reused or recycled in accordance with work specifications - Use PPEs as per requirement |
| - Apply damp proof course | - Identify material for DPC - Identify ratio of concrete for DPC - Prepare surfaces as per job requirement following standard procedure - Set shuttering for laying DPC. - Prepare concrete for DPC on a uniform non-porous platform. - Place concrete in formwork and finish. - Cure DPC concrete. - Clean surface with brush after required curing. - Lay bitumen and apply polythene sheet on concrete surface as per specification. |
| - Construct plinth and grade beam | - Identify place / level of wall for plinth beam - Calculate material required for beam - Fix formwork as per requirement - Identify and place reinforcement bars and stirrups as per specification / design - Prepare and lay concrete in form work as per specification - Cure beam as per requirement - Select isolated footings for grade beam - Fix formwork as required - Identify and place reinforcement bars and stirrups as per specification / design - Prepare and lay concrete in form work as per specification - Cure beam as per requirement |
| - Construct lintels | - Identify place of lintel - Mark end bearings of lintel on both sides - Lay bed mortar - Place reinforcement / reinforcement bar with stirrups as per specification - Place form work - Prepare and place concrete - Compact and cure before further masonry |
| - Perform arch construction | - Identify and mark place for arch - Prepare skewback for arch - Identify and select type of centering i. e. brick, wooden or metal - Fix wedges between props and rib for wooden centering - Prepare brick centering with dry bricks as per shape of arch - Perform masonry for brick arch - Prepare a sand box with plug for striking |
| - Perform floor work. | - Identify area for flooring - Clear surface form debris. - Compact surface and level it. - Prepare subgrade, base / bedding course for flooring - Identify material for concrete floor - Identify tools required - Select and use PPE as per job requirements. - Prepare concrete floor as per specifications - Perform curing - Calculate tiles required for tile flooring - Prepare surface and lay tiles. - Identify quantities for mosaic flooring - Prepare material and prepare floor - Cure and scoop floor for finishing - Identify marble / granite stone for flooring - Prepare base surface - Lay marble stone and fill groves - Cure for finishing. |
| - Install doors and windows | - Identify door / window for installation - Identify location for door / window fixing - Make prime coat on door and window - Make coat of bitumen on face of door / window toward wall - Fix hold fast with frame - Position door / window vertically in wall with poles - Check verticality with plumb bob - Lay bricks on both sides of door - Fix hold fast with concrete. |
| - Perfrom plastering and pointing | - Identify tools for plastering / pointing. - Prepare mortar for plastering / pointing - Identify double / triple coats of plastering. - Prepare surface for plastering / pointing. - Apply rendering / floating coat. - Prepare screeds for plastering - Plaster surface between screeds. - Cure plastered surface as per specifications. - Rack and prepare surface for pointing. - Identify tools for pointing - Select method of pointing - Perform pointing. - Cure surface. |
| - Select roofs for plain / hilly areas | - Identify type of roof - Select roof for specific area as per requirement - Select roof for industries as required - Prepare a drawing of sketches for different roofs |
| - Perform white washing / distempering on surfaces | - Identify surfaces for white washing / distempering - Prepare surface for white washing / distempering - Prepare solution for white washing / distempering - Identify tools / brushes for white washing / distempering - Identify and wear PPE’s - Identify surface for graffito / rock wall finishing - Prepare material for finishing - Perform graffito / rock wall finishing |
| - Paint wooden and metal surfaces | - Identify tools and surface for painting - Prepare metal surface for painting - Prepare paint as per specification - Apply paint on prepared surface - Remove stains for old surface before painting - Apply paint on old surface - Prepare wooden surface for painting by treating knots - Prepare paint - Perform priming, stooping and filling of surface - Apply succeeding and final coats as per specification - Remove stains for old surface before painting - Apply paint on old surface |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge to:

  - Introduction of bricks, tiles and blocks and describe their evolution

  - Describe the manufacturing schematic diagram of building clay products

  - Explain the classification and characteristics of bricks & tiles with their uses

  - Explain the types and characteristics of construction blocks

  - Introduction to rocks, stones and aggregates

  - Describe quarrying and dressing of stone

  - Explain characteristics and uses of building stone

  - Introduction to aggregates and explain its classification

  - Describe the characteristics and uses of coarse and fine aggregates

  - State about the bulking of sand

  - Explain the effect of deleterious matters in aggregates and washing of aggregate

  - State the evolution of different binding materials

  - Introduction to cement

  - Describe the hydration process

  - Explain the types of cement and their uses

  - Explain different test on cement

  - Explain bitumen, asphalt and tar grades and their uses

  - State the types and uses of different pozzolanic materials i.e. lime, fly ash, rise husk ash, blast furnace slag, calcined clay pozzolana (surkhi) and silica fume as binding material

  - Introduction to different adhesives

  - State the definition and types of mortar and concrete

  - Explain mortar mix ratios and uses in different works

  - Explain composition and proportioning of concrete

  - Describe batching of materials for mortar and concrete

  - Explain mixing of mortar and concrete materials

  - Explain transportation and compaction

  - Explain surfacing finishing and curing

  - State the types of ferrous and non-ferrous metals

  - State the rolled steel sections and their uses in building construction

  - State the types of steel used in reinforced cement concrete

  - Describe the properties and uses of non-ferrous metals

  - State introduction to alloy steel

  - Introduction to timber and its classification

  - State the characteristics of timber

  - Describe the seasoning of timber

  - State the diseases and decay with remedial measures

  - Describe the wood products used in construction industry

  - Introduction to paints, enamels and varnishes

  - Explain different types and uses of paints, enamels and varnishes

  - Describe French polish, their types and uses

  - Describe the fundamentals of composite materials, matrices, reinforcement (glass fibers, natural fibers, carbon fibers), particulate (sand, talc, colored chips, recycled glass).

  - Describe the types of composite materials (Traditional- Wood, brick, steel, concrete, disc brake pads) Polymers and benefits of composite materials

  - Describe the applications of composite materials

  - Materials and uses for heat, sound, water and fire proofing

  - Explain types, characteristics and uses of glass, fibre, plastic, linoleum, rubber and geosynthetic materials

  - Explain types, characteristics and uses of gypsum, ebonite and asbestos

  - Define Building and state the classification of buildings (agricultural, commercial, residential, Educational, Government, industrial, religious, Military, Transport etc.) with examples

  - Various components of building and their function

  - Construction process of a frame structure building

  - Describe function of a building foundation

  - Describe bearing capacity of soil for foundation

  - Explain types of shallow and deep foundation and its suitability

  - State the thumb rule for minimum depth, width and thickness of

  - Define the technical terms related to masonry work

  - Describe brick bonds and their types i.e. English bond, Flemish bond, herring bone bond, zigzag bond, and garden wall bond

  - Describe the brick masonry work

  - Explain the different types of stone masonry i.e. ashlar masonry, random rubble

  - Explain the different types and uses of block masonry i.e. hallow

  - State the function of floors

  - Definition of floors and state the basic components of floor structure

  - Explain different types of floors i.e. ground floor, suspended floors and basement floors and describe the types of flooring w.r.t materials i.e. mud, brick, tile, marble, R.C.C etc.

  - State the factor affecting the choice of materials

  - Describe the composite floor

  - State the causes and effects of dampness

  - Describe the necessity, types and materials used for D.P.C

  - Explain the methods of preventing dampness in structures

  - Describe the purpose of wall

  - Explain the classification of walls according to functions and materials

  - Explain the classification of arches, terminologies, parts and functions

  - Explain methods of different types arch construction

  - Describe the types of lintels and construction

  - State about plinth beam and grade beams

  - Function and parts of doors, windows& ventilators

  - Explain the types of doors and windows

  - Describe the fixing of doors, windows and ventilators

  - Enlist the fittings and fastenings used for door and windows

  - State the definition and functions of roofs

  - State the classifications of roofs i.e. flat, pitched, shell and domes.

  - Explain pitched roofs and their types

  - Finishing of different types of pointing, plastering and concrete surfaces

  - White washing, distempering and painting on different types of surfaces

  - Function of wall, floor and ceiling finishes

  - Graffito & rock wall finishing

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in
this competency standard:

- Perform brick dimension tolerance, water absorption and efflorescence tests for brick, compressive strength test for brick, tuff tile and concrete block.

- Determine fineness, standard consistency, soundness, initial and final setting time of cement.

- Classify fine and coarse aggregates by sieve analysis.

- Determine clay percentage in sand, specific gravity, water absorption of aggregates, bulk density and voids in aggregates.

- Construct a brick wall of 10 ft length, 4 ft high and 9 inch wide.

Tools and Equipment’s

| SR. NO | Tools | Quantity Required |
| --- | --- | --- |
|  | Compression Testing Machine | 1 |
|  | Flexure / Tension Machine (cement, Mortar, Briquette Tensile Testing) | 1 |
|  | Electronic Digital Precision Balance (Top-Pan Type) | 1 |
|  | Specific Gravity Test Set | 5 |
|  | Digital stop watch | 5 |
|  | Atterberg's Limit Determination | 5 |
|  | Core Cutter Test Apparatus, (BS 1377:9) | 5 |
|  | Flakiness Index Gauge | 5 |
|  | Elongation index gauge (length gauge) | 5 |
|  | Set of Sieves | 2 |
|  | Sieve Shaker | 1 |
|  | Mechanical Sieve Shaker | 1 |
|  | Compression Testing Machine | 1 |
|  | Flexure / Tension Machine (cement, Mortar, Briquette Tensile Testing) | 1 |
|  | Concrete drum mixer (tilting type) | 1 |
|  | Vicat Apparatus | 5 |
|  | Le chatlier's Apparatus | 2 |
|  | Wheel Barrow | 5 |
|  | Bucket | 10 |
|  | Paint scraper set | 10 |
|  | Poteen Filler Knife Set | 10 |
|  | Cold Chisel Set | 10 |
|  | Brick Hammer | 15 |
|  | Hammer | 15 |
|  | Plumb Bobs | 15 |
|  | Mason Spirit Level | 15 |
|  | Straight Edge | 15 |
|  | Shovels With Handle | 15 |
|  | Kassi (Plies)with Handle | 15 |
|  | Spirit Level (Aluminum 2' ft length | 15 |
|  | Pick Axe | 05 |
|  | Steel Float set(small, medium, large)wooden handle | 15 |
|  | Wooden Float(small, medium, large)wooden handle | 15 |
|  | Wooden Scaffolding for Mason |  |
|  | Bamboo 10' ft | 20 |
|  | Bamboo 15' ft | 20 |
|  | Battens(5'X3.5"X2.5") | 20 |
|  | Shesham wood planks(7'X7"X1.5") | 20 |

Consumables

| SR. NO | Items | Quantity Required |
| --- | --- | --- |
|  | Bricks | 2000 |
|  | Cement | 20 |
|  | Coarse Aggregates | 500 |
|  | Distemper | 10 |
|  | Weather shield paint | 10 liters |
|  | Emulation paint | 10 liters |
|  | Knotting& Lashing Rope | 50 |
|  | Lime | 100 |
|  | Paint | 10 |
|  | Sand | 500 |
|  | Gypsum powder | 10 |
|  | Plaster of Paris | 15 |
|  | Coconut dust | 5 kgs |
|  | German white glue | 05 |
|  | Kerosene oil | 05 |
|  | Turpentine oil | 05 |
|  | Thinner | 03 |
|  | Paint brushes (2”,3” &4”) | 2 each |
|  | Varnish | 03 |
|  | Hurmchi Color | 02 |
|  | Pigments | 1 kgs |

### Civil- 121 Computer Applications

Overview: The competency standard describes skills and knowledge required to use and operate windows and perform tasks on MS word, MS Excel and MS PowerPoint. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Unit of Competency | Performance Criteria |
| --- | --- |
| CU1. Operate MS-Windows -2010 or Windows 2011 | - Select operating system - Install and configure operating system - Perform disk partition in windows - Install drivers required and check - Use both graphical user interface and command line interface to perform basic tasks: - Hibernate - Re-start - Shut down - Log on/off - Windows Search - Install basic application given by assessor - Use graphical user interface to open an application instructed by assessor - Customize graphical user interface of operating system - Create and rename a folder in any windows drive - Set up and configure external hardware components and check functionality |
| CU2. Operate MS-Office (MS-Word 2016) | - Select and install software - Create new document using MS-Word 2016. - Apply text formatting options to document as instructed by assessor - Insert and format tables, images, and shapes, headers, footers, and page numbers, add hyperlinks, bookmarks, and cross-references. - Apply and modify built-in styles and themes on document - Use track changes and comments to review and edit document. - Use spelling and grammar check tool to correct errors. - Adjust page layout settings (margins, orientation, and size) and customize page breaks and line breaks. - Save documents in different formats as directed by assessor - Print document using MS-Word - Share document via email and manage permissions. |
| CU3. Operate MS-Office (MS-Excel-2016) | - Identify software for installation - Create new workbooks and worksheets. - Enter and edit given data in cells. - Apply cell formatting, including font size, style, and color. - Use conditional formatting to highlight given data. - Use formulas and functions to perform basic calculations. - Sort and filter data to organize information - Create different types of charts and graphs to represent data - Customize charts and graphs with titles, labels, and legends. - Use pivot tables to summarize and analyze data. - Apply what-if data analysis tool. - Insert, delete, and rename worksheets within a workbook. - Save and share workbook by managing user permissions. |
| CU4. Operate MS-Office (MS-Power Point- 2016) | - Identify software - Create new presentation and select template - Design slides with consistent themes, layouts, and formatting. - Add text, images, shapes, and multimedia elements to slides. - Use slide layouts to organize and structure content. - Apply transitions and animations to presentation. - Arrange and group slides to create a sequence. - Apply and customize slide transitions and animations. - Manage and embed multimedia elements like videos and audio to presentation - Create and apply custom slide layouts. - Update and maintain master slides and themes. - Save and print presentation slides - Share presentation and manage permissions for collaboration |
| CU. Browse Internet & practice emails | - Connect computer to internet - Open internet browser and go to search engine - Download data as per requirement - Select email client for email address - Create an email address on selected email client - Compose email and attach a file and a photo - Send email to designated email address - Download file from email and print it. |
| CU.6 Perform Electronic Data Processing (E.D.P.) | - Identify data processing unit. - Select appropriate software and tools required - Set up equipment and software according to specifications. - Input data accurately into system. - Apply data processing procedures - Monitor processing to ensure data integrity and system performance - Perform checks and validations and correct errors. - Record processing results and any anomalies encountered. - Report findings to concerned person |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Entry, manipulation, and output of data and verifying and validating data.

- Measures for ensuring data security and confidentiality.

- Standards for documenting and reporting processing results and Organizational policies and data protection regulations

- Type of operating systems

- Windows installation process

- Difference between hardware and software

- Compatibility of operating systems with applications

- Understanding interface of MS-Word

- Understanding interface of MS-Excel

- Understanding interface of MS-PowerPoint

- Understanding data entry, cell formatting, conditional formatting, formulas/functions, creating and customizing charts and graphs, understanding pivot tables, data analysis tools, and managing worksheets in MS-Excel

- Understanding design process of presentations, structuring content, inserting and managing multimedia elements, modifying the Slide Master, and handling technical issues during presentations in MS-PowerPoint

- Use of web browsers, search engines, and navigating websites effectively.

- Identifying credible websites and assessing the reliability of online information.

- Internet safety practices, including the use of antivirus software and recognizing phishing scams.

- Creating, configuring, and managing email accounts, writing clear and professional emails, using attachments and signatures.

- Process of printing documents

- Organizing, archiving, and managing email communications using folders, labels, and tools.

- Difference between Wi-fi and ethernet

- Understand fixed and portable data storage devices

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to demonstrate competency in this standard:

- Perform electronic data processing on given set of information

- Create and print a word document using style and Insert tables, images, and shapes, headers, footers, and page numbers, add hyperlinks, bookmarks, and cross-references.

- Create and print a worksheet with basic calculator function in cells, apply cell formatting, font size, style, and color and create a pie chart using given data.

- Create presentation on a topic, add text, images, shapes, and multimedia elements to the slides related to the topic and apply theme on the slides.

- Download a file from the internet using internet browser and email the file to given email address

Tools and Equipment’s

| S.No | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Computer System | 26 |
| 2 | MS Office CDs | 05 |
| 3 | Printer color | 1 |
| 4 | Printer Laser | 1 |
| 5 | Scanner | 1 |
| 7 | High-Speed Internet Connection | 1 |
| 8 | Network Switch/ Router | 1 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Printer Paper A4 rim | 10 |
| 2 | White Board Marker | 6 Packs |
| 3 | Toner Laser Printer Black | 2 |
| 4 | USB (64 GB) | 2 |
| 5 | Ball Point | 3 Packs |
| 6 | Note Books | 50 |
| 7 | Extension Cords | 10 |

### Shop- 132 Engineering Workshop Practice

Overview: This competency standard covers the skills and knowledge required to perform basic woodwork and electrical wiring tasks in building construction and proper use of tools and their maintenance. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Carry out OH&S requirement in workshop. | - Identify hazards, OHS issues and risks in work area - Prepare reports on OHS, hazard, accident or incident - Select personal protective equipment (PPE) - Select tools and equipment consistent with safe work practice requirements - Determine and erect required barricades, hoardings and signage - Identify and apply material Safety Data Sheets (MSDS) - Identify safety signs in terms of color and shape, symbols and alarms - Identify, handle and store hazardous chemicals and materials maintaining safety to self, others and environment. - Identify common causes of accidents in industry. - Implement prevention measures for accidents. - Provide emergency response in accordance to requirements. - Prepare report detail of actions taken. - Clear workplace by disposing of materials (reused or recycled) in accordance to legislation and regulations. - Clean, check, maintain and store tools and equipment according to requirement. |
| - Determine properties and types of locally manufactured timber | - Recognize color and odor of locally produced timber - Prepare a list of locally produced timber in accordance with color and odor. - Identify type of given timber sample. - Identify tools and equipment. - Measure dimensions of sample. - Weigh sample for calculation of specific gravity. - Calculate specific gravity of timber by computing density. - Weigh sample before and after oven drying - Calculate moisture content of sample - Find out compressive strength according to specification - Report compressive strength |
| - Sharpen carpentry tools | - Recognize tools and equipment used in carpentry - Identify tools needed to be sharpen - Perform plane iron sharpening - Perform chisel sharpening - Perform scraper sharpening - Perform router bit sharpening - Perform craving tool sharpening |
| - Identify hand tools | - Select power and pneumatic tools according to their functions, operations and limitations - Recognize OHS requirements for using hand tools - Use correct hand tools for task and materials in accordance with OHS requirements - Sharpen and maintain tools - Clear work area and dispose materials (reused or recycled) in accordance with legislation, regulations and codes of practice and job specification. - Store tools according as per OHS requirements |
| - Perform wood joinery work | - Identify types of joints and their advantages. - Select joint for wood work according to requirement. - Cut timber according to requirement of joint - Join cut pieces according to requirement. |
| - Apply fastenings | - Select power and pneumatic tools for making hole - Perform boring to make hole in accordance with OHS requirement - Select appropriate fastening - Select tools for fastenings - Insert fastening in hole prepared before - Use tools for fastenings |
| - Perform spirit polishing technique | - Select tools and equipment as per requirements - Prepare skinning in, bodying up and spiriting out/stiffening up rubbers consistent with requirements of work - Perform sand surface lightly - Perform skinning in rubber and apply polish for job color - Apply polish, lubricating oil and pumice powder according to requirement - Clear workplace of debris and unused materials - Store rubbers separately in airtight glass or plastic containers in accordance with workplace procedures - Clean, maintain and store tools and equipment |
| - Use portable power tools | - Select power and pneumatic tools, their functions, operations and limitations - Check lubricants, hydraulic fluid and water according to manufacturer recommendations - Use hand tools appropriate to task and materials in accordance with OHS requirements - Use of power and pneumatic tools safely and effectively - Sharpen and maintain tools - Clear work area and dispose materials (reused or recycled) in accordance with legislation, regulations and codes of practice and job specification. - Store plant, tools and equipment according to requirement |
| - Calculate quantity of timber | - Identify timber requirement for specific components of timber - Identify components of specimen. - Identify drawing tools for estimation of timber - Perform basics of drawing - Draw plan, cross section and elevation of specimen - Estimate quantity of timber required. |
| - Construct a basic timber product | - Cut timber according to drawing/specifications - Perform necessary work for joints - Prepare holes on required product - Apply fastenings - Prepare surface for polishing - Apply polish on job surface - Apply Spirit on surface |
| - Maintain Safety at wiring workshop | - Determine safe route for electrical supply - Conduct check on power board visually - Check leads and equipment for tags and visual damage - Turn off source of electricity |
| - Treat electric shock | - Turn off source of electricity - Move victims away from source - Check responsiveness of victims - Perform CPR procedure - Apply bandage on burn areas |
| - Perform electrical wiring | - Arrange tools and material as per job - Arrange work permit for wiring task - Perform Wiring using following methods: • Concealed • Conduit • Busway • Open • Duct - Follow procedure to remove insulation and to attach thimbles - Perform different types of joints • High tension • Low tension • Water proof/underground • Open - Attach tags or numbers to wires for identification - Maintain distance between power, communication and control wires according to job requirements - Check continuity using line of terminal - Perform test to identify open/close circuits - Perform live test for verification of wiring |
| - Install electrical systems | - Interpret electrical drawing for electrical wirings - Arrange tools and material as per job - Arrange work permit for wiring task - Place panel according to layout - Connect input and output of cables in relevant panels as per electrical layouts - Handle cable for laying with help of stacker - Perform testing of cables - Connect cables with machines as per operation manual - Perform earthing of electrical appliances according to calculated load - Perform power distribution according to drawings - Perform verification of electrical supply as per operations manual |
| - Construct circuits | - Observe OHS requirements - Identify tools and equipment - Draw diagram of tunnel, series and parallel circuits for two lamps. - Perform preliminary marking before termination of cables. - Follow drawing to perform wiring and for reporting/ record purpose. |
| - Measure properties of electricity | - Identify tools and equipment - Measure value of voltage and current according to specification - Record values of voltage and current - Calculate resistance by ohm’s law - Calculate power |
| - Perform electrical wiring of a single room | - Interpret drawing to perform wiring - Arrange tools and material as per job - Arrange work permit for wiring task - Perform wiring of single room as per requirement - Attach tags or numbers to wires for identification - Use personal protective equipment as per job requirement - Maintain distance between power, communication and control wires according to job requirements - Perform alignment of cables as per job requirement - Check continuity using line of terminal - Perform live test for verification of wiring |

Knowledge & Understanding

The candidate must be able to develop skills and understanding to assess risks, plan and prepare for safe work practices, maintain safety of self and others, apply emergency response and cleanup work site area required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define work shop orientation

- Enlist safety precautions

- Explain Importance of wood in industry

- Define wood

- Explain construction of wood (timber) with sketch

- Explain structure and growth of timber.

- Explain wood types and

- Explain felling and conversion of timber.

- Explain uses of various wooden products in industry

- Enlist and explain Defects and decay of timber.

- Explain Qualities-characteristics, section of timber

- Define wood seasoning

- Enlist methods of seasoning

- Explain each method of seasoning and importance of seasoning.

- Enlist safety precaution in seasoning

- Describe measuring tools

- Describe marking tools

- Holding tools

- Cutting tools (Saw, chisel, file)

- Describe planning tools (Jack plane and other planes)

- Enlist wood working machines

- Explain band saw

- Explain circular saw

- Explain planer

- Explain wood turning lathe, Spindle, Boring, Sander

- Define sawing of log and timber

- Enlist method of sawing explain seasoning

- Explain seasoning method

- Classify wood working joints

- Explain each joint

- Uses of joint in industry

- Define glue

- Describe fanners

- Explain sprit polish

- Explain lacquering and paint

- Define measuring of wood

- Explain measuring of log

- Explain measuring of board

- Explain measuring square.

- Describe Conductor, Insulator, Semi-Conductor current, Ampere voltage, Resistance and ohm

- Define ohms law specific resistance laws up Resistance make calculation using

- Define these laws resistance in series and parallels solve series and parallel circuits

- Define wire and cable, parts of cable, types of insulating materials.

- Define Types of cable w.r.t insulation and core

- Define fuse and types (Rewire able, HRC and Cartridge fuse)

- Define Earthling, necessity of earthling and parts of earthling

- Define different steps up cable Jointing (Skinning, Scraping Soldering and tapping)

- Describe Wiring types & Test.

- Define types of domestic wiring (cleat wiring) latten wiring, casing and capping wire and conduit

- Define wiring testing equipment (Millimeter, Mager)

- Define Testing of wiring (Polarity test, short circuit test)

- State the service line, main cable sub main cable, Branch circuit and final sub circuit

- Describe distribution fuse boards and types (Single phase D.F.B and three phase D.F.B)

- Define Magnetic Contactor thermal relay

- State Pakistan electricity rules 1973, (25,28,29,32,40,46,49,51,57,58)

- Define fire, causes of fire, types of fire (Class A,B,C, D, E) fire fighting equipment precautions during firefighting, principle of fire fighting

- State General safety precaution

- Define Electric shock, Causes and treatment

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to demonstrate competency in this standard:

- Perform electrical wiring of small room

- Construct a basic timber product

Tools and Equipment’s

| S.No | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Compression testing machine | 1 |
| 2 | Digital weighing balance | 1 |
| 3 | Laboratory oven | 1 |
| 4 | Files | 5 |
| 5 | Diamond stones | 5 |
| 7 | Water stones | 5 |
| 8 | Oil stones | 5 |
| 9 | Ceramic stones | 5 |
| 10 | Wood tool | 5 |
| 11 | Measuring tool | 15 |
| 12 | Marking tools | 15 |
| 13 | Holding tool | 15 |
| 14 | Cutting tool | 15 |
| 15 | Planning tool | 15 |
| 16 | Fastening tools | 15 |
| 17 | Boring machine | 2 |
| 18 | Fastenings | 15 |
| 19 | Sprayer | 5 |
| 20 | Circular SAW | 1 |
| 21 | W.W, Planer | 5 |
| 22 | Wood Turning lathe | 2 |
| 23 | Spindle | 5 |
| 24 | Boring machine | 1 |
| 25 | Sander | 5 |
| 26 | Computer | 50 |
| 27 | Emergency light | 10 |
| 28 | Ladder | 3 |
| 29 | drill machine tool kit | 15 |
| 30 | Thimble puncher | 15 |
| 31 | Shroud | 15 |
| 32 | cable knife | 15 |
| 33 | wire stripper | 15 |
| 34 | drill machine | 3 |
| 35 | Clamps | 15 |
| 36 | Plier | 15 |
| 37 | Cutter | 15 |
| 38 | AVO meter | 15 |
| 39 | test lamp | 15 |
| 40 | earth tester | 15 |
| 41 | line tester | 15 |
| 42 | Megger | 15 |
| 43 | Voltmeter | 15 |
| 44 | Ammeter | 15 |
| 45 | Multi meter | 15 |
| 46 | Ohmmeter | 15 |
| 47 | Wiring Boards 3’ x 5’ Wall Mounted | 10 |
| 48 | Wood Chisel 1” | 15 |
| 49 | Work Benches 4’ x 6’ x 2.5’ | 15 |
| 50 | Single-Phase Electric Motors | 5 |
| 51 | Single–Phase Energy Meter | 5 |
| 52 | Air Conditioners | 2 |
| 53 | 3-Phase Electric Motors | 5 |
| 54 | 3-Phase Energy Meter | 5 |
| 55 | Clamp on Meter | 15 |
| 56 | Cold Chisels 10” Long | 15 |
| 57 | Combination Pliers 8” | 15 |
| 58 | Electric Bells | 5 |
| 59 | Fluorescent Tubes (with electric choke) | 10 |
| 60 | Hack Saws 15” | 15 |
| 61 | Hand-Drill Machine Electric Two Speeds 3/4” Chuck Heavy Duty | 1 |
| 62 | Kerosene Burners | 5 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Deodar Wood for Wooden Joints | 50ft |
| 2 | Fire Fighting Safety Equipment (Fire Extinguishers and Safety Care, etc.) | 1Set |
| 3 | Glue 5 Kg | 6 |
| 4 | Kail Wood for Door & Frame | 50ft |
| 5 | Kerosene Oil | 10Liter. |
| 6 | Lubricating Oil/Grease | 10Liter. |
| 7 | Nails 1”,1.5”,2”,3”(2 Kg each) | 8Kg |
| 8 | Overall /Apron for Trainees | 25 |
| 9 | Safety Shoes for Trainees | 25pairs |
| 10 | Screw¾“,1”,1½“,2”(2Packetseach) | 12packets |
| 11 | Shesham Wood | 50ft |
| 12 | Veneer Board(4"x8’x¾”) | 10 |
| 13 | Vernier caliper | 5 nos |
| 14 | Gunia | 5 nos |
| 15 | Saws different sizes | 5 nos |
| 16 | Bul | 3 Roles |
| 17 | Fire Fighting Safety Equipment (Fire Extinguishers and Safety Care etc.) | 1Set |
| 18 | Wiring accessories (switch, sockets, boards of sizes, bulb holders, dimmer, Ceiling rose, indicators, breakers, main switches, two way switch, changeovers, regulators, cleats, clips, insulation tape, screws of sizes, steel nails etc | 50each |
| 19 | pipes, casing and capping, batten each | 200ft |
| 20 | bulbs, tube lights, energy savers, | 20 each |
| 21 | Current measuring device | 2 Nos |

# 2nd Year DAE Civil Technology

### Gen- 221 Communication Skills & Report Writing

Overview: This competency standard covers skills and knowledge required to communicate in the form of speaking, listening, reading and writing along with writing and presenting report and use it to supplement their technical skills. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Develop listening skills | - Determine specific goals and outcomes of listening task. - Ask clarifying questions to ensure comprehension. - Analyze and evaluate content of message. - Manage distractions and maintain focus on speaker. |
| - Develop reading skills | - Pronounce words accurately. - Fluent in reading text. - Determine purpose and audience for reading task. - Evaluate relevant information and resources. - Read coherent paragraphs with topic sentences and supporting details. - Use appropriate vocabulary, tone, and style for audience. |
| - Develop speaking skills | - Structure content logically with a clear introduction, body, and conclusion. - Use clear and concise language. - Maintain appropriate volume, tone, and pace. - Address audience feedback and questions. |
| - Manage Meeting at Workplace | - Develop meeting agenda in line with stated purpose - Identify meeting participants and convey them in accordance with organizational procedures - Confirm meeting arrangements in accordance with requirements of meeting - Ensure meeting proceedings are focused, time efficient and achieve required outcomes - Take meeting notes. - Prepare minutes of meeting. - Develop follow-up document with timelines. |
| - Develop report writing skills | - Determine report's purpose and target audience. - Organize content into sections such as introduction, methodology, findings, and conclusion. - Use headings, subheadings, and numbering for clarity. - Collect relevant data from credible sources. - Analyze and interpret data to support report's objectives. - Summarize key findings and insights. - Write clear and concise content for each section. - Use formal language - Include visual aids such as charts, graphs, and tables. - Prepare presentation of report's key points. |

Knowledge & Understanding

- Define listening skill

- Demonstrate listening skill

- Express ‘how to introduce yourself’, ‘talk about your skills’ and ‘exhibit interviewing skills’ and demonstrate its applications

- Express and demonstrate how to agree, disagree, likes, dislikes, etc)

- Explain how to speak in condensation and demonstrate its use

- Explaining and demonstrate how to report

- Understand about skimming, scanning, guessing, identification and inference and demonstrate its use

- Understand and demonstrate about ‘identification of contrasting ideas’, ‘main and support ideas and attitude of author/ writer

- Explain and demonstrate use of synonyms and antonyms

- Understand and demonstrate different types of writing and describing a process

- Explain and demonstrate about writing simple sentences and writing complex sentences

- Developing and demonstration about coherence and cohesion

- Explain about ‘beginning of topic’ and ‘its middle and end’ and demonstrate its application

- Explain about ‘linking different paragraphs’ and demonstrate its use

- Understand how to write business letters and demonstrate its application

- Understand how to write reports

- Qualities of good reports

- Model reports

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to demonstrate competency in this standard:

- Prepare and present report to an audience group followed by a question answer session.

Tools and Equipment’s

| S.No | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Computer System | 26 |
| 2 | MS Office CDs | 05 |
| 3 | Printer color | 1 |
| 4 | Printer Laser | 1 |
| 5 | Scanner | 1 |
| 7 | High-Speed Internet Connection | 1 |
| 8 | Network Switch/ Router | 1 |
| 9 | Multimedia | 1 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Printer Paper A4 rim | 10 |
| 2 | White Board Marker | 6 Packs |
| 3 | Toner Laser Printer Black | 2 |
| 4 | USB (64 GB) | 2 |
| 5 | Ball Point | 3 Packs |
| 6 | Note Books | 50 |
| 7 | Extension Cords | 10 |

### Civil-PHT-203 Public Health Technology

Overview: This competency standard covers the skills and knowledge required to have a comprehensive understanding about plumbing, municipal water treatment, water distribution, waste water collection and safe disposal. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Select and draw intake for water supply | - Identify source of water - Identify type of intake structure as per source of water - Estimate tquantity of water for scheme area. - Select intake as per source of water - Prepare neat sketch of intake on drawing paper |
| - Determine quality of water | - Identify national / international guide lines of quality standards of water - Prepare sample for physical / chemical / biological tests of water - Identify equipment for physical tests of water - Perform colour / odour / turbidity / TSS tests on sample of water - Identify equipment for chemical tests of water - Perform chemical tests on sample of water - Identify equipment for biological tests of water - Perform biological tests on sample of water |
| - Prepare layout drawing of water treatment | - Identify national / international guide lines of quality standards of water - Prepare sample for physical / chemical / biological tests of water - Identify equipment for physical tests of water - Perform colour / odour / turbidity / TSS tests on sample of water - Identify equipment for chemical tests of water - Perform chemical tests on sample of water - Identify equipment for biological tests of water - Perform biological tests on sample of water - Prepare report for analysis |
| - Prepare layout for distribution network | - Identify intake works / pumping units - Identify place for screening - Identify plain / coagulant sedimentation - Identify and select location for slow sand / rapid sand filtration - Select method and location for disinfection - Locate place for clear water reservoir - Locate place for pumping station - Locate place for service reservoir - Prepare a flow diagram. - Prepare a drawing sheet for lay out of water treatment works - Prepare sketches of different parts of water treatment works on a drawing sheet. |
| - Design water supply scheme | - Identify area for water supply scheme - Calculate number of people in area. - Calculate per capita consumption. - Check temperature Losses - Calculate rate of water supply and its distribution type - Calculate quantity of water - Identify number of hydrants and suggest Spacing between hydrants - Suggest spacing between main line valves - Check flushing and maintenance procedures - Identify Standard Construction Specification - Install treatment plant (if necessary) - Identify Seasonal, daily variation and hourly variation |
| - Prepare flowchart for sewage treatment plant | - Identify Area for a sewage plant - Calculate amount of sewage - Locate place for primary treatment i.e. screens / grit chambers / skimming tanks - Locate place for secondary treatment i.e. clarifiers / sedimentation tanks - Arrange for application to land - Locate for tertiary / biological treatment i.e. intermittent filters / trickling filters / activated sludge - Prepare a flow diagram arranging all activities - Prepare a flow diagram activated sludge process - Prepare full size drawing |
| - Design storm/sanitary sewers | - Identify type of area - Determine population - Calculate rate of water supply - Assess ground water infiltration - Calculate quantity of sanitary sewage - Identify intensity and duration of rainfall in period specified - Identify shape and slope of catchment area - Identify nature of soil - Identify number of available ditches in area - Calculate area drained - Estimate storm water by formulae - Calculate total sewage - Determine size of sewer |
| - Prepare layout plan for sewers | - Identify longitudinal sections of different sewers - Collect drawings of all appurtenances - Mark center line of sewer - Fix bench marks at interval on whole length of sewer line - Mark positions of manholes - Fix pegs on specified interval on center line - Fix invert level mark on sight rails - Dig trench as per gradient line - Install timbering on side walls of trenches - Prepare benching for sewers - Place sewer pipes and check invert level - Joint sewer pipe - Prepare a drawing of all steps |
| - Prepare Layout for sewers appurtenances | - Identify storm sewer - Check catchment area with characteristics - Calculate run off and sewerage scheme - Identify Sewerage scheme - Spread drawing sheet and fix it - Apply scale - Draw sewer scheme showing components and Suggest gradient with specification |
| - Draw layout of plumbing lab and identify plumbing tools and equipment | - Mark North point and measure lab dimension. - Develop layout drawing - Analyze Signs, Symbols and data - Identify location for Doors and windows. - Identify instruments places. - Identify sitting plan. - Identify Tools & equipment - Check for safety hazards - Conduct operational testing - Maintain professional proficiency |
| - Prepare sanitation system for an area | - Identify sewer collection methods - Identify location of treatment and disposal works appurtenances and locate its position - Fix Drawing sheet on board and select scale - Perform alignment if necessary - Draw sewer appurtenances - Identify Specifications for sewer - Recognize material used in construction |
| - Interpret Sewer Construction | - To Identify longitudinal sections of different sewers - Collect drawings of all appurtenances - Mark centre line of sewer - Fix bench marks at interval on whole length of sewer line - Mark positions of manholes - Fix pegs on specified interval on center line - Fix invert level mark on sight rails - Excavate trenches as per gradient line - Prepare benching for sewers - Place sewer pipes and check invert level - Joint sewer pipes - Check hydraulic load and perform Hydraulic test - Back filling and compaction |
| - Interpret Plan for Maintain Sewer and Manhole | - Identify sewer and man hole to maintain - Investigate problem - Clean out clogged drain, suction sewage or manholes - Perform remedy or flushing - Perform water pressure and test to working performance |
| - Identify and practice of pipes and pipe fittings | - Identify suitable pipe according to material - Observe basic principles for pipe fitting - Identify and select materials for task and tools and equipment for task - Attach cold Pipe with fittings and hot Pipe with Geyser and fittings - Locate cross over properly and locate drainage pipes - Undertake pipe leakage test and perform aligning and clamping - Perform joining and fixing and perform hydraulic test |
| - Perform pipe cutting, threading and reaming | - Identify tools for cutting and secure work piece firmly - Measure required Length and use cutter or Use Hacksaw - Loose cutting Piece and check length for cutting piece - Identify tools for threading and fix work piece firmly - Clamp Threading die and prepare threading - Unclamp threading die and tools for Reaming. - Use reamer and observe OHSA |
| - Join pipes (Copper, G.I, PPRC and HDPE) | - Observe basic principles for pipe fitting - Identify and select materials for task - Identify tools and equipment for task - Attach cold Pipe with fittings - Attach Hot Pipe with Geyser and fittings - Locate cross over properly - Melt Lead and fill lead in collar of pipe with proper tool - Perform threading & cutting on pipes - Tight pipe with socket - Switch on heater - Join Heated pipe to required point - Locate drainage pipes - Undertake pipe leakage test |
| - Install plumbing fixtures | - Identify and interpret drawings of fixtures. - Identify tools and equipment required for installation of fixtures. - Perform measurements and mark out Installation point - Fix Pedestal and Install wash hand basin - Fix Pillar cock, Rubber connection, waste pipes with coupling - Install closet flange and secure it to subfloor - Connect outlet pipes with water supply - Perform final quality inspection - Fix floor trap and set WC at Level - Connect outlet pipes with water supply - Measure height for flushing cistern - Fix flushing pipe - Connect inlet pipe with water supply - Fix Urinal with flushing pipe - Connect inlet pipe with water supply - Fix sink fat trap with drain pipe - Connect inlet pipe with water supply - Measure Height for bath tub and fix Bath Tub with drain pipe - Connect inlet pipe with water supply - Perform leakage test and Perform Safety Precaution |
| - Install faucets | - Check Safety Hazards - Identify suitable pipe according to material - Observe basic principles for pipe fitting - Select materials, tools and equipment for task - Attach cold Pipe with fittings and hot Pipe with Geyser and fittings - Locate cross over properly and locate drainage pipes - Undertake pipe leakage test and perform aligning and clamping - Perform joining and fixing and perform hydraulic test - Use correct PPEs as per requirement |
| - Prepare layout for domestic water supply scheme | - Interpret work instructions - Plan according to job requirements - Organise duties and select appropriate tools & equipment - Mark North Point on drawing sheet - Measure Scheme area. - Interpret layout plan by scale - Identify sources of water supply - Indicate Water Conveyance System. - Show storage Reservoirs - Locate Main, sub main and branches |
| - Install sewage pump | - Determine sewerage pump set installation requirements from job specifications - Create a materials list and collect materials - Select correct tools and equipment - Select personal protective equipment (PPE) - Set out pump according to plans, specifications, site requirements or job instructions - Install pumping equipment in specified locations using required fixings - Connect pipework and pump controls - Operate and test installed sewerage pump - Clear work area and dispose of, reuse or recycle materials - Clean tools and equipment and store |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe public health engineering and its significance

- Explain historical development of public health engineering

- Explain components of public health engineering

- State the role of public health engineer

- State the challenges and future directions

- Introduction to water supply, necessity and state its historical development

- State the water supply related technical terms i.e. hydrological cycle, precipitation, runoff, coefficient of runoff, intensity of rainfall, catchments area, infiltration, evaporation and evapotranspiration, hydraulic gradient and rain water harvesting.

- Describe surface water sources i.e. lakes, streams, rivers and yield from surface sources.

- Explain underground/ subsurface sources, springs, wells and its kinds (i.e. tube well), infiltration galleries etc.

- State the factor governing the selection of site for an intake

- Explain Intakes for surface water collections and supply, type of Intakes (according to objective, location, material & shape)

- Introduction to pure (Potable) and contaminated water

- Explain Impurities in water and their health significance

- Describe the testing of water and Physical, chemical & introduction to bacteriological test of water

- Introduction to water quality monitoring under guidelines/standards US., WHO for drinking water and National Standards for Drinking Water Quality of Pakistan

- State the treatment of ground and surface water

- Describe the stages of water treatment i.e. Screening, sedimentation (types of settling), coagulation, flocculation and filtration

- Explain the miscellaneous methods of water treatment, aeration, fluoridation, color, odor and taste removal

- State the purpose of sedimentation, plain sedimentation, types of settling tanks based on functions and shapes

- State the purpose, kinds, use of coagulants and method of feeding and mixing

- Explain the theory of filtration, construction and operation of slow sand, rapid sand, & pressurized filters. Comparison between slow sand and rapid sand filters

- State the membrane technology (Reverse Osmosis, ultrafiltration)

- Explain the disinfection of Water, Necessity and methods of disinfection,

- Describe the water softening, purposes, types of hardness and methods of softening

- State the water demand and explain various types of water demand i.e. domestic, industrial, institution & commercial and fire demand

- State the factors effecting per capita demand and variation in demand

- Describe the yield from wells, quantity of underground water, water table, aquifers and cone of depression.

- Explain about maximum demand and design period

- Introduction to population forecasting method and basic calculation of water demand

- Introduction to pumps and state their necessity

- Recognize different kinds of pumps and principle of working

- Explain site selection requirements for pump station of simple pump/tube-well/turbine station

- Explain the methods of distribution, gravity, combined and direct pumping.

- Explain the methods of supply of water intermittent and continuous.

- Explain the methods of layout of pipes, dead end, grid, ring and radial system.

- Describe the storage-underground and overhead service reservoirs, necessity and accessories.

- Explain the appurtenance in distribution system. Sate the use of sluice valves, air valves, drains valves, water meter, reflux valve, scour valves

- Importance of waste water sanitation and technical terms related to sanitation i.e. sewage, sanitary sewage, domestic sewage, industrial sewage, storm or rain sewage, sewerage works, sewage treatment and sewage disposal

- Compare systems of sewage disposal (Sanitation systems) i.e. conservancy system, water carriage system, cesspool system, ecological sanitation system, water less sanitation system, centralized and decentralized system

- Explain materials, shape and size of sewer system

- Describe sewer system construction steps i.e.

(i)layout (ii)excavation (iii)sheeting and bracing(iv)Dewatering (v)Bedding of sewer line (vi)Laying of sewer pipe(vii)Fixing the gradient of sewer(viii)Jointing the sewer(ix)Testing the sewer line(x)Backfilling the trench and explain sewer appurtenances and their types

- State sewer appurtenance’s location and their functions.

- Explain construction of Man holes, shallow MH, Deep MH, drop-man hole, inlets, clean out, lamp hole, grease, & oil traps, inverted syphon, trestles & piers

- Introduction to plumbing tools and machines

- Explain different plumbing tools, their use and precautions i.e.  hand dies and stocks, pressure test pump, pipe wrench, spanner set, pipe cutters, pipe vice, hacksaw, chisel, files, reamer, screw drivers, hammers, mallet, tap set, measuring tape and other common hand tools

- Explain different plumbing machines their use and precautions i.e. electric drill machine, electric heating dies for PPRC, electric wall chaser and other common machines

- Introduction to pipes and pipe fittings

- Explain different types of pipes w.r.t materials (G.I, Coper, PVC and their types, PPRC, HDPE, MDPE, Concrete, C.I and Composite) and their pipe fittings with brief specifications & use

- Describe different jointing method of pipes and their fittings

- Describe Plumbing symbols and plumbing fixtures layout of kitchen & bathroom

- Introduction & objectives of plumbing fixtures, fixture fittings and faucets

- Explain bath plumbing fixtures brief description and use i.e. water closets, flushing cistern, urinals, wash hand basin, bath tub, rain shower and geyser

- Describe kitchen plumbing fixtures brief description and use i.e. sink with faucet, dishwasher and waste food grinder

- State different type of Taps and their functions & use

- Explain Valves & Cocks and their types & use

- Describe different types of mixers and use

- Explain Traps & their types, Interceptors and Separators and use

- State the aims of buildings drainage and its requirement and describe with sketches the shapes and construction of different types of drains

- State House drains slopes & connection with main sewer and compare one and two pipe system of drainage

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Identify municipal water sources, treatment and distribution network

- Identify efficient sanitation system, waste water collection and safe disposal

- Identify plumbing tools & equipment, pipes and pipe fittings fixtures & fixture fittings and house drainage.

Tools and Equipment’s

| Sr.no | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Adjustable Wrench Set | 5 |
| 2 | Pipe Wrench Chain Type+C162:K162 | 10 |
| 3 | Adjustable Pipe Wrench | 10 |
| 4 | Pipe Reamer | 5 |
| 5 | Pipe Vice (Stand Type) | 02 |
| 6 | Pipe Vice (Bench Type) | 05 |
| 7 | Pipe Thread Cutting Kit | 05 |
| 8 | Tap Set | 05 |
| 9 | Pipe Cutter | 05 |
| 10 | Pliers Adjustable | 05 |
| 11 | Cold Chisel Set | 05 |
| 12 | Measuring Tape (5m) Steel | 10 |
| 13 | Mason’s Spirit Level | 10 |
| 14 | Steel Rule | 10 |
| 15 | Portable Electric Drill Machine | 01 |
| 16 | Portable Drill Machine | 01 |
| 17 | Screw Driver Set | 10 |
| 18 | Trowel (200-280 mm Long Steel) | 10 |
| 19 | Mortar Pan | 05 |
| 20 | Shovel With Handle | 10 |
| 21 | Hack Saw | 10 |
| 22 | Bench Vice | 05 |
| 23 | Ball Peen Hammer Set | 05 |
| 24 | Claw Hammer | 05 |
| 25 | Files Set | 05 |
| 26 | Flat | 05 |
| 27 | half round | 05 |
| 28 | round | 05 |
| 29 | square | 05 |
| 30 | Tri angular | 05 |
| 31 | Tri square | 10 |
| 32 | Scissors | 10 |
| 33 | Centre Punch | 05 |
| 34 | Oil Cane | 02 |
| 35 | Drill Bit Set | 02 |
| 36 | Complete Set of Bath Room Fitting | 01 |
| 37 | Complete Set of Bath Sanitary Fixture | 01 |
| 38 | Water Hardness Test Apparatus | 02 |
| 39 | Turbidity Test Apparatus | 01 |
| 40 | Hard Hat/ Safety helmet | 50 |
| 41 | Steel Toed Safety shoes | 50 |
| 42 | Gum Shoes | 50 |
| 43 | Safety gloves | 50 |
| 44 | Coverall/ Dungaree | 50 |
| 45 | Respiratory mask | 50 |
| 46 | Safety Goggles | 50 |
| 47 | Ear Muff | 50 |
| 48 | Safety Cone 30" | 8 |
| 49 | Fire Extinguisher (DCP) | 1 |
| 50 | Fire Extinguisher (CO2) | 1 |
| 51 | Multimedia with accessories | 1 |
| 52 | PH meter | 3 |
| 53 | TDS meter | 3 |
| 54 | Resistivity meter | 1 |

Consumables

| Sr.no | Items | Quantity Required |
| --- | --- | --- |
| 1 | GI Pipe 1”,3/4’’,1/2’’ | 60 ft |
| 2 | GI Pipe Special | 18-Nos. |
| 3 | PPRC Pipe 25mm, 32mm, 40mm | 260 ft |
| 4 | PPRC Pipe Special different sizes | 48 Nos. |
| 5 | PVC Pipe 2”, 3’’,4’’ | 130 ft |
| 6 | PVC Pipe Special different sizes | 24 Nos. |
| 7 | PVC Tape | 3 Nos. |
| 8 | CI Pipe 3’’,4’’ | 26 ft |
| 9 | CI Pipe Special | 05 Nos. |
| 10 | P Trap 3’’,4’’ | 04 Nos. |
| 11 | Bib Cock (Tap) | 08 Nos. |
| 12 | Swan neck | 05 Nos. |
| 13 | Basin Mixer | 03 Nos. |
| 14 | Bath Mixer | 03 Nos. |
| 15 | Thread roll | 05 Nos. |
| 16 | Teflon tape | 12 Nos. |
| 17 | PVC Solution | 500 ml |
| 18 | Silicon sealant | 300 ml |
| 19 | Lime | 10Kg |
| 20 | Cement | 2Bags |
| 21 | Jute | 5Kg |
| 22 | Plumbing fitting and Fixtures with accessories each type | 2 Nos. Set |
| 23 | Sand | 10Cu. ft |
| 24 | Commode European | One |
| 25 | Elbow different sizes | 24 Nos. |
| 26 | Sockets different sizes | 24 Nos. |
| 27 | T and cross different sizes | 12 Nos. |
| 28 | Cotton tape | 2 Nos. |
| 29 | PPRC male & female thread socket | 12 Nos. Each |
| 30 | Water Hardness Test Kit | 05 Nos. |
| 31 | Pipettes | 05 Nos. |
| 32 | Beakers | 05 Nos. |
| 33 | PPRC Gate Valve 25mm, 32 mm | 06 Nos. |
| 34 | PPRC end cap & plug 25mm, 32mm | 06 Nos. |
| 35 | Nail Clump | 12 Nos. |

### Civil- 204 Civil Engineering Surveying - II

Overview: The competency standard describes skills and knowledge required to measure distance, angle and setting out curves using total station. This competency standard also describes skills required to operate GPS device. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Prepare Gale’s traverse table | - Identify and compile data of traversing by theodolite - Compute coordinates of traverse - Plot traverse using data of traversing - Adjust closing error of traverse - Prepare Gale’s traverse table |
| CU2. Perform operations of Total Station | - Identify equipment for total station surveying - Perform temporary adjustment of total station - Measure distance, angles and coordinates by total station - Stack out points at various distances on a line - Measure height of an object with total station by using REM program - Measure distance between different station points with help of occupied point (MLM) - Measure area and volume of a traverse by direct field observations - Export data from total station to computer |
| CU3. Set out horizontal and vertical curves | - Identify components of horizontal curves - Compute data for layout of simple circular curve using offsets from tangent and long chord - Set out horizontal curve in field by taking offsets from tangent and long chord - Compute data for layout of simple circular curve by theodolite and total station - Set out horizontal curve in field by theodolite and total station - Compute data for layout of transition and combined curve - Identify components of vertical curves - Compute data for layout of vertical curve - Set out vertical curve in field |
| CU4. Set out civil engineering structure | - Identify building layout plan for setting out structure - Identify horizontal and vertical control for set out according to requirement - Compile necessary data for layout of building - Apply techniques of surveying according to requirement to set out building |
| CU5. Perform operations of GPS | - Identify GPS and its components - Set Base of GPS at suitable location for accuracy - Measure coordinates using Rover of GPS - Perform traversing of area by GPS - Perform topographic survey by GPS - Calculate area and volume by GPS - Export data from GPS to computer |
| CU6. Perform hydrographic survey | - Identify and select equipment for hydrographic survey - Measure depth of water channel by sounding rod/sounding chain - Measure velocity of water channel by current velocity meter - Determine velocity of water channel by float - Determine discharge of water channel |
| CU7. Interpret data of remote sensing | - Identify and select type of remote sensing - Identify and analyze parameters used in remote sensing - Identify instruments used for remote sensing - Interpret aerial photographs according to scale and flying height |
| CU8. Analyze topography by ArcGIS | - Install ArcGIS software - Import data from Total Station/ GPS in ArcGIS software - Input attribute data in ArcGIS software - Analyze topography to identify suitable areas for development and potential drainage issues |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain coordinate and its types.

- Compute Latitude and departures of line and Calculate coordinates from given field notes.

- Explain errors and mistakes in theodolite traversing and their rectification.

- Explain balancing of traverse by different methods

- Identify the total station, its parts functions and modes.

- Describe different operating system of total station

- Identify and describe the accessories of total station and their operation.

- Describe the parameters, setting of total station and its operation.

- Explain the methods of measurement of distances, angles, bearings and co-ordinates by total station.

- Explain the measurement of vertical angle and tilt correction

- Preparation and setting of horizontal and vertical angle Repetition angle measurement.

- Setting out percentage grade and stack-out.

- Explain offset measurement

- Setting and calculation co-ordinate value of occupied station, setting height of instrument & height of reflector

- Define remote elevation measurement, and missing line measurement

- Explain measurement of area, point to point measurement

- Describe how data collected

- Define layout and explain its procedure

- Explain data searching in memory manager mode

- Explain down loading data from total station.

- Putting data in the respective software and mapping thereof.

- Define curve and its type with sketch and necessity of curves in surveying

- Explain the designation of curve

- Explain the definition & notation of circular curve and Compute the inter-relation ship

- Calculate the data for setting out simple circular curves by various methods.

- List the steps for setting out of simple circular curves by various methods and describe the procedure for ranging a curve beyond obstacles

- Describe the transition curve, its type, the necessity of transition curves, characteristics, elements, notation of transition curve and their inter relationship

- Explain super elevation and derive formula for super elevation

- Calculate the length of transition curve by various methods and calculate data for setting out a combined curve

- State the types of vertical curve, its necessity of vertical curves

- Explain the elements, notation of vertical curves and their inter-relationship

- Enlist the steps for setting out vertical curves

- Compute the data for setting out vertical curves

- Explain the elements & notations of transition curve

- Enlist the steps for the setting out combined curves

- Describe Methods of setting out

- Explain Instrument for horizontal and vertical control for set out

- Describe the checks applied to setting out

- Calculations of coordinate data for setting out

- Explain Procedure of setting out a sewer line, building and bridge.

- Describe Verticality of structure for setting out

- Define Hydrographic / Bathymetric survey and state its purposes.

- Describe sounding, sounding rod/pole, sounding boat, still water recess, fathometer, velocity rod and current meter

- Explain the methods of taking soundings

- Explain procedure of determining velocity with velocity rod and current meter for determination of discharge of channel.

- Identify the parts of GPS and describe its types

- Describe the functions and modes of GPS.

- Describe the parameters of GPS.

- Explain the methods of observations for Static, Real Time Kinematic (RTK) and Stop & Go Method and operations of a GPS.

- Describe Differential Global Positioning System (DGPS)

- Define GNSS

- Explain how GNSS works

- Define remote sensing

- Describe types of remote sensing: Satellite Imagery and Airborne Imagery

- Explain Techniques for remote sensing

- Explain image analysis techniques

- Describe aerial camera systems including drone based

- Describe photographic scale

- Explain flying heights and altitude

- Explain aerial photography interpretation

- Define GIS

- Describe scope of GIS

- Explain construction of data

- Explain basic analysis of data

- Explain components of GIS

- Explain types of data used in GIS

- Explain user interface and data analysis in ArcGIS

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to demonstrate competency in this standard:

- Prepare Gale’s traverse table

- Measure angle, distance, area and volume by total station

- Set out horizontal and vertical curves

- Perform traversing by GPS

- Layout of civil engineering structures

Tools and Equipment’s

| S.No. | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Total Station with Tripod | 10 |
| 2 | Prism for total station | 10 |
| 3 | GPS with Tripod if required | 10 |
| 4 | Prism of GPS | 10 |
| 5 | Stationary boat | 10 |
| 6 | Sounding Rod | 10 |
| 7 | Sounding Chain | 10 |
| 8 | Current meter | 10 |
| 9 | Measuring Tape | 10 |
| 10 | Ranging Rods | 10 |
| 11 | Arrows | 50 |
| 12 | Pegs | 50 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Pencil | 50 |
| 2 | Eraser | 50 |
| 3 | Sharpner | 50 |
| 4 | Drawing sheet | 50 |
| 5 | White Chalk/powder | 20 kg 5 bags |
| 6 | Scotch Tape | 50 |
| 7 | Field Book | 50 |
| 8 | Drawing Sheet | 50 |
| 9 | Thread (Dori) | 10 |
| 10 | Rough Copys | 50 |

### Civil- 273 Construction Techniques

Overview: This competency standard covers the skills and knowledge required to perform different construction techniques. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare sustainable construction framework | - Enlist environmental, social, and economic impacts of building construction. - Identify eco-friendly building materials (e.g., recycled, renewable, low-impact). - Identify energy-efficient design strategies (e.g., passive solar design, insulation, energy-efficient windows). - Identify water-saving fixtures and systems (e.g., low-flow toilets, rainwater harvesting, and greywater systems). - Identify use of non-toxic, low-emission materials to reduce indoor pollutants. - Identify construction waste management plans to promote recycling and reuse. - Identify use of green construction techniques and technologies. |
| - Prepare Lay out plan for building | - Obtain work instructions, including plans, specifications, quality requirements and operational details, and apply relevant information for planning and preparation. - Implement signage and barricade requirements. - Calculate material quantity requirements in accordance with plans, specifications and quality requirements. - Locate survey pegs at corners of site in accordance with job drawings, specifications and site topography. - Set string lines accurately into position to identify site boundary markings in accordance with site plan and survey pegs - Determine measurements of building line from boundary or existing building from site drawings for setting out. - Determine corner of building on set building line to true measurement from adjacent boundary and mark with peg in accordance with job drawings and specifications. - Set up right angle to line from corner peg using triangulation principles. - Inspect diagonal measurements for square and adjust lines to provide square relationship within 5mm tolerance over minimum diagonal length of 15m. |
| - Installation of Physical termite barriers | - Identify installation requirements for termite barrier - Review work site plan and select installation specification to prevent concealed termite access according to work order - Locate materials in readiness for installation according to specifications - Check previous trades work for possible effect on proposed installation of termite - Assess work site for access and safety issues according to requirements. - Identify factors affecting on termite proof barriers - Select personal protective equipment (PPE) - Adjust equipment and tools according to - Dispose of collected waste as per requirements. - Update client records regulatory and complete documentation |
| - Perform water proofing works in construction | - Obtain, confirm and apply work instructions. - Calculate material quantity in accordance with plans, specifications and quality requirements. - Select waterproofing systems and products for water exclusion - Check range of waterproofing materials and waterproofing installation technique - Determine termination detailing. - Check basement, water tank and wet area fitment or fixtures for specific measurements and set out in accordance with drawings and specifications. - Check substrate for soundness of fit, curing compounds, moisture content and other contaminants, and reported or remedied as required. - Check flooring installation levels and falls to waste outlets for conformity to specification. - Prepare surface of structure to be waterproofed to manufacturers' specification, including fixings - Install water stops and hobs in required location in compliance with standards - Perform priming coat on prepared surface of structure - Apply and cure waterproofing membrane to primed surface of structure to correct thickness - Apply appropriate bond breakers and fillets as required - Conduct flood testing of installation if required. |
| - Perform false work for structure | - Evaluate site conditions to determine appropriate scaffolding system. - Identify potential hazards (e.g., uneven ground, overhead power lines, weather conditions) and plan mitigation strategies. - Prepare detailed scaffolding layout and design based on project requirements. - Prepare stable and level foundation for scaffolding, using base plates, sole boards, or other support methods. - Construct scaffolding frame according to design plan, ensuring all components are securely connected. - Install braces and ties as required to prevent movement and provide additional support. - Install guardrails, mid-rails, and toe boards on all open sides to prevent falls. - Check any loose connections, misaligned components, or other potential hazards. - Make necessary adjustments or reinforcements to address any identified issues. - Identify situations where shoring is necessary to support excavations and trenches. - Recognize types of shoring systems (e.g., timber shoring, hydraulic shoring, sheet piling). - Prepare detailed plans and diagrams for shoring layout. - Identify situations where underpinning is required to stabilize or strengthen existing foundations. - Evaluate techniques (e.g., mass concrete underpinning, beam and base underpinning, mini-piled underpinning). - Choose method based on site conditions, building type, and project requirements. - Develop detailed plan for underpinning process, including material selection and sequence of operations. - Prepare risk assessments and mitigation strategies for underpinning activities. |
| - Install and remove formwork for suspended slabs, columns, beams and walls | - Obtain needed materials - Clear work area and prepare surface for safe erection of form work for suspended slabs, piers and shutters. - Assemble formwork according to plans, specifications - Erect formwork support system sequentially according to initial set out. - Construct formwork shutters form requirements and specified dimensions. - Remove debris, sawdust and other waste materials - Remove formwork and bracing/strutting support sequentially and safely. - De-nail, clean, oil and store or stack timber, stack steel components safely for reuse or removal from site. - Discard damaged formwork components safely after stripping. - Clear work area by disposing of materials (reused or recycled |
| - Install and remove formwork for stairs and ramps | - Calculate material quantity requirements in accordance with plans, specifications and quality requirements. - Identify design of stairs and/or ramps and method of joining formwork from job drawings and specifications - Determine rise, going and pitch of stairs and ramp from plans - Calculate full size set out of stairs and ramp and make to determine rise, going and pitch of stairs to provide location of landings, stringers, treads and posts where specified. - Set out location of footings to layout of designed stairs and ramp from plans, specifications - Place, fix and brace landing bearers and joists. - Check footings for accuracy to requirements of plans and specifications. - Erect and brace stairs and/or ramp formwork soffit - Brace risers at mid-span to prevent deflection under load of wet concrete. - Secure formwork tie bolts to plans and specifications to maintain stair width where specified - Remove formwork and bracing/strutting support sequentially and safely. - De-nail, clean, oil and store or stack timber and stack steel components safely for reuse or removal from site. - Discard damaged formwork components safely after stripping. - Clear work area by disposing of materials (reused or recycled) |
| - Prepare drawing of different foundation | - Prepare plan view of deep foundation system, accurately showing positions of all piles, caissons, or other deep foundation elements. - Prepare detailed sectional views of deep foundation system, showing depth, dimensions, and configuration of foundation elements. |
| - Plan earthquake resistant building | - Obtain plans and specifications - Identify building configuration like lightness standards, symmetry, projections and size of building - Identify enclosed area - Design slopes, foundation and ductility - Identify building material as per specifications - Identify horizontal reinforcement at lintel, plinth, gable and roof level - Identify vertical reinforcement as per specification - Prepare drawing. |
| - Apply structural principles to construction of large, high rise and complex buildings | - Identify main structural principles that apply to erection of large, high rise and complex structures - Analyze performance characteristics of structural elements, including materials identified in building plan, to planning of construction work. - Identify requirements for retaining walls in conjunction with related industry professionals and apply to planning process. - Analyze structural function and requirements for temporary structural elements to planning process. - Plan damp coursing and provision of termite barriers and other relevant techniques in accordance with codes, standards and industry practice |
| - Construct masonry steps and stairs | - Select plant, tools and equipment to carry out tasks consistent with job requirements, check for serviceability, and any faults - Calculate rise and fall of flight and individual steps as per codes and workplace requirements. - Calculate material quantity requirements in accordance with plans, specifications and quality requirements. - Make ready materials for work application - Prepare mortar mix to required conformity and specifications. - Construct base brickwork to specifications and requirements of standards and codes. - Construct square steps, level, and plumb and lay to specified bond. - Develop design and profile of steps and aligned to bond and plumb to specifications. - Carry out joints according to work specifications. - Set out brickwork/block work laid to line, with gauge and complete to work specifications. - Clean brick/block faces free of mortar |
| - Determine parameters for elevators and escalators | - Identify specific needs of building, such as number of floors, expected traffic patterns, peak usage times, and population density. - Identify space requirements, cost, maintenance needs, and energy efficiency of elevator - Determine load capacity for elevators and escalators based on expected passenger volumes and traffic patterns. - Select elevator (e.g., traction, hydraulic) or escalator based on building’s height, design, and intended use. - Calculate size and number of elevators or escalators required to handle peak traffic efficiently, using industry-standard methods like handling capacity and interval calculations. - Ensure performance metrics, including acceleration, deceleration, and stopping accuracy, for smooth and safe operation. - Identify impact of speed on energy consumption, safety, and passenger experience Evaluate integration of smart technologies, such as destination control systems and energy-saving modes. - Evaluate integration of smart technologies, such as destination control systems and energy-saving modes. |
| - Plan for sound insulation of building | - Assess risk assessment to identify existing risks and hazards in work area, including electrical risks and hazards. - Confirm insulating material and insulation requirements in accordance with work specifications. - Adopt personal protective equipment (PPE) and clothing according to organizational policies and procedures. - Determine associated material and organize ready for use according to quality requirements and work plans and specifications - Measure insulation material accurately - Install insulation using approved processes and handling techniques - Install insulation safely without damage or distortion of surrounding environment, electrical and other services and in a manner that maximizes safety of self and others. - Conduct final inspections to ensure installed ceiling insulation conforms to job and manufacturer specifications. - Clean work area and disposed of materials, reused or recycled according to organizational, safety and environmental requirements. |
| - Plan for ceiling insulation of building | - Assess risk assessment to identify existing risks and hazards in work area, including electrical risks and hazards. - Confirm ceiling insulating material and insulation requirements in accordance with work specifications. - Adopt personal protective equipment (PPE) and clothing according to organizational policies and procedures. - Select tools and equipment as per requirements of work, confirm for serviceability, and report for repair or replacement where not serviceable. - Determine associated material and organize ready for use according to quality requirements and work plans and specifications - Measure insulation material accurately to minimize waste. - Install insulation using approved processes and handling techniques according to manufacturer specifications and relevant electrical and building regulations - Use dust-suppression procedures to minimize health risk in work area to self and others. - Install insulation safely without damage or distortion of surrounding environment, electrical and other services and in a manner that maximizes safety of self and others. - Conduct final inspections to verify installed ceiling insulation conforms to job and manufacturer specifications. - Clean work area and dispose of materials, reused or recycled according to organizational, safety and environmental requirements. |
| - Plan and draw acoustic system of an auditorium | - Identify room geometry, surface materials, and volume on acoustic performance of an auditorium. - Identify potential acoustic challenges related to auditorium’s shape, size, and construction materials. - Evaluate effectiveness of different acoustic materials, such as sound-absorbing panels, diffusers, and bass traps, in controlling sound within auditorium. - Assess correctness of materials used for walls, ceilings, floors, and seating in contributing to or mitigating unwanted noise. |
| - Assess and repair construction faults of building | - Identify signs of construction faults, such as cracks, settlement, leaks, and uneven surfaces, through visual inspection and diagnostic tools. - Perform detailed inspection of building, covering all major components, including foundations, walls, roofs, floors, and structural elements. - Assess impact of identified faults on building’s structural integrity, safety, and functionality. |
| - Select machinery for construction of a building | - Identify modern construction technologies, including Building Information Modeling (BIM), 3D printing, drones, automated construction equipment, and prefabrication. - Analyze specific needs of a construction project, including scale, complexity, and unique challenges. - Evaluate types of advanced construction machinery, such as automated robotic arms, tower cranes, hydraulic excavators, tunnel boring machines (TBMs), and laser-guided systems. - Develop detailed plan for integrating advanced technology and machinery into construction process. - Enlist steps required for setup, operation, and maintenance of machinery. |
| - Apply building planning regulation to a building project | - Interpret specific requirements of relevant building codes and standards that are applied correctly to building project. - Interpret specific requirements of relevant building codes and standards that are applied correctly to building project. - Check architectural designs comply with all applicable building codes and standards. - Verify materials and products used in building project are as per ECBC 2023. - Identify and enlist address any non-compliance issues, to meet code standards. |

- Sustainable building construction and its dominating future

- State the framework of sustainable building construction i.e. Phase (planning, design, development, construction, use and operation, maintenance, modification, deconstruction) Resources (land, materials, water, energy and ecosystem) and Principles (reduce, reuse, recycle, protect nature, eliminate toxics, life cycle costing and quality)

- Explain climate change and passive survivability factors in the buildings

- Explain stainable construction progress and challenges

- Introduction to energy management, energy conservation, energy efficiency and its need in construction sector

- Explain Energy efficient design and conservation techniques for construction and operation

- State NEECA building rating system harmonized with LEED

- Describe Salient feature of Energy Conservation Building Code (ECBC)-2023

- Introduction to site preparation and layout

- State the initial checks on drawings

- Explain the factors affecting the site layout

- Explain site layout of general construction project with illustrated example

- Explain the ground water control and its methods i.e. temporary and permanent

- Introduction to water and termite proofing

- State general principal of termite proofing

- Describe the methods and materials of termite proofing

- State the dampness and seepage reasons and their preventive measures

- Explain different water proofing materials and their uses

- State the water proofing of different structures i.e. walls, roofs, water tank and basement

- Introduction and state different types of false works

- Discuss material, components, characteristics and types of form work

- Describe the components and types of scaffolding

- Explain the methods of shoring and underpinning

- Discuss the methods and materials for centring

- Introduction to coffer dam and explain their types

- State the uses of coffer dams and explain its leakage prevention

- Introduction to deep foundations and explain their types

- State pile foundation, explain their types and uses

- Explain the caisson foundations types and uses

- Describe the well foundations, explain their types and uses

- Introduction to seismic resistant construction

- Describe internal structure of earth, tsunami and different seismic zones

- State the causes and effects of earthquake

- Discuss the general parameters of seismic resistant construction

- Explain the methods and materials of construction

- Introduction to framed structure building

- Explain the types of framed structure building

- Explain the components of framed structure building

- State the advantages of framed structure building construction

- State the construction process of multistorey building with basement

- Introduction to stairs, lifts, elevators, ramps and escalators

- State the technical terms and different parts of stairs, lifts, elevators, ramps and escalators

- Explain different types stairs and staircases i.e. material, layout, method of construction

- Discuss the different types of elevators and escalators

- Calculation of Riser & tread of a simple stair

- Characteristics of ideal stair

- Introduction to acoustics and acoustics related technical terms i.e. sound, pitch, loudness, tone, intensity of sound, reflection of sound, reverberation, time of reverberation, transmission of sound and absorption of sound etc.

- Explain the factors to be considered in an acoustics of buildings

- Describe the sound absorbing materials and their use

- Discuss the introduction to acoustic design of an auditorium

- Explain the sound insulation and methods of sound insulation.

- State the common acoustical defects and remedies for good acoustics

- Introduction to ventilation and air conditioning technical terms i.e. conditioned air, purity of air, humidity, cooling heating and ventilation

- State the properties of air and thermal effects on building parts

- Explain the factors affecting ventilation of building, functional requirements of ventilation and methods of ventilation

- Explain heating of building, transmission of heat and methods of heating

- Explain cooling of building, methods of cooling

- Discuss air conditioning systems and purpose of air filters

- Discuss the fire protection, causes and effects of fire

- State the fire resisting properties of construction materials

- Explain impact of fire in different buildings and components of building.

- Explain the structural fire protection

- State the arrangements for fire-protection & extinguishing of building i.e. alarm system, protection of openings, stairs and floors, thick common wall, smoke detectors, firefighting devices and systems

- Discuss the means of escape in case of fire required for apartment, office building, and public building

- State the causes of deterioration and maintenance of structures

- Discuss the classification of building maintenance i.e. annual, special etc. repairs

- Explain repair to damaged surface finishing i.e. plaster, pointing, white wash, distemper and painting

- Discuss the repair to damaged parts of different floors i.e. concrete floor, terrazzo floor, mosaic floor, and timber floors

- State the concrete spalling causes and repair

- Explain the replacement and repair of door and windows parts i.e. glass panes, decayed timber etc.

- Discuss repair to cracks in masonry and concrete structures

- Explain the maintenance of sanitary fixtures, water supply and drainage system

- Discuss the maintenance of electrical system

- State the renovation / rehabilitation of old structures

- Introduction to construction machinery and equipment

- Explain various types of construction equipment used in excavation, earth compaction, hauling, hoisting, conveying, pumping, concrete construction, drilling, road making equipment and 3d CNC building printing machine

- Discuss the selection of equipment and cost of equipment

- Explain advanced construction and maintenance techniques i.e. trenchless construction, shot-crating, retrofitting

- State the mechanized construction methods i.e. precast, tilt up construction and prefabricated or/and modular construction

- Introduction to Internet of Things (IoT) devices and sensors for construction site data collection (drones), Monitoring (temperature, humidity, pressure and vibration sensors) safety, demolition and material transport

- State the introduction to virtual reality (VR) technology in construction

- Introduction to municipal requirements

- State the classification of buildings

- Define different technical terms related to municipal requirements in building planning i.e. building line, set back line, covered area, plinth area, floor area and floor area ratio, carpet area, building height, habitable rooms, water closet and balcony

- Brief Introduction to by laws and regulations of different development authorities

- Introduction to ECBC 2023 for building design.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in
this competency standard:

- Construct a room following all operations/activities including layout, excavation, termite proofing, lean concrete, brick work, damp proof course, scaffolding, shuttering, concreting, sound insulation and ceiling insulation.

- Evaluate acoustic control of an auditorium

- Estimate heating and cooling load for building

Tools and Equipment’s

| SR. NO | Tools | Quantity Required |
| --- | --- | --- |
|  | Concrete drum mixer (tilting type) | 1 |
|  | Vicat Apparatus | 5 |
|  | Lechatlier's Apparatus | 2 |
|  | Wheel Barrow | 5 |
|  | Bucket | 10 |
|  | Paint scraper set | 10 |
|  | Poteen Filler Knife Set | 10 |
|  | Cold Chisel Set | 10 |
|  | Brick Hammer | 15 |
|  | Hammer | 15 |
|  | Plumb Bobs | 15 |
|  | Mason Spirit Level | 15 |
|  | Straight Edge | 15 |
|  | Shovels With Handle | 15 |
|  | Kassi (Plies)with Handle | 15 |
|  | Spirit Level( Aluminum 2' ft length | 15 |
|  | Pick Axe | 5 |
|  | Steel Float set (small, medium, large) wooden handle | 15 |
|  | Wooden Float (small, medium, large) wooden handle | 15 |
|  | Wooden Scaffolding for Mason |  |
|  | a)Bamboo 10' ft | 20 |
|  | b)Bamboo 15' ft | 20 |
|  | c)Battens(5'X3.5"X2.5") | 20 |
|  | d)Shesham wood planks(7'X7"X1.5") | 20 |
|  | Mortar Pan | 5 |
|  | Adjustable Wrench Set | 10 |
|  | Measuring Tape (5m) Steel | 15 |
|  | Mixing Spoon Set | 15 |
|  | Pointing Trowel | 15 |
|  | Pointing Tray | 10 |
|  | Striker for Vertical Joint(pointing) | 15 |
|  | Striker for Horizontal Joint(pointing) | 15 |
|  | Measuring Tape (Metallic ) | 10 |
|  | Mason Trowel | 15 |
|  | Hard Hat/ Safety helmet | 50 |
|  | Steel Toed Safety shoes | 50 |
|  | Gum Shoes | 50 |
|  | Safety gloves | 50 |
|  | Coverall/ Dungaree | 50 |
|  | Respiratory mask | 50 |
|  | Safety Goggles | 50 |
|  | Ear Muff | 50 |
|  | Safety Cone 30" | 8 |
|  | Fire Extinguisher (DCP) | 1 |
|  | Fire Extinguisher (CO2) | 1 |
|  | Multimedia | 1 |
|  | Steel Bending Machine | 1 |
|  | Steel Cutter Machine | 1 |
|  | Disc Cutter | 1 |

Consumables

| SR. NO | Items | Quantity Required |
| --- | --- | --- |
|  | Bitumen different grade | 20 Kg |
|  | Bricks different classes (1st, 2nd and 3rdclass) | 2000 Nos. |
|  | CementPortland ordinary | 20 bags |
|  | Rapid hardening cement | 5 bags |
|  | Chalk | 5 KG |
|  | Lime | 10 Kg |
|  | Sand | 200 Cu. ft |
|  | SandDust | 1 Kg |
|  | StoneCrush different sizes | 300 Cu.ft |
|  | Marble chips 0# to 4# | 40 Kg |
|  | Marble powder | 20 Kg |
|  | White Cement | 02 bags |

### Civil- 283 Quantity Surveying

Overview: The competency standard describes skills and knowledge required to prepare rough cost estimate and detailed estimate of a building and other services, BOQ of different type of walls and material statement. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare rough cost estimates of building | - Identify building drawings - Select number of units. - Calculate unit rate from existing building. - Calculate covered area of building - Calculate cost per square unit from existing buildings - Prepare rough cost estimate of new building. - Submit result to concerned person. |
| - Prepare bill of quantities for straight wall,D, T, L, H, U shaped and circular walls. | - Select type of wall i.e. D-wall, H-Wall, Tee Wall, L-Wall, U-wall and circular wall - Prepare BOQ table as per specifications. - Take measurements from given plan and section - Record measurement in BOQ table |
| - Produce detailed estimate of a single storey building | - Select plan and section - Draw centre lines in plan. - Sum up lengths of centre lines by centre line method. - Prepare BOQ for quantities of items of work for building - Select MRS/PWD rates of qualities as per specifications - Prepare abstract of cost table with help of composite schedule of rates. - Report cost estimates to concerned person. |
| - Prepare Annual and Special repair estimates | - Identify items of work for Annual/ Special Repair of building / road - Calculate quantities of items of work for Annual/ Special Repair for building/ road - Select MRS/PWD rates as per specification. - Prepare Abstract of Cost for Annual/ Special Repair for building / road. |
| - Calculate Earth work for Civil Engineering structures | - Select section of road in plain / hilly road. - Select section of irrigation canal - Select method of calculation of earth work i.e mean area, mid sectional area and prismoidal formula method. - Identify data of NSL, FL and calculate depth of filling. - Calculate x-sectional area at each RD as per selected method. - Calculate volume of earth work filling / cutting. |
| - Prepare detailed estimate of Arterial roads | - Identify section of selected road. - Calculate area of site of selected road for road clearance. - Calculate area of permanent land. - Calculate area of temporary land - Calculate volume of earth work. - Calculate volume of sub-base and base course of road. - Calculate area of surfacing for TST / carpet. - Measure items of boundary pillar, km post, sign boards. - Measure quantity of expansion joints. - Measure quantity of dowel bars. - Calculate volume of dismantling base & sub-base. - Prepare BOQ of road. - Prepare abstract of cost. |
| - Prepare material statements | - Select item of work for material statement. - Identify specification for work. - Calculate proportion required for work - Prepare material statement. |
| - Analyze rates of items of work for building | - Select unit of quantity for analysis according to value of item work. - Identify relevant specification. - Calculate quantities of items of work - Calculate cost of material. - Calculate carriage of material. - Calculate labor cost. - Calculate total cost. - Calculate contingencies. - Calculates contractors’ profit. - Calculate total cost and unit cost. |
| - Prepare rough cost estimate of water supply scheme. | - Identify water supply sanitation item of works for building - Calculate quantity of fitting and fixtures as per given drawing - Calculate length of pipping as per given drawing of domestic building. - Taking out quantity for manhole and septic tank - Prepare BOQ |
| - Prepare rough cost estimate of sewerage scheme | - Interpret drawings of water supply. - Calculate quantity of trench work - Calculate total length and quantity of pipe. - Calculate quantities of appurtenance. - Calculate quantity of suction and delivery pipe - Prepare rough cost estimate of water supply scheme. - Prepare BOQ - Identify MRS/PWD rates for items of work. - Prepare abstract of cost. |
| - Prepare estimate of sewerage scheme | - Interpret sewerage scheme drawing - Calculate quantity of excavation for sewerage work. - Taking out length of each dia pipe. - Prepare analysis of rate for manhole - Prepare BOQ. - Identify MRS/PWD rates for items of work. - Prepare abstract of cost. |
| - Calculate standard rent of building | - Calculate gross out goings - Calculate capitalized value - Calculate annual / monthly rent |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- State formulae for area, perimeters and volumes of various plane and solid geometrical figures.

- State units FPS, MKS and SI.

- Understand unit conversions

- Describe importance of estimates.

- State measurement linear, square, cubic.

- State type of estimate.

- Discuss detailed specifications of important items of works by help of specifications book VOL I&II GOP.

- Procedure to prepare rough cost estimate of a building from given line plan or covered area.

- Distinguish between P.W.D and English method of recording measurements.

- List all items of works for a residential building (only building position except public health and electrification installation).

- Determine quantities of all items of works for straight; D, F,H,T,U  shaped walls and circular walls.

- Workout quantities of all items of works for a single Storey building (building portion only) from given drawings.

- Procedure to prepare bill of quantities and abstract of cost with help of composite schedule of rates.

- Procedure to prepare annual and special repair estimate for a given building.

- State data required for computation of earth works. (Intermediate point-IMP)

- Explain methods to determine quantity of earth work and its respective proformas (mid area, mean area, Prismoidal & Graphical Methods).

- Work out (determine) quantity of earth work for embankments, roads and irrigation channels.

- Explain remodeling of irrigations channels.

- Work out quantity of earth work for remodeling of a channel from given x-sections of channels.

- Describe parts of road structure and ir specifications.

- State units and method of measurement of all items of works for a road.

- Procedure to prepare detailed & repair estimate for bitumen and cement concrete road.

- Describe purpose of rate analysis.

- Brief introduction to chaps/rate analysis of MRS items of work.

- Determine quantity of materials required for various items of building works.

- Procedure to prepare material statement for various items of building works.

- Procedure to prepare analysis of rates for important items of work as given in subject contents by using input rates.

- List all item of works for a sewer line and its measurement units.

- Explain preparation methods rough cost estimate of water supply and sewerage schemes.

- Procedure to work out quantities of each item of work for sewer line and manhole from given drawing.

- Procedure to prepare bill of quantities and abstract of cost of water supply scheme of 1000Rft.

- State purpose of valuation.

- Explain terms, book value, market value, salvage value, scrap value, sinking fund, year's purchase, annuity, capitalized value, depreciation and price variation.

- Determine depreciation of a building by straight line method, constant percentage method and sinking fund method.

- Determine depreciation of machinery.

- Determine value of a building by rental method, valuation based on profit and depreciation method.

- Determine rent for government and private building

- Brief introduction to international standard of valuation (IVS-2022)

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Estimate a single Storey two room with verandah building along with 10’ wide bituminous approach road of 25’ length.

- Estimate a water supply and sewerage scheme of 10 houses of 1-kanal area each.

- Prepare rate analysis of concrete for 100 cubic meters.

Tools and Equipment’s

| S.No. | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Measuring Tape (100ft) | 10 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Pencil | 50 |
| 2 | Eraser | 50 |
| 3 | Sharpner | 50 |
| 4 | Calculator | 50 |
| 5 | Ruler | 50 |

### Civil- 293 Civil Engineering Drawing - II

Overview: This competency standard covers the skills and knowledge required to draft a complete 2D and 3D building on AutoCAD and REVIT software.Your underpinning knowledge will be sufficient to provide you the basis for your work.

| A Competency Units | Performance Criteria |
| --- | --- |
| - Install AutoCAD software | - Select AutoCAD version for installation - Activate license key - Load and check AutoCAD for errors - Troubleshoot issues, if any |
| - Perform drafting settings and formatting | - Load AutoCAD software. - Set units, limits, coordinate system and workspace - Set up grid, snap, ortho, and tracking settings. - Setup user interface settings for required specifications - Create and name new layers with lines, colours and weight. - Format text styles & multiline styles. - Format dimension styles. - Format point styles. - Draw plane geometrical figures - Create title block layout for sheets sizes A2, A3 & A4. - Save files in DWT & DWG format. |
| - Perform dimensioning and printing | - Set up a dimension style based on drawing size - Perform lettering & dimensioning. - Set up view ports and modify page layout as per requirement. - Print drawing using plotting configuration |
| - Prepare drawings for doors, windows and schedule of opening | - Load AutoCAD software. - Draw ledged, ledged & battened, louvered, collapsible, sliding, rolling, and revolving doors. - Draw plan, section and elevation of panelled & glazed doors and windows. - Draw detailed plan, section and elevation of flush and wire gauzed door - Prepare schedule of all doors and windows - Perform lettering & dimensioning. - Save and print drawing |
| - Draw 2D drawing of a building | - Load AutoCAD software - Create building drawing using draw and modify tool bar/commands as per given sketch - Apply hatching patterns and set scale. - Perform lettering & dimensioning. - Save files in DWT & DWG format. - Print drawing on A3 size paper. |
| - Prepare drawings of stairs & stair cases | - Load AutoCAD Software - Calculate stair width, riser & tread, landing width, and flight length as per requirement - Draw detailed plan & sections of dog legged and open well stair. - Draw detailed plan & sections of spiral stair case - Perform lettering & dimensioning. - Save and print drawing |
| - Draw Sections of foundations | - Load AutoCAD software - Draw sectional views and reinforcement details of shallow foundations - Draw sectional views and reinforcement details of deep foundations. - Perform lettering and dimensioning - Save and print shallow and deep foundation drawings |
| - Prepare drawings of water tank | - Load AutoCAD software - Draw detailed plan & sections of masonry underground water tank. - Draw detailed plan and cross section of RCC surface and underground water tank. - Draw detailed plan & sections of RCC overhead water tank. - Perform lettering & dimensioning. - Save and print drawing |
| - Prepare drawing of a frame structure building | - Load AutoCAD software - Draw architectural floors plans of a two-storey small frame structure building - Draw gird system based on column layout - Draw sections of building components (Slab, beam, columns, ramp, stairs and retaining wall) - Draw footing plan and sections - Perform lettering and dimensioning. - Save and print drawing |
| - Prepare submission drawing of 10 marla house using AutoCAD | - Load AutoCAD - Prepare architectural submission drawing of 10 Marla houses considering local area bylaws. - Prepare specification, and schedule of opening. - Perform lettering & dimensioning - Save and print drawings |
| - Prepare 3D Drawings | - Load AutoCAD software - Setup 3D User Interface settings for required specifications - Convert 2D building plan into 3D model as per given requirement - Convert 3D face objects into single mesh objects - Apply material to 3D model asper given specifications - Add lights to get scene as per requirement - Assign cameras to execute different views of 3D model as per requirement - Render 3D model according to requirement - Save and print rendered model |
| - Install REVIT software | - Install REVIT software according to Instruction Manual - Activate license key - Load and check REVIT for errors - Troubleshoot issues, if any |
| - Practice basic tools / commands in REVIT | - Load REVIT software - Set all views, sheets, families, and other elements in your project. - Select properties of selected element and modify them. - Create geometric shapes using tool bar/ short keys. - Select an element and perform move, mirror, create and multi copy command. - Use view tools and perform zoom, pan, section view and elevation view commands. - Add text, dimension, tag and draw detail lines using annotation tool. - Save project |
| - Prepare plan of building in REVIT | - Load REVIT software - Create/import drawings to make layout according to given requirements. - Load, Create and draw walls according to given specifications. - Load and install building component (door, windows, ventilators etc.). - Create and draw floor and roofs by boundary according structural specification. - Create 3D prototype model of drawing according to given measurements. - Create specification/detail for various parts according to given requirements (apply Annotation Tags, area tags, dimensions) on building plans according to requirement. - Apply Annotation Tags, area tags, dimensions on building plans according to requirement for elevations for building documentation - Create 2D rendered plans - Save project |
| - Create and Apply families in REVIT | - Load REVIT software - Import families from library - Use Place Component tool to insert (furniture /fixture) families into model. - Prepare new families for customized use - Place stair by component. - Model stair and railing by sketch. - Create Conceptual mass (generic modelling). - Applying conceptual mass to project. - Create families and parameters on building model as per requirement. - Create and apply materials on building model as per design. - Model site and topography - Model site using Topo solid. - Save created families using suitable name and location |
| - Prepare sections and elevations of building drawing using REVIT | - Create a section view and Apply Annotation for building documentation - Create a Callout and Apply Annotation for building documentation - Create a 2D Render. - Creating schedules for building documentation - Creating a material take-off sheet - Creating a door and window legend - Work with sheets - Set for print. |
| - Install plugins for rendering | - Download required plugin - Install plugin in REVIT. - Load plugin for rendering - Configure and update plugin. |
| - Produce rendered 3D view of front elevation | - Select a 3D model for rendering - Perform switching to a 3D view to see model from different angles. - Set Sun and Shadows - Generate a video walkthrough - Add lights for illumination to get requisite scene of 3D model. - Apply material to 3D model as per given specification. - Apply texture to 3D model as per given specification. - Assign cameras to execute different views of 3D Model. - Add scene of 3D model according to specification. - Render 3D model according to required image size or resolution & orientation - Render file as per required resolution - Print your project - Export project in required formats |

Knowledge & Understanding

The candidate must be able to demonstrate knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe the procedure for Navigation in AutoCAD for AutoCAD classic, 2D Drafting and Annotation, 3D Modelling and Initial Setup Workspace.

- Describe the options in File, Edit, View, Insert, Format, Tools, Draw, modify, Parametric, Windows, help, and Express in AutoCAD classic.

- Describe the use of ribbons of “2D drafting and annotation” i.e. Home, Insert, Annotate, Parametric, View, Manage, output and express tools.

- Describe the use of various categories in ribbons of Home, Insert, Annotate, Parametric, View, Manage, output and express tools in 2D drafting and annotation menus.

- Describe the use of tool bars of AutoCAD classic i.e. Draw, Modify, Standards, Properties, Layers, O snap, Dimension and their practical application.

- Explain the procedure for creation of user tool bars.

- State Cartesian and polar coordinates

- State Absolute coordinates

- State Relative coordinates

- Use Direct distance entry system for drawing lines

- Set U.C.S for different situations

- Describe the use of 2D commands for plane figures.

- Apply 2D commands to draw geometrical solid figures.

- Apply 2D commands to draw isometric views.

- Describe use of 2D commands for orthographic views.

- State the process of Units, limits, grid, snap, osnap and other options to prepare drawing with precision and easiness.

- State steps involved in Model setting and layout setting.

- State the use and setting of Layers and properties options settings,

- State steps to prepare two roomed quarter.

- State steps to prepare Plans, elevation and sections of buildings.

- State Dimensioning types, styles & application

- Text settings & application

- Draw and label the spread, raft, grillage, well, pile and caisson foundation

- Draw and label the x-section of lintels and arches.

- Draw the different parts of floors.

- Sketch the plans and sections of different types of stairs according to their layout.

- Draw the sketches of steel trusses up to 25' span and label its parts.

- Draw the elevations, sectional plans and vertical sections of doors, windows and ventilators.

- Sketch different types of hooks and bends with their standard dimensions.

- Define beam & types of beam and draw the x-section and L-section of a singly reinforced beam & show steel reinforcement

- Sketch and label the details of Reinforcement of T-and L-Beam.

- Sketch and label the details of Reinforcement of two way continuous slab over Tee-Beam.

- State steps for Layout setting.

- State steps how to setup a Print layout.

- State steps in Use of printers and plotters and scale setting in AutoCAD

- State the introduction of BIM

- State the introduction to REVIT Architecture

- Explain Basic Building Components in REVIT

- Use of Basic Building Components in REVIT

- Explain editing Tools of REVIT

- Use of editing Tools of REVIT

- State Datum Planes and Creating Standard Views in REVIT

- Explain working with Datum Planes and Creating Standard Views in REVIT

- State Site Features in REVIT

- Adding Site Features in REVIT

- Explain REVIT Families

- Usage of REVIT Families

- Adding Annotations and Dimensions in REVIT

- Creating Project Details and Schedules in REVIT

- Creating Drawing Sheets and Plotting in REVIT

- Creating 3D Views in REVIT

- Explain rendering 3D views

Critical Evidence(s) Required

The candidate needs to produce following critical evidences using auto CAD software in order to competent in this competency standard.

- Produce and print complete architectural and structural submission drawings of 7 Marla house using local authority bylaws and create a 3D drawing of same house using AutoCAD

- Produce and print complete architectural submission drawings of 5 Marla house using local authority by laws and create a 3D render of same house using REVIT

Tools and Equipment’s

| S.No. | Tools | Quantity Required |
| --- | --- | --- |
| 1 | PCs/Laptops | 50 |
| 2 | Multimedia Projector | 01 |
| 3 | Scanner | 01 |
| 4 | A4, A3 & A2 size Printer/ Plotter | 01 each |
| 5 | USB Sticks | 5 |
| 6 | Tracing Sheets | 01 rim |
| 7 | Scissor/ Paper Cutter | 7 |
| 8 | Internet Connection | 8 |
| 9 | AutoCAD software | 1 |
| 10 | Revit software | 1 |
| 11 | Windows OS | 1 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | White Board & Markers | 1 |
| 2 | A4, A3 & A2 Printer Paper | 01 Rim each size |

### Civil-EM- 263 Engineering Mechanics

Overview: This competency standard covers the skills and knowledge required to determine shear force and bending moment diagram of diferent structural members, forces in different truss members and stability of retaining wall.Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Locate centroid of composite sections | - Identify regular / irregular figure for locating centroid. - Find centroid of simple geometrical figures by geometrical consideration / formulae. - Segment section into simple geometrical shapes. - Draw reference axes (X-axis and Y-axis) - Calculate area of each rectangle - Find co-ordinates of each segment. - Apply formula to calculate centroidal distances (X' & Y'). - Mark centroid in given section. - Find centroid of figure by graphical method. |
| - Find Moment of Inertia and Polar Moment of Inertia for geometrical shapes. | - Identify structure sections. - Draw reference axis. - Calculate centroidal of each segment/ sub section. - Calculate centroid of composite section. - Find MOI of each segment/ sub section about centroidal axis. - Apply formula of parallel axes theorem to shift MOI on desired axis. - Calculate polar moment of inertia by formula |
| - Draw Shear Force and Bending Moment diagrams for statically determinate beams | - Identify types of beams - Identify loads acting on beam - Identify supports of beam. - Draw load diagram according to given data - Compute reactions for conditions of equilibrium. - Compute shear force at sections of beam. - Compute bending moment at sections of beam - Draw Shear Force and Bending Moment Diagrams - Determine point of contra-flexure and point of zero shear force |
| CU4. Determine hardness of material by Rockwell and Brinell’s Hardness Testers. | - Identify equipment for testing hardness of material - Select specimen and fix correct indenter - Place specimen on platform and set position. - Perform test and note - Reading of pointer on corresponding scale of dial gauge. - Repeat test and tabulate readings. - Lower platform and remove indenter. - Tabulate result in desired format |
| CU5. Determine modulus of elasticity of given material. | - Prepare sample to conduct Young's modulus test of metallic wire. - Measure dimensions of un-stretched wire. - Perform test and note observations. - Compile results of stress and strain in tabular form - Calculate Young's modulus of Elasticity and calculate strength of material |
| - Find tensile strength of a mild steel specimen. | - Perform Initial setting of UTM. - Prepare sample for testing. - Measure dimensions of sample - Perform test and note observations. - Compile results of stress and strain in tabular form - Calculate limits of proportionality - Draw graph from results |
| - Determine bending and shear stresses in beam | - Identify neutral axis of beam - Identify radius of curvature of neutral axis. - Calculate maximum bending moment / moment of resistance of section. - Compute moment of inertia about N.A - Compute distance of extreme fiber from N.A. - Identify Young' modulus of elasticity - Compute cross section of beam - Apply bending equation to find bending stress at a distance y from N.A. - Find shear stress |
| - Calculate deflection in statically determinate beams | - Identify deflection of beam apparatus. - Set apparatus and loading condition. - Apply incremental load and calculate bending moment for each load. - Apply bending equation and calculate bending stress for each increment load. - Record deflection on each load - Calculate Young's modulus of elasticity for each load. - Draw graph between each weight and deflection - Prepare table for results - Compute maximum slope and deflection |
| CU9. Calculate buckling load / crushing load for column by Euler's formula / Rankin’s formula | - Identify and select column. - Identify end conditions of column. - Determine equivalent / effective length of column. - Calculate moment of inertia. - Calculate critical load by Euler's / Rankin-Gordon formula - Identify factor of safety. - Calculate safe load |
| CU10. Calculate forces in members of statically determinate truss | - Identify types and components of riveted joint. - Identify types and components of weld joints. - Identify static determinacy of truss - Draw diagram of truss. - Indicate known and unknown forces acting on truss - Calculate unknown forces/ reactions. - Select a joint / section and calculate unknown forces in members - Tabulate result showing compressive / tensile forces in members - Draw force diagram |
| CU11. Determine stability of retaining wall | - Draw section of wall. - Calculate weight of wall and its point of action. - Calculate pressure of material retained by wall - Draw pressure diagram. - Locate point of action of resultant force. - Calculate stresses developed at base by Rankine's formula. - Check stability of retaining wall. - Draw stress distribution diagram at base |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- State Engineering mechanics, its branches and historical development

- Describe Fundamental concepts of mechanics

- Explain units of measurements and international systems of units

- Explain the applications of mechanics

- Define and explain the terms: centre of gravity, Centroid, first moment of area, reference axes, centroidal axes and symmetrical axes.

- Describe the methods of finding centre of gravity by geometrical consideration and method of moments

- Explain the steps for the calculation of centroid of composite sections

- Determine position of C. G. for various structural sections i.e. I-section, H-section, T-section, channel section, angle section, Z-section and composite sections by method of moments.

- Define moment of inertia, second moment of area, polar moment of inertia, radius of gyration and their units.

- State moment of inertia of simple geometrical shapes; rectangle, triangle and circle etc (their formulae).

- State perpendicular and parallel axes theorems.

- Determine moment of inertia of simple and composite sections by applying parallel axes theorem with sketches.

- Determine polar moment of inertia for circular section applying perpendicular axes theorem

- Define beam, support and load and state their types

- State difference between statically determinate & indeterminate structures. and calculate reactions for different types of statically determinate beams i.e. simply supported, overhanging and cantilever beams under various loading conditions (Point loads, U.D.L & Combined loading)

- Explain shear force & Bending Moment in beams and their significance.

- Calculate shear forces and Bending Moments at various sections of different types of beams, under different loading conditions (Point loads-U.D. L & Combined loadings).

- Draw shear force and Bending Moment diagrams of beams i.e. simply supported beam, over hanging beam & cantilever beam

- To Calculate of maximum and minimum shear force and bending moments for the beams and their locations and point of zero shear and point of contraflexure.

- State standard formulas for shear force and bending moments for simply supported beam subjected to a central point load and U.D.L on a whole span, cantilever beam subjected to a point load at free end and U.D.L on whole span.

- Define and explain the terms stress, and its types (tensile, compressive and shear)

- Define and explain strain, its types (tensile, compressive, shear, linear, lateral and volumetric) and poison’s ratio.

- Define and explain Hook’s Law.

- State different moduli i.e. modulus of elasticity, modulus of rigidity and bulk modulus.

- Explain mechanical properties i.e. Elasticity, Plasticity Hardness Tension, compression, hardness, Toughness, Brittleness, ductility, Resilience, Flexural.

- Explain Hardness tests; (a) Brinell`s Hardness test (b) Rockwell Hardness test (c) limitations of Brinell’s hardness test (d) comparison of Brinell & Rockwall hardness tests.

- Identify parts and attachments of U.T.M for tensile and compression tests. Also explain the salient points in stress strain curve for ductile material.

- Numerical problems relating to simple stress, strain, Poisson’s ratio and Hook’s Law.

- Explain the types of stresses in beams (Bending & Shear stresses).

- State the assumptions made in theory of simple bending and equation.

- Explain Bending stress distribution across rectangular section.

- Solve problems on theory of simple bending.

- State formula for shear stress and shear stress distribution across rectangular, circular & I-sections of beam.

- Solving problems on shear stress.

- Define deflection of beam and state its significance.

- Name various methods of deflection calculation i.e. moment area method, double integration method, Macaulay’s method and unit load method, etc.

- State maximum deflection in different types of beams.

- State formulae for calculation of maximum deflection in cantilever & simply supported beam for following loading conditions.

- For cantilever beam.

- Point load at free and U.D.L on full span.

- U.D.L covering a part of span from fixed end

- Combination of above loads

- For simply supported beam.

- Point load at mid span.

- U.D.L on whole span.

- Combination of above loads.

- Solve problems of beam deflection by moment area method for above beams and loading conditions.

- Define the terms: column, strut, long column, short column, axial and eccentric loading

- State failure patterns of short and long columns.

- Define the terms: buckling load, crushing load, safe load, F.O.S, slenderness ratio, radius of gyration, fatigue, effective length, etc.

- State four end conditions for the calculation of affective length of column.

- State Euler's formula & Rankine's formula for calculating ultimate load.

- Practice of numerical problems based on Euler’s and Rankine’s formulae.

- State the types of steel structures

- Describe the merits and demerits of steel construction

- State the types of structural steels

- Describe and sketch the hot rolled structural shapes

- Describe and sketch the cold formed shapes

- Describe and sketch the built-up sections and cladding

- Define terms: Pitch, back pitch, margin, edge distance, nominal diameter of rivets, gross dia. of rivets.

- Explain the different types of riveted, welded joint and their comparison

- Explain failure strength and efficiency of riveted joints.

- Calculate the strength, efficiency, pitch etc. of riveted joints.

- Calculate strength & dimensions of fillet welded joints only. (strength and dimension)

- Define truss, state types and parts of steel trusses.

- State methods of truss analysis.

- Determine forces in members of statically determinate truss by method of joints & method of sections.

- State the terms: retaining wall, classification of retaining wall, angle of repose, level & surcharge backing, active and passive earth pressure.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Locate centroid and moment of inertia for different composite sections

- Calculate and draw shear force and bending moment diagrams for statically determinate cantilever and simply supported beams with different loading conditions and supports.

- Perform Rockwell and Brignell’s Hardness test

- Determine deflection and stiffness of statically determinate beams

- Determine ultimate load for column using Euler's formula & Rankin's formula.

- Calculate efficiency, strength of riveted joint and fillet welded joint

- Analyze statically determinate truss by method of joints / sections and present results in tabular form

- Calculate horizontal force, vertical force, resultant force, factor of safety and check stability of retaining wall.

Tools and Equipment

| SR. NO | Tools | Quantity required |
| --- | --- | --- |
| 1. | Rockwell hardness testing machine with accessories, | 02 |
| 2. | Brinell’s hardness tester with accessories | 02 |
| 3. | Allen key, | 05 |
| 4. | Indenter. | 05 |
| 5. | Universal testing machine, | 01 |
| 6. | Vernier calipers, | 25 |
| 7. | Steel rule. | 50 |
| 8. | Strain gauge | 25 |
| 9. | Young Modulus apparatus along with accessories | 25 |
| 10. | Multimedia with accessories | 01 set |

Consumables

| SR. No | Items | Quantity Required |
| --- | --- | --- |
| 1. | Calculator | 50 |
| 2. | Mild Steel Rod of given dimension | 50 |
| 3. | Graph Paper | 1000 |
| 4. | Lead Pencil | 200 |
| 5. | Rubber | 200 |
| 6. | Specimen metallic plates. | 50 |
| 7. | Metallic wires. | 50 |
| 8. | Sharpener | 100 |
| 9. | Board and board markers | 01 |
| 10. | Board markers | 25 |

### Civil- 212 Health Safety & Environment

Overview: The competency standard describes skills and knowledge required to determine water, air and noise pollution and procedures to dispose waste material. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Assess workplace environmental condition | - Interpret environmental quality standards (EQS) for water, air and noise pollution - Identify sources of water, air and noise pollutions. - Identify methods of water, air and noise pollution at workplaces. - Measure sound level at work site. - Measure pH values and turbidity in water at used at site. - Measure particulate matter (PM) in air at work site - Compare sound level with standards - Prepare a report. |
| CU2. Demonstrate solid waste disposal. | - Identify types of wastes - Demonstrate waste separation techniques as per standard - Select tools and equipment for waste handling - Implement basic recycling operations according to SOP |
| CU3. Carryout Risk assessment at workplace | - Identify potential hazards at workplace - Recognize safety signs and symbols - Erect barricades hoardings, signage’s in hazardous areas - Identify risk of slip, trip and fall at work place - Remove obstacles from work area. - Perform fall protection measures as per SOP - Label and store chemicals as per material safety data sheet. - Take corrective/preventive action to mitigate risk |
| CU4. Maintain personal protective equipment | - Arrange personal protective equipment - Demonstrate use of given PPE as per requirement - Maintain PPE according to given instructions - Maintain inventory record |
| CU5. Perform fire fighting | - Identify type of fire - Select appropriate fire extinguishers - Check air direction - Locate emergency exit - Perform spray on fire - Locate exist point |
| CU6. Demonstrate first aid procedure | - Identify elements of first aid kit as per requirement - Demonstrate treatment for - Suffocation - Cut and injury - Electric shock - Snake bite - Maintain first aid kit - Prepare records of expiry dates of medicines |
| CU7. Perform emergency response activity | - Identify nature of emergency - Raise fire alarm - Inform rescue department - Control fire by fire extinguishers - Evacuate work place - Gather assembly point - Perform head count - Rescue trapped injured person - Provide first aid to rescue person |
| CU8. Handle Loads | - Judge weight of load to be handle - Bend knee while lifting as well as placing load manually - Check back bone straight during activity |
| CU9. Handle Heavy Load by chain hoist | - Judge weight of load to be lifted - Select lifting equipment accordingly - Assemble lifting equipment - Clamp load with sling - Check load balance. - Operate chain pulley block without jerk - Use hand signal while lifting and placing load |
| CU10. Plan to respond Natural disaster | - Prepare plan for disaster risk management - Develop a response strategy for pre disaster phase - Develop a response strategy for disaster phase - Develop a response strategy for post disaster phase |
| CU11. Prepare environmental impact assessment report | - Identify risks involved in construction projects w.r.t environment - Perform environmental impact assessment - Prepare environmental impact assessment report |

Knowledge & Understanding

The candidate must be able to develop understanding to analyze different competency units of environmental health and safety and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Definition of turbidity and pH value

- Explain sources of Water Pollution

- Composition of Sewage

- Properties of Sewage (physical, chemical, biological)

- Tests for Sewage (physical, chemical, biological)

- Sewage treatment and disposal

- Water standards for different uses

- Definition, sources and emission of air pollutants

- Methods of detection and measurement of air pollution

- Different types of air pollutants and their sources

- Pathological effects on man

- Different Environmental Quality Standards

- Definition of noise pollution

- Sources of noise pollution (Noise from traffic, Aircraft noise, Noise from construction and civil engineering works, noise from industry

- Measurements of intensity of sound

- Effects of noise on peoples‟ lives

- Control of noise pollution

- Deferent noise quality standards

- Definition of solid waste

- Sources of solid waste

- Difference between organic and inorganic wastes

- Classification of solid wastes

- Collection of solid wastes

- Disposal of solid wastes (sanitary, landfill, incineration, compositing, recycling)

- Introduction to safety and PPE’s

- Industrial ventilation, exhaust systems.

- Industrial noise and its control.

- Safety Precautionary Measures for scaffolding, formwork, ladder, drilling & blasting, demolition, hot bituminous works, excavation and dewatering

- Fire hazards in building

- Fire resistant construction materials

- Fire control systems

- Emergency exit plan

- Introduction to natural disasters

- Causes of natural disasters

- Effects of natural disasters

- Remedial measures for natural disasters

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Collect the EQS related to water, noise, air and waste disposal

- Prepare water sample to evaluate

- TSS

- Turbidity

- Dissolved oxygen determination by given method

- Demonstrate solid wastes disposal

- Demonstrate the use of PPE

Tools and Equipment

| Sr. No. | Tools | Quantity Required |
| --- | --- | --- |
|  | Pollution meter | 2 |
|  | Detector | 2 |
|  | Sensor | 2 |
|  | Noise dosimeter | 2 |
|  | Sound level meter | 2 |
|  | Dissolved Oxygen meter and sensor | 2 |
|  | Turbidity meter | 2 |
|  | Spectrophotometer | 2 |
|  | Thermometer | 5 |
|  | Containers | 50 |

Consumables

| Sr. No. | Items | Quantity Required |
| --- | --- | --- |
|  | Pencil | 50 |
|  | Charts | 50 |
|  | Eraser | 50 |
|  | Litmus Paper | 50 |
|  | Ear Muff, Ear Plug | 50 |
|  | Safety shoes | 50 |
|  | Gloves | 50 |
|  | Safety Goggles | 50 |
|  | Safety Helmet | 50 |
|  | Respiratory protective equipment | 50 |
|  | Life Jacket | 50 |
|  | High visibility jacket | 50 |
|  | Safety harness | 50 |
|  | Face shield | 50 |
|  | Rubber shoes/ long shoes | 50 |
|  | Water Buckets | 10 |
|  | Fire Blankets | 10 |
|  | Sand Buckets | 10 |
|  | First Aid Box | 5 |
|  | Thermometer and B.P apparatus | 5 |
|  | Fire Extinguisher | 5 |
|  | Fire Alarm | 2 |
|  | Sprinklers | 5 |

# 3rd Year DAE Civil Technology

### Civil- 313 Advanced Quantity Surveying

Overview: This competency standard covers skills and knowledge required to prepare estimate of a small two storeyed R. C. C. frame structure building, steel structures, water tanks, culverts and bridges manually and digitally. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Prepare detailed estimate of Reinforced Cement Concrete frame structure building | - Identify and interpret plan and sectional views in drawing. - Calculate quantities of excavation works. - Calculate quantities of lean and RCC column foundation concrete. - Calculate quantities of RCC column - Calculate quantities for Brick work and DPC. - Calculate quantities for beam and slab. - Calculate quantities for water proofing. - Calculate quantities for Surface Rendering. - Calculate quantities for flooring. - Calculate quantities for Doors & Windows. - Calculate number of bars for each structure. - Calculate length of bars for each structure. - Calculate unit length weight for each dia. of bar. - Prepare table of bar bending schedule. - Prepare Bill of Quantities. - Identify MRS/PWD schedule of rates - Prepare abstract of cost. - Calculate premium/ contractor’s profit on amounts of relevant rates. - Calculate contingencies and building services. - Calculate total cost of frame structure building. |
| - Prepare Detailed Estimate of Steel Structures | - Identify and interpret plan and sectional views in drawing - Calculate quantities of steel structural members. - Calculate quantities of Structural plates and joints. - Calculate quantities for painting. - Calculate quantities for Roofing. - Calculate quantities for Ridging, Gutter, plates, sheets and spouts - Calculate quantities for Rain water down pipes / Bottom khurra - Prepare Bill of Quantities for steel structure. - Identify MRS/PWD schedule of rates - Prepare abstract of cost. - Calculate premium/ contractor’s profit on amounts of relevant rates. - Calculate contingencies and building services. - Calculate total cost of steel structure. |
| - Prepare Detailed Estimate of Culverts | - Identify and interpret plan and sectional views in drawing - Calculate quantities of all items of work for substructure for RCC Slab culvert. - Calculate quantities of all items of work for superstructure RCC Slab culvert. - Calculate quantities of all items of work for road structure RCC Slab culvert. - Prepare bar bending schedule of each structural member of RCC. - Prepare Bill of Quantities for culvert. - Identify MRS/PWD schedule of rates - Prepare abstract of cost. - Calculate premium/ contractor’s profit on amounts of relevant rates. - Calculate contingencies and overhead charges. - Calculate total cost of culverts. |
| - Produce Detailed Estimate of Bridge | - Identify and interpret plan and sectional views in drawing. - Calculate quantities of items of for work below bed level of bridge. - Calculate quantities of items of work for above bed level of abutments, wing walls & pier of bridge. - Calculate quantities of super structure of bridge. - Calculate quantities for TST Surfacing. - Prepare bar bending schedule of each structural member - Prepare Bill of Quantities for bridges. - Identify MRS/PWD schedule of rates - Prepare abstract of cost. - Calculate premium/ contractor’s profit on amounts of relevant rates. - Calculate contingencies and overhead charges. - Calculate total cost of bridges. |
| - Produce Detailed Estimate of Water Tanks | - Identify and interpret plan and sectional views in drawing. - Calculate quantities of excavation & foundation concrete for water tank. - Calculate quantities of brick work & RCC work for water tank. - Calculate quantities of flooring concrete & plaster for water tank. - Calculate quantities of iron steps, manhole cover inlet and outlet pipes for water tank. - Prepare bar bending schedule of each structural member - Prepare Bill of Quantities for water tank. - Identify MRS/PWD schedule of rates. - Prepare abstract of cost. - Calculate premium/ contractor’s profit on amounts of relevant rates. - Calculate contingencies and overhead charges. - Calculate total cost of water tank |
| - Prepare detailed estimates using computer software(MS Excel) | - Prepare abstract of quantities table in Excel. - Input data of measurements in formulated table. - Apply formulas for quantities calculations. - Prepare schedule of bars for columns, beams, slabs and lintels for framed structure class room. - Add quantity of each item of work and type relevant rates from MRS/ CSR in abstract of cost table. - Calculate amount by formula, sum up amounts and add premium, contractor profit. - Add contingencies and Work charges. - Prepare detailed estimate of water tanks in MS Excel. - Prepare detailed estimate of bituminous road. - Prepare hydraulic statement of water supply and sewerage scheme in MS Excel. |
| - Prepare project of road in AutoCAD Civil 3D software | - Open AutoCAD Civil 3D - Create new *.dwg file in desired units-feet or meters for road project - Save excel file in *.csv file format - Create formats for data import. - Import *.csv file in CAD file. - Create, edit and print parcels for project. - Create points and point groups and work with survey figures for project. - Create surfaces, edit surface, view and analyze surface for project. - Create and edit horizontal and vertical alignments for project. - Create data shortcuts for project. - Create sites, profile, cross-section, assemblies, corridors, and intersection for project. - Create Grading solutions for project. - Create gravity fed pipe and pressure pipe networks for project. - Perform quantity take of project. - Perform volume calculations for project. - Create plan and profile sheets by use of plan production tools for project. |
| - Prepare complete project cycle documents | - Prepare feasibility report of a road/building project (PC 2). - Prepare rough cost estimate of project selected for feasibility report. - Prepare documents of project PC-1 - Draw flow chart of administrative approval procedure - Prepare detailed estimate/Technical Sanction - Prepare DNIT (Draft notice invitation of tender) as per PPRA rule - Prepare Monitoring documents (PC-3) of project - Prepare Completion report PC-4 and Annual Performance Report After Completion of Project (PC-5) of project |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes knowledge of:

- State list of different items of work for RCC Framed Structure Buildings.

- Know procedure on Calculation of quantities of different items of work. including steel reinforcement

- Prepare of Abstract of Cost & Bar Bending schedule.

- Procedure to workout quantities and cost of steel roof trussed shed of size 60ft x 100 ft.

- State list of different items of work for RCC Over Head Deck Bridge and single span masonry arch culvert.

- Procedure forcalculation of quantities of different items of work.

- Procedure to prepare Abstract of Cost.

- Enlist different works for R. C. C.  Over Head and Under Ground Water (rectangular, polygonal with flat and Circular with segmental top slabs)

- Know procedure on calculation of quantities of different items of work for plate Girder Bridge.

- Procedure to workout quantities and cost of plate girder steel bridge 40 ft span

- Instructions for application of formulae for estimation of civil engineering structures in tabulated form in MS EXCEL

- Explain purpose of AutoCAD Civil 3D software in project designing

- State interface of AutoCAD Civil 3D

- State Tool space, panorama, Templates, Settings, and Styles

- Explain AutoCAD Civil 3D Projects, Sharing Data, Using Data Shortcuts for Project Management

- Describe how to create and edit parcels and print parcel reports

- Describe how to create points and point groups and work with survey figures

- Describe how to Create, edit, view, and analyze surfaces

- Describe how to Create and edit alignments

- Describe how to create data shortcuts

- Describe how to create sites, profiles, and cross-sections

- Describe how to create assemblies, corridors, and intersections

- Describe how to create grading solutions

- Describe how to create gravity fed and pressure pipe networks

- Describe how to perform quantity take-off and volume calculations

- Describe how to Use plan production tools to create plan and profile sheets

- State Use of Tools and Commands for project designing

- Procedure to prepare a road project for 1000 m length.

- Explain preparation of Feasibility report.

- Explain preparation rough cost estimate

- Explain Preparation of PC-1

- Describe Administrative approval procedure

- Describe detailed estimate/Technical Sanction

- Describe DNIT (Draft notice invitation of tender) As per PPRA rule

- Describe Work award to lowest bidder.

- Explain Monitoring (PC-3)

- Describe handing Over/Taking over of Project

- Explain Completion report (PC-4) & PC-5

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Detailed estimate and abstract of costof a small two storeyed R.C.C. frame structure building with steel roof shed including schedule of bars for R.C.C. column bases, columns, beams, slabs, lintels and stairs using MS-Excel.

- Complete estimate of R. C. C. Bridge (high level Three Spans Bridge) including bar scheduling and abstract of cost.

- Complete estimate of R. C. C. underground water tanks and overhead water tank.

- Design of a road project for 1 km length using Autodesk Civil 3D software.

Tools and Equipment’s

| S.No. | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Measuring Tape (100ft’) | 10 |
| 2 | Computer | 25 |
| 3 | AutoCAD Civil 3D Software | 1 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Pencil | 50 |
| 2 | Eraser | 50 |
| 3 | Sharpner | 50 |
| 4 | Calculator | 50 |
| 5 | Ruler | 50 |

### Civil-304 Construction of Project Planning and Management

Overview: This competency standard covers the skills and knowledge required to perform operations for initiation of project, support project planning and design processes, assist with project control and execution, assist with project finalization-closure. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Develop Project Management Life Cycle | - Prepare documents for project. - Establish relationship between project and broader organisational strategies and goals - Assist in negotiating and documenting project objectives, outcomes and benefits - Assist in establishing project organogram. - Assist in drafting of feasibility report - Prepare conditions applicable for project. - Identify project milestones and map clearly against time and objectives - Assist in consolidating associated plans and baselines in project management plan - Prepare status reports on project progress and identify issues. - Maintain project logs and registers accurately and regularly to assist with project audit - Update associated plans to reflect project progress against baselines and approved changes - Prepare project products and associated documentation for handover to client |
| - Develop Preliminary Project Plan | - Perform reconnaissance survey of area for project. - Perform topographic survey of area for project. - Prepare layout of area for project. - Prepare rough cost estimate. - Select site and perform detailed Survey. - Prepare structural design of components of project. - Prepare working drawings of project. - Work out quantities of items of work. - Prepare cost estimate. - Estimate quantity of work, time, and available resources for project. |
| - Develop Construction Project Plan | - Collect data from estimate of construction project. - Identify pre-construction tasks. - Identify time dependency of activities & dummy activities. - Identify activities depending on resources. - Prepare list of activities along with duration - Identify predecessor and successor of each activity. - Arrange activities in sequence. - Define relationships between activities. - Allocate resources for each activity. - Schedule workability of manpower - Schedule productivity of machinery. - Write down duration of each activity. - Write early start time and early finish time for each activity. - Write late finish time and late start time for each activity. - Apply constraints due to resources, time, environment, and season. - Calculate float/ slack time for each activity. - Identify critical path of projectactivities with zero float/ slack time. - Calculate duration of project for completion. - Calculate critical durations for activities. - Calculate time for completion of crash programming. - Record actual time duration during construction |
| - Conduct on-site supervision of construction projects to develop project reports | - Determine quality objectives, standards and levels to establish basis for quality outcomes and a quality management plan - Select and use established quality management methods, techniques and tools to determine preferred mix of quality, capability, cost and time - Identify quality criteria, review agreement to ensure clarity of understanding and achievement of quality and overall project objectives - Include agreed quality requirements in project plan and implement as basis for performance measurement - Measure and document results of project activities to determine compliance with agreed quality standards - Identify causes of unsatisfactory results and recommend appropriate actions to enable continuous improvement in quality outcomes - Maintain a quality management system to enable effective recording and address quality issues and outcomes. - Review processes and implement agreed changes continually throughout project life cycle to ensure continuous quality improvement - Review project outcomes against performance criteria to determine effectiveness of quality management processes and procedures - Identify and document lessons learned and recommend improvements, and proceed for application in future projects - Assess actual cost. - Enhance workforce force and machinery for activities. - Enhance daily working hoursssess impact of each on cost. |
| - Perform Basic operation in Primavera P6 | - Load software - IdentifyLayout Options Bar - Add required number of columns to layout. - Change order of columns as per requirement. - Open Gantt chart window and select WBS - Use of snip tool for screen shot. |
| - Perform Project Activities Scheduling in Primavera P6 | - Load software and create a new project - Open WBS window and add WBS elements - Create a detailed WBS and add activity - Add expected activity duration in original duration’ column - Add activities to other WBS levels. - Configure activity relationship in Gantt chart - Identify relationship arrows now visible in Gantt Chart on right |
| - Perform project resourse allocations, costing and planning in primavera P6 | - Load software, select an activity and schedule project - Select Project - Add finish date in schedule box and run-Scheduler - Add a new calendar and modify according to requirement - Assign Work/Non work day in calendar as required - Add resources and assign to activities as required - Add expenses and assign to activities as required - Create baseline for project - Observe modified bars of actual performance in Gantt Chart and compare them to baseline |
| - Monitor construction Project in Primavera P6 to identify lags | - Load software and select required activity - Check status of activity - Check expenses of activity - Check schedule of activity - Identify activities lagging from project baseline - Perform any/all of following to activity: - Add more resources to activity - Modify calendar for resources working below their work/hour limit - Remove constraints causing delay to activity - Schedule project |
| - Identify Project Risk and Consequences on Project life cycle | - Prepare Construction Project life cycle - Enlist Project Phases - Plan to identify risks in each phase of project - Prepare Risk Break down Structure (RBS) |

Knowledge and understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Explain the objectives and functions of project management

- Explain the different stages and activities involved in various construction projects i.e. planning stage, designing stage, tendering stage and execution stage.

- State the types of civil engineering projects

- State the classification of works-original, major, minor & petty work, annual repair and special repair works.

- Explain the scope of duties & responsibilities of construction team in a construction project

- Explain the importance and role of each member of construction team

- Explain project management life cycle i.e. project initiating, planning, execution and project closure.

- Explain the organizations i.e. line staff, direct and functional organization

- List the engineering departments of government

- Introduction to organizational chart of Public and Private Sector Departments.

- Introduction of duties of different officers of works departments

- Introduction to powers of sanction of various officers of works departments

- Explain the importance of preliminary planning

- Explain feasibility study.

- Explain Types of feasibility study.

- Explain Steps involved in feasibility study.

- Explain the data to be collected and aspects to be considered in feasibility report

- Explain aspects to be considered during preparation of project feasibility report

- State the introduction to construction planning

- Explain the procedure of cost estimation according to schedule of rates

- State the need for material, equipment’s and Labour schedule

- Explain methods of procurement of Labour, materials and equipment’s

- State the objectives of scheduling

- State the Break down the constructions work in to activities

- Explain the procedure of making constructions schedule i.e. sequencing and time computation of each activity

- Prepare bar chart and explain its limitation

- Explain the advantages of project planning by network analysis (only with critical path method)

- Plan and draw CPM network for a construction project

- Calculate net-work time, critical path, free float and total float

- Draw progress charts for a construction project

- Explain characteristics, operations and safety of construction machinery

- Explain cost of owning and operating construction machinery

- List main factors in selection of construction machinery

- Describe productivity of different construction machinery, e.g. Bulldozer, Excavator, etc.

- Describe Navigation: Introduction to Primavera P6, Understanding the benefits of true Enterprise Project Management systems, Logging In, Understanding the Views and Layouts, Customizing Layouts

- Describe Enterprise Project Structure Understanding the Enterprise Project Structure, Modifying the EPS

- Describe P Explain Work Breakdown Structure and to Define and modify a Work Breakdown Structure

- Explain procedure of Adding Activities: Describing an Activity and its attributes, Working with Activity Types, Adding Activities, Understanding Duration Types, Importing Activities, Assigning Activity Codes, Adding Activity Steps

- Describe different Relationships and Constraints: Relationship Types, Create Relationships, Perform a Forward and Backward Pass, Apply a Constraint to an Activity, Critical Path Method, Modify the Project Duration

- Describe process of Formatting Project Data: i.e. Format Group, Sort, & Filter

- Describe the different Roles and Resources for a project, Assign Roles to an Activity, Assign Rates on Roles, Assign Resources, Display the Resource Usage Profile, Analyse Resource Assignments

- Describe the procedure of Analysis, Risks and Issues. Adjust the Project Schedule, Analyse Resource Availability, Enter Risks, Enter Issues, Use Thresholds to monitor Issues

- Describe the procedure of creating of Baselines Plan, Display Baseline Bars on the Gantt Chart, Set up a Baseline view

- Explain the procedure of Project Execution. Describe Status update methods, Describe Progressing activity status, Describe Progressing activities using steps, Explain the procedure of Rescheduling the Project and Summarizing Projects, Work with Reflections, Monitor Issues using Thresholds

- Describing Reporting Methods, Run a Schedule Report, Create a report with the Report Wizard Creation i.e. Preparing and Creating a new project

- Explain the need/importance for inspection of works as per contractual documents

- List the duties of various inspecting officials

- Explain the duties of sub-engineer regarding works, store and account

- Explain the use of site order book and principles of supervision

- Explain necessity and steps involved in quality control

- State the necessity for sampling and testing of materials

- List the points to be considered in enforcing specifications

- State methods of departmental execution of works i.e. daily Labour, piece work and day work

- Explain the various contracting systems for construction works i.e. Lumpsum contract, item rate contract, cost plus fee contract, cost plus percentage contract, labour contract, Negotiated rate contract, turn-key contract and package contract etc.

- Distinguish between work order and contract

- List the merits and limitations of each contracting system

- Define terms budget provision, administrative approval, Technical sanction and Allocation of funds

- State the pre-requisites for tendering

- State the methods of invitation of tender

- Draft a tender notice

- Prepare tender documents

- Explain the need of earnest money and security deposit

- Lists the steps involved in fixing up the agency through tender system

- Discuss the instruction to bidders/contractor for filling tenders/bids

- Prepare comparative statement and selection of contractor from tenders

- Explain the award and commencement of work and possession of site

- Explain mobilization advance, secured advance and retention money

- Explain the conditions of contract such as penalty, 	Arbitration, Time of completions and Extension of time

- Explain the variation order

- Introduction to FIDIC

- State the importance of measurement book

- Explain standard measurement book, rules to be followed in recording measurements, preparation of abstract of payment in measurement book, irregularities in M.B.

- State preparation of Muster-roll, daily labour report, casual labour.

- Explain terms like Hand receipt, imprest, recoverable payment, competent authority, controlling officer, Disbursing officer, Divisional officer, cogence of work, deposit work, supervision charges, suspense account, market rates, storage rate and charges, major head, minor head, sub head, Detailed head

- State the types of bills to be used-, running bills, final bills, deductions to be made from bills checking of bills, value engineering, cost accounting (interim payment certificate)

- Explain the mode of payment to contractors- vouchers, first and final bill, advance payment, interim payment, final payment, secured advance payment, bill forms, Hand receipt, recoverable payments

- Explain need for store in a project

- State the classification of stores- stock, tools and plants, Road metal and materials charged direct to the work.

- State the classification of the items in general stock

- Explain the terms used in stock i.e. sub-heads of stock receipts and issuance of stock items, stock account, Register of stock receipts and issuance, shortages and surpluses of stock, monthly stock account, material at site account, road metal account.

- Explain the terms used for Tools and plants like sub heads of tools and plants, Issuance and receipts of T & P, T & P account, verification of tools and plants (Shortage and surplus).

- Explain principles of storing materials, Location of T & P, protection of stores, store room record, bin card, ordering procedure of store.

- Explain the procedure of indenting of materials like instruction for preparation of indents, specifications, and supply procedures in works departments

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare assigned residential building / water supply scheme of a small housing society / sewerage scheme of a small housing society / road project using Primavera P6- Baseline Plans, Display, Resource Usage Profile, calendars, resources

- Prepare feasibility report and project documents (detailed estimate, specifications. Tender process, approvals, award of work, execution and closure of work) of residential building / water supply scheme of a small housing society / sewerage scheme of a small housing society / road project

- Plan network for the residential building / water supply scheme of a small housing society / sewerage scheme of a small housing society / road project using Critical Path Method.

Tools and Equipment’s

| S.No. | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Calculator | 10 |

Consumables

| S.No | Items | Quantity Required |
| --- | --- | --- |
| 1 | Pencil | 50 |
| 2 | Eraser | 50 |
| 3 | Sharpner | 50 |
| 4 | Calculator | 50 |
| 5 | Ruler | 50 |

### MGM- 341 Entrepreneurial Skill

Overview: This competency standard covers skills and knowledge required to prepare micro-business plan, sales plan and marketing plan. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| - Interpret elements of Entrepreneurial Skills | - Identify significance of entrepreneurship - Identify types of entrepreneurs - Identify characteristics entrepreneurs. |
| - Validate Business Idea | - Develop innovative business ideas. - Assess feasibility of business ideas. |
| - Develop Marketing & Sales Skills | - Identify marketing strategies and techniques. - Develop effective sales skills. |
| - Manage Finances of business | - Exhibit & Manage finances effectively for a startup. - Identify different methods of fundraising. |
| - Interpret Legal Aspects & Business Ethics | - Identify legal requirements for starting a business. - Recognize importance of business ethics. |
| - Develop Business Plan | - Develop and finalize a detailed business plan for a proposed venture. - Present and defend business plan effectively. |
| - Present Business Plan | - Apply learned skills in practical project. - Present and defend a business plan effectively. |

Knowledge and Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Explain the 7ps of marketing including product, price, placement, promotion, people, packaging and positioning

- Describe 7Cs of business communication

- Define different modes of communication and their application in the industry

- Enlist specific business terms used in the industry

- Enlist the available funding sources

- Explain how to get loan to start a new business

- Explain market survey and its tools e.g: questionnaire, interview, observation

- Describe the market trends for specific product offering

- State the main elements of business plan

- Explain how to fill the business plan format

- State and local government legislative requirements relating to business operation, especially in regard to occupational health and safety (OHS) and environmental issues,

- Income and expenditure costing

- Principles of risk assessment relevant to the business opportunity

- Basic budgeting

- Basic costing for the business

- Financial commitments and requirements

- Financial reports and terminology

- Methods and relative costs of obtaining finance

- Own financial position

- Sources of advice and assistance.

- Describe the market & marketing

- Differentiate between sellers and buyers’ market

- Describe the five ‘w’ of market

- Explain the procedure for assessing the market size and demand

- Explain the major factors to be considered when selecting a location for a business

- Describe the basic types of business ownership and the limitation of each

- Explain the computation of initial and working capital needed to start an enterprise

- Identify the advantages and disadvantages of using various sources of capital to start an enterprise

- Explain the component of cost of product

- Explain the breakeven analysis for a new business

- Calculate the breakeven point for various new business

- Outline principles and techniques for selling

- Outline methods for monitoring sales outcomes

- Explain the statistical techniques for analyzing sales and market trends

- Outline internal and external sources of information that are relevant to identifying organizational strategic direction and developing a product sales plan.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

Evidence of the following is essential:

- Develop a business proposal

- Develop a sales Plan

- Develop a marketing Plan

Tools and Equipment’s

| S No. | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Calculator | 50 |
| 2 | Ruler | 50 |

Consumables

| S No. | Items | Quantity Required |
| --- | --- | --- |
| 1 | Papers | 100 |
| 2 | Pencil | 100 |
| 3 | Eraser | 50 |

### Civil- 324 Hydraulics and Irrigation Engineering

Overview: This competency standard covers the skills and knowledge required to determine physical properties of fluid, measure fluid pressure, locate fluid pressure on immersed surface, find out discharge continuity equation, determine discharge and losses in pipe flow, determine hydraulic co-efficient through orifices, demonstrate design of canals and Irrigation method. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Determine physical properties of fluid | - Identify and prepare required equipment to determine physical properties of fluid - Measure physical properties of fluid with required equipment - Density - Capillary - Viscosity - Surface tension - Record Observation and analyse |
| - Measure Fluid pressure | - Identify and prepare required equipment - Measure pressure by piezometer - Measure pressure by Manometer - Record Observation and analyse |
| - Locate center of pressure on Immersed surface. | - Identify and prepare required apparatus - Calculate area of immersed surface - Calculate moment of inertia - Calculate hydrostatic pressure on surface - Find position of center of pressure |
| - Determine Metacentric height of a floating body | - Identify and prepare required apparatus - Record moveable weight and apparatus weight - Place apparatus in water tank. - Record observations by moving weight - Calculate metacentric height by standard formula - Record Observation and analyse |
| - Determine discharge of channel by continuity equation | - Identify required equipment - Determine velocity through given instrument - Determine area of cross section of channel - Calculate discharge by using formula |
| - Determine discharge by venturi meter | - Identify working condition and prepare required apparatus for observations - Measure flow rates using volumetric tank. - Measure differential head between two sections using manometer - Determine readings by changing discharge using control valve - Observe piezometric readings at inlet and throat - Calculate head through piezometer readings/pitot tube - Calculate actual and theoretical discharge - Calculate coefficient of discharge using formula. |
| - Determine losses in pipe flow | - Identify pipe losses using apparatus with piezometer - Observe piezometric readings - Draw hydraulic gradient line. - Calculate losses using required formulae |
| - Determine hydraulic Co-efficient through orifices | - Identify and prepare required apparatus - Set constant head in tank - Measure horizontal and vertical coordinates - Calculate actual discharge using required apparatus - Use formulae to calculate coefficient of velocity and discharge - Record Observation and analyse |
| - Determine discharge through notches and weirs | - Identify notch/weir for discharge measurement - Calculate area of notch/weirs using required formulae. - Measure head of water over notch/ weirs - Calculate discharge using required formulae - Record Observation and analyse |
| - Determine economical cross section of channel | - Identify channel i.e. rectangular/trapezoidal - Calculate width and depth of channel - Calculate discharge of different section - Evaluate obtained discharge - Determine economical section |
| - Produce irrigation map of Pakistan | - Identify drawing instruments and prepare drawing sheet as per give standards. - Draw map of Pakistan and show rivers on it. - Draw barrages, main canals, head works and link canals |
| - Prepare drawing of a multipurpose irrigation project | - Draw plan of a multipurpose irrigation project - Draw plan showing river training and protection works - Draw layout of head works - Draw weir’s section and label it parts - Draw plan and section of a silt ejector - Label all necessary details |
| - Water requirements for crops | - Identify area of crops (Kharif or Rabi) - Identify delta of each crop and its duty - Estimate total water requirement |
| - Design Canal | - Use of a contour map with respect to canal route - Draw alignment of canal, distributary and water course on given scale - Prepare design of canal by Kennedy Critical velocity theory - Prepare design of canal by Lacey's Regime velocity - Find design parameters. - Draw typical X-sections of channels |
| - Produce sketches of Hydraulic structures | - Identify required hydraulic structure and prepare drawing sheet as per requirement - Draw sketches of various canal falls - Draw plane and L-section of a masonry flume - Prepare drawings of an Aqueduct crossing - Prepare drawings of a pipe outlet - Prepare drawings of adjustable proportional module (A.P.M) Outlet |
| - Design of Irrigation method | - Prepare sheet on drawing table as per standards. - Prepare design of drip irrigation method - Prepare design of sprinkler irrigation method - Prepare plan of furrow/flood irrigation method |

Knowledge & understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Define Hydraulics and state the scope and significance of Hydraulics in civil engineering.

- Define density, specific weight, specific volume, specific gravity, surface tension, viscosity compressibility, cohesion, and adhesion.

- State pressure, intensity of pressure, pressure head, Pascal's law and its simple applications.

- Distinguish among atmospheric pressure, gauge pressure and absolute pressure.

- Describe measurement of fluid pressure by Piezometer tube and different manometers.

- Define hydrostatics

- Define center of pressure and resultant pressure.

- Define the terms, buoyancy, floatation, buoyant force and center of buoyancy

- Define metacenter and metacentric height.

- State the kinds of equilibrium of a floating body.

- State discharge and equation of continuity of a liquid flow.

- Distinguish path lines and stream lines.

- Distinguish the type of flow in pipes i.e. steady and unsteady flow, uniform and non-uniform flow, turbulent flow.

- State the term hydrodynamics.

- State the energies of liquid in motion.

- State the total head of flowing liquid and total energy.

- Explain Bernoulli's theorem with its formula, limitations and practical application i.e., venture meter & Pitot tube.

- Understand the Flow Through Pipes.

- State and explain difference between flow through pipes and open channel flow

- Distinguish types of flow in pipes i.e. steady and unsteady flow, uniform and non-uniform flow, turbulent flow.

- Explain the major and minor losses of head of water flowing through pipes.

- State Chezy's and Darcy's formulae for friction loss in pipe flow.

- Apply Chezy’s& Darcy’s formulae for calculation of losses in pipes.

- Explain with sketches the hydraulic gradient and total energy line under different conditions.

- Define orifice and its types

- State the terms; jet of water, vena contracta, co-efficient of discharge, coefficient of velocity, coefficient of contraction and velocity of approach

- Derive formulae for discharge through orifices

- Differentiate between orifice and mouth piece and notch and its types

- State the discharge formulae for notches.

- Define weir and its types

- Differentiate sharp crested and broad crested weirs.

- State the discharge formulae for weirs.

- State the flow through open channels.

- State Chezy's, Manning & s Bazin's formulae for discharge through open channel.

- Define irrigation and its types

- Explain various sources of irrigation water.

- Describe with map the irrigation network in Pakistan and define IRSA and PIDA

- Define the various terms used in storage irrigation.

- Explain the methods of assessment of maximum run off from a   catchment area

- Define reservoir and weir and barrages and their types

- Describe with sketches the components/parts of a barrage.

- State the factors governing the site selection of a barrage.

- Explain surface flow at weirs.

- Explain head regulator and its types, i.e. flume, meter flume.

- Describe the term water requirement of crops and factors affecting it.

- Define the terms crop period, base period, Kharif-Rabi ratio, core watering, cash crop, crop rotation, and delta.

- Explain duty of water, factors affecting and its significance.

- State relation between duty and delta.

- Explain basic methods of water distribution to field i.e. Surface irrigation method, Furrow method, Contour method, Flooding method.

- Explain Sprinkler, Drip and Trickle irrigation method

- State the types, components and classification of canal.

- Enlist factors to be considered for selection of type of lining

- State merits and demerits of lined and unlined channels.

- State Water logging and Salinity.

- Describe up-keep and maintenance of canals.

- Explain breaches in canal, water courses, preventive measure and methods of closing.

- Describe with sketch the silting tanks their classes, objects and working.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to be competent in this competency standard.

- Determine the properties of fluids at rest and in motion

- Design multipurpose irrigation project

Tools and Equipment

| Sr. No. | Tools | Quantity Required |
| --- | --- | --- |
|  | Piezometer. | 2 |
|  | Manometer | 2 |
|  | Hydrostatic apparatus. | 2 |
|  | Water tank. | 2 |
|  | Pilot tube. | 2 |
|  | Metacentric height apparatus | 2 |
|  | Hydraulic bench | 2 |
|  | Venturi meter | 2 |
|  | Friction apparatus. | 2 |
|  | Orifices. | 5 |
|  | Vee and trapezoidal notches. | 5 |
|  | Weirs | 5 |

Consumables

| Sr. No. | Items | Quantity Required |
| --- | --- | --- |
|  | Pencil | 50 |
|  | Charts | 50 |
|  | Eraser | 50 |
|  | Drawing sheet | 100 |
|  | Sharpener/ Sand paper | 50 |
|  | Scotch tape | 50 |
|  | Drawing board | 50 |
|  | T square | 50 |
|  | Pair of Set squares | 50 |
|  | Drawing Box (Compasses, divider, protractor, rule) | 50 |
|  | Ear Muff, Ear Plug | 50 |
|  | Safety shoes | 50 |
|  | Gloves | 50 |
|  | Safety Goggles | 50 |
|  | Safety Helmet | 50 |
|  | Respiratory protective equipment i.e.Masks | 50 |
|  | Life Jacket | 50 |
|  | High visibility jacket | 50 |
|  | Safety harness | 50 |
|  | Face shield | 50 |
|  | Rubber shoes/ long shoes | 50 |
|  | Water Buckets | 10 |
|  | Fire Blankets | 10 |
|  | Sand Buckets | 10 |
|  | First Aid Box | 5 |
|  | Thermometer and B.P apparatus | 5 |
|  | Fire Extinguisher | 5 |
|  | Fire Alarm | 2 |
|  | Sprinklers | 5 |

### Civil- 333 Transportation Engineering

Overview: This competency standard covers the skills and knowledge required to design highways, layout of runways, tunnels and bridges. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| - Plan alignment of road | - Identify factors affecting alignment of road - Identify drawing tools for marking of alignment - Identify contour maps for evaluation of suitable alignment - Mark alignment of road considering factors affecting alignment of road |
| - Design Highway Geometrics | - Identify national standards for roads - Draw cross section of National Highway as per local standards - Draw cross sections of urban roads as per local standards - Identify parameters for stopping sight distance - Calculate stopping sight distance - Identify parameters for overtaking sight distance - Calculate overtaking sight distance - Identify parameters for super elevation - Calculate super elevation - Identify parameters for widening of road at curve - Calculate widening of road at curve |
| - Determine quality of stone metal for pavement construction | - Identify and select equipment according to requirment - Prepare sample for test - Perform Los Angeles abrasion test - Calculate percentage of wear of stone metal - Perform CBR test on stone metal - Interpret results of CBR test |
| - Determine quality of bitumen | - Identify and select equipment according to requirment - Prepare sample and determine ductility of bitumen - Prepare sample and determine softening point of bitumen - Prepare sample and determine flash & fire point of bitumen - Prepare sample and determine grade of bitumen - Prepare sample and determine viscosity of bitumen - Prepare report on basis of test results |
| - Determine quality of asphalt mixture | - Identify and select equipment according to requirment - Prepare trial samples for Marshal Stability test - Set apparatus and perform test on each sample - Record results in tabular form - Plot graph and determine Optimum bitumen content - Take sample for test from site - Perform centrifuge extraction test and determine bitumen content |
| - Prepare drawings of flexible & rigid pavement | - Select drawing tools for drawing - Fix drawing sheet on drafting table - Draw structural component of flexible/rigid pavement - Draw cross section of rigid pavement showing longitudinal joints - Draw cross section of rigid pavement showing transverse joints |
| - Plan highway drainage | - Select drawing tools for drawing - Draw cross section of surface drainage - Draw cross section of sub surface drainage |
| - Develop maintenance plan for roads | - Identify defects in roads - Analyze causes of road defects - Identify remedial measures for defects - Prepare and submit report |
| - Prepare drawing for road signs, traffic islands and pedestrian crossings | - Select drawing tools for drawing - Fix drawing sheet on drafting table - Sketch and label traffic signs, islands and pedestrian crossings |
| - Prepare drawing for intersection/road junctions | - Select drawing tools for drawing - Fix drawing sheet on drafting table - Sketch and label road intersections/junctions |
| - Identify components of airport | - Obtain un-labeled drawing of airport - Identify components of airport as per instructions - Label components of airport on given drawing |
| - Prepare layout of runway / airport | - Select drawing tools - Draw layout plan of an airport - Draw cross section of a runway - Draw sketches of airport patterns - Draw cross section of drainage for sub surface |
| - Prepare sketches of permanent way | - Select drawing tools - Draw rails sections (double headed, bull headed and flat footed) - Draw sketches of rail fastenings - Draw sketches of sleeper fastenings - Draw cross section of broad gauge rail track of in filling and cutting |
| - Prepare drawings of points and crossings | - Select drawing tools - Draw sketch of stub switch - Draw sketch of split switch - Draw sketches of crossings (acute angle, obtuse angle, right angle, spring, cross over, diamond, scissors) - Draw sketch of right-hand turnout - Draw sketch of left-hand turnout - Label components of switches, crossings and turnouts |
| - Prepare drawings of station yards and rail signals | - Select drawing tools - Draw sketch of coaching yard - Draw sketch of goods yard - Draw sketch of locomotive yard - Draw sketch of marshling yard - Draw sketch type of signals |
| - Develop construction plan of Tunnels | - Collect contour map of a hilly area - Identify considerations for demarcation of alignment - Place contour map on drafting table - Mark possible routes considering influencing factors - Analyze activities to be performed to construct tunnel - Identify machinery required to execute activities planned before - Identify hazards and precautionary measures |
| - Prepare drawings of Harbor | - Select drawing tools - Draw layout plan of a typical harbor - Draw cross section of breakwater - Draw sketches of jetties - Draw sketches of pier - Draw sketches of lock gates - Draw sketches of quay - Draw sketches of a typical light house - Draw sketches floating signals - Label components of harbor |
| - Prepare sketches of types of bridge | - Identify types of bridge - Prepare sketches of Permanent bridges (Girder, Arch, Suspension, Rigid Frame) - Prepare skectches of Temporary bridges (Timber, Suspension, Floating, Movable) |
| - Prepare sketches of culvert/causeway | - Identify types of culverts - Prepare sketch of Pipe culvert - Prepare sketch of Arch culvert - Prepare sketch of Slab culvert - Prepare sketch of Box culvert - Identify types of causeways - Prepare sketch of Low Level Causeway - Prepare sketch of High Level Causeway |
| - Develop maintenance plan of bridge | - Identify defects in bridges - Identify remedial measures for defects in bridges - Develop maintenance plan according to requirement |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge to:

- Explain the necessity, importance and modes of transportation.

- State historical development of roads with special reference to   Pakistan.

- Describe the terms road, highway, carriage way, dual carriage way etc.

- Define the term road alignment.

- State the fundamental principles of road alignment.

- State the factors influencing selection of alignment for a road in plain and hilly area.

- Explain the surveys required for fixing alignment.

- Explain socio economic effects of alignment

- Define the terms Kerb, Shoulder, Footpath, Drive way, Right of way, Bay of roads, road margins.

- Explain sight distance, stopping and over taking sight distance.

- Explain the factors affecting sight distance

- Define super elevation and state its necessity

- Describe method of introduction super elevation.

- Explain methods of introducing super elevation.

- Derive formula for super-elevation.

- Explain widening at curves.

- Describe the types of roads with sketches.

- Explain the component of road i.e. sub-grade, sub-base, base and wearing course.

- State the types of surfacing earth surface, general surface, water bound, bituminous and concrete roads.

- State the types Earth (embankment), sub base, ABC / WBM, Asphalt.

- State Comparison of premix concrete road (Flexible), PCC and RCC pavements along joints in concrete pavements

- Describe the necessity and function of breast wall, protection wall with sketches.

- Introduction of highway drainage

- State the necessity and importance of highway drainage.

- Describe with sketch surface drainage.

- Describe with sketch sub-surface drainage.

- State drainage of slopes and erosion control.

- State catch water drain in hilly area.

- Describe with sketches cross design structures, lips, culverts, bridge

- State scope of traffic engineering.

- Describe traffic density surveys and use.

- State accidents and their causes.

- State method of prevention of accidents.

- Describe with sketches Pedestrian bridge, subway crossing

- Describe with sketches traffic island refuge Island and pedestrian crossing.

- Describe with sketches different types of road sign.

- Describe the purpose of road signals and their types.

- Explain the characteristics of road sign

- Define road junction and describe with sketches types of road junctions.

- State design consideration for provision of junctions.

- Describe the Factors influencing the layout of junctions, roundabouts.

- Describe the provision of junctions for single & dual carriageway sites, parking spaces.

- Explain structure of underpasses, flyovers.

- Describe structure of motor ways and motorway intersections.

- Introduction of PMA

- Describe the salient features of Metro bus system

- Describe the salient features of Orange line metro train

- State advantages of Metro bus system and Orange line metro train

- Describe the Factors influencing the alignment/ layout of Metro systems.

- Describe the construction detail of Metro systems.

- Describe the integrated route system Metro bus services.

- Explain defects liable to occur in road- corrugations, ruts, pot holes etc.

- Explain the remedial measures for defects- scraping of existing layers, patch repair, replacing with reinforced layers, resurfacing etc.

- Describe the causes of defects in concrete roadside pot holes, corrugations and ruts.

- Describe the repair of defects of concrete road.

- Describe recycling procedure for road used materials

- Describe Construction Machinery For earth work (Rollers, bulldozers , grader, excavator, dumpers, water bowser, dragline, trencher, shovels).

- Describe Construction Machinery For asphalt (plant,paver, pneumatic tyre roller, tandem roller, boomer, air compressor).

- Describe Construction Machinery For concrete road(concrete batching plants, transit mixture, loader etc

- Explain the terms, landing strip, approach zone, run way length, taxiway, apron, etc.

- Explain factors effecting site selection of airports- geographical, administrative, political and economic etc.

- Describe considerations for selection of airport and state the classification of an airport Sketch the general layout of various types of airport e.g. civil aviation, defence

- Describe the run way pavements, its types draw typical cross section.

- Sketch different patterns of run way.

- Explain the drainage systems of an air port.

- Describe the routine and special repairs of run way.

- Sketch the layout of air port buildings.

- Describe the lighting of an airport.

- Describe Security and ICT equipments

- State the advantages of railway.

- State salient features of railway system in Pakistan.

- Compare rail and road transport.

- Explain the metro rail system.

- Define permanent way.

- State the requirements of permanent way.

- Explain the components of permanent way, their functions and types (formation, ballast and sleepers).

- Explain gauge and its types

- Explain factors governing adoption of a particular gauge

- Explain the different types of rails, rail joints, rail fittings and accessories.

- Explain carriage wheel and conning of wheels.

- State the requirement of good rail joint and ballast.

- Explain modern methods of laying railway track.

- Define creep

- Explain the causes of creep.

- State the methods of correction of creep.

- State the purpose of points and crossing.

- Describe with sketches the sleepers for point and crossing (through and interlaced sleepers).

- Explain the terms switches, shapes, length of stock and tongue rails, heal clearance, switch angle, through switches.

- State the types of crossing.

- Explain the terms crossing angle and number.

- Explain station yards and sketch their layout.

- State the purpose and types of signals.

- State the classification of signals according to function and location.

- Explain signaling and its objects.

- Describe with sketches the inter locking its principles and requirements.

- Explain the methods of inter locking.

- State Necessity of tunnels Necessity of underground space and trenchless technology.

- State Types of tunnels.

- State Introduction to blasting technique.

- State Tunnel rehabilitation.

- Explain Methods of excavation

- Define harbours.

- State the classification of harbours and list out harbours of Pakistan..

- Explain the requirement of a commercial harbour, its location and size.

- Explain the terms tidal waves, break water and their classification.

- Explain terms: Wharves, quay walls, jetties, piers, and moorings.

- State the classification of docks.

- Explain beach erosion and its protection

- State the terms locks and lock gates.

- Define dredging

- State the necessity of dredging.

- Explain the types of dredging devices.

- Explain methods of dredging.

- Explain disposal of dredging material.

- Describe navigation aids.

- Explain types of signals, light house, beacons, light ship and buoys.

- Definition of terms related to Bridge Engineering

- Explain structural parts of a Bridge

- Explain factors Affecting the Development of Bridges

- Explain permanent bridges

- Explain temporary bridges (wooden, suspended, floating and moveable)

- Define Culvert and causeway

- Explain the difference between culvert and causeway

- Explain Types of culverts (pipe, box, arch and slab)

- Explain Types of causeway

- Brief description of general maintenance

- Brief description of maintenance of steel, masonry, R.C.C. bridges

- Brief description of maintenance of causeways.

Introduction of modern techniques e.g. epoxies etc.

Critical Evidence(s) Required

The candidate needs to produce following critical evidences in order to be competent in this competency standard.

- Demarcation of the road alignment on a contour map

- Drawing of typical cross section of geometric design of a highway

- Test reports of different tests performed on stone metal, bitumen and asphalt mixture for highway pavements

- Drawings of cross sections of flexible and rigid pavements with drainage plan

- Report of defects of roads and their maintenance techniques

- Drawings of permanent way components, station yards along points and crossings

- Drawing Layout of typical harbor with components

- Demarcation of the tunnel alignment and their construction plan

- Drawings layout of a typical airport and cross sections of runway

Tools and Equipment

| Sr. No. | Tools | Quantity Required |
| --- | --- | --- |
|  | Los angles abrasion machine | 01 |
|  | Set of Sieves | 01 |
|  | Sieve Shaker | 01 |
|  | CBR Apparatus | 01 |
|  | Digital Balance | 05 |
|  | Penetration test apparatus | 02 |
|  | Ductility test apparatus | 01 |
|  | Softening point apparatus | 02 |
|  | Flash and fire point test apparatus | 02 |
|  | Thermostatic lab oven | 01 |
|  | Thermometers | 10 |
|  | Marshal stability test apparatus | 01 |
|  | Centrifuge | 01 |
|  | Spatula | 10 |
|  | Water Bath | 05 |

Consumables

| Sr. No. | Items | Quantity Required |
| --- | --- | --- |
|  | Pencil | 50 |
|  | Eraser | 50 |
|  | Sharpner | 50 |
|  | Drawing sheet | 50 |
|  | Scotch Tape | 50 |
|  | Drawing tablewe | 50 |
|  | Bitumen | 10Kg |
|  | Coarse aggregate | 10cft |
|  | Stone Dust | 10cft |

### Civil- 374 RCC Design and Concrete Technology

Overview: This competency standard covers the skills and knowledge required for concrete work, including preparation, testing of fresh and hardened concrete; designing and drawing of RCC beams, slabs, columns, footings and stairs, ensuring proper reinforcement and adherence to design specifications for various structural elements.Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency unit | Performance criteria |
| --- | --- |
| - Test properties of fresh concrete | - Identify and select apparatus for test - Select ingredients of concrete according to requirment. - Mix material according to ratio. - Perform slump test according to standard procedure - Interpret slump results for consistency of fresh concrete - Perform compacting factor test according to standard procedure - Interpret results of compacting factor test for workability of concrete - Perform vee bee test to determine workability - Interpret results of vee bee test for workability of concrete |
| - Perform destructive tests on hardened concrete | - Identify and select apparatus for test - Prepare concrete according to concrete mix ratio. - Preparecube,cylinder and beamspecimens for destructive tests - Cure concrete samples for specified duration - Perform compressive strength on concrete sample to determine compressive strength of concrete. - Perform split cylinder test and compute tensile strength of concrete - Perform flexural strength test on specimen of beam sample to determine flexural strength of beam |
| - Perform Non-destructive tests on hardened concrete | - Identify and select apparatus for test - Calibrate apparatus, if required - Mark suitable location for testing - Perform rebound hammer test on sampleto find its compressive strength. - Operate instrument of rebar detector on RCC sample surface. |
| - Perform preliminary steps for steel fixing | - Select tools required for steel fixing. - Identity steel bars as per design. - Perform straightening of steel bars for steel fixing. - Perform cutting and bending of steel bars as per given design. - Perform binding and fixing of steel bars as per given design. |
| - Preform concreting operations. | - Select concrete mix ratio. - Perform batching of concrete by weight. - Perform mixing of concrete with help of mixer. - Fix formwork for concrete. - Prepare concrete for transporting and pouring. - Perform compaction of concrete by vibrator. - Perform finishing of concrete surface with help of float. |
| - Perform concreting under special conditions | - Prepare concrete as per given concrete mix design ratio. - Perform precautionary steps for hot weather concreting. - Perform precautionary steps for cold weather concreting. - Perform steps for under water concreting. |
| - Design rectangular beam for flexure using ACI code. | - Assume width and find depth of beam. - Find effective span of simply supported or cantilever beam. - Calculate factored load using given/estimated load. - Calculate maximum bending moment for beam - Calculate area of steel according to ACI design code. - Select size and number of reinforcing bars. - Draw flexural reinforcement details of beam. |
| - Design rectangular beams for shear using ACI code. | - Assume width and find depth of beam. - Calculate factored load using given/estimated loads. - Draw shear force diagram and find critical shear. - Check for shear strength of concrete and calculate shear reinforcement. - Select suitable size and shape of stirrups. - Calculate spacing of stirrups according to design code. - Draw shear reinforcement details of beam. |
| - Design slab using ACI code. | - Identify type of slab. - Calculate thickness of slab according to dimensions and end conditions - Calculate factored load using given/estimated loads. - Calculate maximum bending moment for one way slab. - Calculate maximum bending moment for two-way slab using ACI moment coefficients. - Find area of steel required for maximum bending moment. - Select rebar size and calculate spacing of reinforcing bars. - Draw reinforcement details for slab. |
| - Design axially loaded column | - Select type of column. - Calculate axial load on column. - Compute size of column required to support axial load. - Select size and calculate no. of longitudinal bars. - Select size and type of ties and calculate spacing. - Draw reinforcement details of column. |
| - Design column footing | - Select type of footing according to requirement. - Calculate loads on footing. - Select thickness of footing. - Check thickness of footing for Punching and beam shear. - Calculate bending moment. - Find effective depth of footing. - Calculate steel area in both directions. - Calculate spacing of steel. - Draw reinforcement details of column footing. |
| - Design reinforced concrete stairs | - Identify type of stairs w.r.t design requirements. - Calculate thickness of waist slab. - Calculate factored load on stairs. - Calculate maximum bending moments. - Calculate area of steel according to ACI code. - Calculate spacing of bars. - Draw reinforcement details of stairs. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge to:

- Explain Ingredients of Concrete

- Explain difference between good and bad concrete.

- Explain factors influencing concrete properties.

- State different factors affecting the workability of concrete.

- State different recommended values of slump for various conditions of placements.

- Explain different methods of mix design.

- Describe transportation, placing and compaction of concrete.

- Describe the compressive strength of concrete.

- Explain the Tensile strength (split cylinder test) and Flexural strength (Beam test),

- Describe non-destructive tests of hardened concrete.

- Explain the concreting operations.

- Discuss the procurement and storing of concrete materials.

- Describe method of batching i.e. by volume and by weight

- Discuss structure and working of batching plant.

- Discuss mixing methods of concrete and types of concrete mixers.

- Explain form work for concrete.

- Discuss transportation of concrete and various methods of transportation.

- Explain method of placing concrete.

- Explain various types of concrete surface finishing.

- Describe objective, methods and duration of concrete curing.

- Explain various joints and its position in concrete.

- Discuss joint fillers and joint treatment.

- Explain effects of temperature on concrete.

- State recommended precautions and practice for hot weather concreting.

- State recommended precautions and practice for cold and hot weather concreting.

- Explain methods and precautions for under water concreting.

- Explain different types of steel reinforcement and their properties i.e. according to shape, grades & strength, material, chemical composition, stress, coating and use.

- State standards for storing, straightening, cutting, bending, placing and binding/welding of steel reinforcement

- Discuss pre-stressing and methods of tensioning.

- Describe systems of pre-stressing

- Discuss steel and concrete used in pre-stressing.

- Advantages of pre-stressed concrete.

- Study RCC Design.

- Study Definition, necessity and advantages of different beams.

- Explain compressive strength, tensile strength, modulus of elasticity and modular ratio.

- Explain bending moment and shear force.

- Study Loads to be adopted in RCC design: live loads, dead loads, wind load, seismic loads, load factors and strength reduction factors.

- Explain Methods of design: service load method (working stress Design (WSD) method), Ultimate strength Design (USD).

- Discuss assumptions related to design of beams.

- Study Code of practice for RCC design: ACI 318 Code

- Explain design steps and formulae for flexure design of simply supported singly and doubly reinforced beams.

- Explain shear design of beams.

- Discuss assumptions related to shear design of beams.

- Describe types of shear reinforcements.

- Explain bond between concrete and reinforcement, bond stresses, anchorage and development length.

- Define one way and two-way slabs.

- Discuss assumption related to design of slabs.

- Explain design steps and formulae for design of one way and two-way slabs.

- Study design of one-way slab.

- Study ACI two-way slab bending moment coefficients and its use.

- Study design of axially loaded columns and footings

- Find out load carrying capacity of columns.

- Explain design formulae and code provisions for design of column and footing.

- Design formulae and code provisions for design of stairs.

- Design steps and formulae for stairs spanning horizontally and longitudinally.

- Design stairs spanning horizontal and longitudinally.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare mix design for a concrete having compressive strength of 3000 psi and test all its ingredients as per ASTM.

- Design slab, beam, column, footing and stairs for a five marla residential building as per given drawing.

Tools and Equipment’s

| S. No. | Tools | Quantity Required |  |
| --- | --- | --- | --- |
|  | Compression Testing Machine | 1 |  |
|  | Flexure / Tension Machine (cement, Mortar, Briquette Tensile Testing) | 1 |  |
|  | Electronic Digital Balance (Top-Pan Type) | 1 |  |
|  | Electronic Digital Precision Balance (Top-Pan Type) | 1 |  |
|  | Mortar Pan | 5 |  |
|  | Vicat Apparatus | 8 |  |
|  | Le chatlier's Apparatus | 2 |  |
|  | Desiccators cabinet | 1 |  |
|  | Specific Gravity Test Set (Fine and coarse aggregates) - Confirming with ASTM + BS Standards for fine aggregate - Glass Pycnometer - Conical mould and temper | 10 |  |
|  | Set of Sieves (for fine and coarse aggregates) | 3 Sets |  |
|  | Sieve shaker | 3 |  |
|  | Digital Stop Watch | 10 |  |
|  | Concrete Test Hammer | 2 |  |
|  | Loaded Beam Assembly: | 8 |  |
|  | Flakiness Sieve Set | 2 |  |
|  | Spatula | 10 |  |
|  | Wire Brush | 20 |  |
|  | Trimming Knife | 10 |  |
|  | Graduated cylinders | 10 |  |
|  | Wire Basket | 20 |  |
|  | Tray (Galvanized Iron, 14 SWG) SET | 10 |  |
|  | Pycnometer | 10 |  |
|  | Conical Flask | 10 |  |
|  | Beakers | 20 |  |
|  | Thermometers | 10 |  |
|  | Wash Bottle | 10 |  |
|  | Specific Gravity Bottles | 10 |  |
|  | Metallic Scoops | 20 |  |
|  | Mixing Spoon Set | 20 |  |
|  | Mixing Bowl | 20 |  |
|  | Rebar Locator Apparatus | 1 |  |
|  | Concrete Drum Mixer (Tilting Type) |  | 1 |
|  | Platform scale |  | 1 |
|  | MOULDS: - Cubes 150mm (6") with clamp attached based plate, easily collapsible sides (made of cast iron) - Cubes 100mm (4") with clamp attached based plate, easily collapsible sides (made of steel) - Cylinders 150mm dia X 300mm height (6" dia x 12" height) complete with base plate and locking arrangement, made of Steel - Mortar cubes 50mm (2") made of brass / steel, three gnag mould, machined in internal surfaces, easily collapsible - Beams 150 x 150x600mm (6"x6"x24") made of steel |  | 10 each |
|  | Set of Spanners for (cubes and cylinder, beam moulds) |  | 10 |
|  | Tamping Rod for cubes/cylinders 16 mm dia 600 mm long |  | 10 |
|  | Concrete cylinder capping complete including: - two steel retainers for 6" (15cm) dia cylinders - Electric melting pot for melting capping compound (with 20kg capping compound Tin) |  | 2Sets |
|  | Vibrating Table |  | 2 |
|  | Poker Vibrator |  | 2 |
|  | Slump Test Apparatus |  | 10 |
|  | Compacting Factor Apparatus |  | 5 |
|  | Mechanical Sieve Shaker (for coarse aggregates) |  | 1 |
|  | Wheel Barrow |  | 2 |
|  | Bucket |  | 10 |
|  | Shovels with handle |  | 5 |
|  | Kassi (Plies) with handle |  | 5 |
|  | Spirit Level (Aluminum 2 ft. length) |  | 5 |
|  | Steel float Set (Small, medium, large) Wooden Handle |  | 5 |
|  | Wooden Float (small, medium, large) Wooden Handle |  | 5 |
|  | Adjustable Wrench Set |  | 5 |
|  | Steel Tape |  | 5 |
|  | Mixing Spoon Set |  | 5 |
|  | Scientific calculator |  | 50 |

Consumable

| S.No. | Items | Quantity Required |
| --- | --- | --- |
| 1 | Cement | 10 bags |
| 2 | Sand | 100 c-ft |
| 3 | Crushed stone | 200 c-ft |
| 4 | A4 80-gram paper | 04 ream |
| 5 | Steel Scales (12 in long) | 50 No |
| 6 | Pencil | 50 Packets |
| 7 | Rubber eraser | 250 No |
| 8 | White board markers | 06 Packets |

### Civil- 393 Soil Mechanics and Foundation Engineering

Overview: This competency standard covers the skills and knowledge required to determine moisture content, specific gravity, consistency, compaction, shear strength and bearing capacity of soil. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Determine physical properties of soil | - Draw three phase diagrams of soil. - Derive relationships for physical properties of soil. |
| CU2. Determine moisture content and specific gravity of soil. | - Identify and select apparatus for determination of moisture content / specific gravity. - Collect soil sample for moisture content determination - Determine moisture content as given by speedy moisture content. - Interpret moisture content corresponding to reading of dial gauge in speedy moisture tester - Determine moisture content by drying oven method. - Prepare sample and determine specific gravity - Apply correction factor for variation in specific gravity of water due to temperature. |
| CU3. Determine Consistancy of soil | - Identify apparatus of Liquid Limit, Plastic Limit and Shrinkage limit. - Prepare soil sample for liquid limit Test. - Perform liquid limit test and record observations. - Determine liquid limit by plotting graph of results i.e. no. of blows and water content - Prepare soil sample for Plastic limit test. - Perform plastic limit test and determine plastic limit - Prepare soil sample for Shrinkage Limit test. - Perform Shrinkage Limit test and determine shrinkage limit |
| CU4. Classify soils | - Identify sieves for sieve analysis. - Perform sieve analysis on given sample. - Compute percentage retained and passing in sieve analysis - Prepare gradation curve of soil of basis of sieve analysis results - Calculate percentages of different soils in sample. - Prepare soil sample and perform Hydrometer analysis. - Prepare grain size gradation curve on basis of hydrometer analysis. - Calculate coefficient of uniformity and coefficient of curvature. - Classify sample using AASHTO classification system - Classify sample using USCS tables - Collect textural classification system - Classify sample using textural classification system |
| CU5. Conduct soil compaction test | - Identify apparatus for Standard / Modified Proctor test. - Prepare soil sample for Standard / Modified Proctor test - Perform Standard / Modified Proctor test. - Determine optimum moisture content by plotting graph between dry density and moisture content. - Identify location of site for field density determination - Determine bulk density of soil in field by suitable method i.e. core cutter / sand replacement method. - Determine moisture content and dry density of field soil sample - Compute relative compaction - Identify odometer apparatus - Determine consolidation of soil - Prepare report of test results |
| CU6. Determine permeability of soil. | - Identify Constant Head Permeameter for determining permeability of coarse-grained soil. - Collect and prepare sample of soil for test - Perform test and take readings. - Calculate coefficient of permeability by formula. - Identify Falling Head Permeameter for determining permeability of fine-grained soil. - Collect and prepare sample of soil for test - Perform test and take readings. - Calculate coefficient of permeability by formula. - Prepare report of test results. |
| CU7. Perform Soil exploration | - Plan and prepare drilling equipment and materials - Conduct site reconnaissance and surveying - Operate drilling equipment (e.g., auger, rotary, percussion) - Monitor drilling parameters (e.g., depth, rate, water level) - Maintain drilling equipment and troubleshoot issues - Collect and handle soil samples (e.g., disturbed, undisturbed) - Label samples for laboratory testing |
| CU8. Determine Shear Strength of Soil. | - Identify apparatus for Direct Shear test for shear strength determination of soil - Prepare sample and perform direct shear test - Take readings and determine shear strength of soil |
| CU9. Findout Bearing Capacity of Soil. | - Identify apparatus for Standard Penetration Test. - Perform standard penetration test and record observations - Correct observed value for overburden pressure and dilatancy. - Prepare report of test results and determine bearing capacity of soil. |
| CU10. Draw sketchs of shallow foundation | - Draw sketch of isolated foundation. - Draw sketch of Combine foundation. - Draw sketch of Raft foundation. - Draw sketch of Eccentric foundation. |
| CU11. Draw sketchs of Deep foundation | - Draw sketch of Cast-in-Place Pile. - Draw sketch of Driven Pile. - Draw sketch of Friction Pile, - Draw sketch of End-Bearing Pile. - Draw sketch of Sheet Pile. - Draw sketch of Caisson Pile. |
| CU12. Determine earth pressure on retaining walls. | - Determine soil properties (Unit weight (γ), Angle of internal friction (φ), Cohesion (c) ). - Determine wall properties (Wall height (H), Wall friction angle (δ), Wall adhesion (a) ) - Select a suitable earth pressure theory (Coulomb's theory, Rankine's theory, Terzaghi's theory) - Calculate active earth pressure coeffiient (Ka) - Calculate active earth pressure (Pa): - Calculate active earth pressure distribution. - Consider additional factors (if necessary) (Surcharge loads, Water table effects, Seismic forces) |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out task covered in this competency standard.  This includes the knowledge of the following

- State Objectives of soil mechanics

- Explain Soil structure and its group

- Define the terms, solids, voids, voids-ratio, porosity, degree of saturation,

percentage air voids and moisture contents.

- Define specific gravity and various densities of soil.

- Derive the various relationships

- State classification of soil and its necessity.

- Explain Particle size classification system, Textural classification system,   AASHTO soil classification system, Unified soil classification system

- Explain well graded, uniformly graded soil, poorly graded soil, Effective grain size, coefficient of uniformity, coefficient of curvature

- Explain the particle size analysis for different soils.

- State the consistency of soil

- Describe the Atterberg limits.

- Define the various indices

- Explain different Indices (Plasticity index, liquidity index, consistency index etc

- Explain the methods of determination of Atterberg limits.

- State the introduction, purpose planning for soil exploration

- Explain boring methods used for soil exploration by using hand augers, rotary drilling, wash boring & percussion drilling

- Explain sampling methods such as sampling by standard split spoon, thin wall tube & piston sampler

- Brief discussion about sample disturbance also defines disturbed and undisturbed samples

- Explain preparation of soil exploration report

- State term compaction its significance and necessity.

- Discuss the principles of compaction

- Compare between compaction and consolidation.

- List the procedure of standard proctor test and modified compaction test.

- List the procedure of field compaction tests, core cutter method and sand replacement method.

- State the factors affecting compaction.

- Define permeability.

- Describe factors affecting permeability.

- State the Darcy's law of permeability and its validity

- Explain the method of determining the permeability of soil in the Lab

- Explain the methods of determining the permeability of soil in the field.

- State the term shear strength of soil & its significance.

- State Coulomb’s law for shear strength of soil.

- State and explain the shear box test

- State and explain Triaxial compression test.

- Explain the unconfined compression test.

- Describe the factors affecting shear strength of soil.

- Differentiate between cohesive and non-cohesive soils.

- State the necessity, types and failure of slope.

- Define bearing capacity, ultimate bearing capacity and safe bearing capacity of soil.

- State the factors affecting bearing capacity of soil.

- Explain the method for finding bearing capacity of soil by standard penetration test.

- Explain the California Bearing Ratio (CBR) method for finding bearing capacity of soil.

- Definition of terms related to Shallow Foundations

- Explain structural parts of a shallow foundation

- Explain types of pile foundations

- Define retaining walls

- Explain the different failure in retaining walls

- Explain overall earth pressure

- Explain Grouting related to Control Soil erosion

- Describe Soil stabilization related to Control Soil erosion.

- Describe Vegetation related to Control Soil erosion

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Be able to classify the type of soil by performing soil gradation tests

- Be able to check the physical properties of soil by performing various tests

- Be able to determine compaction of soil as per specifications

- Be able to calculate coefficient of permeability of soil

- Capable to determine soil bearing capacity

- Capable to determine shear strength of soil by performing different tests

- Capable to prepare soil investigation by performing soil exploration technique

Tools and Equipment’s

| S.No | Tools | Quantity Required |
| --- | --- | --- |
| 1 | Oven | 2 |
| 2 | Balance accurate to 0.01gm for moisture content. | 3 |
| 3 | Balance weight upto 25 kg | 3 |
| 4 | Speedy moisture tester | 2 |
| 5 | Casagrande's liquid limit device | 4 |
| 6 | Plastic Limit apparatus | 4 |
| 7 | Set of ASTM sieves containing sieve # 4, 10, 20, 40, 60, 100, 200 ( 2 each) | 2 |
| 8 | lid and pan | 4 |
| 9 | Sieve shaker | 2 |
| 10 | No. 40 sieve with led and pan | 4 |
| 11 | Apparatus Standard proctor mould | 3 |
| 12 | rammer of 2.5Kg (5.5 lb) of fall 25.4Cm (12”) | 3 |
| 13 | 4.54Kg (10 lb), of fall 38Cm (18”) | 3 |
| 14 | Apparatus Core cutter | 3 |
| 15 | sieve 19 mm (3/4”) and 9.5mm (3/8”) | 3 |
| 16 | Constant head Permeameter device (including constant head filter tank and manometer tubes) | 2 |
| 17 | Apparatus Falling head Permeameter device | 2 |
| 18 | Ring stand with test tube clamp | 2 |
| 19 | Constant head Permeameter device (including constant head filter tank and manometer tubes) | 2 |
| 20 | Augers | 1 |
| 21 | Percussion equipment | 1 |
| 22 | Rotary drilling rigs | 1 |
| 23 | Sampling tubes | 1 |
| 24 | Penetrometers | 1 |
| 25 | Standard Penetration Test (SPT) equipment | 1 |
| 26 | Cone penetrometer | 1 |
| 27 | Borehole logging equipment | 1 |
| 28 | Water level measurement equipment | 1 |
| 29 | Direct Shear Test machine. | 1 |
| 30 | Tri-axial Test machine | 1 |
| 31 | Standard penetration test (SPT) Apparatus complete with all accessories. | 1 |
| 32 | CBR Apparatus complete with all accessories | 1 |

Consumable

| S.No | Item | Quantity Required |
| --- | --- | --- |
| 1 | Container 25ml, 50ml,100ml. for moisture content ( 10 each) | 30 |
| 2 | Brush for cleaning the moisture tester | 4 |
| 3 | Scoop for measuring Calcium carbide reagent for moisture content | 4 |
| 4 | Pycnometer of about 1 liter capacity, 500ml, 250ml, (10 each) | 30 |
| 5 | Glass rod for moisture content | 4 |
| 6 | Evaporating dishes (For mixing soil with water0 | 10 |
| 7 | Wash bottle: | 10 |
| 8 | Soft brush for cleaning | 6 |
| 9 | Tray different sizes | 10 |
| 10 | Straight edge | 6 |
| 11 | Hammer | 4 |
| 12 | Excavating tools | 4 |
| 13 | Calibrating container ( for soil compaction test) | 6 |
| 14 | Sand bottle (for field density) | 6 |
| 15 | Glass plate | 6 |
| 16 | Base plate | 6 |
| 17 | Pan | 6 |
| 18 | Tools for excavating hole | 6 |
| 19 | Clean dry sand passing from No.10 (2.0mm) sand retained on No.20 (850m) sieve (for field density) | 6 |
| 20 | Burette (100ml) | 4 |
| 21 | 500ml beaker | 8 |
| 22 | Stop watch | 8 |
| 23 | Thermometer | 8 |

# List of Tools& Equipment

| S.No | Tools | Quantity Required |
| --- | --- | --- |
|  | Calculator | 50 |
|  | Measuring scale | 50 |
|  | Measuring Tape | 50 |
|  | Compass with tripod | 10 |
|  | Cross Staff | 10 |
|  | Ranging Rods | 50 |
|  | Pegs | 50 |
|  | Arrows | 50 |
|  | Level with tripod | 10 |
|  | Levelling staff (Metric / FPS) | 10 |
|  | Thermometer | 10 |
|  | Ball peen hammer | 10 |
|  | Umbrella with stand | 10 |
|  | Tee scale, | 50 |
|  | Set square | 50 |
|  | Drawing table with stand | 50 |
|  | Theodolite with tripod | 10 |
|  | Mallet | 10 |
|  | Drawing Box | 50 |
|  | French Curves | 50 |
|  | Compression Testing Machine | 1 |
|  | Flexure / Tension Machine (cement, Mortar, Briquette Tensile Testing) | 1 |
|  | Electronic Digital Precision Balance (Top-Pan Type) | 1 |
|  | Specific Gravity Test Set | 5 |
|  | Digital stop watch | 5 |
|  | Atterberg's Limit Determination | 5 |
|  | Core Cutter Test Apparatus, (BS 1377:9) | 5 |
|  | Flakiness Index Gauge | 5 |
|  | Elongation index gauge (length gauge) | 5 |
|  | Set of Sieves | 2 |
|  | Sieve Shaker | 1 |
|  | Mechanical Sieve Shaker | 1 |
|  | Compression Testing Machine | 1 |
|  | Flexure / Tension Machine (cement, Mortar, Briquette Tensile Testing) | 1 |
|  | Concrete drum mixer (tilting type) | 1 |
|  | Vicat Apparatus | 5 |
|  | Lechatlier's Apparatus | 2 |
|  | Wheel Barrow | 5 |
|  | Bucket | 10 |
|  | Paint scraper set | 10 |
|  | Poteen Filler Knife Set | 10 |
|  | Cold Chisel Set | 10 |
|  | Plumb Bobs | 15 |
|  | Mason Spirit Level | 15 |
|  | Straight Edge | 15 |
|  | Shovels With Handle | 15 |
|  | Kassi (Plies)with Handle | 15 |
|  | Spirit Level( Aluminum 2' ft length | 15 |
|  | Pick Axe | 5 |
|  | Steel Float set(small, medium, large)wooden handle | 15 |
|  | Wooden Float(small, medium, large)wooden handle | 20 |
|  | Brick Hammer | 10 |
|  | Wooden Scaffolding for Mason a)Bamboo 10' ft b)Bamboo 15' ft c)Battens(5'X3.5"X2.5") d) Shesham wood planks(7'X7"X1.5") | 20 each |
|  | Computer System | 26 |
|  | MS Office CDs | 5 |
|  | Printer color | 1 |
|  | Printer Laser | 1 |
|  | Scanner | 1 |
|  | High-Speed Internet Connection | 1 |
|  | Network Switch/ Router | 1 |
|  | Computer System | 1 |
|  | PPEs | 50 |
|  | Files | 5 |
|  | All type of stones (Diamond, oil, ceramic) | 5 each |
|  | Boring Machine | 2 |
|  | Lathe machine | 2 |
|  | Sander | 5 |
|  | AVO meter | 15 |
|  | Test Lamp | 15 |
|  | Earth tester | 15 |
|  | Line tester | 15 |
|  | Multimeter | 15 |
|  | Breadboard | 10 |
|  | Work Bench | 10 |
|  | Single Phase Electric Motors | 5 |
|  | Air Conditioner | 2 |
|  | Three- phase Electric Motor | 5 |
|  | Combination Pliers | 15 |
|  | Chisel | 15 |
|  | Hack Saw | 15 |
|  | Hand Drill Machine | 2 |
|  | Vernier Caliper | 10 |
|  | Screw Gauge | 10 |
|  | Adjustable Wrench Set | 5 |
|  | Pipe Wrench Chain Type+C162:K162 | 5 |
|  | Adjustable Pipe Wrench | 5 |
|  | Pipe Reamer | 5 |
|  | Pipe Vice (Stand Type) | 5 |
|  | Pipe Vice (Bench Type) | 5 |
|  | Pipe Thread Cutting Kit | 5 |
|  | Tap Set | 5 |
|  | Pipe Cutter | 5 |
|  | Pliers Adjustable | 5 |
|  | Cold Chisel Set | 5 |
|  | Water Hardness Test Apparatus | 2 |
|  | Turbidity Test Apparatus | 2 |
|  | PH meter | 3 |
|  | TDS meter | 3 |
|  | Resistivity meter | 1 |
|  | Total station with Tripod | 10 |
|  | Prism for total station | 10 |
|  | GPS with tripod | 10 |
|  | Stationary boat | 10 |
|  | Sounding Chain | 10 |
|  | AutoCAD software | 1 |
|  | Revit software | 1 |
|  | Allen key | 5 |
|  | Rockwell hardness testing machine | 2 |
|  | Young’s Modulus apparatus with accessories | 25 |
|  | Brinell’s hardness tester | 2 |
|  | Pollution meter | 2 |
|  | Noise dosimeter | 2 |
|  | Sound level meter | 2 |
|  | DO meter | 2 |
|  | Spectrophotometer | 2 |
|  | Thermometer | 5 |
|  | Containers | 50 |
|  | Piezometer | 2 |
|  | Manometer | 2 |
|  | Hydrostatic apparatus | 2 |
|  | Pitot tube | 2 |
|  | Venturi meter | 2 |
|  | Friction apparatus | 2 |
|  | Vee and trapezoidal notches | 5 |
|  | Weirs | 5 |
|  | Orifices | 5 |
|  | Los angeles abrasion machine | 1 |
|  | CBR apparatus | 1 |
|  | Ductility test apparatus | 2 |
|  | Softening point apparatus | 2 |
|  | Flash and fire point test apparatus | 2 |
|  | Thermostatic lab oven | 1 |
|  | Centrifuge | 1 |
|  | Coarse Aggregates | 10kg |
|  | Pycnometer | 10 |
|  | MOULDS: - Cubes 150mm (6") with clamp attached based plate, easily collapsible sides (made of cast iron) - Cubes 100mm (4") with clamp attached based plate, easily collapsible sides (made of steel) - Cylinders 150mm dia X 300mm height (6" dia x 12" height) complete withbase plate and locking arrangement, made of Steel - Mortar cubes 50mm (2") made of brass / steel, three gnag mould, machined ininternal surfaces, easily collapsible - Beams 150 x 150x600mm (6"x6"x24") made of steel | 10 each |
|  | Vibrating table | 1 |
|  | Poker vibrator | 1 |
|  | Slump test apparatus | 10 |
|  | Speedy moisture tester | 5 |
|  | Casagrande’s liquid limit device | 5 |
|  | Plastic limit apparatus | 5 |
|  | Standard penetration test apparatus | 5 |

# List of Consumable

| S.No | Items | Quantity Required |
| --- | --- | --- |
|  | Pencil HB,H,2H,3H | 50 each |
|  | Eraser | 50 |
|  | Sharpner | 50 |
|  | Drawing sheet | 50 |
|  | White Chalk/powder | 20 kg 5 bags |
|  | Scotch Tape | 50 |
|  | Field Book, | 50 |
|  | Drawing Sheet | 50 |
|  | Thread (Dori) | 10 |
|  | Rough Copys | 50 |
|  | Bricks | 2000 |
|  | Cement | 20 |
|  | Coarse Aggregates | 500 |
|  | Distemper | 10 |
|  | Weather shield paint | 10 litres |
|  | Emulation paint | 10 litres |
|  | Knotting & Lashing Rope | 50 |
|  | Lime | 100 |
|  | Paint | 10 |
|  | Sand | 500 |
|  | Gypsum powder | 10 |
|  | Plaster of Paris | 15 |
|  | Coconut dust | 5 kgs |
|  | German white glue | 05 |
|  | Kerosene oil | 05 |
|  | Turpentine oil | 05 |
|  | Thinner | 03 |
|  | Paint brushes (2”,3” &4”) | 2 each |
|  | Varnish | 03 |
|  | Printer Paper A4 rim | 10 |
|  | White Board Marker | 6 packs |
|  | Toner Laser Printer Black | 2 |
|  | USB (64 GB) | 2 |
|  | Ball Point | 3 packs |
|  | Note Books | 50 |
|  | Extension Cords | 10 |
|  | Wood joints | 50ft |
|  | Glue | 5kg |
|  | Kail wood | 50 ft |
|  | Grease | 10L |
|  | Nails | 10 kg |
|  | Apron | 50 |
|  | Cable3/0.029,7/0.029,7/0.036,flexible,singlecore,doublecoreeach 3 and 4 core cable sample | 3 roles each |
|  | Bulbs, tubes and energy saver LEDS | 20 each |
|  | Wiring accessories | 50 each |
|  | GI Pipe 1”,3/4’’,1/2’’ | 60 ft |
|  | GI Pipe Special | 18-Nos. |
|  | PPRC Pipe 25mm, 32mm, 40mm | 260 ft |
|  | PPRC Pipe Special different sizes | 48 Nos. |
|  | PVC Pipe 2”, 3’’,4’’ | 130 ft |
|  | PVC Pipe Special different sizes | 24 Nos. |
|  | PVC Tape | 3 Nos. |
|  | CI Pipe 3’’,4’’ | 26 ft |
|  | CI Pipe Special | 05 Nos. |
|  | P Trap 3’’,4’’ | 04 Nos. |
|  | Bib Cock (Tap) | 08 Nos. |
|  | Swan neck | 05 Nos. |
|  | Basin Mixer | 03 Nos. |
|  | Bath Mixer | 03 Nos. |
|  | Thread roll | 05 Nos. |
|  | Teflon tape | 12 Nos. |
|  | PVC Solution | 500 ml |
|  | Silicon sealant | 300 ml |
|  | Plumbing fitting and Fixtures with accessories each type | 2 Nos. Set |
|  | Sand | 10 |
|  | Commode European | One |
|  | Elbow different sizes | 24 Nos. |
|  | Sockets different sizes | 24 Nos. |
|  | T and cross different sizes | 12 Nos. |
|  | Cotton tape | 2 Nos. |
|  | PPRC male & female thread socket | 12 Nos. Each |
|  | Water Hardness Test Kit | 05 Nos. |
|  | Pipettes | 05 Nos. |
|  | Beakers | 05 Nos. |
|  | PPRC Gate Valve 25mm, 32 mm | 06 Nos. |
|  | PPRC end cap & plug 25mm, 32mm | 06 Nos. |
|  | Nail Clump | 12 Nos. |
|  | Bitumen different grade | 20 kg |
|  | A4, A3 and A2 printer paper | 1 rim each size |
|  | Sprinklers | 5 |