Course / Subject Name : NQ-ET 131 Basic Electrical Drawing

- MCQs

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 8) | LU (9 to 16) | LU (17 to 25) |
| - Where is the title block located on a drawing sheet? a) In the center b) In the bottom left corner c) In the top right corner d) In the bottom right corner - The title block be aligned relative to the rest of the drawing. a) Centered b) Diagonally c) Horizontally d) Vertically - Which line type is used to indicate horizontal alignment? a) Dashed line b) Zigzag line c) Vertical line d) Horizontal line - The purpose of vertical lines in a drawing. a) To mark dimensions b) To indicate height or depth c) To show slope or angle d) To separate sections - What is the key characteristic of an ellipse? a) It has four sides b) It has two parallel sides c) It has curved sides d) It has six equal sides - In technical drawing, what shape represents the simplest form of enclosed space? a) Rectangle b) Circle c) Triangle d) Hexagon - Which type of lettering is commonly used for technical drawings? a) Cursive b) Block c) Italic d) Decorative - When drawing dimensions, the extension lines are typically placed? a) Inside the object b) Outside the object c) Above the dimension line d) Below the dimension line - What is the purpose of creating orthographic projections? a) To create a 3D model b) To add shading and color c) To represent multiple views of a 3D object d) To include artistic details - Which object is commonly represented using orthographic projection? a) Sphere b) Pyramid c) Cylinder d) Prism - Which type of projection is used for drawing an oblique drawing? a) Orthographic projection b) 1st angle projection c) Oblique projection d) 3rd angle projection - Which shape is not drawn in an oblique drawing? a) Rectangular Prism b) Stepped Block c) V-Block d) Sphere - Which shape has two parallel bases and rectangular faces connecting them? a) Prism b) Pyramid c) Cylinder d) Square - What shape is formed by connecting a polygonal base to a single apex? a) Prism b) Cylinder c) Pyramid d) Cone - The purpose of drawing a section diagram of a bolt and nut is? a) To show the outer shape b) To display internal features c) To add shading and color d) To label the parts Answer Keys: 1.d; 2.a; 3.d; 4.b; 5.c. 6.a; 7.b; 8.b; 9.c; 10.d. 11.c; 12.d; 13.a; 14.c; 15.b. | - Which symbol is typically used for electrical wiring in technical drawings? a) A wavy line b) A solid straight line c) A dashed line d) A zigzag line - When drawing a symbol for concrete, which shape is commonly used? a) A solid square b) A dashed rectangle c) A solid rectangle d) A dashed square - What symbol represents a pipe in technical drawings? a) A solid line b) A wavy line c) A dashed line d) A curved line - Which component is typically represented with a horizontal line in a single line diagram of a substation? a) Transformer b) Bus bar c) Circuit breaker d) Power line - Which voltage level is represented at the top of a single line diagram for a 132kV/11kV grid-substation? a) 11kV b) 33kV c) 220kV d) 132kV - Which tool is commonly used to draw accurate and uniform circles for electrical outlet positions? a) Protractor b) Compass c) Ruler d) Divider - Which component is essential to show in a wiring diagram of a single phase motor with starter? a) Transformer b) Circuit breaker c) Capacitor d) Relay - The line labeled 'L1' indicate in a single phase motor wiring diagram. a) Line voltage b) Neutral c) Capacitor d) Ground - What is the role of an earth electrode in an earthing layout? a) To conduct electricity b) To provide insulation c) To connect to the ground d) To store energy - What type of line is used to indicate the path of grounding conductors in an earthing layout? a) Dashed line b) Solid line c) Zigzag line d) Dotted line - Which line type is used to represent connections in a single line diagram? a) Dashed b) Solid c) Dotted d) Zigzag - How are multiple power lines typically represented in a single line power wiring diagram? a) By multiple parallel lines b) By a single thick line c) By a series of dotted lines d) By different colors - What is the objective of creating a single line power wiring diagram in a power lab? a) To provide detailed measurements b) To simplify the electrical connections c) To show the layout of laboratory furniture d) To indicate room dimensions - How should the power source be represented in a single line power wiring diagram? a) With a double solid line b) With a solid line and 'L1', 'L2', 'L3' labels c) With a dashed line d) With a circle - Which component is essential to include in a schematic diagram of the power control panel of a power lab? a) Motor b) Battery c) Circuit breaker d) Lamp Answer Keys: 1.a; 2.c; 3.d; 4.b; 5.d. 6.b; 7.c; 8.a; 9.c; 10.b. 11.d; 12.a; 13.b; 14.b; 15.c. | - Which component is crucial to include in the supply distribution diagram of a multi-story house? a) Air conditioning unit b) Ceiling fan c) Electrical socket d) Water heater - The role of a circuit breaker in the supply distribution of a multi-story house is. a) To connect circuits b) To disconnect circuits c) To stabilize voltage d) To control lighting - What is the basic objective of drawing a detailed drawing of a small house with front elevation? a) To display the layout of rooms b) To simplify electrical connections c) To indicate plumbing system d) To show the landscaping - How is the roof represented in a front elevation drawing of a small house? a) By solid lines b) By dashed lines c) By a shaded area d) By different colors - Which component is essential in a six lines intercom-network circuit diagram? a) Ceiling fan b) Electrical socket c) Air conditioning unit d) Speaker - What does the 'N' label represent in a six lines intercom-network circuit diagram? a) Neutral b) Phase 1 c) Ground d) Neutral voltage - The basic objective of sketching simple objects like a tri square, switch plate, and bulb holder. a) To indicate the layout of rooms b) To simplify electrical connections c) To practice technical drawing skills d) To show furniture arrangement - When sketching a tri square, how should the handle be represented? a) By a solid line b) By a dashed line c) By parallel lines d) By a curved line - How many faces are typically visible in an isometric view of a commutator? a) Two b) Three c) Four d) Five - In an isometric view of a commutator, how should the cylindrical shape be represented? a) By parallel lines b) By a curved line c) By concentric circles d) By solid lines - Which part of a cable is shown in a sectional view? a) Insulation b) External covering c) Conductors d) All of the above - What tool is commonly used to draw concentric circles in a sectional view of a cable? a) Compass b) Protractor c) Divider d) Ruler - How should the cross-arms of an electrical tower be represented in a sketch? a) By dashed lines b) By solid rectangles c) By parallel lines d) By concentric circles - Which part of the electrical system do insulators primarily relate to? a) Conductors b) Power transformers c) Ground connections d) Transmission lines - In a schematic diagram of a power house, how should the flow of electricity be depicted. a) By arrows b) By solid lines c) By concentric circles d) By shaded areas Answer Keys: 1.c; 2.b; 3.a; 4.c; 5.d. 6.a; 7.c; 8.a; 9.b; 10.c. 11.d; 12.a; 13.c; 14.d; 15.a. |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 8) | LU (9 to 16) | LU (17 to 25) |
| - What is the main purpose of a title block in a technical drawing? - What is a key element that should always be included in a title block? - Which tool is most commonly used to draw precise horizontal and vertical lines? - Which type of line is most suitable for representing height in a drawing? - Which shape is defined by having six equal sides and angles? - How should letters be spaced when drawing them in technical drawings? - Which view is typically drawn in the 1st angle orthographic projection? - What is the purpose of drawing an oblique drawing? - Which shape is characterized by having a circular base and straight sides tapering to a point? - Which view is used to represent the internal parts of a bolt and nut in a section diagram? | - What symbol represents a pipe in technical drawings? - What is the purpose of drawing symbols for building materials in technical drawings? - What does the symbol with a diagonal cross represent in a substation single line diagram? - How are the switches represented in a layout diagram? - How is a motor typically represented in a wiring diagram? - What symbol represents the main grounding point in an earthing layout? - Which component is commonly represented in a layout of earthing? - What symbol represents a circuit breaker in a single line power wiring diagram? - What is the role of an isolator in a single line power wiring diagram of a power lab? - What does the 'L1', 'L2', 'L3' labels represent in a power control panel schematic? | - What does the label 'N' indicate in a supply distribution diagram? - What is the importance of showing the earthing connection in the supply distribution diagram? - What does a solid line indicate in a front elevation drawing of a house? - What role does a relay play in a six lines intercom-network circuit diagram? - What is the main function of a bulb holder? - What is the objective of sketching the isometric view of a commutator? - What is the typical shape of the legs of an electrical tower in a sketch? - What tool is commonly used to draw concentric circles in a sketch of an insulator? - What is the basic purpose of drawing a schematic diagram of a power house? - What does a dotted line represent in a schematic diagram of a power house? |

- Assessment Tasks

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 8) | LU (9 to 16) | LU (17 to 25) |
| Draw a section diagram of a third angle drawing of Stepped Block and also create the orthographic projections. Performance Criteria: - Arrange the required drawing sheet. - Collect the required drawing tools. - Fix the drawing sheet on drawing board. - Divide the drawing sheet, ensuring proper alignment and space allocation. - Follow established drawing standards to create clear and accurate boundary lines. - Draw title block (project title, date, scale, and drafter’s name) on the drawing sheet. - Draw accurate orthographic projections and oblique drawings for stepped blocks. | Draw a technical drawing for single line diagram of 132KV/11KV grid-substations. Performance Criteria: - Arrange the required drawing sheet. - Collect the required drawing tools. - Fix the drawing sheet on drawing board. - Divide the drawing sheet, ensuring proper alignment and space allocation. - Follow established drawing standards to create clear and accurate boundary lines. - Draw title block (project title, date, scale, and drafter’s name) on the drawing sheet. - Clearly label the isolators, circuit breakers and voltage levels (132KV and 11KV) at appropriate points in the diagram. - Include all critical elements such as transformers, bus bars, protection devices, grounding, and control circuits in the diagram. - Adhere to relevant technical and safety standards for the smooth operation. | Draw a technical wiring diagram of a single phase motor with starter. Performance Criteria: - Arrange the required drawing sheet. - Collect the required drawing tools. - Fix the drawing sheet on drawing board. - Divide the drawing sheet, ensuring proper alignment and space allocation. - Follow established drawing standards to create clear and accurate boundary lines. - Draw title block (project title, date, scale, and drafter’s name) on the drawing sheet. - Draw all wiring connections between the motor, starter, power supply, and control circuit. - Specify the voltage ratings and phases (single-phase) at appropriate points in the diagram. - Maintain a logical arrangement of components to reflect the operational flow of the circuit. - Include all necessary protection devices for the smooth operation. - Ensure the diagram aligns with relevant electrical wiring and safety standards. |