Course / Subject Name:  NQ-ET 143 Workshop Practice I (Electrical)

- MCQs

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 3) | LU (4) | LU (5 to 6) |
| - Which of the following is NOT a personal protective equipment (PPE)? a) Gloves b) Goggles c) Screwdriver d) Helmet - What should be checked regularly to ensure the effectiveness of fire extinguishers? a) Physical condition b) Expiry date c) Weight d) All of the above - Why is it important to check the expiry date of medicines in the first aid box? a) To ensure safety charts are up-to-date b) To prevent using ineffective medicines c) To improve inventory management d) To avoid fire hazards - What is the purpose of conducting an emergency drill? a) To identify wiring points b) To test the fire alarm functionality c) To train individuals on emergency procedures d) To calibrate measuring instruments - Which safety equipment should be tested regularly for functionality? a) Personal Protective Equipment (PPE) b) Smoke detector c) Wiring accessories d) Measuring instruments - What is the purpose of calibrating measuring instruments? a) To clean tools and equipment b) To ensure accuracy of measurements c) To maintain inventory d) To fix safety charts - How can leakage in tools and equipment be checked? a) By calibrating them b) By visually inspecting their condition c) By using insulation testers d) By conducting an emergency drill - What is the significance of maintaining an inventory of tools and equipment? a) To minimize the risk of electrical hazards b) To ensure availability and readiness for tasks c) To keep tools clean d) To improve calibration accuracy - Which step is essential for determining the correct wiring layout? a) Fixing safety charts b) Arranging required accessories c) Calculating load of the house d) Performing emergency drill - What is the purpose of laying wires in ducts or pipes? a) To protect wires from physical damage b) To check the insulation of tools c) To arrange required equipment d) To clean the wiring accessories - Which of the following is the primary function of personal protective equipment (PPE)? a) To improve work efficiency b) To protect the worker from hazards c) To enhance the visual appeal of the workspace d) To monitor tool performance - What should be done to ensure tools are safe to use? a) Perform a visual inspection only b) Calibrate them periodically and check insulation c) Store them in the toolbox d) Arrange them according to the job requirements - Why is it important to maintain a tool box? a) To ensure tools are organized and easily accessible b) To make tools look presentable c) To prevent tools from being used improperly d) To minimize the risk of electrical overload - Which action should be performed before starting any wiring job? a) Install fire extinguishers b) Calculate the load of the house c) Conduct an emergency drill d) Test smoke detectors - What is the purpose of fixing safety charts on the walls? a) To display company policies b) To guide workers on safety procedures c) To provide information about tools d) To decorate the workspace Answer Keys: 1. c; 2. d; 3. b; 4. c; 5. b. 6. b; 7. c; 8. b; 9. c; 10. a. 11. b; 12. b; 13. a; 14. b; 15. b. | - What is the first step in installing industrial/commercial wiring? a) Draw wiring diagram b) Mark points for installation c) Arrange tools and equipment d) Lay wires in duct/pipe - Which document provides the blueprint for wiring installation? a) Maintenance checklist b) Inventory record c) Wiring diagram d) Safety chart - Why is it important to mark points for installation? a) To arrange accessories efficiently b) To ensure precise placement of wiring components c) To protect wires from physical damage d) To improve earthing performance - What is the purpose of laying wires in ducts or pipes according to the layout diagram? a) To prevent electrical leakage b) To provide physical protection to wires c) To reduce the need for accessories d) To ensure connection with the main supply - Which activity ensures the safety of electrical systems by preventing electrical shocks? a) Fixing the Distribution Box b) Carrying out Earthing c) Arranging tools and equipment d) Connecting with the main supply - What is the purpose of fixing a Distribution Box (DB)? a) To house circuit breakers and wiring connections b) To mark installation points c) To lay wires in ducts or pipes d) To calibrate measuring instruments - Which step involves physically connecting the wiring system to the power source? a) Carrying out Earthing b) Fixing accessories c) Connecting the installed wiring with the main supply d) Laying wires in ducts or pipes - How should accessories be fixed during wiring installation? a) Randomly based on space availability b) As per wiring diagram specifications c) According to the availability of tools d) Based on the load of the industrial setup - Why is it important to arrange accessories before starting the wiring installation? a) To avoid delays during the installation process b) To ensure safety during earthing c) To prevent overloading of circuits d) To improve calibration accuracy - What is the final step in the industrial/commercial wiring installation process? a) Lay wires in ducts or pipes b) Make connections of accessories as per the wiring diagram c) Fix the Distribution Box d) Perform a safety drill - What should be done after arranging tools and equipment for wiring installation? a) Lay wires in ducts or pipes b) Carry out earthing c) Draw wiring diagram of the circuit d) Mark points for installation - Which activity ensures the proper installation of accessories in wiring systems? a) Carrying out earthing b) Marking points for installation c) Fixing accessories as per wiring diagram d) Connecting the wiring with the main supply - Why is it important to fix the Distribution Box (DB) during wiring installation? a) To distribute power across different circuits b) To protect the wiring from physical damage c) To enhance the performance of accessories d) To check insulation levels of tools - How should the wiring installation layout be followed for correct placement? a) By following the safety charts b) By adhering to the wiring diagram c) By marking installation points randomly d) By placing wires wherever space is available - What is the significance of laying wires in ducts or pipes according to the layout diagram? a) To ensure compliance with electrical codes b) To reduce the cost of installation c) To prevent physical damage to the wires d) To minimize the number of accessories used Answer Keys: 1. c; 2. c; 3. b; 4. b; 5. b. 6. a; 7. c; 8. b; 9. a; 10. b. 11. c; 12. c; 13. a; 14. b; 15. c. | - What is the first step when making a wiring joint? a) Strip the wire b) Select the required type of cable c) Insulate the joint d) Conduct a continuity test - How much wire is typically stripped for making wiring joints? a) 10mm b) 20mm c) 50mm d) 100mm - Which joint is also known as a twist joint? a) Straight joint b) Cross joint c) T-joint d) Rat tail joint - What is the purpose of insulating a wiring joint? a) To secure the wire mechanically b) To prevent electrical leakage and short circuits c) To simplify the connection process d) To enhance cable flexibility - Which joint is specifically designed for branching a wire from a main line? a) Britannia joint b) T-joint c) Straight joint d) Rat tail joint - What does a continuity test check for? a) Insulation resistance of wires b) Proper connection between two points c) Open circuits in wiring d) Faulty ground connections - What is the main purpose of an insulation resistance test? a) To check for continuity b) To measure the resistance of insulating material c) To detect polarity issues d) To identify short circuits - Which test checks whether the live, neutral, and earth wires are correctly connected? a) Short circuit test b) Continuity test c) Polarity test d) Ground fault test - What does an open circuit test identify? a) Proper grounding of the circuit b) Broken or disconnected wires c) Overloading in a circuit d) High insulation resistance - Which test ensures that the electrical system is properly grounded? a) Earth continuity test b) Short circuit test c) Open circuit test d) Polarity test - What is the purpose of stripping a wire before making a joint? a) To increase the wire length b) To expose enough conductor for a proper connection c) To improve the insulation quality d) To measure the wire resistance - Which of the following joints is most commonly used to connect two wires in parallel? a) T-joint b) Straight joint c) Rat tail joint d) Britannia joint - What is the main reason for making a Britannia joint? a) To join three or more wires b) To connect wires with a high resistance c) To ensure a secure and stable connection in high-current circuits d) To insulate joints effectively - Which test is used to check if a wire is properly grounded and free from faults? a) Polarity test b) Ground fault test c) Insulation resistance test d) Continuity test - What is the main purpose of conducting a short circuit test? a) To measure the insulation resistance b) To verify that the wiring is connected correctly and safely c) To detect if any wires are exposed or disconnected d) To test for the correct polarity of wires Answer Keys: 1. b; 2. c; 3. b; 4. b; 5. b. 6. b; 7. b; 8. c; 9. b; 10. a. 11. b; 12. b; 13. c; 14. b; 15. b. |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 3) | LU (4) | LU (5 to 6) |
| - Why is it important to prepare a list of Personal Protective Equipment (PPE) before starting a job? - What steps should be taken to ensure the functionality of a fire extinguisher in the workplace? - Write down the importance of calibrating measuring instruments. - What factors should be considered while calculating the load of a house for domestic wiring? - Enlist the steps involved in laying wires in ducts / pipes according to a layout diagram. - What are the key components to include in a first aid box for an electrical workshop? - How do you verify the physical condition of Personal Protective Equipment (PPE) before use? - What are the safety considerations when installing a fire extinguisher in an electrical workshop? - Why is it essential to maintain an inventory of tools and equipment in a workshop? - What is the importance of marking wiring points correctly before starting the installation process? | - What is the importance of arranging tools and equipment before starting industrial / commercial wiring installation? - Why is it necessary to draw a wiring diagram of the circuit before installation? - Write down the importance of marking points for installation during wiring work. - What are the key steps involved in fixing a Distribution Box (DB) ? - Why is earthing essential in industrial and commercial wiring, and how is it carried out? - What factors should be considered when selecting accessories for industrial or commercial wiring installation? - Why is it important to follow the layout diagram when laying wires in ducts or pipes? - What tools are typically required to carry out earthing in industrial or commercial wiring systems? - What will be the procedure for connecting the installed wiring to the main supply. - How do you ensure that all accessories are fixed properly according to the wiring diagram? | - What factors should be considered while selecting cable for joints? - Write down the purpose of stripping wire for making wiring joints. - What are the key differences between a T-joint and a Rat tail joint? - Why is it essential to conduct an insulation resistance test on installed wiring? - What is the purpose of performing a continuity test, and how is it conducted? - What are the advantages of using a Cross/Twist joint in wiring connections? - Describe the procedure for insulating wiring joints as per safety requirements. - When would a Britannia joint be preferred over other types of wiring joints? - How does an Open Circuit Test differ from a Short Circuit Test in verifying wiring functionality? - Why is it necessary to conduct a Ground Fault Test on installed wiring, and how is it performed? |

- Assessment Tasks

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 3) | LU (4) | LU (5 to 6) |
| Install domestic wiring in a residential setup, including load calculation, layout preparation, wire installation, accessory fixing, and system testing while ensuring safety compliance. Performance Criteria: - Perform load calculation for the residential setup - Prepare a wiring layout based on the calculated load and design requirements - Select and arrange necessary tools, materials, and accessories for the installation - Install wires in ducts/ pipes and secure them according to the layout diagram - Fix electrical accessories as per the wiring layout - Conduct continuity and insulation resistance tests to ensure proper installation - Ensure proper grounding and earth continuity for safety compliance - Verify the functionality of all installed wiring and accessories, and check safety equipment for smooth operation | Install industrial or commercial wiring by arranging tools, preparing a wiring diagram, marking installation points, laying wires, fixing accessories, installing the distribution box, and connecting the system to the main supply and conduct earth testing. Performance Criteria: - Arrange tools and equipment required for the installation. - Draw the wiring diagram based on circuit requirements. - Mark installation points according to the wiring diagram. - Lay wires in ducts or pipes following the layout diagram. - Fix all accessories (e.g., switches, sockets, junction boxes) as per the wiring diagram. - Install the Distribution Box (DB) as per the wiring layout. - Connect the installed wiring to the main supply securely. - Conduct earth testing to ensure proper grounding and system safety. | Make various wire joints (e.g., cross, T-joint, rat tail, and Britannia) by selecting the required cables, insulating them and carry out the required test (continuity, open circuit, short circuit, insulation resistance, earth continuity, and ground fault tests) for the smooth operation. Performance Criteria: - Select the required type of cables for making the wire joints. - Strip the wire to the required length (e.g., 50mm). - Make the required wire joints (cross, T-joint, rat tail, and Britannia). - Insulate the joints as per the required standards. - Conduct continuity testing to ensure proper connections. - Perform insulation resistance tests to verify insulation integrity. - Carry out earth continuity testing for proper grounding. - Conduct ground fault tests to ensure safety and smooth operation. |

Top of Form

Bottom of Form