Course / Subject Name:   NQ-ET 253 Utilization of Electrical Energy

- MCQs

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 2) | LU (3 to 5) | LU (6 to 8) |
| - Which of the following factors affects the efficiency of an illumination system? a) Light loss factor b) Voltage drop c) Current density d) Circuit diagram - What is the primary law governing the electroplating process? a) Ohm's Law b) Faraday's Laws of Electrolysis c) Kirchhoff’s Law d) Coulomb's Law - Which of the following is a critical parameter to control during the electroplating process? a) Light loss factor b) Voltage, current density, and temperature c) Circuit resistance d) Power factor - What is the purpose of designing a lighting scheme for a hall? a) To reduce current loss b) To optimize light distribution and minimize waste c) To calculate power consumption d) To measure depreciation - What does an electroplating bath setup require? a) Electric heating b) Electrolyte solution and electrodes c) Light loss factor d) Power inverter - What does a flood lighting scheme aim to achieve? a) Uniform lighting for large outdoor areas b) Reduction in current density c) Measurement of power factor d) Testing heating elements - What does light depreciation refer to? a) Loss of light intensity over time b) Reduction in voltage c) Increase in current density d) Energy wastage - Which material is critical when preparing an electric heating element? a) Copper b) Nichrome c) Plastic d) Aluminum - What is the primary purpose of electroplating? a) To reduce energy consumption b) To deposit a protective or decorative layer on a material c) To measure power factor d) To calculate energy consumption - Which parameter is NOT involved in controlling the electroplating process? a) Voltage b) Light intensity c) Current density d) Temperature - What is the significance of maintaining the correct voltage during electroplating? a) To reduce current density b) To ensure uniform deposition c) To control thermal comfort d) To avoid energy waste in lighting systems - Which factor is critical in designing a flood lighting scheme? a) Type of refrigerant used b) Coverage area and beam angle c) Current density in the circuit d) Voltage of the power supply - Which factor is essential for calculating the efficiency of a lighting scheme? a) Voltage drop b) Waste light factor c) Current density d) Power factor - Faraday's first law of electrolysis states that: a) Mass deposited is directly proportional to the current. b) Current increases with resistance. c) Voltage is inversely proportional to time. d) Power factor depends on light loss factor. - What parameter is controlled to ensure high-quality electroplating? a) Resistance and power b) Voltage, current density, and temperature c) Ambient light levels d) Size of the electrodes Answer Keys: 1.a; 2.b; 3.b; 4.b; 5.b. 6.a; 7.a; 8.b; 9.b; 10.b. 11.b; 12.b; 13.b; 14.a; 15.b. | - Which component is NOT part of a typical air conditioning system? a) Evaporator b) Compressor c) Fuel tank d) Condenser - What is the formula to calculate energy consumption? a) Voltage × Current × Resistance b) Power × Time c) Voltage × Current × Power Factor d) Current × Resistance × Time - Which tool is essential for measuring time when calculating energy consumption? a) Multimeter b) Stopwatch c) Oscilloscope d) Thermometer - Which of the following determines thermal comfort in a room? a) Voltage and resistance b) Temperature and humidity levels c) Light distribution d) Electric current flow - What is the significance of power factor in energy calculations? a) It measures the speed of electricity. b) It determines the efficiency of energy use. c) It calculates the cost of electricity. d) It identifies thermal comfort levels. - Which diagram is essential for understanding a refrigerator's operation? a) Power circuit diagram b) Mechanical layout c) Electrical circuit diagram d) Heating diagram - Which formula calculates power? a) Voltage × Current b) Resistance ÷ Current c) Power × Time d) Voltage ÷ Time - Which component is unique to DC inverter systems? a) Compressor b) Rectifier circuit c) Condenser d) Thermostat - What determines the efficiency of an electric heating furnace? a) Heating element material b) Condition of heating elements and power consumption c) Current density d) Light loss factor - What does a circuit diagram of a refrigerator help determine? a) Depreciation of light b) The flow of current and components' connections c) Voltage drop across heating elements d) Power consumption of air conditioners - The process of refrigeration primarily involves: a) Electrical heating b) Thermal energy transfer c) Light energy conversion d) Electrolysis - Which device measures the current flow in a DC inverter? a) Ammeter b) Voltmeter c) Thermometer d) Oscilloscope - What happens if the power factor is too low in an air conditioning system? a) Energy consumption decreases. b) Efficiency decreases, leading to higher costs. c) Voltage increases significantly. d) Thermal comfort improves. - The energy consumption of a DC inverter is calculated by: a) Voltage ÷ Current b) Power × Time c) Current × Resistance d) Resistance ÷ Voltage - Which of the following is a key component of an air conditioner? a) Transformer b) Compressor c) Heating element d) Light bulb - Why is thermal comfort significant in air conditioning systems? a) It determines efficiency. b) It improves user satisfaction and health. c) It calculates energy consumption. d) It measures power factor. - What is the role of a condenser in a refrigeration system? a) Convert thermal energy to mechanical energy b) Reject heat from the refrigerant to the surroundings c) Generate electrical energy d) Improve light intensity - Which factor is calculated using the formula P=V×IP = V \times IP=V×I? a) Energy consumption b) Power c) Thermal comfort d) Resistance - What is the function of the evaporator in a refrigeration cycle? a) Increase voltage b) Absorb heat and cool the surroundings c) Condense refrigerant gas into liquid d) Improve circuit resistance Answer Keys: 1.c; 2.b; 3.b; 4.b; 5.b. 6.c; 7.a; 8.b; 9.b; 10.b. 11.b; 12.a; 13.b; 14.b; 15.b. 16.b; 17.b; 18.b; 19.b. | - The main purpose of an electric heating furnace is to: a) Maintain a specified temperature b) Optimize refrigeration c) Reduce light depreciation d) Design electric traction systems - Electric traction systems are primarily used in: a) Residential lighting b) Transportation systems c) Electroplating setups d) Air conditioning - Electric heating elements are primarily tested for: a) Light depreciation b) Resistance and thermal stability c) Voltage drop d) Electrolyte efficiency - What material is commonly used for preparing heating elements? a) Steel b) Nichrome c) Copper d) Aluminum - The efficiency of a furnace depends on: a) Voltage and current b) Heating element condition and start up procedures c) Thermal comfort levels d) Light loss factor - Electric traction systems are primarily powered by: a) Batteries b) Overhead cables or third rails c) Internal combustion engines d) Solar panels - What is the purpose of setting specifications for a heating element? a) To determine thermal comfort b) To achieve desired resistance and heating efficiency c) To calculate power factor d) To control current density - What is the primary purpose of an electric traction system? a) To operate refrigeration units b) To drive electrically powered vehicles like trains and trams c) To enhance lighting efficiency d) To maintain heating elements - Which is NOT a tool typically required for working on an electric traction system? a) Multimeter b) Screwdriver set c) Lux meter d) Crimping tool - What should be measured to ensure the efficiency of heating in an electric furnace? a) Ambient temperature only b) Input energy versus output heat energy c) The size of heating elements d) Power factor correction - What is the primary function of the heating element in an electric furnace? a) To control voltage levels b) To generate and maintain heat for the furnace operation c) To enhance traction system performance d) To test thermal comfort - What parameter must be verified to assess an electric furnace’s performance? a) Power factor b) Capability to reach and maintain a specified temperature c) Refrigerant type d) Voltage drop across elements - What is the purpose of following proper startup and shutdown procedures for an electric furnace? a) To optimize energy efficiency and ensure safety b) To test lighting systems c) To verify traction system layouts d) To measure heating element resistance - What is the first step in preparing an electric heating element? a) Testing its resistance b) Selecting the material to match the specifications c) Installing the element in the furnace d) Measuring ambient heat levels - How the condition of a heating element is typically assessed? a) By measuring its resistance and visual inspection for wear or damage b) By checking the furnace’s temperature settings c) By measuring the system’s power factor d) By testing the refrigerant levels Answer Keys: 1.a; 2.b; 3.b; 4.b; 5.b. 6.b; 7.b; 8.b; 9.c; 10.b. 11.b; 12.b; 13.a; 14.b; 15.a. |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 2) | LU (3 to 5) | LU (6 to 8) |
| - What is meaning the term "light loss factor" in illumination systems. - What is Faraday's Laws of Electrolysis and their importance in electroplating. - What is the purpose of a flood lighting scheme? - What is the significance of voltage and current density in electroplating? - How can energy efficiency be optimized in residential lighting? - What is the purpose of measuring the light loss factor in an illumination system? - What are the key elements to consider when designing a flood lighting scheme? - What safety measures should be followed when operating an electroplating bath? - Why is it important to control temperature during electroplating? - What happens if the current density in an electroplating process is too low? | - Differentiate between conventional and DC inverter air conditioners. - What is the difference between energy consumption and power? - Enlist the process for calculating the energy bill of a conventional air conditioner. - What is the process of determining thermal comfort. - What are the main components of a refrigeration system? - How power factor is measured, and why is it important? - What is the formula for calculating power in an electrical system, and how is it applied to a DC inverter? - Why is it necessary to record all measured parameters (e.g., voltage, current, power factor) when calculating energy consumption? - What factors are considered to determine the thermal comfort level in an air-conditioned environment? - How does the energy efficiency of a DC inverter differ from that of a conventional air conditioner? | - How does an electric heating furnace maintain a specified temperature? - What are the steps involved in preparing an electric heating element? - How can energy efficiency be optimized in residential lighting? - Draw the basic layout of an electric traction system. - What tools are typically required to work on an electric traction system? - List three common components found in an electric traction system. - What safety precautions should be taken during the start-up and shutdown of an electric furnace? - How can the efficiency of heating in an electric furnace be measured? - How does dimensioning (number of turns and surface area) affect the performance of a heating element? - Why is nichrome commonly used in electric heating elements? |

- Assessment Tasks

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 2) | LU (3 to 5) | LU (6 to 8) |
| - Install illuminating lighting scheme for hall Performance Criteria: - Measure utilization, depreciation, light loss and waste light factor for hall. - Design lighting scheme for a Hall. - Install the designed schme in hall. - Test installed lighting system. - Perform electroplating Performance Criteria: - Verify Faraday’s laws of electrolysis. - Setup electroplating bath. - Operate electroplating bath. - Control voltage, current density and temperature during the electroplating process. | Install cooling systems and measure energy efficiency of simple Air conditioner and inverter AC Performance Criteria: - Draw Circuit Diagrams for cooling system. - Determine thermal comfort and System Components - Measure electrical parameters for DC Inverters and conventional Air Conditioners - Record electrical parameters for DC Inverters and conventional Air Conditioners - Monitor operational time of a cooling system - Calculate power and energy Consumption - Record observations and data - Evaluate and compare systems | - Demonstrate the function of Electric traction and Heating furnaces through PPT. Performance Criteria: - Enlist required tools and equipment. - Interpret electrical schemes and mechanical layouts. - Identify components and their placement in the system. - Verify furnace's capability to reach and maintain a specified temperature. - Enlist furnace's startup and shutdown procedures. - Prepare electric heating element Performance Criteria: - Set Specifications (Resistance, Surface Area, Number of turns, Dimensioning) - Measure condition of the heating elements. - Measure efficiency of heating element - Test heating element. |