Course / Subject Name: NQ-ET 332 Power Plan & Energy Conservation

- MCQs

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 3) | LU (4 to 6) | LU (7 to 8) |
| 1. What is the primary function of a nuclear reactor control system? - To regulate coolant flow - To control fuel temperature - To maintain reactor power level - To monitor radiation levels 2. Which of the following is a common method of controlling thermal power plant output? - Adjusting boiler pressure - Changing fuel flow rate - Moving turbine blades - Varying cooling water flow 3. What is the purpose of a thermal power plant's condenser? - To increase steam pressure - To decrease steam temperature - To condense steam back into liquid water - To monitor cooling water flow 4. Which of the following is a type of electrical power source? - Nuclear power plant - Thermal power plant - Hydroelectric power plant - d)All of the above 5. What is the characteristic of a reliable electrical power source? a) High voltage b) High current c) Low frequency d) Consistent output 6. What the primary safety procedure when is working with electrical power sources? a) Wear personal protective equipment b) Follow proper lockout/tagout procedures c) Ensure proper grounding d) All of the above 7. Which of the following is a method of controlling nuclear reactor power level? a) Adjusting coolant flow rate b) Changing fuel enrichment c) Moving control rods d) Varying moderator temperature 8. What is the purpose of a thermal power plant's boiler? a) To produce steam b) To condense steam c) To increase steam pressure d) To decrease steam temperature 9. Which of the following is a characteristic of a thermal power plant? - High efficiency - Low operating cost - Ability to respond quickly to changes in demand - All of the above 10. What is the primary function of a nuclear reactor's containment structure? - To prevent radiation releases to the environment - To control reactor power level - To monitor coolant temperature - To detect radiation leaks 11. Which of the following is a method of controlling thermal power plant output? a) Adjusting turbine blades b) Changing fuel flow rate c) Moving boiler valves d) Varying cooling water flow 12. What is the purpose of a thermal power plant's cooling system? a) To increase steam pressure b) To decrease steam temperature c) To condense steam back into liquid water d) To monitor cooling water flow 13. Which of the following is a type of electrical power source? a) Solar power plant b) Wind power plant c) Geothermal power plant d) All of the above 14. What is the characteristic of a efficient electrical power source? a) High voltage b) High current c) Low frequency d) High power factor 15. What is the primary safety procedure when working with nuclear power plants? a) Wear personal protective equipment b) Follow proper lockout/tagout procedures c) Ensure proper radiation monitoring d) All of the above Answer Keys: 1. c; 2. b; 3. c; 4. d; 5. d. 6. d; 7. c; 8. a; 9. c; 10. a. 11. b; 12. c; 13. d; 14. d; 15. d. | 1. What is the primary function of a hydroelectric power station's governor? - To regulate water flow - To control turbine speed - To monitor power output - To adjust penstock pressure 2. Which of the following is a method of controlling gas turbine power station output? - Adjusting compressor blades - Changing fuel flow rate - Moving turbine blades - Varying cooling water flow 3. What is the purpose of a wind turbine's pitch control system? - To adjust blade angle - To control turbine speed - c)To monitor power output - To adjust tower height 4. How is solar panel output typically controlled? - By adjusting panel angle - By changing panel temperature - By monitoring power output - By adjusting inverter settings 5. What is the function of a hydroelectric power station's surge tank? a) To regulate water flow b) To control turbine speed c) To absorb pressure fluctuations d) To adjust penstock pressure 6. How is gas turbine power station efficiency typically improved? a) By increasing compressor pressure b) By decreasing turbine temperature c) By optimizing fuel flow rate d) By improving cooling system efficiency 7. What is the purpose of a geothermal power station's cooling system? a) To condense steam b) To cool turbine components c) To reduce thermal pollution d) To increase power output 8. How is biomass power station output typically controlled? a) By adjusting fuel flow rate b) By changing boiler temperature c) By monitoring power output d) By adjusting turbine blades 9. What is the function of a hydroelectric power station's penstock? - To regulate water flow - To control turbine speed - To transmit water pressure - To adjust surge tank pressure 10. How is tidal power station output typically controlled? - By adjusting turbine blades - By changing generator settings - By monitoring power output - By adjusting barrage gates 11. What is the primary function of a wind turbine's yaw control system? a) To adjust blade angle b) To control turbine speed c) To orient turbine towards wind direction d) To adjust tower height 12. How is solar panel efficiency typically improved? a) By increasing panel temperature b) By decreasing panel angle c) By optimizing panel cleaning schedule d) By improving panel material quality 13. What is the purpose of a hydroelectric power station's draft tube? - To regulate water flow - To control turbine speed - To reduce pressure fluctuations - To increase turbine efficiency 14. How is gas turbine power station output typically monitored? - By measuring turbine speed - By monitoring generator output - By measuring fuel flow rate - By monitoring cooling system performance 15. What is the function of a geothermal power station's separator? a) To separate steam from water b) To control turbine speed c) To monitor power output d) To adjust cooling system performance Answer Keys: 1. b; 2. b; 3. a; 4. d; 5. c. 6. c; 7. c; 8. a; 9. c; 10. d. 11. c; 12. d; 13. d; 14. b; 15. a. | 1. What is the primary purpose of tariff calculation in energy projects? - To determine the cost of energy production - To assess the financial viability of energy projects - To determine the selling price of energy - To evaluate the environmental impact of energy projects 2. Which of the following is a method of tariff calculation? - Cost-plus method - Rate-of-return method - C) Net present value method - All of the above 3. What is the purpose of analyzing economic data in energy projects? - To determine the cost of energy production - To assess the financial viability of energy projects - To evaluate the environmental impact of energy projects - To determine the selling price of energy 4. Which of the following formulas is used to determine the cost-effectiveness of energy projects? - Net present value (NPV) formula - Internal rate of return (IRR) formula - Payback period formula - All of the above 5. What is the purpose of preparing reports on tariff calculations and economic assessments? - To provide stakeholders with information on the financial viability of energy projects - To determine the cost of energy production - To evaluate the environmental impact of energy projects - To determine the selling price of energy 6. How are financial models and assumptions adjusted to reflect changing economic conditions? a) By updating the discount rate b) By revising the projected cash flows c) By adjusting the inflation rate d) All of the above 7. What is the arimary technique for energy conservation in buildings? a) Improving insulation b) Installing energy-efficient lighting c) Adjusting equipment settings d) All of the above 8. How can equipment settings be adjusted to optimize energy efficiency? - By reducing the operating temperature - By increasing the operating pressure - By optimizing the airflow - All of the above 9. What is the purpose of monitoring the effectiveness of energy conservation techniques? - To evaluate the environmental impact of energy projects - To determine the cost-effectiveness of energy projects - To identify opportunities for further energy savings - To provide stakeholders with information on the financial viability of energy projects 10. What are some practical examples of energy-efficient practices and technologies? - LED lighting - Solar panels - Wind turbines - All of the above 11. How can energy consumption be reduced in different systems? - By improving insulation - B) By installing energy-efficient equipment - C) By optimizing system design - D) All of the above 12. What is the purpose of energy conservation? - To reduce energy consumption - To increase energy production - To evaluate the environmental impact of energy projects - To determine the cost-effectiveness of energy projects 13. Which of the following is a benefit of energy conservation? a) Reduced energy consumption b) Increased energy production c) Improved environmental sustainability d) All of the above 14. What is the primary challenge of implementing energy conservation measures? a) High upfront costs b) Technical complexity c)Behavioral changes required d) All of the above 15. Which of the following is a tool used to evaluate the cost-effectiveness of energy conservation measures? - Net present value (NPV) formula - Internal rate of return (IRR) formula - Payback period formula - All of the above Answer Keys: 1. b; 2. d; 3. b; 4. d; 5. a. 6. d; 7. d; 8. d; 9. c; 10. d. 11. d; 12. a; 13. d; 14. d; 15. d. |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU (1 to 3) | LU (4 to 6) | LU (7 to 8) |
| Q1. What is the primary function of a nuclear reactor control system? Q2. What is the purpose of a thermal power plant's condenser? Q3. What is the characteristic of a reliable electrical power source? Q4. What is the primary safety procedure when working with electrical power sources? Q5. What is the purpose of a nuclear reactor's containment structure? Q6. How is thermal power plant output typically controlled? Q7. What is the function of a thermal power plant's cooling system? Q8. What is the primary function of a nuclear reactor's control rods? Q9. What is the characteristic of an efficient electrical power source? Q10. What is the purpose of a thermal power plant's boiler? | Q1. What is the primary function of a hydroelectric power station's governor? Q2. How is gas turbine power station output typically controlled? Q3. What is the purpose of a wind turbine's pitch control system? Q4. How is solar panel output typically controlled? Q5. What is the function of a hydroelectric power station's surge tank? Q6. How is gas turbine power station efficiency typically improved? Q7. What is the purpose of a geothermal power station's cooling system? Q8. How is biomass power station output typically controlled? Q9. What is the function of a hydroelectric power station's penstock? Q10. How is tidal power station output typically controlled? | Q1. What are the methods of tariff calculation in energy projects? Q2. What is the purpose of analyzing economic data in energy projects? Q3. What formulas and tools are used to determine cost-effectiveness and profitability in energy projects? Q4. What is the importance of preparing reports on tariff calculations and economic assessments? Q5. How are financial models and assumptions adjusted to reflect changing economic conditions? Q6. What are some techniques for energy conservation in buildings? Q7. How can equipment settings be adjusted to optimize energy efficiency? Q8. What is the purpose of monitoring the effectiveness of energy conservation techniques? Q9. What are some practical examples of energy-efficient practices and technologies? Q10. How can energy consumption be reduced in different systems? |