Course / Subject Name:  NQ.ET 363 Repair & Maintenance of Electrical Equipments

- MCQs

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU(1 to3) | LU(4 to 6) | LU (7 to 9) |
| - The maintenance of a plant is based on: - When needed - According to Planning and schedule - Both a & b - None of these - The speed of motor in delta connection is: - Less - Medium - Full - None of these - Motor run in reverse direction because of: - reverse connection - Less supply voltage - Both a & b - None of these - Which fault occurs in A.C motors: - Mechanical - Electrical - Magnetic - All of these - The speed of single phase motor becomes enough slow because of: - Less load - Less voltage - Both a & b - None of these - What is the primary purpose of the rotor in a three-phase AC motor? - To generate electrical power - To create a magnetic field - To convert electrical energy into mechanical energy - To control the input voltage to the motor - The No of slip rings in squirrel cage motor are: - 3 - 2 - 4 - zero - Starting torque of squirrel cage induction motor is: - Very high - Zero - Low - High - What is the primary cause of overheating in a 3-phase A.C. motor? - High resistance connection - Overloading - Low insulation resistance - All of the above: - Which of instrument is commonly used to measure winding resistance? - Ohm meter - Multi meter - Clamp meter - Tachometer - Which of the component is primarily ensures the rotation of a 3-phase A.C. motor? - Stator - Rotor - Bearing - Terminal box - What does a high current imbalance between phases indicate? - Winding fault - Rotor misalignment - Bearing failure - Power supply issue - Which instrument is used to test insulation resistance? - Oscilloscope - Ohmmeter - Tachometer - Amp meter - Why is it important to follow safety procedures during maintenance? - To increase work efficiency - To comply with legal requirements - To protect workers and equipment - All of the above - What should be the first step before starting maintenance work on electrical equipment? - Testing the equipment - Shutting down the equipment and isolating power - Cleaning the work area - Assembling all necessary too - What does a “lockout/tag out” (LOTO) system ensure? - Equipment is properly cleaned - Equipment cannot be operated accidentally during maintenance - Maintenance is completed on time - Tools are stored securely - Personal Protective Equipment (PPE) includes which of the following? - Safety goggles and gloves - Hearing protection and helmets - Respirators and safety shoes - All of the above - Which document outlines the steps for safe maintenance procedures? - Maintenance logbook - Standard Operating Procedure (SOP) - Service contract - Incident report - During maintenance, what is the primary purpose of signage such as “Caution: Maintenance Work in Progress”? - To warn unauthorized personnel to stay away - To advertise maintenance services - To identify the maintenance team - To help track time - What action should be taken if a hazardous chemical spill occurs during maintenance? - Continue working and report it later - Immediately clean it up without protective gear - Stop work, isolate the area, and report it - Ignore it if it is a small spill - What is the purpose of risk assessment before performing maintenance? - To identify potential hazards and implement control measures - To estimate the cost of maintenance - To allocate the required manpower - To ensure that maintenance is done quickly - How often should safety equipment such as fire extinguishers or emergency alarmsis inspected? - Annually - Monthly - As per manufacturer’s guidelines - When they are used - Which of the following is not a part of safety measures during maintenance? - Wearing PPE - Ignoring minor issues to save time - Using the right tools for the job - Following the manufacturer’s instructions - Why is it important to follow safety procedures during maintenance activities? - To increase work hours - To protect personnel, equipment, and the environment - To reduce productivity - To avoid teamwork - Which of the following is a key element of safety procedures during maintenance? - Using unauthorized tools - Skipping risk assessments - Lockout/Tag out (LOTO) protocols - Ignoring emergency exits - What does PPE stand for in safety procedures? - Personal Protective Equipment - Primary Production Equipment - Preventive Performance Evaluation - Personal Performance Efficiency - Which of the following is NOT a standard maintenance safety procedure? - Conducting a hazard analysis - Using safety guards on equipment - Rushing to complete tasks - Following equipment manuals - What should you do before starting maintenance work on electrical equipment? - Wear safety gloves only - Check and implement LOTO procedures - Disconnect power supply - Inform coworkers but proceed without checking power sources - What is the correct action if a safety procedure cannot be followed as outlined? - Ignore the procedure and proceed cautiously - Notify a supervisor and seek alternative safe methods - Perform the task without informing anyone - Postpone the task indefinitely - What should workers do if they identify unsafe conditions during maintenance? - Continue work while avoiding the unsafe area - Immediately report the issue and stop work if necessary - Wait for others to notice - Fix the issue without notifying supervisors - What is the primary difference between a squirrel cage and a wound rotor motor? - The shape of the stator - The type of rotor used - The presence of brushes in squirrel cage motors - The operating voltage - What is the common cause of overheating in a squirrel cage induction motor? - Excessive load or inadequate ventilation - Incorrect rotor alignment - High slip - Low rotor resistanceWhich component is used to control the starting current in a wound rotor motor? - External resistors connected to the rotor circuit - Capacitors in the stator circuit - Slip rings in the stator circuit - A variable-frequency drive (VFD) - What is the primary purpose of a star-delta starter in motor control? - To reduce motor efficiency - To lower the starting current and avoid voltage dips - To increase motor speed - To improve motor insulation - Which of the following is a common fault in a magnetic starter? - Worn-out or fused contacts - Over-lubricated terminals - Rotor misalignment - Faulty rotor winding Answer keys: 1; c; 2; c; 3; a; 4; d; 5; b. 6; c; 7; b; 8; d; 9; d; 10; b. 11; b; 12; a; 13; b; 14; d; 15; b. 16; b; 17; d; 18; b; 19; a; 20; c. 21; a; 22; c; 23; b; 24; b; 25; c. 26; a; 27; c; 28; b; 29; b; 30; b. 31; b; 32; a; 33; a; 34; b; 35; a. | - What is the primary cause of sparking in the commutator of DC motors? (a) High resistance brushes (b) Worn-out bearings (c) Misaligned brushes (d) Overheating - An open circuit in the armature winding of a D.C motor can cause, (a) Total failure to start (b) Increased speed (c) Reduced efficiency (d) Excessive vibration - What fault occurs if a DC motor draws excessive current? a) Over-voltage b) Short-circuited windings c) Improper lubrication d) Loose connections - What happens if the load on a DC series motor is suddenly removed? a) Motor stops b) Motor speed increases dangerously c) Motor speed decreases slightly d) No change in motor operation - If a DC series motor is found to overheat. The most probable cause is: a) Excessive lubrication b) Worn-out commutator c) Low resistance of field winding d) High resistance in the circuit - What could be the cause if the DC series motor fails to start under load? a) Broken shaft b) Weak field winding c) Armature winding fault d) Insufficient voltage supply - In a DC shunt motor, loss of excitation results in: a) High-speed operation b) Motor stalling c) Normal operation d) Reduced torque - If a DC shunt motor does not start, but its field winding is functional. What should be checked next? a) Brush contact b) Armature circuit c) Load connection d) Bearing alignment - What happens when a DC shunt motor runs with an open circuit in the field winding? a) It runs at rated speed b) It runs at a dangerously high speed c) It stops immediately d) It vibrates excessively - A compound motor's performance deteriorates with fluctuating load. What could be the reason? a) Incorrect field connections b) Open circuited armature c) Bearing misalignment d) Overloaded armature - Ifa compound motor runs at reduced speed under no load, what could be the issue? a) Shorted series field b) Open field winding c) High brush friction d) Loose connection - An over-compounded motor is observed to over speed at no load. The likely cause is: a) Shorted armature windings b) Weak shunt field c) Low resistance brushes d) Incorrect polarity of series field - What is the first step in troubleshooting a non-starting DC motor? a) Check the load b) Inspect the power supply c) Test the commutator d) Replace the brushes - Brush sparking is most likely caused by: a) Worn-out bearings b) High field current c) Low armature voltage d) Incorrect brush pressure - What is the main symptom of an open field winding in a shunt motor? a) Increased torque b) Motor does not start c) Excessive noise d) Excessive heating - An overheated armature in a DC motor is likely caused by: a) Low load current b) High resistance in the field winding c) Shorted armature coils d) Loose brushes - What is the first step in troubleshooting a DC generator? a) Dismantling the generator b) Testing the load c) Replacing the windings d) Inspecting the generator visually - Which tool is primarily used to measure voltage in a DC generator? a) Ammeter b) Voltmeter c) Oscilloscope d) Multimeter - Generator fault is indicated by. a) Unsteady voltage output b) Loud humming sound c) Sparks at the brushes d) All of the above - What should be checked if a generator fails to start? a) Load connection b) Armature circuit continuity c) Residual magnetism d) All of the above - If a generator is overheating, what is the likely cause? a) Overloading b) Poor ventilation c) Shorted windings d) All of the above - What happens when the series field winding of a DC series generator is open? a) It generates full voltage b) Voltage drops to zero c) Overheating occurs d) The generator reverses polarity - What can cause low output voltage in a DC series generator? a) Loose connections in the series winding b) High armature resistance c) Insufficient speed of the prime mover d) All of the above - What is the most likely cause of low output voltage in a loaded series generator? a) Incorrect brush positioning b) Insufficient load current c) Reversed field polarity d) Worn-out commutator - How can residual magnetism are restored in a DC shunt generator? a) Increasing the speed of the prime mover b) Manually magnetizing the poles c) Reversing field connections d) None of the above - What happens when the field winding of a shunt generator becomes shorted? a) Voltage output increases b) Overheating occurs c) Voltage drops to zero d) The generator operates normally - What is the primary fault in an under-compounded generator? a) Weak series field b) High resistance in shunt field c) Incorrect polarity of the series winding d) Insufficient speed of the prime mover - What causes a compound generator to over-excite? a) Overloading b) Excessive series field turns c) Reverse polarity d) Low armature resistance - What will happen if the series winding polarity is reversed in a compound generator? a) Voltage will decrease b) Voltage will increase c) Voltage will fluctuate d) Generator will not operate - What is the effect of high resistance in the shunt field of a compound generator? a) Increased output voltage b) Reduced output voltage c) Fluctuating output voltage d) No effect - Which of the following is a primary function of a 3-phase alternator? a) Convert DC to AC b) Convert AC to DC c) Generate AC power d) Stabilize voltage - What does differentiate salient pole alternators from non-salient pole alternators? a) Voltage output b) Rotor construction c) Power factor d) Type of windings - Salient pole alternators are typically used for: a) High-speed applications b) Low-speed applications c) High-frequency applications d) Low-frequency applications - Non-salient pole alternators are generally preferred for: a) Constant speed applications b) Variable speed applications c) High torque applications d) Low efficiency systems - What are the effects of an inter-turn fault in alternator windings? a) Excessive noise b) Uneven voltage output c) Overheating d) Reduced torque - The cause of an alternator rotor to overheat is? a) Low excitation current b) High excitation current c) Damaged bearings d) Improper lubrication - A sudden drop in alternator voltage may indicate: a) Short circuit in the stator b) Open circuit in the rotor c) Loss of synchronization d) Poor lubrication Answer keys: 1; c; 2; a; 3; b; 4; b; 5; c. 6; c; 7; a; 8; b; 9; b; 10; a. 11; a; 12; b; 13; b; 14; d; 15; b. 16; c; 17; d; 18; d; 19; d; 20; d. 21; d; 22; b; 23; d; 24; b; 25; b. 26; c; 27; a; 28; b; 29; a; 30; b. 31; c; 32; b; 33; b; 34; a; 35; b. 36; b; 37; c. | - What is the primary purpose of cooling systems in transformers? - Enhance electrical insulation - Reduce transformer size - Dissipate heat generated during operation - Improve winding resistance - Which of the following indicates a possible fault in an oil-cooled transformer? - Low oil level in the conservator - Even temperature distribution - Uniform oil color - Stable load operation - What is the function of a Buchholz relay in an oil-cooled transformer? - Regulate voltage - Monitor oil level - Detect internal gas accumulation - Measure temperature - What does dark or sludge-laden transformer oil indicate? - Normal operation - High oil viscosity - Insulation degradation or contamination - Transformer under load - What is the main advantage of air-cooled transformers? - High efficiency - Reduced maintenance requirements - Compact design - Better fault tolerance - Which test is commonly used to identify winding faults in transformers? - Dielectric test - Sweep Frequency Response Analysis (SFRA) - Load test - Voltage regulation test - What is a common symptom of overheating in air-cooled transformers? - Audible humming sound - Reduced insulation resistance - Increased cooling fan speed - Over-temperature alarm activation - Which of the following could cause an oil leak in an oil-cooled transformer? - Faulty seals or gaskets - Excessive cooling - Low operational load - Insufficient ventilation - What is the recommended action if an auto transformer exhibits sudden load imbalance? - Increase cooling capacity - Check for short circuits or loose connections - Adjustthe transformer tap settings - Add more insulation oil - What could high dissolved gas levels in transformer oil indicate? - Normal thermal activity - Transformer overloading - Electrical arcing or overheating - Proper insulation - What maintenance task is unique to oil-cooled transformers compared to air-cooled transformers? - Checking cooling fans - Replacing oil filters or purifying oil - Tightening terminal connections - Cleaning external surfaces - Which of these is a common fault in auto transformers? - Phase imbalance - Core saturation - Overheating due to magnetic coupling - Excessive oil degradation - What could cause excessive noise in a transformer? - Magnetic friction of the core - Low oil level - Improper ventilation - High insulation resistance - How does temperature affect the viscosity of transformer oil? - Higher temperature increases viscosity - Higher temperature decreases viscosity - Temperature has no effect on viscosity - Temperature increases oil density - Which device is used to monitor the temperature of a transformer? - Voltage regulator - Thermostat or thermocouple - Protective relay - Core laminator - What is a critical first step when troubleshooting a fault in a transformer? - De-energize the transformer - Check oil color - Analyze load patterns - Test the insulation resistance - Why is routine testing of insulation resistance important for transformers? - To detect mechanical faults - To predict cooling system failure - To ensure insulation integrity and prevent breakdowns - To improve oil filtration - What is the most common cause of a malfunctioning automatic iron? - Blown fuse - Faulty thermostat - Overloading the circuit - Loose heating element - If a toaster only toasts one side of the bread, what is the likely issue? - Overheating - Broken heating element - Faulty timer - Stuck crumb tray - Which of the following could cause a refrigerator to stop cooling? - Overloaded shelves - Dirty condenser coils - Low refrigerant levels - Both B and C - What could cause an air conditioner to blow warm air instead of cold? - Clogged air filters - Low refrigerant levels - Faulty compressor - All of the above - Why might a washing machine not spin properly? - Imbalanced load - Worn-out belt - Faulty motor - All of the above - If a microwave oven is not heating food, what is the most likely fault? - Broken turntable motor - Faulty magnetron - Blown internal fuse - Defective keypad - What is a common symptom of a UPS system battery failure? - Constant beeping - Overheating of the unit - Reduced backup time - All of the above - What might cause an automatic iron to leak water? - Overfilling the water tank - Cracked water reservoir - Blocked steam vents - Faulty thermostat - What is the likely cause if a toaster trips the circuit breaker? - Overheating - Short circuit in the wiring - Crumb buildup - Timer malfunction - Why might a refrigerator door not close properly? - Damaged door gasket - Misaligned door hinges - Obstructed shelves - All of the above - What can cause an air conditioner to produce excessive noise? - Loose fan blades - Clogged filters - Low refrigerant levels - Faulty thermostat - Why might a washing machine stop mid-cycle? - Power supply interruption - Faulty timer or control board - Drain pumps blockage - All of the above - What could cause a microwave oven to spark inside? - Using metal utensils - Broken waveguide cover - Food debris buildup - All of the above - What is the first step in troubleshooting a UPS system that is not powering connected devices? - Check the battery connections - Replace the internal fuse - Restart the UPS - Test the load capacity - What might cause an automatic iron to overheat? - Broken thermostat - Blocked steam vents - Damaged heating element - Power supply fluctuations - What is the most likely fault if a refrigerator is excessively frosting? - Clogged air vents - Malfunctioning defrost timer - Improper thermostat setting - Damaged door gasket - What could cause a washing machine to emit a burning smell? - Overloaded drum - Faulty drive belt - Electrical short circuit - Both B and C - What is the primary cause of salvation in lead-acid batteries? - Overcharging - Undercharging or prolonged disuse - High temperature exposure - Excessive load application - Which of the following is a common symptom of a faulty alkaline battery? - Leakage of electrolyte - Overheating during use - Voltage drop below the rated level - All of the above - What is a key safety concern when handling lithium-ion batteries? - Risk of thermal runaway - Electrolyte corrosion - Overheating of terminals - None of the above - What tool is commonly used to check the state of charge of a lead-acid battery? - Multi meter - Hydrometer - Ammeter - Clamp meter - What is a common fault in lead-acid batteries due to overcharging? - Thermal runaway - Water loss and gassing - Plate corrosion - Both B and C - What is a sign of a failing lithium-ion battery? - Sudden capacity drop - Unusual heat during operation - Bulging or deformation - All of the above Answer keys: 1; c; 2; a; 3; c; 4; c; 5; b. 6; b; 7; d; 8; a; 9; b; 10; c. 11; b; 12; a; 13; a; 14; b; 15; b. 16; a; 17; c; 18; b; 19; b; 20; d. 21; d; 22; d; 23; b; 24; d; 25; c. 26; b; 27; d; 28; a; 29; d; 30; d. 31; a; 32; a; 33; b; 34; d; 35; b. 36; d; 37; a; 38; b; 39; d; 40; d. |

- Limited Response Questions

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU(1 to 3) | LU(4 to 6) | LU(7 to 9) |
| - What is schedule maintenance? - Which instrument is used to measure the RPM of motor? - What are the steps of a direct online starter? - What are the common symptoms of a faulty starter? - What should you check first when diagnosing a starter fault? - What is the primary function of a speed controller in an industrial motor application? - What is the primary function of a speed controller in an industrial motor application? - What is the most common cause of overheating in a squirrel cage motor? - What fault can occur if the resistance in the rotor circuit is too low? - What would cause a synchronous motor to fail to reach synchronous speed? - How can you identify a broken rotor bar in a squirrel cage motor? - What symptoms indicate a failure in the wound rotor motor resistance control mechanism? - What would cause a synchronous motor to lose synchronism during operation? - What diagnostic tool is commonly used to check insulation resistance in all types of three-phase AC motors? - What is a common issue if the brushes and slip rings of a wound rotor motor are not maintained properly? | - What is the primary cause of overheating in a DC series motor? - What type of fault occurs if a DC shunt motor fails to start despite the field winding being intact? - Which tool is commonly used to check for continuity in the windings of a DC motor? - What could cause excessive sparking at the brushes of a DC compound motor? - If a DC series motor runs but has low torque, what is a likely fault? - What fault is indicated by a DC shunt motor running at an abnormally high speed? - What does a high reading in insulation resistance testing of a DC motor indicate? - What could cause a DC shunt generator to fail to build up voltage during startup? - What fault is indicated if a DC series generator produces no voltage under load? - What is the primary cause of voltage fluctuations in a compound generator? - What might cause a DC shunt generator to produce a low or zero output voltage under normal operating conditions? - What does excessive sparking at the brushes of a DC generator indicate? - What could be the reason for a compound generator delivering inconsistent output voltage despite proper connections? - What fault might cause a 3-phase alternator to fail to build up voltage during startup? - What is a likely cause of unbalanced output voltage in a 3-phase alternator? - What fault could result in excessive heating of the rotor in a salient pole alternator? - What might cause a non-salient pole alternator to produce low output voltage despite proper excitation? - What is the primary symptom of a mechanical fault such as a misaligned shaft in an alternator? - What could cause an alternator to trip on over current protection? | - Describe the steps you would take to identify and address a low oil level in an oil-cooled transformer. - What are the common causes of overheating in an air-cooled transformer, and how can these be resolved? - How to test for winding faults in a transformer using Sweep Frequency Response Analysis (SFRA). - What safety precautions should be taken before inspecting a suspected oil leak in an oil-cooled transformer? - How can you determine if the tap changer of an auto transformer is malfunctioning, and what corrective actions can be taken? - What diagnostic methods would you use to detect electrical arcing inside an oil-cooled transformer? - What could cause an auto transformer to exhibit voltage imbalance, and how would you troubleshoot this issue? - What steps would you take to troubleshoot an automatic iron that is not heating properly? - How you would identify and resolve a short circuit in a toaster. - What common issues in an air conditioner could lead to reduced cooling performance, and how can they be resolved? - How would you troubleshoot a washing machine that stops mid-cycle and fails to restart? - What are the typical causes of a microwave oven not heating food and how would you verify and address the issue? - If a UPS system fails to power connected devices during an outage, what diagnostic steps would you follows? - What could cause a washing machine to vibrate excessively during operation, and how would you resolve this issue? - What are the key signs of salvation in a lead-acid battery? - What are the safety measures to follow when handling a swollen lithium-ion battery? - What could cause an alkaline battery to leak, and how would you safely dispose of the affected battery? - What precautions should be taken when charging lead-acid batteries to prevent faults or damage? |

- Assessment Tasks

| Formative Assessment (Part A) | Formative Assessment (Part B) | Formative Assessment (Part C) |
| --- | --- | --- |
| LU(1 to 3) | LU(4 to 6) | LU(7 to 9) |
| Identify and replace faulty components in 3-phase A.C motor. Performance Criteria: - Adhere to workplace safety protocols, including the use of personal protective equipment (PPE), procedures, and safe handling of tools and equipment. - Collect the required tools/equipment, instruments and materials. - Inspect the motor and its components for visible signs of damage (e.g., burnt windings, loose connections, physical wear) - Check Phase-to-phase continuity. - Check Insulation resistance (megger testing). - Check Winding resistance - Disassemble the motorensuring no further damage occurs to components. - Identify the specific components requiring repair or replacement (e.g., bearings, windings, rotor, stator, or terminal connections). - Repair/Replace faulty components. - Reassemble the motor, ensuring proper alignment and torque settings on fasteners. - Operate the motor for smooth running. - Clean the tools/equipment and work area. - Store the tools/equipment at their designated place. | Perform fault finding, disassembling and Reassembling of shunt generators. Performance Criteria: - Follow safety regulations and workplace procedures before starting work. - Inspect the generator to identify potential faults using visual checks and diagnostic tools. - Conduct tests (e.g., continuity, resistance, and insulation) to pinpoint electrical or mechanical issues. - Follow standard operating procedures (SOPs) for disassembling shunt generators. - Maintain proper documentation and labeling of dismassembled parts for accurate reassembly or replacement. - Handle hazardous materials, such as oils and lubricants, in compliance with environmental and(LOTO) procedures during workplace guidelines. - Utilize lockout-tagout the disassembling process. - Inspect the dismassembledcomponents for signs of wear, corrosion, or damage. - Detect the fault. - Repair/replace the faulty components/parts as per manufacturer specifications. - Ensure all repaired components are prepared for reassembly. - Ensure correct alignment and secure fastening of mechanical and electrical components. - Test repaired or replaced parts for smooth functioning and compliance with required standards. - Conduct quality checks during reassembly to ensure proper functioning. - Perform operational tests to confirm smooth operation of the generator. - Clean the tools/equipment and work area. - Store the tools/equipment at their designated place. | Detect fault in electric iron and repair/ replace the faulty components. Performance criteria: - Collect the required tools/equipment. - Unplugged the electric iron before inspection or repair. - Wear the required personal protective equipment (PPE). - Visually inspect the iron for external damage, such as cracks, frayed cords, or loose connections. - Test the power cord for continuity using a multimeter to identify possible wiring faults. - Dismantle the electric iron. - Check the heating element for desired function. - Test thermostat of the iron for continuity and operation at the correct temperature range. - Identify any signs of internal damage, such as burnt components or melted parts. - Identify faulty components. - Repair/Replace the faulty components. - Reassemble the electric iron. - Perform the desired adjustment. - Check the electric iron for smoothfunctionin - Verify there are no safety hazards such as exposed wires or overheating. - Clean the tools/equipment and work area. - Store the tools/equipment at their designated place. |