Course / Subject Name:  NQ-ET 143 Workshop Practice I (Electrical)

Assessment Task (Summative Assessment)

| Install wiring system for a hotel, including joint making, insulation, system testing and connection to the main 3-phase distribution box while adhering to safety and operational standards. |  |  |  |
| --- | --- | --- | --- |
| Critical / Non Critical | Performance Criteria: | Yes | No |
| Critical | - Prepare a comprehensive wiring layout tailored to the hotel's design and electrical load requirements. |  |  |
| Critical | - Install wires systematically in conduits or ducts, ensuring adherence to the wiring layout. |  |  |
| Critical | - Make Joints and Insulate them to ensure smooth operation of the circuit. |  |  |
| Critical | - Perform continuity, insulation resistance, and load tests to verify the integrity of the wiring system. |  |  |
| Critical | - Carry out proper grounding of the wiring system and phase alignment during the installation process. |  |  |
| Non Critical | - Conduct a final inspection to verify the functionality and safety compliance of the wiring system. |  |  |
| Non Critical | - Select and arrange the necessary tools, materials, and accessories for the installation. |  |  |
| Non Critical | - Connect the installed wiring system to the main 3-phase distribution box securely. |  |  |