Course / Subject Name: NQ-ET-326 AC Machines (Electrical)

Assessment Tasks (Summative Assessment)

| - Perform open circuit (O.C) test on single phase transformer to calculate different parameters of excitation circuit. |  |  |  |
| --- | --- | --- | --- |
| Critical/Non critical | Performance Criteria: | Yes | No |
| Critical | Draw circuit diagram of open circuit test on single phase transformer |  |  |
| Critical | Select the required tools/equipment and PPEs. |  |  |
| Non critical | Select the required single-phase transformer to test. |  |  |
| Critical | Connect variable voltage source (Variac) to the transformer. |  |  |
| Non Critical | Switch on the power supply. |  |  |
| Non Critical | Measure the primary voltage. |  |  |
| Non Critical | Measure the no-load current. |  |  |
| Non Critical | Measure the power consumed during the open-circuit test. |  |  |
| Critical | Calculate excitation circuit parameters. |  |  |
| Critical | Calculate the magnetizing reactance. |  |  |
| Non critical | Analyze Results. |  |  |
| Non Critical | Record the result in tabulated form |  |  |
| Non critical | Disconnect the transformer from the supply. |  |  |

| - Construct an automatic star/delta starter circuit to operate (start and stop) three phase induction motor. |  |  |  |
| --- | --- | --- | --- |
| Critical/Non critical | Performance Criteria: | Yes | No |
| Critical | Draw circuit diagram of star/delta starter of three phasse induction motor. |  |  |
| Critical | Select the required tools/equipment and PPEs. |  |  |
| Critical | Select three phase induction motor to test. |  |  |
| Non Critical | Clean the motor and all asseccories before testing. |  |  |
| Critical | Make connection according to circuit diagram. |  |  |
| Critical | Ensure the motor is correctly connected according to circuit diagram. |  |  |
| Non Critical | Switch on the power supply to start the motor. |  |  |
| Non Critical | Measure the line voltage supplied to the motor. |  |  |
| Non Critical | Measure the current drawn by the motor during the star connection phase. |  |  |
| Critical | Measure the current drawn by the motor during the delta connection. |  |  |
| Critical | Record voltage and current. |  |  |
| Non Critical | Calculate the starting current and compare it to the motor's rated(running) current. |  |  |
| Non Critical | Document the results and conclusions about the effectiveness of the star-delta starting method. |  |  |
| Non Critical | Switch off the power supply to the motor |  |  |
| Non critical | Disconnect motor from power supply after completing the test. |  |  |