Course / Subject Name: NQ-ET 363 Repair & Maintenance of Electrical Equipments

Assessment Tasks (Summative Assessment)

| - Repair/replace faulty components of an electrical machine as per assign task.(Transformer,Motor Generator or Alternator). |  |  |  |
| --- | --- | --- | --- |
| Critical/Non-Critical | Performace Criteria | Yes | No |
| Non-Critical | - Identify the required PPEs, Tools/ equipment and instruments. |  |  |
| Non-Critical | - Follow the Safety protocols during fault diagnosis. |  |  |
| Critical | - Tools and equipment are used correctly to avoid injury or further damage. |  |  |
| Non-Critical | - Work area is kept clean and organized to prevent accidents or loss of components |  |  |
| Critical | - Perform visual Inspection of the machine for identification of fault. |  |  |
| Critical | - Check all the connections for smooth functioning. |  |  |
| Critical | - Disconnect machine from the power supply. |  |  |
| Critical | - Disassembled the machine. |  |  |
| Non-Critical | - Utilize lockout-tagout the disassembling process |  |  |
| Non-Critical | - Maintain proper documentation and labeling of dismassembled parts for accurate reassembly or replacement |  |  |
| Critical | - Check machine for fault identification |  |  |
| Critical | - Detect fault in the machine |  |  |
| Critical | - Repair/replace the faulty components |  |  |
| Critical | - Reassembled the machine |  |  |
| Critical | - Connect machine with power supply |  |  |
| Critical | - Test machine for smooth functioning |  |  |
| Non-Critical | - Record the observations in the log book |  |  |
| Non-Critical | - Used parts and tools are disposed of or stored appropriately after the task |  |  |
| Non-Critical | - Clean the tools/equipment and work area |  |  |
| Non-Critical | - Store the tools/equipment at their designated place |  |  |

| - Carryout Repair of electrical appliances as per assign task |  |  |  |
| --- | --- | --- | --- |
| Critical/ Non-Critical | Performace Criteria | Yes | No |
| Non-Critical | - Identify the required PPEs, Tools/ equipment and instruments. |  |  |
| Non-Critical | - Wear the desired PPE. |  |  |
| Non-Critical | - Perform visual Inspection of the appliance for identification of fault. |  |  |
| Critical | - Check all the connections for smooth functioning. |  |  |
| Critical | - Disconnect the appliance from the power supply. |  |  |
| Critical | - Disassembled the appliance. |  |  |
| Critical | - Check components/parts of appliance for fault detection. |  |  |
| Critical | - Detect fault in the appliance. |  |  |
| Critical | - Repair/replace the faulty components. |  |  |
| Critical | - Reassembled the appliance. |  |  |
| Critical | - Connect appliance with power supply. |  |  |
| Critical | - Test working of the appliance for smooth functioning. |  |  |
| Non-Critical | - Clean the tools/equipment and work area. |  |  |
| Non-Critical | - Store the tools/equipment and faulty components at their designated place. |  |  |