Course / Subject Name: NQ-ET-345 Transmission, Distribution & Protection of Electrical Power Systems

Assessment Tasks (Summative Assessment)

- Conduct an energy audit of an electrical workshop, Calculate the electrical load by Record data,and recommend the cable size for total load.. Critical/Non Critical; Performance Criteria; Yes; No. Critical; Interpret electrical drawing of the electrical workshop. Non critical; Identify different electrical loads in workshop as per electrical drawing. Critical; Select different electrical measuring devices as per requirement.. Critical; Install the electrical energy measuring devices in workshop. Non critical; Record data for load calculation.. Critical; Calculated the load for electrical work shop. Non critical; Interpret rating table of electrical cable. Critical; Select the standard Cables size.. Critical; Maintained a safe working environment and safe system to work.. Non critical; Maintained safe distances between self and machinery, and machine-to-machine.. Non critical; Ensured workers in the performance of any hazardous work receive the necessary supervision.. - Identify Voltage Drops in different section and find the minimum voltage point in DC Distributor fed with both ends with equal voltage level.. Critical/ Non Critical; Performance Criteria; Yes; No. Critical; Select DC distributor module in lab. Non critical; Select different rating of resistive loads.. Critical; Connect electrical loads in different sections on DC Distributor. Critical; Select the DC voltage sources as per requirement. Critical; Connect DC Distributor on both sides with equal DC voltage. Critical; Select the electrical measuring devices. Non critical; Measure current in different sections of DC Distributor. Non critical; Measure Voltage drops in different section of DC Distributor.. Non critical; Record the data.. Critical; Identify the minimum voltage point on DC Distributor.. Critical; Maintained a safe working environment and safe system to work.. Non critical; Maintained safe distances between self and machinery, and machine-to-machine.. Non critical; Ensured workers in the performance of any hazardous work receive the necessary supervision.. - Install and Operate a Static Overcurrent Relay for circuit protection. Critical/Non Critical; Performance Criteria:; Yes; No. Critical; Select appropriate over current relay. Critical; Identify different terminal on over current relay.. Critical; Select the tools and equipment as per requirement. Critical; Connect all the required tools/equipment as per circuit diagram.. Critical; Set over current value on relay as per requirement.. Non Critical; perform open circuit test before the energization. Non Critical; Energize the circuit with controlled input as per circuit diagram. Critical; Test the relay's operation under varying current levels and fault conditions.. Non Critical; Analyze the relay's performance based on recorded data.. Critical; Maintained a safe working environment and safe system to work.. Non Critical; Maintained safe distances between self and machinery, and machine-to-machine.. Non Critical; Ensured workers in the performance of any hazardous work receive the necessary supervision..